## ev_charging_uc
ts_annual | day_night | ts_annual
| D | AllSaAllH
| N | AllSaAllH
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
Not Required!
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | AllSaAllH | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | AllSaAllH | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1

## timeslice_def
~TimeSlices
ts_annual | season | weekly | daynite | wparent | dparent
| AllS | a | AllH | AllS | a

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_ZAF_001 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_001 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ZAF_001 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_002 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_002 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ZAF_002 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_003 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_003 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ZAF_003 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_004 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_004 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ZAF_004 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_005 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_005 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ZAF_005 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_006 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_006 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ZAF_006 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_007 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_007 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ZAF_007 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_008 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_008 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ZAF_008 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_009 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_009 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ZAF_009 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_010 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_010 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ZAF_010 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_011 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_011 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ZAF_011 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_012 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_012 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ZAF_012 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_013 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_013 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ZAF_013 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_014 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_014 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ZAF_014 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_015 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_015 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ZAF_015 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_016 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_016 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ZAF_016 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_017 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_017 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ZAF_017 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_018 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_018 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ZAF_018 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_019 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_019 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ZAF_019 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_020 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_020 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ZAF_020 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_021 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_021 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_022 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_022 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_023 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_023 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_024 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_024 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_025 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_025 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_026 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_026 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_027 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_027 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_028 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_028 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_029 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_029 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_030 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_030 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_031 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_031 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_032 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_032 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_033 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_033 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_034 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_034 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_035 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_035 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_036 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_036 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_037 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_037 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_038 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_038 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_039 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_039 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_040 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_040 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_041 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_041 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_042 | AllSaAllH | 1 | IMPNRGZ | elc_won_ZAF_042 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ZAF_043 | AllSaAllH | 1 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT |  |  | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_DINS-TSL: attribute=NCAP_PKCNT |  | ~TFM_INS-AT
process | commodity | AllSaAllH | process | commodity | AllSaAllH | process | commodity | AllSaAllH | process | AllSaAllH | process | commodity | other_indexes | ncap_com
distr_solelc_spv_ZAF_001 | DEF_E | 0.51193 | distr_sol* | ELC4H | 0.11242 | distr_sol* | ELC8H | 0.14908 | distr_solelc_spv_ZAF_001 | 0.25209 | distr_sol* | DEF_C | OUT | 0.23997
distr_solelc_spv_ZAF_002 | DEF_E | 0.50971 | distr_won* | ELC4H | 0.015795 | distr_won* | ELC8H | 0.028268 | distr_solelc_spv_ZAF_002 | 0.26107 | distr_won* | DEF_C | OUT | 0.23997
distr_solelc_spv_ZAF_003 | DEF_E | 0.51575 | distr_wof* | ELC4H | 0.0038703 | distr_wof* | ELC8H | 0.0083766 | distr_solelc_spv_ZAF_003 | 0.25991 | distr_wof* | DEF_C | OUT | 0.23997
distr_solelc_spv_ZAF_004 | DEF_E | 0.51543 | [6 empty] | distr_solelc_spv_ZAF_004 | 0.25525
distr_solelc_spv_ZAF_005 | DEF_E | 0.51434 | [6 empty] | distr_solelc_spv_ZAF_005 | 0.25369
distr_solelc_spv_ZAF_006 | DEF_E | 0.51459 | [6 empty] | distr_solelc_spv_ZAF_006 | 0.26698
distr_solelc_spv_ZAF_007 | DEF_E | 0.51866 | [6 empty] | distr_solelc_spv_ZAF_007 | 0.25951
distr_solelc_spv_ZAF_008 | DEF_E | 0.51396 | [6 empty] | distr_solelc_spv_ZAF_008 | 0.26826
distr_solelc_spv_ZAF_009 | DEF_E | 0.51224 | [6 empty] | distr_solelc_spv_ZAF_009 | 0.26627
distr_solelc_spv_ZAF_010 | DEF_E | 0.52522 | [6 empty] | distr_solelc_spv_ZAF_010 | 0.23745
distr_solelc_spv_ZAF_011 | DEF_E | 0.52508 | [6 empty] | distr_solelc_spv_ZAF_011 | 0.24512
distr_solelc_spv_ZAF_012 | DEF_E | 0.52097 | [6 empty] | distr_solelc_spv_ZAF_012 | 0.24887
distr_solelc_spv_ZAF_013 | DEF_E | 0.52248 | [6 empty] | distr_solelc_spv_ZAF_013 | 0.25603
distr_solelc_spv_ZAF_014 | DEF_E | 0.51629 | [6 empty] | distr_solelc_spv_ZAF_014 | 0.26465
distr_solelc_spv_ZAF_015 | DEF_E | 0.53245 | [6 empty] | distr_solelc_spv_ZAF_015 | 0.212
distr_solelc_spv_ZAF_016 | DEF_E | 0.52457 | [6 empty] | distr_solelc_spv_ZAF_016 | 0.22892
distr_solelc_spv_ZAF_017 | DEF_E | 0.52589 | [6 empty] | distr_solelc_spv_ZAF_017 | 0.2331
distr_solelc_spv_ZAF_018 | DEF_E | 0.53271 | [6 empty] | distr_solelc_spv_ZAF_018 | 0.2117
distr_solelc_spv_ZAF_019 | DEF_E | 0.5298 | [6 empty] | distr_solelc_spv_ZAF_019 | 0.22328
distr_solelc_spv_ZAF_020 | DEF_E | 0.53105 | [6 empty] | distr_solelc_spv_ZAF_020 | 0.22732
distr_solelc_spv_ZAF_021 | DEF_E | 0.52309 | [6 empty] | distr_solelc_spv_ZAF_021 | 0.24059
distr_solelc_spv_ZAF_022 | DEF_E | 0.54356 | [6 empty] | distr_solelc_spv_ZAF_022 | 0.19106
distr_solelc_spv_ZAF_023 | DEF_E | 0.54542 | [6 empty] | distr_solelc_spv_ZAF_023 | 0.18816
distr_solelc_spv_ZAF_024 | DEF_E | 0.54552 | [6 empty] | distr_solelc_spv_ZAF_024 | 0.19477
distr_solelc_spv_ZAF_025 | DEF_E | 0.53347 | [6 empty] | distr_solelc_spv_ZAF_025 | 0.20737
distr_solelc_spv_ZAF_026 | DEF_E | 0.53381 | [6 empty] | distr_solelc_spv_ZAF_026 | 0.22195
distr_solelc_spv_ZAF_027 | DEF_E | 0.54235 | [6 empty] | distr_solelc_spv_ZAF_027 | 0.21242
distr_solelc_spv_ZAF_028 | DEF_E | 0.55256 | [6 empty] | distr_solelc_spv_ZAF_028 | 0.18215
distr_solelc_spv_ZAF_029 | DEF_E | 0.55324 | [6 empty] | distr_solelc_spv_ZAF_029 | 0.19261
distr_solelc_spv_ZAF_030 | DEF_E | 0.55468 | [6 empty] | distr_solelc_spv_ZAF_030 | 0.19326
distr_solelc_spv_ZAF_031 | DEF_E | 0.54765 | [6 empty] | distr_solelc_spv_ZAF_031 | 0.17874
distr_solelc_spv_ZAF_032 | DEF_E | 0.55109 | [6 empty] | distr_solelc_spv_ZAF_032 | 0.18265
distr_solelc_spv_ZAF_033 | DEF_E | 0.54354 | [6 empty] | distr_solelc_spv_ZAF_033 | 0.20838
distr_solelc_spv_ZAF_034 | DEF_E | 0.54686 | [6 empty] | distr_solelc_spv_ZAF_034 | 0.19653
distr_solelc_spv_ZAF_035 | DEF_E | 0.52333 | [6 empty] | distr_solelc_spv_ZAF_035 | 0.23438
distr_solelc_spv_ZAF_036 | DEF_E | 0.53734 | [6 empty] | distr_solelc_spv_ZAF_036 | 0.20429
distr_solelc_spv_ZAF_037 | DEF_E | 0.52134 | [6 empty] | distr_solelc_spv_ZAF_037 | 0.23025
distr_solelc_spv_ZAF_038 | DEF_E | 0.51694 | [6 empty] | distr_solelc_spv_ZAF_038 | 0.23317
distr_solelc_spv_ZAF_039 | DEF_E | 0.52474 | [6 empty] | distr_solelc_spv_ZAF_039 | 0.2246
distr_solelc_spv_ZAF_040 | DEF_E | 0.51996 | [6 empty] | distr_solelc_spv_ZAF_040 | 0.22873
distr_solelc_spv_ZAF_041 | DEF_E | 0.51715 | [6 empty] | distr_solelc_spv_ZAF_041 | 0.2486
distr_solelc_spv_ZAF_042 | DEF_E | 0.51839 | [6 empty] | distr_solelc_spv_ZAF_042 | 0.24128
distr_solelc_spv_ZAF_043 | DEF_E | 0.52881 | [6 empty] | distr_solelc_spv_ZAF_043 | 0.23195
distr_wofelc_wof_ZAF_001 | DEF_E | 0.29203 | [6 empty] | distr_wofelc_wof_ZAF_001 | 0.54621
distr_wofelc_wof_ZAF_002 | DEF_E | 0.29864 | [6 empty] | distr_wofelc_wof_ZAF_002 | 0.51608
distr_wofelc_wof_ZAF_003 | DEF_E | 0.34556 | [6 empty] | distr_wofelc_wof_ZAF_003 | 0.37629
distr_wofelc_wof_ZAF_004 | DEF_E | 0.29919 | [6 empty] | distr_wofelc_wof_ZAF_004 | 0.52991
distr_wofelc_wof_ZAF_005 | DEF_E | 0.37638 | [6 empty] | distr_wofelc_wof_ZAF_005 | 0.37281
distr_wofelc_wof_ZAF_006 | DEF_E | 0.32262 | [6 empty] | distr_wofelc_wof_ZAF_006 | 0.50083
distr_wofelc_wof_ZAF_007 | DEF_E | 0.32678 | [6 empty] | distr_wofelc_wof_ZAF_007 | 0.42736
distr_wofelc_wof_ZAF_008 | DEF_E | 0.37968 | [6 empty] | distr_wofelc_wof_ZAF_008 | 0.36117
distr_wofelc_wof_ZAF_009 | DEF_E | 0.34395 | [6 empty] | distr_wofelc_wof_ZAF_009 | 0.37332
distr_wofelc_wof_ZAF_010 | DEF_E | 0.34131 | [6 empty] | distr_wofelc_wof_ZAF_010 | 0.41736
distr_wofelc_wof_ZAF_011 | DEF_E | 0.31785 | [6 empty] | distr_wofelc_wof_ZAF_011 | 0.5039
distr_wofelc_wof_ZAF_012 | DEF_E | 0.32596 | [6 empty] | distr_wofelc_wof_ZAF_012 | 0.49048
distr_wofelc_wof_ZAF_013 | DEF_E | 0.34719 | [6 empty] | distr_wofelc_wof_ZAF_013 | 0.51264
distr_wofelc_wof_ZAF_014 | DEF_E | 0.33554 | [6 empty] | distr_wofelc_wof_ZAF_014 | 0.51445
distr_wofelc_wof_ZAF_015 | DEF_E | 0.37529 | [6 empty] | distr_wofelc_wof_ZAF_015 | 0.36735
distr_wofelc_wof_ZAF_016 | DEF_E | 0.29235 | [6 empty] | distr_wofelc_wof_ZAF_016 | 0.5452
distr_wofelc_wof_ZAF_017 | DEF_E | 0.34558 | [6 empty] | distr_wofelc_wof_ZAF_017 | 0.48943
distr_wofelc_wof_ZAF_018 | DEF_E | 0.32774 | [6 empty] | distr_wofelc_wof_ZAF_018 | 0.43612
distr_wofelc_wof_ZAF_019 | DEF_E | 0.36638 | [6 empty] | distr_wofelc_wof_ZAF_019 | 0.4514
distr_wofelc_wof_ZAF_020 | DEF_E | 0.41091 | [6 empty] | distr_wofelc_wof_ZAF_020 | 0.29028
distr_wonelc_won_ZAF_001 | DEF_E | 0.44931 | [6 empty] | distr_wonelc_won_ZAF_001 | 0.18433
distr_wonelc_won_ZAF_002 | DEF_E | 0.39433 | [6 empty] | distr_wonelc_won_ZAF_002 | 0.26383
distr_wonelc_won_ZAF_003 | DEF_E | 0.42945 | [6 empty] | distr_wonelc_won_ZAF_003 | 0.1448
distr_wonelc_won_ZAF_004 | DEF_E | 0.4481 | [6 empty] | distr_wonelc_won_ZAF_004 | 0.14725
distr_wonelc_won_ZAF_005 | DEF_E | 0.44419 | [6 empty] | distr_wonelc_won_ZAF_005 | 0.22754
distr_wonelc_won_ZAF_006 | DEF_E | 0.35449 | [6 empty] | distr_wonelc_won_ZAF_006 | 0.29757
distr_wonelc_won_ZAF_007 | DEF_E | 0.53841 | [6 empty] | distr_wonelc_won_ZAF_007 | 0.10161
distr_wonelc_won_ZAF_008 | DEF_E | 0.41505 | [6 empty] | distr_wonelc_won_ZAF_008 | 0.20062
distr_wonelc_won_ZAF_009 | DEF_E | 0.37164 | [6 empty] | distr_wonelc_won_ZAF_009 | 0.20937
distr_wonelc_won_ZAF_010 | DEF_E | 0.49152 | [6 empty] | distr_wonelc_won_ZAF_010 | 0.085956
distr_wonelc_won_ZAF_011 | DEF_E | 0.44799 | [6 empty] | distr_wonelc_won_ZAF_011 | 0.14609
distr_wonelc_won_ZAF_012 | DEF_E | 0.3572 | [6 empty] | distr_wonelc_won_ZAF_012 | 0.26562
distr_wonelc_won_ZAF_013 | DEF_E | 0.38864 | [6 empty] | distr_wonelc_won_ZAF_013 | 0.30315
distr_wonelc_won_ZAF_014 | DEF_E | 0.42335 | [6 empty] | distr_wonelc_won_ZAF_014 | 0.19302
distr_wonelc_won_ZAF_015 | DEF_E | 0.4221 | [6 empty] | distr_wonelc_won_ZAF_015 | 0.11881
distr_wonelc_won_ZAF_016 | DEF_E | 0.34191 | [6 empty] | distr_wonelc_won_ZAF_016 | 0.26308
distr_wonelc_won_ZAF_017 | DEF_E | 0.47684 | [6 empty] | distr_wonelc_won_ZAF_017 | 0.09357
distr_wonelc_won_ZAF_018 | DEF_E | 0.33551 | [6 empty] | distr_wonelc_won_ZAF_018 | 0.32077
distr_wonelc_won_ZAF_019 | DEF_E | 0.40481 | [6 empty] | distr_wonelc_won_ZAF_019 | 0.1479
distr_wonelc_won_ZAF_020 | DEF_E | 0.43626 | [6 empty] | distr_wonelc_won_ZAF_020 | 0.1715
distr_wonelc_won_ZAF_021 | DEF_E | 0.41247 | [6 empty] | distr_wonelc_won_ZAF_021 | 0.21662
distr_wonelc_won_ZAF_022 | DEF_E | 0.47714 | [6 empty] | distr_wonelc_won_ZAF_022 | 0.10417
distr_wonelc_won_ZAF_023 | DEF_E | 0.40933 | [6 empty] | distr_wonelc_won_ZAF_023 | 0.20504
distr_wonelc_won_ZAF_024 | DEF_E | 0.39613 | [6 empty] | distr_wonelc_won_ZAF_024 | 0.21609
distr_wonelc_won_ZAF_025 | DEF_E | 0.44622 | [6 empty] | distr_wonelc_won_ZAF_025 | 0.14385
distr_wonelc_won_ZAF_026 | DEF_E | 0.47155 | [6 empty] | distr_wonelc_won_ZAF_026 | 0.10704
distr_wonelc_won_ZAF_027 | DEF_E | 0.41596 | [6 empty] | distr_wonelc_won_ZAF_027 | 0.22473
distr_wonelc_won_ZAF_028 | DEF_E | 0.39169 | [6 empty] | distr_wonelc_won_ZAF_028 | 0.23524
distr_wonelc_won_ZAF_029 | DEF_E | 0.3567 | [6 empty] | distr_wonelc_won_ZAF_029 | 0.28021
distr_wonelc_won_ZAF_030 | DEF_E | 0.37215 | [6 empty] | distr_wonelc_won_ZAF_030 | 0.23411
distr_wonelc_won_ZAF_031 | DEF_E | 0.35935 | [6 empty] | distr_wonelc_won_ZAF_031 | 0.27219
distr_wonelc_won_ZAF_032 | DEF_E | 0.35615 | [6 empty] | distr_wonelc_won_ZAF_032 | 0.28623
distr_wonelc_won_ZAF_033 | DEF_E | 0.32864 | [6 empty] | distr_wonelc_won_ZAF_033 | 0.34842
distr_wonelc_won_ZAF_034 | DEF_E | 0.34518 | [6 empty] | distr_wonelc_won_ZAF_034 | 0.29649
distr_wonelc_won_ZAF_035 | DEF_E | 0.29746 | [6 empty] | distr_wonelc_won_ZAF_035 | 0.36892
distr_wonelc_won_ZAF_036 | DEF_E | 0.33683 | [6 empty] | distr_wonelc_won_ZAF_036 | 0.31815
distr_wonelc_won_ZAF_037 | DEF_E | 0.3913 | [6 empty] | distr_wonelc_won_ZAF_037 | 0.23211
distr_wonelc_won_ZAF_038 | DEF_E | 0.42505 | [6 empty] | distr_wonelc_won_ZAF_038 | 0.18932
distr_wonelc_won_ZAF_039 | DEF_E | 0.30043 | [6 empty] | distr_wonelc_won_ZAF_039 | 0.40981
distr_wonelc_won_ZAF_040 | DEF_E | 0.34039 | [6 empty] | distr_wonelc_won_ZAF_040 | 0.33908
distr_wonelc_won_ZAF_041 | DEF_E | 0.32194 | [6 empty] | distr_wonelc_won_ZAF_041 | 0.33623
distr_wonelc_won_ZAF_042 | DEF_E | 0.32459 | [6 empty] | distr_wonelc_won_ZAF_042 | 0.31962

## load_shapes
~TFM_DINS-AT
g_yrfr | com_fr | timeslice | commodity
1 | 1 | AllSaAllH | elc_roadtransport

## demand
~TFM_DINS-AT
commodity | timeslice | com_fr
elc_buildings | AllSaAllH | 1
elc_industry | AllSaAllH | 1

## peak_factors
~TFM_DINS-AT
commodity | timeslice | com_pkflx
ELC | AllSaAllH | 0.30323

## hydro_af
~TFM_INS-AT
Year | timeslice | ncap_afs | pset_ci
2020 | AllS | 0.11397 | hydro
2021 | AllS | 0.24309 | hydro
2022 | AllS | 0.47791 | hydro
2025 | AllS | 0.24236 | hydro
2026 | AllS | 0.2615 | hydro
2027 | AllS | 0.18249 | hydro
2028 | AllS | 0.22652 | hydro
2029 | AllS | 0.21633 | hydro
2030 | AllS | 0.23916 | hydro
2031 | AllS | 0.23133 | hydro
2032 | AllS | 0.24934 | hydro
2033 | AllS | 0.35141 | hydro
2034 | AllS | 0.28804 | hydro
2035 | AllS | 0.28064 | hydro
2036 | AllS | 0.22992 | hydro
2037 | AllS | 0.21802 | hydro
2038 | AllS | 0.19429 | hydro
2039 | AllS | 0.21118 | hydro
2040 | AllS | 0.28573 | hydro
2041 | AllS | 0.23211 | hydro
2042 | AllS | 0.22172 | hydro
2043 | AllS | 0.24193 | hydro
2044 | AllS | 0.20513 | hydro
2045 | AllS | 0.26949 | hydro
2046 | AllS | 0.25634 | hydro
2047 | AllS | 0.32685 | hydro
2048 | AllS | 0.28373 | hydro
2049 | AllS | 0.16497 | hydro
2050 | AllS | 0.25118 | hydro