## grids
~TFM_INS-AT |  |  |  | ~tfm_ins-at |  |  |  |  | ~tfm_topins |  |  | ~tfm_topins
process | pasti | ncap_cost | efficiency | process | commodity | flo_mark | lim_type | pset_co | process | commodity | io | region | process | commodity | io | ~tfm_ins-at
g_NG1-330-w1226249784-330 | 1.106 | 55 | 0.997 | e_demand_w39469643-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.028549 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w39469643-330 | e_w39469643-330 | IN | NGA | Bioenergy + CCUS_w565486405-330 | e_w565486405-330 | OUT | commodity | limtype | flo_bnd | stgout_bnd | year | pset_set
g_NG11-330-w574152484-330 | 2.212 | 19.8 | 0.99892 | e_demand_w334825256-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.026553 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w334825256-330 | e_w334825256-330 | IN | NGA | Bioenergy - Large scale unit_w565486405-330 | e_w565486405-330 | OUT | ELC | UP | 2 |  | 0 | ELE,DMD,PRE
g_NG12-330-w548724506-330 | 2.212 | 6.6 | 0.99964 | e_demand_w395182311-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.092667 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w395182311-330 | e_w395182311-330 | IN | NGA | CCGT_w565486405-330 | e_w565486405-330 | OUT | ELC | UP |  | 2 | 0 | STG
g_NG12-330-w565081403-330 | 2.212 | 222.2 | 0.98788 | e_demand_w477596994-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.062707 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w477596994-330 | e_w477596994-330 | IN | NGA | CCGT + CCS_w565486405-330 | e_w565486405-330 | OUT
g_NG14-330-w215459565-330 | 1.106 | 196.9 | 0.98926 | e_demand_w537253592-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.032701 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w537253592-330 | e_w537253592-330 | IN | NGA | Coal + CCS_w565486405-330 | e_w565486405-330 | OUT
g_NG16-330-NG19-330 | 1.106 | 9.9 | 0.99946 | e_demand_w564445207-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.092416 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w564445207-330 | e_w564445207-330 | IN | NGA | Gas turbine_w565486405-330 | e_w565486405-330 | OUT
g_NG17-330-NG16-330 | 2.212 | 15.4 | 0.99916 | e_demand_w564462599-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.037677 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w564462599-330 | e_w564462599-330 | IN | NGA | IGCC_w565486405-330 | e_w565486405-330 | OUT
g_NG18-330-NG19-330 | 2.212 | 2.2 | 0.99988 | e_demand_w565847437-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.081617 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w565847437-330 | e_w565847437-330 | IN | NGA | IGCC + CCS_w565486405-330 | e_w565486405-330 | OUT
g_NG2-330-NG1-330 | 1.106 | 60.5 | 0.9967 | e_demand_w671893504-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.10195 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w671893504-330 | e_w671893504-330 | IN | NGA | Nuclear large_w565486405-330 | e_w565486405-330 | OUT
g_NG21-330-w334825256-330 | 2.212 | 70.4 | 0.99616 | e_demand_w706082453-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.3892 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w706082453-330 | e_w706082453-330 | IN | NGA | Oxyfuel + CCS_w565486405-330 | e_w565486405-330 | OUT
g_NG21-330-w746582404-330 | 2.212 | 16.5 | 0.9991 | e_demand_w1324578567-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.033971 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w1324578567-330 | e_w1324578567-330 | IN | NGA | Steam Coal - SUBCRITICAL_w565486405-330 | e_w565486405-330 | OUT
g_NG3-330-w556550171-330 | 2.212 | 67.1 | 0.99634 | ev_battery_w39469643-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.028549 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w39469643-330 | e_w39469643-330 | IN | NGA | Steam Coal - SUPERCRITICAL_w565486405-330 | e_w565486405-330 | OUT
g_NG4-330-w565486405-330 | 2.212 | 31.9 | 0.99826 | ev_battery_w334825256-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.026553 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w334825256-330 | e_w334825256-330 | IN | NGA | Steam Coal - ULTRASUPERCRITICAL_w565486405-330 | e_w565486405-330 | OUT
g_NG4-330-w565847437-330 | 2.212 | 35.2 | 0.99808 | ev_battery_w395182311-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.092667 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w395182311-330 | e_w395182311-330 | IN | NGA | Bioenergy + CCUS_NG21-330 | e_NG21-330 | OUT
g_NG6-330-w481286430-330 | 1.106 | 95.7 | 0.99478 | ev_battery_w477596994-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.062707 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w477596994-330 | e_w477596994-330 | IN | NGA | Bioenergy - Large scale unit_NG21-330 | e_NG21-330 | OUT
g_NG7-330-w563715917-330 | 1.106 | 20.9 | 0.99886 | ev_battery_w537253592-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.032701 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w537253592-330 | e_w537253592-330 | IN | NGA | CCGT_NG21-330 | e_NG21-330 | OUT
g_NG8-330-w477596994-330 | 1.106 | 187 | 0.9898 | ev_battery_w564445207-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.092416 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w564445207-330 | e_w564445207-330 | IN | NGA | CCGT + CCS_NG21-330 | e_NG21-330 | OUT
g_NG9-330-w1324578567-330 | 2.212 | 3.3 | 0.99982 | ev_battery_w564462599-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.037677 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w564462599-330 | e_w564462599-330 | IN | NGA | Coal + CCS_NG21-330 | e_NG21-330 | OUT
g_w1057700475-330-NG13-330 | 1.106 | 130.9 | 0.99286 | ev_battery_w565847437-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.081617 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w565847437-330 | e_w565847437-330 | IN | NGA | Gas turbine_NG21-330 | e_NG21-330 | OUT
g_w1057700475-330-w671893504-330 | 1.106 | 20.9 | 0.99886 | ev_battery_w671893504-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.10195 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w671893504-330 | e_w671893504-330 | IN | NGA | IGCC_NG21-330 | e_NG21-330 | OUT
g_w108020974-330-NG10-330 | 1.106 | 83.6 | 0.99544 | ev_battery_w706082453-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.3892 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w706082453-330 | e_w706082453-330 | IN | NGA | IGCC + CCS_NG21-330 | e_NG21-330 | OUT
g_w108020974-330-NG9-330 | 2.212 | 49.5 | 0.9973 | ev_battery_w1324578567-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.033971 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w1324578567-330 | e_w1324578567-330 | IN | NGA | Nuclear large_NG21-330 | e_NG21-330 | OUT
g_w108020974-330-w537253592-330 | 2.212 | 15.4 | 0.99916 | H2prd_Elc_PEM_w39469643-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.028549 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w39469643-330 | e_w39469643-330 | IN | NGA | Oxyfuel + CCS_NG21-330 | e_NG21-330 | OUT
g_w108020974-330-w564445207-330 | 1.106 | 152.9 | 0.99166 | H2prd_Elc_PEM_w334825256-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.026553 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w334825256-330 | e_w334825256-330 | IN | NGA | Steam Coal - SUBCRITICAL_NG21-330 | e_NG21-330 | OUT
g_w108020974-330-w706082453-330 | 2.212 | 19.8 | 0.99892 | H2prd_Elc_PEM_w395182311-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.092667 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w395182311-330 | e_w395182311-330 | IN | NGA | Steam Coal - SUPERCRITICAL_NG21-330 | e_NG21-330 | OUT
g_w108020974-330-w836122563-330 | 1.106 | 44 | 0.9976 | H2prd_Elc_PEM_w477596994-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.062707 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w477596994-330 | e_w477596994-330 | IN | NGA | Steam Coal - ULTRASUPERCRITICAL_NG21-330 | e_NG21-330 | OUT
g_w1324578567-330-w564462599-330 | 1.106 | 311.3 | 0.98302 | H2prd_Elc_PEM_w537253592-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.032701 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w537253592-330 | e_w537253592-330 | IN | NGA | Bioenergy + CCUS_NG18-330 | e_NG18-330 | OUT
g_w1324578567-330-w565866986-330 | 1.106 | 156.2 | 0.99148 | H2prd_Elc_PEM_w564445207-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.092416 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w564445207-330 | e_w564445207-330 | IN | NGA | Bioenergy - Large scale unit_NG18-330 | e_NG18-330 | OUT
g_w1328602766-330-NG6-330 | 1.106 | 13.2 | 0.99928 | H2prd_Elc_PEM_w564462599-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.037677 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w564462599-330 | e_w564462599-330 | IN | NGA | CCGT_NG18-330 | e_NG18-330 | OUT
g_w215459565-330-NG14-330 | 1.106 | 196.9 | 0.98926 | H2prd_Elc_PEM_w565847437-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.081617 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w565847437-330 | e_w565847437-330 | IN | NGA | CCGT + CCS_NG18-330 | e_NG18-330 | OUT
g_w215459565-330-w563715917-330 | 2.212 | 52.8 | 0.99712 | H2prd_Elc_PEM_w671893504-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.10195 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w671893504-330 | e_w671893504-330 | IN | NGA | Coal + CCS_NG18-330 | e_NG18-330 | OUT
g_w266617120-330-w266712817-330 | 1.106 | 308 | 0.9832 | H2prd_Elc_PEM_w706082453-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.3892 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w706082453-330 | e_w706082453-330 | IN | NGA | Gas turbine_NG18-330 | e_NG18-330 | OUT
g_w266712817-330-w267122040-330 | 1.106 | 239.8 | 0.98692 | H2prd_Elc_PEM_w1324578567-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.033971 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w1324578567-330 | e_w1324578567-330 | IN | NGA | IGCC_NG18-330 | e_NG18-330 | OUT
g_w266712817-330-w563723584-330 | 1.106 | 206.8 | 0.98872 | H2prd_Elc_ALK_w39469643-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.028549 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w39469643-330 | e_w39469643-330 | IN | NGA | IGCC + CCS_NG18-330 | e_NG18-330 | OUT
g_w334825256-330-NG12-330 | 4.424 | 171.6 | 0.99064 | H2prd_Elc_ALK_w334825256-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.026553 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w334825256-330 | e_w334825256-330 | IN | NGA | Nuclear large_NG18-330 | e_NG18-330 | OUT
g_w334825256-330-w564429999-330 | 2.212 | 81.4 | 0.99556 | H2prd_Elc_ALK_w395182311-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.092667 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w395182311-330 | e_w395182311-330 | IN | NGA | Oxyfuel + CCS_NG18-330 | e_NG18-330 | OUT
g_w39469643-330-w266617120-330 | 1.106 | 223.3 | 0.98782 | H2prd_Elc_ALK_w477596994-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.062707 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w477596994-330 | e_w477596994-330 | IN | NGA | Steam Coal - SUBCRITICAL_NG18-330 | e_NG18-330 | OUT
g_w39469643-330-w395182311-330 | 1.106 | 220 | 0.988 | H2prd_Elc_ALK_w537253592-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.032701 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w537253592-330 | e_w537253592-330 | IN | NGA | Steam Coal - SUPERCRITICAL_NG18-330 | e_NG18-330 | OUT
g_w477596994-330-NG6-330 | 1.106 | 67.1 | 0.99634 | H2prd_Elc_ALK_w564445207-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.092416 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w564445207-330 | e_w564445207-330 | IN | NGA | Steam Coal - ULTRASUPERCRITICAL_NG18-330 | e_NG18-330 | OUT
g_w477596994-330-w481286430-330 | 2.212 | 161.7 | 0.99118 | H2prd_Elc_ALK_w564462599-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.037677 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w564462599-330 | e_w564462599-330 | IN | NGA | Bioenergy + CCUS_w563732518-330 | e_w563732518-330 | OUT
g_w477596994-330-w564462599-330 | 1.106 | 251.9 | 0.98626 | H2prd_Elc_ALK_w565847437-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.081617 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w565847437-330 | e_w565847437-330 | IN | NGA | Bioenergy - Large scale unit_w563732518-330 | e_w563732518-330 | OUT
g_w481286430-330-NG3-330 | 2.212 | 215.6 | 0.98824 | H2prd_Elc_ALK_w671893504-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.10195 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w671893504-330 | e_w671893504-330 | IN | NGA | CCGT_w563732518-330 | e_w563732518-330 | OUT
g_w481286430-330-w695826179-330 | 2.212 | 85.8 | 0.99532 | H2prd_Elc_ALK_w706082453-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.3892 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w706082453-330 | e_w706082453-330 | IN | NGA | CCGT + CCS_w563732518-330 | e_w563732518-330 | OUT
g_w537253592-330-w669957212-330 | 2.212 | 47.3 | 0.99742 | H2prd_Elc_ALK_w1324578567-330 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.033971 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w1324578567-330 | e_w1324578567-330 | IN | NGA | Coal + CCS_w563732518-330 | e_w563732518-330 | OUT
g_w540463591-330-w481286430-330 | 2.212 | 5.5 | 0.9997 | [8 empty] | NGA | Gas turbine_w563732518-330 | e_w563732518-330 | OUT
g_w546666333-330-NG16-330 | 1.106 | 52.8 | 0.99712 | [8 empty] | NGA | IGCC_w563732518-330 | e_w563732518-330 | OUT
g_w546666333-330-NG19-330 | 1.106 | 62.7 | 0.99658 | [8 empty] | NGA | IGCC + CCS_w563732518-330 | e_w563732518-330 | OUT
g_w556550171-330-NG4-330 | 2.212 | 122.1 | 0.99334 | [8 empty] | NGA | Nuclear large_w563732518-330 | e_w563732518-330 | OUT
g_w556550171-330-w39469643-330 | 2.212 | 108.9 | 0.99406 | [8 empty] | NGA | Oxyfuel + CCS_w563732518-330 | e_w563732518-330 | OUT
g_w559542338-330-w669957212-330 | 2.212 | 14.3 | 0.99922 | [8 empty] | NGA | Steam Coal - SUBCRITICAL_w563732518-330 | e_w563732518-330 | OUT
g_w563715917-330-w565486405-330 | 2.212 | 151.8 | 0.99172 | [8 empty] | NGA | Steam Coal - SUPERCRITICAL_w563732518-330 | e_w563732518-330 | OUT
g_w563723584-330-w655273140-330 | 1.106 | 140.8 | 0.99232 | [8 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_w563732518-330 | e_w563732518-330 | OUT
g_w563732518-330-NG21-330 | 2.212 | 27.5 | 0.9985 | [8 empty] | NGA | Bioenergy + CCUS_w215459565-330 | e_w215459565-330 | OUT
g_w563732518-330-w334825256-330 | 2.212 | 61.6 | 0.99664 | [8 empty] | NGA | Bioenergy - Large scale unit_w215459565-330 | e_w215459565-330 | OUT
g_w564410486-330-w695826179-330 | 1.106 | 319 | 0.9826 | [8 empty] | NGA | CCGT_w215459565-330 | e_w215459565-330 | OUT
g_w564429999-330-w564430566-330 | 2.212 | 19.8 | 0.99892 | [8 empty] | NGA | CCGT + CCS_w215459565-330 | e_w215459565-330 | OUT
g_w564445207-330-w477596994-330 | 1.106 | 114.4 | 0.99376 | [8 empty] | NGA | Coal + CCS_w215459565-330 | e_w215459565-330 | OUT
g_w564462599-330-NG14-330 | 2.212 | 7.7 | 0.99958 | [8 empty] | NGA | Gas turbine_w215459565-330 | e_w215459565-330 | OUT
g_w564462599-330-NG15-330 | 3.318 | 160.6 | 0.99124 | [8 empty] | NGA | IGCC_w215459565-330 | e_w215459565-330 | OUT
g_w564462599-330-w546666333-330 | 4.424 | 51.7 | 0.99718 | [8 empty] | NGA | IGCC + CCS_w215459565-330 | e_w215459565-330 | OUT
g_w565081403-330-w266617120-330 | 2.212 | 291.5 | 0.9841 | [8 empty] | NGA | Nuclear large_w215459565-330 | e_w215459565-330 | OUT
g_w565486405-330-NG5-330 | 2.212 | 46.2 | 0.99748 | [8 empty] | NGA | Oxyfuel + CCS_w215459565-330 | e_w215459565-330 | OUT
g_w565866986-330-w564462599-330 | 1.106 | 170.5 | 0.9907 | [8 empty] | NGA | Steam Coal - SUBCRITICAL_w215459565-330 | e_w215459565-330 | OUT
g_w575706869-330-w671893504-330 | 2.212 | 60.5 | 0.9967 | [8 empty] | NGA | Steam Coal - SUPERCRITICAL_w215459565-330 | e_w215459565-330 | OUT
g_w669957212-330-NG9-330 | 1.106 | 29.7 | 0.99838 | [8 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_w215459565-330 | e_w215459565-330 | OUT
g_w671893504-330-NG15-330 | 3.318 | 2.2 | 0.99988 | [8 empty] | NGA | Bioenergy + CCUS_NG17-330 | e_NG17-330 | OUT
g_w671893504-330-NG20-330 | 1.106 | 138.6 | 0.99244 | [8 empty] | NGA | Bioenergy - Large scale unit_NG17-330 | e_NG17-330 | OUT
g_w671893504-330-w548724506-330 | 1.106 | 113.3 | 0.99382 | [8 empty] | NGA | CCGT_NG17-330 | e_NG17-330 | OUT
g_w836122563-330-NG8-330 | 1.106 | 51.7 | 0.99718 | [8 empty] | NGA | CCGT + CCS_NG17-330 | e_NG17-330 | OUT
[12 empty] | NGA | Coal + CCS_NG17-330 | e_NG17-330 | OUT
[12 empty] | NGA | Gas turbine_NG17-330 | e_NG17-330 | OUT
[12 empty] | NGA | IGCC_NG17-330 | e_NG17-330 | OUT
[12 empty] | NGA | IGCC + CCS_NG17-330 | e_NG17-330 | OUT
[12 empty] | NGA | Nuclear large_NG17-330 | e_NG17-330 | OUT
[12 empty] | NGA | Oxyfuel + CCS_NG17-330 | e_NG17-330 | OUT
[12 empty] | NGA | Steam Coal - SUBCRITICAL_NG17-330 | e_NG17-330 | OUT
[12 empty] | NGA | Steam Coal - SUPERCRITICAL_NG17-330 | e_NG17-330 | OUT
[12 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_NG17-330 | e_NG17-330 | OUT
[12 empty] | NGA | Bioenergy + CCUS_w574152484-330 | e_w574152484-330 | OUT
[12 empty] | NGA | Bioenergy - Large scale unit_w574152484-330 | e_w574152484-330 | OUT
[12 empty] | NGA | CCGT_w574152484-330 | e_w574152484-330 | OUT
[12 empty] | NGA | CCGT + CCS_w574152484-330 | e_w574152484-330 | OUT
[12 empty] | NGA | Coal + CCS_w574152484-330 | e_w574152484-330 | OUT
[12 empty] | NGA | Gas turbine_w574152484-330 | e_w574152484-330 | OUT
[12 empty] | NGA | IGCC_w574152484-330 | e_w574152484-330 | OUT
[12 empty] | NGA | IGCC + CCS_w574152484-330 | e_w574152484-330 | OUT
[12 empty] | NGA | Nuclear large_w574152484-330 | e_w574152484-330 | OUT
[12 empty] | NGA | Oxyfuel + CCS_w574152484-330 | e_w574152484-330 | OUT
[12 empty] | NGA | Steam Coal - SUBCRITICAL_w574152484-330 | e_w574152484-330 | OUT
[12 empty] | NGA | Steam Coal - SUPERCRITICAL_w574152484-330 | e_w574152484-330 | OUT
[12 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_w574152484-330 | e_w574152484-330 | OUT
[12 empty] | NGA | Bioenergy + CCUS_w746582404-330 | e_w746582404-330 | OUT
[12 empty] | NGA | Bioenergy - Large scale unit_w746582404-330 | e_w746582404-330 | OUT
[12 empty] | NGA | CCGT_w746582404-330 | e_w746582404-330 | OUT
[12 empty] | NGA | CCGT + CCS_w746582404-330 | e_w746582404-330 | OUT
[12 empty] | NGA | Coal + CCS_w746582404-330 | e_w746582404-330 | OUT
[12 empty] | NGA | Gas turbine_w746582404-330 | e_w746582404-330 | OUT
[12 empty] | NGA | IGCC_w746582404-330 | e_w746582404-330 | OUT
[12 empty] | NGA | IGCC + CCS_w746582404-330 | e_w746582404-330 | OUT
[12 empty] | NGA | Nuclear large_w746582404-330 | e_w746582404-330 | OUT
[12 empty] | NGA | Oxyfuel + CCS_w746582404-330 | e_w746582404-330 | OUT
[12 empty] | NGA | Steam Coal - SUBCRITICAL_w746582404-330 | e_w746582404-330 | OUT
[12 empty] | NGA | Steam Coal - SUPERCRITICAL_w746582404-330 | e_w746582404-330 | OUT
[12 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_w746582404-330 | e_w746582404-330 | OUT
[12 empty] | NGA | Bioenergy + CCUS_w706082453-330 | e_w706082453-330 | OUT
[12 empty] | NGA | Bioenergy - Large scale unit_w706082453-330 | e_w706082453-330 | OUT
[12 empty] | NGA | CCGT_w706082453-330 | e_w706082453-330 | OUT
[12 empty] | NGA | CCGT + CCS_w706082453-330 | e_w706082453-330 | OUT
[12 empty] | NGA | Coal + CCS_w706082453-330 | e_w706082453-330 | OUT
[12 empty] | NGA | Gas turbine_w706082453-330 | e_w706082453-330 | OUT
[12 empty] | NGA | IGCC_w706082453-330 | e_w706082453-330 | OUT
[12 empty] | NGA | IGCC + CCS_w706082453-330 | e_w706082453-330 | OUT
[12 empty] | NGA | Nuclear large_w706082453-330 | e_w706082453-330 | OUT
[12 empty] | NGA | Oxyfuel + CCS_w706082453-330 | e_w706082453-330 | OUT
[12 empty] | NGA | Steam Coal - SUBCRITICAL_w706082453-330 | e_w706082453-330 | OUT
[12 empty] | NGA | Steam Coal - SUPERCRITICAL_w706082453-330 | e_w706082453-330 | OUT
[12 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_w706082453-330 | e_w706082453-330 | OUT
[12 empty] | NGA | Bioenergy + CCUS_w564429999-330 | e_w564429999-330 | OUT
[12 empty] | NGA | Bioenergy - Large scale unit_w564429999-330 | e_w564429999-330 | OUT
[12 empty] | NGA | CCGT_w564429999-330 | e_w564429999-330 | OUT
[12 empty] | NGA | CCGT + CCS_w564429999-330 | e_w564429999-330 | OUT
[12 empty] | NGA | Coal + CCS_w564429999-330 | e_w564429999-330 | OUT
[12 empty] | NGA | Gas turbine_w564429999-330 | e_w564429999-330 | OUT
[12 empty] | NGA | IGCC_w564429999-330 | e_w564429999-330 | OUT
[12 empty] | NGA | IGCC + CCS_w564429999-330 | e_w564429999-330 | OUT
[12 empty] | NGA | Nuclear large_w564429999-330 | e_w564429999-330 | OUT
[12 empty] | NGA | Oxyfuel + CCS_w564429999-330 | e_w564429999-330 | OUT
[12 empty] | NGA | Steam Coal - SUBCRITICAL_w564429999-330 | e_w564429999-330 | OUT
[12 empty] | NGA | Steam Coal - SUPERCRITICAL_w564429999-330 | e_w564429999-330 | OUT
[12 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_w564429999-330 | e_w564429999-330 | OUT
[12 empty] | NGA | Bioenergy + CCUS_w575706869-330 | e_w575706869-330 | OUT
[12 empty] | NGA | Bioenergy - Large scale unit_w575706869-330 | e_w575706869-330 | OUT
[12 empty] | NGA | CCGT_w575706869-330 | e_w575706869-330 | OUT
[12 empty] | NGA | CCGT + CCS_w575706869-330 | e_w575706869-330 | OUT
[12 empty] | NGA | Coal + CCS_w575706869-330 | e_w575706869-330 | OUT
[12 empty] | NGA | Gas turbine_w575706869-330 | e_w575706869-330 | OUT
[12 empty] | NGA | IGCC_w575706869-330 | e_w575706869-330 | OUT
[12 empty] | NGA | IGCC + CCS_w575706869-330 | e_w575706869-330 | OUT
[12 empty] | NGA | Nuclear large_w575706869-330 | e_w575706869-330 | OUT
[12 empty] | NGA | Oxyfuel + CCS_w575706869-330 | e_w575706869-330 | OUT
[12 empty] | NGA | Steam Coal - SUBCRITICAL_w575706869-330 | e_w575706869-330 | OUT
[12 empty] | NGA | Steam Coal - SUPERCRITICAL_w575706869-330 | e_w575706869-330 | OUT
[12 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_w575706869-330 | e_w575706869-330 | OUT
[12 empty] | NGA | Bioenergy + CCUS_w669957212-330 | e_w669957212-330 | OUT
[12 empty] | NGA | Bioenergy - Large scale unit_w669957212-330 | e_w669957212-330 | OUT
[12 empty] | NGA | CCGT_w669957212-330 | e_w669957212-330 | OUT
[12 empty] | NGA | CCGT + CCS_w669957212-330 | e_w669957212-330 | OUT
[12 empty] | NGA | Coal + CCS_w669957212-330 | e_w669957212-330 | OUT
[12 empty] | NGA | Gas turbine_w669957212-330 | e_w669957212-330 | OUT
[12 empty] | NGA | IGCC_w669957212-330 | e_w669957212-330 | OUT
[12 empty] | NGA | IGCC + CCS_w669957212-330 | e_w669957212-330 | OUT
[12 empty] | NGA | Nuclear large_w669957212-330 | e_w669957212-330 | OUT
[12 empty] | NGA | Oxyfuel + CCS_w669957212-330 | e_w669957212-330 | OUT
[12 empty] | NGA | Steam Coal - SUBCRITICAL_w669957212-330 | e_w669957212-330 | OUT
[12 empty] | NGA | Steam Coal - SUPERCRITICAL_w669957212-330 | e_w669957212-330 | OUT
[12 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_w669957212-330 | e_w669957212-330 | OUT
[12 empty] | NGA | Bioenergy + CCUS_w395182311-330 | e_w395182311-330 | OUT
[12 empty] | NGA | Bioenergy - Large scale unit_w395182311-330 | e_w395182311-330 | OUT
[12 empty] | NGA | CCGT_w395182311-330 | e_w395182311-330 | OUT
[12 empty] | NGA | CCGT + CCS_w395182311-330 | e_w395182311-330 | OUT
[12 empty] | NGA | Coal + CCS_w395182311-330 | e_w395182311-330 | OUT
[12 empty] | NGA | Gas turbine_w395182311-330 | e_w395182311-330 | OUT
[12 empty] | NGA | IGCC_w395182311-330 | e_w395182311-330 | OUT
[12 empty] | NGA | IGCC + CCS_w395182311-330 | e_w395182311-330 | OUT
[12 empty] | NGA | Nuclear large_w395182311-330 | e_w395182311-330 | OUT
[12 empty] | NGA | Oxyfuel + CCS_w395182311-330 | e_w395182311-330 | OUT
[12 empty] | NGA | Steam Coal - SUBCRITICAL_w395182311-330 | e_w395182311-330 | OUT
[12 empty] | NGA | Steam Coal - SUPERCRITICAL_w395182311-330 | e_w395182311-330 | OUT
[12 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_w395182311-330 | e_w395182311-330 | OUT
[12 empty] | NGA | Bioenergy + CCUS_w39469643-330 | e_w39469643-330 | OUT
[12 empty] | NGA | Bioenergy - Large scale unit_w39469643-330 | e_w39469643-330 | OUT
[12 empty] | NGA | CCGT_w39469643-330 | e_w39469643-330 | OUT
[12 empty] | NGA | CCGT + CCS_w39469643-330 | e_w39469643-330 | OUT
[12 empty] | NGA | Coal + CCS_w39469643-330 | e_w39469643-330 | OUT
[12 empty] | NGA | Gas turbine_w39469643-330 | e_w39469643-330 | OUT
[12 empty] | NGA | IGCC_w39469643-330 | e_w39469643-330 | OUT
[12 empty] | NGA | IGCC + CCS_w39469643-330 | e_w39469643-330 | OUT
[12 empty] | NGA | Nuclear large_w39469643-330 | e_w39469643-330 | OUT
[12 empty] | NGA | Oxyfuel + CCS_w39469643-330 | e_w39469643-330 | OUT
[12 empty] | NGA | Steam Coal - SUBCRITICAL_w39469643-330 | e_w39469643-330 | OUT
[12 empty] | NGA | Steam Coal - SUPERCRITICAL_w39469643-330 | e_w39469643-330 | OUT
[12 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_w39469643-330 | e_w39469643-330 | OUT
[12 empty] | NGA | Bioenergy + CCUS_w559542338-330 | e_w559542338-330 | OUT
[12 empty] | NGA | Bioenergy - Large scale unit_w559542338-330 | e_w559542338-330 | OUT
[12 empty] | NGA | CCGT_w559542338-330 | e_w559542338-330 | OUT
[12 empty] | NGA | CCGT + CCS_w559542338-330 | e_w559542338-330 | OUT
[12 empty] | NGA | Coal + CCS_w559542338-330 | e_w559542338-330 | OUT
[12 empty] | NGA | Gas turbine_w559542338-330 | e_w559542338-330 | OUT
[12 empty] | NGA | IGCC_w559542338-330 | e_w559542338-330 | OUT
[12 empty] | NGA | IGCC + CCS_w559542338-330 | e_w559542338-330 | OUT
[12 empty] | NGA | Nuclear large_w559542338-330 | e_w559542338-330 | OUT
[12 empty] | NGA | Oxyfuel + CCS_w559542338-330 | e_w559542338-330 | OUT
[12 empty] | NGA | Steam Coal - SUBCRITICAL_w559542338-330 | e_w559542338-330 | OUT
[12 empty] | NGA | Steam Coal - SUPERCRITICAL_w559542338-330 | e_w559542338-330 | OUT
[12 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_w559542338-330 | e_w559542338-330 | OUT
[12 empty] | NGA | Bioenergy + CCUS_w655273140-330 | e_w655273140-330 | OUT
[12 empty] | NGA | Bioenergy - Large scale unit_w655273140-330 | e_w655273140-330 | OUT
[12 empty] | NGA | CCGT_w655273140-330 | e_w655273140-330 | OUT
[12 empty] | NGA | CCGT + CCS_w655273140-330 | e_w655273140-330 | OUT
[12 empty] | NGA | Coal + CCS_w655273140-330 | e_w655273140-330 | OUT
[12 empty] | NGA | Gas turbine_w655273140-330 | e_w655273140-330 | OUT
[12 empty] | NGA | IGCC_w655273140-330 | e_w655273140-330 | OUT
[12 empty] | NGA | IGCC + CCS_w655273140-330 | e_w655273140-330 | OUT
[12 empty] | NGA | Nuclear large_w655273140-330 | e_w655273140-330 | OUT
[12 empty] | NGA | Oxyfuel + CCS_w655273140-330 | e_w655273140-330 | OUT
[12 empty] | NGA | Steam Coal - SUBCRITICAL_w655273140-330 | e_w655273140-330 | OUT
[12 empty] | NGA | Steam Coal - SUPERCRITICAL_w655273140-330 | e_w655273140-330 | OUT
[12 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_w655273140-330 | e_w655273140-330 | OUT
[12 empty] | NGA | Bioenergy + CCUS_w546666333-330 | e_w546666333-330 | OUT
[12 empty] | NGA | Bioenergy - Large scale unit_w546666333-330 | e_w546666333-330 | OUT
[12 empty] | NGA | CCGT_w546666333-330 | e_w546666333-330 | OUT
[12 empty] | NGA | CCGT + CCS_w546666333-330 | e_w546666333-330 | OUT
[12 empty] | NGA | Coal + CCS_w546666333-330 | e_w546666333-330 | OUT
[12 empty] | NGA | Gas turbine_w546666333-330 | e_w546666333-330 | OUT
[12 empty] | NGA | IGCC_w546666333-330 | e_w546666333-330 | OUT
[12 empty] | NGA | IGCC + CCS_w546666333-330 | e_w546666333-330 | OUT
[12 empty] | NGA | Nuclear large_w546666333-330 | e_w546666333-330 | OUT
[12 empty] | NGA | Oxyfuel + CCS_w546666333-330 | e_w546666333-330 | OUT
[12 empty] | NGA | Steam Coal - SUBCRITICAL_w546666333-330 | e_w546666333-330 | OUT
[12 empty] | NGA | Steam Coal - SUPERCRITICAL_w546666333-330 | e_w546666333-330 | OUT
[12 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_w546666333-330 | e_w546666333-330 | OUT
[12 empty] | NGA | Bioenergy + CCUS_NG15-330 | e_NG15-330 | OUT
[12 empty] | NGA | Bioenergy - Large scale unit_NG15-330 | e_NG15-330 | OUT
[12 empty] | NGA | CCGT_NG15-330 | e_NG15-330 | OUT
[12 empty] | NGA | CCGT + CCS_NG15-330 | e_NG15-330 | OUT
[12 empty] | NGA | Coal + CCS_NG15-330 | e_NG15-330 | OUT
[12 empty] | NGA | Gas turbine_NG15-330 | e_NG15-330 | OUT
[12 empty] | NGA | IGCC_NG15-330 | e_NG15-330 | OUT
[12 empty] | NGA | IGCC + CCS_NG15-330 | e_NG15-330 | OUT
[12 empty] | NGA | Nuclear large_NG15-330 | e_NG15-330 | OUT
[12 empty] | NGA | Oxyfuel + CCS_NG15-330 | e_NG15-330 | OUT
[12 empty] | NGA | Steam Coal - SUBCRITICAL_NG15-330 | e_NG15-330 | OUT
[12 empty] | NGA | Steam Coal - SUPERCRITICAL_NG15-330 | e_NG15-330 | OUT
[12 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_NG15-330 | e_NG15-330 | OUT
[12 empty] | NGA | Bioenergy + CCUS_w836122563-330 | e_w836122563-330 | OUT
[12 empty] | NGA | Bioenergy - Large scale unit_w836122563-330 | e_w836122563-330 | OUT
[12 empty] | NGA | CCGT_w836122563-330 | e_w836122563-330 | OUT
[12 empty] | NGA | CCGT + CCS_w836122563-330 | e_w836122563-330 | OUT
[12 empty] | NGA | Coal + CCS_w836122563-330 | e_w836122563-330 | OUT
[12 empty] | NGA | Gas turbine_w836122563-330 | e_w836122563-330 | OUT
[12 empty] | NGA | IGCC_w836122563-330 | e_w836122563-330 | OUT
[12 empty] | NGA | IGCC + CCS_w836122563-330 | e_w836122563-330 | OUT
[12 empty] | NGA | Nuclear large_w836122563-330 | e_w836122563-330 | OUT
[12 empty] | NGA | Oxyfuel + CCS_w836122563-330 | e_w836122563-330 | OUT
[12 empty] | NGA | Steam Coal - SUBCRITICAL_w836122563-330 | e_w836122563-330 | OUT
[12 empty] | NGA | Steam Coal - SUPERCRITICAL_w836122563-330 | e_w836122563-330 | OUT
[12 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_w836122563-330 | e_w836122563-330 | OUT
[12 empty] | NGA | Bioenergy + CCUS_w565866986-330 | e_w565866986-330 | OUT
[12 empty] | NGA | Bioenergy - Large scale unit_w565866986-330 | e_w565866986-330 | OUT
[12 empty] | NGA | CCGT_w565866986-330 | e_w565866986-330 | OUT
[12 empty] | NGA | CCGT + CCS_w565866986-330 | e_w565866986-330 | OUT
[12 empty] | NGA | Coal + CCS_w565866986-330 | e_w565866986-330 | OUT
[12 empty] | NGA | Gas turbine_w565866986-330 | e_w565866986-330 | OUT
[12 empty] | NGA | IGCC_w565866986-330 | e_w565866986-330 | OUT
[12 empty] | NGA | IGCC + CCS_w565866986-330 | e_w565866986-330 | OUT
[12 empty] | NGA | Nuclear large_w565866986-330 | e_w565866986-330 | OUT
[12 empty] | NGA | Oxyfuel + CCS_w565866986-330 | e_w565866986-330 | OUT
[12 empty] | NGA | Steam Coal - SUBCRITICAL_w565866986-330 | e_w565866986-330 | OUT
[12 empty] | NGA | Steam Coal - SUPERCRITICAL_w565866986-330 | e_w565866986-330 | OUT
[12 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_w565866986-330 | e_w565866986-330 | OUT
[12 empty] | NGA | Bioenergy + CCUS_w564430566-330 | e_w564430566-330 | OUT
[12 empty] | NGA | Bioenergy - Large scale unit_w564430566-330 | e_w564430566-330 | OUT
[12 empty] | NGA | CCGT_w564430566-330 | e_w564430566-330 | OUT
[12 empty] | NGA | CCGT + CCS_w564430566-330 | e_w564430566-330 | OUT
[12 empty] | NGA | Coal + CCS_w564430566-330 | e_w564430566-330 | OUT
[12 empty] | NGA | Gas turbine_w564430566-330 | e_w564430566-330 | OUT
[12 empty] | NGA | IGCC_w564430566-330 | e_w564430566-330 | OUT
[12 empty] | NGA | IGCC + CCS_w564430566-330 | e_w564430566-330 | OUT
[12 empty] | NGA | Nuclear large_w564430566-330 | e_w564430566-330 | OUT
[12 empty] | NGA | Oxyfuel + CCS_w564430566-330 | e_w564430566-330 | OUT
[12 empty] | NGA | Steam Coal - SUBCRITICAL_w564430566-330 | e_w564430566-330 | OUT
[12 empty] | NGA | Steam Coal - SUPERCRITICAL_w564430566-330 | e_w564430566-330 | OUT
[12 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_w564430566-330 | e_w564430566-330 | OUT
[12 empty] | NGA | Bioenergy + CCUS_w565081403-330 | e_w565081403-330 | OUT
[12 empty] | NGA | Bioenergy - Large scale unit_w565081403-330 | e_w565081403-330 | OUT
[12 empty] | NGA | CCGT_w565081403-330 | e_w565081403-330 | OUT
[12 empty] | NGA | CCGT + CCS_w565081403-330 | e_w565081403-330 | OUT
[12 empty] | NGA | Coal + CCS_w565081403-330 | e_w565081403-330 | OUT
[12 empty] | NGA | Gas turbine_w565081403-330 | e_w565081403-330 | OUT
[12 empty] | NGA | IGCC_w565081403-330 | e_w565081403-330 | OUT
[12 empty] | NGA | IGCC + CCS_w565081403-330 | e_w565081403-330 | OUT
[12 empty] | NGA | Nuclear large_w565081403-330 | e_w565081403-330 | OUT
[12 empty] | NGA | Oxyfuel + CCS_w565081403-330 | e_w565081403-330 | OUT
[12 empty] | NGA | Steam Coal - SUBCRITICAL_w565081403-330 | e_w565081403-330 | OUT
[12 empty] | NGA | Steam Coal - SUPERCRITICAL_w565081403-330 | e_w565081403-330 | OUT
[12 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_w565081403-330 | e_w565081403-330 | OUT
[12 empty] | NGA | Bioenergy + CCUS_NG7-330 | e_NG7-330 | OUT
[12 empty] | NGA | Bioenergy - Large scale unit_NG7-330 | e_NG7-330 | OUT
[12 empty] | NGA | CCGT_NG7-330 | e_NG7-330 | OUT
[12 empty] | NGA | CCGT + CCS_NG7-330 | e_NG7-330 | OUT
[12 empty] | NGA | Coal + CCS_NG7-330 | e_NG7-330 | OUT
[12 empty] | NGA | Gas turbine_NG7-330 | e_NG7-330 | OUT
[12 empty] | NGA | IGCC_NG7-330 | e_NG7-330 | OUT
[12 empty] | NGA | IGCC + CCS_NG7-330 | e_NG7-330 | OUT
[12 empty] | NGA | Nuclear large_NG7-330 | e_NG7-330 | OUT
[12 empty] | NGA | Oxyfuel + CCS_NG7-330 | e_NG7-330 | OUT
[12 empty] | NGA | Steam Coal - SUBCRITICAL_NG7-330 | e_NG7-330 | OUT
[12 empty] | NGA | Steam Coal - SUPERCRITICAL_NG7-330 | e_NG7-330 | OUT
[12 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_NG7-330 | e_NG7-330 | OUT
[12 empty] | NGA | Bioenergy + CCUS_w1057700475-330 | e_w1057700475-330 | OUT
[12 empty] | NGA | Bioenergy - Large scale unit_w1057700475-330 | e_w1057700475-330 | OUT
[12 empty] | NGA | CCGT_w1057700475-330 | e_w1057700475-330 | OUT
[12 empty] | NGA | CCGT + CCS_w1057700475-330 | e_w1057700475-330 | OUT
[12 empty] | NGA | Coal + CCS_w1057700475-330 | e_w1057700475-330 | OUT
[12 empty] | NGA | Gas turbine_w1057700475-330 | e_w1057700475-330 | OUT
[12 empty] | NGA | IGCC_w1057700475-330 | e_w1057700475-330 | OUT
[12 empty] | NGA | IGCC + CCS_w1057700475-330 | e_w1057700475-330 | OUT
[12 empty] | NGA | Nuclear large_w1057700475-330 | e_w1057700475-330 | OUT
[12 empty] | NGA | Oxyfuel + CCS_w1057700475-330 | e_w1057700475-330 | OUT
[12 empty] | NGA | Steam Coal - SUBCRITICAL_w1057700475-330 | e_w1057700475-330 | OUT
[12 empty] | NGA | Steam Coal - SUPERCRITICAL_w1057700475-330 | e_w1057700475-330 | OUT
[12 empty] | NGA | Steam Coal - ULTRASUPERCRITICAL_w1057700475-330 | e_w1057700475-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-1_w565081403-330 | e_w565081403-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-2_w565081403-330 | e_w565081403-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-3_w565081403-330 | e_w565081403-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-1_w267122040-330 | e_w267122040-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-2_w267122040-330 | e_w267122040-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-3_w267122040-330 | e_w267122040-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-1_w565847437-330 | e_w565847437-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-2_w565847437-330 | e_w565847437-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-3_w565847437-330 | e_w565847437-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-1_w540463591-330 | e_w540463591-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-2_w540463591-330 | e_w540463591-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-3_w540463591-330 | e_w540463591-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-1_w695826179-330 | e_w695826179-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-2_w695826179-330 | e_w695826179-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-3_w695826179-330 | e_w695826179-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-1_w215459565-330 | e_w215459565-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-2_w215459565-330 | e_w215459565-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-3_w215459565-330 | e_w215459565-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-1_w266617120-330 | e_w266617120-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-2_w266617120-330 | e_w266617120-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-3_w266617120-330 | e_w266617120-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-1_w563715917-330 | e_w563715917-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-2_w563715917-330 | e_w563715917-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-3_w563715917-330 | e_w563715917-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-1_NG15-330 | e_NG15-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-2_NG15-330 | e_NG15-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-3_NG15-330 | e_NG15-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-1_w556550171-330 | e_w556550171-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-2_w556550171-330 | e_w556550171-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-3_w556550171-330 | e_w556550171-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-1_w564445207-330 | e_w564445207-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-2_w564445207-330 | e_w564445207-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-3_w564445207-330 | e_w564445207-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-1_NG3-330 | e_NG3-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-2_NG3-330 | e_NG3-330 | OUT
[12 empty] | NGA | EN_Hydro_NGA-3_NG3-330 | e_NG3-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w565486405-330 | e_w565486405-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w565486405-330 | e_w565486405-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_NG21-330 | e_NG21-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_NG21-330 | e_NG21-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_NG18-330 | e_NG18-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_NG18-330 | e_NG18-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w563732518-330 | e_w563732518-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w563732518-330 | e_w563732518-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w215459565-330 | e_w215459565-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w215459565-330 | e_w215459565-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_NG17-330 | e_NG17-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_NG17-330 | e_NG17-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w574152484-330 | e_w574152484-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w574152484-330 | e_w574152484-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w746582404-330 | e_w746582404-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w746582404-330 | e_w746582404-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w706082453-330 | e_w706082453-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w706082453-330 | e_w706082453-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w564429999-330 | e_w564429999-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w564429999-330 | e_w564429999-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w575706869-330 | e_w575706869-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w575706869-330 | e_w575706869-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w669957212-330 | e_w669957212-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w669957212-330 | e_w669957212-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w395182311-330 | e_w395182311-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w395182311-330 | e_w395182311-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w39469643-330 | e_w39469643-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w39469643-330 | e_w39469643-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w559542338-330 | e_w559542338-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w559542338-330 | e_w559542338-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w655273140-330 | e_w655273140-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w655273140-330 | e_w655273140-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w546666333-330 | e_w546666333-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w546666333-330 | e_w546666333-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_NG15-330 | e_NG15-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_NG15-330 | e_NG15-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w836122563-330 | e_w836122563-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w836122563-330 | e_w836122563-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w565866986-330 | e_w565866986-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w565866986-330 | e_w565866986-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w564430566-330 | e_w564430566-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w564430566-330 | e_w564430566-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w565081403-330 | e_w565081403-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w565081403-330 | e_w565081403-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_NG7-330 | e_NG7-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_NG7-330 | e_NG7-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w1057700475-330 | e_w1057700475-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w1057700475-330 | e_w1057700475-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w108020974-330 | e_w108020974-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w108020974-330 | e_w108020974-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w556550171-330 | e_w556550171-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w556550171-330 | e_w556550171-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w267122040-330 | e_w267122040-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w267122040-330 | e_w267122040-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w565847437-330 | e_w565847437-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w565847437-330 | e_w565847437-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w540463591-330 | e_w540463591-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w540463591-330 | e_w540463591-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w695826179-330 | e_w695826179-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w695826179-330 | e_w695826179-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w266617120-330 | e_w266617120-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w266617120-330 | e_w266617120-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w563715917-330 | e_w563715917-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w563715917-330 | e_w563715917-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_w564445207-330 | e_w564445207-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_w564445207-330 | e_w564445207-330 | OUT
[12 empty] | NGA | EN_STG8hbNREL_NG3-330 | e_NG3-330 | OUT
[12 empty] | NGA | EN_STG4hbNREL_NG3-330 | e_NG3-330 | OUT

## re_targets
RE Targets from EMBER
TARGET_YEAR | FUEL_CATEGORY | METRIC | VALUE | SOURCE_TYPE | SOURCE_NAME | PUBLISHER | ANNOUNCEMENT_DATE | LINK | SOURCE_SUMMARY | NOTES
2030 | Bioenergy | capacity_total_gw | 1.1 | National strategy or plans (approved) | National Renewable Energy Action Plans (NREAP) 2016 | THE FEDERAL REPUBLIC OF NIGERIA, NATIONAL COUNCIL ON POWER (NACOP) | 2016-07-14 | https://www.se4all-africa.org/fileadmin/uploads/se4all/Documents/Country_PANER/Nigeria_National_Renewable_Energy_Action_Plans_.pdf | The National Renewable Energy Action Plans (NREAP) document was developed by Nigeria's National Council of Power (NACOP) and serves as the main document to provide insight into Nigeria's renewable energy potential and policy agendas to accomplish its climate goals. Both capacity and generation figures are provided with fuel breakdowns for 2030. | p. 6 of the report: "This analysis indicates that delivering 16% renewable energy by 2030 is feasible through domestic action and could be achieved with the following proportion of energy consumption in the electricity sector coming from renewables: Small Hydropower (7.07%); Solar (5.90%); Biomass (2.78%); and Wind (0.25%)." p. 10, Table 7: Targets for the share of grid-connected renewable energy in 2010, 2020 and 2030 Table 8: National 2020 and 2030 targets and estimated trajectory of grid-connected renewable energy generation (MWh) p. 11 and 12 for charts with detailed fuel breakdowns for capacity and generation. p. 17, Table 12: National 2020 and 2030 targets and estimated trajectory for off-grid RE systems Please follow along to total hydro and non-hydro capacity and generation figures to try and piece together the unconventional formatting of decimal places of tables on p. 11 and 12.
2030 | Hydro | capacity_total_gw | 5.9 | National strategy or plans (approved) | National Renewable Energy Action Plans (NREAP) 2016 | THE FEDERAL REPUBLIC OF NIGERIA, NATIONAL COUNCIL ON POWER (NACOP) | 2016-07-14 | https://www.se4all-africa.org/fileadmin/uploads/se4all/Documents/Country_PANER/Nigeria_National_Renewable_Energy_Action_Plans_.pdf | The National Renewable Energy Action Plans (NREAP) document was developed by Nigeria's National Council of Power (NACOP) and serves as the main document to provide insight into Nigeria's renewable energy potential and policy agendas to accomplish its climate goals. Both capacity and generation figures are provided with fuel breakdowns for 2030. | p. 6 of the report: "This analysis indicates that delivering 16% renewable energy by 2030 is feasible through domestic action and could be achieved with the following proportion of energy consumption in the electricity sector coming from renewables: Small Hydropower (7.07%); Solar (5.90%); Biomass (2.78%); and Wind (0.25%)." p. 10, Table 7: Targets for the share of grid-connected renewable energy in 2010, 2020 and 2030 Table 8: National 2020 and 2030 targets and estimated trajectory of grid-connected renewable energy generation (MWh) p. 11 and 12 for charts with detailed fuel breakdowns for capacity and generation. p. 17, Table 12: National 2020 and 2030 targets and estimated trajectory for off-grid RE systems Please follow along to total hydro and non-hydro capacity and generation figures to try and piece together the unconventional formatting of decimal places of tables on p. 11 and 12.
2030 | Other Renewables | capacity_total_gw | 5.374 | National strategy or plans (approved) | National Renewable Energy Action Plans (NREAP) 2016 | THE FEDERAL REPUBLIC OF NIGERIA, NATIONAL COUNCIL ON POWER (NACOP) | 2016-07-14 | https://www.se4all-africa.org/fileadmin/uploads/se4all/Documents/Country_PANER/Nigeria_National_Renewable_Energy_Action_Plans_.pdf | The National Renewable Energy Action Plans (NREAP) document was developed by Nigeria's National Council of Power (NACOP) and serves as the main document to provide insight into Nigeria's renewable energy potential and policy agendas to accomplish its climate goals. Both capacity and generation figures are provided with fuel breakdowns for 2030. | p. 6 of the report: "This analysis indicates that delivering 16% renewable energy by 2030 is feasible through domestic action and could be achieved with the following proportion of energy consumption in the electricity sector coming from renewables: Small Hydropower (7.07%); Solar (5.90%); Biomass (2.78%); and Wind (0.25%)." p. 10, Table 7: Targets for the share of grid-connected renewable energy in 2010, 2020 and 2030 Table 8: National 2020 and 2030 targets and estimated trajectory of grid-connected renewable energy generation (MWh) p. 11 and 12 for charts with detailed fuel breakdowns for capacity and generation. p. 17, Table 12: National 2020 and 2030 targets and estimated trajectory for off-grid RE systems Please follow along to total hydro and non-hydro capacity and generation figures to try and piece together the unconventional formatting of decimal places of tables on p. 11 and 12.
2030 | Solar | capacity_total_gw | 6 | National strategy or plans (approved) | National Renewable Energy Action Plans (NREAP) 2016 | THE FEDERAL REPUBLIC OF NIGERIA, NATIONAL COUNCIL ON POWER (NACOP) | 2016-07-14 | https://www.se4all-africa.org/fileadmin/uploads/se4all/Documents/Country_PANER/Nigeria_National_Renewable_Energy_Action_Plans_.pdf | The National Renewable Energy Action Plans (NREAP) document was developed by Nigeria's National Council of Power (NACOP) and serves as the main document to provide insight into Nigeria's renewable energy potential and policy agendas to accomplish its climate goals. Both capacity and generation figures are provided with fuel breakdowns for 2030. | p. 6 of the report: "This analysis indicates that delivering 16% renewable energy by 2030 is feasible through domestic action and could be achieved with the following proportion of energy consumption in the electricity sector coming from renewables: Small Hydropower (7.07%); Solar (5.90%); Biomass (2.78%); and Wind (0.25%)." p. 10, Table 7: Targets for the share of grid-connected renewable energy in 2010, 2020 and 2030 Table 8: National 2020 and 2030 targets and estimated trajectory of grid-connected renewable energy generation (MWh) p. 11 and 12 for charts with detailed fuel breakdowns for capacity and generation. p. 17, Table 12: National 2020 and 2030 targets and estimated trajectory for off-grid RE systems Please follow along to total hydro and non-hydro capacity and generation figures to try and piece together the unconventional formatting of decimal places of tables on p. 11 and 12.
2030 | Wind | capacity_total_gw | 0.8 | National strategy or plans (approved) | National Renewable Energy Action Plans (NREAP) 2016 | THE FEDERAL REPUBLIC OF NIGERIA, NATIONAL COUNCIL ON POWER (NACOP) | 2016-07-14 | https://www.se4all-africa.org/fileadmin/uploads/se4all/Documents/Country_PANER/Nigeria_National_Renewable_Energy_Action_Plans_.pdf | The National Renewable Energy Action Plans (NREAP) document was developed by Nigeria's National Council of Power (NACOP) and serves as the main document to provide insight into Nigeria's renewable energy potential and policy agendas to accomplish its climate goals. Both capacity and generation figures are provided with fuel breakdowns for 2030. | p. 6 of the report: "This analysis indicates that delivering 16% renewable energy by 2030 is feasible through domestic action and could be achieved with the following proportion of energy consumption in the electricity sector coming from renewables: Small Hydropower (7.07%); Solar (5.90%); Biomass (2.78%); and Wind (0.25%)." p. 10, Table 7: Targets for the share of grid-connected renewable energy in 2010, 2020 and 2030 Table 8: National 2020 and 2030 targets and estimated trajectory of grid-connected renewable energy generation (MWh) p. 11 and 12 for charts with detailed fuel breakdowns for capacity and generation. p. 17, Table 12: National 2020 and 2030 targets and estimated trajectory for off-grid RE systems Please follow along to total hydro and non-hydro capacity and generation figures to try and piece together the unconventional formatting of decimal places of tables on p. 11 and 12.
2030 | Renewables | share_of_generation_pct | 31 | National strategy or plans (approved) | National Renewable Energy Action Plans (NREAP) 2016 | THE FEDERAL REPUBLIC OF NIGERIA, NATIONAL COUNCIL ON POWER (NACOP) | 2016-07-14 | https://www.se4all-africa.org/fileadmin/uploads/se4all/Documents/Country_PANER/Nigeria_National_Renewable_Energy_Action_Plans_.pdf | The National Renewable Energy Action Plans (NREAP) document was developed by Nigeria's National Council of Power (NACOP) and serves as the main document to provide insight into Nigeria's renewable energy potential and policy agendas to accomplish its climate goals. Both capacity and generation figures are provided with fuel breakdowns for 2030. | p. 6 of the report: "This analysis indicates that delivering 16% renewable energy by 2030 is feasible through domestic action and could be achieved with the following proportion of energy consumption in the electricity sector coming from renewables: Small Hydropower (7.07%); Solar (5.90%); Biomass (2.78%); and Wind (0.25%)." p. 10, Table 7: Targets for the share of grid-connected renewable energy in 2010, 2020 and 2030 Table 8: National 2020 and 2030 targets and estimated trajectory of grid-connected renewable energy generation (MWh) p. 11 and 12 for charts with detailed fuel breakdowns for capacity and generation. p. 17, Table 12: National 2020 and 2030 targets and estimated trajectory for off-grid RE systems Please follow along to total hydro and non-hydro capacity and generation figures to try and piece together the unconventional formatting of decimal places of tables on p. 11 and 12.

## Veda
[18 empty] | 1.1 |  | 0.2
[5 empty] | model_fuel | ember_min | ember_max | irena_min | irena_max
| ~TFM_INS-AT |  |  |  | bioenergy | 11.42% | 6553500% | 28.48% | 37.96% |  |  | ~UC_Sets: R_E: AllRegions
* | pset_ci | process | AFA |  | coal | 0% | 0%
| \I: hydro | ep*,EN* |  |  | gas | 25.28% | 42.05% | 22.52% | 43.41%
28% | \I: solar | ep* |  |  | hydro | 24.86% | 45.61% | 28.27% | 71.72% |  | ~UC_T: UC_CAP~LO | [10 empty] | ~UC_T: UC_CAP~UP
| \I: wind | ep* |  |  | nuclear | [5 empty] | UC_N | pset_ci | pset_co | UC_ACT | UC_CAP | 2022 | 2050 | UC_RHSRT | UC_RHSRT~0 |  |  | UC_N | pset_ci | UC_ACT | UC_CAP | 2050 | UC_RHSRT | UC_RHSRT~0
| nuclear | ep* | 0% |  | oil |  |  | 6% | 6% |  | UCE_max coal fleet utilization | coal | -CO2Captured | -0.11416 |  | 0 | 0 | 0 | 3 |  |  | UCE_min coal fleet utilization | coal | -0.11416 | 0 | 0 | 0 | 3
[5 empty] | solar | 5.189% | 6553500% | 16.83% | 16.99% |  | UCE_max gas fleet utilization | gas | -CO2Captured | -0.11416 |  | 0.42048 | 0.46252 | 0 | 3 |  |  | UCE_min gas fleet utilization | gas | -0.11416 | 0.25275 | 0.050551 | 0 | 3
[5 empty] | windon | [16 empty] | UCE_min oil fleet utilization | oil | -0.11416 | 0 | 0 | 0 | 3
| ~TFM_INS | [9 empty] | ~UC_T: 2050
| attribute | value | process | [7 empty] | UC_N | pset_ci | pset_co | UC_ACT | UC_CAP | 2022 | 2050 | UC_RHSRT | UC_RHSRT~0
| START | 2100 | Hydropower - large-scale unit,Solar photovoltaics - Large scale unit,Wind offshore,Wind onshore | [6 empty] | Hydropower - large-scale unit | UCE_max nuclear capacity | nuclear |  |  | 1 |  |  | 0 | 3 |  | 0 | base-year nuclear capacity
Solar photovoltaics - Large scale unit
Wind offshore
Wind onshore
~TFM_INS
| attribute | cset_cn | other_indexes | value | pset_co | process
| VDA_EMCB | coal | CO2 | 338.4 |  |  |  | 94
| VDA_EMCB | gas | CO2 | 198 |  |  |  | 55
| VDA_EMCB | oil | CO2 | 252 |  |  |  | 70
| COM_AGG | co2 | co2net | 1
| COM_AGG | co2captured | co2net | -1
| flo_cost | co2captured |  | 0.03 | co2captured
| life |  |  | 50 |  | g[_]*
| prc_capact |  |  | 8.76 |  | g[_]*
~UC_T: FX
| UC_N | pset_pn | pset_ci | UC_CAP | UC_RHSRT~0
| UCE_Solar capacity aggregation for peak | ElcAgg_Solar |  | 1 | 2
|  |  | solar | -1
| UCE_Wind capacity aggregation for peak | ElcAgg_Wind |  | 1 | 2
|  |  | wind* | -1
Note on B5: Amit Kanudia: 11-09-2025 AFS will be sufficient
Note on D8: Amit Kanudia: 29-07-2025 ember
Note on E27: Amit Kanudia: 03-08-2025 CO2 transport and storage cost

## buildrates
BUILD RATE ASSUMPTIONS
| iso | Solar Low | Solar High | Wind Low | Wind High | Hydro Low | Hydro High | Nuclear Low | Nuclear High
| NGA | 8 | 15 | 2 | 5 | 0.5 | 1 | 0 | 1
~UC_Sets: R_E: AllRegions
~UC_T: uc_rhsrt
* | uc_n | pset_ci | uc_attr | uc_ncap | 2025 | 2040 | 0
solar | uce_buildrate_solar | solar | ncap,buildup | 1 | 8 | 15 | 4
wind | uce_buildrate_wind | wind* | ncap,buildup | 1 | 2 | 5 | 4
hydro | uce_buildrate_hydro | hydro | ncap,buildup | 1 | 0.5 | 1 | 4
nuclear | uce_buildrate_nuclear | nuclear | ncap,buildup | 1 | 0 | 1 | 4

## historical_data_long
model_fuel | Year | Unit | Value
coal | 2000 | TWh | 0
gas | 2000 | TWh | 9.1
hydro | 2000 | TWh | 5.63
nuclear | 2000 | TWh | 0
oil | 2000 | TWh | 0
coal | 2001 | TWh | 0
gas | 2001 | TWh | 9.55
hydro | 2001 | TWh | 5.91
nuclear | 2001 | TWh | 0
oil | 2001 | TWh | 0
coal | 2002 | TWh | 0
gas | 2002 | TWh | 13.31
hydro | 2002 | TWh | 8.23
nuclear | 2002 | TWh | 0
oil | 2002 | TWh | 0
coal | 2003 | TWh | 0
gas | 2003 | TWh | 12.74
hydro | 2003 | TWh | 7.45
nuclear | 2003 | TWh | 0
oil | 2003 | TWh | 0
coal | 2004 | TWh | 0
gas | 2004 | TWh | 16.17
hydro | 2004 | TWh | 8.11
nuclear | 2004 | TWh | 0
oil | 2004 | TWh | 0
coal | 2005 | TWh | 0
gas | 2005 | TWh | 15.77
hydro | 2005 | TWh | 7.77
nuclear | 2005 | TWh | 0
oil | 2005 | TWh | 0
coal | 2006 | TWh | 0
gas | 2006 | TWh | 16.85
hydro | 2006 | TWh | 6.26
nuclear | 2006 | TWh | 0
oil | 2006 | TWh | 0
coal | 2007 | TWh | 0
gas | 2007 | TWh | 16.75
hydro | 2007 | TWh | 6.23
nuclear | 2007 | TWh | 0
oil | 2007 | TWh | 0
coal | 2008 | TWh | 0
gas | 2008 | TWh | 15.39
hydro | 2008 | TWh | 5.72
nuclear | 2008 | TWh | 0
oil | 2008 | TWh | 0
coal | 2009 | TWh | 0
gas | 2009 | TWh | 15.25
hydro | 2009 | TWh | 4.53
nuclear | 2009 | TWh | 0
oil | 2009 | TWh | 0
coal | 2010 | TWh | 0
gas | 2010 | TWh | 19.75
hydro | 2010 | TWh | 6.37
nuclear | 2010 | TWh | 0
oil | 2010 | TWh | 0
coal | 2011 | TWh | 0
gas | 2011 | TWh | 21.15
hydro | 2011 | TWh | 5.88
nuclear | 2011 | TWh | 0
oil | 2011 | TWh | 0
coal | 2012 | TWh | 0
gas | 2012 | TWh | 23.05
hydro | 2012 | TWh | 5.66
nuclear | 2012 | TWh | 0
oil | 2012 | TWh | 0
coal | 2013 | TWh | 0
gas | 2013 | TWh | 23.56
hydro | 2013 | TWh | 5.33
nuclear | 2013 | TWh | 0
oil | 2013 | TWh | 0
coal | 2014 | TWh | 0
gas | 2014 | TWh | 26.89
hydro | 2014 | TWh | 5.35
nuclear | 2014 | TWh | 0
oil | 2014 | TWh | 0
coal | 2015 | TWh | 0
gas | 2015 | TWh | 26.7
hydro | 2015 | TWh | 6.42
nuclear | 2015 | TWh | 0
oil | 2015 | TWh | 0
coal | 2016 | TWh | 0
gas | 2016 | TWh | 28.33
hydro | 2016 | TWh | 8.15
nuclear | 2016 | TWh | 0
oil | 2016 | TWh | 0
coal | 2017 | TWh | 0
gas | 2017 | TWh | 24.44
hydro | 2017 | TWh | 7.75
nuclear | 2017 | TWh | 0
oil | 2017 | TWh | 0
coal | 2018 | TWh | 0
gas | 2018 | TWh | 25.66
hydro | 2018 | TWh | 7.7
nuclear | 2018 | TWh | 0
oil | 2018 | TWh | 0
coal | 2019 | TWh | 0
gas | 2019 | TWh | 24.63
hydro | 2019 | TWh | 8.43
nuclear | 2019 | TWh | 0
oil | 2019 | TWh | 0
coal | 2020 | TWh | 0
gas | 2020 | TWh | 27.32
hydro | 2020 | TWh | 7.69
nuclear | 2020 | TWh | 0
oil | 2020 | TWh | 0
coal | 2021 | TWh | 0
gas | 2021 | TWh | 28.05
hydro | 2021 | TWh | 7.94
nuclear | 2021 | TWh | 0
oil | 2021 | TWh | 0
coal | 2022 | TWh | 0
gas | 2022 | TWh | 28.97
hydro | 2022 | TWh | 7.94
nuclear | 2022 | TWh | 0
oil | 2022 | TWh | 0
coal | 2023 | TWh | 0
gas | 2023 | TWh | 32.3
hydro | 2023 | TWh | 8.28
nuclear | 2023 | TWh | 0
oil | 2023 | TWh | 0
coal | 2000 | GW | 0.28
gas | 2000 | GW | 4.11
hydro | 2000 | GW | 2.08
nuclear | 2000 | GW
oil | 2000 | GW
coal | 2001 | GW | 0.28
gas | 2001 | GW | 4.11
hydro | 2001 | GW | 2.08
nuclear | 2001 | GW
oil | 2001 | GW
coal | 2002 | GW | 0.28
gas | 2002 | GW | 4.39
hydro | 2002 | GW | 2.08
nuclear | 2002 | GW
oil | 2002 | GW
coal | 2003 | GW | 0.28
gas | 2003 | GW | 4.39
hydro | 2003 | GW | 2.08
nuclear | 2003 | GW
oil | 2003 | GW
coal | 2004 | GW | 0.28
gas | 2004 | GW | 4.39
hydro | 2004 | GW | 2.08
nuclear | 2004 | GW
oil | 2004 | GW
coal | 2005 | GW | 0.28
gas | 2005 | GW | 4.87
hydro | 2005 | GW | 2.08
nuclear | 2005 | GW
oil | 2005 | GW
coal | 2006 | GW | 0.28
gas | 2006 | GW | 4.87
hydro | 2006 | GW | 2.08
nuclear | 2006 | GW
oil | 2006 | GW
coal | 2007 | GW | 0.28
gas | 2007 | GW | 5.3
hydro | 2007 | GW | 2.08
nuclear | 2007 | GW
oil | 2007 | GW
coal | 2008 | GW | 0.28
gas | 2008 | GW | 5.95
hydro | 2008 | GW | 2.08
nuclear | 2008 | GW
oil | 2008 | GW
coal | 2009 | GW | 0.28
gas | 2009 | GW | 6.14
hydro | 2009 | GW | 2.08
nuclear | 2009 | GW
oil | 2009 | GW
coal | 2010 | GW | 0.28
gas | 2010 | GW | 6.14
hydro | 2010 | GW | 2.08
nuclear | 2010 | GW
oil | 2010 | GW
coal | 2011 | GW | 0.28
gas | 2011 | GW | 6.32
hydro | 2011 | GW | 2.11
nuclear | 2011 | GW
oil | 2011 | GW
coal | 2012 | GW | 0.28
gas | 2012 | GW | 7.28
hydro | 2012 | GW | 2.11
nuclear | 2012 | GW
oil | 2012 | GW
coal | 2013 | GW | 0.28
gas | 2013 | GW | 8.24
hydro | 2013 | GW | 2.11
nuclear | 2013 | GW
oil | 2013 | GW
coal | 2014 | GW | 0.28
gas | 2014 | GW | 8.24
hydro | 2014 | GW | 2.11
nuclear | 2014 | GW
oil | 2014 | GW
coal | 2015 | GW | 0.28
gas | 2015 | GW | 10.06
hydro | 2015 | GW | 2.11
nuclear | 2015 | GW
oil | 2015 | GW
coal | 2016 | GW | 0.28
gas | 2016 | GW | 10.18
hydro | 2016 | GW | 2.11
nuclear | 2016 | GW
oil | 2016 | GW
coal | 2017 | GW | 0.28
gas | 2017 | GW | 10.18
hydro | 2017 | GW | 2.11
nuclear | 2017 | GW
oil | 2017 | GW
coal | 2018 | GW | 0.28
gas | 2018 | GW | 10.76
hydro | 2018 | GW | 2.11
nuclear | 2018 | GW
oil | 2018 | GW
coal | 2019 | GW | 0.28
gas | 2019 | GW | 10.87
hydro | 2019 | GW | 2.11
nuclear | 2019 | GW
oil | 2019 | GW
coal | 2020 | GW | 0.28
gas | 2020 | GW | 11
hydro | 2020 | GW | 2.15
nuclear | 2020 | GW
oil | 2020 | GW
coal | 2021 | GW | 0.28
gas | 2021 | GW | 11.29
hydro | 2021 | GW | 2.15
nuclear | 2021 | GW
oil | 2021 | GW
coal | 2022 | GW | 0.28
gas | 2022 | GW | 11.29
hydro | 2022 | GW | 2.15
nuclear | 2022 | GW
oil | 2022 | GW
coal | 2023 | GW | 0.28
gas | 2023 | GW | 11.29
hydro | 2023 | GW | 2.85
nuclear | 2023 | GW
oil | 2023 | GW
bioenergy | 2000 | mtCO2 | 0
coal | 2000 | mtCO2 | 0
gas | 2000 | mtCO2 | 5.94
hydro | 2000 | mtCO2 | 0.13
nuclear | 2000 | mtCO2 | 0
oil | 2000 | mtCO2 | 0
bioenergy | 2000 | mtCO2 | 0
solar | 2000 | mtCO2 | 0
windon | 2000 | mtCO2 | 0
bioenergy | 2001 | mtCO2 | 0
coal | 2001 | mtCO2 | 0
gas | 2001 | mtCO2 | 6.23
hydro | 2001 | mtCO2 | 0.14
nuclear | 2001 | mtCO2 | 0
oil | 2001 | mtCO2 | 0
bioenergy | 2001 | mtCO2 | 0
solar | 2001 | mtCO2 | 0
windon | 2001 | mtCO2 | 0
bioenergy | 2002 | mtCO2 | 0
coal | 2002 | mtCO2 | 0
gas | 2002 | mtCO2 | 8.68
hydro | 2002 | mtCO2 | 0.2
nuclear | 2002 | mtCO2 | 0
oil | 2002 | mtCO2 | 0
bioenergy | 2002 | mtCO2 | 0
solar | 2002 | mtCO2 | 0
windon | 2002 | mtCO2 | 0
bioenergy | 2003 | mtCO2 | 0
coal | 2003 | mtCO2 | 0
gas | 2003 | mtCO2 | 8.31
hydro | 2003 | mtCO2 | 0.18
nuclear | 2003 | mtCO2 | 0
oil | 2003 | mtCO2 | 0
bioenergy | 2003 | mtCO2 | 0
solar | 2003 | mtCO2 | 0
windon | 2003 | mtCO2 | 0
bioenergy | 2004 | mtCO2 | 0
coal | 2004 | mtCO2 | 0
gas | 2004 | mtCO2 | 10.55
hydro | 2004 | mtCO2 | 0.19
nuclear | 2004 | mtCO2 | 0
oil | 2004 | mtCO2 | 0
bioenergy | 2004 | mtCO2 | 0
solar | 2004 | mtCO2 | 0
windon | 2004 | mtCO2 | 0
bioenergy | 2005 | mtCO2 | 0
coal | 2005 | mtCO2 | 0
gas | 2005 | mtCO2 | 10.29
hydro | 2005 | mtCO2 | 0.18
nuclear | 2005 | mtCO2 | 0
oil | 2005 | mtCO2 | 0
bioenergy | 2005 | mtCO2 | 0
solar | 2005 | mtCO2 | 0
windon | 2005 | mtCO2 | 0
bioenergy | 2006 | mtCO2 | 0
coal | 2006 | mtCO2 | 0
gas | 2006 | mtCO2 | 10.99
hydro | 2006 | mtCO2 | 0.15
nuclear | 2006 | mtCO2 | 0
oil | 2006 | mtCO2 | 0
bioenergy | 2006 | mtCO2 | 0
solar | 2006 | mtCO2 | 0
windon | 2006 | mtCO2 | 0
bioenergy | 2007 | mtCO2 | 0
coal | 2007 | mtCO2 | 0
gas | 2007 | mtCO2 | 10.93
hydro | 2007 | mtCO2 | 0.15
nuclear | 2007 | mtCO2 | 0
oil | 2007 | mtCO2 | 0
bioenergy | 2007 | mtCO2 | 0
solar | 2007 | mtCO2 | 0
windon | 2007 | mtCO2 | 0
bioenergy | 2008 | mtCO2 | 0
coal | 2008 | mtCO2 | 0
gas | 2008 | mtCO2 | 10.04
hydro | 2008 | mtCO2 | 0.14
nuclear | 2008 | mtCO2 | 0
oil | 2008 | mtCO2 | 0
bioenergy | 2008 | mtCO2 | 0
solar | 2008 | mtCO2 | 0
windon | 2008 | mtCO2 | 0
bioenergy | 2009 | mtCO2 | 0
coal | 2009 | mtCO2 | 0
gas | 2009 | mtCO2 | 9.95
hydro | 2009 | mtCO2 | 0.11
nuclear | 2009 | mtCO2 | 0
oil | 2009 | mtCO2 | 0
bioenergy | 2009 | mtCO2 | 0
solar | 2009 | mtCO2 | 0
windon | 2009 | mtCO2 | 0
bioenergy | 2010 | mtCO2 | 0
coal | 2010 | mtCO2 | 0
gas | 2010 | mtCO2 | 12.89
hydro | 2010 | mtCO2 | 0.15
nuclear | 2010 | mtCO2 | 0
oil | 2010 | mtCO2 | 0
bioenergy | 2010 | mtCO2 | 0
solar | 2010 | mtCO2 | 0
windon | 2010 | mtCO2 | 0
bioenergy | 2011 | mtCO2 | 0
coal | 2011 | mtCO2 | 0
gas | 2011 | mtCO2 | 13.8
hydro | 2011 | mtCO2 | 0.14
nuclear | 2011 | mtCO2 | 0
oil | 2011 | mtCO2 | 0
bioenergy | 2011 | mtCO2 | 0
solar | 2011 | mtCO2 | 0
windon | 2011 | mtCO2 | 0
bioenergy | 2012 | mtCO2 | 0
coal | 2012 | mtCO2 | 0
gas | 2012 | mtCO2 | 15.04
hydro | 2012 | mtCO2 | 0.13
nuclear | 2012 | mtCO2 | 0
oil | 2012 | mtCO2 | 0
bioenergy | 2012 | mtCO2 | 0
solar | 2012 | mtCO2 | 0
windon | 2012 | mtCO2 | 0
bioenergy | 2013 | mtCO2 | 0
coal | 2013 | mtCO2 | 0
gas | 2013 | mtCO2 | 15.37
hydro | 2013 | mtCO2 | 0.13
nuclear | 2013 | mtCO2 | 0
oil | 2013 | mtCO2 | 0
bioenergy | 2013 | mtCO2 | 0
solar | 2013 | mtCO2 | 0
windon | 2013 | mtCO2 | 0
bioenergy | 2014 | mtCO2 | 0
coal | 2014 | mtCO2 | 0
gas | 2014 | mtCO2 | 17.54
hydro | 2014 | mtCO2 | 0.13
nuclear | 2014 | mtCO2 | 0
oil | 2014 | mtCO2 | 0
bioenergy | 2014 | mtCO2 | 0
solar | 2014 | mtCO2 | 0
windon | 2014 | mtCO2 | 0
bioenergy | 2015 | mtCO2 | 0
coal | 2015 | mtCO2 | 0
gas | 2015 | mtCO2 | 17.42
hydro | 2015 | mtCO2 | 0.15
nuclear | 2015 | mtCO2 | 0
oil | 2015 | mtCO2 | 0
bioenergy | 2015 | mtCO2 | 0
solar | 2015 | mtCO2 | 0
windon | 2015 | mtCO2 | 0
bioenergy | 2016 | mtCO2 | 0.01
coal | 2016 | mtCO2 | 0
gas | 2016 | mtCO2 | 18.48
hydro | 2016 | mtCO2 | 0.19
nuclear | 2016 | mtCO2 | 0
oil | 2016 | mtCO2 | 0
bioenergy | 2016 | mtCO2 | 0
solar | 2016 | mtCO2 | 0
windon | 2016 | mtCO2 | 0
bioenergy | 2017 | mtCO2 | 0
coal | 2017 | mtCO2 | 0
gas | 2017 | mtCO2 | 15.94
hydro | 2017 | mtCO2 | 0.18
nuclear | 2017 | mtCO2 | 0
oil | 2017 | mtCO2 | 0
bioenergy | 2017 | mtCO2 | 0
solar | 2017 | mtCO2 | 0
windon | 2017 | mtCO2 | 0
bioenergy | 2018 | mtCO2 | 0
coal | 2018 | mtCO2 | 0
gas | 2018 | mtCO2 | 16.74
hydro | 2018 | mtCO2 | 0.18
nuclear | 2018 | mtCO2 | 0
oil | 2018 | mtCO2 | 0
bioenergy | 2018 | mtCO2 | 0
solar | 2018 | mtCO2 | 0
windon | 2018 | mtCO2 | 0
bioenergy | 2019 | mtCO2 | 0
coal | 2019 | mtCO2 | 0
gas | 2019 | mtCO2 | 16.07
hydro | 2019 | mtCO2 | 0.2
nuclear | 2019 | mtCO2 | 0
oil | 2019 | mtCO2 | 0
bioenergy | 2019 | mtCO2 | 0
solar | 2019 | mtCO2 | 0
windon | 2019 | mtCO2 | 0
bioenergy | 2020 | mtCO2 | 0
coal | 2020 | mtCO2 | 0
gas | 2020 | mtCO2 | 17.82
hydro | 2020 | mtCO2 | 0.18
nuclear | 2020 | mtCO2 | 0
oil | 2020 | mtCO2 | 0
bioenergy | 2020 | mtCO2 | 0
solar | 2020 | mtCO2 | 0
windon | 2020 | mtCO2 | 0
bioenergy | 2021 | mtCO2 | 0
coal | 2021 | mtCO2 | 0
gas | 2021 | mtCO2 | 18.3
hydro | 2021 | mtCO2 | 0.19
nuclear | 2021 | mtCO2 | 0
oil | 2021 | mtCO2 | 0
bioenergy | 2021 | mtCO2 | 0
solar | 2021 | mtCO2 | 0
windon | 2021 | mtCO2 | 0
bioenergy | 2022 | mtCO2 | 0
coal | 2022 | mtCO2 | 0
gas | 2022 | mtCO2 | 18.9
hydro | 2022 | mtCO2 | 0.19
nuclear | 2022 | mtCO2 | 0
oil | 2022 | mtCO2 | 0
bioenergy | 2022 | mtCO2 | 0
solar | 2022 | mtCO2 | 0
windon | 2022 | mtCO2 | 0
bioenergy | 2023 | mtCO2 | 0
coal | 2023 | mtCO2 | 0
gas | 2023 | mtCO2 | 21.07
hydro | 2023 | mtCO2 | 0.2
nuclear | 2023 | mtCO2 | 0
oil | 2023 | mtCO2 | 0
bioenergy | 2023 | mtCO2 | 0
solar | 2023 | mtCO2 | 0
windon | 2023 | mtCO2 | 0
solar | 2018 | GW | 0.024824
solar | 2019 | GW | 0.036911
solar | 2020 | GW | 0.052723
solar | 2021 | GW | 0.072837
solar | 2022 | GW | 0.10231
solar | 2023 | GW | 0.14349
solar | 2024 | GW | 0.14449
solar | 2011 | GW | 0.001279
solar | 2012 | GW | 0.001445
solar | 2013 | GW | 0.00224
solar | 2014 | GW | 0.003964
solar | 2015 | GW | 0.0106
solar | 2016 | GW | 0.014682
solar | 2017 | GW | 0.020388
solar | 2006 | GW | 8.4e-05
solar | 2007 | GW | 8.4e-05
solar | 2008 | GW | 8.4e-05
solar | 2009 | GW | 0.00027
solar | 2010 | GW | 0.000303
solar | 2005 | TWh | 1e-06
solar | 2006 | TWh | 0.000125
solar | 2007 | TWh | 0.000125
solar | 2008 | TWh | 0.000125
solar | 2009 | TWh | 0.000399
solar | 2010 | TWh | 0.000447
solar | 2011 | TWh | 0.001889
solar | 2012 | TWh | 0.002134
solar | 2013 | TWh | 0.003308
solar | 2014 | TWh | 0.005855
solar | 2015 | TWh | 0.015656
solar | 2016 | TWh | 0.021686
solar | 2017 | TWh | 0.030113
solar | 2018 | TWh | 0.036656
solar | 2019 | TWh | 0.054471
solar | 2020 | TWh | 0.077827
solar | 2021 | TWh | 0.10753
solar | 2022 | TWh | 0.15085
bioenergy | 2018 | GW | 0.009025
bioenergy | 2019 | GW | 0.009025
bioenergy | 2020 | GW | 0.012782
bioenergy | 2021 | GW | 0.021025
bioenergy | 2022 | GW | 0.021025
bioenergy | 2023 | GW | 0.021025
bioenergy | 2024 | GW | 0.021025
bioenergy | 2018 | GW | 1.7e-05
bioenergy | 2019 | GW | 1.7e-05
bioenergy | 2020 | GW | 1.7e-05
bioenergy | 2021 | GW | 1.7e-05
bioenergy | 2022 | GW | 1.7e-05
bioenergy | 2023 | GW | 1.7e-05
bioenergy | 2024 | GW | 1.7e-05
bioenergy | 2011 | GW | 0.006
bioenergy | 2012 | GW | 0.006025
bioenergy | 2013 | GW | 0.006025
bioenergy | 2014 | GW | 0.007525
bioenergy | 2015 | GW | 0.007525
bioenergy | 2016 | GW | 0.009025
bioenergy | 2017 | GW | 0.009025
bioenergy | 2014 | GW | 7e-06
bioenergy | 2015 | GW | 7e-06
bioenergy | 2016 | GW | 1.7e-05
bioenergy | 2017 | GW | 1.7e-05
bioenergy | 2004 | GW | 0.0048
bioenergy | 2005 | GW | 0.0048
bioenergy | 2006 | GW | 0.0048
bioenergy | 2007 | GW | 0.0048
bioenergy | 2008 | GW | 0.0048
bioenergy | 2009 | GW | 0.0048
bioenergy | 2010 | GW | 0.006
bioenergy | 2000 | GW | 0.0048
bioenergy | 2001 | GW | 0.0048
bioenergy | 2002 | GW | 0.0048
bioenergy | 2003 | GW | 0.0048
bioenergy | 2002 | TWh | 0.0126
bioenergy | 2003 | TWh | 0.0126
bioenergy | 2004 | TWh | 0.0126
bioenergy | 2005 | TWh | 0.0126
bioenergy | 2006 | TWh | 0.0126
bioenergy | 2007 | TWh | 0.0126
bioenergy | 2008 | TWh | 0.0126
bioenergy | 2009 | TWh | 0.0126
bioenergy | 2010 | TWh | 0.0154
bioenergy | 2011 | TWh | 0.0154
bioenergy | 2012 | TWh | 0.015472
bioenergy | 2013 | TWh | 0.015472
bioenergy | 2014 | TWh | 0.018972
bioenergy | 2015 | TWh | 0.018972
bioenergy | 2016 | TWh | 0.022472
bioenergy | 2017 | TWh | 0.028263
bioenergy | 2018 | TWh | 0.02998
bioenergy | 2019 | TWh | 0.026542
bioenergy | 2020 | TWh | 0.040693
bioenergy | 2021 | TWh | 0.061032
bioenergy | 2022 | TWh | 0.060919
bioenergy | 2014 | TWh | 4e-05
bioenergy | 2015 | TWh | 4e-05
bioenergy | 2016 | TWh | 9e-05
bioenergy | 2017 | TWh | 9e-05
bioenergy | 2018 | TWh | 9e-05
bioenergy | 2019 | TWh | 9e-05
bioenergy | 2020 | TWh | 9e-05
bioenergy | 2021 | TWh | 9e-05
bioenergy | 2022 | TWh | 9e-05
bioenergy | 2000 | TWh | 0.0126
bioenergy | 2001 | TWh | 0.0126
Export | 2000 | TWh
Export | 2001 | TWh
Export | 2002 | TWh
Export | 2003 | TWh
Export | 2004 | TWh
Export | 2005 | TWh
Export | 2006 | TWh
Export | 2007 | TWh
Export | 2008 | TWh
Export | 2009 | TWh
Export | 2010 | TWh
Export | 2011 | TWh
Export | 2012 | TWh
Export | 2013 | TWh
Export | 2014 | TWh
Export | 2015 | TWh
Export | 2016 | TWh | 1.9
Export | 2017 | TWh | 2.5
Export | 2018 | TWh | 3
Export | 2019 | TWh | 2.3
Export | 2020 | TWh | 2.4
Export | 2021 | TWh | 2.4
Export | 2022 | TWh | 2.3
Export | 2023 | TWh