## ev_charging_uc
ts_12t | day_night | ts_12t
| D | FaD,WaP,FaP,SaP,SaD,WaD,RaP,RaD
| N | RaP,RaN,SaN,WaN,FaP,SaP,FaN,WaP
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
~UC_T: LO
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | RaP,RaN,SaN,WaN,FaP,SaP,FaN,WaP | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | FaD,WaP,FaP,SaP,SaD,WaD,RaP,RaD | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1

## timeslice_def
~TimeSlices
ts_12t | season | weekly | daynite | wparent | dparent
| F | a | D | W,R,S,F | a
| R |  | N |  | a
| S |  | P |  | a
W

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_GHA_001 | FaD | 0.23741 | IMPNRGZ | elc_won_GHA_001 | FaD | 0.095177 | IMPNRGZ | elc_wof_GHA_001 | FaD | 0.0885 | IMPNRGZ
elc_spv_GHA_001 | FaN | 0 | IMPNRGZ | elc_won_GHA_001 | FaN | 0.099951 | IMPNRGZ | elc_wof_GHA_001 | FaN | 0.10167 | IMPNRGZ
elc_spv_GHA_001 | FaP | 0.022048 | IMPNRGZ | elc_won_GHA_001 | FaP | 0.030032 | IMPNRGZ | elc_wof_GHA_001 | FaP | 0.023157 | IMPNRGZ
elc_spv_GHA_001 | RaD | 0.23156 | IMPNRGZ | elc_won_GHA_001 | RaD | 0.081996 | IMPNRGZ | elc_wof_GHA_001 | RaD | 0.079849 | IMPNRGZ
elc_spv_GHA_001 | RaN | 0 | IMPNRGZ | elc_won_GHA_001 | RaN | 0.087325 | IMPNRGZ | elc_wof_GHA_001 | RaN | 0.094292 | IMPNRGZ
elc_spv_GHA_001 | RaP | 0.024959 | IMPNRGZ | elc_won_GHA_001 | RaP | 0.029944 | IMPNRGZ | elc_wof_GHA_001 | RaP | 0.022712 | IMPNRGZ
elc_spv_GHA_001 | SaD | 0.18479 | IMPNRGZ | elc_won_GHA_001 | SaD | 0.14731 | IMPNRGZ | elc_wof_GHA_001 | SaD | 0.16005 | IMPNRGZ
elc_spv_GHA_001 | SaN | 0 | IMPNRGZ | elc_won_GHA_001 | SaN | 0.16616 | IMPNRGZ | elc_wof_GHA_001 | SaN | 0.18113 | IMPNRGZ
elc_spv_GHA_001 | SaP | 0.020578 | IMPNRGZ | elc_won_GHA_001 | SaP | 0.040242 | IMPNRGZ | elc_wof_GHA_001 | SaP | 0.033618 | IMPNRGZ
elc_spv_GHA_001 | WaD | 0.25056 | IMPNRGZ | elc_won_GHA_001 | WaD | 0.072728 | IMPNRGZ | elc_wof_GHA_001 | WaD | 0.066707 | IMPNRGZ
elc_spv_GHA_001 | WaN | 0 | IMPNRGZ | elc_won_GHA_001 | WaN | 0.11854 | IMPNRGZ | elc_wof_GHA_001 | WaN | 0.12704 | IMPNRGZ
elc_spv_GHA_001 | WaP | 0.028088 | IMPNRGZ | elc_won_GHA_001 | WaP | 0.030593 | IMPNRGZ | elc_wof_GHA_001 | WaP | 0.021283 | IMPNRGZ
elc_spv_GHA_002 | FaD | 0.23553 | IMPNRGZ | elc_won_GHA_002 | FaD | 0.090756 | IMPNRGZ | elc_wof_GHA_002 | FaD | 0.096424 | IMPNRGZ
elc_spv_GHA_002 | FaN | 0 | IMPNRGZ | elc_won_GHA_002 | FaN | 0.099202 | IMPNRGZ | elc_wof_GHA_002 | FaN | 0.10817 | IMPNRGZ
elc_spv_GHA_002 | FaP | 0.025951 | IMPNRGZ | elc_won_GHA_002 | FaP | 0.027439 | IMPNRGZ | elc_wof_GHA_002 | FaP | 0.025951 | IMPNRGZ
elc_spv_GHA_002 | RaD | 0.22977 | IMPNRGZ | elc_won_GHA_002 | RaD | 0.097218 | IMPNRGZ | elc_wof_GHA_002 | RaD | 0.07093 | IMPNRGZ
elc_spv_GHA_002 | RaN | 0 | IMPNRGZ | elc_won_GHA_002 | RaN | 0.093049 | IMPNRGZ | elc_wof_GHA_002 | RaN | 0.085004 | IMPNRGZ
elc_spv_GHA_002 | RaP | 0.024826 | IMPNRGZ | elc_won_GHA_002 | RaP | 0.032187 | IMPNRGZ | elc_wof_GHA_002 | RaP | 0.022255 | IMPNRGZ
elc_spv_GHA_002 | SaD | 0.18815 | IMPNRGZ | elc_won_GHA_002 | SaD | 0.15501 | IMPNRGZ | elc_wof_GHA_002 | SaD | 0.15607 | IMPNRGZ
elc_spv_GHA_002 | SaN | 0.00015938 | IMPNRGZ | elc_won_GHA_002 | SaN | 0.15592 | IMPNRGZ | elc_wof_GHA_002 | SaN | 0.19166 | IMPNRGZ
elc_spv_GHA_002 | SaP | 0.02284 | IMPNRGZ | elc_won_GHA_002 | SaP | 0.040138 | IMPNRGZ | elc_wof_GHA_002 | SaP | 0.036497 | IMPNRGZ
elc_spv_GHA_002 | WaD | 0.24279 | IMPNRGZ | elc_won_GHA_002 | WaD | 0.068928 | IMPNRGZ | elc_wof_GHA_002 | WaD | 0.07056 | IMPNRGZ
elc_spv_GHA_002 | WaN | 0 | IMPNRGZ | elc_won_GHA_002 | WaN | 0.106 | IMPNRGZ | elc_wof_GHA_002 | WaN | 0.11638 | IMPNRGZ
elc_spv_GHA_002 | WaP | 0.029989 | IMPNRGZ | elc_won_GHA_002 | WaP | 0.034149 | IMPNRGZ | elc_wof_GHA_002 | WaP | 0.020094 | IMPNRGZ
elc_spv_GHA_003 | FaD | 0.2309 | IMPNRGZ | elc_won_GHA_003 | FaD | 0.038989 | IMPNRGZ | elc_wof_GHA_003 | FaD | 0.092084 | IMPNRGZ
elc_spv_GHA_003 | FaN | 0 | IMPNRGZ | elc_won_GHA_003 | FaN | 0.069681 | IMPNRGZ | elc_wof_GHA_003 | FaN | 0.097055 | IMPNRGZ
elc_spv_GHA_003 | FaP | 0.025357 | IMPNRGZ | elc_won_GHA_003 | FaP | 0.003317 | IMPNRGZ | elc_wof_GHA_003 | FaP | 0.028154 | IMPNRGZ
elc_spv_GHA_003 | RaD | 0.23031 | IMPNRGZ | elc_won_GHA_003 | RaD | 0.08366 | IMPNRGZ | elc_wof_GHA_003 | RaD | 0.082955 | IMPNRGZ
elc_spv_GHA_003 | RaN | 0 | IMPNRGZ | elc_won_GHA_003 | RaN | 0.17845 | IMPNRGZ | elc_wof_GHA_003 | RaN | 0.085939 | IMPNRGZ
elc_spv_GHA_003 | RaP | 0.024885 | IMPNRGZ | elc_won_GHA_003 | RaP | 0.0059417 | IMPNRGZ | elc_wof_GHA_003 | RaP | 0.028502 | IMPNRGZ
elc_spv_GHA_003 | SaD | 0.17696 | IMPNRGZ | elc_won_GHA_003 | SaD | 0.10812 | IMPNRGZ | elc_wof_GHA_003 | SaD | 0.1569 | IMPNRGZ
elc_spv_GHA_003 | SaN | 0 | IMPNRGZ | elc_won_GHA_003 | SaN | 0.1079 | IMPNRGZ | elc_wof_GHA_003 | SaN | 0.16568 | IMPNRGZ
elc_spv_GHA_003 | SaP | 0.023946 | IMPNRGZ | elc_won_GHA_003 | SaP | 0.007715 | IMPNRGZ | elc_wof_GHA_003 | SaP | 0.041093 | IMPNRGZ
elc_spv_GHA_003 | WaD | 0.25545 | IMPNRGZ | elc_won_GHA_003 | WaD | 0.12203 | IMPNRGZ | elc_wof_GHA_003 | WaD | 0.070191 | IMPNRGZ
elc_spv_GHA_003 | WaN | 0 | IMPNRGZ | elc_won_GHA_003 | WaN | 0.26329 | IMPNRGZ | elc_wof_GHA_003 | WaN | 0.1217 | IMPNRGZ
elc_spv_GHA_003 | WaP | 0.032195 | IMPNRGZ | elc_won_GHA_003 | WaP | 0.010921 | IMPNRGZ | elc_wof_GHA_003 | WaP | 0.029749 | IMPNRGZ
elc_spv_GHA_004 | FaD | 0.20812 | IMPNRGZ | elc_won_GHA_004 | FaD | 0.042788 | IMPNRGZ | elc_wof_GHA_004 | FaD | 0.084188 | IMPNRGZ
elc_spv_GHA_004 | FaN | 0 | IMPNRGZ | elc_won_GHA_004 | FaN | 0.077951 | IMPNRGZ | elc_wof_GHA_004 | FaN | 0.099533 | IMPNRGZ
elc_spv_GHA_004 | FaP | 0.026572 | IMPNRGZ | elc_won_GHA_004 | FaP | 0.0039847 | IMPNRGZ | elc_wof_GHA_004 | FaP | 0.024137 | IMPNRGZ
elc_spv_GHA_004 | RaD | 0.2353 | IMPNRGZ | elc_won_GHA_004 | RaD | 0.070986 | IMPNRGZ | elc_wof_GHA_004 | RaD | 0.077184 | IMPNRGZ
elc_spv_GHA_004 | RaN | 0 | IMPNRGZ | elc_won_GHA_004 | RaN | 0.1858 | IMPNRGZ | elc_wof_GHA_004 | RaN | 0.088781 | IMPNRGZ
elc_spv_GHA_004 | RaP | 0.030012 | IMPNRGZ | elc_won_GHA_004 | RaP | 0.0033507 | IMPNRGZ | elc_wof_GHA_004 | RaP | 0.023736 | IMPNRGZ
elc_spv_GHA_004 | SaD | 0.15977 | IMPNRGZ | elc_won_GHA_004 | SaD | 0.098053 | IMPNRGZ | elc_wof_GHA_004 | SaD | 0.17077 | IMPNRGZ
elc_spv_GHA_004 | SaN | 0 | IMPNRGZ | elc_won_GHA_004 | SaN | 0.10468 | IMPNRGZ | elc_wof_GHA_004 | SaN | 0.17351 | IMPNRGZ
elc_spv_GHA_004 | SaP | 0.025408 | IMPNRGZ | elc_won_GHA_004 | SaP | 0.0050277 | IMPNRGZ | elc_wof_GHA_004 | SaP | 0.040152 | IMPNRGZ
elc_spv_GHA_004 | WaD | 0.27759 | IMPNRGZ | elc_won_GHA_004 | WaD | 0.12137 | IMPNRGZ | elc_wof_GHA_004 | WaD | 0.063353 | IMPNRGZ
elc_spv_GHA_004 | WaN | 0 | IMPNRGZ | elc_won_GHA_004 | WaN | 0.27336 | IMPNRGZ | elc_wof_GHA_004 | WaN | 0.1291 | IMPNRGZ
elc_spv_GHA_004 | WaP | 0.037226 | IMPNRGZ | elc_won_GHA_004 | WaP | 0.012644 | IMPNRGZ | elc_wof_GHA_004 | WaP | 0.025558 | IMPNRGZ
elc_spv_GHA_005 | FaD | 0.21896 | IMPNRGZ | elc_won_GHA_005 | FaD | 0.0397 | IMPNRGZ | elc_wof_GHA_005 | FaD | 0.10103 | IMPNRGZ
elc_spv_GHA_005 | FaN | 0 | IMPNRGZ | elc_won_GHA_005 | FaN | 0.074918 | IMPNRGZ | elc_wof_GHA_005 | FaN | 0.11247 | IMPNRGZ
elc_spv_GHA_005 | FaP | 0.023182 | IMPNRGZ | elc_won_GHA_005 | FaP | 0.0036541 | IMPNRGZ | elc_wof_GHA_005 | FaP | 0.025549 | IMPNRGZ
elc_spv_GHA_005 | RaD | 0.23793 | IMPNRGZ | elc_won_GHA_005 | RaD | 0.065306 | IMPNRGZ | elc_wof_GHA_005 | RaD | 0.085592 | IMPNRGZ
elc_spv_GHA_005 | RaN | 0 | IMPNRGZ | elc_won_GHA_005 | RaN | 0.16894 | IMPNRGZ | elc_wof_GHA_005 | RaN | 0.094319 | IMPNRGZ
elc_spv_GHA_005 | RaP | 0.02621 | IMPNRGZ | elc_won_GHA_005 | RaP | 0.0035817 | IMPNRGZ | elc_wof_GHA_005 | RaP | 0.023119 | IMPNRGZ
elc_spv_GHA_005 | SaD | 0.16483 | IMPNRGZ | elc_won_GHA_005 | SaD | 0.088722 | IMPNRGZ | elc_wof_GHA_005 | SaD | 0.1415 | IMPNRGZ
elc_spv_GHA_005 | SaN | 0 | IMPNRGZ | elc_won_GHA_005 | SaN | 0.099708 | IMPNRGZ | elc_wof_GHA_005 | SaN | 0.16659 | IMPNRGZ
elc_spv_GHA_005 | SaP | 0.023594 | IMPNRGZ | elc_won_GHA_005 | SaP | 0.0045298 | IMPNRGZ | elc_wof_GHA_005 | SaP | 0.033574 | IMPNRGZ
elc_spv_GHA_005 | WaD | 0.27125 | IMPNRGZ | elc_won_GHA_005 | WaD | 0.14023 | IMPNRGZ | elc_wof_GHA_005 | WaD | 0.08077 | IMPNRGZ
elc_spv_GHA_005 | WaN | 0 | IMPNRGZ | elc_won_GHA_005 | WaN | 0.29804 | IMPNRGZ | elc_wof_GHA_005 | WaN | 0.11172 | IMPNRGZ
elc_spv_GHA_005 | WaP | 0.034041 | IMPNRGZ | elc_won_GHA_005 | WaP | 0.012672 | IMPNRGZ | elc_wof_GHA_005 | WaP | 0.023767 | IMPNRGZ
elc_spv_GHA_006 | FaD | 0.23414 | IMPNRGZ | elc_won_GHA_006 | FaD | 0.058466 | IMPNRGZ | elc_wof_GHA_006 | FaD | 0.10023 | IMPNRGZ
elc_spv_GHA_006 | FaN | 0 | IMPNRGZ | elc_won_GHA_006 | FaN | 0.11452 | IMPNRGZ | elc_wof_GHA_006 | FaN | 0.10791 | IMPNRGZ
elc_spv_GHA_006 | FaP | 0.025815 | IMPNRGZ | elc_won_GHA_006 | FaP | 0.005226 | IMPNRGZ | elc_wof_GHA_006 | FaP | 0.02514 | IMPNRGZ
elc_spv_GHA_006 | RaD | 0.23053 | IMPNRGZ | elc_won_GHA_006 | RaD | 0.094486 | IMPNRGZ | elc_wof_GHA_006 | RaD | 0.093002 | IMPNRGZ
elc_spv_GHA_006 | RaN | 0 | IMPNRGZ | elc_won_GHA_006 | RaN | 0.17388 | IMPNRGZ | elc_wof_GHA_006 | RaN | 0.093383 | IMPNRGZ
elc_spv_GHA_006 | RaP | 0.025099 | IMPNRGZ | elc_won_GHA_006 | RaP | 0.0070096 | IMPNRGZ | elc_wof_GHA_006 | RaP | 0.023397 | IMPNRGZ
elc_spv_GHA_006 | SaD | 0.17904 | IMPNRGZ | elc_won_GHA_006 | SaD | 0.13198 | IMPNRGZ | elc_wof_GHA_006 | SaD | 0.15149 | IMPNRGZ
elc_spv_GHA_006 | SaN | 0 | IMPNRGZ | elc_won_GHA_006 | SaN | 0.16232 | IMPNRGZ | elc_wof_GHA_006 | SaN | 0.16019 | IMPNRGZ
elc_spv_GHA_006 | SaP | 0.021723 | IMPNRGZ | elc_won_GHA_006 | SaP | 0.011281 | IMPNRGZ | elc_wof_GHA_006 | SaP | 0.034113 | IMPNRGZ
elc_spv_GHA_006 | WaD | 0.25359 | IMPNRGZ | elc_won_GHA_006 | WaD | 0.069375 | IMPNRGZ | elc_wof_GHA_006 | WaD | 0.07642 | IMPNRGZ
elc_spv_GHA_006 | WaN | 0 | IMPNRGZ | elc_won_GHA_006 | WaN | 0.16497 | IMPNRGZ | elc_wof_GHA_006 | WaN | 0.11067 | IMPNRGZ
elc_spv_GHA_006 | WaP | 0.030075 | IMPNRGZ | elc_won_GHA_006 | WaP | 0.0064977 | IMPNRGZ | elc_wof_GHA_006 | WaP | 0.024053 | IMPNRGZ
elc_spv_GHA_007 | FaD | 0.23478 | IMPNRGZ | elc_won_GHA_007 | FaD | 0.043776 | IMPNRGZ | elc_wof_GHA_007 | FaD | 0.092327 | IMPNRGZ
elc_spv_GHA_007 | FaN | 0 | IMPNRGZ | elc_won_GHA_007 | FaN | 0.080931 | IMPNRGZ | elc_wof_GHA_007 | FaN | 0.10511 | IMPNRGZ
elc_spv_GHA_007 | FaP | 0.019248 | IMPNRGZ | elc_won_GHA_007 | FaP | 0.0042878 | IMPNRGZ | elc_wof_GHA_007 | FaP | 0.026932 | IMPNRGZ
elc_spv_GHA_007 | RaD | 0.23178 | IMPNRGZ | elc_won_GHA_007 | RaD | 0.075543 | IMPNRGZ | elc_wof_GHA_007 | RaD | 0.092118 | IMPNRGZ
elc_spv_GHA_007 | RaN | 0 | IMPNRGZ | elc_won_GHA_007 | RaN | 0.19813 | IMPNRGZ | elc_wof_GHA_007 | RaN | 0.095763 | IMPNRGZ
elc_spv_GHA_007 | RaP | 0.022867 | IMPNRGZ | elc_won_GHA_007 | RaP | 0.0039528 | IMPNRGZ | elc_wof_GHA_007 | RaP | 0.028892 | IMPNRGZ
elc_spv_GHA_007 | SaD | 0.17919 | IMPNRGZ | elc_won_GHA_007 | SaD | 0.11179 | IMPNRGZ | elc_wof_GHA_007 | SaD | 0.14619 | IMPNRGZ
elc_spv_GHA_007 | SaN | 0 | IMPNRGZ | elc_won_GHA_007 | SaN | 0.1133 | IMPNRGZ | elc_wof_GHA_007 | SaN | 0.16221 | IMPNRGZ
elc_spv_GHA_007 | SaP | 0.018853 | IMPNRGZ | elc_won_GHA_007 | SaP | 0.0066723 | IMPNRGZ | elc_wof_GHA_007 | SaP | 0.036741 | IMPNRGZ
elc_spv_GHA_007 | WaD | 0.26447 | IMPNRGZ | elc_won_GHA_007 | WaD | 0.11284 | IMPNRGZ | elc_wof_GHA_007 | WaD | 0.073481 | IMPNRGZ
elc_spv_GHA_007 | WaN | 0 | IMPNRGZ | elc_won_GHA_007 | WaN | 0.23873 | IMPNRGZ | elc_wof_GHA_007 | WaN | 0.10925 | IMPNRGZ
elc_spv_GHA_007 | WaP | 0.028816 | IMPNRGZ | elc_won_GHA_007 | WaP | 0.010043 | IMPNRGZ | elc_wof_GHA_007 | WaP | 0.030988 | IMPNRGZ
elc_spv_GHA_008 | FaD | 0.2263 | IMPNRGZ | elc_won_GHA_008 | FaD | 0.047307 | IMPNRGZ | elc_wof_GHA_008 | FaD | 0.10446 | IMPNRGZ
elc_spv_GHA_008 | FaN | 0 | IMPNRGZ | elc_won_GHA_008 | FaN | 0.083382 | IMPNRGZ | elc_wof_GHA_008 | FaN | 0.097567 | IMPNRGZ
elc_spv_GHA_008 | FaP | 0.018379 | IMPNRGZ | elc_won_GHA_008 | FaP | 0.0032299 | IMPNRGZ | elc_wof_GHA_008 | FaP | 0.028985 | IMPNRGZ
elc_spv_GHA_008 | RaD | 0.2364 | IMPNRGZ | elc_won_GHA_008 | RaD | 0.085563 | IMPNRGZ | elc_wof_GHA_008 | RaD | 0.097136 | IMPNRGZ
elc_spv_GHA_008 | RaN | 0 | IMPNRGZ | elc_won_GHA_008 | RaN | 0.19307 | IMPNRGZ | elc_wof_GHA_008 | RaN | 0.086939 | IMPNRGZ
elc_spv_GHA_008 | RaP | 0.021534 | IMPNRGZ | elc_won_GHA_008 | RaP | 0.0047603 | IMPNRGZ | elc_wof_GHA_008 | RaP | 0.029755 | IMPNRGZ
elc_spv_GHA_008 | SaD | 0.17424 | IMPNRGZ | elc_won_GHA_008 | SaD | 0.12512 | IMPNRGZ | elc_wof_GHA_008 | SaD | 0.14519 | IMPNRGZ
elc_spv_GHA_008 | SaN | 0 | IMPNRGZ | elc_won_GHA_008 | SaN | 0.12017 | IMPNRGZ | elc_wof_GHA_008 | SaN | 0.15042 | IMPNRGZ
elc_spv_GHA_008 | SaP | 0.01949 | IMPNRGZ | elc_won_GHA_008 | SaP | 0.0069464 | IMPNRGZ | elc_wof_GHA_008 | SaP | 0.038818 | IMPNRGZ
elc_spv_GHA_008 | WaD | 0.27357 | IMPNRGZ | elc_won_GHA_008 | WaD | 0.10762 | IMPNRGZ | elc_wof_GHA_008 | WaD | 0.08732 | IMPNRGZ
elc_spv_GHA_008 | WaN | 0 | IMPNRGZ | elc_won_GHA_008 | WaN | 0.21489 | IMPNRGZ | elc_wof_GHA_008 | WaN | 0.10122 | IMPNRGZ
elc_spv_GHA_008 | WaP | 0.030079 | IMPNRGZ | elc_won_GHA_008 | WaP | 0.0079377 | IMPNRGZ | elc_wof_GHA_008 | WaP | 0.032191 | IMPNRGZ
elc_spv_GHA_009 | FaD | 0.22616 | IMPNRGZ | elc_won_GHA_009 | FaD | 0.034723 | IMPNRGZ | elc_wof_GHA_009 | FaD | 0.098552 | IMPNRGZ
elc_spv_GHA_009 | FaN | 0 | IMPNRGZ | elc_won_GHA_009 | FaN | 0.082917 | IMPNRGZ | elc_wof_GHA_009 | FaN | 0.10623 | IMPNRGZ
elc_spv_GHA_009 | FaP | 0.022293 | IMPNRGZ | elc_won_GHA_009 | FaP | 0.0035504 | IMPNRGZ | elc_wof_GHA_009 | FaP | 0.028203 | IMPNRGZ
elc_spv_GHA_009 | RaD | 0.23279 | IMPNRGZ | elc_won_GHA_009 | RaD | 0.087049 | IMPNRGZ | elc_wof_GHA_009 | RaD | 0.079445 | IMPNRGZ
elc_spv_GHA_009 | RaN | 0 | IMPNRGZ | elc_won_GHA_009 | RaN | 0.19463 | IMPNRGZ | elc_wof_GHA_009 | RaN | 0.088773 | IMPNRGZ
elc_spv_GHA_009 | RaP | 0.02531 | IMPNRGZ | elc_won_GHA_009 | RaP | 0.0089445 | IMPNRGZ | elc_wof_GHA_009 | RaP | 0.026046 | IMPNRGZ
elc_spv_GHA_009 | SaD | 0.17323 | IMPNRGZ | elc_won_GHA_009 | SaD | 0.11182 | IMPNRGZ | elc_wof_GHA_009 | SaD | 0.14148 | IMPNRGZ
elc_spv_GHA_009 | SaN | 0 | IMPNRGZ | elc_won_GHA_009 | SaN | 0.11279 | IMPNRGZ | elc_wof_GHA_009 | SaN | 0.17117 | IMPNRGZ
elc_spv_GHA_009 | SaP | 0.020932 | IMPNRGZ | elc_won_GHA_009 | SaP | 0.0089147 | IMPNRGZ | elc_wof_GHA_009 | SaP | 0.037377 | IMPNRGZ
elc_spv_GHA_009 | WaD | 0.26822 | IMPNRGZ | elc_won_GHA_009 | WaD | 0.092884 | IMPNRGZ | elc_wof_GHA_009 | WaD | 0.077015 | IMPNRGZ
elc_spv_GHA_009 | WaN | 0 | IMPNRGZ | elc_won_GHA_009 | WaN | 0.25201 | IMPNRGZ | elc_wof_GHA_009 | WaN | 0.11781 | IMPNRGZ
elc_spv_GHA_009 | WaP | 0.031068 | IMPNRGZ | elc_won_GHA_009 | WaP | 0.0097739 | IMPNRGZ | elc_wof_GHA_009 | WaP | 0.027893 | IMPNRGZ
elc_spv_GHA_010 | FaD | 0.20649 | IMPNRGZ | elc_won_GHA_010 | FaD | 0.036592 | IMPNRGZ | elc_wof_GHA_010 | FaD | 0.089561 | IMPNRGZ
elc_spv_GHA_010 | FaN | 0 | IMPNRGZ | elc_won_GHA_010 | FaN | 0.090653 | IMPNRGZ | elc_wof_GHA_010 | FaN | 0.098686 | IMPNRGZ
elc_spv_GHA_010 | FaP | 0.027031 | IMPNRGZ | elc_won_GHA_010 | FaP | 0.0050054 | IMPNRGZ | elc_wof_GHA_010 | FaP | 0.028663 | IMPNRGZ
elc_spv_GHA_010 | RaD | 0.23887 | IMPNRGZ | elc_won_GHA_010 | RaD | 0.091972 | IMPNRGZ | elc_wof_GHA_010 | RaD | 0.087559 | IMPNRGZ
elc_spv_GHA_010 | RaN | 0 | IMPNRGZ | elc_won_GHA_010 | RaN | 0.19774 | IMPNRGZ | elc_wof_GHA_010 | RaN | 0.090014 | IMPNRGZ
elc_spv_GHA_010 | RaP | 0.028171 | IMPNRGZ | elc_won_GHA_010 | RaP | 0.010059 | IMPNRGZ | elc_wof_GHA_010 | RaP | 0.032407 | IMPNRGZ
elc_spv_GHA_010 | SaD | 0.1625 | IMPNRGZ | elc_won_GHA_010 | SaD | 0.11596 | IMPNRGZ | elc_wof_GHA_010 | SaD | 0.15099 | IMPNRGZ
elc_spv_GHA_010 | SaN | 0 | IMPNRGZ | elc_won_GHA_010 | SaN | 0.11476 | IMPNRGZ | elc_wof_GHA_010 | SaN | 0.16155 | IMPNRGZ
elc_spv_GHA_010 | SaP | 0.024512 | IMPNRGZ | elc_won_GHA_010 | SaP | 0.0091417 | IMPNRGZ | elc_wof_GHA_010 | SaP | 0.042431 | IMPNRGZ
elc_spv_GHA_010 | WaD | 0.27578 | IMPNRGZ | elc_won_GHA_010 | WaD | 0.090113 | IMPNRGZ | elc_wof_GHA_010 | WaD | 0.066224 | IMPNRGZ
elc_spv_GHA_010 | WaN | 0 | IMPNRGZ | elc_won_GHA_010 | WaN | 0.22929 | IMPNRGZ | elc_wof_GHA_010 | WaN | 0.11591 | IMPNRGZ
elc_spv_GHA_010 | WaP | 0.036644 | IMPNRGZ | elc_won_GHA_010 | WaP | 0.0087212 | IMPNRGZ | elc_wof_GHA_010 | WaP | 0.036011 | IMPNRGZ
elc_spv_GHA_011 | FaD | 0.2185 | IMPNRGZ
elc_spv_GHA_011 | FaN | 0 | IMPNRGZ
elc_spv_GHA_011 | FaP | 0.021206 | IMPNRGZ
elc_spv_GHA_011 | RaD | 0.24564 | IMPNRGZ
elc_spv_GHA_011 | RaN | 0 | IMPNRGZ
elc_spv_GHA_011 | RaP | 0.022146 | IMPNRGZ
elc_spv_GHA_011 | SaD | 0.17234 | IMPNRGZ
elc_spv_GHA_011 | SaN | 0 | IMPNRGZ
elc_spv_GHA_011 | SaP | 0.020348 | IMPNRGZ
elc_spv_GHA_011 | WaD | 0.2674 | IMPNRGZ
elc_spv_GHA_011 | WaN | 0 | IMPNRGZ
elc_spv_GHA_011 | WaP | 0.032428 | IMPNRGZ
elc_spv_GHA_012 | FaD | 0.21051 | IMPNRGZ
elc_spv_GHA_012 | FaN | 0 | IMPNRGZ
elc_spv_GHA_012 | FaP | 0.024236 | IMPNRGZ
elc_spv_GHA_012 | RaD | 0.24121 | IMPNRGZ
elc_spv_GHA_012 | RaN | 0 | IMPNRGZ
elc_spv_GHA_012 | RaP | 0.02286 | IMPNRGZ
elc_spv_GHA_012 | SaD | 0.17321 | IMPNRGZ
elc_spv_GHA_012 | SaN | 0 | IMPNRGZ
elc_spv_GHA_012 | SaP | 0.023135 | IMPNRGZ
elc_spv_GHA_012 | WaD | 0.26888 | IMPNRGZ
elc_spv_GHA_012 | WaN | 0 | IMPNRGZ
elc_spv_GHA_012 | WaP | 0.035949 | IMPNRGZ
elc_spv_GHA_013 | FaD | 0.21354 | IMPNRGZ
elc_spv_GHA_013 | FaN | 0 | IMPNRGZ
elc_spv_GHA_013 | FaP | 0.023234 | IMPNRGZ
elc_spv_GHA_013 | RaD | 0.24363 | IMPNRGZ
elc_spv_GHA_013 | RaN | 0 | IMPNRGZ
elc_spv_GHA_013 | RaP | 0.022876 | IMPNRGZ
elc_spv_GHA_013 | SaD | 0.17163 | IMPNRGZ
elc_spv_GHA_013 | SaN | 0 | IMPNRGZ
elc_spv_GHA_013 | SaP | 0.021661 | IMPNRGZ
elc_spv_GHA_013 | WaD | 0.26843 | IMPNRGZ
elc_spv_GHA_013 | WaN | 0 | IMPNRGZ
elc_spv_GHA_013 | WaP | 0.034998 | IMPNRGZ
elc_spv_GHA_014 | FaD | 0.22421 | IMPNRGZ
elc_spv_GHA_014 | FaN | 0 | IMPNRGZ
elc_spv_GHA_014 | FaP | 0.0222 | IMPNRGZ
elc_spv_GHA_014 | RaD | 0.24281 | IMPNRGZ
elc_spv_GHA_014 | RaN | 0 | IMPNRGZ
elc_spv_GHA_014 | RaP | 0.023394 | IMPNRGZ
elc_spv_GHA_014 | SaD | 0.17523 | IMPNRGZ
elc_spv_GHA_014 | SaN | 0 | IMPNRGZ
elc_spv_GHA_014 | SaP | 0.020171 | IMPNRGZ
elc_spv_GHA_014 | WaD | 0.26024 | IMPNRGZ
elc_spv_GHA_014 | WaN | 0 | IMPNRGZ
elc_spv_GHA_014 | WaP | 0.031736 | IMPNRGZ
elc_spv_GHA_015 | FaD | 0.22824 | IMPNRGZ
elc_spv_GHA_015 | FaN | 0 | IMPNRGZ
elc_spv_GHA_015 | FaP | 0.02206 | IMPNRGZ
elc_spv_GHA_015 | RaD | 0.24142 | IMPNRGZ
elc_spv_GHA_015 | RaN | 0 | IMPNRGZ
elc_spv_GHA_015 | RaP | 0.023719 | IMPNRGZ
elc_spv_GHA_015 | SaD | 0.17847 | IMPNRGZ
elc_spv_GHA_015 | SaN | 0 | IMPNRGZ
elc_spv_GHA_015 | SaP | 0.019678 | IMPNRGZ
elc_spv_GHA_015 | WaD | 0.2554 | IMPNRGZ
elc_spv_GHA_015 | WaN | 0 | IMPNRGZ
elc_spv_GHA_015 | WaP | 0.031023 | IMPNRGZ
elc_spv_GHA_016 | FaD | 0.22862 | IMPNRGZ
elc_spv_GHA_016 | FaN | 0 | IMPNRGZ
elc_spv_GHA_016 | FaP | 0.019676 | IMPNRGZ
elc_spv_GHA_016 | RaD | 0.24325 | IMPNRGZ
elc_spv_GHA_016 | RaN | 0 | IMPNRGZ
elc_spv_GHA_016 | RaP | 0.021734 | IMPNRGZ
elc_spv_GHA_016 | SaD | 0.17899 | IMPNRGZ
elc_spv_GHA_016 | SaN | 0 | IMPNRGZ
elc_spv_GHA_016 | SaP | 0.019752 | IMPNRGZ
elc_spv_GHA_016 | WaD | 0.25977 | IMPNRGZ
elc_spv_GHA_016 | WaN | 0 | IMPNRGZ
elc_spv_GHA_016 | WaP | 0.028209 | IMPNRGZ
elc_spv_GHA_017 | FaD | 0.22995 | IMPNRGZ
elc_spv_GHA_017 | FaN | 0 | IMPNRGZ
elc_spv_GHA_017 | FaP | 0.023374 | IMPNRGZ
elc_spv_GHA_017 | RaD | 0.24144 | IMPNRGZ
elc_spv_GHA_017 | RaN | 0 | IMPNRGZ
elc_spv_GHA_017 | RaP | 0.024949 | IMPNRGZ
elc_spv_GHA_017 | SaD | 0.18041 | IMPNRGZ
elc_spv_GHA_017 | SaN | 0 | IMPNRGZ
elc_spv_GHA_017 | SaP | 0.02103 | IMPNRGZ
elc_spv_GHA_017 | WaD | 0.24961 | IMPNRGZ
elc_spv_GHA_017 | WaN | 0 | IMPNRGZ
elc_spv_GHA_017 | WaP | 0.029241 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT | [13 empty] | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX | [13 empty] | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX | [13 empty] | ~TFM_DINS-TSL: attribute=NCAP_PKCNT | [12 empty] | ~TFM_DINS-AT
process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | other_indexes | ncap_com
distr_solelc_spv_GHA_001 | DEF_E | 0 | 0.182 | 0.17554 | 0 | 0.1873 | 0.16634 | 0 | 0.19563 | 0.18721 | 0 | 0.17541 | 0.24702 | distr_sol* | ELC4H | 0 | 0.06544 | 0 | 0 | 0.069119 | 0.0085035 | 0.78025 | 0.077767 | 0.0013733 | 0 | 0.064439 | 0.0033047 | distr_sol* | ELC8H | 0 | 0.024426 | 0.091307 | 0 | 0.023549 | 0.088123 | 0.11681 | 0.025745 | 0.083745 | 0 | 0.025506 | 0.10028 | distr_solelc_spv_GHA_001 | 0 | 0.51188 | 0.31561 | 0 | 0.46279 | 0.27435 | 0 | 0.36932 | 0.2262 | 0 | 0.4797 | 0.24502 | distr_solelc_spv_GHA_001 | DEF_C | OUT | 0.51188
distr_solelc_spv_GHA_002 | DEF_E | 0 | 0.20173 | 0.16085 | 0 | 0.18944 | 0.16719 | 0.9753 | 0.19812 | 0.15686 | 0 | 0.17747 | 0.16551 | distr_won* | ELC4H | 0.039713 | 0.014946 | 0.084838 | 0.084088 | 0.058357 | 0.10614 | 0.044916 | 0.017155 | 0.050796 | 0.068466 | 0.047193 | 0.037977 | distr_won* | ELC8H | 0.05274 | 0.057841 | 0 | 0.042113 | 0.063748 | 0 | 0.061305 | 0.043848 | 0.0028338 | 0.051062 | 0.081356 | 0.047013 | distr_solelc_spv_GHA_002 | 0 | 0.49702 | 0.33764 | 0 | 0.46014 | 0.27344 | 0.00031918 | 0.37678 | 0.25157 | 0 | 0.47685 | 0.28897 | distr_solelc_spv_GHA_002 | DEF_C | OUT | 0.49702
distr_solelc_spv_GHA_003 | DEF_E | 0 | 0.19806 | 0.15423 | 0 | 0.19677 | 0.17623 | 0 | 0.20916 | 0.15408 | 0 | 0.19231 | 0.17952 | distr_wof* | ELC4H | 0.008955 | 0.048423 | 0.0297 | 0.011258 | 0.05672 | 0.022267 | 0.0061637 | 0.022192 | 0.016105 | 0.0042108 | 0.030166 | 0.0070892 | distr_wof* | ELC8H | 0.039944 | 0.033759 | 0.032928 | 0.045164 | 0.016442 | 0.05542 | 0.023974 | 0.0084212 | 0.030362 | 0.020769 | 0.016331 | 0.03346 | distr_solelc_spv_GHA_003 | 0 | 0.49617 | 0.34393 | 0 | 0.43761 | 0.26006 | 0 | 0.33625 | 0.25025 | 0 | 0.44355 | 0.26791 | distr_solelc_spv_GHA_003 | DEF_C | OUT | 0.49617
distr_solelc_spv_GHA_004 | DEF_E | 0 | 0.22688 | 0.15229 | 0 | 0.2271 | 0.17208 | 0 | 0.27955 | 0.19153 | 0 | 0.25231 | 0.19468 | [28 empty] | distr_solelc_spv_GHA_004 | 0 | 0.46389 | 0.34215 | 0 | 0.38467 | 0.26985 | 0 | 0.2612 | 0.22845 | 0 | 0.34398 | 0.24154 | distr_solelc_spv_GHA_004 | DEF_C | OUT | 0.46389
distr_solelc_spv_GHA_005 | DEF_E | 0 | 0.2052 | 0.15728 | 0 | 0.20814 | 0.17663 | 0 | 0.24106 | 0.19087 | 0 | 0.22041 | 0.21137 | [28 empty] | distr_solelc_spv_GHA_005 | 0 | 0.48147 | 0.33233 | 0 | 0.41314 | 0.25031 | 0 | 0.28621 | 0.22533 | 0 | 0.38437 | 0.22382 | distr_solelc_spv_GHA_005 | DEF_C | OUT | 0.48147
distr_solelc_spv_GHA_006 | DEF_E | 0 | 0.1859 | 0.15758 | 0 | 0.19226 | 0.17476 | 0 | 0.2017 | 0.16107 | 0 | 0.18567 | 0.17903 | [28 empty] | distr_solelc_spv_GHA_006 | 0 | 0.50426 | 0.32893 | 0 | 0.44844 | 0.26854 | 0 | 0.34829 | 0.23242 | 0 | 0.46047 | 0.27923 | distr_solelc_spv_GHA_006 | DEF_C | OUT | 0.50426
distr_solelc_spv_GHA_007 | DEF_E | 0 | 0.17085 | 0.17646 | 0 | 0.1875 | 0.18085 | 0 | 0.19888 | 0.19191 | 0 | 0.18551 | 0.29664 | [28 empty] | distr_solelc_spv_GHA_007 | 0 | 0.51268 | 0.30724 | 0 | 0.43956 | 0.23851 | 0 | 0.33981 | 0.19665 | 0 | 0.45013 | 0.20297 | distr_solelc_spv_GHA_007 | DEF_C | OUT | 0.51268
distr_solelc_spv_GHA_008 | DEF_E | 0 | 0.18411 | 0.16161 | 0 | 0.19997 | 0.20485 | 0 | 0.23637 | 0.20772 | 0 | 0.20724 | 0.25937 | [28 empty] | distr_solelc_spv_GHA_008 | 0 | 0.48558 | 0.29364 | 0 | 0.41049 | 0.20565 | 0 | 0.30256 | 0.18613 | 0 | 0.39726 | 0.17745 | distr_solelc_spv_GHA_008 | DEF_C | OUT | 0.48558
distr_solelc_spv_GHA_009 | DEF_E | 0 | 0.18308 | 0.16259 | 0 | 0.19478 | 0.18264 | 0 | 0.21991 | 0.18804 | 0 | 0.19826 | 0.20536 | [28 empty] | distr_solelc_spv_GHA_009 | 0 | 0.48951 | 0.31186 | 0 | 0.41562 | 0.24853 | 0 | 0.30928 | 0.20554 | 0 | 0.40821 | 0.22131 | distr_solelc_spv_GHA_009 | DEF_C | OUT | 0.48951
distr_solelc_spv_GHA_010 | DEF_E | 0 | 0.23928 | 0.15778 | 0 | 0.22778 | 0.18873 | 0 | 0.2802 | 0.1905 | 0 | 0.25159 | 0.20011 | [28 empty] | distr_solelc_spv_GHA_010 | 0 | 0.44337 | 0.32401 | 0 | 0.37568 | 0.24368 | 0 | 0.25557 | 0.21203 | 0 | 0.32832 | 0.23639 | distr_solelc_spv_GHA_010 | DEF_C | OUT | 0.44337
distr_solelc_spv_GHA_011 | DEF_E | 0 | 0.23539 | 0.1721 | 0 | 0.22279 | 0.22468 | 0 | 0.25253 | 0.19459 | 0 | 0.24028 | 0.22123 | [28 empty] | distr_solelc_spv_GHA_011 | 0 | 0.42817 | 0.28559 | 0 | 0.38477 | 0.19079 | 0 | 0.26995 | 0.17531 | 0 | 0.34602 | 0.18471 | distr_solelc_spv_GHA_011 | DEF_C | OUT | 0.42817
distr_solelc_spv_GHA_012 | DEF_E | 0 | 0.26683 | 0.17943 | 0 | 0.23655 | 0.23553 | 0 | 0.28253 | 0.2008 | 0 | 0.26169 | 0.21614 | [28 empty] | distr_solelc_spv_GHA_012 | 0 | 0.40214 | 0.29571 | 0 | 0.35292 | 0.18396 | 0 | 0.25343 | 0.18617 | 0 | 0.31137 | 0.19717 | distr_solelc_spv_GHA_012 | DEF_C | OUT | 0.40214
distr_solelc_spv_GHA_013 | DEF_E | 0 | 0.25787 | 0.17603 | 0 | 0.23394 | 0.24419 | 0 | 0.27485 | 0.20618 | 0 | 0.25719 | 0.22914 | [28 empty] | distr_solelc_spv_GHA_013 | 0 | 0.41002 | 0.29402 | 0 | 0.36405 | 0.188 | 0 | 0.25646 | 0.17802 | 0 | 0.32259 | 0.19304 | distr_solelc_spv_GHA_013 | DEF_C | OUT | 0.41002
distr_solelc_spv_GHA_014 | DEF_E | 0 | 0.23986 | 0.18605 | 0 | 0.22365 | 0.2155 | 0 | 0.25936 | 0.21696 | 0 | 0.22289 | 0.20118 | [28 empty] | distr_solelc_spv_GHA_014 | 0 | 0.38752 | 0.25992 | 0 | 0.35371 | 0.18743 | 0 | 0.25527 | 0.16161 | 0 | 0.3302 | 0.17982 | distr_solelc_spv_GHA_014 | DEF_C | OUT | 0.38752
distr_solelc_spv_GHA_015 | DEF_E | 0 | 0.23067 | 0.17314 | 0 | 0.21467 | 0.20334 | 0 | 0.24 | 0.20993 | 0 | 0.21248 | 0.20101 | [28 empty] | distr_solelc_spv_GHA_015 | 0 | 0.40067 | 0.26768 | 0 | 0.37051 | 0.20021 | 0 | 0.2739 | 0.1661 | 0 | 0.35413 | 0.18825 | distr_solelc_spv_GHA_015 | DEF_C | OUT | 0.40067
distr_solelc_spv_GHA_016 | DEF_E | 0 | 0.20043 | 0.16516 | 0 | 0.19694 | 0.21032 | 0 | 0.22821 | 0.20379 | 0 | 0.20746 | 0.22805 | [28 empty] | distr_solelc_spv_GHA_016 | 0 | 0.46139 | 0.27557 | 0 | 0.42266 | 0.2077 | 0 | 0.31101 | 0.18876 | 0 | 0.40161 | 0.1901 | distr_solelc_spv_GHA_016 | DEF_C | OUT | 0.46139
distr_solelc_spv_GHA_017 | DEF_E | 0 | 0.21425 | 0.1665 | 0 | 0.20331 | 0.18737 | 0 | 0.22964 | 0.18547 | 0 | 0.1981 | 0.18387 | [28 empty] | distr_solelc_spv_GHA_017 | 0 | 0.43644 | 0.2812 | 0 | 0.41297 | 0.2347 | 0 | 0.30859 | 0.19784 | 0 | 0.39764 | 0.22231 | distr_solelc_spv_GHA_017 | DEF_C | OUT | 0.43644
distr_wofelc_wof_GHA_001 | DEF_E | 0.32495 | 0.44515 | 0.2854 | 0.33212 | 0.39799 | 0.27023 | 0.2413 | 0.29622 | 0.24164 | 0.36159 | 0.38852 | 0.28346 | [28 empty] | distr_wofelc_wof_GHA_001 | 0.081308 | 0.042693 | 0.074915 | 0.059035 | 0.049993 | 0.07821 | 0.1134 | 0.1002 | 0.11577 | 0.064352 | 0.056018 | 0.080616 | distr_wonelc_won_GHA_001 | DEF_C | OUT | 0.27354
distr_wofelc_wof_GHA_002 | DEF_E | 0.31706 | 0.41675 | 0.33546 | 0.32507 | 0.41194 | 0.31053 | 0.22886 | 0.27281 | 0.23918 | 0.34425 | 0.38933 | 0.30535 | [28 empty] | distr_wofelc_wof_GHA_002 | 0.11755 | 0.071267 | 0.11163 | 0.083989 | 0.070083 | 0.12094 | 0.18938 | 0.15421 | 0.19834 | 0.10805 | 0.096321 | 0.14257 | distr_wonelc_won_GHA_002 | DEF_C | OUT | 0.22851
distr_wofelc_wof_GHA_003 | DEF_E | 0.30446 | 0.44042 | 0.25229 | 0.33664 | 0.41738 | 0.27901 | 0.22073 | 0.28623 | 0.20542 | 0.33208 | 0.37915 | 0.26081 | [28 empty] | distr_wofelc_wof_GHA_003 | 0.080478 | 0.046418 | 0.1082 | 0.055596 | 0.053666 | 0.10141 | 0.10718 | 0.1015 | 0.14621 | 0.063478 | 0.060226 | 0.10127 | distr_wonelc_won_GHA_003 | DEF_C | OUT | 0.32287
distr_wofelc_wof_GHA_004 | DEF_E | 0.31058 | 0.47341 | 0.27103 | 0.33367 | 0.43159 | 0.30613 | 0.22402 | 0.30547 | 0.22509 | 0.35075 | 0.41014 | 0.3024 | [28 empty] | distr_wofelc_wof_GHA_004 | 0.055926 | 0.027445 | 0.060895 | 0.037625 | 0.03271 | 0.055324 | 0.073531 | 0.072373 | 0.093588 | 0.042645 | 0.03607 | 0.056879 | distr_wonelc_won_GHA_004 | DEF_C | OUT | 0.33062
distr_wofelc_wof_GHA_005 | DEF_E | 0.30712 | 0.36268 | 0.30499 | 0.32264 | 0.36933 | 0.30855 | 0.22773 | 0.25146 | 0.23969 | 0.2917 | 0.31276 | 0.28731 | [28 empty] | distr_wofelc_wof_GHA_005 | 0.1862 | 0.13462 | 0.21787 | 0.15379 | 0.13956 | 0.20733 | 0.27163 | 0.23071 | 0.30108 | 0.1854 | 0.16653 | 0.23163 | distr_wonelc_won_GHA_005 | DEF_C | OUT | 0.37593
distr_wofelc_wof_GHA_006 | DEF_E | 0.30025 | 0.35754 | 0.25311 | 0.32257 | 0.34186 | 0.27357 | 0.21649 | 0.23444 | 0.21506 | 0.27567 | 0.31229 | 0.25679 | [28 empty] | distr_wofelc_wof_GHA_006 | 0.1611 | 0.11124 | 0.19258 | 0.13298 | 0.13244 | 0.18325 | 0.22811 | 0.21574 | 0.26719 | 0.15536 | 0.1443 | 0.19907 | distr_wonelc_won_GHA_006 | DEF_C | OUT | 0.123
distr_wofelc_wof_GHA_007 | DEF_E | 0.30437 | 0.37398 | 0.2407 | 0.31703 | 0.34989 | 0.26335 | 0.21238 | 0.23505 | 0.20774 | 0.26905 | 0.3096 | 0.23237 | [28 empty] | distr_wofelc_wof_GHA_007 | 0.11642 | 0.0783 | 0.18161 | 0.099825 | 0.096025 | 0.16565 | 0.16909 | 0.1524 | 0.21065 | 0.11077 | 0.097301 | 0.1561 | distr_wonelc_won_GHA_007 | DEF_C | OUT | 0.27526
distr_wofelc_wof_GHA_008 | DEF_E | 0.31706 | 0.36107 | 0.26196 | 0.32739 | 0.36913 | 0.26313 | 0.23182 | 0.25149 | 0.21064 | 0.28793 | 0.30984 | 0.23597 | [28 empty] | distr_wofelc_wof_GHA_008 | 0.13709 | 0.11827 | 0.2398 | 0.11519 | 0.1287 | 0.21683 | 0.1993 | 0.19238 | 0.28288 | 0.13069 | 0.13993 | 0.21355 | distr_wonelc_won_GHA_008 | DEF_C | OUT | 0.21391
distr_wofelc_wof_GHA_009 | DEF_E | 0.31123 | 0.39175 | 0.29867 | 0.33246 | 0.39873 | 0.29453 | 0.22873 | 0.26699 | 0.21549 | 0.31957 | 0.35102 | 0.27794 | [28 empty] | distr_wofelc_wof_GHA_009 | 0.13919 | 0.090988 | 0.18125 | 0.1026 | 0.091819 | 0.16557 | 0.19783 | 0.16351 | 0.23759 | 0.12412 | 0.11515 | 0.18125 | distr_wonelc_won_GHA_009 | DEF_C | OUT | 0.28124
distr_wofelc_wof_GHA_010 | DEF_E | 0.30756 | 0.43448 | 0.23572 | 0.32906 | 0.39999 | 0.25466 | 0.22759 | 0.28396 | 0.19781 | 0.29303 | 0.38101 | 0.24138 | [28 empty] | distr_wofelc_wof_GHA_010 | 0.066586 | 0.038044 | 0.11378 | 0.050587 | 0.049207 | 0.10017 | 0.090788 | 0.084855 | 0.13115 | 0.05607 | 0.050885 | 0.089568 | distr_wonelc_won_GHA_010 | DEF_C | OUT | 0.23801
distr_wonelc_won_GHA_001 | DEF_E | 0.31149 | 0.41202 | 0.26753 | 0.33026 | 0.40468 | 0.28468 | 0.22953 | 0.28353 | 0.21214 | 0.31956 | 0.36259 | 0.26546 | [28 empty] | distr_wonelc_won_GHA_001 | 0.16336 | 0.10023 | 0.23188 | 0.11773 | 0.11054 | 0.22203 | 0.22402 | 0.1986 | 0.29839 | 0.13623 | 0.12972 | 0.22513 | distr_wofelc_wof_GHA_001 | DEF_C | OUT | 0.11465
distr_wonelc_won_GHA_002 | DEF_E | 0.29412 | 0.39744 | 0.22576 | 0.30298 | 0.34633 | 0.25313 | 0.21073 | 0.25125 | 0.19577 | 0.25112 | 0.33087 | 0.21442 | [28 empty] | distr_wonelc_won_GHA_002 | 0.12244 | 0.079621 | 0.21696 | 0.10515 | 0.10986 | 0.20005 | 0.1762 | 0.17517 | 0.24946 | 0.11333 | 0.10368 | 0.17241 | distr_wofelc_wof_GHA_002 | DEF_C | OUT | 0.19557
distr_wonelc_won_GHA_003 | DEF_E | 0.26389 | 0.41344 | 0.37034 | 0.26082 | 0.3865 | 0.46581 | 0.32608 | 0.35155 | 0.35175 | 0.35536 | 0.50089 | 0.5262 | [28 empty] | distr_wonelc_won_GHA_003 | 0.32287 | 0.14964 | 0.073662 | 0.21408 | 0.10036 | 0.039204 | 0.12944 | 0.1297 | 0.050905 | 0.084512 | 0.047288 | 0.022126 | distr_wofelc_wof_GHA_003 | DEF_C | OUT | 0.14274
distr_wonelc_won_GHA_004 | DEF_E | 0.21342 | 0.41089 | 0.35823 | 0.26706 | 0.42533 | 0.50546 | 0.32065 | 0.39282 | 0.44526 | 0.34235 | 0.52856 | 0.57598 | [28 empty] | distr_wonelc_won_GHA_004 | 0.33071 | 0.14683 | 0.084135 | 0.2199 | 0.084012 | 0.021811 | 0.12389 | 0.11605 | 0.032727 | 0.09327 | 0.051197 | 0.026222 | distr_wofelc_wof_GHA_004 | DEF_C | OUT | 0.09224
distr_wonelc_won_GHA_005 | DEF_E | 0.21813 | 0.40459 | 0.34737 | 0.27084 | 0.41049 | 0.47455 | 0.31599 | 0.37225 | 0.39942 | 0.35862 | 0.5132 | 0.56138 | [28 empty] | distr_wonelc_won_GHA_005 | 0.37703 | 0.17739 | 0.088165 | 0.20907 | 0.080817 | 0.024378 | 0.12339 | 0.1098 | 0.030832 | 0.093731 | 0.04967 | 0.025144 | distr_wofelc_wof_GHA_005 | DEF_C | OUT | 0.29188
distr_wonelc_won_GHA_006 | DEF_E | 0.31034 | 0.52392 | 0.43708 | 0.2608 | 0.47545 | 0.45861 | 0.20926 | 0.33852 | 0.37393 | 0.28114 | 0.54547 | 0.50032 | [28 empty] | distr_wonelc_won_GHA_006 | 0.11934 | 0.050188 | 0.025854 | 0.12305 | 0.066868 | 0.027284 | 0.11487 | 0.093401 | 0.04391 | 0.081937 | 0.041831 | 0.020565 | distr_wofelc_wof_GHA_006 | DEF_C | OUT | 0.24475
distr_wonelc_won_GHA_007 | DEF_E | 0.28545 | 0.43336 | 0.38067 | 0.28472 | 0.42198 | 0.56038 | 0.31097 | 0.39726 | 0.44898 | 0.37895 | 0.55553 | 0.62804 | [28 empty] | distr_wonelc_won_GHA_007 | 0.27526 | 0.13011 | 0.063687 | 0.22348 | 0.085209 | 0.024522 | 0.1278 | 0.12609 | 0.041393 | 0.09229 | 0.049919 | 0.026893 | distr_wofelc_wof_GHA_007 | DEF_C | OUT | 0.19394
distr_wonelc_won_GHA_008 | DEF_E | 0.31111 | 0.44229 | 0.42515 | 0.2772 | 0.43494 | 0.52823 | 0.29041 | 0.4019 | 0.45672 | 0.37166 | 0.568 | 0.59204 | [28 empty] | distr_wonelc_won_GHA_008 | 0.21391 | 0.10713 | 0.043458 | 0.18801 | 0.08332 | 0.025495 | 0.11702 | 0.12184 | 0.037204 | 0.082089 | 0.046573 | 0.017489 | distr_wofelc_wof_GHA_008 | DEF_C | OUT | 0.27785
distr_wonelc_won_GHA_009 | DEF_E | 0.29354 | 0.43671 | 0.44352 | 0.27505 | 0.3913 | 0.47927 | 0.32945 | 0.35366 | 0.34915 | 0.37602 | 0.53672 | 0.57131 | [28 empty] | distr_wonelc_won_GHA_009 | 0.28124 | 0.10366 | 0.05999 | 0.21247 | 0.095032 | 0.053706 | 0.12313 | 0.12207 | 0.053527 | 0.091516 | 0.038323 | 0.021552 | distr_wofelc_wof_GHA_009 | DEF_C | OUT | 0.23144
distr_wonelc_won_GHA_010 | DEF_E | 0.32927 | 0.45111 | 0.47778 | 0.28027 | 0.38712 | 0.4088 | 0.30952 | 0.36145 | 0.36686 | 0.36024 | 0.54171 | 0.54779 | [28 empty] | distr_wonelc_won_GHA_010 | 0.23801 | 0.093536 | 0.049789 | 0.20078 | 0.09339 | 0.056178 | 0.11653 | 0.11774 | 0.051055 | 0.093063 | 0.037565 | 0.028261 | distr_wofelc_wof_GHA_010 | DEF_C | OUT | 0.12323

## load_shapes
~TFM_DINS-AT
g_yrfr | com_fr | timeslice | commodity
0.11427 | 0.16087 | FaD | elc_roadtransport
0.11427 | 0.052548 | FaN | elc_roadtransport
0.020776 | 0.035897 | FaP | elc_roadtransport
0.11553 | 0.16264 | RaD | elc_roadtransport
0.11553 | 0.053125 | RaN | elc_roadtransport
0.021005 | 0.036291 | RaP | elc_roadtransport
0.11553 | 0.16264 | SaD | elc_roadtransport
0.11553 | 0.053125 | SaN | elc_roadtransport
0.021005 | 0.036291 | SaP | elc_roadtransport
0.11301 | 0.1591 | WaD | elc_roadtransport
0.11301 | 0.05197 | WaN | elc_roadtransport
0.020548 | 0.035502 | WaP | elc_roadtransport

## demand
~TFM_DINS-AT
commodity | timeslice | com_fr
elc_buildings | FaD | 0.11741
elc_buildings | FaN | 0.086146
elc_buildings | FaP | 0.024889
elc_buildings | RaD | 0.1403
elc_buildings | RaN | 0.10279
elc_buildings | RaP | 0.029071
elc_buildings | SaD | 0.11477
elc_buildings | SaN | 0.084114
elc_buildings | SaP | 0.02422
elc_buildings | WaD | 0.1402
elc_buildings | WaN | 0.10723
elc_buildings | WaP | 0.02886
elc_industry | FaD | 0.11496
elc_industry | FaN | 0.11313
elc_industry | FaP | 0.02111
elc_industry | RaD | 0.11649
elc_industry | RaN | 0.11429
elc_industry | RaP | 0.021389
elc_industry | SaD | 0.11618
elc_industry | SaN | 0.11439
elc_industry | SaP | 0.021321
elc_industry | WaD | 0.11389
elc_industry | WaN | 0.11195
elc_industry | WaP | 0.020904

## peak_factors
~TFM_DINS-AT
commodity | timeslice | com_pkflx
ELC | FaD | 0.12686
ELC | FaN | 0.45226
ELC | FaP | 0.12769
ELC | RaD | 0.15193
ELC | RaN | 0.50456
ELC | RaP | 0.14785
ELC | SaD | 0.086584
ELC | SaN | 0.45857
ELC | SaP | 0.12232
ELC | WaD | 0.15227
ELC | WaN | 0.46367
ELC | WaP | 0.14043

## hydro_af
~TFM_INS-AT
Year | timeslice | ncap_afs | pset_ci