## misc
~FI_Process | [7 empty] | ~FI_T: USD21~FX~ACT_BND
Sets | TechName | TechDesc | TAct | TCap | Tslvl | Process | Comm-IN | Comm-OUT | EFF | Cap2ACT | flo_cost | 2022 | 0 | invcost | life
ELE | ElcAgg_Solar |  | TWh | GW | DAYNITE | ElcAgg_Solar |  | ELC,ELCCurt | 1 | 8.76
ELE | ElcAgg_Wind |  | TWh | GW | DAYNITE | ElcAgg_Wind |  | ELC,ELCCurt | 1 | 8.76
DMD | e_demand | Demand sectors | TWh | GW |  | e_demand | ELC | elc_buildings,elc_industry,elc_transport | 1 | 8.76 | [5 empty] | $/GJ
DMD | h_demand | Hydrogen demand | TWh | GW |  | h_demand | hydrogen | hydrogen_allsect | 1 | 8.76
IMP | Trd_electricity import |  | TWh | GW | DAYNITE | fossil_supply |  | coal |  |  | 7.2 |  |  |  |  | 2
EXP | Trd_electricity export |  | TWh | GW | DAYNITE |  |  | gas |  |  | 18 |  |  |  |  | 5
IMP | fossil_supply | generic fuel supply | TWh | GW |  |  |  | oil |  |  | 36 |  |  |  |  | 10
IMP | renewable | hydro and geothermal | TWh | GW |  | renewable |  | geothermal |  |  | 0.36 |  |  |  |  | 0.1
IMP | nuclear_fuel | Nuclear fuel supply | TWh | GW |  |  |  | hydro |  |  | 0.36 |  |  |  |  | 0.1
IMP | solar_potential | solar potential | TWh | GW |  |  |  | bioenergy |  |  | 25.2 |  |  |  |  | 7
IMP | winon_potential | wind onshore potential | TWh | GW |  | nuclear_fuel |  | nuclear |  |  | 0.36 |  |  |  |  | 0.1
IMP | winoff_potential | wnid offshore potential | TWh | GW |  | solar_potential |  | solar |  |  | 0.36 |  |  |  |  | 0.1
[6 empty] | winon_potential |  | windon |  |  | 0.36 |  |  |  |  | 0.1
[6 empty] | winoff_potential |  | windoff |  |  | 0.36 |  |  |  |  | 0.1
[6 empty] | Trd_electricity import |  | ELC |  |  |  | 0 | 3 | 1000 | 50
[6 empty] | Trd_electricity export | ELC |  |  |  |  | 0 | 3 | 1000 | 50 | ELC

## ELC_Storage
~FI_Comm
Csets | CommName | CommDesc | Unit | LimType | CTSLvl | PeakTS | Ctype
ENV | AuxStoIN | Aux commodity for storage charging | TBTU |  | DAYNITE
| AuxStoOUT | Aux commodity for storage discharging | TBTU |  | DAYNITE
~FI_Process | [10 empty] | ~FI_T: USD21
Sets | TechName | TechDesc | Tact | Tcap | Tslvl |  | TechName | attribute | CommGrp | Commodity | time_slice | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | Comm-OUT | Comm-OUT-A | LIFE
ELE,STG | EN_STG8hbNREL | 8 hour battery - NREL | TBTU | GW | DAYNITE |  | EN_STG4hbNREL | FLO_FUNC | AuxStoOUT | ELC | ANNUAL | 2020: 1.1765 |  | AuxStoOUT | 20
| EN_STG4hbNREL | 4 hour battery - NREL | TBTU | GW | DAYNITE |  | EN_STG4hbNREL | NCAP_AFC | ACT | ELC | DAYNITE | 2020: 0.16667 | ELC
[7 empty] | EN_STG4hbNREL | NCAP_AFC | NRG |  | DAYNITE | bar: 2020
[7 empty] | EN_STG4hbNREL | NCAP_COST |  |  |  | 1363 | 956 | 784 | 735 | 686 | 637 | 588
[7 empty] | EN_STG4hbNREL | NCAP_FOM |  |  |  | 34 | 24 | 20 | 18 | 17 | 16 | 15
[7 empty] | EN_STG4hbNREL | NCAP_PKCNT |  |  | ANNUAL | bar: 2020
[7 empty] | EN_STG4hbNREL | PRC_CAPACT |  |  |  | 2020: 31.536
[7 empty] | EN_STG4hbNREL | STG_EFF |  |  |  | 2020: 0.85
[7 empty] | EN_STG8hbNREL | FLO_FUNC | AuxStoOUT | ELC | ANNUAL | 2020: 1.1765 |  | AuxStoOUT | 20
[7 empty] | EN_STG8hbNREL | NCAP_AFC | ACT | ELC | DAYNITE | 2020: 0.33333 | ELC
[7 empty] | EN_STG8hbNREL | NCAP_AFC | NRG |  | DAYNITE | bar: 2020
[7 empty] | EN_STG8hbNREL | NCAP_COST |  |  |  | 2470 | 1714 | 1371 | 1277 | 1183 | 1089 | 995
[7 empty] | EN_STG8hbNREL | NCAP_FOM |  |  |  | 62 | 43 | 34 | 32 | 30 | 27 | 25
[7 empty] | EN_STG8hbNREL | NCAP_PKCNT |  |  | ANNUAL | bar: 2020
[7 empty] | EN_STG8hbNREL | PRC_CAPACT |  |  |  | 2020: 31.536
[7 empty] | EN_STG8hbNREL | STG_EFF |  |  |  | 2020: 0.85
Utility-scale battery storage cost projections from NREL ATB 2024
Includes $100 grid connection cost
(2022$) | bar: 2020 to 2030
[8 empty] | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
4Hr Battery Storage
CAPEX
[7 empty] | Advanced | 1363 | 839 | 566 | 512 | 454 | 400 | 346
[7 empty] | Conservative | 1363 | 1167 | 981 | 981 | 981 | 981 | 981
[7 empty] | Moderate | 1363 | 956 | 784 | 735 | 686 | 637 | 588
Fixed O&M
[7 empty] | Advanced | 34 | 21 | 14 | 13 | 11 | 10 | 9
[7 empty] | Conservative | 34 | 29 | 25 | 25 | 25 | 25 | 25
[7 empty] | Moderate | 34 | 24 | 20 | 18 | 17 | 16 | 15
8Hr Battery Storage
CAPEX
[7 empty] | Advanced | 2470 | 1518 | 1024 | 927 | 822 | 724 | 626
[7 empty] | Conservative | 2470 | 2111 | 1754 | 1754 | 1754 | 1754 | 1754
[7 empty] | Moderate | 2470 | 1714 | 1371 | 1277 | 1183 | 1089 | 995
Fixed O&M
[7 empty] | Advanced | 62 | 38 | 26 | 23 | 21 | 18 | 16
[7 empty] | Conservative | 62 | 53 | 44 | 44 | 44 | 44 | 44
[7 empty] | Moderate | 62 | 43 | 34 | 32 | 30 | 27 | 25
[7 empty] | Roundtrip EFF: | 2020: 0.85
CF is duration/24 - assume one cycle per day
VAROM = 0

## EV Battery
[6 empty] | ~FI_T: FX | [8 empty] | ~FI_Process
TechName | Comm-IN | Comm-OUT | Comm-OUT-A | CommGrp | commodity | Attribute | 2030 | 0 | S_EFF | AFC~DAYNITE~UP | LIFE | invcost | CAP2ACT | Peak | Sets | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Vintage
ev_battery | ELC |  |  | NRG |  |  |  |  | 0.9025 | 4 | 10 | 150 | 1 | 1 | STG | ev_battery | Car battery - 6kw/60Kwh - with V2G (optional) | TWh | TWh | DAYNITE
|  |  |  | ACT | [5 empty] | 1
|  | elc_roadtransport | AuxStoIN
|  |  |  | ELC_BatIn | AuxStoIN | FLO_FUNC | 1 | 3

## H2 prod
XXX |  | Investment cost per unit of capacity (EUR/kW-output) |  |  | Fixed O&M costs (EUR/kW-output) |  |  | Heatrate (input over output ratio) | [5 empty] | Conversion technologies
|  | invcost | invcost | invcost | fixom | fixom | fixom | input~GASNGA | efficiency | input~GASNGA | efficiency | input~GASNGA | efficiency
|  | 2020 | 2030 | 2050 | 2020 | 2030 | 2050 | 2015 | 2015 | 2030 | 2030 | 2050 | 2050
|  | 2020 | 2030 | Ultimate | 2015 | 2030 | Ultimate | 2015 Heat | 2015 Electricity | 2030 Heat | 2030 Electricity | Ultimate Heat | Ultimate Electricity
|  | 550 | 500 | 450 | 22 | 20 | 18 | 1.33 | 0.094 | 1.3 | 0.094 | 1.28 | 0.094 | Hydrogen from natural gas steam reforming centralised - Large scale (per 1 kW or 1 MWh H2 HHV)
|  | 900 | 850 | 800 | 36 | 34 | 32 | 1.33 | 1.094 | 1.3 | 1.094 | 1.28 | 1.094 | Hydrogen from natural gas steam reforming centralised - Large scale with CCU (per 1 kW or 1 MWh H2 HHV)
|  | 1978 | 1598 | 1450 | 57 | 31 | 28 | 1.53 | 0.094 | 1.47 | 0.094 | 1.43 | 0.094 | Hydrogen from natural gas steam reforming de-centralised - Medium scale (per 1 kW or 1 MWh H2 HHV)
|  | 1610 | 740 | 200 | 49 | 15 | 10 | 0 | 1.39 | 0 | 1.19 | 0 | 1.17 | Hydrogen from low temperature water electrolysis PEM centralised - Large scale (per 1 kW or 1 MWh H2 HHV)
|  | 2530 | 1175 | 350 | 77 | 34 | 18 | 0 | 1.5 | 0 | 1.25 | 0 | 1.19 | Hydrogen from low temperature water electrolysis PEM de-centralised at a refuelling station (per 1 kW or 1 MWh H2 HHV)
|  | 1265 | 600 | 180 | 28 | 14 | 9 | 0 | 1.3952 | 0 | 1.268 | 0 | 1.18 | Hydrogen from low temperature water electrolysis - Alkaline centralised, large scale (per 1 kW or 1 MWh H2 HHV)
|  | 1897.5 | 715 | 300 | 41 | 17 | 15 | 0 | 1.3952 | 0 | 1.268 | 0 | 1.2 | Hydrogen from low temperature water electrolysis Alkaline de-centralised at a refuelling station (per 1 kW or 1 MWh H2 HHV)
|  | 3332.0882 | 1421.3922 | 600 | 55.825 | 36.18 | 39 | 1.9967 | 0.83712 | 1.4556 | 0.7608 | 0.33333 | 0.708 | Hydrogen from high temperature water electrolysis SOEC centralised (per 1 kW or 1 MWh H2 HHV)
|  | 5331.3412 | 2920.8941 | 1100 | 94.9025 | 63.315 | 48.75 | 1.9967 | 0.83712 | 1.4556 | 0.7608 | 0.33333 | 0.72 | Hydrogen from high temperature water electrolysis SOEC de-centralised at a refuelling station (per 1 kW or 1 MWh H2 HHV)
|  | 1200 | 733 | 263 | 42 | 22 | 9 | 0 | 0.01 | 0 | 0.01 | 0 | 0.01 | Methanation (per 1 kW or 1 MWh CH4 HHV)
|  | 450 | 450 | 450 | 18 | 18 | 18 | 0.26582 | 0.06 | 0.26582 | 0.06 | 0.26582 | 0.06 | CH4 Liquefaction plant (per 1 kW or 1 MWh gas HHV)
|  | 200 | 200 | 200 | 20 | 20 | 20 | 0.013 | 0.036 | 0.013 | 0.036 | 0.013 | 0.036 | Gas Liquefaction plant (per 1 kW or 1 MWh gas HHV)
|  | 175 | 175 | 175 | 5 | 5 | 5 | 0.014 | 0 | 0.014 | 0 | 0.014 | 0 | Regasification Plant including LNG storage (per 1 kW or 1 MWh gas HHV)
|  | 1000 | 720 | 364 | 50 | 31 | 18 | 0.2389 | 0.03056 | 0.2389 | 0.03056 | 0.2389 | 0.03056 | Power to liquid via the methanol route (per 1 kW or 1 MWh CH4 HHV)
|  | 1556 | 1143 | 673 | 54 | 40 | 24 | 0.035 | 0.02 | 0.035 | 0.02 | 0.035 | 0.02 | Power to liquid via the Fischer Tropsch route (per 1 kW or 1 MWh CH4 HHV)
|  | 2332 | 1511 | 965 | 163 | 106 | 68 | 0.46327 | 1.9188 | 0.39244 | 1.601 | 0.37891 | 1.5694 | Power to liquid via High temperature co-electrolysis and Fischer Tropsch (per 1 kW or 1 MWh CH4 HHV)
|  | 769.8768 | 648.0445 | 518.2906 | 26.9457 | 22.6816 | 18.1402 | 2.7778 | 2.2222 | 1.6667 | 1.3889 | 1.1389 | 0.3 | Capture CO2 from air (Absorption technology) (per 1 tCO2)
|  | 1259.7984 | 894.3014 | 495 | 44.0929 | 31.3005 | 17.325 | 2 | 0.3 | 1.8056 | 0.3 | 1.5 | 0.3 | Capture CO2 from air (Adsorption technology) (per 1 tCO2)
|  | 174 | 174 | 174 | 3 | 3 | 3 | 0 | 0.20588 | 0 | 0.20588 | 0 | 0.20588 | CO2 Liquefaction plant (per 1 ton CO2)
|  | ~FI_T: EUR15 | [14 empty] | ~FI_Process
Comm-OUT | Comm-IN | invcost~2020 | invcost~2030 | invcost~2050 | fixom~2020 | fixom~2030 | fixom~2050 | input~GASNGA~2015 | efficiency | input~GASNGA~2030 | efficiency~2030 | input~GASNGA~2050 | efficiency~2050 | TechName | LIFE | Cap2Act | Sets | TechName | TechDesc | Tcap | Tact | Tslvl | Vintage
hydrogen | ELC,ELCCurt | 1610 | 740 | 450 | 49 | 15 | 10 |  | 0.71942 |  | 0.84034 |  | 0.8547 | H2prd_Elc_PEM | 25 | 8.76 | PRE | H2prd_Elc_PEM | Hydrogen from low temperature water electrolysis PEM centralised - Large scale (per 1 kW or 1 MWh H2 HHV) | GW | TWh | DAYNITE | Yes
hydrogen | ELC,ELCCurt | 1265 | 600 | 350 | 28 | 14 | 9 |  | 0.71674 |  | 0.78864 |  | 0.84746 | H2prd_Elc_ALK | 25 | 8.76 | PRE | H2prd_Elc_ALK | Hydrogen from low temperature water electrolysis - Alkaline centralised, large scale (per 1 kW or 1 MWh H2 HHV) | GW | TWh | DAYNITE | Yes

## solar
~fi_process | [6 empty] | ~fi_t |  |  |  | ~fi_process | [7 empty] | ~fi_t |  |  |  |  | ~fi_process | [6 empty] | ~fi_t |  |  |  |  | ~fi_process | [6 empty] | ~fi_t
set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage | process | comm-out | cap_bnd | af~fx | set | process | description | capacity_unit | activity_unit | primarycg | timeslicelevel | vintage | process | comm-in | comm-out | efficiency | ncap_cost~USD21_alt | set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage | process | comm-in | comm-out | efficiency | ncap_cost~USD21_alt | set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage | process | comm-in | comm-out | efficiency | ncap_cost~USD21_alt
ele | e_spv_GBR_001 | solar resource in cluster 1 | GW | TWh | annual | no | e_spv_GBR_001 | elc_spv_GBR_001 | 0.70571 | 0.15077 | pre | distr_solelc_spv_GBR_016 | connecting solar to buses in cluster 16 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_016 | elc_spv_GBR_016 | e_w239248206-400_GBR | 0.98367 | 299.3863 | pre | distr_wonelc_won_GBR_015 | connecting wind onshore to buses in cluster 15 | GW | TWh | daynite | no | distr_wonelc_won_GBR_015 | elc_won_GBR_015 | e_w137050527_GBR,e_w297840585_GBR,e_w148382435_GBR | 0.9943 | 104.5702 | pre | distr_wofelc_wof_GBR_021 | connecting wind offshore to buses in cluster 21 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_021 | elc_wof_GBR_021 | e_w239248206-400_GBR,e_w68515955-400_GBR | 0.98398 | 293.7514
ele | e_spv_GBR_002 | solar resource in cluster 2 | GW | TWh | annual | no | e_spv_GBR_002 | elc_spv_GBR_002 | 0.73749 | 0.14474 | pre | distr_solelc_spv_GBR_008 | connecting solar to buses in cluster 8 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_008 | elc_spv_GBR_008 | e_w280317944-400_GBR,e_w310495264-400_GBR,e_w95338682-400_GBR,e_GB47-400_GBR,e_GB23-400_GBR,e_w87207123-400_GBR,e_r9598269-400_GBR,e_w1395117766-400_GBR | 0.99899 | 18.578 | pre | distr_wonelc_won_GBR_005 | connecting wind onshore to buses in cluster 5 | GW | TWh | daynite | no | distr_wonelc_won_GBR_005 | elc_won_GBR_005 | e_r9409219-400_GBR,e_w20851038-400_GBR,e_w91082448-400_GBR,e_w28691559-400_GBR,e_w91010022-400_GBR,e_r10695345_GBR | 0.99846 | 28.2804 | pre | distr_wofelc_wof_GBR_028 | connecting wind offshore to buses in cluster 28 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_028 | elc_wof_GBR_028 | e_w313180501-400_GBR,e_w33917128-400_GBR,e_w635229626-400_GBR,e_w32227788-400_GBR,e_w576238223-400_GBR | 0.99084 | 167.891
ele | e_spv_GBR_003 | solar resource in cluster 3 | GW | TWh | annual | no | e_spv_GBR_003 | elc_spv_GBR_003 | 0.7634 | 0.13917 | pre | distr_solelc_spv_GBR_019 | connecting solar to buses in cluster 19 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_019 | elc_spv_GBR_019 | e_w137050527_GBR | 0.98918 | 198.3488 | pre | distr_wonelc_won_GBR_020 | connecting wind onshore to buses in cluster 20 | GW | TWh | daynite | no | distr_wonelc_won_GBR_020 | elc_won_GBR_020 | e_w297840585-400_GBR,e_w148382435_GBR,e_w100077745-400_GBR,e_r7894974-400_GBR,e_w676646876-400_GBR,e_w284874050-400_GBR,e_r10377509-400_GBR,e_w262532045-400_GBR | 0.99806 | 35.6 | pre | distr_wofelc_wof_GBR_001 | connecting wind offshore to buses in cluster 1 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_001 | elc_wof_GBR_001 | e_r10695345_GBR,e_r10695345-400_GBR,e_w576238223-400_GBR | 0.99587 | 75.7567
ele | e_spv_GBR_004 | solar resource in cluster 4 | GW | TWh | annual | no | e_spv_GBR_004 | elc_spv_GBR_004 | 0.43273 | 0.13977 | pre | distr_solelc_spv_GBR_007 | connecting solar to buses in cluster 7 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_007 | elc_spv_GBR_007 | e_w26938722-400_GBR,e_w26678829-400_GBR,e_w292371992-400_GBR,e_w553490952-400_GBR,e_w34205588-400_GBR,e_w1049638569-400_GBR,e_w884174267-400_GBR,e_w90099036-400_GBR,e_w103915328-400_GBR,e_w95279334-400_GBR | 0.99906 | 17.2568 | pre | distr_wonelc_won_GBR_003 | connecting wind onshore to buses in cluster 3 | GW | TWh | daynite | no | distr_wonelc_won_GBR_003 | elc_won_GBR_003 | e_w553490952-400_GBR,e_w89573357-400_GBR,e_w280317944-400_GBR,e_w95896505-400_GBR,e_w127184694-400_GBR,e_w95338682-400_GBR,e_w96107758-400_GBR,e_w92458761-400_GBR | 0.99773 | 41.6202 | pre | distr_wofelc_wof_GBR_016 | connecting wind offshore to buses in cluster 16 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_016 | elc_wof_GBR_016 | e_w137050527_GBR,e_w239248206-400_GBR | 0.93779 | 1140.5374
ele | e_spv_GBR_005 | solar resource in cluster 5 | GW | TWh | annual | no | e_spv_GBR_005 | elc_spv_GBR_005 | 2.3251 | 0.15305 | pre | distr_solelc_spv_GBR_005 | connecting solar to buses in cluster 5 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_005 | elc_spv_GBR_005 | e_w89427607-400_GBR,e_r7879831-400_GBR,e_w142845284-400_GBR | 0.9977 | 42.1591 | pre | distr_wonelc_won_GBR_012 | connecting wind onshore to buses in cluster 12 | GW | TWh | daynite | no | distr_wonelc_won_GBR_012 | elc_won_GBR_012 | e_w239248206-400_GBR | 0.98745 | 230.0765 | pre | distr_wofelc_wof_GBR_011 | connecting wind offshore to buses in cluster 11 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_011 | elc_wof_GBR_011 | e_w137050527_GBR,e_w239248206-400_GBR,e_w297840585_GBR,e_w297840585-400_GBR | 0.99156 | 154.7864
ele | e_spv_GBR_006 | solar resource in cluster 6 | GW | TWh | annual | no | e_spv_GBR_006 | elc_spv_GBR_006 | 3.1701 | 0.16159 | pre | distr_solelc_spv_GBR_001 | connecting solar to buses in cluster 1 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_001 | elc_spv_GBR_001 | e_w91082448-400_GBR,e_w23299657-400_GBR,e_w28691559-400_GBR,e_w91010022-400_GBR,e_w29111844-400_GBR,e_GB67-400_GBR,e_r10695345_GBR,e_r10695345-400_GBR,e_w576238223-400_GBR | 0.99871 | 23.6139 | pre | distr_wonelc_won_GBR_006 | connecting wind onshore to buses in cluster 6 | GW | TWh | daynite | no | distr_wonelc_won_GBR_006 | elc_won_GBR_006 | e_w23988786-400_GBR,e_w263863442-400_GBR,e_w88389243-400_GBR,e_w41710456-400_GBR,e_w23299657-400_GBR,e_w22975329-400_GBR,e_w77065229-400_GBR,e_w376450057-400_GBR,e_w29111844-400_GBR,e_GB67-400_GBR,e_w635229626-400_GBR,e_r10695345-400_GBR,e_w576238223-400_GBR,e_w32227788-400_GBR | 0.99899 | 18.6011 | pre | distr_wofelc_wof_GBR_022 | connecting wind offshore to buses in cluster 22 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_022 | elc_wof_GBR_022 | e_w68515955-400_GBR,e_w166703766-400_GBR | 0.98261 | 318.8701
ele | e_spv_GBR_007 | solar resource in cluster 7 | GW | TWh | annual | no | e_spv_GBR_007 | elc_spv_GBR_007 | 2.8741 | 0.15015 | pre | distr_solelc_spv_GBR_010 | connecting solar to buses in cluster 10 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_010 | elc_spv_GBR_010 | e_GB19-400_GBR,e_w676646876-400_GBR,e_w284874050-400_GBR,e_r11051275-400_GBR,e_r14921826-400_GBR,e_GB16-400_GBR | 0.99802 | 36.3233 | pre | distr_wonelc_won_GBR_014 | connecting wind onshore to buses in cluster 14 | GW | TWh | daynite | no | distr_wonelc_won_GBR_014 | elc_won_GBR_014 | e_w137050527_GBR | 0.99102 | 164.6067 | pre | distr_wofelc_wof_GBR_005 | connecting wind offshore to buses in cluster 5 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_005 | elc_wof_GBR_005 | e_w137050527_GBR,e_w89427607-400_GBR,e_w148382435_GBR,e_w310495264-400_GBR,e_w676646876-400_GBR | 0.99588 | 75.5215
ele | e_spv_GBR_008 | solar resource in cluster 8 | GW | TWh | annual | no | e_spv_GBR_008 | elc_spv_GBR_008 | 4.4329 | 0.13926 | pre | distr_solelc_spv_GBR_020 | connecting solar to buses in cluster 20 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_020 | elc_spv_GBR_020 | e_w137050527_GBR,e_w297840585_GBR | 0.99427 | 104.9663 | pre | distr_wonelc_won_GBR_013 | connecting wind onshore to buses in cluster 13 | GW | TWh | daynite | no | distr_wonelc_won_GBR_013 | elc_won_GBR_013 | e_w239248206-400_GBR,e_w137050527_GBR,e_w297840585_GBR | 0.9878 | 223.6047 | pre | distr_wofelc_wof_GBR_014 | connecting wind offshore to buses in cluster 14 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_014 | elc_wof_GBR_014 | e_w91056548-400_GBR,e_w1263095951-400_GBR | 0.99646 | 64.9537
ele | e_spv_GBR_009 | solar resource in cluster 9 | GW | TWh | annual | no | e_spv_GBR_009 | elc_spv_GBR_009 | 2.5429 | 0.14189 | pre | distr_solelc_spv_GBR_015 | connecting solar to buses in cluster 15 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_015 | elc_spv_GBR_015 | e_w239248206-400_GBR,e_w1263095951-400_GBR | 0.99194 | 147.7271 | pre | distr_wonelc_won_GBR_010 | connecting wind onshore to buses in cluster 10 | GW | TWh | daynite | no | distr_wonelc_won_GBR_010 | elc_won_GBR_010 | e_w68515955-400_GBR,e_w166703766-400_GBR | 0.99328 | 123.262 | pre | distr_wofelc_wof_GBR_030 | connecting wind offshore to buses in cluster 30 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_030 | elc_wof_GBR_030 | e_w109730296-400_GBR,e_w310502642-400_GBR,e_w133323988-400_GBR,e_w33917128-400_GBR,e_w313180501-400_GBR | 0.9864 | 249.3425
ele | e_spv_GBR_010 | solar resource in cluster 10 | GW | TWh | annual | no | e_spv_GBR_010 | elc_spv_GBR_010 | 5.1783 | 0.13293 | pre | distr_solelc_spv_GBR_012 | connecting solar to buses in cluster 12 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_012 | elc_spv_GBR_012 | e_w1177951352-400_GBR,e_w166703766-400_GBR,e_w1263000221-400_GBR,e_w1185489725-400_GBR,e_w820231183-400_GBR | 0.99749 | 46.0173 | pre | distr_wonelc_won_GBR_002 | connecting wind onshore to buses in cluster 2 | GW | TWh | daynite | no | distr_wonelc_won_GBR_002 | elc_won_GBR_002 | e_w280317944-400_GBR,e_w310495264-400_GBR,e_GB19-400_GBR,e_GB47-400_GBR,e_GB23-400_GBR,e_w87207123-400_GBR,e_r9598269-400_GBR | 0.99893 | 19.5427 | pre | distr_wofelc_wof_GBR_026 | connecting wind offshore to buses in cluster 26 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_026 | elc_wof_GBR_026 | e_w133323988-400_GBR | 0.96926 | 563.6337
ele | e_spv_GBR_011 | solar resource in cluster 11 | GW | TWh | annual | no | e_spv_GBR_011 | elc_spv_GBR_011 | 2.3425 | 0.13525 | pre | distr_solelc_spv_GBR_004 | connecting solar to buses in cluster 4 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_004 | elc_spv_GBR_004 | e_w90534270-400_GBR,e_GB55-400_GBR,e_w88287125-400_GBR,e_w91003253-400_GBR,e_w376450057-400_GBR,e_GB56-400_GBR,e_w160279525-400_GBR,e_w313180501-400_GBR,e_w635229626-400_GBR,e_w32227788-400_GBR | 0.99893 | 19.68 | pre | distr_wonelc_won_GBR_011 | connecting wind onshore to buses in cluster 11 | GW | TWh | daynite | no | distr_wonelc_won_GBR_011 | elc_won_GBR_011 | e_w166703766-400_GBR,e_w820231183-400_GBR,e_w133323988-400_GBR | 0.98986 | 185.9006 | pre | distr_wofelc_wof_GBR_020 | connecting wind offshore to buses in cluster 20 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_020 | elc_wof_GBR_020 | e_w239248206-400_GBR | 0.97202 | 513.0573
ele | e_spv_GBR_012 | solar resource in cluster 12 | GW | TWh | annual | no | e_spv_GBR_012 | elc_spv_GBR_012 | 0.75626 | 0.13996 | pre | distr_solelc_spv_GBR_014 | connecting solar to buses in cluster 14 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_014 | elc_spv_GBR_014 | e_w1263095951-400_GBR,e_w239248206-400_GBR,e_w68515955-400_GBR,e_w689626274-400_GBR | 0.99551 | 82.3031 | pre | distr_wonelc_won_GBR_008 | connecting wind onshore to buses in cluster 8 | GW | TWh | daynite | no | distr_wonelc_won_GBR_008 | elc_won_GBR_008 | e_r9572254-400_GBR,e_w34656007-400_GBR,e_w100009331-400_GBR | 0.99838 | 29.7356 | pre | distr_wofelc_wof_GBR_024 | connecting wind offshore to buses in cluster 24 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_024 | elc_wof_GBR_024 | e_w820231183-400_GBR,e_w133323988-400_GBR | 0.97891 | 386.7281
ele | e_spv_GBR_013 | solar resource in cluster 13 | GW | TWh | annual | no | e_spv_GBR_013 | elc_spv_GBR_013 | 1.4477 | 0.13495 | pre | distr_solelc_spv_GBR_002 | connecting solar to buses in cluster 2 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_002 | elc_spv_GBR_002 | e_r9409219-400_GBR,e_w23988786-400_GBR,e_w263863442-400_GBR,e_w23059230-400_GBR,e_w20851038-400_GBR,e_w88389243-400_GBR,e_w41710456-400_GBR,e_w88287125-400_GBR,e_w22975329-400_GBR,e_w77065229-400_GBR | 0.99912 | 16.0874 | pre | distr_wonelc_won_GBR_018 | connecting wind onshore to buses in cluster 18 | GW | TWh | daynite | no | distr_wonelc_won_GBR_018 | elc_won_GBR_018 | e_w1185489725-400_GBR,e_w1263000221-400_GBR,e_w820231183-400_GBR | 0.999 | 18.2691 | pre | distr_wofelc_wof_GBR_008 | connecting wind offshore to buses in cluster 8 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_008 | elc_wof_GBR_008 | e_r9572254-400_GBR | 0.97732 | 415.8787
ele | e_spv_GBR_014 | solar resource in cluster 14 | GW | TWh | annual | no | e_spv_GBR_014 | elc_spv_GBR_014 | 1.5317 | 0.12524 | pre | distr_solelc_spv_GBR_021 | connecting solar to buses in cluster 21 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_021 | elc_spv_GBR_021 | e_w148382435_GBR,e_w297840585-400_GBR,e_w91056548-400_GBR,e_w1263095951-400_GBR,e_w100077745-400_GBR,e_r7894974-400_GBR,e_w86071326-400_GBR,e_w495512692-400_GBR | 0.99774 | 41.4081 | pre | distr_wonelc_won_GBR_016 | connecting wind onshore to buses in cluster 16 | GW | TWh | daynite | no | distr_wonelc_won_GBR_016 | elc_won_GBR_016 | e_w239248206-400_GBR,e_w68515955-400_GBR,e_w166703766-400_GBR | 0.99683 | 58.041 | pre | distr_wofelc_wof_GBR_007 | connecting wind offshore to buses in cluster 7 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_007 | elc_wof_GBR_007 | e_r9572254-400_GBR,e_r13110367-400_GBR | 0.98427 | 288.3956
ele | e_spv_GBR_015 | solar resource in cluster 15 | GW | TWh | annual | no | e_spv_GBR_015 | elc_spv_GBR_015 | 0.19103 | 0.12316 | pre | distr_solelc_spv_GBR_013 | connecting solar to buses in cluster 13 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_013 | elc_spv_GBR_013 | e_w166703766-400_GBR,e_w820231183-400_GBR,e_w133323988-400_GBR | 0.99216 | 143.6965 | pre | distr_wonelc_won_GBR_009 | connecting wind onshore to buses in cluster 9 | GW | TWh | daynite | no | distr_wonelc_won_GBR_009 | elc_won_GBR_009 | e_w100009331-400_GBR,e_r7879831-400_GBR,e_w26938722-400_GBR,e_w26678829-400_GBR,e_w292371992-400_GBR,e_w553490952-400_GBR,e_w34205588-400_GBR,e_w1049638569-400_GBR,e_w884174267-400_GBR,e_w90099036-400_GBR,e_w103915328-400_GBR,e_w95279334-400_GBR | 0.99883 | 21.4247 | pre | distr_wofelc_wof_GBR_032 | connecting wind offshore to buses in cluster 32 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_032 | elc_wof_GBR_032 | e_w111550033-400_GBR,e_w133323988-400_GBR,e_w642490160_GBR | 0.99258 | 136.1201
ele | e_spv_GBR_016 | solar resource in cluster 16 | GW | TWh | annual | no | e_spv_GBR_016 | elc_spv_GBR_016 | 0.17522 | 0.13559 | pre | distr_solelc_spv_GBR_011 | connecting solar to buses in cluster 11 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_011 | elc_spv_GBR_011 | e_GB9-400_GBR,e_w1177951352-400_GBR,e_r10377509-400_GBR,e_w262532045-400_GBR,e_w65482882-400_GBR,e_GB16-400_GBR,e_w102198808-400_GBR,e_w310502642-400_GBR,e_w642490160_GBR | 0.99784 | 39.5694 | pre | distr_wonelc_won_GBR_021 | connecting wind onshore to buses in cluster 21 | GW | TWh | daynite | no | distr_wonelc_won_GBR_021 | elc_won_GBR_021 | e_w65482882-400_GBR,e_w102198808-400_GBR,e_w111550033-400_GBR,e_w1263000221-400_GBR,e_w200511209-400_GBR,e_w310502642-400_GBR,e_w642490160_GBR,e_w25629803-400_GBR | 0.99783 | 39.8586 | pre | distr_wofelc_wof_GBR_002 | connecting wind offshore to buses in cluster 2 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_002 | elc_wof_GBR_002 | e_w91082448-400_GBR,e_w28691559-400_GBR,e_w264102298-400_GBR | 0.99503 | 91.1492
ele | e_spv_GBR_017 | solar resource in cluster 17 | GW | TWh | annual | no | e_spv_GBR_017 | elc_spv_GBR_017 | 0.86569 | 0.1331 | pre | distr_solelc_spv_GBR_017 | connecting solar to buses in cluster 17 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_017 | elc_spv_GBR_017 | e_w239248206-400_GBR | 0.98737 | 231.6087 | pre | distr_wonelc_won_GBR_017 | connecting wind onshore to buses in cluster 17 | GW | TWh | daynite | no | distr_wonelc_won_GBR_017 | elc_won_GBR_017 | e_w1263095951-400_GBR,e_w239248206-400_GBR,e_w91056548-400_GBR,e_w86071326-400_GBR,e_w495512692-400_GBR,e_w689626274-400_GBR | 0.99728 | 49.9416 | pre | distr_wofelc_wof_GBR_033 | connecting wind offshore to buses in cluster 33 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_033 | elc_wof_GBR_033 | e_w133323988-400_GBR | 0.97889 | 387.0844
ele | e_spv_GBR_018 | solar resource in cluster 18 | GW | TWh | annual | no | e_spv_GBR_018 | elc_spv_GBR_018 | 4.5279 | 0.13584 | pre | distr_solelc_spv_GBR_018 | connecting solar to buses in cluster 18 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_018 | elc_spv_GBR_018 | e_w137050527_GBR | 0.99549 | 82.6341 | pre | distr_wonelc_won_GBR_004 | connecting wind onshore to buses in cluster 4 | GW | TWh | daynite | no | distr_wonelc_won_GBR_004 | elc_won_GBR_004 | e_w23059230-400_GBR,e_w90534270-400_GBR,e_GB55-400_GBR,e_w101077623-400_GBR,e_w90547674-400_GBR,e_w209404646-400_GBR,e_w88287125-400_GBR,e_w91003253-400_GBR,e_GB42-400_GBR,e_w25629803-400_GBR,e_GB56-400_GBR,e_w160279525-400_GBR,e_w313180501-400_GBR,e_w635229626-400_GBR,e_w32227788-400_GBR | 0.99876 | 22.7471 | pre | distr_wofelc_wof_GBR_006 | connecting wind offshore to buses in cluster 6 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_006 | elc_wof_GBR_006 | e_r9572254-400_GBR,e_r13110367-400_GBR,e_w34656007-400_GBR,e_w100009331-400_GBR,e_w26938722-400_GBR,e_w34205588-400_GBR | 0.9957 | 78.8023
ele | e_spv_GBR_019 | solar resource in cluster 19 | GW | TWh | annual | no | e_spv_GBR_019 | elc_spv_GBR_019 | 7.5231 | 0.12737 | pre | distr_solelc_spv_GBR_006 | connecting solar to buses in cluster 6 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_006 | elc_spv_GBR_006 | e_r9572254-400_GBR,e_r13110367-400_GBR,e_w34656007-400_GBR,e_w100009331-400_GBR,e_r7879831-400_GBR | 0.99838 | 29.7632 | pre | distr_wonelc_won_GBR_001 | connecting wind onshore to buses in cluster 1 | GW | TWh | daynite | no | distr_wonelc_won_GBR_001 | elc_won_GBR_001 | e_r11051275-400_GBR,e_r14921826-400_GBR,e_w1395117766-400_GBR,e_GB16-400_GBR | 0.99788 | 38.7967 | pre | distr_wofelc_wof_GBR_023 | connecting wind offshore to buses in cluster 23 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_023 | elc_wof_GBR_023 | e_w166703766-400_GBR | 0.96921 | 564.4314
ele | e_spv_GBR_020 | solar resource in cluster 20 | GW | TWh | annual | no | e_spv_GBR_020 | elc_spv_GBR_020 | 0.76413 | 0.14007 | pre | distr_solelc_spv_GBR_003 | connecting solar to buses in cluster 3 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_003 | elc_spv_GBR_003 | e_w101077623-400_GBR,e_w90547674-400_GBR,e_w209404646-400_GBR,e_w200511209-400_GBR,e_GB42-400_GBR,e_w25629803-400_GBR | 0.99846 | 28.1778 | pre | distr_wonelc_won_GBR_007 | connecting wind onshore to buses in cluster 7 | GW | TWh | daynite | no | distr_wonelc_won_GBR_007 | elc_won_GBR_007 | e_r13110367-400_GBR,e_w89427607-400_GBR,e_r7879831-400_GBR,e_w142845284-400_GBR | 0.99773 | 41.6107 | pre | distr_wofelc_wof_GBR_025 | connecting wind offshore to buses in cluster 25 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_025 | elc_wof_GBR_025 | e_w133323988-400_GBR | 0.96731 | 599.239
ele | e_spv_GBR_021 | solar resource in cluster 21 | GW | TWh | annual | no | e_spv_GBR_021 | elc_spv_GBR_021 | 3.2911 | 0.1331 | pre | distr_solelc_spv_GBR_009 | connecting solar to buses in cluster 9 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_GBR_009 | elc_spv_GBR_009 | e_w553490952-400_GBR,e_w89573357-400_GBR,e_w280317944-400_GBR,e_w95896505-400_GBR,e_w127184694-400_GBR,e_w96107758-400_GBR,e_w92458761-400_GBR | 0.99763 | 43.367 | pre | distr_wonelc_won_GBR_019 | connecting wind onshore to buses in cluster 19 | GW | TWh | daynite | no | distr_wonelc_won_GBR_019 | elc_won_GBR_019 | e_GB9-400_GBR,e_w1177951352-400_GBR,e_w65482882-400_GBR,e_w1263000221-400_GBR | 0.99647 | 64.7217 | pre | distr_wofelc_wof_GBR_034 | connecting wind offshore to buses in cluster 34 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_034 | elc_wof_GBR_034 | e_w133323988-400_GBR | 0.98471 | 280.2746
[36 empty] | pre | distr_wofelc_wof_GBR_027 | connecting wind offshore to buses in cluster 27 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_027 | elc_wof_GBR_027 | e_w133323988-400_GBR | 0.97653 | 430.2988
[36 empty] | pre | distr_wofelc_wof_GBR_017 | connecting wind offshore to buses in cluster 17 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_017 | elc_wof_GBR_017 | e_w137050527_GBR | 0.94242 | 1055.6669
[36 empty] | pre | distr_wofelc_wof_GBR_019 | connecting wind offshore to buses in cluster 19 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_019 | elc_wof_GBR_019 | e_w239248206-400_GBR | 0.97882 | 388.2232
[36 empty] | pre | distr_wofelc_wof_GBR_031 | connecting wind offshore to buses in cluster 31 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_031 | elc_wof_GBR_031 | e_w166703766-400_GBR,e_w820231183-400_GBR,e_w133323988-400_GBR | 0.99096 | 165.6426
[36 empty] | pre | distr_wofelc_wof_GBR_013 | connecting wind offshore to buses in cluster 13 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_013 | elc_wof_GBR_013 | e_w96905262-400_GBR,e_w65482882-400_GBR,e_w97551523-400_GBR,e_GB10-525_GBR,e_w1263000221-400_GBR | 0.9979 | 38.5381
[36 empty] | pre | distr_wofelc_wof_GBR_018 | connecting wind offshore to buses in cluster 18 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_018 | elc_wof_GBR_018 | e_w137050527_GBR,e_w239248206-400_GBR | 0.9692 | 564.6499
[36 empty] | pre | distr_wofelc_wof_GBR_012 | connecting wind offshore to buses in cluster 12 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_012 | elc_wof_GBR_012 | e_w239248206-400_GBR,e_w1263095951-400_GBR,e_w68515955-400_GBR | 0.99004 | 182.584
[36 empty] | pre | distr_wofelc_wof_GBR_009 | connecting wind offshore to buses in cluster 9 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_009 | elc_wof_GBR_009 | e_r9572254-400_GBR,e_w677845115-400_GBR,e_w34656007-400_GBR | 0.99041 | 175.8149
[36 empty] | pre | distr_wofelc_wof_GBR_004 | connecting wind offshore to buses in cluster 4 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_004 | elc_wof_GBR_004 | e_r13110367-400_GBR,e_w89427607-400_GBR | 0.99377 | 114.2353
[36 empty] | pre | distr_wofelc_wof_GBR_003 | connecting wind offshore to buses in cluster 3 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_003 | elc_wof_GBR_003 | e_w677845115-400_GBR,e_w26938722-400_GBR,e_w34205588-400_GBR,e_w49922626-400_GBR,e_w90099036-400_GBR,e_w636630368-400_GBR,e_w91082448-400_GBR | 0.99527 | 86.63
[36 empty] | pre | distr_wofelc_wof_GBR_029 | connecting wind offshore to buses in cluster 29 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_029 | elc_wof_GBR_029 | e_w642490160_GBR,e_w102198808-400_GBR,e_w109730296-400_GBR,e_GB17-525_GBR,e_w310502642-400_GBR,e_w33917128-400_GBR | 0.99559 | 80.7613
[36 empty] | pre | distr_wofelc_wof_GBR_010 | connecting wind offshore to buses in cluster 10 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_010 | elc_wof_GBR_010 | e_w137050527_GBR,e_w239248206-400_GBR | 0.98042 | 358.9134
[36 empty] | pre | distr_wofelc_wof_GBR_015 | connecting wind offshore to buses in cluster 15 | GW | TWh | daynite | no | distr_wofelc_wof_GBR_015 | elc_wof_GBR_015 | e_w239248206-400_GBR,e_w68515955-400_GBR,e_w166703766-400_GBR | 0.99732 | 49.1931

## wind
~fi_process | [6 empty] | ~fi_t |  |  |  | ~fi_process | [6 empty] | ~fi_t
set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage | process | comm-out | cap_bnd | af~fx | set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage | process | comm-out | cap_bnd | af~fx
ele | e_won_GBR_001 | wind resource in cluster 1 | GW | TWh | annual | no | e_won_GBR_001 | elc_won_GBR_001 | 21.3996 | 0.43681 | ele | e_wof_GBR_001 | wind offshore resource in cluster 1 | GW | TWh | annual | no | e_wof_GBR_001 | elc_wof_GBR_001 | 1.4572 | 0.4984
ele | e_won_GBR_002 | wind resource in cluster 2 | GW | TWh | annual | no | e_won_GBR_002 | elc_won_GBR_002 | 9.1937 | 0.46764 | ele | e_wof_GBR_002 | wind offshore resource in cluster 2 | GW | TWh | annual | no | e_wof_GBR_002 | elc_wof_GBR_002 | 4.502 | 0.54334
ele | e_won_GBR_003 | wind resource in cluster 3 | GW | TWh | annual | no | e_won_GBR_003 | elc_won_GBR_003 | 19.9896 | 0.39568 | ele | e_wof_GBR_003 | wind offshore resource in cluster 3 | GW | TWh | annual | no | e_wof_GBR_003 | elc_wof_GBR_003 | 66.2798 | 0.54203
ele | e_won_GBR_004 | wind resource in cluster 4 | GW | TWh | annual | no | e_won_GBR_004 | elc_won_GBR_004 | 4.302 | 0.45121 | ele | e_wof_GBR_004 | wind offshore resource in cluster 4 | GW | TWh | annual | no | e_wof_GBR_004 | elc_wof_GBR_004 | 52.6793 | 0.5422
ele | e_won_GBR_005 | wind resource in cluster 5 | GW | TWh | annual | no | e_won_GBR_005 | elc_won_GBR_005 | 1.9658 | 0.51139 | ele | e_wof_GBR_005 | wind offshore resource in cluster 5 | GW | TWh | annual | no | e_wof_GBR_005 | elc_wof_GBR_005 | 41.9335 | 0.5392
ele | e_won_GBR_006 | wind resource in cluster 6 | GW | TWh | annual | no | e_won_GBR_006 | elc_won_GBR_006 | 3.1268 | 0.43039 | ele | e_wof_GBR_006 | wind offshore resource in cluster 6 | GW | TWh | annual | no | e_wof_GBR_006 | elc_wof_GBR_006 | 62.0535 | 0.53514
ele | e_won_GBR_007 | wind resource in cluster 7 | GW | TWh | annual | no | e_won_GBR_007 | elc_won_GBR_007 | 11.7947 | 0.49424 | ele | e_wof_GBR_007 | wind offshore resource in cluster 7 | GW | TWh | annual | no | e_wof_GBR_007 | elc_wof_GBR_007 | 116.4862 | 0.58019
ele | e_won_GBR_008 | wind resource in cluster 8 | GW | TWh | annual | no | e_won_GBR_008 | elc_won_GBR_008 | 5.1166 | 0.51139 | ele | e_wof_GBR_008 | wind offshore resource in cluster 8 | GW | TWh | annual | no | e_wof_GBR_008 | elc_wof_GBR_008 | 64.5457 | 0.59185
ele | e_won_GBR_009 | wind resource in cluster 9 | GW | TWh | annual | no | e_won_GBR_009 | elc_won_GBR_009 | 16.5517 | 0.4619 | ele | e_wof_GBR_009 | wind offshore resource in cluster 9 | GW | TWh | annual | no | e_wof_GBR_009 | elc_wof_GBR_009 | 75.1088 | 0.57567
ele | e_won_GBR_010 | wind resource in cluster 10 | GW | TWh | annual | no | e_won_GBR_010 | elc_won_GBR_010 | 6.4387 | 0.55239 | ele | e_wof_GBR_010 | wind offshore resource in cluster 10 | GW | TWh | annual | no | e_wof_GBR_010 | elc_wof_GBR_010 | 86.9933 | 0.62491
ele | e_won_GBR_011 | wind resource in cluster 11 | GW | TWh | annual | no | e_won_GBR_011 | elc_won_GBR_011 | 0.90067 | 0.63498 | ele | e_wof_GBR_011 | wind offshore resource in cluster 11 | GW | TWh | annual | no | e_wof_GBR_011 | elc_wof_GBR_011 | 46.9162 | 0.56827
ele | e_won_GBR_012 | wind resource in cluster 12 | GW | TWh | annual | no | e_won_GBR_012 | elc_won_GBR_012 | 3.9389 | 0.5843 | ele | e_wof_GBR_012 | wind offshore resource in cluster 12 | GW | TWh | annual | no | e_wof_GBR_012 | elc_wof_GBR_012 | 44.3302 | 0.51215
ele | e_won_GBR_013 | wind resource in cluster 13 | GW | TWh | annual | no | e_won_GBR_013 | elc_won_GBR_013 | 2.7494 | 0.58331 | ele | e_wof_GBR_013 | wind offshore resource in cluster 13 | GW | TWh | annual | no | e_wof_GBR_013 | elc_wof_GBR_013 | 5.8137 | 0.46785
ele | e_won_GBR_014 | wind resource in cluster 14 | GW | TWh | annual | no | e_won_GBR_014 | elc_won_GBR_014 | 31.3097 | 0.44742 | ele | e_wof_GBR_014 | wind offshore resource in cluster 14 | GW | TWh | annual | no | e_wof_GBR_014 | elc_wof_GBR_014 | 0.2865 | 0.24906
ele | e_won_GBR_015 | wind resource in cluster 15 | GW | TWh | annual | no | e_won_GBR_015 | elc_won_GBR_015 | 7.241 | 0.57857 | ele | e_wof_GBR_015 | wind offshore resource in cluster 15 | GW | TWh | annual | no | e_wof_GBR_015 | elc_wof_GBR_015 | 3.3563 | 0.38546
ele | e_won_GBR_016 | wind resource in cluster 16 | GW | TWh | annual | no | e_won_GBR_016 | elc_won_GBR_016 | 7.012 | 0.39463 | ele | e_wof_GBR_016 | wind offshore resource in cluster 16 | GW | TWh | annual | no | e_wof_GBR_016 | elc_wof_GBR_016 | 14.5823 | 0.65361
ele | e_won_GBR_017 | wind resource in cluster 17 | GW | TWh | annual | no | e_won_GBR_017 | elc_won_GBR_017 | 14.7664 | 0.34302 | ele | e_wof_GBR_017 | wind offshore resource in cluster 17 | GW | TWh | annual | no | e_wof_GBR_017 | elc_wof_GBR_017 | 84.297 | 0.66164
ele | e_won_GBR_018 | wind resource in cluster 18 | GW | TWh | annual | no | e_won_GBR_018 | elc_won_GBR_018 | 0.97891 | 0.47385 | ele | e_wof_GBR_018 | wind offshore resource in cluster 18 | GW | TWh | annual | no | e_wof_GBR_018 | elc_wof_GBR_018 | 41.697 | 0.63863
ele | e_won_GBR_019 | wind resource in cluster 19 | GW | TWh | annual | no | e_won_GBR_019 | elc_won_GBR_019 | 9.4366 | 0.382 | ele | e_wof_GBR_019 | wind offshore resource in cluster 19 | GW | TWh | annual | no | e_wof_GBR_019 | elc_wof_GBR_019 | 71.0655 | 0.60863
ele | e_won_GBR_020 | wind resource in cluster 20 | GW | TWh | annual | no | e_won_GBR_020 | elc_won_GBR_020 | 17.5635 | 0.4601 | ele | e_wof_GBR_020 | wind offshore resource in cluster 20 | GW | TWh | annual | no | e_wof_GBR_020 | elc_wof_GBR_020 | 39.6608 | 0.61703
ele | e_won_GBR_021 | wind resource in cluster 21 | GW | TWh | annual | no | e_won_GBR_021 | elc_won_GBR_021 | 1.7381 | 0.52352 | ele | e_wof_GBR_021 | wind offshore resource in cluster 21 | GW | TWh | annual | no | e_wof_GBR_021 | elc_wof_GBR_021 | 99.7408 | 0.6095
[11 empty] | ele | e_wof_GBR_022 | wind offshore resource in cluster 22 | GW | TWh | annual | no | e_wof_GBR_022 | elc_wof_GBR_022 | 84.7133 | 0.59846
[11 empty] | ele | e_wof_GBR_023 | wind offshore resource in cluster 23 | GW | TWh | annual | no | e_wof_GBR_023 | elc_wof_GBR_023 | 9.8707 | 0.57522
[11 empty] | ele | e_wof_GBR_024 | wind offshore resource in cluster 24 | GW | TWh | annual | no | e_wof_GBR_024 | elc_wof_GBR_024 | 82.7242 | 0.57818
[11 empty] | ele | e_wof_GBR_025 | wind offshore resource in cluster 25 | GW | TWh | annual | no | e_wof_GBR_025 | elc_wof_GBR_025 | 103.515 | 0.55168
[11 empty] | ele | e_wof_GBR_026 | wind offshore resource in cluster 26 | GW | TWh | annual | no | e_wof_GBR_026 | elc_wof_GBR_026 | 66.306 | 0.5421
[11 empty] | ele | e_wof_GBR_027 | wind offshore resource in cluster 27 | GW | TWh | annual | no | e_wof_GBR_027 | elc_wof_GBR_027 | 107.6663 | 0.55955
[11 empty] | ele | e_wof_GBR_028 | wind offshore resource in cluster 28 | GW | TWh | annual | no | e_wof_GBR_028 | elc_wof_GBR_028 | 43.2293 | 0.56104
[11 empty] | ele | e_wof_GBR_029 | wind offshore resource in cluster 29 | GW | TWh | annual | no | e_wof_GBR_029 | elc_wof_GBR_029 | 43.483 | 0.53345
[11 empty] | ele | e_wof_GBR_030 | wind offshore resource in cluster 30 | GW | TWh | annual | no | e_wof_GBR_030 | elc_wof_GBR_030 | 111.138 | 0.58
[11 empty] | ele | e_wof_GBR_031 | wind offshore resource in cluster 31 | GW | TWh | annual | no | e_wof_GBR_031 | elc_wof_GBR_031 | 92.3533 | 0.56788
[11 empty] | ele | e_wof_GBR_032 | wind offshore resource in cluster 32 | GW | TWh | annual | no | e_wof_GBR_032 | elc_wof_GBR_032 | 89.1722 | 0.55972
[11 empty] | ele | e_wof_GBR_033 | wind offshore resource in cluster 33 | GW | TWh | annual | no | e_wof_GBR_033 | elc_wof_GBR_033 | 31.392 | 0.56071
[11 empty] | ele | e_wof_GBR_034 | wind offshore resource in cluster 34 | GW | TWh | annual | no | e_wof_GBR_034 | elc_wof_GBR_034 | 112.2345 | 0.57022

## conventional
~fi_t | [9 empty] | ~fi_process
process | comm-in | comm-out | 2022 | 2030 | 2035 | 2040 | 2045 | 2050 | attribute | set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage
en_gas_ccgt | gas | ELC | 2022: 1000; 2030: 1000; 2050: 1000 | ncap_cost | ele | en_gas_ccgt |  | GW | TWh | daynite | yes
en_gas_ccgt | gas | ELC | 2022: 25; 2030: 25; 2050: 25 | ncap_fom | ele | en_gas_turbine |  | GW | TWh | daynite | yes
en_gas_ccgt | gas | ELC | 2022: 0.603; 2030: 0.567; 2050: 0.497 | act_cost | CHP | en_gas_chp |  | GW | TWh | daynite | yes
en_gas_ccgt | gas | ELC | 2022: 0.59; 2030: 0.6; 2050: 0.61 | efficiency | ele | en_gas_fuelcell |  | GW | TWh | daynite | yes
en_gas_ccgt | gas | ELC | 30 | 30 | 30 | 30 | 30 | 30 | ncap_tlife | ele | en_gas_ccs |  | GW | TWh | daynite | yes
en_gas_ccgt | gas | ELC | 3 | 3 | 3 | 3 | 3 | 3 | ncap_iled | ele | en_coal_subcritical |  | GW | TWh | daynite | yes
en_gas_turbine | gas | ELC | 2022: 500; 2030: 500; 2050: 500 | ncap_cost | ele | en_coal_supercritical |  | GW | TWh | daynite | yes
en_gas_turbine | gas | ELC | 2022: 20; 2030: 20; 2050: 20 | ncap_fom | ele | en_coal_ultrasupercritical |  | GW | TWh | daynite | yes
en_gas_turbine | gas | ELC | 2022: 1.928; 2030: 1.928; 2050: 1.928 | act_cost | ele | en_coal_igcc |  | GW | TWh | daynite | yes
en_gas_turbine | gas | ELC | 2022: 0.4; 2030: 0.41; 2050: 0.42 | efficiency | ele | en_coal_ccs |  | GW | TWh | daynite | yes
en_gas_turbine | gas | ELC | 30 | 30 | 30 | 30 | 30 | 30 | ncap_tlife | ele | en_coal_igcc_ccs |  | GW | TWh | daynite | yes
en_gas_turbine | gas | ELC | 2 | 2 | 2 | 2 | 2 | 2 | ncap_iled | ele | en_coal_oxyfuel_ccs |  | GW | TWh | daynite | yes
en_gas_chp | gas | ELC,HET | 2022: 1300; 2030: 1300; 2050: 1300 | ncap_cost | ele | en_nuclear |  | GW | TWh | daynite | yes
en_gas_chp | gas | ELC,HET | 2022: 40; 2030: 40; 2050: 40 | ncap_fom | ele | en_nuclear_smr |  | GW | TWh | daynite | yes
en_gas_chp | gas | ELC,HET | 2022: 0.694; 2030: 0.694; 2050: 0.694 | act_cost | ele | en_biomass |  | GW | TWh | daynite | yes
en_gas_chp | gas | ELC,HET | 2022: 0.533; 2030: 0.54; 2050: 0.546 | efficiency | ele | en_biomass_cofiring |  | GW | TWh | daynite | yes
en_gas_chp | gas | ELC,HET | 25 | 25 | 25 | 25 | 25 | 25 | ncap_tlife | CHP | en_biomass_chp |  | GW | TWh | daynite | yes
en_gas_chp | gas | ELC,HET | 3 | 3 | 3 | 3 | 3 | 3 | ncap_iled | ele | en_biomass_ccs |  | GW | TWh | daynite | yes
en_gas_chp | gas | ELC,HET | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | ncap_chpr | ele | en_geothermal |  | GW | TWh | daynite | yes
en_gas_fuelcell | gas | ELC | 2022: 5000; 2030: 2500; 2050: 2500 | ncap_cost
en_gas_fuelcell | gas | ELC | 2022: 100; 2030: 50; 2050: 50 | ncap_fom
en_gas_fuelcell | gas | ELC | 2022: 0.833; 2030: 0.833; 2050: 0.833 | act_cost
en_gas_fuelcell | gas | ELC | 2022: 0.46; 2030: 0.54; 2050: 0.6 | efficiency
en_gas_fuelcell | gas | ELC | 20 | 20 | 20 | 20 | 20 | 20 | ncap_tlife
en_gas_fuelcell | gas | ELC | 2 | 2 | 2 | 2 | 2 | 2 | ncap_iled
en_gas_ccs | gas | ELC,CO2Cap | 2022: 3100; 2030: 3100; 2050: 2500 | ncap_cost
en_gas_ccs | gas | ELC,CO2Cap | 2022: 80; 2030: 75; 2050: 60 | ncap_fom
en_gas_ccs | gas | ELC,CO2Cap | 2022: 1.35; 2030: 1.2; 2050: 0.989 | act_cost
en_gas_ccs | gas | ELC,CO2Cap | 2022: 0.51; 2030: 0.52; 2050: 0.52 | efficiency
en_gas_ccs | gas | ELC,CO2Cap | 30 | 30 | 30 | 30 | 30 | 30 | ncap_tlife
en_gas_ccs | gas | ELC,CO2Cap | 4 | 4 | 4 | 4 | 4 | 4 | ncap_iled
en_coal_subcritical | coal | ELC | 2022: 1700; 2030: 1700; 2050: 1700 | ncap_cost
en_coal_subcritical | coal | ELC | 2022: 45; 2030: 45; 2050: 45 | ncap_fom
en_coal_subcritical | coal | ELC | 2022: 2.361; 2030: 2.361; 2050: 2.361 | act_cost
en_coal_subcritical | coal | ELC | 2022: 0.39; 2030: 0.39; 2050: 0.39 | efficiency
en_coal_subcritical | coal | ELC | 40 | 40 | 40 | 40 | 40 | 40 | ncap_tlife
en_coal_subcritical | coal | ELC | 4 | 4 | 4 | 4 | 4 | 4 | ncap_iled
en_coal_supercritical | coal | ELC | 2022: 2000; 2030: 2000; 2050: 2000 | ncap_cost
en_coal_supercritical | coal | ELC | 2022: 60; 2030: 60; 2050: 60 | ncap_fom
en_coal_supercritical | coal | ELC | 2022: 2.583; 2030: 2.497; 2050: 2.317 | act_cost
en_coal_supercritical | coal | ELC | 2022: 0.43; 2030: 0.43; 2050: 0.43 | efficiency
en_coal_supercritical | coal | ELC | 40 | 40 | 40 | 40 | 40 | 40 | ncap_tlife
en_coal_supercritical | coal | ELC | 4 | 4 | 4 | 4 | 4 | 4 | ncap_iled
en_coal_ultrasupercritical | coal | ELC | 2022: 2200; 2030: 2200; 2050: 2200 | ncap_cost
en_coal_ultrasupercritical | coal | ELC | 2022: 65; 2030: 65; 2050: 65 | ncap_fom
en_coal_ultrasupercritical | coal | ELC | 2022: 2.639; 2030: 2.639; 2050: 2.639 | act_cost
en_coal_ultrasupercritical | coal | ELC | 2022: 0.45; 2030: 0.47; 2050: 0.47 | efficiency
en_coal_ultrasupercritical | coal | ELC | 40 | 40 | 40 | 40 | 40 | 40 | ncap_tlife
en_coal_ultrasupercritical | coal | ELC | 4 | 4 | 4 | 4 | 4 | 4 | ncap_iled
en_coal_igcc | coal | ELC | 2022: 2500; 2030: 2350; 2050: 2300 | ncap_cost
en_coal_igcc | coal | ELC | 2022: 95; 2030: 85; 2050: 80 | ncap_fom
en_coal_igcc | coal | ELC | 2022: 0.44; 2030: 0.47; 2050: 0.49 | efficiency
en_coal_igcc | coal | ELC | 40 | 40 | 40 | 40 | 40 | 40 | ncap_tlife
en_coal_igcc | coal | ELC | 4 | 4 | 4 | 4 | 4 | 4 | ncap_iled
en_coal_ccs | coal | ELC,CO2Cap | 2022: 5500; 2030: 5500; 2050: 4500 | ncap_cost
en_coal_ccs | coal | ELC,CO2Cap | 2022: 165; 2030: 165; 2050: 135 | ncap_fom
en_coal_ccs | coal | ELC,CO2Cap | 2022: 4.478; 2030: 4.153; 2050: 3.731 | act_cost
en_coal_ccs | coal | ELC,CO2Cap | 2022: 0.36; 2030: 0.37; 2050: 0.37 | efficiency
en_coal_ccs | coal | ELC,CO2Cap | 40 | 40 | 40 | 40 | 40 | 40 | ncap_tlife
en_coal_ccs | coal | ELC,CO2Cap | 5 | 5 | 5 | 5 | 5 | 5 | ncap_iled
en_coal_igcc_ccs | coal | ELC,CO2Cap | 2022: 5850; 2030: 5700; 2050: 5150 | ncap_cost
en_coal_igcc_ccs | coal | ELC,CO2Cap | 2022: 205; 2030: 200; 2050: 180 | ncap_fom
en_coal_igcc_ccs | coal | ELC,CO2Cap | 2022: 4.583; 2030: 4.583; 2050: 4.583 | act_cost
en_coal_igcc_ccs | coal | ELC,CO2Cap | 2022: 0.35; 2030: 0.36; 2050: 0.39 | efficiency
en_coal_igcc_ccs | coal | ELC,CO2Cap | 40 | 40 | 40 | 40 | 40 | 40 | ncap_tlife
en_coal_igcc_ccs | coal | ELC,CO2Cap | 5 | 5 | 5 | 5 | 5 | 5 | ncap_iled
en_coal_oxyfuel_ccs | coal | ELC,CO2Cap | 2022: 5700; 2030: 5700; 2050: 5150 | ncap_cost
en_coal_oxyfuel_ccs | coal | ELC,CO2Cap | 2022: 170; 2030: 170; 2050: 155 | ncap_fom
en_coal_oxyfuel_ccs | coal | ELC,CO2Cap | 2022: 4.306; 2030: 4.306; 2050: 4.306 | act_cost
en_coal_oxyfuel_ccs | coal | ELC,CO2Cap | 2022: 0.36; 2030: 0.37; 2050: 0.37 | efficiency
en_coal_oxyfuel_ccs | coal | ELC,CO2Cap | 40 | 40 | 40 | 40 | 40 | 40 | ncap_tlife
en_coal_oxyfuel_ccs | coal | ELC,CO2Cap | 5 | 5 | 5 | 5 | 5 | 5 | ncap_iled
en_nuclear | nuclear | ELC | 2022: 6600; 2030: 5100; 2050: 4500 | ncap_cost
en_nuclear | nuclear | ELC | 2022: 160; 2030: 160; 2050: 160 | ncap_fom
en_nuclear | nuclear | ELC | 2030: 0.778; 2050: 0.778 | act_cost
en_nuclear | nuclear | ELC | 60 | 60 | 60 | 60 | 60 | 60 | ncap_tlife
en_nuclear | nuclear | ELC | 7 | 7 | 7 | 7 | 7 | 7 | ncap_iled
en_nuclear_smr | nuclear | ELC |  | 10253.1 | 7863 | 6373.8 | 5480.2 | 4884.6 | ncap_cost
en_nuclear_smr | nuclear | ELC |  | 144.5 | 136 | 136 | 136 | 136 | ncap_fom
en_nuclear_smr | nuclear | ELC |  | 0.722 | 0.722 | 0.722 | 0.722 | 0.722 | act_cost
en_nuclear_smr | nuclear | ELC | 40 | 40 | 40 | 40 | 40 | 40 | ncap_tlife
en_nuclear_smr | nuclear | ELC | 3 | 3 | 3 | 3 | 3 | 3 | ncap_iled
en_biomass | bioenergy | ELC | 2022: 2400; 2030: 2350; 2050: 2300 | ncap_cost
en_biomass | bioenergy | ELC | 2022: 85; 2030: 80; 2050: 80 | ncap_fom
en_biomass | bioenergy | ELC | 2022: 1.457; 2030: 1.457; 2050: 1.457 | act_cost
en_biomass | bioenergy | ELC | 2022: 0.35; 2030: 0.35; 2050: 0.35 | efficiency
en_biomass | bioenergy | ELC | 2022: 0.6; 2030: 0.6; 2050: 0.6 | ncap_af
en_biomass | bioenergy | ELC | 45 | 45 | 45 | 45 | 45 | 45 | ncap_tlife
en_biomass | bioenergy | ELC | 3 | 3 | 3 | 3 | 3 | 3 | ncap_iled
en_biomass_cofiring | bioenergy | ELC | 2022: 600; 2030: 575; 2050: 575 | ncap_cost
en_biomass_cofiring | bioenergy | ELC | 2022: 25; 2030: 20; 2050: 20 | ncap_fom
en_biomass_cofiring | bioenergy | ELC | 2022: 1.111; 2030: 1.111; 2050: 1.111 | act_cost
en_biomass_cofiring | bioenergy | ELC | 2022: 0.37; 2030: 0.37; 2050: 0.37 | efficiency
en_biomass_cofiring | bioenergy | ELC | 2022: 0.6; 2030: 0.6; 2050: 0.6 | ncap_af
en_biomass_cofiring | bioenergy | ELC | 40 | 40 | 40 | 40 | 40 | 40 | ncap_tlife
en_biomass_cofiring | bioenergy | ELC | 2 | 2 | 2 | 2 | 2 | 2 | ncap_iled
en_biomass_chp | bioenergy | ELC,HET | 2022: 3750; 2030: 3650; 2050: 3550 | ncap_cost
en_biomass_chp | bioenergy | ELC,HET | 2022: 140; 2030: 140; 2050: 130 | ncap_fom
en_biomass_chp | bioenergy | ELC,HET | 2022: 1.667; 2030: 1.667; 2050: 1.667 | act_cost
en_biomass_chp | bioenergy | ELC,HET | 2022: 0.385; 2030: 0.385; 2050: 0.385 | efficiency
en_biomass_chp | bioenergy | ELC,HET | 2022: 0.7; 2030: 0.7; 2050: 0.7 | ncap_af
en_biomass_chp | bioenergy | ELC,HET | 25 | 25 | 25 | 25 | 25 | 25 | ncap_tlife
en_biomass_chp | bioenergy | ELC,HET | 2 | 2 | 2 | 2 | 2 | 2 | ncap_iled
en_biomass_chp | bioenergy | ELC,HET | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | ncap_chpr
en_biomass_ccs | bioenergy | ELC,CO2Cap | 2022: 5750; 2030: 5700; 2050: 5100 | ncap_cost
en_biomass_ccs | bioenergy | ELC,CO2Cap | 2022: 205; 2030: 200; 2050: 180 | ncap_fom
en_biomass_ccs | bioenergy | ELC,CO2Cap | 2022: 2.361; 2030: 2.361; 2050: 2.361 | act_cost
en_biomass_ccs | bioenergy | ELC,CO2Cap | 2022: 0.3; 2030: 0.3; 2050: 0.3 | efficiency
en_biomass_ccs | bioenergy | ELC,CO2Cap | 2022: 0.6; 2030: 0.6; 2050: 0.6 | ncap_af
en_biomass_ccs | bioenergy | ELC,CO2Cap | 30 | 30 | 30 | 30 | 30 | 30 | ncap_tlife
en_biomass_ccs | bioenergy | ELC,CO2Cap | 3 | 3 | 3 | 3 | 3 | 3 | ncap_iled
en_geothermal | geothermal | ELC | 2022: 2850; 2030: 2750; 2050: 2550 | ncap_cost
en_geothermal | geothermal | ELC | 2022: 55; 2030: 55; 2050: 50 | ncap_fom
en_geothermal | geothermal | ELC | 2022: 0; 2030: 0; 2050: 0 | act_cost
en_geothermal | geothermal | ELC | 2022: 0.1; 2030: 0.1; 2050: 0.1 | efficiency
en_geothermal | geothermal | ELC | 2022: 0.85; 2030: 0.85; 2050: 0.85 | ncap_af
en_geothermal | geothermal | ELC | 30 | 30 | 30 | 30 | 30 | 30 | ncap_tlife
en_geothermal | geothermal | ELC | 4 | 4 | 4 | 4 | 4 | 4 | ncap_iled

## grid_transformers
~fi_t |  |  |  | ~fi_process
process | comm-in | comm-out | efficiency | set | process | description | activityunit | capacityunit | timeslicelevel
stepdown_r10695345_GBR_400to400 | e_r10695345-400_GBR | e_r10695345_GBR | 1 | pre | stepdown_r10695345_GBR_400to400 | Transformer: e_r10695345-400_GBR → e_r10695345_GBR | TWh | GW | daynite
stepup_r10695345_GBR_400to400 | e_r10695345_GBR | e_r10695345-400_GBR | 1 | pre | stepup_r10695345_GBR_400to400 | Transformer: e_r10695345_GBR → e_r10695345-400_GBR | TWh | GW | daynite
stepdown_w1078532568_GBR_525to400 | e_w1078532568_GBR | e_w1078532568-400_GBR | 1 | pre | stepdown_w1078532568_GBR_525to400 | Transformer: e_w1078532568_GBR → e_w1078532568-400_GBR | TWh | GW | daynite
stepup_w1078532568_GBR_400to525 | e_w1078532568-400_GBR | e_w1078532568_GBR | 1 | pre | stepup_w1078532568_GBR_400to525 | Transformer: e_w1078532568-400_GBR → e_w1078532568_GBR | TWh | GW | daynite
stepdown_w297840585_GBR_600to400 | e_w297840585_GBR | e_w297840585-400_GBR | 1 | pre | stepdown_w297840585_GBR_600to400 | Transformer: e_w297840585_GBR → e_w297840585-400_GBR | TWh | GW | daynite
stepup_w297840585_GBR_400to600 | e_w297840585-400_GBR | e_w297840585_GBR | 1 | pre | stepup_w297840585_GBR_400to600 | Transformer: e_w297840585-400_GBR → e_w297840585_GBR | TWh | GW | daynite
stepdown_w375626500_GBR_600to400 | e_w375626500_GBR | e_w375626500-400_GBR | 1 | pre | stepdown_w375626500_GBR_600to400 | Transformer: e_w375626500_GBR → e_w375626500-400_GBR | TWh | GW | daynite
stepup_w375626500_GBR_400to600 | e_w375626500-400_GBR | e_w375626500_GBR | 1 | pre | stepup_w375626500_GBR_400to600 | Transformer: e_w375626500-400_GBR → e_w375626500_GBR | TWh | GW | daynite