## ev_charging_uc
ts_annual | day_night | ts_annual
| D | AllSaAllH
| N | AllSaAllH
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
Not Required!
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | AllSaAllH | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | AllSaAllH | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1

## timeslice_def
~TimeSlices
ts_annual | season | weekly | daynite | wparent | dparent
| AllS | a | AllH | AllS | a

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_MEX_001 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_001 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_001 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_002 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_002 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_002 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_003 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_003 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_003 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_004 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_004 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_004 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_005 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_005 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_005 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_006 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_006 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_006 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_007 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_007 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_007 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_008 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_008 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_008 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_009 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_009 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_009 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_010 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_010 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_010 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_011 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_011 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_011 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_012 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_012 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_012 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_013 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_013 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_013 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_014 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_014 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_014 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_015 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_015 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_015 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_016 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_016 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_016 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_017 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_017 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_017 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_018 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_018 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_018 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_019 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_019 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_019 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_020 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_020 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_020 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_021 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_021 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_021 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_022 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_022 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_022 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_023 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_023 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_023 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_024 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_024 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_024 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_025 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_025 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_025 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_026 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_026 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_026 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_027 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_027 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_027 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_028 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_028 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_028 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_029 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_029 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_029 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_030 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_030 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MEX_030 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_031 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_031 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_032 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_032 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_033 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_033 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_034 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_034 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_035 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_035 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_036 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_036 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_037 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_037 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_038 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_038 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_039 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_039 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_040 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_040 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_041 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_041 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_042 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_042 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_043 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_043 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_044 | AllSaAllH | 1 | IMPNRGZ | elc_won_MEX_044 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_045 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_046 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_047 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_048 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_049 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_050 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_051 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_052 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_053 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_054 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_055 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_056 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_057 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_058 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MEX_059 | AllSaAllH | 1 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT |  |  | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_DINS-TSL: attribute=NCAP_PKCNT |  | ~TFM_DINS-AT
process | commodity | AllSaAllH | process | commodity | AllSaAllH | process | commodity | AllSaAllH | process | AllSaAllH | process | commodity | other_indexes | ncap_com
distr_solelc_spv_MEX_001 | DEF_E | 0.51424 | distr_sol* | ELC4H | 0.13378 | distr_sol* | ELC8H | 0.15505 | distr_solelc_spv_MEX_001 | 0.28785 | distr_solelc_spv_MEX_001 | DEF_C | OUT | 0.28785
distr_solelc_spv_MEX_002 | DEF_E | 0.51226 | distr_won* | ELC4H | 0.0161 | distr_won* | ELC8H | 0.031099 | distr_solelc_spv_MEX_002 | 0.28483 | distr_solelc_spv_MEX_002 | DEF_C | OUT | 0.28483
distr_solelc_spv_MEX_003 | DEF_E | 0.51828 | distr_wof* | ELC4H | 0.0034354 | distr_wof* | ELC8H | 0.0090568 | distr_solelc_spv_MEX_003 | 0.28014 | distr_solelc_spv_MEX_003 | DEF_C | OUT | 0.28014
distr_solelc_spv_MEX_004 | DEF_E | 0.51467 | [6 empty] | distr_solelc_spv_MEX_004 | 0.28515 | distr_solelc_spv_MEX_004 | DEF_C | OUT | 0.28515
distr_solelc_spv_MEX_005 | DEF_E | 0.52497 | [6 empty] | distr_solelc_spv_MEX_005 | 0.26423 | distr_solelc_spv_MEX_005 | DEF_C | OUT | 0.26423
distr_solelc_spv_MEX_006 | DEF_E | 0.51771 | [6 empty] | distr_solelc_spv_MEX_006 | 0.27161 | distr_solelc_spv_MEX_006 | DEF_C | OUT | 0.27161
distr_solelc_spv_MEX_007 | DEF_E | 0.51361 | [6 empty] | distr_solelc_spv_MEX_007 | 0.28155 | distr_solelc_spv_MEX_007 | DEF_C | OUT | 0.28155
distr_solelc_spv_MEX_008 | DEF_E | 0.51897 | [6 empty] | distr_solelc_spv_MEX_008 | 0.28252 | distr_solelc_spv_MEX_008 | DEF_C | OUT | 0.28252
distr_solelc_spv_MEX_009 | DEF_E | 0.51939 | [6 empty] | distr_solelc_spv_MEX_009 | 0.27627 | distr_solelc_spv_MEX_009 | DEF_C | OUT | 0.27627
distr_solelc_spv_MEX_010 | DEF_E | 0.51863 | [6 empty] | distr_solelc_spv_MEX_010 | 0.28486 | distr_solelc_spv_MEX_010 | DEF_C | OUT | 0.28486
distr_solelc_spv_MEX_011 | DEF_E | 0.51677 | [6 empty] | distr_solelc_spv_MEX_011 | 0.28825 | distr_solelc_spv_MEX_011 | DEF_C | OUT | 0.28825
distr_solelc_spv_MEX_012 | DEF_E | 0.52265 | [6 empty] | distr_solelc_spv_MEX_012 | 0.28034 | distr_solelc_spv_MEX_012 | DEF_C | OUT | 0.28034
distr_solelc_spv_MEX_013 | DEF_E | 0.52162 | [6 empty] | distr_solelc_spv_MEX_013 | 0.27895 | distr_solelc_spv_MEX_013 | DEF_C | OUT | 0.27895
distr_solelc_spv_MEX_014 | DEF_E | 0.54052 | [6 empty] | distr_solelc_spv_MEX_014 | 0.23659 | distr_solelc_spv_MEX_014 | DEF_C | OUT | 0.23659
distr_solelc_spv_MEX_015 | DEF_E | 0.53122 | [6 empty] | distr_solelc_spv_MEX_015 | 0.25325 | distr_solelc_spv_MEX_015 | DEF_C | OUT | 0.25325
distr_solelc_spv_MEX_016 | DEF_E | 0.53102 | [6 empty] | distr_solelc_spv_MEX_016 | 0.27749 | distr_solelc_spv_MEX_016 | DEF_C | OUT | 0.27749
distr_solelc_spv_MEX_017 | DEF_E | 0.52775 | [6 empty] | distr_solelc_spv_MEX_017 | 0.27315 | distr_solelc_spv_MEX_017 | DEF_C | OUT | 0.27315
distr_solelc_spv_MEX_018 | DEF_E | 0.52889 | [6 empty] | distr_solelc_spv_MEX_018 | 0.27283 | distr_solelc_spv_MEX_018 | DEF_C | OUT | 0.27283
distr_solelc_spv_MEX_019 | DEF_E | 0.5321 | [6 empty] | distr_solelc_spv_MEX_019 | 0.26655 | distr_solelc_spv_MEX_019 | DEF_C | OUT | 0.26655
distr_solelc_spv_MEX_020 | DEF_E | 0.52422 | [6 empty] | distr_solelc_spv_MEX_020 | 0.27203 | distr_solelc_spv_MEX_020 | DEF_C | OUT | 0.27203
distr_solelc_spv_MEX_021 | DEF_E | 0.52934 | [6 empty] | distr_solelc_spv_MEX_021 | 0.26288 | distr_solelc_spv_MEX_021 | DEF_C | OUT | 0.26288
distr_solelc_spv_MEX_022 | DEF_E | 0.53116 | [6 empty] | distr_solelc_spv_MEX_022 | 0.25023 | distr_solelc_spv_MEX_022 | DEF_C | OUT | 0.25023
distr_solelc_spv_MEX_023 | DEF_E | 0.52574 | [6 empty] | distr_solelc_spv_MEX_023 | 0.26515 | distr_solelc_spv_MEX_023 | DEF_C | OUT | 0.26515
distr_solelc_spv_MEX_024 | DEF_E | 0.52364 | [6 empty] | distr_solelc_spv_MEX_024 | 0.27187 | distr_solelc_spv_MEX_024 | DEF_C | OUT | 0.27187
distr_solelc_spv_MEX_025 | DEF_E | 0.54121 | [6 empty] | distr_solelc_spv_MEX_025 | 0.22872 | distr_solelc_spv_MEX_025 | DEF_C | OUT | 0.22872
distr_solelc_spv_MEX_026 | DEF_E | 0.54271 | [6 empty] | distr_solelc_spv_MEX_026 | 0.22374 | distr_solelc_spv_MEX_026 | DEF_C | OUT | 0.22374
distr_solelc_spv_MEX_027 | DEF_E | 0.53987 | [6 empty] | distr_solelc_spv_MEX_027 | 0.23644 | distr_solelc_spv_MEX_027 | DEF_C | OUT | 0.23644
distr_solelc_spv_MEX_028 | DEF_E | 0.53385 | [6 empty] | distr_solelc_spv_MEX_028 | 0.24954 | distr_solelc_spv_MEX_028 | DEF_C | OUT | 0.24954
distr_solelc_spv_MEX_029 | DEF_E | 0.56214 | [6 empty] | distr_solelc_spv_MEX_029 | 0.17958 | distr_solelc_spv_MEX_029 | DEF_C | OUT | 0.17958
distr_solelc_spv_MEX_030 | DEF_E | 0.55729 | [6 empty] | distr_solelc_spv_MEX_030 | 0.18843 | distr_solelc_spv_MEX_030 | DEF_C | OUT | 0.18843
distr_solelc_spv_MEX_031 | DEF_E | 0.54611 | [6 empty] | distr_solelc_spv_MEX_031 | 0.19857 | distr_solelc_spv_MEX_031 | DEF_C | OUT | 0.19857
distr_solelc_spv_MEX_032 | DEF_E | 0.54359 | [6 empty] | distr_solelc_spv_MEX_032 | 0.19872 | distr_solelc_spv_MEX_032 | DEF_C | OUT | 0.19872
distr_solelc_spv_MEX_033 | DEF_E | 0.54691 | [6 empty] | distr_solelc_spv_MEX_033 | 0.19232 | distr_solelc_spv_MEX_033 | DEF_C | OUT | 0.19232
distr_solelc_spv_MEX_034 | DEF_E | 0.53301 | [6 empty] | distr_solelc_spv_MEX_034 | 0.22335 | distr_solelc_spv_MEX_034 | DEF_C | OUT | 0.22335
distr_solelc_spv_MEX_035 | DEF_E | 0.53607 | [6 empty] | distr_solelc_spv_MEX_035 | 0.2087 | distr_solelc_spv_MEX_035 | DEF_C | OUT | 0.2087
distr_solelc_spv_MEX_036 | DEF_E | 0.53872 | [6 empty] | distr_solelc_spv_MEX_036 | 0.22286 | distr_solelc_spv_MEX_036 | DEF_C | OUT | 0.22286
distr_solelc_spv_MEX_037 | DEF_E | 0.55575 | [6 empty] | distr_solelc_spv_MEX_037 | 0.19554 | distr_solelc_spv_MEX_037 | DEF_C | OUT | 0.19554
distr_solelc_spv_MEX_038 | DEF_E | 0.54318 | [6 empty] | distr_solelc_spv_MEX_038 | 0.20705 | distr_solelc_spv_MEX_038 | DEF_C | OUT | 0.20705
distr_solelc_spv_MEX_039 | DEF_E | 0.54514 | [6 empty] | distr_solelc_spv_MEX_039 | 0.21221 | distr_solelc_spv_MEX_039 | DEF_C | OUT | 0.21221
distr_solelc_spv_MEX_040 | DEF_E | 0.55726 | [6 empty] | distr_solelc_spv_MEX_040 | 0.18993 | distr_solelc_spv_MEX_040 | DEF_C | OUT | 0.18993
distr_solelc_spv_MEX_041 | DEF_E | 0.54391 | [6 empty] | distr_solelc_spv_MEX_041 | 0.21412 | distr_solelc_spv_MEX_041 | DEF_C | OUT | 0.21412
distr_solelc_spv_MEX_042 | DEF_E | 0.53242 | [6 empty] | distr_solelc_spv_MEX_042 | 0.22745 | distr_solelc_spv_MEX_042 | DEF_C | OUT | 0.22745
distr_solelc_spv_MEX_043 | DEF_E | 0.53189 | [6 empty] | distr_solelc_spv_MEX_043 | 0.23626 | distr_solelc_spv_MEX_043 | DEF_C | OUT | 0.23626
distr_solelc_spv_MEX_044 | DEF_E | 0.53205 | [6 empty] | distr_solelc_spv_MEX_044 | 0.23615 | distr_solelc_spv_MEX_044 | DEF_C | OUT | 0.23615
distr_solelc_spv_MEX_045 | DEF_E | 0.52995 | [6 empty] | distr_solelc_spv_MEX_045 | 0.25595 | distr_solelc_spv_MEX_045 | DEF_C | OUT | 0.25595
distr_solelc_spv_MEX_046 | DEF_E | 0.54701 | [6 empty] | distr_solelc_spv_MEX_046 | 0.23832 | distr_solelc_spv_MEX_046 | DEF_C | OUT | 0.23832
distr_solelc_spv_MEX_047 | DEF_E | 0.53526 | [6 empty] | distr_solelc_spv_MEX_047 | 0.23626 | distr_solelc_spv_MEX_047 | DEF_C | OUT | 0.23626
distr_solelc_spv_MEX_048 | DEF_E | 0.5317 | [6 empty] | distr_solelc_spv_MEX_048 | 0.24005 | distr_solelc_spv_MEX_048 | DEF_C | OUT | 0.24005
distr_solelc_spv_MEX_049 | DEF_E | 0.54772 | [6 empty] | distr_solelc_spv_MEX_049 | 0.23738 | distr_solelc_spv_MEX_049 | DEF_C | OUT | 0.23738
distr_solelc_spv_MEX_050 | DEF_E | 0.53307 | [6 empty] | distr_solelc_spv_MEX_050 | 0.26166 | distr_solelc_spv_MEX_050 | DEF_C | OUT | 0.26166
distr_solelc_spv_MEX_051 | DEF_E | 0.54186 | [6 empty] | distr_solelc_spv_MEX_051 | 0.22298 | distr_solelc_spv_MEX_051 | DEF_C | OUT | 0.22298
distr_solelc_spv_MEX_052 | DEF_E | 0.54198 | [6 empty] | distr_solelc_spv_MEX_052 | 0.21507 | distr_solelc_spv_MEX_052 | DEF_C | OUT | 0.21507
distr_solelc_spv_MEX_053 | DEF_E | 0.5408 | [6 empty] | distr_solelc_spv_MEX_053 | 0.21245 | distr_solelc_spv_MEX_053 | DEF_C | OUT | 0.21245
distr_solelc_spv_MEX_054 | DEF_E | 0.54186 | [6 empty] | distr_solelc_spv_MEX_054 | 0.2201 | distr_solelc_spv_MEX_054 | DEF_C | OUT | 0.2201
distr_solelc_spv_MEX_055 | DEF_E | 0.54511 | [6 empty] | distr_solelc_spv_MEX_055 | 0.2259 | distr_solelc_spv_MEX_055 | DEF_C | OUT | 0.2259
distr_solelc_spv_MEX_056 | DEF_E | 0.53699 | [6 empty] | distr_solelc_spv_MEX_056 | 0.25641 | distr_solelc_spv_MEX_056 | DEF_C | OUT | 0.25641
distr_solelc_spv_MEX_057 | DEF_E | 0.54134 | [6 empty] | distr_solelc_spv_MEX_057 | 0.24005 | distr_solelc_spv_MEX_057 | DEF_C | OUT | 0.24005
distr_solelc_spv_MEX_058 | DEF_E | 0.55301 | [6 empty] | distr_solelc_spv_MEX_058 | 0.18893 | distr_solelc_spv_MEX_058 | DEF_C | OUT | 0.18893
distr_solelc_spv_MEX_059 | DEF_E | 0.56072 | [6 empty] | distr_solelc_spv_MEX_059 | 0.18616 | distr_solelc_spv_MEX_059 | DEF_C | OUT | 0.18616
distr_wofelc_wof_MEX_001 | DEF_E | 0.38113 | [6 empty] | distr_wofelc_wof_MEX_001 | 0.26524 | distr_wonelc_won_MEX_001 | DEF_C | OUT | 0.13727
distr_wofelc_wof_MEX_002 | DEF_E | 0.35816 | [6 empty] | distr_wofelc_wof_MEX_002 | 0.27921 | distr_wonelc_won_MEX_002 | DEF_C | OUT | 0.10136
distr_wofelc_wof_MEX_003 | DEF_E | 0.3657 | [6 empty] | distr_wofelc_wof_MEX_003 | 0.24581 | distr_wonelc_won_MEX_003 | DEF_C | OUT | 0.15223
distr_wofelc_wof_MEX_004 | DEF_E | 0.33218 | [6 empty] | distr_wofelc_wof_MEX_004 | 0.29641 | distr_wonelc_won_MEX_004 | DEF_C | OUT | 0.15693
distr_wofelc_wof_MEX_005 | DEF_E | 0.34127 | [6 empty] | distr_wofelc_wof_MEX_005 | 0.30068 | distr_wonelc_won_MEX_005 | DEF_C | OUT | 0.1926
distr_wofelc_wof_MEX_006 | DEF_E | 0.37598 | [6 empty] | distr_wofelc_wof_MEX_006 | 0.29272 | distr_wonelc_won_MEX_006 | DEF_C | OUT | 0.21236
distr_wofelc_wof_MEX_007 | DEF_E | 0.35822 | [6 empty] | distr_wofelc_wof_MEX_007 | 0.23252 | distr_wonelc_won_MEX_007 | DEF_C | OUT | 0.24199
distr_wofelc_wof_MEX_008 | DEF_E | 0.42942 | [6 empty] | distr_wofelc_wof_MEX_008 | 0.28271 | distr_wonelc_won_MEX_008 | DEF_C | OUT | 0.20041
distr_wofelc_wof_MEX_009 | DEF_E | 0.42995 | [6 empty] | distr_wofelc_wof_MEX_009 | 0.24223 | distr_wonelc_won_MEX_009 | DEF_C | OUT | 0.14134
distr_wofelc_wof_MEX_010 | DEF_E | 0.44789 | [6 empty] | distr_wofelc_wof_MEX_010 | 0.26008 | distr_wonelc_won_MEX_010 | DEF_C | OUT | 0.18847
distr_wofelc_wof_MEX_011 | DEF_E | 0.44721 | [6 empty] | distr_wofelc_wof_MEX_011 | 0.29158 | distr_wonelc_won_MEX_011 | DEF_C | OUT | 0.17906
distr_wofelc_wof_MEX_012 | DEF_E | 0.44063 | [6 empty] | distr_wofelc_wof_MEX_012 | 0.21987 | distr_wonelc_won_MEX_012 | DEF_C | OUT | 0.13409
distr_wofelc_wof_MEX_013 | DEF_E | 0.45661 | [6 empty] | distr_wofelc_wof_MEX_013 | 0.25712 | distr_wonelc_won_MEX_013 | DEF_C | OUT | 0.13863
distr_wofelc_wof_MEX_014 | DEF_E | 0.4592 | [6 empty] | distr_wofelc_wof_MEX_014 | 0.23584 | distr_wonelc_won_MEX_014 | DEF_C | OUT | 0.15584
distr_wofelc_wof_MEX_015 | DEF_E | 0.34422 | [6 empty] | distr_wofelc_wof_MEX_015 | 0.32452 | distr_wonelc_won_MEX_015 | DEF_C | OUT | 0.17909
distr_wofelc_wof_MEX_016 | DEF_E | 0.33095 | [6 empty] | distr_wofelc_wof_MEX_016 | 0.28042 | distr_wonelc_won_MEX_016 | DEF_C | OUT | 0.12227
distr_wofelc_wof_MEX_017 | DEF_E | 0.36547 | [6 empty] | distr_wofelc_wof_MEX_017 | 0.35885 | distr_wonelc_won_MEX_017 | DEF_C | OUT | 0.21226
distr_wofelc_wof_MEX_018 | DEF_E | 0.35071 | [6 empty] | distr_wofelc_wof_MEX_018 | 0.31916 | distr_wonelc_won_MEX_018 | DEF_C | OUT | 0.24348
distr_wofelc_wof_MEX_019 | DEF_E | 0.34328 | [6 empty] | distr_wofelc_wof_MEX_019 | 0.37454 | distr_wonelc_won_MEX_019 | DEF_C | OUT | 0.12439
distr_wofelc_wof_MEX_020 | DEF_E | 0.34616 | [6 empty] | distr_wofelc_wof_MEX_020 | 0.3978 | distr_wonelc_won_MEX_020 | DEF_C | OUT | 0.13566
distr_wofelc_wof_MEX_021 | DEF_E | 0.34335 | [6 empty] | distr_wofelc_wof_MEX_021 | 0.38839 | distr_wonelc_won_MEX_021 | DEF_C | OUT | 0.12318
distr_wofelc_wof_MEX_022 | DEF_E | 0.4505 | [6 empty] | distr_wofelc_wof_MEX_022 | 0.28548 | distr_wonelc_won_MEX_022 | DEF_C | OUT | 0.15454
distr_wofelc_wof_MEX_023 | DEF_E | 0.43123 | [6 empty] | distr_wofelc_wof_MEX_023 | 0.26652 | distr_wonelc_won_MEX_023 | DEF_C | OUT | 0.15963
distr_wofelc_wof_MEX_024 | DEF_E | 0.39525 | [6 empty] | distr_wofelc_wof_MEX_024 | 0.20894 | distr_wonelc_won_MEX_024 | DEF_C | OUT | 0.21408
distr_wofelc_wof_MEX_025 | DEF_E | 0.36655 | [6 empty] | distr_wofelc_wof_MEX_025 | 0.34792 | distr_wonelc_won_MEX_025 | DEF_C | OUT | 0.16087
distr_wofelc_wof_MEX_026 | DEF_E | 0.35457 | [6 empty] | distr_wofelc_wof_MEX_026 | 0.38298 | distr_wonelc_won_MEX_026 | DEF_C | OUT | 0.1993
distr_wofelc_wof_MEX_027 | DEF_E | 0.45798 | [6 empty] | distr_wofelc_wof_MEX_027 | 0.38175 | distr_wonelc_won_MEX_027 | DEF_C | OUT | 0.19026
distr_wofelc_wof_MEX_028 | DEF_E | 0.55273 | [6 empty] | distr_wofelc_wof_MEX_028 | 0.25187 | distr_wonelc_won_MEX_028 | DEF_C | OUT | 0.18255
distr_wofelc_wof_MEX_029 | DEF_E | 0.51687 | [6 empty] | distr_wofelc_wof_MEX_029 | 0.22704 | distr_wonelc_won_MEX_029 | DEF_C | OUT | 0.1907
distr_wofelc_wof_MEX_030 | DEF_E | 0.41611 | [6 empty] | distr_wofelc_wof_MEX_030 | 0.25076 | distr_wonelc_won_MEX_030 | DEF_C | OUT | 0.21895
distr_wonelc_won_MEX_001 | DEF_E | 0.49025 | [6 empty] | distr_wonelc_won_MEX_001 | 0.13727 | distr_wonelc_won_MEX_031 | DEF_C | OUT | 0.20052
distr_wonelc_won_MEX_002 | DEF_E | 0.57783 | [6 empty] | distr_wonelc_won_MEX_002 | 0.10136 | distr_wonelc_won_MEX_032 | DEF_C | OUT | 0.24146
distr_wonelc_won_MEX_003 | DEF_E | 0.49804 | [6 empty] | distr_wonelc_won_MEX_003 | 0.15223 | distr_wonelc_won_MEX_033 | DEF_C | OUT | 0.25814
distr_wonelc_won_MEX_004 | DEF_E | 0.53378 | [6 empty] | distr_wonelc_won_MEX_004 | 0.15693 | distr_wonelc_won_MEX_034 | DEF_C | OUT | 0.32018
distr_wonelc_won_MEX_005 | DEF_E | 0.49917 | [6 empty] | distr_wonelc_won_MEX_005 | 0.1926 | distr_wonelc_won_MEX_035 | DEF_C | OUT | 0.29929
distr_wonelc_won_MEX_006 | DEF_E | 0.47254 | [6 empty] | distr_wonelc_won_MEX_006 | 0.21236 | distr_wonelc_won_MEX_036 | DEF_C | OUT | 0.34259
distr_wonelc_won_MEX_007 | DEF_E | 0.38938 | [6 empty] | distr_wonelc_won_MEX_007 | 0.24199 | distr_wonelc_won_MEX_037 | DEF_C | OUT | 0.23493
distr_wonelc_won_MEX_008 | DEF_E | 0.41956 | [6 empty] | distr_wonelc_won_MEX_008 | 0.20041 | distr_wonelc_won_MEX_038 | DEF_C | OUT | 0.19113
distr_wonelc_won_MEX_009 | DEF_E | 0.45089 | [6 empty] | distr_wonelc_won_MEX_009 | 0.14134 | distr_wonelc_won_MEX_039 | DEF_C | OUT | 0.13726
distr_wonelc_won_MEX_010 | DEF_E | 0.41452 | [6 empty] | distr_wonelc_won_MEX_010 | 0.18847 | distr_wonelc_won_MEX_040 | DEF_C | OUT | 0.13869
distr_wonelc_won_MEX_011 | DEF_E | 0.41156 | [6 empty] | distr_wonelc_won_MEX_011 | 0.17906 | distr_wonelc_won_MEX_041 | DEF_C | OUT | 0.13863
distr_wonelc_won_MEX_012 | DEF_E | 0.40571 | [6 empty] | distr_wonelc_won_MEX_012 | 0.13409 | distr_wonelc_won_MEX_042 | DEF_C | OUT | 0.1727
distr_wonelc_won_MEX_013 | DEF_E | 0.44502 | [6 empty] | distr_wonelc_won_MEX_013 | 0.13863 | distr_wonelc_won_MEX_043 | DEF_C | OUT | 0.14615
distr_wonelc_won_MEX_014 | DEF_E | 0.448 | [6 empty] | distr_wonelc_won_MEX_014 | 0.15584 | distr_wonelc_won_MEX_044 | DEF_C | OUT | 0.21923
distr_wonelc_won_MEX_015 | DEF_E | 0.42931 | [6 empty] | distr_wonelc_won_MEX_015 | 0.17909 | distr_wofelc_wof_MEX_001 | DEF_C | OUT | 0.26524
distr_wonelc_won_MEX_016 | DEF_E | 0.40601 | [6 empty] | distr_wonelc_won_MEX_016 | 0.12227 | distr_wofelc_wof_MEX_002 | DEF_C | OUT | 0.27921
distr_wonelc_won_MEX_017 | DEF_E | 0.41085 | [6 empty] | distr_wonelc_won_MEX_017 | 0.21226 | distr_wofelc_wof_MEX_003 | DEF_C | OUT | 0.24581
distr_wonelc_won_MEX_018 | DEF_E | 0.36339 | [6 empty] | distr_wonelc_won_MEX_018 | 0.24348 | distr_wofelc_wof_MEX_004 | DEF_C | OUT | 0.29641
distr_wonelc_won_MEX_019 | DEF_E | 0.4792 | [6 empty] | distr_wonelc_won_MEX_019 | 0.12439 | distr_wofelc_wof_MEX_005 | DEF_C | OUT | 0.30068
distr_wonelc_won_MEX_020 | DEF_E | 0.46698 | [6 empty] | distr_wonelc_won_MEX_020 | 0.13566 | distr_wofelc_wof_MEX_006 | DEF_C | OUT | 0.29272
distr_wonelc_won_MEX_021 | DEF_E | 0.49036 | [6 empty] | distr_wonelc_won_MEX_021 | 0.12318 | distr_wofelc_wof_MEX_007 | DEF_C | OUT | 0.23252
distr_wonelc_won_MEX_022 | DEF_E | 0.48875 | [6 empty] | distr_wonelc_won_MEX_022 | 0.15454 | distr_wofelc_wof_MEX_008 | DEF_C | OUT | 0.28271
distr_wonelc_won_MEX_023 | DEF_E | 0.44106 | [6 empty] | distr_wonelc_won_MEX_023 | 0.15963 | distr_wofelc_wof_MEX_009 | DEF_C | OUT | 0.24223
distr_wonelc_won_MEX_024 | DEF_E | 0.42695 | [6 empty] | distr_wonelc_won_MEX_024 | 0.21408 | distr_wofelc_wof_MEX_010 | DEF_C | OUT | 0.26008
distr_wonelc_won_MEX_025 | DEF_E | 0.44699 | [6 empty] | distr_wonelc_won_MEX_025 | 0.16087 | distr_wofelc_wof_MEX_011 | DEF_C | OUT | 0.29158
distr_wonelc_won_MEX_026 | DEF_E | 0.39995 | [6 empty] | distr_wonelc_won_MEX_026 | 0.1993 | distr_wofelc_wof_MEX_012 | DEF_C | OUT | 0.21987
distr_wonelc_won_MEX_027 | DEF_E | 0.40838 | [6 empty] | distr_wonelc_won_MEX_027 | 0.19026 | distr_wofelc_wof_MEX_013 | DEF_C | OUT | 0.25712
distr_wonelc_won_MEX_028 | DEF_E | 0.43429 | [6 empty] | distr_wonelc_won_MEX_028 | 0.18255 | distr_wofelc_wof_MEX_014 | DEF_C | OUT | 0.23584
distr_wonelc_won_MEX_029 | DEF_E | 0.39759 | [6 empty] | distr_wonelc_won_MEX_029 | 0.1907 | distr_wofelc_wof_MEX_015 | DEF_C | OUT | 0.32452
distr_wonelc_won_MEX_030 | DEF_E | 0.40526 | [6 empty] | distr_wonelc_won_MEX_030 | 0.21895 | distr_wofelc_wof_MEX_016 | DEF_C | OUT | 0.28042
distr_wonelc_won_MEX_031 | DEF_E | 0.34752 | [6 empty] | distr_wonelc_won_MEX_031 | 0.20054 | distr_wofelc_wof_MEX_017 | DEF_C | OUT | 0.35885
distr_wonelc_won_MEX_032 | DEF_E | 0.37355 | [6 empty] | distr_wonelc_won_MEX_032 | 0.24146 | distr_wofelc_wof_MEX_018 | DEF_C | OUT | 0.31916
distr_wonelc_won_MEX_033 | DEF_E | 0.3279 | [6 empty] | distr_wonelc_won_MEX_033 | 0.25819 | distr_wofelc_wof_MEX_019 | DEF_C | OUT | 0.37454
distr_wonelc_won_MEX_034 | DEF_E | 0.31897 | [6 empty] | distr_wonelc_won_MEX_034 | 0.32021 | distr_wofelc_wof_MEX_020 | DEF_C | OUT | 0.3978
distr_wonelc_won_MEX_035 | DEF_E | 0.36774 | [6 empty] | distr_wonelc_won_MEX_035 | 0.29929 | distr_wofelc_wof_MEX_021 | DEF_C | OUT | 0.38839
distr_wonelc_won_MEX_036 | DEF_E | 0.35088 | [6 empty] | distr_wonelc_won_MEX_036 | 0.3426 | distr_wofelc_wof_MEX_022 | DEF_C | OUT | 0.28548
distr_wonelc_won_MEX_037 | DEF_E | 0.33355 | [6 empty] | distr_wonelc_won_MEX_037 | 0.23493 | distr_wofelc_wof_MEX_023 | DEF_C | OUT | 0.26652
distr_wonelc_won_MEX_038 | DEF_E | 0.32874 | [6 empty] | distr_wonelc_won_MEX_038 | 0.19113 | distr_wofelc_wof_MEX_024 | DEF_C | OUT | 0.20894
distr_wonelc_won_MEX_039 | DEF_E | 0.4363 | [6 empty] | distr_wonelc_won_MEX_039 | 0.13726 | distr_wofelc_wof_MEX_025 | DEF_C | OUT | 0.34792
distr_wonelc_won_MEX_040 | DEF_E | 0.43157 | [6 empty] | distr_wonelc_won_MEX_040 | 0.13869 | distr_wofelc_wof_MEX_026 | DEF_C | OUT | 0.38298
distr_wonelc_won_MEX_041 | DEF_E | 0.42452 | [6 empty] | distr_wonelc_won_MEX_041 | 0.13863 | distr_wofelc_wof_MEX_027 | DEF_C | OUT | 0.38175
distr_wonelc_won_MEX_042 | DEF_E | 0.47066 | [6 empty] | distr_wonelc_won_MEX_042 | 0.1727 | distr_wofelc_wof_MEX_028 | DEF_C | OUT | 0.25187
distr_wonelc_won_MEX_043 | DEF_E | 0.55313 | [6 empty] | distr_wonelc_won_MEX_043 | 0.14615 | distr_wofelc_wof_MEX_029 | DEF_C | OUT | 0.22704
distr_wonelc_won_MEX_044 | DEF_E | 0.41259 | [6 empty] | distr_wonelc_won_MEX_044 | 0.21923 | distr_wofelc_wof_MEX_030 | DEF_C | OUT | 0.25076

## load_shapes
~TFM_DINS-AT
g_yrfr | com_fr | timeslice | commodity
1 | 1 | AllSaAllH | elc_roadtransport

## demand
~TFM_DINS-AT
commodity | timeslice | com_fr
elc_buildings | AllSaAllH | 1
elc_industry | AllSaAllH | 1

## peak_factors
~TFM_DINS-AT
commodity | timeslice | com_pkflx
ELC | AllSaAllH | 0.27615

## hydro_af
~TFM_INS-AT
Year | timeslice | ncap_afs | pset_ci
2020 | AllS | 0.22933 | hydro
2021 | AllS | 0.29766 | hydro
2022 | AllS | 0.30467 | hydro
2025 | AllS | 0.32499 | hydro
2026 | AllS | 0.32558 | hydro
2027 | AllS | 0.32817 | hydro
2028 | AllS | 0.35354 | hydro
2029 | AllS | 0.30448 | hydro
2030 | AllS | 0.27471 | hydro
2031 | AllS | 0.30754 | hydro
2032 | AllS | 0.25113 | hydro
2033 | AllS | 0.2861 | hydro
2034 | AllS | 0.29169 | hydro
2035 | AllS | 0.24811 | hydro
2036 | AllS | 0.23498 | hydro
2037 | AllS | 0.28119 | hydro
2038 | AllS | 0.26935 | hydro
2039 | AllS | 0.26764 | hydro
2040 | AllS | 0.23903 | hydro
2041 | AllS | 0.30357 | hydro
2042 | AllS | 0.29797 | hydro
2043 | AllS | 0.31026 | hydro
2044 | AllS | 0.26108 | hydro
2045 | AllS | 0.33032 | hydro
2046 | AllS | 0.3063 | hydro
2047 | AllS | 0.34324 | hydro
2048 | AllS | 0.33082 | hydro
2049 | AllS | 0.33345 | hydro
2050 | AllS | 0.30785 | hydro