## ev_charging_uc
ts_annual | day_night | ts_annual
| D | AllSaAllH
| N | AllSaAllH
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
Not Required!
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | AllSaAllH | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | AllSaAllH | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1

## timeslice_def
~TimeSlices
ts_annual | season | weekly | daynite | wparent | dparent
| AllS | a | AllH | AllS | a

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_GHA_001 | AllSaAllH | 1 | IMPNRGZ | elc_won_GHA_001 | AllSaAllH | 1 | IMPNRGZ | elc_wof_GHA_001 | AllSaAllH | 1 | IMPNRGZ
elc_spv_GHA_002 | AllSaAllH | 1 | IMPNRGZ | elc_won_GHA_002 | AllSaAllH | 1 | IMPNRGZ | elc_wof_GHA_002 | AllSaAllH | 1 | IMPNRGZ
elc_spv_GHA_003 | AllSaAllH | 1 | IMPNRGZ | elc_won_GHA_003 | AllSaAllH | 1 | IMPNRGZ | elc_wof_GHA_003 | AllSaAllH | 1 | IMPNRGZ
elc_spv_GHA_004 | AllSaAllH | 1 | IMPNRGZ | elc_won_GHA_004 | AllSaAllH | 1 | IMPNRGZ | elc_wof_GHA_004 | AllSaAllH | 1 | IMPNRGZ
elc_spv_GHA_005 | AllSaAllH | 1 | IMPNRGZ | elc_won_GHA_005 | AllSaAllH | 1 | IMPNRGZ | elc_wof_GHA_005 | AllSaAllH | 1 | IMPNRGZ
elc_spv_GHA_006 | AllSaAllH | 1 | IMPNRGZ | elc_won_GHA_006 | AllSaAllH | 1 | IMPNRGZ | elc_wof_GHA_006 | AllSaAllH | 1 | IMPNRGZ
elc_spv_GHA_007 | AllSaAllH | 1 | IMPNRGZ | elc_won_GHA_007 | AllSaAllH | 1 | IMPNRGZ | elc_wof_GHA_007 | AllSaAllH | 1 | IMPNRGZ
elc_spv_GHA_008 | AllSaAllH | 1 | IMPNRGZ | elc_won_GHA_008 | AllSaAllH | 1 | IMPNRGZ | elc_wof_GHA_008 | AllSaAllH | 1 | IMPNRGZ
elc_spv_GHA_009 | AllSaAllH | 1 | IMPNRGZ | elc_won_GHA_009 | AllSaAllH | 1 | IMPNRGZ | elc_wof_GHA_009 | AllSaAllH | 1 | IMPNRGZ
elc_spv_GHA_010 | AllSaAllH | 1 | IMPNRGZ | elc_won_GHA_010 | AllSaAllH | 1 | IMPNRGZ | elc_wof_GHA_010 | AllSaAllH | 1 | IMPNRGZ
elc_spv_GHA_011 | AllSaAllH | 1 | IMPNRGZ
elc_spv_GHA_012 | AllSaAllH | 1 | IMPNRGZ
elc_spv_GHA_013 | AllSaAllH | 1 | IMPNRGZ
elc_spv_GHA_014 | AllSaAllH | 1 | IMPNRGZ
elc_spv_GHA_015 | AllSaAllH | 1 | IMPNRGZ
elc_spv_GHA_016 | AllSaAllH | 1 | IMPNRGZ
elc_spv_GHA_017 | AllSaAllH | 1 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT |  |  | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_DINS-TSL: attribute=NCAP_PKCNT |  | ~TFM_DINS-AT
process | commodity | AllSaAllH | process | commodity | AllSaAllH | process | commodity | AllSaAllH | process | AllSaAllH | process | commodity | other_indexes | ncap_com
distr_solelc_spv_GHA_001 | DEF_E | 0.5272 | distr_sol* | ELC4H | 0.15632 | distr_sol* | ELC8H | 0.17239 | distr_solelc_spv_GHA_001 | 0.23088 | distr_solelc_spv_GHA_001 | DEF_C | OUT | 0.23088
distr_solelc_spv_GHA_002 | DEF_E | 0.52652 | distr_won* | ELC4H | 0.052862 | distr_won* | ELC8H | 0.084172 | distr_solelc_spv_GHA_002 | 0.23135 | distr_solelc_spv_GHA_002 | DEF_C | OUT | 0.23135
distr_solelc_spv_GHA_003 | DEF_E | 0.52883 | distr_wof* | ELC4H | 0.022786 | distr_wof* | ELC8H | 0.030914 | distr_solelc_spv_GHA_003 | 0.21951 | distr_solelc_spv_GHA_003 | DEF_C | OUT | 0.21951
distr_solelc_spv_GHA_004 | DEF_E | 0.54994 | [6 empty] | distr_solelc_spv_GHA_004 | 0.18886 | distr_solelc_spv_GHA_004 | DEF_C | OUT | 0.18886
distr_solelc_spv_GHA_005 | DEF_E | 0.53832 | [6 empty] | distr_solelc_spv_GHA_005 | 0.2006 | distr_solelc_spv_GHA_005 | DEF_C | OUT | 0.2006
distr_solelc_spv_GHA_006 | DEF_E | 0.52613 | [6 empty] | distr_solelc_spv_GHA_006 | 0.22473 | distr_solelc_spv_GHA_006 | DEF_C | OUT | 0.22473
distr_solelc_spv_GHA_007 | DEF_E | 0.52922 | [6 empty] | distr_solelc_spv_GHA_007 | 0.21908 | distr_solelc_spv_GHA_007 | DEF_C | OUT | 0.21908
distr_solelc_spv_GHA_008 | DEF_E | 0.53598 | [6 empty] | distr_solelc_spv_GHA_008 | 0.2006 | distr_solelc_spv_GHA_008 | DEF_C | OUT | 0.2006
distr_solelc_spv_GHA_009 | DEF_E | 0.52917 | [6 empty] | distr_solelc_spv_GHA_009 | 0.20626 | distr_solelc_spv_GHA_009 | DEF_C | OUT | 0.20626
distr_solelc_spv_GHA_010 | DEF_E | 0.55127 | [6 empty] | distr_solelc_spv_GHA_010 | 0.18169 | distr_solelc_spv_GHA_010 | DEF_C | OUT | 0.18169
distr_solelc_spv_GHA_011 | DEF_E | 0.54782 | [6 empty] | distr_solelc_spv_GHA_011 | 0.18096 | distr_solelc_spv_GHA_011 | DEF_C | OUT | 0.18096
distr_solelc_spv_GHA_012 | DEF_E | 0.5603 | [6 empty] | distr_solelc_spv_GHA_012 | 0.16902 | distr_solelc_spv_GHA_012 | DEF_C | OUT | 0.16902
distr_solelc_spv_GHA_013 | DEF_E | 0.55693 | [6 empty] | distr_solelc_spv_GHA_013 | 0.17262 | distr_solelc_spv_GHA_013 | DEF_C | OUT | 0.17262
distr_solelc_spv_GHA_014 | DEF_E | 0.54612 | [6 empty] | distr_solelc_spv_GHA_014 | 0.16829 | distr_solelc_spv_GHA_014 | DEF_C | OUT | 0.16829
distr_solelc_spv_GHA_015 | DEF_E | 0.54079 | [6 empty] | distr_solelc_spv_GHA_015 | 0.1773 | distr_solelc_spv_GHA_015 | DEF_C | OUT | 0.1773
distr_solelc_spv_GHA_016 | DEF_E | 0.53467 | [6 empty] | distr_solelc_spv_GHA_016 | 0.20073 | distr_solelc_spv_GHA_016 | DEF_C | OUT | 0.20073
distr_solelc_spv_GHA_017 | DEF_E | 0.53234 | [6 empty] | distr_solelc_spv_GHA_017 | 0.1976 | distr_solelc_spv_GHA_017 | DEF_C | OUT | 0.1976
distr_wofelc_wof_GHA_001 | DEF_E | 0.352 | [6 empty] | distr_wofelc_wof_GHA_001 | 0.072329 | distr_wonelc_won_GHA_001 | DEF_C | OUT | 0.15575
distr_wofelc_wof_GHA_002 | DEF_E | 0.3488 | [6 empty] | distr_wofelc_wof_GHA_002 | 0.11415 | distr_wonelc_won_GHA_002 | DEF_C | OUT | 0.13055
distr_wofelc_wof_GHA_003 | DEF_E | 0.34272 | [6 empty] | distr_wofelc_wof_GHA_003 | 0.074736 | distr_wonelc_won_GHA_003 | DEF_C | OUT | 0.13859
distr_wofelc_wof_GHA_004 | DEF_E | 0.35904 | [6 empty] | distr_wofelc_wof_GHA_004 | 0.048958 | distr_wonelc_won_GHA_004 | DEF_C | OUT | 0.13672
distr_wofelc_wof_GHA_005 | DEF_E | 0.31076 | [6 empty] | distr_wofelc_wof_GHA_005 | 0.18836 | distr_wonelc_won_GHA_005 | DEF_C | OUT | 0.14296
distr_wofelc_wof_GHA_006 | DEF_E | 0.29742 | [6 empty] | distr_wofelc_wof_GHA_006 | 0.16451 | distr_wonelc_won_GHA_006 | DEF_C | OUT | 0.081758
distr_wofelc_wof_GHA_007 | DEF_E | 0.29974 | [6 empty] | distr_wofelc_wof_GHA_007 | 0.12043 | distr_wonelc_won_GHA_007 | DEF_C | OUT | 0.13031
distr_wofelc_wof_GHA_008 | DEF_E | 0.31107 | [6 empty] | distr_wofelc_wof_GHA_008 | 0.15307 | distr_wonelc_won_GHA_008 | DEF_C | OUT | 0.1125
distr_wofelc_wof_GHA_009 | DEF_E | 0.33221 | [6 empty] | distr_wofelc_wof_GHA_009 | 0.13352 | distr_wonelc_won_GHA_009 | DEF_C | OUT | 0.12612
distr_wofelc_wof_GHA_010 | DEF_E | 0.33665 | [6 empty] | distr_wofelc_wof_GHA_010 | 0.064924 | distr_wonelc_won_GHA_010 | DEF_C | OUT | 0.11731
distr_wonelc_won_GHA_001 | DEF_E | 0.33771 | [6 empty] | distr_wonelc_won_GHA_001 | 0.15575 | distr_wofelc_wof_GHA_001 | DEF_C | OUT | 0.072329
distr_wonelc_won_GHA_002 | DEF_E | 0.30369 | [6 empty] | distr_wonelc_won_GHA_002 | 0.13055 | distr_wofelc_wof_GHA_002 | DEF_C | OUT | 0.11415
distr_wonelc_won_GHA_003 | DEF_E | 0.40703 | [6 empty] | distr_wonelc_won_GHA_003 | 0.13859 | distr_wofelc_wof_GHA_003 | DEF_C | OUT | 0.074736
distr_wonelc_won_GHA_004 | DEF_E | 0.41307 | [6 empty] | distr_wonelc_won_GHA_004 | 0.13672 | distr_wofelc_wof_GHA_004 | DEF_C | OUT | 0.048958
distr_wonelc_won_GHA_005 | DEF_E | 0.41928 | [6 empty] | distr_wonelc_won_GHA_005 | 0.14296 | distr_wofelc_wof_GHA_005 | DEF_C | OUT | 0.18836
distr_wonelc_won_GHA_006 | DEF_E | 0.38369 | [6 empty] | distr_wonelc_won_GHA_006 | 0.081758 | distr_wofelc_wof_GHA_006 | DEF_C | OUT | 0.16451
distr_wonelc_won_GHA_007 | DEF_E | 0.42404 | [6 empty] | distr_wonelc_won_GHA_007 | 0.13031 | distr_wofelc_wof_GHA_007 | DEF_C | OUT | 0.12043
distr_wonelc_won_GHA_008 | DEF_E | 0.41676 | [6 empty] | distr_wonelc_won_GHA_008 | 0.1125 | distr_wofelc_wof_GHA_008 | DEF_C | OUT | 0.15307
distr_wonelc_won_GHA_009 | DEF_E | 0.41628 | [6 empty] | distr_wonelc_won_GHA_009 | 0.12612 | distr_wofelc_wof_GHA_009 | DEF_C | OUT | 0.13352
distr_wonelc_won_GHA_010 | DEF_E | 0.40838 | [6 empty] | distr_wonelc_won_GHA_010 | 0.11731 | distr_wofelc_wof_GHA_010 | DEF_C | OUT | 0.064924

## load_shapes
~TFM_DINS-AT
g_yrfr | com_fr | timeslice | commodity
1 | 1 | AllSaAllH | elc_roadtransport

## demand
~TFM_DINS-AT
commodity | timeslice | com_fr
elc_buildings | AllSaAllH | 1
elc_industry | AllSaAllH | 1

## peak_factors
~TFM_DINS-AT
commodity | timeslice | com_pkflx
ELC | AllSaAllH | 0.41557

## hydro_af
~TFM_INS-AT
Year | timeslice | ncap_afs | pset_ci