## ev_charging_uc
ts_annual | day_night | ts_annual
| D | AllSaAllH
| N | AllSaAllH
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
Not Required!
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | AllSaAllH | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | AllSaAllH | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1

## timeslice_def
~TimeSlices
ts_annual | season | weekly | daynite | wparent | dparent
| AllS | a | AllH | AllS | a

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_JPN_001 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_001 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_001 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_002 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_002 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_002 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_003 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_003 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_003 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_004 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_004 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_004 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_005 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_005 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_005 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_006 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_006 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_006 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_007 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_007 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_007 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_008 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_008 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_008 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_009 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_009 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_009 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_010 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_010 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_010 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_011 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_011 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_011 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_012 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_012 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_012 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_013 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_013 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_013 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_014 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_014 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_014 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_015 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_015 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_015 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_016 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_016 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_016 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_017 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_017 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_017 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_018 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_018 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_018 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_019 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_019 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_019 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_020 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_020 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_020 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_021 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_021 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_021 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_022 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_022 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_022 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_023 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_023 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_023 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_024 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_024 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_024 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_025 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_025 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_025 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_026 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_026 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_026 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_027 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_027 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_027 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_028 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_028 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_028 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_029 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_029 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_029 | AllSaAllH | 1 | IMPNRGZ
elc_spv_JPN_030 | AllSaAllH | 1 | IMPNRGZ | elc_won_JPN_030 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_030 | AllSaAllH | 1 | IMPNRGZ
|  |  |  | elc_won_JPN_031 | AllSaAllH | 1 | IMPNRGZ | elc_wof_JPN_031 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_JPN_032 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_JPN_033 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_JPN_034 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_JPN_035 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_JPN_036 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_JPN_037 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_JPN_038 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_JPN_039 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_JPN_040 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_JPN_041 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_JPN_042 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_JPN_043 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_JPN_044 | AllSaAllH | 1 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT |  |  | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_DINS-TSL: attribute=NCAP_PKCNT |  | ~TFM_DINS-AT
process | commodity | AllSaAllH | process | commodity | AllSaAllH | process | commodity | AllSaAllH | process | AllSaAllH | process | commodity | other_indexes | ncap_com
distr_solelc_spv_JPN_001 | DEF_E | 0.56977 | distr_sol* | ELC4H | 0.1563 | distr_sol* | ELC8H | 0.17294 | distr_solelc_spv_JPN_001 | 0.18355 | distr_solelc_spv_JPN_001 | DEF_C | OUT | 0.18355
distr_solelc_spv_JPN_002 | DEF_E | 0.56258 | distr_won* | ELC4H | 0.006109 | distr_won* | ELC8H | 0.017219 | distr_solelc_spv_JPN_002 | 0.18541 | distr_solelc_spv_JPN_002 | DEF_C | OUT | 0.18541
distr_solelc_spv_JPN_003 | DEF_E | 0.56944 | distr_wof* | ELC4H | 0.001457 | distr_wof* | ELC8H | 0.0059869 | distr_solelc_spv_JPN_003 | 0.18358 | distr_solelc_spv_JPN_003 | DEF_C | OUT | 0.18358
distr_solelc_spv_JPN_004 | DEF_E | 0.5661 | [6 empty] | distr_solelc_spv_JPN_004 | 0.18508 | distr_solelc_spv_JPN_004 | DEF_C | OUT | 0.18508
distr_solelc_spv_JPN_005 | DEF_E | 0.57174 | [6 empty] | distr_solelc_spv_JPN_005 | 0.17963 | distr_solelc_spv_JPN_005 | DEF_C | OUT | 0.17963
distr_solelc_spv_JPN_006 | DEF_E | 0.56048 | [6 empty] | distr_solelc_spv_JPN_006 | 0.20117 | distr_solelc_spv_JPN_006 | DEF_C | OUT | 0.20117
distr_solelc_spv_JPN_007 | DEF_E | 0.55918 | [6 empty] | distr_solelc_spv_JPN_007 | 0.19379 | distr_solelc_spv_JPN_007 | DEF_C | OUT | 0.19379
distr_solelc_spv_JPN_008 | DEF_E | 0.57634 | [6 empty] | distr_solelc_spv_JPN_008 | 0.18893 | distr_solelc_spv_JPN_008 | DEF_C | OUT | 0.18893
distr_solelc_spv_JPN_009 | DEF_E | 0.5659 | [6 empty] | distr_solelc_spv_JPN_009 | 0.19033 | distr_solelc_spv_JPN_009 | DEF_C | OUT | 0.19033
distr_solelc_spv_JPN_010 | DEF_E | 0.56269 | [6 empty] | distr_solelc_spv_JPN_010 | 0.18709 | distr_solelc_spv_JPN_010 | DEF_C | OUT | 0.18709
distr_solelc_spv_JPN_011 | DEF_E | 0.55943 | [6 empty] | distr_solelc_spv_JPN_011 | 0.18525 | distr_solelc_spv_JPN_011 | DEF_C | OUT | 0.18525
distr_solelc_spv_JPN_012 | DEF_E | 0.57036 | [6 empty] | distr_solelc_spv_JPN_012 | 0.17615 | distr_solelc_spv_JPN_012 | DEF_C | OUT | 0.17615
distr_solelc_spv_JPN_013 | DEF_E | 0.58101 | [6 empty] | distr_solelc_spv_JPN_013 | 0.17191 | distr_solelc_spv_JPN_013 | DEF_C | OUT | 0.17191
distr_solelc_spv_JPN_014 | DEF_E | 0.57765 | [6 empty] | distr_solelc_spv_JPN_014 | 0.17852 | distr_solelc_spv_JPN_014 | DEF_C | OUT | 0.17852
distr_solelc_spv_JPN_015 | DEF_E | 0.56708 | [6 empty] | distr_solelc_spv_JPN_015 | 0.16806 | distr_solelc_spv_JPN_015 | DEF_C | OUT | 0.16806
distr_solelc_spv_JPN_016 | DEF_E | 0.5665 | [6 empty] | distr_solelc_spv_JPN_016 | 0.17155 | distr_solelc_spv_JPN_016 | DEF_C | OUT | 0.17155
distr_solelc_spv_JPN_017 | DEF_E | 0.56362 | [6 empty] | distr_solelc_spv_JPN_017 | 0.17433 | distr_solelc_spv_JPN_017 | DEF_C | OUT | 0.17433
distr_solelc_spv_JPN_018 | DEF_E | 0.57304 | [6 empty] | distr_solelc_spv_JPN_018 | 0.17369 | distr_solelc_spv_JPN_018 | DEF_C | OUT | 0.17369
distr_solelc_spv_JPN_019 | DEF_E | 0.57194 | [6 empty] | distr_solelc_spv_JPN_019 | 0.17734 | distr_solelc_spv_JPN_019 | DEF_C | OUT | 0.17734
distr_solelc_spv_JPN_020 | DEF_E | 0.56325 | [6 empty] | distr_solelc_spv_JPN_020 | 0.17271 | distr_solelc_spv_JPN_020 | DEF_C | OUT | 0.17271
distr_solelc_spv_JPN_021 | DEF_E | 0.5704 | [6 empty] | distr_solelc_spv_JPN_021 | 0.18704 | distr_solelc_spv_JPN_021 | DEF_C | OUT | 0.18704
distr_solelc_spv_JPN_022 | DEF_E | 0.57187 | [6 empty] | distr_solelc_spv_JPN_022 | 0.18753 | distr_solelc_spv_JPN_022 | DEF_C | OUT | 0.18753
distr_solelc_spv_JPN_023 | DEF_E | 0.56902 | [6 empty] | distr_solelc_spv_JPN_023 | 0.18671 | distr_solelc_spv_JPN_023 | DEF_C | OUT | 0.18671
distr_solelc_spv_JPN_024 | DEF_E | 0.57116 | [6 empty] | distr_solelc_spv_JPN_024 | 0.16915 | distr_solelc_spv_JPN_024 | DEF_C | OUT | 0.16915
distr_solelc_spv_JPN_025 | DEF_E | 0.57364 | [6 empty] | distr_solelc_spv_JPN_025 | 0.18849 | distr_solelc_spv_JPN_025 | DEF_C | OUT | 0.18849
distr_solelc_spv_JPN_026 | DEF_E | 0.56285 | [6 empty] | distr_solelc_spv_JPN_026 | 0.18909 | distr_solelc_spv_JPN_026 | DEF_C | OUT | 0.18909
distr_solelc_spv_JPN_027 | DEF_E | 0.57175 | [6 empty] | distr_solelc_spv_JPN_027 | 0.17275 | distr_solelc_spv_JPN_027 | DEF_C | OUT | 0.17275
distr_solelc_spv_JPN_028 | DEF_E | 0.57502 | [6 empty] | distr_solelc_spv_JPN_028 | 0.16678 | distr_solelc_spv_JPN_028 | DEF_C | OUT | 0.16678
distr_solelc_spv_JPN_029 | DEF_E | 0.57206 | [6 empty] | distr_solelc_spv_JPN_029 | 0.1719 | distr_solelc_spv_JPN_029 | DEF_C | OUT | 0.1719
distr_solelc_spv_JPN_030 | DEF_E | 0.57313 | [6 empty] | distr_solelc_spv_JPN_030 | 0.17737 | distr_solelc_spv_JPN_030 | DEF_C | OUT | 0.17737
distr_wofelc_wof_JPN_001 | DEF_E | 0.3418 | [6 empty] | distr_wofelc_wof_JPN_001 | 0.44411 | distr_wonelc_won_JPN_001 | DEF_C | OUT | 0.47402
distr_wofelc_wof_JPN_002 | DEF_E | 0.35332 | [6 empty] | distr_wofelc_wof_JPN_002 | 0.42679 | distr_wonelc_won_JPN_002 | DEF_C | OUT | 0.44638
distr_wofelc_wof_JPN_003 | DEF_E | 0.3521 | [6 empty] | distr_wofelc_wof_JPN_003 | 0.45006 | distr_wonelc_won_JPN_003 | DEF_C | OUT | 0.19429
distr_wofelc_wof_JPN_004 | DEF_E | 0.37398 | [6 empty] | distr_wofelc_wof_JPN_004 | 0.42078 | distr_wonelc_won_JPN_004 | DEF_C | OUT | 0.16258
distr_wofelc_wof_JPN_005 | DEF_E | 0.38686 | [6 empty] | distr_wofelc_wof_JPN_005 | 0.35865 | distr_wonelc_won_JPN_005 | DEF_C | OUT | 0.14566
distr_wofelc_wof_JPN_006 | DEF_E | 0.33132 | [6 empty] | distr_wofelc_wof_JPN_006 | 0.46783 | distr_wonelc_won_JPN_006 | DEF_C | OUT | 0.11956
distr_wofelc_wof_JPN_007 | DEF_E | 0.36588 | [6 empty] | distr_wofelc_wof_JPN_007 | 0.41286 | distr_wonelc_won_JPN_007 | DEF_C | OUT | 0.33225
distr_wofelc_wof_JPN_008 | DEF_E | 0.40156 | [6 empty] | distr_wofelc_wof_JPN_008 | 0.31245 | distr_wonelc_won_JPN_008 | DEF_C | OUT | 0.17204
distr_wofelc_wof_JPN_009 | DEF_E | 0.39854 | [6 empty] | distr_wofelc_wof_JPN_009 | 0.30773 | distr_wonelc_won_JPN_009 | DEF_C | OUT | 0.10208
distr_wofelc_wof_JPN_010 | DEF_E | 0.38031 | [6 empty] | distr_wofelc_wof_JPN_010 | 0.32231 | distr_wonelc_won_JPN_010 | DEF_C | OUT | 0.24589
distr_wofelc_wof_JPN_011 | DEF_E | 0.38929 | [6 empty] | distr_wofelc_wof_JPN_011 | 0.33421 | distr_wonelc_won_JPN_011 | DEF_C | OUT | 0.22137
distr_wofelc_wof_JPN_012 | DEF_E | 0.35392 | [6 empty] | distr_wofelc_wof_JPN_012 | 0.4454 | distr_wonelc_won_JPN_012 | DEF_C | OUT | 0.12635
distr_wofelc_wof_JPN_013 | DEF_E | 0.38774 | [6 empty] | distr_wofelc_wof_JPN_013 | 0.39947 | distr_wonelc_won_JPN_013 | DEF_C | OUT | 0.28729
distr_wofelc_wof_JPN_014 | DEF_E | 0.41488 | [6 empty] | distr_wofelc_wof_JPN_014 | 0.28522 | distr_wonelc_won_JPN_014 | DEF_C | OUT | 0.093541
distr_wofelc_wof_JPN_015 | DEF_E | 0.36569 | [6 empty] | distr_wofelc_wof_JPN_015 | 0.41389 | distr_wonelc_won_JPN_015 | DEF_C | OUT | 0.34048
distr_wofelc_wof_JPN_016 | DEF_E | 0.38199 | [6 empty] | distr_wofelc_wof_JPN_016 | 0.34837 | distr_wonelc_won_JPN_016 | DEF_C | OUT | 0.3312
distr_wofelc_wof_JPN_017 | DEF_E | 0.32529 | [6 empty] | distr_wofelc_wof_JPN_017 | 0.44833 | distr_wonelc_won_JPN_017 | DEF_C | OUT | 0.27922
distr_wofelc_wof_JPN_018 | DEF_E | 0.34792 | [6 empty] | distr_wofelc_wof_JPN_018 | 0.39284 | distr_wonelc_won_JPN_018 | DEF_C | OUT | 0.28984
distr_wofelc_wof_JPN_019 | DEF_E | 0.33174 | [6 empty] | distr_wofelc_wof_JPN_019 | 0.42519 | distr_wonelc_won_JPN_019 | DEF_C | OUT | 0.31974
distr_wofelc_wof_JPN_020 | DEF_E | 0.47882 | [6 empty] | distr_wofelc_wof_JPN_020 | 0.27397 | distr_wonelc_won_JPN_020 | DEF_C | OUT | 0.26069
distr_wofelc_wof_JPN_021 | DEF_E | 0.34955 | [6 empty] | distr_wofelc_wof_JPN_021 | 0.45322 | distr_wonelc_won_JPN_021 | DEF_C | OUT | 0.24377
distr_wofelc_wof_JPN_022 | DEF_E | 0.33465 | [6 empty] | distr_wofelc_wof_JPN_022 | 0.48509 | distr_wonelc_won_JPN_022 | DEF_C | OUT | 0.11872
distr_wofelc_wof_JPN_023 | DEF_E | 0.3342 | [6 empty] | distr_wofelc_wof_JPN_023 | 0.46299 | distr_wonelc_won_JPN_023 | DEF_C | OUT | 0.15366
distr_wofelc_wof_JPN_024 | DEF_E | 0.37648 | [6 empty] | distr_wofelc_wof_JPN_024 | 0.39748 | distr_wonelc_won_JPN_024 | DEF_C | OUT | 0.19003
distr_wofelc_wof_JPN_025 | DEF_E | 0.40149 | [6 empty] | distr_wofelc_wof_JPN_025 | 0.37442 | distr_wonelc_won_JPN_025 | DEF_C | OUT | 0.26188
distr_wofelc_wof_JPN_026 | DEF_E | 0.45492 | [6 empty] | distr_wofelc_wof_JPN_026 | 0.28508 | distr_wonelc_won_JPN_026 | DEF_C | OUT | 0.48707
distr_wofelc_wof_JPN_027 | DEF_E | 0.41542 | [6 empty] | distr_wofelc_wof_JPN_027 | 0.3524 | distr_wonelc_won_JPN_027 | DEF_C | OUT | 0.30061
distr_wofelc_wof_JPN_028 | DEF_E | 0.40158 | [6 empty] | distr_wofelc_wof_JPN_028 | 0.41049 | distr_wonelc_won_JPN_028 | DEF_C | OUT | 0.17837
distr_wofelc_wof_JPN_029 | DEF_E | 0.35795 | [6 empty] | distr_wofelc_wof_JPN_029 | 0.42244 | distr_wonelc_won_JPN_029 | DEF_C | OUT | 0.18359
distr_wofelc_wof_JPN_030 | DEF_E | 0.3843 | [6 empty] | distr_wofelc_wof_JPN_030 | 0.39099 | distr_wonelc_won_JPN_030 | DEF_C | OUT | 0.33603
distr_wofelc_wof_JPN_031 | DEF_E | 0.38309 | [6 empty] | distr_wofelc_wof_JPN_031 | 0.41567 | distr_wonelc_won_JPN_031 | DEF_C | OUT | 0.31662
distr_wofelc_wof_JPN_032 | DEF_E | 0.41321 | [6 empty] | distr_wofelc_wof_JPN_032 | 0.36206 | distr_wofelc_wof_JPN_001 | DEF_C | OUT | 0.44411
distr_wofelc_wof_JPN_033 | DEF_E | 0.38568 | [6 empty] | distr_wofelc_wof_JPN_033 | 0.3664 | distr_wofelc_wof_JPN_002 | DEF_C | OUT | 0.42679
distr_wofelc_wof_JPN_034 | DEF_E | 0.38437 | [6 empty] | distr_wofelc_wof_JPN_034 | 0.36634 | distr_wofelc_wof_JPN_003 | DEF_C | OUT | 0.45006
distr_wofelc_wof_JPN_035 | DEF_E | 0.41428 | [6 empty] | distr_wofelc_wof_JPN_035 | 0.28907 | distr_wofelc_wof_JPN_004 | DEF_C | OUT | 0.42078
distr_wofelc_wof_JPN_036 | DEF_E | 0.39447 | [6 empty] | distr_wofelc_wof_JPN_036 | 0.33165 | distr_wofelc_wof_JPN_005 | DEF_C | OUT | 0.35865
distr_wofelc_wof_JPN_037 | DEF_E | 0.41284 | [6 empty] | distr_wofelc_wof_JPN_037 | 0.3243 | distr_wofelc_wof_JPN_006 | DEF_C | OUT | 0.46783
distr_wofelc_wof_JPN_038 | DEF_E | 0.31541 | [6 empty] | distr_wofelc_wof_JPN_038 | 0.50948 | distr_wofelc_wof_JPN_007 | DEF_C | OUT | 0.41286
distr_wofelc_wof_JPN_039 | DEF_E | 0.34545 | [6 empty] | distr_wofelc_wof_JPN_039 | 0.45133 | distr_wofelc_wof_JPN_008 | DEF_C | OUT | 0.31245
distr_wofelc_wof_JPN_040 | DEF_E | 0.30521 | [6 empty] | distr_wofelc_wof_JPN_040 | 0.52957 | distr_wofelc_wof_JPN_009 | DEF_C | OUT | 0.30773
distr_wofelc_wof_JPN_041 | DEF_E | 0.36981 | [6 empty] | distr_wofelc_wof_JPN_041 | 0.43414 | distr_wofelc_wof_JPN_010 | DEF_C | OUT | 0.32231
distr_wofelc_wof_JPN_042 | DEF_E | 0.36588 | [6 empty] | distr_wofelc_wof_JPN_042 | 0.35182 | distr_wofelc_wof_JPN_011 | DEF_C | OUT | 0.33421
distr_wofelc_wof_JPN_043 | DEF_E | 0.37925 | [6 empty] | distr_wofelc_wof_JPN_043 | 0.35357 | distr_wofelc_wof_JPN_012 | DEF_C | OUT | 0.4454
distr_wofelc_wof_JPN_044 | DEF_E | 0.36876 | [6 empty] | distr_wofelc_wof_JPN_044 | 0.37382 | distr_wofelc_wof_JPN_013 | DEF_C | OUT | 0.39947
distr_wonelc_won_JPN_001 | DEF_E | 0.34586 | [6 empty] | distr_wonelc_won_JPN_001 | 0.47402 | distr_wofelc_wof_JPN_014 | DEF_C | OUT | 0.28522
distr_wonelc_won_JPN_002 | DEF_E | 0.31125 | [6 empty] | distr_wonelc_won_JPN_002 | 0.4464 | distr_wofelc_wof_JPN_015 | DEF_C | OUT | 0.41389
distr_wonelc_won_JPN_003 | DEF_E | 0.45819 | [6 empty] | distr_wonelc_won_JPN_003 | 0.19429 | distr_wofelc_wof_JPN_016 | DEF_C | OUT | 0.34837
distr_wonelc_won_JPN_004 | DEF_E | 0.47516 | [6 empty] | distr_wonelc_won_JPN_004 | 0.16258 | distr_wofelc_wof_JPN_017 | DEF_C | OUT | 0.44833
distr_wonelc_won_JPN_005 | DEF_E | 0.50655 | [6 empty] | distr_wonelc_won_JPN_005 | 0.14566 | distr_wofelc_wof_JPN_018 | DEF_C | OUT | 0.39284
distr_wonelc_won_JPN_006 | DEF_E | 0.50183 | [6 empty] | distr_wonelc_won_JPN_006 | 0.11956 | distr_wofelc_wof_JPN_019 | DEF_C | OUT | 0.42519
distr_wonelc_won_JPN_007 | DEF_E | 0.36995 | [6 empty] | distr_wonelc_won_JPN_007 | 0.33225 | distr_wofelc_wof_JPN_020 | DEF_C | OUT | 0.27397
distr_wonelc_won_JPN_008 | DEF_E | 0.46197 | [6 empty] | distr_wonelc_won_JPN_008 | 0.17204 | distr_wofelc_wof_JPN_021 | DEF_C | OUT | 0.45322
distr_wonelc_won_JPN_009 | DEF_E | 0.5113 | [6 empty] | distr_wonelc_won_JPN_009 | 0.10208 | distr_wofelc_wof_JPN_022 | DEF_C | OUT | 0.48509
distr_wonelc_won_JPN_010 | DEF_E | 0.40547 | [6 empty] | distr_wonelc_won_JPN_010 | 0.2459 | distr_wofelc_wof_JPN_023 | DEF_C | OUT | 0.46299
distr_wonelc_won_JPN_011 | DEF_E | 0.42856 | [6 empty] | distr_wonelc_won_JPN_011 | 0.22138 | distr_wofelc_wof_JPN_024 | DEF_C | OUT | 0.39748
distr_wonelc_won_JPN_012 | DEF_E | 0.5002 | [6 empty] | distr_wonelc_won_JPN_012 | 0.12635 | distr_wofelc_wof_JPN_025 | DEF_C | OUT | 0.37442
distr_wonelc_won_JPN_013 | DEF_E | 0.37784 | [6 empty] | distr_wonelc_won_JPN_013 | 0.2873 | distr_wofelc_wof_JPN_026 | DEF_C | OUT | 0.28508
distr_wonelc_won_JPN_014 | DEF_E | 0.53595 | [6 empty] | distr_wonelc_won_JPN_014 | 0.093541 | distr_wofelc_wof_JPN_027 | DEF_C | OUT | 0.3524
distr_wonelc_won_JPN_015 | DEF_E | 0.33112 | [6 empty] | distr_wonelc_won_JPN_015 | 0.34049 | distr_wofelc_wof_JPN_028 | DEF_C | OUT | 0.41049
distr_wonelc_won_JPN_016 | DEF_E | 0.38751 | [6 empty] | distr_wonelc_won_JPN_016 | 0.3312 | distr_wofelc_wof_JPN_029 | DEF_C | OUT | 0.42244
distr_wonelc_won_JPN_017 | DEF_E | 0.42518 | [6 empty] | distr_wonelc_won_JPN_017 | 0.27922 | distr_wofelc_wof_JPN_030 | DEF_C | OUT | 0.39099
distr_wonelc_won_JPN_018 | DEF_E | 0.35872 | [6 empty] | distr_wonelc_won_JPN_018 | 0.28992 | distr_wofelc_wof_JPN_031 | DEF_C | OUT | 0.41567
distr_wonelc_won_JPN_019 | DEF_E | 0.3715 | [6 empty] | distr_wonelc_won_JPN_019 | 0.31983 | distr_wofelc_wof_JPN_032 | DEF_C | OUT | 0.36206
distr_wonelc_won_JPN_020 | DEF_E | 0.44017 | [6 empty] | distr_wonelc_won_JPN_020 | 0.26069 | distr_wofelc_wof_JPN_033 | DEF_C | OUT | 0.3664
distr_wonelc_won_JPN_021 | DEF_E | 0.4313 | [6 empty] | distr_wonelc_won_JPN_021 | 0.24377 | distr_wofelc_wof_JPN_034 | DEF_C | OUT | 0.36634
distr_wonelc_won_JPN_022 | DEF_E | 0.56678 | [6 empty] | distr_wonelc_won_JPN_022 | 0.11872 | distr_wofelc_wof_JPN_035 | DEF_C | OUT | 0.28907
distr_wonelc_won_JPN_023 | DEF_E | 0.55087 | [6 empty] | distr_wonelc_won_JPN_023 | 0.15366 | distr_wofelc_wof_JPN_036 | DEF_C | OUT | 0.33165
distr_wonelc_won_JPN_024 | DEF_E | 0.4837 | [6 empty] | distr_wonelc_won_JPN_024 | 0.19003 | distr_wofelc_wof_JPN_037 | DEF_C | OUT | 0.3243
distr_wonelc_won_JPN_025 | DEF_E | 0.41166 | [6 empty] | distr_wonelc_won_JPN_025 | 0.26188 | distr_wofelc_wof_JPN_038 | DEF_C | OUT | 0.50948
distr_wonelc_won_JPN_026 | DEF_E | 0.29129 | [6 empty] | distr_wonelc_won_JPN_026 | 0.48716 | distr_wofelc_wof_JPN_039 | DEF_C | OUT | 0.45133
distr_wonelc_won_JPN_027 | DEF_E | 0.38557 | [6 empty] | distr_wonelc_won_JPN_027 | 0.30061 | distr_wofelc_wof_JPN_040 | DEF_C | OUT | 0.52957
distr_wonelc_won_JPN_028 | DEF_E | 0.49046 | [6 empty] | distr_wonelc_won_JPN_028 | 0.17837 | distr_wofelc_wof_JPN_041 | DEF_C | OUT | 0.43414
distr_wonelc_won_JPN_029 | DEF_E | 0.47562 | [6 empty] | distr_wonelc_won_JPN_029 | 0.18359 | distr_wofelc_wof_JPN_042 | DEF_C | OUT | 0.35182
distr_wonelc_won_JPN_030 | DEF_E | 0.3877 | [6 empty] | distr_wonelc_won_JPN_030 | 0.33603 | distr_wofelc_wof_JPN_043 | DEF_C | OUT | 0.35357
distr_wonelc_won_JPN_031 | DEF_E | 0.38721 | [6 empty] | distr_wonelc_won_JPN_031 | 0.31664 | distr_wofelc_wof_JPN_044 | DEF_C | OUT | 0.37382

## load_shapes
~TFM_DINS-AT
g_yrfr | com_fr | timeslice | commodity
1 | 1 | AllSaAllH | elc_roadtransport

## demand
~TFM_DINS-AT
commodity | timeslice | com_fr
elc_buildings | AllSaAllH | 1
elc_industry | AllSaAllH | 1

## peak_factors
~TFM_DINS-AT
commodity | timeslice | com_pkflx
ELC | AllSaAllH | 0.46052

## hydro_af
~TFM_INS-AT
Year | timeslice | ncap_afs | pset_ci
2020 | AllS | 0.30535 | hydro
2021 | AllS | 0.30699 | hydro
2022 | AllS | 0.28404 | hydro