## misc
~FI_Process | [7 empty] | ~FI_T: USD21~FX~ACT_BND
Sets | TechName | TechDesc | TAct | TCap | Tslvl | Process | Comm-IN | Comm-OUT | EFF | Cap2ACT | flo_cost | 2022 | 0 | invcost | life
ELE | ElcAgg_Solar |  | TWh | GW | DAYNITE | ElcAgg_Solar |  | ELC,ELCCurt | 1 | 8.76
ELE | ElcAgg_Wind |  | TWh | GW | DAYNITE | ElcAgg_Wind |  | ELC,ELCCurt | 1 | 8.76
DMD | e_demand | Demand sectors | TWh | GW |  | e_demand | ELC | elc_buildings,elc_industry,elc_transport | 1 | 8.76 | [5 empty] | $/GJ
DMD | h_demand | Hydrogen demand | TWh | GW |  | h_demand | hydrogen | hydrogen_allsect | 1 | 8.76
IMP | Trd_electricity import |  | TWh | GW |  | fossil_supply |  | coal |  |  | 7.2 |  |  |  |  | 2
EXP | Trd_electricity export |  | TWh | GW |  |  |  | gas |  |  | 18 |  |  |  |  | 5
IMP | fossil_supply | generic fuel supply | TWh | GW |  |  |  | oil |  |  | 36 |  |  |  |  | 10
IMP | renewable | hydro and geothermal | TWh | GW |  | renewable |  | geothermal |  |  | 0.36 |  |  |  |  | 0.1
IMP | nuclear_fuel | Nuclear fuel supply | TWh | GW |  |  |  | hydro |  |  | 0.36 |  |  |  |  | 0.1
IMP | solar_potential | solar potential | TWh | GW |  |  |  | bioenergy |  |  | 25.2 |  |  |  |  | 7
IMP | winon_potential | wind onshore potential | TWh | GW |  | nuclear_fuel |  | nuclear |  |  | 0.36 |  |  |  |  | 0.1
IMP | winoff_potential | wnid offshore potential | TWh | GW |  | solar_potential |  | solar |  |  | 0.36 |  |  |  |  | 0.1
[6 empty] | winon_potential |  | windon |  |  | 0.36 |  |  |  |  | 0.1
[6 empty] | winoff_potential |  | windoff |  |  | 0.36 |  |  |  |  | 0.1
[6 empty] | Trd_electricity import |  | ELC |  |  |  | 0 | 3 | 1000 | 50
[6 empty] | Trd_electricity export | ELC |  |  |  |  | 0 | 3 | 1000 | 50

## hydro
~fi_process | [5 empty] | ~fi_t
Sets | process | description | TAct | TCap | timeslicelevel | process | Comm-IN | Comm-OUT | CAP_BND | INVCOST~USD21_alt | AF~FX
ELE | EN_Hydro_BGR-1 | New Hydro Potential - Bulgaria - Step 1 | PJ | GW | DAYNITE | EN_Hydro_BGR-1 | hydro | ELC | 0.417
ELE | EN_Hydro_BGR-2 | New Hydro Potential - Bulgaria - Step 2 | PJ | GW | DAYNITE | EN_Hydro_BGR-2 | hydro | ELC | 1.13
ELE | EN_Hydro_BGR-3 | New Hydro Potential - Bulgaria - Step 3 | PJ | GW | DAYNITE | EN_Hydro_BGR-3 | hydro | ELC | 2.27

## ELC_Storage
~FI_Comm
Csets | CommName | CommDesc | Unit | LimType | CTSLvl | PeakTS | Ctype
ENV | AuxStoIN | Aux commodity for storage charging | TBTU |  | DAYNITE
| AuxStoOUT | Aux commodity for storage discharging | TBTU |  | DAYNITE
~FI_Process | [10 empty] | ~FI_T: USD21
Sets | TechName | TechDesc | Tact | Tcap | Tslvl |  | TechName | attribute | CommGrp | Commodity | time_slice | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | Comm-OUT | Comm-OUT-A | LIFE
ELE,STG | EN_STG8hbNREL | 8 hour battery - NREL | TBTU | GW | DAYNITE |  | EN_STG4hbNREL | FLO_FUNC | AuxStoOUT | ELC | ANNUAL | 2020: 1.1765 |  | AuxStoOUT | 20
| EN_STG4hbNREL | 4 hour battery - NREL | TBTU | GW | DAYNITE |  | EN_STG4hbNREL | NCAP_AFC | ACT | ELC | DAYNITE | 2020: 0.16667 | ELC
[7 empty] | EN_STG4hbNREL | NCAP_AFC | NRG |  | DAYNITE | bar: 2020
[7 empty] | EN_STG4hbNREL | NCAP_COST |  |  |  | 1363 | 956 | 784 | 735 | 686 | 637 | 588
[7 empty] | EN_STG4hbNREL | NCAP_FOM |  |  |  | 34 | 24 | 20 | 18 | 17 | 16 | 15
[7 empty] | EN_STG4hbNREL | NCAP_PKCNT |  |  | ANNUAL | bar: 2020
[7 empty] | EN_STG4hbNREL | PRC_CAPACT |  |  |  | 2020: 31.536
[7 empty] | EN_STG4hbNREL | STG_EFF |  |  |  | 2020: 0.85
[7 empty] | EN_STG8hbNREL | FLO_FUNC | AuxStoOUT | ELC | ANNUAL | 2020: 1.1765 |  | AuxStoOUT | 20
[7 empty] | EN_STG8hbNREL | NCAP_AFC | ACT | ELC | DAYNITE | 2020: 0.33333 | ELC
[7 empty] | EN_STG8hbNREL | NCAP_AFC | NRG |  | DAYNITE | bar: 2020
[7 empty] | EN_STG8hbNREL | NCAP_COST |  |  |  | 2470 | 1714 | 1371 | 1277 | 1183 | 1089 | 995
[7 empty] | EN_STG8hbNREL | NCAP_FOM |  |  |  | 62 | 43 | 34 | 32 | 30 | 27 | 25
[7 empty] | EN_STG8hbNREL | NCAP_PKCNT |  |  | ANNUAL | bar: 2020
[7 empty] | EN_STG8hbNREL | PRC_CAPACT |  |  |  | 2020: 31.536
[7 empty] | EN_STG8hbNREL | STG_EFF |  |  |  | 2020: 0.85
Utility-scale battery storage cost projections from NREL ATB 2024
Includes $100 grid connection cost
(2022$) | bar: 2020 to 2030
[8 empty] | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
4Hr Battery Storage
CAPEX
[7 empty] | Advanced | 1363 | 839 | 566 | 512 | 454 | 400 | 346
[7 empty] | Conservative | 1363 | 1167 | 981 | 981 | 981 | 981 | 981
[7 empty] | Moderate | 1363 | 956 | 784 | 735 | 686 | 637 | 588
Fixed O&M
[7 empty] | Advanced | 34 | 21 | 14 | 13 | 11 | 10 | 9
[7 empty] | Conservative | 34 | 29 | 25 | 25 | 25 | 25 | 25
[7 empty] | Moderate | 34 | 24 | 20 | 18 | 17 | 16 | 15
8Hr Battery Storage
CAPEX
[7 empty] | Advanced | 2470 | 1518 | 1024 | 927 | 822 | 724 | 626
[7 empty] | Conservative | 2470 | 2111 | 1754 | 1754 | 1754 | 1754 | 1754
[7 empty] | Moderate | 2470 | 1714 | 1371 | 1277 | 1183 | 1089 | 995
Fixed O&M
[7 empty] | Advanced | 62 | 38 | 26 | 23 | 21 | 18 | 16
[7 empty] | Conservative | 62 | 53 | 44 | 44 | 44 | 44 | 44
[7 empty] | Moderate | 62 | 43 | 34 | 32 | 30 | 27 | 25
[7 empty] | Roundtrip EFF: | 2020: 0.85
CF is duration/24 - assume one cycle per day
VAROM = 0

## EV Battery
[6 empty] | ~FI_T: FX | [8 empty] | ~FI_Process
TechName | Comm-IN | Comm-OUT | Comm-OUT-A | CommGrp | commodity | Attribute | 2030 | 0 | S_EFF | AFC~DAYNITE~UP | LIFE | invcost | CAP2ACT | Peak | Sets | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Vintage
ev_battery | ELC |  |  | NRG |  |  |  |  | 0.9025 | 4 | 10 | 150 | 1 | 1 | STG | ev_battery | Car battery - 6kw/60Kwh - with V2G (optional) | TWh | TWh | DAYNITE
|  |  |  | ACT | [5 empty] | 1
|  | elc_roadtransport | AuxStoIN
|  |  |  | ELC | AuxStoIN | FLO_FUNC | 1 | 3

## H2 prod
XXX |  | Investment cost per unit of capacity (EUR/kW-output) |  |  | Fixed O&M costs (EUR/kW-output) |  |  | Heatrate (input over output ratio) | [5 empty] | Conversion technologies
|  | invcost | invcost | invcost | fixom | fixom | fixom | input~GASNGA | efficiency | input~GASNGA | efficiency | input~GASNGA | efficiency
|  | 2020 | 2030 | 2050 | 2020 | 2030 | 2050 | 2015 | 2015 | 2030 | 2030 | 2050 | 2050
|  | 2020 | 2030 | Ultimate | 2015 | 2030 | Ultimate | 2015 Heat | 2015 Electricity | 2030 Heat | 2030 Electricity | Ultimate Heat | Ultimate Electricity
|  | 550 | 500 | 450 | 22 | 20 | 18 | 1.33 | 0.094 | 1.3 | 0.094 | 1.28 | 0.094 | Hydrogen from natural gas steam reforming centralised - Large scale (per 1 kW or 1 MWh H2 HHV)
|  | 900 | 850 | 800 | 36 | 34 | 32 | 1.33 | 1.094 | 1.3 | 1.094 | 1.28 | 1.094 | Hydrogen from natural gas steam reforming centralised - Large scale with CCU (per 1 kW or 1 MWh H2 HHV)
|  | 1978 | 1598 | 1450 | 57 | 31 | 28 | 1.53 | 0.094 | 1.47 | 0.094 | 1.43 | 0.094 | Hydrogen from natural gas steam reforming de-centralised - Medium scale (per 1 kW or 1 MWh H2 HHV)
|  | 1610 | 740 | 200 | 49 | 15 | 10 | 0 | 1.39 | 0 | 1.19 | 0 | 1.17 | Hydrogen from low temperature water electrolysis PEM centralised - Large scale (per 1 kW or 1 MWh H2 HHV)
|  | 2530 | 1175 | 350 | 77 | 34 | 18 | 0 | 1.5 | 0 | 1.25 | 0 | 1.19 | Hydrogen from low temperature water electrolysis PEM de-centralised at a refuelling station (per 1 kW or 1 MWh H2 HHV)
|  | 1265 | 600 | 180 | 28 | 14 | 9 | 0 | 1.3952 | 0 | 1.268 | 0 | 1.18 | Hydrogen from low temperature water electrolysis - Alkaline centralised, large scale (per 1 kW or 1 MWh H2 HHV)
|  | 1897.5 | 715 | 300 | 41 | 17 | 15 | 0 | 1.3952 | 0 | 1.268 | 0 | 1.2 | Hydrogen from low temperature water electrolysis Alkaline de-centralised at a refuelling station (per 1 kW or 1 MWh H2 HHV)
|  | 3332.0882 | 1421.3922 | 600 | 55.825 | 36.18 | 39 | 1.9967 | 0.83712 | 1.4556 | 0.7608 | 0.33333 | 0.708 | Hydrogen from high temperature water electrolysis SOEC centralised (per 1 kW or 1 MWh H2 HHV)
|  | 5331.3412 | 2920.8941 | 1100 | 94.9025 | 63.315 | 48.75 | 1.9967 | 0.83712 | 1.4556 | 0.7608 | 0.33333 | 0.72 | Hydrogen from high temperature water electrolysis SOEC de-centralised at a refuelling station (per 1 kW or 1 MWh H2 HHV)
|  | 1200 | 733 | 263 | 42 | 22 | 9 | 0 | 0.01 | 0 | 0.01 | 0 | 0.01 | Methanation (per 1 kW or 1 MWh CH4 HHV)
|  | 450 | 450 | 450 | 18 | 18 | 18 | 0.26582 | 0.06 | 0.26582 | 0.06 | 0.26582 | 0.06 | CH4 Liquefaction plant (per 1 kW or 1 MWh gas HHV)
|  | 200 | 200 | 200 | 20 | 20 | 20 | 0.013 | 0.036 | 0.013 | 0.036 | 0.013 | 0.036 | Gas Liquefaction plant (per 1 kW or 1 MWh gas HHV)
|  | 175 | 175 | 175 | 5 | 5 | 5 | 0.014 | 0 | 0.014 | 0 | 0.014 | 0 | Regasification Plant including LNG storage (per 1 kW or 1 MWh gas HHV)
|  | 1000 | 720 | 364 | 50 | 31 | 18 | 0.2389 | 0.03056 | 0.2389 | 0.03056 | 0.2389 | 0.03056 | Power to liquid via the methanol route (per 1 kW or 1 MWh CH4 HHV)
|  | 1556 | 1143 | 673 | 54 | 40 | 24 | 0.035 | 0.02 | 0.035 | 0.02 | 0.035 | 0.02 | Power to liquid via the Fischer Tropsch route (per 1 kW or 1 MWh CH4 HHV)
|  | 2332 | 1511 | 965 | 163 | 106 | 68 | 0.46327 | 1.9188 | 0.39244 | 1.601 | 0.37891 | 1.5694 | Power to liquid via High temperature co-electrolysis and Fischer Tropsch (per 1 kW or 1 MWh CH4 HHV)
|  | 769.8768 | 648.0445 | 518.2906 | 26.9457 | 22.6816 | 18.1402 | 2.7778 | 2.2222 | 1.6667 | 1.3889 | 1.1389 | 0.3 | Capture CO2 from air (Absorption technology) (per 1 tCO2)
|  | 1259.7984 | 894.3014 | 495 | 44.0929 | 31.3005 | 17.325 | 2 | 0.3 | 1.8056 | 0.3 | 1.5 | 0.3 | Capture CO2 from air (Adsorption technology) (per 1 tCO2)
|  | 174 | 174 | 174 | 3 | 3 | 3 | 0 | 0.20588 | 0 | 0.20588 | 0 | 0.20588 | CO2 Liquefaction plant (per 1 ton CO2)
|  | ~FI_T: EUR15 | [14 empty] | ~FI_Process
Comm-OUT | Comm-IN | invcost~2020 | invcost~2030 | invcost~2050 | fixom~2020 | fixom~2030 | fixom~2050 | input~GASNGA~2015 | efficiency | input~GASNGA~2030 | efficiency~2030 | input~GASNGA~2050 | efficiency~2050 | TechName | LIFE | Cap2Act | Sets | TechName | TechDesc | Tcap | Tact | Tslvl | Vintage
hydrogen | ELC,ELCCurt | 1610 | 740 | 450 | 49 | 15 | 10 |  | 0.71942 |  | 0.84034 |  | 0.8547 | H2prd_Elc_PEM | 25 | 8.76 | PRE | H2prd_Elc_PEM | Hydrogen from low temperature water electrolysis PEM centralised - Large scale (per 1 kW or 1 MWh H2 HHV) | GW | TWh | DAYNITE | Yes
hydrogen | ELC,ELCCurt | 1265 | 600 | 350 | 28 | 14 | 9 |  | 0.71674 |  | 0.78864 |  | 0.84746 | H2prd_Elc_ALK | 25 | 8.76 | PRE | H2prd_Elc_ALK | Hydrogen from low temperature water electrolysis - Alkaline centralised, large scale (per 1 kW or 1 MWh H2 HHV) | GW | TWh | DAYNITE | Yes

## solar
~fi_process | [6 empty] | ~fi_t |  |  |  |  | ~fi_process | [7 empty] | ~fi_t
set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage | grid_cell | process | comm-out | cap_bnd | af~fx | set | process | description | capacity_unit | activity_unit | primarycg | timeslicelevel | vintage | process | comm-in | comm-out | efficiency | grid_cell
ele | e_spv-BGR_0000 | solar resource in grid cell BGR_0 | GW | TWh | annual | no | BGR_0 | e_spv-BGR_0000 | elc_spv-BGR_0000 | 0.1275 | 0.154 | pre | distr_solelc_won-BGR_0023 | connecting solar and wind to buses in grid cell BGR_23 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0023 | elc_won-BGR_0023,elc_spv-BGR_0023 | e_w462198915-220 | 1 | BGR_23
ele | e_spv-BGR_0001 | solar resource in grid cell BGR_1 | GW | TWh | annual | no | BGR_1 | e_spv-BGR_0001 | elc_spv-BGR_0001 | 0.09525 | 0.151 | pre | distr_solelc_won-BGR_0036 | connecting solar and wind to buses in grid cell BGR_36 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0036 | elc_won-BGR_0036,elc_spv-BGR_0036 | e_BG72-400 | 1 | BGR_36
ele | e_spv-BGR_0002 | solar resource in grid cell BGR_2 | GW | TWh | annual | no | BGR_2 | e_spv-BGR_0002 | elc_spv-BGR_0002 | 0.186 | 0.147 | pre | distr_solelc_won-BGR_0056 | connecting solar and wind to buses in grid cell BGR_56 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0056 | elc_won-BGR_0056,elc_spv-BGR_0056 | e_BG12-400 | 1 | BGR_56
ele | e_spv-BGR_0003 | solar resource in grid cell BGR_3 | GW | TWh | annual | no | BGR_3 | e_spv-BGR_0003 | elc_spv-BGR_0003 | 0.1965 | 0.144 | pre | distr_solelc_won-BGR_0016 | connecting solar and wind to buses in grid cell BGR_16 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0016 | elc_won-BGR_0016,elc_spv-BGR_0016 | e_BG10-220,e_BG10-400,e_w179323117-220,e_w179323117-400 | 1 | BGR_16
ele | e_spv-BGR_0004 | solar resource in grid cell BGR_4 | GW | TWh | annual | no | BGR_4 | e_spv-BGR_0004 | elc_spv-BGR_0004 | 0.0795 | 0.14 | pre | distr_solelc_won-BGR_0002 | connecting solar and wind to buses in grid cell BGR_2 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0002 | elc_won-BGR_0002,elc_spv-BGR_0002 | e_BG48-400,e_BG51-400,e_BG52-400,e_BG53-400,e_w176656979-400,e_w220458404-220 | 1 | BGR_2
ele | e_spv-BGR_0005 | solar resource in grid cell BGR_5 | GW | TWh | annual | no | BGR_5 | e_spv-BGR_0005 | elc_spv-BGR_0005 | 0.55425 | 0.142 | pre | distr_solelc_won-BGR_0037 | connecting solar and wind to buses in grid cell BGR_37 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0037 | elc_won-BGR_0037,elc_spv-BGR_0037 | e_BG57-220,e_BG57-400,e_BG63-400,e_BG72-400 | 1 | BGR_37
ele | e_spv-BGR_0006 | solar resource in grid cell BGR_6 | GW | TWh | annual | no | BGR_6 | e_spv-BGR_0006 | elc_spv-BGR_0006 | 0.17325 | 0.156 | pre | distr_solelc_won-BGR_0030 | connecting solar and wind to buses in grid cell BGR_30 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0030 | elc_won-BGR_0030,elc_spv-BGR_0030 | e_BG72-400 | 1 | BGR_30
ele | e_spv-BGR_0007 | solar resource in grid cell BGR_7 | GW | TWh | annual | no | BGR_7 | e_spv-BGR_0007 | elc_spv-BGR_0007 | 0.0705 | 0.153 | pre | distr_solelc_won-BGR_0033 | connecting solar and wind to buses in grid cell BGR_33 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0033 | elc_won-BGR_0033,elc_spv-BGR_0033 | e_BG21-220,e_BG22-220,e_BG23-220,e_BG24-220,e_BG25-220,e_BG38-220,e_BG39-220,e_w144024767-400 | 1 | BGR_33
ele | e_spv-BGR_0008 | solar resource in grid cell BGR_8 | GW | TWh | annual | no | BGR_8 | e_spv-BGR_0008 | elc_spv-BGR_0008 | 0.19125 | 0.147 | pre | distr_solelc_won-BGR_0045 | connecting solar and wind to buses in grid cell BGR_45 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0045 | elc_won-BGR_0045,elc_spv-BGR_0045 | e_w259759898-220 | 1 | BGR_45
ele | e_spv-BGR_0009 | solar resource in grid cell BGR_9 | GW | TWh | annual | no | BGR_9 | e_spv-BGR_0009 | elc_spv-BGR_0009 | 0.07425 | 0.146 | pre | distr_solelc_won-BGR_0034 | connecting solar and wind to buses in grid cell BGR_34 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0034 | elc_won-BGR_0034,elc_spv-BGR_0034 | e_BG21-220 | 1 | BGR_34
ele | e_spv-BGR_0010 | solar resource in grid cell BGR_10 | GW | TWh | annual | no | BGR_10 | e_spv-BGR_0010 | elc_spv-BGR_0010 | 0.768 | 0.141 | pre | distr_solelc_won-BGR_0040 | connecting solar and wind to buses in grid cell BGR_40 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0040 | elc_won-BGR_0040,elc_spv-BGR_0040 | e_w200514079-220 | 1 | BGR_40
ele | e_spv-BGR_0011 | solar resource in grid cell BGR_11 | GW | TWh | annual | no | BGR_11 | e_spv-BGR_0011 | elc_spv-BGR_0011 | 1.4625 | 0.143 | pre | distr_solelc_won-BGR_0047 | connecting solar and wind to buses in grid cell BGR_47 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0047 | elc_won-BGR_0047,elc_spv-BGR_0047 | e_w176754569-400 | 1 | BGR_47
ele | e_spv-BGR_0012 | solar resource in grid cell BGR_12 | GW | TWh | annual | no | BGR_12 | e_spv-BGR_0012 | elc_spv-BGR_0012 | 0.0735 | 0.157 | pre | distr_solelc_won-BGR_0052 | connecting solar and wind to buses in grid cell BGR_52 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0052 | elc_won-BGR_0052,elc_spv-BGR_0052 | e_w176754569-400 | 1 | BGR_52
ele | e_spv-BGR_0013 | solar resource in grid cell BGR_13 | GW | TWh | annual | no | BGR_13 | e_spv-BGR_0013 | elc_spv-BGR_0013 | 0.10275 | 0.15 | pre | distr_solelc_won-BGR_0044 | connecting solar and wind to buses in grid cell BGR_44 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0044 | elc_won-BGR_0044,elc_spv-BGR_0044 | e_BG30-400,e_BG31-400 | 1 | BGR_44
ele | e_spv-BGR_0014 | solar resource in grid cell BGR_14 | GW | TWh | annual | no | BGR_14 | e_spv-BGR_0014 | elc_spv-BGR_0014 | 0.15975 | 0.148 | pre | distr_solelc_won-BGR_0032 | connecting solar and wind to buses in grid cell BGR_32 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0032 | elc_won-BGR_0032,elc_spv-BGR_0032 | e_BG44-220,e_BG45-220,e_BG50-220,e_BG55-220 | 1 | BGR_32
ele | e_spv-BGR_0015 | solar resource in grid cell BGR_15 | GW | TWh | annual | no | BGR_15 | e_spv-BGR_0015 | elc_spv-BGR_0015 | 0.2445 | 0.142 | pre | distr_solelc_won-BGR_0001 | connecting solar and wind to buses in grid cell BGR_1 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0001 | elc_won-BGR_0001,elc_spv-BGR_0001 | e_BG60-400,e_BG62-400 | 1 | BGR_1
ele | e_spv-BGR_0016 | solar resource in grid cell BGR_16 | GW | TWh | annual | no | BGR_16 | e_spv-BGR_0016 | elc_spv-BGR_0016 | 0.834 | 0.144 | pre | distr_solelc_won-BGR_0042 | connecting solar and wind to buses in grid cell BGR_42 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0042 | elc_won-BGR_0042,elc_spv-BGR_0042 | e_BG54-400 | 1 | BGR_42
ele | e_spv-BGR_0017 | solar resource in grid cell BGR_17 | GW | TWh | annual | no | BGR_17 | e_spv-BGR_0017 | elc_spv-BGR_0017 | 1.4715 | 0.145 | pre | distr_solelc_won-BGR_0022 | connecting solar and wind to buses in grid cell BGR_22 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0022 | elc_won-BGR_0022,elc_spv-BGR_0022 | e_BG14-220,e_w462198915-220 | 1 | BGR_22
ele | e_spv-BGR_0019 | solar resource in grid cell BGR_19 | GW | TWh | annual | no | BGR_19 | e_spv-BGR_0019 | elc_spv-BGR_0019 | 0.36375 | 0.15 | pre | distr_solelc_won-BGR_0017 | connecting solar and wind to buses in grid cell BGR_17 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0017 | elc_won-BGR_0017,elc_spv-BGR_0017 | e_BG2-220,e_BG3-220,e_BG3-400,e_BG4-400,e_BG5-400,e_BG6-400,e_BG7-400,e_BG8-400,e_w157471230-220,e_w157471230-400 | 1 | BGR_17
ele | e_spv-BGR_0020 | solar resource in grid cell BGR_20 | GW | TWh | annual | no | BGR_20 | e_spv-BGR_0020 | elc_spv-BGR_0020 | 0.18 | 0.149 | pre | distr_solelc_won-BGR_0013 | connecting solar and wind to buses in grid cell BGR_13 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0013 | elc_won-BGR_0013,elc_spv-BGR_0013 | e_BG68-220,e_w1256110252-220,e_w243752614-400,e_w743367793-220,e_w743374599-400 | 1 | BGR_13
ele | e_spv-BGR_0021 | solar resource in grid cell BGR_21 | GW | TWh | annual | no | BGR_21 | e_spv-BGR_0021 | elc_spv-BGR_0021 | 0.2775 | 0.142 | pre | distr_solelc_won-BGR_0020 | connecting solar and wind to buses in grid cell BGR_20 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0020 | elc_won-BGR_0020,elc_spv-BGR_0020 | e_w96974919-400 | 1 | BGR_20
ele | e_spv-BGR_0022 | solar resource in grid cell BGR_22 | GW | TWh | annual | no | BGR_22 | e_spv-BGR_0022 | elc_spv-BGR_0022 | 0.74625 | 0.145 | pre | distr_solelc_won-BGR_0046 | connecting solar and wind to buses in grid cell BGR_46 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0046 | elc_won-BGR_0046,elc_spv-BGR_0046 | e_w259759898-220 | 1 | BGR_46
ele | e_spv-BGR_0023 | solar resource in grid cell BGR_23 | GW | TWh | annual | no | BGR_23 | e_spv-BGR_0023 | elc_spv-BGR_0023 | 2.9272 | 0.144 | pre | distr_solelc_won-BGR_0054 | connecting solar and wind to buses in grid cell BGR_54 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0054 | elc_won-BGR_0054,elc_spv-BGR_0054 | e_w261495737-220 | 1 | BGR_54
ele | e_spv-BGR_0024 | solar resource in grid cell BGR_24 | GW | TWh | annual | no | BGR_24 | e_spv-BGR_0024 | elc_spv-BGR_0024 | 0.05925 | 0.151 | pre | distr_solelc_won-BGR_0025 | connecting solar and wind to buses in grid cell BGR_25 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0025 | elc_won-BGR_0025,elc_spv-BGR_0025 | e_BG58-400 | 1 | BGR_25
ele | e_spv-BGR_0025 | solar resource in grid cell BGR_25 | GW | TWh | annual | no | BGR_25 | e_spv-BGR_0025 | elc_spv-BGR_0025 | 0.3675 | 0.15 | pre | distr_solelc_won-BGR_0006 | connecting solar and wind to buses in grid cell BGR_6 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0006 | elc_won-BGR_0006,elc_spv-BGR_0006 | e_w235044638-400 | 1 | BGR_6
ele | e_spv-BGR_0026 | solar resource in grid cell BGR_26 | GW | TWh | annual | no | BGR_26 | e_spv-BGR_0026 | elc_spv-BGR_0026 | 0.2505 | 0.147 | pre | distr_solelc_won-BGR_0024 | connecting solar and wind to buses in grid cell BGR_24 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0024 | elc_won-BGR_0024,elc_spv-BGR_0024 | e_w96974919-400 | 1 | BGR_24
ele | e_spv-BGR_0027 | solar resource in grid cell BGR_27 | GW | TWh | annual | no | BGR_27 | e_spv-BGR_0027 | elc_spv-BGR_0027 | 0.23025 | 0.143 | pre | distr_solelc_won-BGR_0038 | connecting solar and wind to buses in grid cell BGR_38 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0038 | elc_won-BGR_0038,elc_spv-BGR_0038 | e_BG57-400 | 1 | BGR_38
ele | e_spv-BGR_0028 | solar resource in grid cell BGR_28 | GW | TWh | annual | no | BGR_28 | e_spv-BGR_0028 | elc_spv-BGR_0028 | 1.206 | 0.145 | pre | distr_solelc_won-BGR_0026 | connecting solar and wind to buses in grid cell BGR_26 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0026 | elc_won-BGR_0026,elc_spv-BGR_0026 | e_BG47-220,e_BG49-220 | 1 | BGR_26
ele | e_spv-BGR_0029 | solar resource in grid cell BGR_29 | GW | TWh | annual | no | BGR_29 | e_spv-BGR_0029 | elc_spv-BGR_0029 | 3.7748 | 0.144 | pre | distr_solelc_won-BGR_0027 | connecting solar and wind to buses in grid cell BGR_27 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0027 | elc_won-BGR_0027,elc_spv-BGR_0027 | e_w262539285-220 | 1 | BGR_27
ele | e_spv-BGR_0030 | solar resource in grid cell BGR_30 | GW | TWh | annual | no | BGR_30 | e_spv-BGR_0030 | elc_spv-BGR_0030 | 0.144 | 0.15 | pre | distr_solelc_won-BGR_0005 | connecting solar and wind to buses in grid cell BGR_5 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0005 | elc_won-BGR_0005,elc_spv-BGR_0005 | e_w232685942-220 | 1 | BGR_5
ele | e_spv-BGR_0031 | solar resource in grid cell BGR_31 | GW | TWh | annual | no | BGR_31 | e_spv-BGR_0031 | elc_spv-BGR_0031 | 0.35625 | 0.149 | pre | distr_solelc_won-BGR_0021 | connecting solar and wind to buses in grid cell BGR_21 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0021 | elc_won-BGR_0021,elc_spv-BGR_0021 | e_BG14-220 | 1 | BGR_21
ele | e_spv-BGR_0032 | solar resource in grid cell BGR_32 | GW | TWh | annual | no | BGR_32 | e_spv-BGR_0032 | elc_spv-BGR_0032 | 0.17925 | 0.146 | pre | distr_solelc_won-BGR_0010 | connecting solar and wind to buses in grid cell BGR_10 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0010 | elc_won-BGR_0010,elc_spv-BGR_0010 | e_BG11-400,e_BG18-400,e_BG19-400,e_w232685942-220 | 1 | BGR_10
ele | e_spv-BGR_0033 | solar resource in grid cell BGR_33 | GW | TWh | annual | no | BGR_33 | e_spv-BGR_0033 | elc_spv-BGR_0033 | 0.1275 | 0.143 | pre | distr_solelc_won-BGR_0050 | connecting solar and wind to buses in grid cell BGR_50 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0050 | elc_won-BGR_0050,elc_spv-BGR_0050 | e_BG12-400,e_BG13-400,e_BG15-400,e_BG16-400,e_BG17-400,e_BG20-400,e_w144787750-220,e_w144787750-400,e_w200516868-220,e_w200516868-400,e_w261495737-220 | 1 | BGR_50
ele | e_spv-BGR_0034 | solar resource in grid cell BGR_34 | GW | TWh | annual | no | BGR_34 | e_spv-BGR_0034 | elc_spv-BGR_0034 | 0.729 | 0.145 | pre | distr_solelc_won-BGR_0008 | connecting solar and wind to buses in grid cell BGR_8 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0008 | elc_won-BGR_0008,elc_spv-BGR_0008 | e_BG43-220,e_w37031322-220,e_w37031322-400,e_w37376386-220,e_w59467541-220 | 1 | BGR_8
ele | e_spv-BGR_0035 | solar resource in grid cell BGR_35 | GW | TWh | annual | no | BGR_35 | e_spv-BGR_0035 | elc_spv-BGR_0035 | 3.534 | 0.144 | pre | distr_solelc_won-BGR_0007 | connecting solar and wind to buses in grid cell BGR_7 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0007 | elc_won-BGR_0007,elc_spv-BGR_0007 | e_w235044638-400 | 1 | BGR_7
ele | e_spv-BGR_0036 | solar resource in grid cell BGR_36 | GW | TWh | annual | no | BGR_36 | e_spv-BGR_0036 | elc_spv-BGR_0036 | 1.8202 | 0.151 | pre | distr_solelc_won-BGR_0000 | connecting solar and wind to buses in grid cell BGR_0 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0000 | elc_won-BGR_0000,elc_spv-BGR_0000 | e_w235044638-400 | 1 | BGR_0
ele | e_spv-BGR_0037 | solar resource in grid cell BGR_37 | GW | TWh | annual | no | BGR_37 | e_spv-BGR_0037 | elc_spv-BGR_0037 | 0.40725 | 0.15 | pre | distr_solelc_won-BGR_0003 | connecting solar and wind to buses in grid cell BGR_3 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0003 | elc_won-BGR_0003,elc_spv-BGR_0003 | e_BG37-400 | 1 | BGR_3
ele | e_spv-BGR_0038 | solar resource in grid cell BGR_38 | GW | TWh | annual | no | BGR_38 | e_spv-BGR_0038 | elc_spv-BGR_0038 | 0.19875 | 0.147 | pre | distr_solelc_won-BGR_0004 | connecting solar and wind to buses in grid cell BGR_4 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0004 | elc_won-BGR_0004,elc_spv-BGR_0004 | e_BG18-400 | 1 | BGR_4
ele | e_spv-BGR_0039 | solar resource in grid cell BGR_39 | GW | TWh | annual | no | BGR_39 | e_spv-BGR_0039 | elc_spv-BGR_0039 | 0.0885 | 0.145 | pre | distr_solelc_won-BGR_0028 | connecting solar and wind to buses in grid cell BGR_28 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0028 | elc_won-BGR_0028,elc_spv-BGR_0028 | e_w144024767-400 | 1 | BGR_28
ele | e_spv-BGR_0040 | solar resource in grid cell BGR_40 | GW | TWh | annual | no | BGR_40 | e_spv-BGR_0040 | elc_spv-BGR_0040 | 0.36 | 0.144 | pre | distr_solelc_won-BGR_0014 | connecting solar and wind to buses in grid cell BGR_14 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0014 | elc_won-BGR_0014,elc_spv-BGR_0014 | e_w148478396-400 | 1 | BGR_14
ele | e_spv-BGR_0041 | solar resource in grid cell BGR_41 | GW | TWh | annual | no | BGR_41 | e_spv-BGR_0041 | elc_spv-BGR_0041 | 1.3762 | 0.144 | pre | distr_solelc_won-BGR_0048 | connecting solar and wind to buses in grid cell BGR_48 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0048 | elc_won-BGR_0048,elc_spv-BGR_0048 | e_w176754569-400 | 1 | BGR_48
ele | e_spv-BGR_0042 | solar resource in grid cell BGR_42 | GW | TWh | annual | no | BGR_42 | e_spv-BGR_0042 | elc_spv-BGR_0042 | 0.33525 | 0.149 | pre | distr_solelc_won-BGR_0035 | connecting solar and wind to buses in grid cell BGR_35 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0035 | elc_won-BGR_0035,elc_spv-BGR_0035 | e_w200514079-220 | 1 | BGR_35
ele | e_spv-BGR_0043 | solar resource in grid cell BGR_43 | GW | TWh | annual | no | BGR_43 | e_spv-BGR_0043 | elc_spv-BGR_0043 | 0.18075 | 0.146 | pre | distr_solelc_won-BGR_0009 | connecting solar and wind to buses in grid cell BGR_9 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0009 | elc_won-BGR_0009,elc_spv-BGR_0009 | e_BG26-400,e_BG27-400,e_BG28-400,e_BG29-400,e_BG32-400,e_BG33-400,e_BG34-400,e_BG35-400,e_BG36-400,e_BG37-400,e_BG40-220,e_BG41-220,e_BG42-220,e_w37028932-400,e_w37031469-220,e_w37031469-400 | 1 | BGR_9
ele | e_spv-BGR_0044 | solar resource in grid cell BGR_44 | GW | TWh | annual | no | BGR_44 | e_spv-BGR_0044 | elc_spv-BGR_0044 | 0.132 | 0.144 | pre | distr_solelc_won-BGR_0015 | connecting solar and wind to buses in grid cell BGR_15 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0015 | elc_won-BGR_0015,elc_spv-BGR_0015 | e_w148478396-400 | 1 | BGR_15
ele | e_spv-BGR_0045 | solar resource in grid cell BGR_45 | GW | TWh | annual | no | BGR_45 | e_spv-BGR_0045 | elc_spv-BGR_0045 | 0.82275 | 0.145 | pre | distr_solelc_won-BGR_0041 | connecting solar and wind to buses in grid cell BGR_41 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0041 | elc_won-BGR_0041,elc_spv-BGR_0041 | e_w200514079-220 | 1 | BGR_41
ele | e_spv-BGR_0046 | solar resource in grid cell BGR_46 | GW | TWh | annual | no | BGR_46 | e_spv-BGR_0046 | elc_spv-BGR_0046 | 0.92775 | 0.145 | pre | distr_solelc_won-BGR_0049 | connecting solar and wind to buses in grid cell BGR_49 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0049 | elc_won-BGR_0049,elc_spv-BGR_0049 | e_BG20-400 | 1 | BGR_49
ele | e_spv-BGR_0047 | solar resource in grid cell BGR_47 | GW | TWh | annual | no | BGR_47 | e_spv-BGR_0047 | elc_spv-BGR_0047 | 0.0375 | 0.147 | pre | distr_solelc_won-BGR_0011 | connecting solar and wind to buses in grid cell BGR_11 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0011 | elc_won-BGR_0011,elc_spv-BGR_0011 | e_BG1-400,e_BG9-400 | 1 | BGR_11
ele | e_spv-BGR_0048 | solar resource in grid cell BGR_48 | GW | TWh | annual | no | BGR_48 | e_spv-BGR_0048 | elc_spv-BGR_0048 | 0.15525 | 0.146 | pre | distr_solelc_won-BGR_0043 | connecting solar and wind to buses in grid cell BGR_43 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0043 | elc_won-BGR_0043,elc_spv-BGR_0043 | e_BG46-220,e_BG54-400,e_w178747356-220 | 1 | BGR_43
ele | e_spv-BGR_0049 | solar resource in grid cell BGR_49 | GW | TWh | annual | no | BGR_49 | e_spv-BGR_0049 | elc_spv-BGR_0049 | 0.33975 | 0.144 | pre | distr_solelc_won-BGR_0031 | connecting solar and wind to buses in grid cell BGR_31 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0031 | elc_won-BGR_0031,elc_spv-BGR_0031 | e_BG64-400,e_BG65-400,e_BG66-400,e_w1287693974-220,e_w1287693974-400,e_w157660797-220,e_w157660797-400,e_w253244460-400 | 1 | BGR_31
ele | e_spv-BGR_0050 | solar resource in grid cell BGR_50 | GW | TWh | annual | no | BGR_50 | e_spv-BGR_0050 | elc_spv-BGR_0050 | 1.4092 | 0.144 | pre | distr_solelc_won-BGR_0029 | connecting solar and wind to buses in grid cell BGR_29 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0029 | elc_won-BGR_0029,elc_spv-BGR_0029 | e_w462198915-220 | 1 | BGR_29
ele | e_spv-BGR_0051 | solar resource in grid cell BGR_51 | GW | TWh | annual | no | BGR_51 | e_spv-BGR_0051 | elc_spv-BGR_0051 | 1.3702 | 0.144 | pre | distr_solelc_won-BGR_0039 | connecting solar and wind to buses in grid cell BGR_39 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0039 | elc_won-BGR_0039,elc_spv-BGR_0039 | e_BG39-220 | 1 | BGR_39
ele | e_spv-BGR_0052 | solar resource in grid cell BGR_52 | GW | TWh | annual | no | BGR_52 | e_spv-BGR_0052 | elc_spv-BGR_0052 | 0.00225 | 0.144 | pre | distr_solelc_won-BGR_0051 | connecting solar and wind to buses in grid cell BGR_51 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0051 | elc_won-BGR_0051,elc_spv-BGR_0051 | e_BG12-400 | 1 | BGR_51
ele | e_spv-BGR_0054 | solar resource in grid cell BGR_54 | GW | TWh | annual | no | BGR_54 | e_spv-BGR_0054 | elc_spv-BGR_0054 | 0.0075 | 0.146 | pre | distr_solelc_won-BGR_0055 | connecting solar and wind to buses in grid cell BGR_55 | GW | TWh | NRGI | daynite | no | distr_solelc_won-BGR_0055 | elc_won-BGR_0055,elc_spv-BGR_0055 | e_w261495737-220 | 1 | BGR_55
ele | e_spv-BGR_0055 | solar resource in grid cell BGR_55 | GW | TWh | annual | no | BGR_55 | e_spv-BGR_0055 | elc_spv-BGR_0055 | 1.1265 | 0.145
ele | e_spv-BGR_0056 | solar resource in grid cell BGR_56 | GW | TWh | annual | no | BGR_56 | e_spv-BGR_0056 | elc_spv-BGR_0056 | 3.105 | 0.144

## wind
~fi_process | [6 empty] | ~fi_t |  |  |  |  | ~fi_process | [6 empty] | ~fi_t
set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage | grid_cell | process | comm-out | cap_bnd | af~fx | set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage | grid_cell | process | comm-out | cap_bnd | af~fx
ele | e_won-BGR_0000 | wind resource in grid cell BGR_0 | GW | TWh | annual | no | BGR_0 | e_won-BGR_0000 | elc_won-BGR_0000 | 0.03375 | 0.197 | ele | e_wof-BGR_0000 | wind resource in grid cell BGR_0 | GW | TWh | annual | no | BGR_0 | e_wof-BGR_0000 | elc_wof-BGR_0000 | 0.00525 | 0.167
ele | e_won-BGR_0001 | wind resource in grid cell BGR_1 | GW | TWh | annual | no | BGR_1 | e_won-BGR_0001 | elc_won-BGR_0001 | 0.14025 | 0.227 | ele | e_wof-BGR_0002 | wind resource in grid cell BGR_2 | GW | TWh | annual | no | BGR_2 | e_wof-BGR_0002 | elc_wof-BGR_0002 | 3.7523 | 0.264
ele | e_won-BGR_0002 | wind resource in grid cell BGR_2 | GW | TWh | annual | no | BGR_2 | e_won-BGR_0002 | elc_won-BGR_0002 | 0.1035 | 0.187 | ele | e_wof-BGR_0003 | wind resource in grid cell BGR_3 | GW | TWh | annual | no | BGR_3 | e_wof-BGR_0003 | elc_wof-BGR_0003 | 4.023 | 0.29
ele | e_won-BGR_0003 | wind resource in grid cell BGR_3 | GW | TWh | annual | no | BGR_3 | e_won-BGR_0003 | elc_won-BGR_0003 | 0.2145 | 0.195 | ele | e_wof-BGR_0004 | wind resource in grid cell BGR_4 | GW | TWh | annual | no | BGR_4 | e_wof-BGR_0004 | elc_wof-BGR_0004 | 1.4917 | 0.313
ele | e_won-BGR_0004 | wind resource in grid cell BGR_4 | GW | TWh | annual | no | BGR_4 | e_won-BGR_0004 | elc_won-BGR_0004 | 0.06225 | 0.255 | ele | e_wof-BGR_0006 | wind resource in grid cell BGR_6 | GW | TWh | annual | no | BGR_6 | e_wof-BGR_0006 | elc_wof-BGR_0006 | 6.1342 | 0.301
ele | e_won-BGR_0005 | wind resource in grid cell BGR_5 | GW | TWh | annual | no | BGR_5 | e_won-BGR_0005 | elc_won-BGR_0005 | 0.43575 | 0.2 | ele | e_wof-BGR_0007 | wind resource in grid cell BGR_7 | GW | TWh | annual | no | BGR_7 | e_wof-BGR_0007 | elc_wof-BGR_0007 | 3.6795 | 0.303
ele | e_won-BGR_0006 | wind resource in grid cell BGR_6 | GW | TWh | annual | no | BGR_6 | e_won-BGR_0006 | elc_won-BGR_0006 | 0.07725 | 0.236 | ele | e_wof-BGR_0008 | wind resource in grid cell BGR_8 | GW | TWh | annual | no | BGR_8 | e_wof-BGR_0008 | elc_wof-BGR_0008 | 5.2538 | 0.319
ele | e_won-BGR_0007 | wind resource in grid cell BGR_7 | GW | TWh | annual | no | BGR_7 | e_won-BGR_0007 | elc_won-BGR_0007 | 0.13875 | 0.231 | ele | e_wof-BGR_0009 | wind resource in grid cell BGR_9 | GW | TWh | annual | no | BGR_9 | e_wof-BGR_0009 | elc_wof-BGR_0009 | 4.5038 | 0.331
ele | e_won-BGR_0008 | wind resource in grid cell BGR_8 | GW | TWh | annual | no | BGR_8 | e_won-BGR_0008 | elc_won-BGR_0008 | 0.05325 | 0.179 | ele | e_wof-BGR_0010 | wind resource in grid cell BGR_10 | GW | TWh | annual | no | BGR_10 | e_wof-BGR_0010 | elc_wof-BGR_0010 | 0.76725 | 0.339
ele | e_won-BGR_0009 | wind resource in grid cell BGR_9 | GW | TWh | annual | no | BGR_9 | e_won-BGR_0009 | elc_won-BGR_0009 | 0.147 | 0.225 | ele | e_wof-BGR_0011 | wind resource in grid cell BGR_11 | GW | TWh | annual | no | BGR_11 | e_wof-BGR_0011 | elc_wof-BGR_0011 | 0.0465 | 0.315
ele | e_won-BGR_0010 | wind resource in grid cell BGR_10 | GW | TWh | annual | no | BGR_10 | e_won-BGR_0010 | elc_won-BGR_0010 | 0.048 | 0.172 | ele | e_wof-BGR_0013 | wind resource in grid cell BGR_13 | GW | TWh | annual | no | BGR_13 | e_wof-BGR_0013 | elc_wof-BGR_0013 | 0.0255 | 0.325
ele | e_won-BGR_0011 | wind resource in grid cell BGR_11 | GW | TWh | annual | no | BGR_11 | e_won-BGR_0011 | elc_won-BGR_0011 | 1.1138 | 0.18 | ele | e_wof-BGR_0014 | wind resource in grid cell BGR_14 | GW | TWh | annual | no | BGR_14 | e_wof-BGR_0014 | elc_wof-BGR_0014 | 5.49 | 0.329
ele | e_won-BGR_0013 | wind resource in grid cell BGR_13 | GW | TWh | annual | no | BGR_13 | e_won-BGR_0013 | elc_won-BGR_0013 | 0.054 | 0.24 | ele | e_wof-BGR_0015 | wind resource in grid cell BGR_15 | GW | TWh | annual | no | BGR_15 | e_wof-BGR_0015 | elc_wof-BGR_0015 | 6.45 | 0.336
ele | e_won-BGR_0014 | wind resource in grid cell BGR_14 | GW | TWh | annual | no | BGR_14 | e_won-BGR_0014 | elc_won-BGR_0014 | 0.02325 | 0.187 | ele | e_wof-BGR_0018 | wind resource in grid cell BGR_18 | GW | TWh | annual | no | BGR_18 | e_wof-BGR_0018 | elc_wof-BGR_0018 | 2.3918 | 0.328
ele | e_won-BGR_0015 | wind resource in grid cell BGR_15 | GW | TWh | annual | no | BGR_15 | e_won-BGR_0015 | elc_won-BGR_0015 | 0.0045 | 0.234 | ele | e_wof-BGR_0019 | wind resource in grid cell BGR_19 | GW | TWh | annual | no | BGR_19 | e_wof-BGR_0019 | elc_wof-BGR_0019 | 7.4175 | 0.333
ele | e_won-BGR_0016 | wind resource in grid cell BGR_16 | GW | TWh | annual | no | BGR_16 | e_won-BGR_0016 | elc_won-BGR_0016 | 0.402 | 0.176 | ele | e_wof-BGR_0022 | wind resource in grid cell BGR_22 | GW | TWh | annual | no | BGR_22 | e_wof-BGR_0022 | elc_wof-BGR_0022 | 0.32475 | 0.324
ele | e_won-BGR_0017 | wind resource in grid cell BGR_17 | GW | TWh | annual | no | BGR_17 | e_won-BGR_0017 | elc_won-BGR_0017 | 1.3222 | 0.193 | ele | e_wof-BGR_0023 | wind resource in grid cell BGR_23 | GW | TWh | annual | no | BGR_23 | e_wof-BGR_0023 | elc_wof-BGR_0023 | 6.927 | 0.328
ele | e_won-BGR_0018 | wind resource in grid cell BGR_18 | GW | TWh | annual | no | BGR_18 | e_won-BGR_0018 | elc_won-BGR_0018 | 0.00825 | 0.196
ele | e_won-BGR_0020 | wind resource in grid cell BGR_20 | GW | TWh | annual | no | BGR_20 | e_won-BGR_0020 | elc_won-BGR_0020 | 0.00675 | 0.227
ele | e_won-BGR_0021 | wind resource in grid cell BGR_21 | GW | TWh | annual | no | BGR_21 | e_won-BGR_0021 | elc_won-BGR_0021 | 0.015 | 0.228
ele | e_won-BGR_0022 | wind resource in grid cell BGR_22 | GW | TWh | annual | no | BGR_22 | e_won-BGR_0022 | elc_won-BGR_0022 | 0.4275 | 0.181
ele | e_won-BGR_0023 | wind resource in grid cell BGR_23 | GW | TWh | annual | no | BGR_23 | e_won-BGR_0023 | elc_won-BGR_0023 | 2.8275 | 0.185
ele | e_won-BGR_0024 | wind resource in grid cell BGR_24 | GW | TWh | annual | no | BGR_24 | e_won-BGR_0024 | elc_won-BGR_0024 | 0.15675 | 0.197
ele | e_won-BGR_0025 | wind resource in grid cell BGR_25 | GW | TWh | annual | no | BGR_25 | e_won-BGR_0025 | elc_won-BGR_0025 | 0.018 | 0.185
ele | e_won-BGR_0026 | wind resource in grid cell BGR_26 | GW | TWh | annual | no | BGR_26 | e_won-BGR_0026 | elc_won-BGR_0026 | 0.02325 | 0.257
ele | e_won-BGR_0027 | wind resource in grid cell BGR_27 | GW | TWh | annual | no | BGR_27 | e_won-BGR_0027 | elc_won-BGR_0027 | 0.12225 | 0.18
ele | e_won-BGR_0028 | wind resource in grid cell BGR_28 | GW | TWh | annual | no | BGR_28 | e_won-BGR_0028 | elc_won-BGR_0028 | 0.705 | 0.178
ele | e_won-BGR_0029 | wind resource in grid cell BGR_29 | GW | TWh | annual | no | BGR_29 | e_won-BGR_0029 | elc_won-BGR_0029 | 3.6675 | 0.188
ele | e_won-BGR_0030 | wind resource in grid cell BGR_30 | GW | TWh | annual | no | BGR_30 | e_won-BGR_0030 | elc_won-BGR_0030 | 0.23175 | 0.199
ele | e_won-BGR_0031 | wind resource in grid cell BGR_31 | GW | TWh | annual | no | BGR_31 | e_won-BGR_0031 | elc_won-BGR_0031 | 0.09075 | 0.182
ele | e_won-BGR_0032 | wind resource in grid cell BGR_32 | GW | TWh | annual | no | BGR_32 | e_won-BGR_0032 | elc_won-BGR_0032 | 0.00975 | 0.186
ele | e_won-BGR_0033 | wind resource in grid cell BGR_33 | GW | TWh | annual | no | BGR_33 | e_won-BGR_0033 | elc_won-BGR_0033 | 0.0315 | 0.176
ele | e_won-BGR_0034 | wind resource in grid cell BGR_34 | GW | TWh | annual | no | BGR_34 | e_won-BGR_0034 | elc_won-BGR_0034 | 0.34575 | 0.181
ele | e_won-BGR_0035 | wind resource in grid cell BGR_35 | GW | TWh | annual | no | BGR_35 | e_won-BGR_0035 | elc_won-BGR_0035 | 3.165 | 0.187
ele | e_won-BGR_0036 | wind resource in grid cell BGR_36 | GW | TWh | annual | no | BGR_36 | e_won-BGR_0036 | elc_won-BGR_0036 | 1.6087 | 0.196
ele | e_won-BGR_0037 | wind resource in grid cell BGR_37 | GW | TWh | annual | no | BGR_37 | e_won-BGR_0037 | elc_won-BGR_0037 | 0.34275 | 0.206
ele | e_won-BGR_0038 | wind resource in grid cell BGR_38 | GW | TWh | annual | no | BGR_38 | e_won-BGR_0038 | elc_won-BGR_0038 | 0.05025 | 0.202
ele | e_won-BGR_0039 | wind resource in grid cell BGR_39 | GW | TWh | annual | no | BGR_39 | e_won-BGR_0039 | elc_won-BGR_0039 | 0.1215 | 0.209
ele | e_won-BGR_0040 | wind resource in grid cell BGR_40 | GW | TWh | annual | no | BGR_40 | e_won-BGR_0040 | elc_won-BGR_0040 | 0.36825 | 0.194
ele | e_won-BGR_0041 | wind resource in grid cell BGR_41 | GW | TWh | annual | no | BGR_41 | e_won-BGR_0041 | elc_won-BGR_0041 | 1.3965 | 0.203
ele | e_won-BGR_0042 | wind resource in grid cell BGR_42 | GW | TWh | annual | no | BGR_42 | e_won-BGR_0042 | elc_won-BGR_0042 | 0.44175 | 0.252
ele | e_won-BGR_0043 | wind resource in grid cell BGR_43 | GW | TWh | annual | no | BGR_43 | e_won-BGR_0043 | elc_won-BGR_0043 | 0.16275 | 0.198
ele | e_won-BGR_0044 | wind resource in grid cell BGR_44 | GW | TWh | annual | no | BGR_44 | e_won-BGR_0044 | elc_won-BGR_0044 | 0.18975 | 0.199
ele | e_won-BGR_0045 | wind resource in grid cell BGR_45 | GW | TWh | annual | no | BGR_45 | e_won-BGR_0045 | elc_won-BGR_0045 | 0.744 | 0.227
ele | e_won-BGR_0046 | wind resource in grid cell BGR_46 | GW | TWh | annual | no | BGR_46 | e_won-BGR_0046 | elc_won-BGR_0046 | 0.9405 | 0.233
ele | e_won-BGR_0047 | wind resource in grid cell BGR_47 | GW | TWh | annual | no | BGR_47 | e_won-BGR_0047 | elc_won-BGR_0047 | 0.0675 | 0.269
ele | e_won-BGR_0048 | wind resource in grid cell BGR_48 | GW | TWh | annual | no | BGR_48 | e_won-BGR_0048 | elc_won-BGR_0048 | 0.1095 | 0.208
ele | e_won-BGR_0049 | wind resource in grid cell BGR_49 | GW | TWh | annual | no | BGR_49 | e_won-BGR_0049 | elc_won-BGR_0049 | 0.33375 | 0.194
ele | e_won-BGR_0050 | wind resource in grid cell BGR_50 | GW | TWh | annual | no | BGR_50 | e_won-BGR_0050 | elc_won-BGR_0050 | 1.4888 | 0.249
ele | e_won-BGR_0051 | wind resource in grid cell BGR_51 | GW | TWh | annual | no | BGR_51 | e_won-BGR_0051 | elc_won-BGR_0051 | 1.4085 | 0.264
ele | e_won-BGR_0052 | wind resource in grid cell BGR_52 | GW | TWh | annual | no | BGR_52 | e_won-BGR_0052 | elc_won-BGR_0052 | 0.00225 | 0.197
ele | e_won-BGR_0053 | wind resource in grid cell BGR_53 | GW | TWh | annual | no | BGR_53 | e_won-BGR_0053 | elc_won-BGR_0053 | 0.00075 | 0.256
ele | e_won-BGR_0054 | wind resource in grid cell BGR_54 | GW | TWh | annual | no | BGR_54 | e_won-BGR_0054 | elc_won-BGR_0054 | 0.01425 | 0.23
ele | e_won-BGR_0055 | wind resource in grid cell BGR_55 | GW | TWh | annual | no | BGR_55 | e_won-BGR_0055 | elc_won-BGR_0055 | 1.1565 | 0.293
ele | e_won-BGR_0056 | wind resource in grid cell BGR_56 | GW | TWh | annual | no | BGR_56 | e_won-BGR_0056 | elc_won-BGR_0056 | 3.1117 | 0.287

## conventional
~fi_t | [6 empty] | ~fi_process
process | comm-in | comm-out | 2023 | 2030 | 2050 | attribute | set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage
Bioenergy + CCUS | bioenergy | ELC | 0.3 | 0.3 | 0.3 | efficiency | ele | Bioenergy + CCUS |  | GW | TWh | daynite | yes
Bioenergy + CCUS | bioenergy | ELC | 0.6 | 0.6 | 0.6 | ncap_af | ele | Bioenergy - Large scale unit |  | GW | TWh | daynite | yes
Bioenergy + CCUS | bioenergy | ELC | 5750 | 5700 | 5100 | ncap_cost | ele | CCGT |  | GW | TWh | daynite | yes
Bioenergy + CCUS | bioenergy | ELC | 200 | 200 | 175 | ncap_fom | ele | CCGT + CCS |  | GW | TWh | daynite | yes
Bioenergy + CCUS | bioenergy | ELC | 3 | 3 | 3 | ncap_iled | ele | Coal + CCS |  | GW | TWh | daynite | yes
Bioenergy - Large scale unit | bioenergy | ELC | 0.35 | 0.35 | 0.35 | efficiency | ele | Gas turbine |  | GW | TWh | daynite | yes
Bioenergy - Large scale unit | bioenergy | ELC | 0.6 | 0.6 | 0.6 | ncap_af | ele | Hydropower - large-scale unit |  | GW | TWh | daynite | yes
Bioenergy - Large scale unit | bioenergy | ELC | 2400 | 2350 | 2300 | ncap_cost | ele | IGCC |  | GW | TWh | daynite | yes
Bioenergy - Large scale unit | bioenergy | ELC | 85 | 85 | 80 | ncap_fom | ele | IGCC + CCS |  | GW | TWh | daynite | yes
Bioenergy - Large scale unit | bioenergy | ELC | 3 | 3 | 3 | ncap_iled | ele | Nuclear large |  | GW | TWh | daynite | yes
CCGT | gas | ELC | 0.59 | 0.6 | 0.61 | efficiency | ele | Oxyfuel + CCS |  | GW | TWh | daynite | yes
CCGT | gas | ELC | 1000 | 1000 | 1000 | ncap_cost | ele | Solar photovoltaics - Large scale unit |  | GW | TWh | daynite | yes
CCGT | gas | ELC | 25 | 25 | 25 | ncap_fom | ele | Steam Coal - SUBCRITICAL |  | GW | TWh | daynite | yes
CCGT + CCS | gas | ELC | 0.51 | 0.52 | 0.54 | efficiency | ele | Steam Coal - SUPERCRITICAL |  | GW | TWh | daynite | yes
CCGT + CCS | gas | ELC | 3100 | 3100 | 2400 | ncap_cost | ele | Steam Coal - ULTRASUPERCRITICAL |  | GW | TWh | daynite | yes
CCGT + CCS | gas | ELC | 75 | 75 | 60 | ncap_fom | ele | Wind offshore |  | GW | TWh | daynite | yes
Coal + CCS | coal | ELC | 0.37 | 0.38 | 0.39 | efficiency | ele | Wind onshore |  | GW | TWh | daynite | yes
Coal + CCS | coal | ELC | 5500 | 5500 | 4350 | ncap_cost
Coal + CCS | coal | ELC | 165 | 165 | 130 | ncap_fom
Gas turbine | gas | ELC | 0.4 | 0.41 | 0.42 | efficiency
Gas turbine | gas | ELC | 500 | 500 | 500 | ncap_cost
Gas turbine | gas | ELC | 20 | 20 | 20 | ncap_fom
Hydropower - large-scale unit | hydro | ELC | 1 | 1 | 1 | efficiency
Hydropower - large-scale unit | hydro | ELC | 0.35 | 0.35 | 0.35 | ncap_af
Hydropower - large-scale unit | hydro | ELC | 2650 | 2650 | 2650 | ncap_cost
Hydropower - large-scale unit | hydro | ELC | 65 | 65 | 65 | ncap_fom
Hydropower - large-scale unit | hydro | ELC | 4 | 4 | 4 | ncap_iled
IGCC | gas | ELC | 0.45 | 0.47 | 0.5 | efficiency
IGCC | gas | ELC | 2500 | 2350 | 2300 | ncap_cost
IGCC | gas | ELC | 95 | 85 | 80 | ncap_fom
IGCC + CCS | coal | ELC | 0.36 | 0.38 | 0.43 | efficiency
IGCC + CCS | coal | ELC | 5850 | 5700 | 5100 | ncap_cost
IGCC + CCS | coal | ELC | 205 | 200 | 180 | ncap_fom
Nuclear large | nuclear | ELC | 0.33 | 0.33 | 0.33 | efficiency
Nuclear large | nuclear | ELC | 6600 | 5100 | 4500 | ncap_cost
Nuclear large | nuclear | ELC | 165 | 165 | 160 | ncap_fom
Oxyfuel + CCS | coal | ELC | 0.37 | 0.38 | 0.39 | efficiency
Oxyfuel + CCS | coal | ELC | 5700 | 5700 | 5100 | ncap_cost
Oxyfuel + CCS | coal | ELC | 170 | 170 | 155 | ncap_fom
Solar photovoltaics - Large scale unit | solar | ELC | 1 | 1 | 1 | efficiency
Solar photovoltaics - Large scale unit | solar | ELC | 0.14 | 0.14 | 0.14 | ncap_af
Solar photovoltaics - Large scale unit | solar | ELC | 750 | 480 | 340 | ncap_cost
Solar photovoltaics - Large scale unit | solar | ELC | 12 | 10 | 10 | ncap_fom
Solar photovoltaics - Large scale unit | solar | ELC | 1.5 | 1.5 | 1.5 | ncap_iled
Steam Coal - SUBCRITICAL | coal | ELC | 0.39 | 0.39 | 0.39 | efficiency
Steam Coal - SUBCRITICAL | coal | ELC | 1700 | 1700 | 1700 | ncap_cost
Steam Coal - SUBCRITICAL | coal | ELC | 45 | 45 | 45 | ncap_fom
Steam Coal - SUPERCRITICAL | coal | ELC | 0.43 | 0.43 | 0.43 | efficiency
Steam Coal - SUPERCRITICAL | coal | ELC | 2000 | 2000 | 2000 | ncap_cost
Steam Coal - SUPERCRITICAL | coal | ELC | 60 | 60 | 60 | ncap_fom
Steam Coal - ULTRASUPERCRITICAL | coal | ELC | 0.46 | 0.46 | 0.48 | efficiency
Steam Coal - ULTRASUPERCRITICAL | coal | ELC | 2200 | 2200 | 2200 | ncap_cost
Steam Coal - ULTRASUPERCRITICAL | coal | ELC | 65 | 65 | 65 | ncap_fom
Wind offshore | unknown | ELC | 1 | 1 | 1 | efficiency
Wind offshore | unknown | ELC | 0.5 | 0.55 | 0.56 | ncap_af
Wind offshore | unknown | ELC | 3120 | 2280 | 1660 | ncap_cost
Wind offshore | unknown | ELC | 60 | 50 | 40 | ncap_fom
Wind offshore | unknown | ELC | 3 | 3 | 3 | ncap_iled
Wind onshore | unknown | ELC | 1 | 1 | 1 | efficiency
Wind onshore | unknown | ELC | 0.29 | 0.3 | 0.3 | ncap_af
Wind onshore | unknown | ELC | 1630 | 1550 | 1490 | ncap_cost
Wind onshore | unknown | ELC | 42 | 40 | 38 | ncap_fom
Wind onshore | unknown | ELC | 1.5 | 1.5 | 1.5 | ncap_iled

## grid_transformers
~fi_t |  |  |  | ~fi_process
process | comm-in | comm-out | efficiency | set | process | description | activityunit | capacityunit | timeslicelevel
stepdown_BG10_400to220 | e_BG10-400 | e_BG10-220 | 1 | pre | stepdown_BG10_400to220 | Transformer: e_BG10-400 → e_BG10-220 | TWh | GW | daynite
stepup_BG10_220to400 | e_BG10-220 | e_BG10-400 | 1 | pre | stepup_BG10_220to400 | Transformer: e_BG10-220 → e_BG10-400 | TWh | GW | daynite
stepdown_BG3_400to220 | e_BG3-400 | e_BG3-220 | 1 | pre | stepdown_BG3_400to220 | Transformer: e_BG3-400 → e_BG3-220 | TWh | GW | daynite
stepup_BG3_220to400 | e_BG3-220 | e_BG3-400 | 1 | pre | stepup_BG3_220to400 | Transformer: e_BG3-220 → e_BG3-400 | TWh | GW | daynite
stepdown_BG57_400to220 | e_BG57-400 | e_BG57-220 | 1 | pre | stepdown_BG57_400to220 | Transformer: e_BG57-400 → e_BG57-220 | TWh | GW | daynite
stepup_BG57_220to400 | e_BG57-220 | e_BG57-400 | 1 | pre | stepup_BG57_220to400 | Transformer: e_BG57-220 → e_BG57-400 | TWh | GW | daynite
stepdown_w1287693974_400to220 | e_w1287693974-400 | e_w1287693974-220 | 1 | pre | stepdown_w1287693974_400to220 | Transformer: e_w1287693974-400 → e_w1287693974-220 | TWh | GW | daynite
stepup_w1287693974_220to400 | e_w1287693974-220 | e_w1287693974-400 | 1 | pre | stepup_w1287693974_220to400 | Transformer: e_w1287693974-220 → e_w1287693974-400 | TWh | GW | daynite
stepdown_w144787750_400to220 | e_w144787750-400 | e_w144787750-220 | 1 | pre | stepdown_w144787750_400to220 | Transformer: e_w144787750-400 → e_w144787750-220 | TWh | GW | daynite
stepup_w144787750_220to400 | e_w144787750-220 | e_w144787750-400 | 1 | pre | stepup_w144787750_220to400 | Transformer: e_w144787750-220 → e_w144787750-400 | TWh | GW | daynite
stepdown_w157471230_400to220 | e_w157471230-400 | e_w157471230-220 | 1 | pre | stepdown_w157471230_400to220 | Transformer: e_w157471230-400 → e_w157471230-220 | TWh | GW | daynite
stepup_w157471230_220to400 | e_w157471230-220 | e_w157471230-400 | 1 | pre | stepup_w157471230_220to400 | Transformer: e_w157471230-220 → e_w157471230-400 | TWh | GW | daynite
stepdown_w157660797_400to220 | e_w157660797-400 | e_w157660797-220 | 1 | pre | stepdown_w157660797_400to220 | Transformer: e_w157660797-400 → e_w157660797-220 | TWh | GW | daynite
stepup_w157660797_220to400 | e_w157660797-220 | e_w157660797-400 | 1 | pre | stepup_w157660797_220to400 | Transformer: e_w157660797-220 → e_w157660797-400 | TWh | GW | daynite
stepdown_w179323117_400to220 | e_w179323117-400 | e_w179323117-220 | 1 | pre | stepdown_w179323117_400to220 | Transformer: e_w179323117-400 → e_w179323117-220 | TWh | GW | daynite
stepup_w179323117_220to400 | e_w179323117-220 | e_w179323117-400 | 1 | pre | stepup_w179323117_220to400 | Transformer: e_w179323117-220 → e_w179323117-400 | TWh | GW | daynite
stepdown_w200516868_400to220 | e_w200516868-400 | e_w200516868-220 | 1 | pre | stepdown_w200516868_400to220 | Transformer: e_w200516868-400 → e_w200516868-220 | TWh | GW | daynite
stepup_w200516868_220to400 | e_w200516868-220 | e_w200516868-400 | 1 | pre | stepup_w200516868_220to400 | Transformer: e_w200516868-220 → e_w200516868-400 | TWh | GW | daynite
stepdown_w37031322_400to220 | e_w37031322-400 | e_w37031322-220 | 1 | pre | stepdown_w37031322_400to220 | Transformer: e_w37031322-400 → e_w37031322-220 | TWh | GW | daynite
stepup_w37031322_220to400 | e_w37031322-220 | e_w37031322-400 | 1 | pre | stepup_w37031322_220to400 | Transformer: e_w37031322-220 → e_w37031322-400 | TWh | GW | daynite
stepdown_w37031469_400to220 | e_w37031469-400 | e_w37031469-220 | 1 | pre | stepdown_w37031469_400to220 | Transformer: e_w37031469-400 → e_w37031469-220 | TWh | GW | daynite
stepup_w37031469_220to400 | e_w37031469-220 | e_w37031469-400 | 1 | pre | stepup_w37031469_220to400 | Transformer: e_w37031469-220 → e_w37031469-400 | TWh | GW | daynite
stepdown_w96974919_400to220 | e_w96974919-400 | e_w96974919-220 | 1 | pre | stepdown_w96974919_400to220 | Transformer: e_w96974919-400 → e_w96974919-220 | TWh | GW | daynite
stepup_w96974919_220to400 | e_w96974919-220 | e_w96974919-400 | 1 | pre | stepup_w96974919_220to400 | Transformer: e_w96974919-220 → e_w96974919-400 | TWh | GW | daynite