## ev_charging_uc
ts_12t | day_night | ts_12t
| D | WaD,RaP,SaD,RaD,FaD,FaP,SaP,WaP
| N | FaP,SaP,RaP,FaN,WaP,SaN,WaN,RaN
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
~UC_T: LO
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | FaP,SaP,RaP,FaN,WaP,SaN,WaN,RaN | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | WaD,RaP,SaD,RaD,FaD,FaP,SaP,WaP | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1

## timeslice_def
~TimeSlices
ts_12t | season | weekly | daynite | wparent | dparent
| F | a | D | W,R,S,F | a
| R |  | N |  | a
| S |  | P |  | a
W

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_NOR_001 | FaD | 0.12349 | IMPNRGZ | elc_won_NOR_001 | FaD | 0.10827 | IMPNRGZ | elc_wof_NOR_001 | FaD | 0.1372 | IMPNRGZ
elc_spv_NOR_001 | FaN | 0 | IMPNRGZ | elc_won_NOR_001 | FaN | 0.10099 | IMPNRGZ | elc_wof_NOR_001 | FaN | 0.13399 | IMPNRGZ
elc_spv_NOR_001 | FaP | 0.0044035 | IMPNRGZ | elc_won_NOR_001 | FaP | 0.019036 | IMPNRGZ | elc_wof_NOR_001 | FaP | 0.025232 | IMPNRGZ
elc_spv_NOR_001 | RaD | 0.31328 | IMPNRGZ | elc_won_NOR_001 | RaD | 0.15531 | IMPNRGZ | elc_wof_NOR_001 | RaD | 0.10621 | IMPNRGZ
elc_spv_NOR_001 | RaN | 0.011278 | IMPNRGZ | elc_won_NOR_001 | RaN | 0.099103 | IMPNRGZ | elc_wof_NOR_001 | RaN | 0.10361 | IMPNRGZ
elc_spv_NOR_001 | RaP | 0.037331 | IMPNRGZ | elc_won_NOR_001 | RaP | 0.024039 | IMPNRGZ | elc_wof_NOR_001 | RaP | 0.019002 | IMPNRGZ
elc_spv_NOR_001 | SaD | 0.34535 | IMPNRGZ | elc_won_NOR_001 | SaD | 0.082558 | IMPNRGZ | elc_wof_NOR_001 | SaD | 0.092871 | IMPNRGZ
elc_spv_NOR_001 | SaN | 0.031696 | IMPNRGZ | elc_won_NOR_001 | SaN | 0.076195 | IMPNRGZ | elc_wof_NOR_001 | SaN | 0.090582 | IMPNRGZ
elc_spv_NOR_001 | SaP | 0.049978 | IMPNRGZ | elc_won_NOR_001 | SaP | 0.020004 | IMPNRGZ | elc_wof_NOR_001 | SaP | 0.016119 | IMPNRGZ
elc_spv_NOR_001 | WaD | 0.081771 | IMPNRGZ | elc_won_NOR_001 | WaD | 0.15062 | IMPNRGZ | elc_wof_NOR_001 | WaD | 0.12783 | IMPNRGZ
elc_spv_NOR_001 | WaN | 0 | IMPNRGZ | elc_won_NOR_001 | WaN | 0.13884 | IMPNRGZ | elc_wof_NOR_001 | WaN | 0.12443 | IMPNRGZ
elc_spv_NOR_001 | WaP | 0.0014201 | IMPNRGZ | elc_won_NOR_001 | WaP | 0.025018 | IMPNRGZ | elc_wof_NOR_001 | WaP | 0.022928 | IMPNRGZ
elc_spv_NOR_002 | FaD | 0.11702 | IMPNRGZ | elc_won_NOR_002 | FaD | 0.113 | IMPNRGZ | elc_wof_NOR_002 | FaD | 0.12706 | IMPNRGZ
elc_spv_NOR_002 | FaN | 0 | IMPNRGZ | elc_won_NOR_002 | FaN | 0.12121 | IMPNRGZ | elc_wof_NOR_002 | FaN | 0.1309 | IMPNRGZ
elc_spv_NOR_002 | FaP | 0.0048289 | IMPNRGZ | elc_won_NOR_002 | FaP | 0.020946 | IMPNRGZ | elc_wof_NOR_002 | FaP | 0.02436 | IMPNRGZ
elc_spv_NOR_002 | RaD | 0.32208 | IMPNRGZ | elc_won_NOR_002 | RaD | 0.13492 | IMPNRGZ | elc_wof_NOR_002 | RaD | 0.11385 | IMPNRGZ
elc_spv_NOR_002 | RaN | 0.012878 | IMPNRGZ | elc_won_NOR_002 | RaN | 0.11964 | IMPNRGZ | elc_wof_NOR_002 | RaN | 0.11847 | IMPNRGZ
elc_spv_NOR_002 | RaP | 0.040597 | IMPNRGZ | elc_won_NOR_002 | RaP | 0.022328 | IMPNRGZ | elc_wof_NOR_002 | RaP | 0.02163 | IMPNRGZ
elc_spv_NOR_002 | SaD | 0.35053 | IMPNRGZ | elc_won_NOR_002 | SaD | 0.082521 | IMPNRGZ | elc_wof_NOR_002 | SaD | 0.085222 | IMPNRGZ
elc_spv_NOR_002 | SaN | 0.033768 | IMPNRGZ | elc_won_NOR_002 | SaN | 0.066787 | IMPNRGZ | elc_wof_NOR_002 | SaN | 0.087898 | IMPNRGZ
elc_spv_NOR_002 | SaP | 0.049897 | IMPNRGZ | elc_won_NOR_002 | SaP | 0.017148 | IMPNRGZ | elc_wof_NOR_002 | SaP | 0.014828 | IMPNRGZ
elc_spv_NOR_002 | WaD | 0.066929 | IMPNRGZ | elc_won_NOR_002 | WaD | 0.13744 | IMPNRGZ | elc_wof_NOR_002 | WaD | 0.12765 | IMPNRGZ
elc_spv_NOR_002 | WaN | 0 | IMPNRGZ | elc_won_NOR_002 | WaN | 0.13924 | IMPNRGZ | elc_wof_NOR_002 | WaN | 0.12455 | IMPNRGZ
elc_spv_NOR_002 | WaP | 0.001485 | IMPNRGZ | elc_won_NOR_002 | WaP | 0.024817 | IMPNRGZ | elc_wof_NOR_002 | WaP | 0.023585 | IMPNRGZ
elc_spv_NOR_003 | FaD | 0.1202 | IMPNRGZ | elc_won_NOR_003 | FaD | 0.1047 | IMPNRGZ | elc_wof_NOR_003 | FaD | 0.13426 | IMPNRGZ
elc_spv_NOR_003 | FaN | 0 | IMPNRGZ | elc_won_NOR_003 | FaN | 0.1173 | IMPNRGZ | elc_wof_NOR_003 | FaN | 0.13669 | IMPNRGZ
elc_spv_NOR_003 | FaP | 0.0049533 | IMPNRGZ | elc_won_NOR_003 | FaP | 0.018918 | IMPNRGZ | elc_wof_NOR_003 | FaP | 0.024668 | IMPNRGZ
elc_spv_NOR_003 | RaD | 0.32762 | IMPNRGZ | elc_won_NOR_003 | RaD | 0.15573 | IMPNRGZ | elc_wof_NOR_003 | RaD | 0.10669 | IMPNRGZ
elc_spv_NOR_003 | RaN | 0.012139 | IMPNRGZ | elc_won_NOR_003 | RaN | 0.11517 | IMPNRGZ | elc_wof_NOR_003 | RaN | 0.11237 | IMPNRGZ
elc_spv_NOR_003 | RaP | 0.038723 | IMPNRGZ | elc_won_NOR_003 | RaP | 0.025023 | IMPNRGZ | elc_wof_NOR_003 | RaP | 0.019821 | IMPNRGZ
elc_spv_NOR_003 | SaD | 0.33357 | IMPNRGZ | elc_won_NOR_003 | SaD | 0.061101 | IMPNRGZ | elc_wof_NOR_003 | SaD | 0.08345 | IMPNRGZ
elc_spv_NOR_003 | SaN | 0.031405 | IMPNRGZ | elc_won_NOR_003 | SaN | 0.035902 | IMPNRGZ | elc_wof_NOR_003 | SaN | 0.089853 | IMPNRGZ
elc_spv_NOR_003 | SaP | 0.047658 | IMPNRGZ | elc_won_NOR_003 | SaP | 0.012644 | IMPNRGZ | elc_wof_NOR_003 | SaP | 0.014629 | IMPNRGZ
elc_spv_NOR_003 | WaD | 0.08223 | IMPNRGZ | elc_won_NOR_003 | WaD | 0.16957 | IMPNRGZ | elc_wof_NOR_003 | WaD | 0.13143 | IMPNRGZ
elc_spv_NOR_003 | WaN | 0 | IMPNRGZ | elc_won_NOR_003 | WaN | 0.15907 | IMPNRGZ | elc_wof_NOR_003 | WaN | 0.12216 | IMPNRGZ
elc_spv_NOR_003 | WaP | 0.0014976 | IMPNRGZ | elc_won_NOR_003 | WaP | 0.024868 | IMPNRGZ | elc_wof_NOR_003 | WaP | 0.023981 | IMPNRGZ
elc_spv_NOR_004 | FaD | 0.13382 | IMPNRGZ | elc_won_NOR_004 | FaD | 0.11102 | IMPNRGZ | elc_wof_NOR_004 | FaD | 0.14222 | IMPNRGZ
elc_spv_NOR_004 | FaN | 0.0010076 | IMPNRGZ | elc_won_NOR_004 | FaN | 0.11457 | IMPNRGZ | elc_wof_NOR_004 | FaN | 0.1357 | IMPNRGZ
elc_spv_NOR_004 | FaP | 0.012061 | IMPNRGZ | elc_won_NOR_004 | FaP | 0.021602 | IMPNRGZ | elc_wof_NOR_004 | FaP | 0.025215 | IMPNRGZ
elc_spv_NOR_004 | RaD | 0.2966 | IMPNRGZ | elc_won_NOR_004 | RaD | 0.13867 | IMPNRGZ | elc_wof_NOR_004 | RaD | 0.103 | IMPNRGZ
elc_spv_NOR_004 | RaN | 0.01763 | IMPNRGZ | elc_won_NOR_004 | RaN | 0.11401 | IMPNRGZ | elc_wof_NOR_004 | RaN | 0.096199 | IMPNRGZ
elc_spv_NOR_004 | RaP | 0.04407 | IMPNRGZ | elc_won_NOR_004 | RaP | 0.021871 | IMPNRGZ | elc_wof_NOR_004 | RaP | 0.018395 | IMPNRGZ
elc_spv_NOR_004 | SaD | 0.33169 | IMPNRGZ | elc_won_NOR_004 | SaD | 0.078332 | IMPNRGZ | elc_wof_NOR_004 | SaD | 0.080786 | IMPNRGZ
elc_spv_NOR_004 | SaN | 0.042301 | IMPNRGZ | elc_won_NOR_004 | SaN | 0.073782 | IMPNRGZ | elc_wof_NOR_004 | SaN | 0.071706 | IMPNRGZ
elc_spv_NOR_004 | SaP | 0.05493 | IMPNRGZ | elc_won_NOR_004 | SaP | 0.017265 | IMPNRGZ | elc_wof_NOR_004 | SaP | 0.013651 | IMPNRGZ
elc_spv_NOR_004 | WaD | 0.06344 | IMPNRGZ | elc_won_NOR_004 | WaD | 0.14514 | IMPNRGZ | elc_wof_NOR_004 | WaD | 0.14558 | IMPNRGZ
elc_spv_NOR_004 | WaN | 0 | IMPNRGZ | elc_won_NOR_004 | WaN | 0.13943 | IMPNRGZ | elc_wof_NOR_004 | WaN | 0.13994 | IMPNRGZ
elc_spv_NOR_004 | WaP | 0.0024571 | IMPNRGZ | elc_won_NOR_004 | WaP | 0.0243 | IMPNRGZ | elc_wof_NOR_004 | WaP | 0.027613 | IMPNRGZ
elc_spv_NOR_005 | FaD | 0.12801 | IMPNRGZ | elc_won_NOR_005 | FaD | 0.11402 | IMPNRGZ | elc_wof_NOR_005 | FaD | 0.14621 | IMPNRGZ
elc_spv_NOR_005 | FaN | 0.00098941 | IMPNRGZ | elc_won_NOR_005 | FaN | 0.10959 | IMPNRGZ | elc_wof_NOR_005 | FaN | 0.14504 | IMPNRGZ
elc_spv_NOR_005 | FaP | 0.012055 | IMPNRGZ | elc_won_NOR_005 | FaP | 0.020699 | IMPNRGZ | elc_wof_NOR_005 | FaP | 0.026854 | IMPNRGZ
elc_spv_NOR_005 | RaD | 0.31174 | IMPNRGZ | elc_won_NOR_005 | RaD | 0.13973 | IMPNRGZ | elc_wof_NOR_005 | RaD | 0.102 | IMPNRGZ
elc_spv_NOR_005 | RaN | 0.018198 | IMPNRGZ | elc_won_NOR_005 | RaN | 0.10382 | IMPNRGZ | elc_wof_NOR_005 | RaN | 0.10311 | IMPNRGZ
elc_spv_NOR_005 | RaP | 0.042611 | IMPNRGZ | elc_won_NOR_005 | RaP | 0.02225 | IMPNRGZ | elc_wof_NOR_005 | RaP | 0.01855 | IMPNRGZ
elc_spv_NOR_005 | SaD | 0.32973 | IMPNRGZ | elc_won_NOR_005 | SaD | 0.087091 | IMPNRGZ | elc_wof_NOR_005 | SaD | 0.070452 | IMPNRGZ
elc_spv_NOR_005 | SaN | 0.043246 | IMPNRGZ | elc_won_NOR_005 | SaN | 0.067406 | IMPNRGZ | elc_wof_NOR_005 | SaN | 0.070118 | IMPNRGZ
elc_spv_NOR_005 | SaP | 0.05059 | IMPNRGZ | elc_won_NOR_005 | SaP | 0.018288 | IMPNRGZ | elc_wof_NOR_005 | SaP | 0.013175 | IMPNRGZ
elc_spv_NOR_005 | WaD | 0.060725 | IMPNRGZ | elc_won_NOR_005 | WaD | 0.1542 | IMPNRGZ | elc_wof_NOR_005 | WaD | 0.13642 | IMPNRGZ
elc_spv_NOR_005 | WaN | 0 | IMPNRGZ | elc_won_NOR_005 | WaN | 0.13888 | IMPNRGZ | elc_wof_NOR_005 | WaN | 0.14278 | IMPNRGZ
elc_spv_NOR_005 | WaP | 0.0021085 | IMPNRGZ | elc_won_NOR_005 | WaP | 0.02403 | IMPNRGZ | elc_wof_NOR_005 | WaP | 0.025296 | IMPNRGZ
elc_spv_NOR_006 | FaD | 0.1332 | IMPNRGZ | elc_won_NOR_006 | FaD | 0.11052 | IMPNRGZ | elc_wof_NOR_006 | FaD | 0.13337 | IMPNRGZ
elc_spv_NOR_006 | FaN | 0.00016063 | IMPNRGZ | elc_won_NOR_006 | FaN | 0.12296 | IMPNRGZ | elc_wof_NOR_006 | FaN | 0.14106 | IMPNRGZ
elc_spv_NOR_006 | FaP | 0.0055228 | IMPNRGZ | elc_won_NOR_006 | FaP | 0.020544 | IMPNRGZ | elc_wof_NOR_006 | FaP | 0.025311 | IMPNRGZ
elc_spv_NOR_006 | RaD | 0.31862 | IMPNRGZ | elc_won_NOR_006 | RaD | 0.11828 | IMPNRGZ | elc_wof_NOR_006 | RaD | 0.10779 | IMPNRGZ
elc_spv_NOR_006 | RaN | 0.014307 | IMPNRGZ | elc_won_NOR_006 | RaN | 0.10952 | IMPNRGZ | elc_wof_NOR_006 | RaN | 0.11438 | IMPNRGZ
elc_spv_NOR_006 | RaP | 0.031499 | IMPNRGZ | elc_won_NOR_006 | RaP | 0.021839 | IMPNRGZ | elc_wof_NOR_006 | RaP | 0.02 | IMPNRGZ
elc_spv_NOR_006 | SaD | 0.34324 | IMPNRGZ | elc_won_NOR_006 | SaD | 0.088862 | IMPNRGZ | elc_wof_NOR_006 | SaD | 0.077377 | IMPNRGZ
elc_spv_NOR_006 | SaN | 0.040406 | IMPNRGZ | elc_won_NOR_006 | SaN | 0.088891 | IMPNRGZ | elc_wof_NOR_006 | SaN | 0.087054 | IMPNRGZ
elc_spv_NOR_006 | SaP | 0.044149 | IMPNRGZ | elc_won_NOR_006 | SaP | 0.020175 | IMPNRGZ | elc_wof_NOR_006 | SaP | 0.014744 | IMPNRGZ
elc_spv_NOR_006 | WaD | 0.068859 | IMPNRGZ | elc_won_NOR_006 | WaD | 0.1358 | IMPNRGZ | elc_wof_NOR_006 | WaD | 0.13437 | IMPNRGZ
elc_spv_NOR_006 | WaN | 0 | IMPNRGZ | elc_won_NOR_006 | WaN | 0.13755 | IMPNRGZ | elc_wof_NOR_006 | WaN | 0.12126 | IMPNRGZ
elc_spv_NOR_006 | WaP | 3.8799e-05 | IMPNRGZ | elc_won_NOR_006 | WaP | 0.02505 | IMPNRGZ | elc_wof_NOR_006 | WaP | 0.023285 | IMPNRGZ
elc_spv_NOR_007 | FaD | 0.13483 | IMPNRGZ | elc_won_NOR_007 | FaD | 0.11427 | IMPNRGZ | elc_wof_NOR_007 | FaD | 0.13471 | IMPNRGZ
elc_spv_NOR_007 | FaN | 1.6371e-06 | IMPNRGZ | elc_won_NOR_007 | FaN | 0.12199 | IMPNRGZ | elc_wof_NOR_007 | FaN | 0.13985 | IMPNRGZ
elc_spv_NOR_007 | FaP | 0.0057052 | IMPNRGZ | elc_won_NOR_007 | FaP | 0.021649 | IMPNRGZ | elc_wof_NOR_007 | FaP | 0.025533 | IMPNRGZ
elc_spv_NOR_007 | RaD | 0.30824 | IMPNRGZ | elc_won_NOR_007 | RaD | 0.11255 | IMPNRGZ | elc_wof_NOR_007 | RaD | 0.10982 | IMPNRGZ
elc_spv_NOR_007 | RaN | 0.012893 | IMPNRGZ | elc_won_NOR_007 | RaN | 0.11515 | IMPNRGZ | elc_wof_NOR_007 | RaN | 0.11571 | IMPNRGZ
elc_spv_NOR_007 | RaP | 0.032644 | IMPNRGZ | elc_won_NOR_007 | RaP | 0.021424 | IMPNRGZ | elc_wof_NOR_007 | RaP | 0.021407 | IMPNRGZ
elc_spv_NOR_007 | SaD | 0.34514 | IMPNRGZ | elc_won_NOR_007 | SaD | 0.10014 | IMPNRGZ | elc_wof_NOR_007 | SaD | 0.07928 | IMPNRGZ
elc_spv_NOR_007 | SaN | 0.039786 | IMPNRGZ | elc_won_NOR_007 | SaN | 0.098572 | IMPNRGZ | elc_wof_NOR_007 | SaN | 0.087118 | IMPNRGZ
elc_spv_NOR_007 | SaP | 0.046593 | IMPNRGZ | elc_won_NOR_007 | SaP | 0.02069 | IMPNRGZ | elc_wof_NOR_007 | SaP | 0.015409 | IMPNRGZ
elc_spv_NOR_007 | WaD | 0.073635 | IMPNRGZ | elc_won_NOR_007 | WaD | 0.12464 | IMPNRGZ | elc_wof_NOR_007 | WaD | 0.1284 | IMPNRGZ
elc_spv_NOR_007 | WaN | 0 | IMPNRGZ | elc_won_NOR_007 | WaN | 0.12613 | IMPNRGZ | elc_wof_NOR_007 | WaN | 0.12045 | IMPNRGZ
elc_spv_NOR_007 | WaP | 0.00052847 | IMPNRGZ | elc_won_NOR_007 | WaP | 0.022807 | IMPNRGZ | elc_wof_NOR_007 | WaP | 0.022311 | IMPNRGZ
elc_spv_NOR_008 | FaD | 0.12875 | IMPNRGZ | elc_won_NOR_008 | FaD | 0.10894 | IMPNRGZ | elc_wof_NOR_008 | FaD | 0.13697 | IMPNRGZ
elc_spv_NOR_008 | FaN | 0 | IMPNRGZ | elc_won_NOR_008 | FaN | 0.1156 | IMPNRGZ | elc_wof_NOR_008 | FaN | 0.13796 | IMPNRGZ
elc_spv_NOR_008 | FaP | 0.0050949 | IMPNRGZ | elc_won_NOR_008 | FaP | 0.02093 | IMPNRGZ | elc_wof_NOR_008 | FaP | 0.025301 | IMPNRGZ
elc_spv_NOR_008 | RaD | 0.30921 | IMPNRGZ | elc_won_NOR_008 | RaD | 0.12365 | IMPNRGZ | elc_wof_NOR_008 | RaD | 0.11314 | IMPNRGZ
elc_spv_NOR_008 | RaN | 0.011024 | IMPNRGZ | elc_won_NOR_008 | RaN | 0.12849 | IMPNRGZ | elc_wof_NOR_008 | RaN | 0.11695 | IMPNRGZ
elc_spv_NOR_008 | RaP | 0.03394 | IMPNRGZ | elc_won_NOR_008 | RaP | 0.022458 | IMPNRGZ | elc_wof_NOR_008 | RaP | 0.020998 | IMPNRGZ
elc_spv_NOR_008 | SaD | 0.34541 | IMPNRGZ | elc_won_NOR_008 | SaD | 0.064225 | IMPNRGZ | elc_wof_NOR_008 | SaD | 0.081229 | IMPNRGZ
elc_spv_NOR_008 | SaN | 0.037058 | IMPNRGZ | elc_won_NOR_008 | SaN | 0.080533 | IMPNRGZ | elc_wof_NOR_008 | SaN | 0.087087 | IMPNRGZ
elc_spv_NOR_008 | SaP | 0.050268 | IMPNRGZ | elc_won_NOR_008 | SaP | 0.015138 | IMPNRGZ | elc_wof_NOR_008 | SaP | 0.015863 | IMPNRGZ
elc_spv_NOR_008 | WaD | 0.078123 | IMPNRGZ | elc_won_NOR_008 | WaD | 0.14484 | IMPNRGZ | elc_wof_NOR_008 | WaD | 0.12243 | IMPNRGZ
elc_spv_NOR_008 | WaN | 0 | IMPNRGZ | elc_won_NOR_008 | WaN | 0.14941 | IMPNRGZ | elc_wof_NOR_008 | WaN | 0.11986 | IMPNRGZ
elc_spv_NOR_008 | WaP | 0.0011235 | IMPNRGZ | elc_won_NOR_008 | WaP | 0.025783 | IMPNRGZ | elc_wof_NOR_008 | WaP | 0.022215 | IMPNRGZ
elc_spv_NOR_009 | FaD | 0.1189 | IMPNRGZ | elc_won_NOR_009 | FaD | 0.11092 | IMPNRGZ | elc_wof_NOR_009 | FaD | 0.13725 | IMPNRGZ
elc_spv_NOR_009 | FaN | 0 | IMPNRGZ | elc_won_NOR_009 | FaN | 0.12101 | IMPNRGZ | elc_wof_NOR_009 | FaN | 0.14169 | IMPNRGZ
elc_spv_NOR_009 | FaP | 0.0047409 | IMPNRGZ | elc_won_NOR_009 | FaP | 0.021811 | IMPNRGZ | elc_wof_NOR_009 | FaP | 0.025396 | IMPNRGZ
elc_spv_NOR_009 | RaD | 0.34435 | IMPNRGZ | elc_won_NOR_009 | RaD | 0.12329 | IMPNRGZ | elc_wof_NOR_009 | RaD | 0.10778 | IMPNRGZ
elc_spv_NOR_009 | RaN | 0.010506 | IMPNRGZ | elc_won_NOR_009 | RaN | 0.12494 | IMPNRGZ | elc_wof_NOR_009 | RaN | 0.10989 | IMPNRGZ
elc_spv_NOR_009 | RaP | 0.037252 | IMPNRGZ | elc_won_NOR_009 | RaP | 0.021942 | IMPNRGZ | elc_wof_NOR_009 | RaP | 0.020744 | IMPNRGZ
elc_spv_NOR_009 | SaD | 0.31983 | IMPNRGZ | elc_won_NOR_009 | SaD | 0.068505 | IMPNRGZ | elc_wof_NOR_009 | SaD | 0.07569 | IMPNRGZ
elc_spv_NOR_009 | SaN | 0.032564 | IMPNRGZ | elc_won_NOR_009 | SaN | 0.083246 | IMPNRGZ | elc_wof_NOR_009 | SaN | 0.077429 | IMPNRGZ
elc_spv_NOR_009 | SaP | 0.044083 | IMPNRGZ | elc_won_NOR_009 | SaP | 0.015905 | IMPNRGZ | elc_wof_NOR_009 | SaP | 0.014717 | IMPNRGZ
elc_spv_NOR_009 | WaD | 0.086537 | IMPNRGZ | elc_won_NOR_009 | WaD | 0.14099 | IMPNRGZ | elc_wof_NOR_009 | WaD | 0.12897 | IMPNRGZ
elc_spv_NOR_009 | WaN | 0 | IMPNRGZ | elc_won_NOR_009 | WaN | 0.14228 | IMPNRGZ | elc_wof_NOR_009 | WaN | 0.13527 | IMPNRGZ
elc_spv_NOR_009 | WaP | 0.0012323 | IMPNRGZ | elc_won_NOR_009 | WaP | 0.025156 | IMPNRGZ | elc_wof_NOR_009 | WaP | 0.025161 | IMPNRGZ
elc_spv_NOR_010 | FaD | 0.12872 | IMPNRGZ | elc_won_NOR_010 | FaD | 0.11115 | IMPNRGZ | elc_wof_NOR_010 | FaD | 0.13619 | IMPNRGZ
elc_spv_NOR_010 | FaN | 0 | IMPNRGZ | elc_won_NOR_010 | FaN | 0.11811 | IMPNRGZ | elc_wof_NOR_010 | FaN | 0.13929 | IMPNRGZ
elc_spv_NOR_010 | FaP | 0.0053141 | IMPNRGZ | elc_won_NOR_010 | FaP | 0.021982 | IMPNRGZ | elc_wof_NOR_010 | FaP | 0.025095 | IMPNRGZ
elc_spv_NOR_010 | RaD | 0.32315 | IMPNRGZ | elc_won_NOR_010 | RaD | 0.1268 | IMPNRGZ | elc_wof_NOR_010 | RaD | 0.11417 | IMPNRGZ
elc_spv_NOR_010 | RaN | 0.011269 | IMPNRGZ | elc_won_NOR_010 | RaN | 0.11683 | IMPNRGZ | elc_wof_NOR_010 | RaN | 0.1159 | IMPNRGZ
elc_spv_NOR_010 | RaP | 0.034894 | IMPNRGZ | elc_won_NOR_010 | RaP | 0.021311 | IMPNRGZ | elc_wof_NOR_010 | RaP | 0.021278 | IMPNRGZ
elc_spv_NOR_010 | SaD | 0.33073 | IMPNRGZ | elc_won_NOR_010 | SaD | 0.087795 | IMPNRGZ | elc_wof_NOR_010 | SaD | 0.083472 | IMPNRGZ
elc_spv_NOR_010 | SaN | 0.037955 | IMPNRGZ | elc_won_NOR_010 | SaN | 0.087939 | IMPNRGZ | elc_wof_NOR_010 | SaN | 0.088027 | IMPNRGZ
elc_spv_NOR_010 | SaP | 0.044826 | IMPNRGZ | elc_won_NOR_010 | SaP | 0.018295 | IMPNRGZ | elc_wof_NOR_010 | SaP | 0.016313 | IMPNRGZ
elc_spv_NOR_010 | WaD | 0.082252 | IMPNRGZ | elc_won_NOR_010 | WaD | 0.13459 | IMPNRGZ | elc_wof_NOR_010 | WaD | 0.11658 | IMPNRGZ
elc_spv_NOR_010 | WaN | 0 | IMPNRGZ | elc_won_NOR_010 | WaN | 0.13194 | IMPNRGZ | elc_wof_NOR_010 | WaN | 0.12067 | IMPNRGZ
elc_spv_NOR_010 | WaP | 0.00088624 | IMPNRGZ | elc_won_NOR_010 | WaP | 0.023259 | IMPNRGZ | elc_wof_NOR_010 | WaP | 0.023011 | IMPNRGZ
[8 empty] | elc_wof_NOR_011 | FaD | 0.13024 | IMPNRGZ
[8 empty] | elc_wof_NOR_011 | FaN | 0.1238 | IMPNRGZ
[8 empty] | elc_wof_NOR_011 | FaP | 0.024197 | IMPNRGZ
[8 empty] | elc_wof_NOR_011 | RaD | 0.11335 | IMPNRGZ
[8 empty] | elc_wof_NOR_011 | RaN | 0.11354 | IMPNRGZ
[8 empty] | elc_wof_NOR_011 | RaP | 0.020344 | IMPNRGZ
[8 empty] | elc_wof_NOR_011 | SaD | 0.084713 | IMPNRGZ
[8 empty] | elc_wof_NOR_011 | SaN | 0.090428 | IMPNRGZ
[8 empty] | elc_wof_NOR_011 | SaP | 0.016216 | IMPNRGZ
[8 empty] | elc_wof_NOR_011 | WaD | 0.12709 | IMPNRGZ
[8 empty] | elc_wof_NOR_011 | WaN | 0.13311 | IMPNRGZ
[8 empty] | elc_wof_NOR_011 | WaP | 0.022982 | IMPNRGZ
[8 empty] | elc_wof_NOR_012 | FaD | 0.1291 | IMPNRGZ
[8 empty] | elc_wof_NOR_012 | FaN | 0.12594 | IMPNRGZ
[8 empty] | elc_wof_NOR_012 | FaP | 0.024749 | IMPNRGZ
[8 empty] | elc_wof_NOR_012 | RaD | 0.11211 | IMPNRGZ
[8 empty] | elc_wof_NOR_012 | RaN | 0.11036 | IMPNRGZ
[8 empty] | elc_wof_NOR_012 | RaP | 0.020339 | IMPNRGZ
[8 empty] | elc_wof_NOR_012 | SaD | 0.086405 | IMPNRGZ
[8 empty] | elc_wof_NOR_012 | SaN | 0.08852 | IMPNRGZ
[8 empty] | elc_wof_NOR_012 | SaP | 0.016597 | IMPNRGZ
[8 empty] | elc_wof_NOR_012 | WaD | 0.12634 | IMPNRGZ
[8 empty] | elc_wof_NOR_012 | WaN | 0.136 | IMPNRGZ
[8 empty] | elc_wof_NOR_012 | WaP | 0.02354 | IMPNRGZ
[8 empty] | elc_wof_NOR_013 | FaD | 0.13412 | IMPNRGZ
[8 empty] | elc_wof_NOR_013 | FaN | 0.13086 | IMPNRGZ
[8 empty] | elc_wof_NOR_013 | FaP | 0.025154 | IMPNRGZ
[8 empty] | elc_wof_NOR_013 | RaD | 0.11177 | IMPNRGZ
[8 empty] | elc_wof_NOR_013 | RaN | 0.11455 | IMPNRGZ
[8 empty] | elc_wof_NOR_013 | RaP | 0.020439 | IMPNRGZ
[8 empty] | elc_wof_NOR_013 | SaD | 0.080207 | IMPNRGZ
[8 empty] | elc_wof_NOR_013 | SaN | 0.0872 | IMPNRGZ
[8 empty] | elc_wof_NOR_013 | SaP | 0.015401 | IMPNRGZ
[8 empty] | elc_wof_NOR_013 | WaD | 0.12767 | IMPNRGZ
[8 empty] | elc_wof_NOR_013 | WaN | 0.12929 | IMPNRGZ
[8 empty] | elc_wof_NOR_013 | WaP | 0.023346 | IMPNRGZ
[8 empty] | elc_wof_NOR_014 | FaD | 0.1269 | IMPNRGZ
[8 empty] | elc_wof_NOR_014 | FaN | 0.12656 | IMPNRGZ
[8 empty] | elc_wof_NOR_014 | FaP | 0.024577 | IMPNRGZ
[8 empty] | elc_wof_NOR_014 | RaD | 0.11924 | IMPNRGZ
[8 empty] | elc_wof_NOR_014 | RaN | 0.117 | IMPNRGZ
[8 empty] | elc_wof_NOR_014 | RaP | 0.021341 | IMPNRGZ
[8 empty] | elc_wof_NOR_014 | SaD | 0.081092 | IMPNRGZ
[8 empty] | elc_wof_NOR_014 | SaN | 0.089083 | IMPNRGZ
[8 empty] | elc_wof_NOR_014 | SaP | 0.014987 | IMPNRGZ
[8 empty] | elc_wof_NOR_014 | WaD | 0.13114 | IMPNRGZ
[8 empty] | elc_wof_NOR_014 | WaN | 0.12567 | IMPNRGZ
[8 empty] | elc_wof_NOR_014 | WaP | 0.02241 | IMPNRGZ
[8 empty] | elc_wof_NOR_015 | FaD | 0.13128 | IMPNRGZ
[8 empty] | elc_wof_NOR_015 | FaN | 0.13122 | IMPNRGZ
[8 empty] | elc_wof_NOR_015 | FaP | 0.025098 | IMPNRGZ
[8 empty] | elc_wof_NOR_015 | RaD | 0.11564 | IMPNRGZ
[8 empty] | elc_wof_NOR_015 | RaN | 0.11775 | IMPNRGZ
[8 empty] | elc_wof_NOR_015 | RaP | 0.021427 | IMPNRGZ
[8 empty] | elc_wof_NOR_015 | SaD | 0.077905 | IMPNRGZ
[8 empty] | elc_wof_NOR_015 | SaN | 0.086118 | IMPNRGZ
[8 empty] | elc_wof_NOR_015 | SaP | 0.014334 | IMPNRGZ
[8 empty] | elc_wof_NOR_015 | WaD | 0.13092 | IMPNRGZ
[8 empty] | elc_wof_NOR_015 | WaN | 0.12503 | IMPNRGZ
[8 empty] | elc_wof_NOR_015 | WaP | 0.023278 | IMPNRGZ
[8 empty] | elc_wof_NOR_016 | FaD | 0.12276 | IMPNRGZ
[8 empty] | elc_wof_NOR_016 | FaN | 0.12587 | IMPNRGZ
[8 empty] | elc_wof_NOR_016 | FaP | 0.022049 | IMPNRGZ
[8 empty] | elc_wof_NOR_016 | RaD | 0.098482 | IMPNRGZ
[8 empty] | elc_wof_NOR_016 | RaN | 0.11002 | IMPNRGZ
[8 empty] | elc_wof_NOR_016 | RaP | 0.017765 | IMPNRGZ
[8 empty] | elc_wof_NOR_016 | SaD | 0.10024 | IMPNRGZ
[8 empty] | elc_wof_NOR_016 | SaN | 0.099019 | IMPNRGZ
[8 empty] | elc_wof_NOR_016 | SaP | 0.018455 | IMPNRGZ
[8 empty] | elc_wof_NOR_016 | WaD | 0.13063 | IMPNRGZ
[8 empty] | elc_wof_NOR_016 | WaN | 0.1313 | IMPNRGZ
[8 empty] | elc_wof_NOR_016 | WaP | 0.023407 | IMPNRGZ
[8 empty] | elc_wof_NOR_017 | FaD | 0.12695 | IMPNRGZ
[8 empty] | elc_wof_NOR_017 | FaN | 0.13094 | IMPNRGZ
[8 empty] | elc_wof_NOR_017 | FaP | 0.023832 | IMPNRGZ
[8 empty] | elc_wof_NOR_017 | RaD | 0.095518 | IMPNRGZ
[8 empty] | elc_wof_NOR_017 | RaN | 0.10704 | IMPNRGZ
[8 empty] | elc_wof_NOR_017 | RaP | 0.017937 | IMPNRGZ
[8 empty] | elc_wof_NOR_017 | SaD | 0.10241 | IMPNRGZ
[8 empty] | elc_wof_NOR_017 | SaN | 0.098553 | IMPNRGZ
[8 empty] | elc_wof_NOR_017 | SaP | 0.018511 | IMPNRGZ
[8 empty] | elc_wof_NOR_017 | WaD | 0.12596 | IMPNRGZ
[8 empty] | elc_wof_NOR_017 | WaN | 0.12956 | IMPNRGZ
[8 empty] | elc_wof_NOR_017 | WaP | 0.02279 | IMPNRGZ
[8 empty] | elc_wof_NOR_018 | FaD | 0.11221 | IMPNRGZ
[8 empty] | elc_wof_NOR_018 | FaN | 0.1211 | IMPNRGZ
[8 empty] | elc_wof_NOR_018 | FaP | 0.021962 | IMPNRGZ
[8 empty] | elc_wof_NOR_018 | RaD | 0.11904 | IMPNRGZ
[8 empty] | elc_wof_NOR_018 | RaN | 0.12075 | IMPNRGZ
[8 empty] | elc_wof_NOR_018 | RaP | 0.022421 | IMPNRGZ
[8 empty] | elc_wof_NOR_018 | SaD | 0.071845 | IMPNRGZ
[8 empty] | elc_wof_NOR_018 | SaN | 0.088098 | IMPNRGZ
[8 empty] | elc_wof_NOR_018 | SaP | 0.017486 | IMPNRGZ
[8 empty] | elc_wof_NOR_018 | WaD | 0.14108 | IMPNRGZ
[8 empty] | elc_wof_NOR_018 | WaN | 0.13865 | IMPNRGZ
[8 empty] | elc_wof_NOR_018 | WaP | 0.025362 | IMPNRGZ
[8 empty] | elc_wof_NOR_019 | FaD | 0.11246 | IMPNRGZ
[8 empty] | elc_wof_NOR_019 | FaN | 0.11772 | IMPNRGZ
[8 empty] | elc_wof_NOR_019 | FaP | 0.02174 | IMPNRGZ
[8 empty] | elc_wof_NOR_019 | RaD | 0.12386 | IMPNRGZ
[8 empty] | elc_wof_NOR_019 | RaN | 0.11424 | IMPNRGZ
[8 empty] | elc_wof_NOR_019 | RaP | 0.022005 | IMPNRGZ
[8 empty] | elc_wof_NOR_019 | SaD | 0.084934 | IMPNRGZ
[8 empty] | elc_wof_NOR_019 | SaN | 0.093667 | IMPNRGZ
[8 empty] | elc_wof_NOR_019 | SaP | 0.018884 | IMPNRGZ
[8 empty] | elc_wof_NOR_019 | WaD | 0.13703 | IMPNRGZ
[8 empty] | elc_wof_NOR_019 | WaN | 0.1291 | IMPNRGZ
[8 empty] | elc_wof_NOR_019 | WaP | 0.02435 | IMPNRGZ
[8 empty] | elc_wof_NOR_020 | FaD | 0.1121 | IMPNRGZ
[8 empty] | elc_wof_NOR_020 | FaN | 0.11888 | IMPNRGZ
[8 empty] | elc_wof_NOR_020 | FaP | 0.022117 | IMPNRGZ
[8 empty] | elc_wof_NOR_020 | RaD | 0.12273 | IMPNRGZ
[8 empty] | elc_wof_NOR_020 | RaN | 0.11621 | IMPNRGZ
[8 empty] | elc_wof_NOR_020 | RaP | 0.021508 | IMPNRGZ
[8 empty] | elc_wof_NOR_020 | SaD | 0.09164 | IMPNRGZ
[8 empty] | elc_wof_NOR_020 | SaN | 0.09152 | IMPNRGZ
[8 empty] | elc_wof_NOR_020 | SaP | 0.018991 | IMPNRGZ
[8 empty] | elc_wof_NOR_020 | WaD | 0.13176 | IMPNRGZ
[8 empty] | elc_wof_NOR_020 | WaN | 0.12978 | IMPNRGZ
[8 empty] | elc_wof_NOR_020 | WaP | 0.022766 | IMPNRGZ
[8 empty] | elc_wof_NOR_021 | FaD | 0.11758 | IMPNRGZ
[8 empty] | elc_wof_NOR_021 | FaN | 0.12157 | IMPNRGZ
[8 empty] | elc_wof_NOR_021 | FaP | 0.022274 | IMPNRGZ
[8 empty] | elc_wof_NOR_021 | RaD | 0.12071 | IMPNRGZ
[8 empty] | elc_wof_NOR_021 | RaN | 0.12049 | IMPNRGZ
[8 empty] | elc_wof_NOR_021 | RaP | 0.021678 | IMPNRGZ
[8 empty] | elc_wof_NOR_021 | SaD | 0.093319 | IMPNRGZ
[8 empty] | elc_wof_NOR_021 | SaN | 0.092071 | IMPNRGZ
[8 empty] | elc_wof_NOR_021 | SaP | 0.017504 | IMPNRGZ
[8 empty] | elc_wof_NOR_021 | WaD | 0.12535 | IMPNRGZ
[8 empty] | elc_wof_NOR_021 | WaN | 0.12504 | IMPNRGZ
[8 empty] | elc_wof_NOR_021 | WaP | 0.022415 | IMPNRGZ
[8 empty] | elc_wof_NOR_022 | FaD | 0.12507 | IMPNRGZ
[8 empty] | elc_wof_NOR_022 | FaN | 0.12993 | IMPNRGZ
[8 empty] | elc_wof_NOR_022 | FaP | 0.023509 | IMPNRGZ
[8 empty] | elc_wof_NOR_022 | RaD | 0.11334 | IMPNRGZ
[8 empty] | elc_wof_NOR_022 | RaN | 0.11619 | IMPNRGZ
[8 empty] | elc_wof_NOR_022 | RaP | 0.019656 | IMPNRGZ
[8 empty] | elc_wof_NOR_022 | SaD | 0.089594 | IMPNRGZ
[8 empty] | elc_wof_NOR_022 | SaN | 0.082308 | IMPNRGZ
[8 empty] | elc_wof_NOR_022 | SaP | 0.016133 | IMPNRGZ
[8 empty] | elc_wof_NOR_022 | WaD | 0.13056 | IMPNRGZ
[8 empty] | elc_wof_NOR_022 | WaN | 0.13066 | IMPNRGZ
[8 empty] | elc_wof_NOR_022 | WaP | 0.023052 | IMPNRGZ
[8 empty] | elc_wof_NOR_023 | FaD | 0.11705 | IMPNRGZ
[8 empty] | elc_wof_NOR_023 | FaN | 0.1247 | IMPNRGZ
[8 empty] | elc_wof_NOR_023 | FaP | 0.021882 | IMPNRGZ
[8 empty] | elc_wof_NOR_023 | RaD | 0.10795 | IMPNRGZ
[8 empty] | elc_wof_NOR_023 | RaN | 0.10759 | IMPNRGZ
[8 empty] | elc_wof_NOR_023 | RaP | 0.020392 | IMPNRGZ
[8 empty] | elc_wof_NOR_023 | SaD | 0.092192 | IMPNRGZ
[8 empty] | elc_wof_NOR_023 | SaN | 0.097972 | IMPNRGZ
[8 empty] | elc_wof_NOR_023 | SaP | 0.019617 | IMPNRGZ
[8 empty] | elc_wof_NOR_023 | WaD | 0.13287 | IMPNRGZ
[8 empty] | elc_wof_NOR_023 | WaN | 0.13354 | IMPNRGZ
[8 empty] | elc_wof_NOR_023 | WaP | 0.024241 | IMPNRGZ
[8 empty] | elc_wof_NOR_024 | FaD | 0.12209 | IMPNRGZ
[8 empty] | elc_wof_NOR_024 | FaN | 0.12715 | IMPNRGZ
[8 empty] | elc_wof_NOR_024 | FaP | 0.023159 | IMPNRGZ
[8 empty] | elc_wof_NOR_024 | RaD | 0.10743 | IMPNRGZ
[8 empty] | elc_wof_NOR_024 | RaN | 0.11385 | IMPNRGZ
[8 empty] | elc_wof_NOR_024 | RaP | 0.019376 | IMPNRGZ
[8 empty] | elc_wof_NOR_024 | SaD | 0.095635 | IMPNRGZ
[8 empty] | elc_wof_NOR_024 | SaN | 0.09443 | IMPNRGZ
[8 empty] | elc_wof_NOR_024 | SaP | 0.018655 | IMPNRGZ
[8 empty] | elc_wof_NOR_024 | WaD | 0.128 | IMPNRGZ
[8 empty] | elc_wof_NOR_024 | WaN | 0.12742 | IMPNRGZ
[8 empty] | elc_wof_NOR_024 | WaP | 0.022797 | IMPNRGZ
[8 empty] | elc_wof_NOR_025 | FaD | 0.14414 | IMPNRGZ
[8 empty] | elc_wof_NOR_025 | FaN | 0.145 | IMPNRGZ
[8 empty] | elc_wof_NOR_025 | FaP | 0.025653 | IMPNRGZ
[8 empty] | elc_wof_NOR_025 | RaD | 0.097369 | IMPNRGZ
[8 empty] | elc_wof_NOR_025 | RaN | 0.10922 | IMPNRGZ
[8 empty] | elc_wof_NOR_025 | RaP | 0.020334 | IMPNRGZ
[8 empty] | elc_wof_NOR_025 | SaD | 0.080514 | IMPNRGZ
[8 empty] | elc_wof_NOR_025 | SaN | 0.077555 | IMPNRGZ
[8 empty] | elc_wof_NOR_025 | SaP | 0.016161 | IMPNRGZ
[8 empty] | elc_wof_NOR_025 | WaD | 0.12536 | IMPNRGZ
[8 empty] | elc_wof_NOR_025 | WaN | 0.13443 | IMPNRGZ
[8 empty] | elc_wof_NOR_025 | WaP | 0.024259 | IMPNRGZ
[8 empty] | elc_wof_NOR_026 | FaD | 0.14116 | IMPNRGZ
[8 empty] | elc_wof_NOR_026 | FaN | 0.14135 | IMPNRGZ
[8 empty] | elc_wof_NOR_026 | FaP | 0.025318 | IMPNRGZ
[8 empty] | elc_wof_NOR_026 | RaD | 0.10538 | IMPNRGZ
[8 empty] | elc_wof_NOR_026 | RaN | 0.11251 | IMPNRGZ
[8 empty] | elc_wof_NOR_026 | RaP | 0.021553 | IMPNRGZ
[8 empty] | elc_wof_NOR_026 | SaD | 0.083041 | IMPNRGZ
[8 empty] | elc_wof_NOR_026 | SaN | 0.08577 | IMPNRGZ
[8 empty] | elc_wof_NOR_026 | SaP | 0.017009 | IMPNRGZ
[8 empty] | elc_wof_NOR_026 | WaD | 0.11694 | IMPNRGZ
[8 empty] | elc_wof_NOR_026 | WaN | 0.12633 | IMPNRGZ
[8 empty] | elc_wof_NOR_026 | WaP | 0.023637 | IMPNRGZ
[8 empty] | elc_wof_NOR_027 | FaD | 0.1309 | IMPNRGZ
[8 empty] | elc_wof_NOR_027 | FaN | 0.14271 | IMPNRGZ
[8 empty] | elc_wof_NOR_027 | FaP | 0.023953 | IMPNRGZ
[8 empty] | elc_wof_NOR_027 | RaD | 0.10307 | IMPNRGZ
[8 empty] | elc_wof_NOR_027 | RaN | 0.10769 | IMPNRGZ
[8 empty] | elc_wof_NOR_027 | RaP | 0.019277 | IMPNRGZ
[8 empty] | elc_wof_NOR_027 | SaD | 0.092524 | IMPNRGZ
[8 empty] | elc_wof_NOR_027 | SaN | 0.090634 | IMPNRGZ
[8 empty] | elc_wof_NOR_027 | SaP | 0.016894 | IMPNRGZ
[8 empty] | elc_wof_NOR_027 | WaD | 0.12532 | IMPNRGZ
[8 empty] | elc_wof_NOR_027 | WaN | 0.12443 | IMPNRGZ
[8 empty] | elc_wof_NOR_027 | WaP | 0.022599 | IMPNRGZ
[8 empty] | elc_wof_NOR_028 | FaD | 0.13616 | IMPNRGZ
[8 empty] | elc_wof_NOR_028 | FaN | 0.14106 | IMPNRGZ
[8 empty] | elc_wof_NOR_028 | FaP | 0.024058 | IMPNRGZ
[8 empty] | elc_wof_NOR_028 | RaD | 0.10222 | IMPNRGZ
[8 empty] | elc_wof_NOR_028 | RaN | 0.11684 | IMPNRGZ
[8 empty] | elc_wof_NOR_028 | RaP | 0.020428 | IMPNRGZ
[8 empty] | elc_wof_NOR_028 | SaD | 0.090273 | IMPNRGZ
[8 empty] | elc_wof_NOR_028 | SaN | 0.093041 | IMPNRGZ
[8 empty] | elc_wof_NOR_028 | SaP | 0.017706 | IMPNRGZ
[8 empty] | elc_wof_NOR_028 | WaD | 0.11284 | IMPNRGZ
[8 empty] | elc_wof_NOR_028 | WaN | 0.12297 | IMPNRGZ
[8 empty] | elc_wof_NOR_028 | WaP | 0.02241 | IMPNRGZ
[8 empty] | elc_wof_NOR_029 | FaD | 0.13491 | IMPNRGZ
[8 empty] | elc_wof_NOR_029 | FaN | 0.1437 | IMPNRGZ
[8 empty] | elc_wof_NOR_029 | FaP | 0.024645 | IMPNRGZ
[8 empty] | elc_wof_NOR_029 | RaD | 0.1048 | IMPNRGZ
[8 empty] | elc_wof_NOR_029 | RaN | 0.11279 | IMPNRGZ
[8 empty] | elc_wof_NOR_029 | RaP | 0.020359 | IMPNRGZ
[8 empty] | elc_wof_NOR_029 | SaD | 0.090437 | IMPNRGZ
[8 empty] | elc_wof_NOR_029 | SaN | 0.092379 | IMPNRGZ
[8 empty] | elc_wof_NOR_029 | SaP | 0.017137 | IMPNRGZ
[8 empty] | elc_wof_NOR_029 | WaD | 0.11972 | IMPNRGZ
[8 empty] | elc_wof_NOR_029 | WaN | 0.11718 | IMPNRGZ
[8 empty] | elc_wof_NOR_029 | WaP | 0.021957 | IMPNRGZ
[8 empty] | elc_wof_NOR_030 | FaD | 0.13385 | IMPNRGZ
[8 empty] | elc_wof_NOR_030 | FaN | 0.13255 | IMPNRGZ
[8 empty] | elc_wof_NOR_030 | FaP | 0.024154 | IMPNRGZ
[8 empty] | elc_wof_NOR_030 | RaD | 0.10979 | IMPNRGZ
[8 empty] | elc_wof_NOR_030 | RaN | 0.11068 | IMPNRGZ
[8 empty] | elc_wof_NOR_030 | RaP | 0.019698 | IMPNRGZ
[8 empty] | elc_wof_NOR_030 | SaD | 0.092183 | IMPNRGZ
[8 empty] | elc_wof_NOR_030 | SaN | 0.094989 | IMPNRGZ
[8 empty] | elc_wof_NOR_030 | SaP | 0.017205 | IMPNRGZ
[8 empty] | elc_wof_NOR_030 | WaD | 0.12716 | IMPNRGZ
[8 empty] | elc_wof_NOR_030 | WaN | 0.11616 | IMPNRGZ
[8 empty] | elc_wof_NOR_030 | WaP | 0.021586 | IMPNRGZ
[8 empty] | elc_wof_NOR_031 | FaD | 0.12607 | IMPNRGZ
[8 empty] | elc_wof_NOR_031 | FaN | 0.1199 | IMPNRGZ
[8 empty] | elc_wof_NOR_031 | FaP | 0.022476 | IMPNRGZ
[8 empty] | elc_wof_NOR_031 | RaD | 0.11045 | IMPNRGZ
[8 empty] | elc_wof_NOR_031 | RaN | 0.11252 | IMPNRGZ
[8 empty] | elc_wof_NOR_031 | RaP | 0.019283 | IMPNRGZ
[8 empty] | elc_wof_NOR_031 | SaD | 0.091955 | IMPNRGZ
[8 empty] | elc_wof_NOR_031 | SaN | 0.091443 | IMPNRGZ
[8 empty] | elc_wof_NOR_031 | SaP | 0.016729 | IMPNRGZ
[8 empty] | elc_wof_NOR_031 | WaD | 0.13523 | IMPNRGZ
[8 empty] | elc_wof_NOR_031 | WaN | 0.13064 | IMPNRGZ
[8 empty] | elc_wof_NOR_031 | WaP | 0.023314 | IMPNRGZ
[8 empty] | elc_wof_NOR_032 | FaD | 0.12728 | IMPNRGZ
[8 empty] | elc_wof_NOR_032 | FaN | 0.12902 | IMPNRGZ
[8 empty] | elc_wof_NOR_032 | FaP | 0.022698 | IMPNRGZ
[8 empty] | elc_wof_NOR_032 | RaD | 0.10829 | IMPNRGZ
[8 empty] | elc_wof_NOR_032 | RaN | 0.11152 | IMPNRGZ
[8 empty] | elc_wof_NOR_032 | RaP | 0.019912 | IMPNRGZ
[8 empty] | elc_wof_NOR_032 | SaD | 0.090041 | IMPNRGZ
[8 empty] | elc_wof_NOR_032 | SaN | 0.090377 | IMPNRGZ
[8 empty] | elc_wof_NOR_032 | SaP | 0.016592 | IMPNRGZ
[8 empty] | elc_wof_NOR_032 | WaD | 0.13448 | IMPNRGZ
[8 empty] | elc_wof_NOR_032 | WaN | 0.12681 | IMPNRGZ
[8 empty] | elc_wof_NOR_032 | WaP | 0.022988 | IMPNRGZ
[8 empty] | elc_wof_NOR_033 | FaD | 0.12004 | IMPNRGZ
[8 empty] | elc_wof_NOR_033 | FaN | 0.11205 | IMPNRGZ
[8 empty] | elc_wof_NOR_033 | FaP | 0.020306 | IMPNRGZ
[8 empty] | elc_wof_NOR_033 | RaD | 0.10553 | IMPNRGZ
[8 empty] | elc_wof_NOR_033 | RaN | 0.10919 | IMPNRGZ
[8 empty] | elc_wof_NOR_033 | RaP | 0.019391 | IMPNRGZ
[8 empty] | elc_wof_NOR_033 | SaD | 0.092665 | IMPNRGZ
[8 empty] | elc_wof_NOR_033 | SaN | 0.096919 | IMPNRGZ
[8 empty] | elc_wof_NOR_033 | SaP | 0.016364 | IMPNRGZ
[8 empty] | elc_wof_NOR_033 | WaD | 0.1416 | IMPNRGZ
[8 empty] | elc_wof_NOR_033 | WaN | 0.13998 | IMPNRGZ
[8 empty] | elc_wof_NOR_033 | WaP | 0.02596 | IMPNRGZ
[8 empty] | elc_wof_NOR_034 | FaD | 0.1267 | IMPNRGZ
[8 empty] | elc_wof_NOR_034 | FaN | 0.11997 | IMPNRGZ
[8 empty] | elc_wof_NOR_034 | FaP | 0.021835 | IMPNRGZ
[8 empty] | elc_wof_NOR_034 | RaD | 0.10707 | IMPNRGZ
[8 empty] | elc_wof_NOR_034 | RaN | 0.10696 | IMPNRGZ
[8 empty] | elc_wof_NOR_034 | RaP | 0.019327 | IMPNRGZ
[8 empty] | elc_wof_NOR_034 | SaD | 0.095709 | IMPNRGZ
[8 empty] | elc_wof_NOR_034 | SaN | 0.0987 | IMPNRGZ
[8 empty] | elc_wof_NOR_034 | SaP | 0.017692 | IMPNRGZ
[8 empty] | elc_wof_NOR_034 | WaD | 0.13267 | IMPNRGZ
[8 empty] | elc_wof_NOR_034 | WaN | 0.13011 | IMPNRGZ
[8 empty] | elc_wof_NOR_034 | WaP | 0.023254 | IMPNRGZ
[8 empty] | elc_wof_NOR_035 | FaD | 0.12102 | IMPNRGZ
[8 empty] | elc_wof_NOR_035 | FaN | 0.12375 | IMPNRGZ
[8 empty] | elc_wof_NOR_035 | FaP | 0.021409 | IMPNRGZ
[8 empty] | elc_wof_NOR_035 | RaD | 0.09645 | IMPNRGZ
[8 empty] | elc_wof_NOR_035 | RaN | 0.10246 | IMPNRGZ
[8 empty] | elc_wof_NOR_035 | RaP | 0.017291 | IMPNRGZ
[8 empty] | elc_wof_NOR_035 | SaD | 0.10449 | IMPNRGZ
[8 empty] | elc_wof_NOR_035 | SaN | 0.10478 | IMPNRGZ
[8 empty] | elc_wof_NOR_035 | SaP | 0.019124 | IMPNRGZ
[8 empty] | elc_wof_NOR_035 | WaD | 0.13073 | IMPNRGZ
[8 empty] | elc_wof_NOR_035 | WaN | 0.13438 | IMPNRGZ
[8 empty] | elc_wof_NOR_035 | WaP | 0.024104 | IMPNRGZ
[8 empty] | elc_wof_NOR_036 | FaD | 0.11887 | IMPNRGZ
[8 empty] | elc_wof_NOR_036 | FaN | 0.1164 | IMPNRGZ
[8 empty] | elc_wof_NOR_036 | FaP | 0.020967 | IMPNRGZ
[8 empty] | elc_wof_NOR_036 | RaD | 0.099311 | IMPNRGZ
[8 empty] | elc_wof_NOR_036 | RaN | 0.10574 | IMPNRGZ
[8 empty] | elc_wof_NOR_036 | RaP | 0.018862 | IMPNRGZ
[8 empty] | elc_wof_NOR_036 | SaD | 0.10156 | IMPNRGZ
[8 empty] | elc_wof_NOR_036 | SaN | 0.10526 | IMPNRGZ
[8 empty] | elc_wof_NOR_036 | SaP | 0.019125 | IMPNRGZ
[8 empty] | elc_wof_NOR_036 | WaD | 0.13443 | IMPNRGZ
[8 empty] | elc_wof_NOR_036 | WaN | 0.13446 | IMPNRGZ
[8 empty] | elc_wof_NOR_036 | WaP | 0.025008 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT | [13 empty] | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX | [13 empty] | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX | [13 empty] | ~TFM_DINS-TSL: attribute=NCAP_PKCNT | [12 empty] | ~TFM_DINS-AT
process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | other_indexes | ncap_com
distr_solelc_spv_NOR_001 | DEF_E | 0 | 0.55485 | 0.94438 | 0.88041 | 0.24612 | 0.30744 | 0.7458 | 0.18237 | 0.21048 | 0 | 0.3961 | 0.74352 | distr_sol* | ELC4H | 0 | 0.21124 | 0.0042061 | 0.38583 | 0.063209 | 0.0084385 | 0.27177 | 0.033912 | 0.0021386 | 0.14896 | 0.12346 | 0.02558 | distr_sol* | ELC8H | 0 | 0.13577 | 0.80713 | 0.045922 | 0.047184 | 0.020634 | 0.026965 | 0.036219 | 0.019558 | 0 | 0.098247 | 0.15457 | distr_solelc_spv_NOR_001 | 0 | 0.10593 | 0.010118 | 0.014293 | 0.39701 | 0.26019 | 0.040167 | 0.43765 | 0.34834 | 0 | 0.15821 | 0.03103 | distr_solelc_spv_NOR_001 | DEF_C | OUT | 0.43473
distr_solelc_spv_NOR_002 | DEF_E | 0 | 0.58229 | 0.9449 | 0.87651 | 0.23425 | 0.30342 | 0.72891 | 0.18285 | 0.22852 | 0 | 0.42292 | 0.76295 | distr_won* | ELC4H | 0.0097155 | 0.0030881 | 0.0023604 | 0.0048959 | 0.02143 | 0 | 0.0016055 | 0.01974 | 0.0033482 | 0.01172 | 0.012651 | 0.0079971 | distr_won* | ELC8H | 0.015441 | 0.023328 | 0.027216 | 0.0085022 | 0.043129 | 0.040058 | 0.011161 | 0.039099 | 0.035873 | 0.027575 | 0.037017 | 0.063299 | distr_solelc_spv_NOR_002 | 0 | 0.088134 | 0.010755 | 0.01659 | 0.4149 | 0.28763 | 0.0435 | 0.45155 | 0.35353 | 0 | 0.1524 | 0.034589 | distr_solelc_spv_NOR_002 | DEF_C | OUT | 0.44534
distr_solelc_spv_NOR_003 | DEF_E | 0 | 0.59541 | 0.95 | 0.87757 | 0.24049 | 0.30895 | 0.73249 | 0.19998 | 0.23313 | 0 | 0.43401 | 0.76612 | distr_wof* | ELC4H | 0.0011939 | 0.0011974 | 0 | 0.00073974 | 0.00025655 | 0 | 0.00095153 | 0.0022676 | 0.002105 | 0.0012715 | 0.00083928 | 0.00050863 | distr_wof* | ELC8H | 0.0032683 | 0.0048804 | 0.0039044 | 0.0048914 | 0.0025424 | 0.0032026 | 0.0064051 | 0.0077684 | 0.010701 | 0.005173 | 0.0039186 | 0.0039411 | distr_solelc_spv_NOR_003 | 0 | 0.102 | 0.010216 | 0.01473 | 0.39754 | 0.25843 | 0.038107 | 0.40475 | 0.31806 | 0 | 0.14745 | 0.03342 | distr_solelc_spv_NOR_003 | DEF_C | OUT | 0.40323
distr_solelc_spv_NOR_004 | DEF_E | 0 | 0.55736 | 0.88586 | 0.8639 | 0.2365 | 0.22742 | 0.71942 | 0.16612 | 0.17439 | 0.98801 | 0.41911 | 0.61028 | [28 empty] | distr_solelc_spv_NOR_004 | 0 | 0.08751 | 0.018641 | 0.02379 | 0.40023 | 0.32708 | 0.057082 | 0.44759 | 0.40768 | 0.0013746 | 0.18256 | 0.090497 | distr_solelc_spv_NOR_004 | DEF_C | OUT | 0.44668
distr_solelc_spv_NOR_005 | DEF_E | 0 | 0.579 | 0.89124 | 0.85974 | 0.24519 | 0.23956 | 0.71466 | 0.19333 | 0.20108 | 0.98801 | 0.44993 | 0.61902 | [28 empty] | distr_solelc_spv_NOR_005 | 0 | 0.077809 | 0.01486 | 0.02281 | 0.39076 | 0.29376 | 0.054208 | 0.41331 | 0.34877 | 0.0012538 | 0.16222 | 0.084023 | distr_solelc_spv_NOR_005 | DEF_C | OUT | 0.41296
distr_solelc_spv_NOR_006 | DEF_E | 0 | 0.53993 | 0.99444 | 0.87742 | 0.22054 | 0.32867 | 0.71369 | 0.1667 | 0.22279 | 0.997 | 0.40502 | 0.78078 | [28 empty] | distr_solelc_spv_NOR_006 | 0 | 0.090955 | 0.00028187 | 0.018487 | 0.41171 | 0.22386 | 0.052212 | 0.44353 | 0.31376 | 0.00020985 | 0.17401 | 0.039682 | distr_solelc_spv_NOR_006 | DEF_C | OUT | 0.43438
distr_solelc_spv_NOR_007 | DEF_E | 0 | 0.52551 | 0.97611 | 0.88157 | 0.23632 | 0.33739 | 0.72297 | 0.15771 | 0.19201 | 0.999 | 0.38617 | 0.75752 | [28 empty] | distr_solelc_spv_NOR_007 | 0 | 0.10108 | 0.0039899 | 0.017313 | 0.41393 | 0.2411 | 0.053427 | 0.46347 | 0.34412 | 2.2226e-06 | 0.18305 | 0.0426 | distr_solelc_spv_NOR_007 | DEF_C | OUT | 0.46213
distr_solelc_spv_NOR_008 | DEF_E | 0 | 0.53169 | 0.96111 | 0.8839 | 0.24112 | 0.33782 | 0.7464 | 0.1743 | 0.19826 | 0 | 0.39392 | 0.75325 | [28 empty] | distr_solelc_spv_NOR_008 | 0 | 0.10564 | 0.0083561 | 0.014583 | 0.40905 | 0.24694 | 0.049024 | 0.45694 | 0.36574 | 0 | 0.17219 | 0.037477 | distr_solelc_spv_NOR_008 | DEF_C | OUT | 0.45406
distr_solelc_spv_NOR_009 | DEF_E | 0 | 0.55402 | 0.96667 | 0.88194 | 0.23176 | 0.33101 | 0.74395 | 0.20998 | 0.21457 | 0 | 0.42957 | 0.78379 | [28 empty] | distr_solelc_spv_NOR_009 | 0 | 0.11437 | 0.0089576 | 0.013582 | 0.44521 | 0.2649 | 0.042102 | 0.4135 | 0.31347 | 0 | 0.15542 | 0.034082 | distr_solelc_spv_NOR_009 | DEF_C | OUT | 0.44521
distr_solelc_spv_NOR_010 | DEF_E | 0 | 0.52643 | 0.97222 | 0.88372 | 0.23677 | 0.3317 | 0.73546 | 0.19627 | 0.21225 | 0 | 0.40798 | 0.76487 | [28 empty] | distr_solelc_spv_NOR_010 | 0 | 0.11049 | 0.0065476 | 0.014808 | 0.42464 | 0.2522 | 0.049876 | 0.43461 | 0.32397 | 0 | 0.17101 | 0.03883 | distr_solelc_spv_NOR_010 | DEF_C | OUT | 0.43377
distr_wofelc_wof_NOR_001 | DEF_E | 0.29294 | 0.27547 | 0.29747 | 0.33129 | 0.33753 | 0.34107 | 0.34501 | 0.37824 | 0.36995 | 0.26861 | 0.25536 | 0.25246 | [28 empty] | distr_wofelc_wof_NOR_001 | 0.54866 | 0.56366 | 0.55605 | 0.44693 | 0.45817 | 0.45082 | 0.39074 | 0.40062 | 0.38242 | 0.58435 | 0.59835 | 0.60523 | distr_wonelc_won_NOR_001 | DEF_C | OUT | 0.13529
distr_wofelc_wof_NOR_002 | DEF_E | 0.31396 | 0.29633 | 0.29804 | 0.33241 | 0.32717 | 0.3176 | 0.38753 | 0.43379 | 0.42484 | 0.28511 | 0.29425 | 0.28288 | [28 empty] | distr_wofelc_wof_NOR_002 | 0.55555 | 0.5694 | 0.5786 | 0.51697 | 0.49679 | 0.5191 | 0.38355 | 0.37188 | 0.35586 | 0.57746 | 0.56052 | 0.59105 | distr_wonelc_won_NOR_002 | DEF_C | OUT | 0.34706
distr_wofelc_wof_NOR_003 | DEF_E | 0.30421 | 0.2934 | 0.3002 | 0.32678 | 0.33463 | 0.31225 | 0.37539 | 0.41315 | 0.37395 | 0.25849 | 0.26725 | 0.27425 | [28 empty] | distr_wofelc_wof_NOR_003 | 0.52433 | 0.5641 | 0.56611 | 0.47184 | 0.44799 | 0.45773 | 0.37728 | 0.35039 | 0.33783 | 0.58023 | 0.56992 | 0.57592 | distr_wonelc_won_NOR_003 | DEF_C | OUT | 0.16206
distr_wofelc_wof_NOR_004 | DEF_E | 0.43243 | 0.42695 | 0.42925 | 0.43346 | 0.4145 | 0.43565 | 0.5009 | 0.50782 | 0.48021 | 0.36533 | 0.39782 | 0.38019 | [28 empty] | distr_wofelc_wof_NOR_004 | 0.27286 | 0.28387 | 0.29614 | 0.1835 | 0.19647 | 0.19298 | 0.13678 | 0.1541 | 0.14322 | 0.26169 | 0.27426 | 0.26744 | distr_wonelc_won_NOR_004 | DEF_C | OUT | 0.32571
distr_wofelc_wof_NOR_005 | DEF_E | 0.34118 | 0.34567 | 0.35878 | 0.37728 | 0.39144 | 0.38056 | 0.40787 | 0.42526 | 0.39669 | 0.30969 | 0.31972 | 0.31039 | [28 empty] | distr_wofelc_wof_NOR_005 | 0.44366 | 0.42389 | 0.43232 | 0.31344 | 0.31007 | 0.31014 | 0.21315 | 0.21416 | 0.22028 | 0.44574 | 0.44933 | 0.45391 | distr_wonelc_won_NOR_005 | DEF_C | OUT | 0.25143
distr_wofelc_wof_NOR_006 | DEF_E | 0.31163 | 0.28512 | 0.30552 | 0.30663 | 0.31594 | 0.32251 | 0.39895 | 0.42365 | 0.37899 | 0.25213 | 0.25816 | 0.25056 | [28 empty] | distr_wofelc_wof_NOR_006 | 0.51121 | 0.56645 | 0.53988 | 0.47172 | 0.44452 | 0.45365 | 0.35901 | 0.3191 | 0.33442 | 0.58812 | 0.55604 | 0.58042 | distr_wonelc_won_NOR_006 | DEF_C | OUT | 0.36535
distr_wofelc_wof_NOR_007 | DEF_E | 0.30867 | 0.30329 | 0.31141 | 0.31717 | 0.32571 | 0.31064 | 0.38378 | 0.40841 | 0.3759 | 0.25268 | 0.25904 | 0.25907 | [28 empty] | distr_wofelc_wof_NOR_007 | 0.52886 | 0.56375 | 0.53878 | 0.49702 | 0.47169 | 0.50571 | 0.37419 | 0.34052 | 0.36401 | 0.6073 | 0.58496 | 0.60981 | distr_wonelc_won_NOR_007 | DEF_C | OUT | 0.54062
distr_wofelc_wof_NOR_008 | DEF_E | 0.30249 | 0.32161 | 0.3017 | 0.28981 | 0.3011 | 0.30457 | 0.37301 | 0.38459 | 0.37489 | 0.24449 | 0.24371 | 0.24543 | [28 empty] | distr_wofelc_wof_NOR_008 | 0.54177 | 0.55339 | 0.55229 | 0.51714 | 0.50031 | 0.51067 | 0.38509 | 0.35919 | 0.3858 | 0.61676 | 0.61234 | 0.6221 | distr_wonelc_won_NOR_008 | DEF_C | OUT | 0.29164
distr_wofelc_wof_NOR_009 | DEF_E | 0.37432 | 0.38167 | 0.39105 | 0.35356 | 0.38911 | 0.36412 | 0.49509 | 0.49517 | 0.48575 | 0.33303 | 0.34506 | 0.35598 | [28 empty] | distr_wofelc_wof_NOR_009 | 0.44258 | 0.42195 | 0.45276 | 0.35172 | 0.34498 | 0.36517 | 0.24782 | 0.24225 | 0.25906 | 0.45848 | 0.44412 | 0.45196 | distr_wonelc_won_NOR_009 | DEF_C | OUT | 0.43987
distr_wofelc_wof_NOR_010 | DEF_E | 0.34188 | 0.38053 | 0.34909 | 0.31355 | 0.32371 | 0.31025 | 0.38378 | 0.41722 | 0.41061 | 0.27171 | 0.28277 | 0.2848 | [28 empty] | distr_wofelc_wof_NOR_010 | 0.50042 | 0.48347 | 0.52484 | 0.4702 | 0.46317 | 0.47475 | 0.35711 | 0.33863 | 0.36397 | 0.57127 | 0.55856 | 0.56609 | distr_wonelc_won_NOR_010 | DEF_C | OUT | 0.53192
distr_wofelc_wof_NOR_011 | DEF_E | 0.24788 | 0.26079 | 0.27606 | 0.3167 | 0.32844 | 0.31977 | 0.37369 | 0.35291 | 0.39079 | 0.28509 | 0.27446 | 0.2511 | [28 empty] | distr_wofelc_wof_NOR_011 | 0.63165 | 0.60308 | 0.59981 | 0.52704 | 0.52616 | 0.51942 | 0.41977 | 0.39324 | 0.41402 | 0.58099 | 0.6112 | 0.62458 | distr_wofelc_wof_NOR_001 | DEF_C | OUT | 0.59576
distr_wofelc_wof_NOR_012 | DEF_E | 0.22041 | 0.24549 | 0.22857 | 0.29915 | 0.29256 | 0.30904 | 0.3504 | 0.34388 | 0.36589 | 0.26674 | 0.26447 | 0.23077 | [28 empty] | distr_wofelc_wof_NOR_012 | 0.67056 | 0.62294 | 0.63836 | 0.53229 | 0.54075 | 0.53956 | 0.42696 | 0.41676 | 0.44029 | 0.61411 | 0.62954 | 0.66377 | distr_wofelc_wof_NOR_002 | DEF_C | OUT | 0.58826
distr_wofelc_wof_NOR_013 | DEF_E | 0.25652 | 0.26998 | 0.25542 | 0.31697 | 0.33115 | 0.34322 | 0.37251 | 0.36368 | 0.3841 | 0.25559 | 0.24891 | 0.22509 | [28 empty] | distr_wofelc_wof_NOR_013 | 0.61457 | 0.60684 | 0.61033 | 0.53265 | 0.51973 | 0.52271 | 0.40548 | 0.37296 | 0.39387 | 0.61516 | 0.63049 | 0.65038 | distr_wofelc_wof_NOR_003 | DEF_C | OUT | 0.57791
distr_wofelc_wof_NOR_014 | DEF_E | 0.27573 | 0.27221 | 0.28311 | 0.3062 | 0.31434 | 0.32048 | 0.39117 | 0.36613 | 0.38983 | 0.27959 | 0.27175 | 0.24203 | [28 empty] | distr_wofelc_wof_NOR_014 | 0.58629 | 0.6118 | 0.57504 | 0.53397 | 0.5442 | 0.5357 | 0.40657 | 0.3701 | 0.37619 | 0.58398 | 0.58553 | 0.62371 | distr_wofelc_wof_NOR_004 | DEF_C | OUT | 0.29614
distr_wofelc_wof_NOR_015 | DEF_E | 0.27051 | 0.26581 | 0.28187 | 0.31867 | 0.31136 | 0.30846 | 0.37787 | 0.408 | 0.38316 | 0.26089 | 0.25951 | 0.25024 | [28 empty] | distr_wofelc_wof_NOR_015 | 0.57207 | 0.59904 | 0.58581 | 0.52707 | 0.51762 | 0.5275 | 0.38547 | 0.34871 | 0.35289 | 0.59381 | 0.59406 | 0.62467 | distr_wofelc_wof_NOR_005 | DEF_C | OUT | 0.45391
distr_wofelc_wof_NOR_016 | DEF_E | 0.27108 | 0.26625 | 0.28576 | 0.33507 | 0.37343 | 0.36218 | 0.35435 | 0.34063 | 0.35905 | 0.26018 | 0.2724 | 0.2782 | [28 empty] | distr_wofelc_wof_NOR_016 | 0.64529 | 0.642 | 0.6327 | 0.52896 | 0.47347 | 0.46975 | 0.47605 | 0.4819 | 0.48799 | 0.61179 | 0.59667 | 0.58944 | distr_wofelc_wof_NOR_006 | DEF_C | OUT | 0.58364
distr_wofelc_wof_NOR_017 | DEF_E | 0.28235 | 0.28788 | 0.29647 | 0.34867 | 0.36455 | 0.35549 | 0.33233 | 0.32538 | 0.34179 | 0.2592 | 0.25665 | 0.2595 | [28 empty] | distr_wofelc_wof_NOR_017 | 0.60609 | 0.58925 | 0.58638 | 0.48987 | 0.43713 | 0.45147 | 0.45102 | 0.46868 | 0.46594 | 0.60583 | 0.58734 | 0.60645 | distr_wofelc_wof_NOR_007 | DEF_C | OUT | 0.60787
distr_wofelc_wof_NOR_018 | DEF_E | 0.33614 | 0.32141 | 0.31793 | 0.33782 | 0.35456 | 0.35942 | 0.38239 | 0.40887 | 0.36437 | 0.36562 | 0.4003 | 0.36564 | [28 empty] | distr_wofelc_wof_NOR_018 | 0.46991 | 0.47812 | 0.47275 | 0.40033 | 0.39467 | 0.40884 | 0.29208 | 0.23819 | 0.31885 | 0.40591 | 0.3761 | 0.40488 | distr_wofelc_wof_NOR_008 | DEF_C | OUT | 0.6221
distr_wofelc_wof_NOR_019 | DEF_E | 0.28204 | 0.24354 | 0.25158 | 0.30821 | 0.28802 | 0.31121 | 0.31925 | 0.33191 | 0.3076 | 0.30175 | 0.31511 | 0.28108 | [28 empty] | distr_wofelc_wof_NOR_019 | 0.58601 | 0.622 | 0.60789 | 0.50728 | 0.55 | 0.53742 | 0.41592 | 0.37714 | 0.46119 | 0.52849 | 0.50486 | 0.53678 | distr_wofelc_wof_NOR_009 | DEF_C | OUT | 0.45848
distr_wofelc_wof_NOR_020 | DEF_E | 0.26265 | 0.25869 | 0.26268 | 0.31751 | 0.30628 | 0.31068 | 0.33671 | 0.32233 | 0.31375 | 0.29557 | 0.30482 | 0.29175 | [28 empty] | distr_wofelc_wof_NOR_020 | 0.56978 | 0.57847 | 0.54973 | 0.49911 | 0.52711 | 0.50805 | 0.39307 | 0.39358 | 0.4486 | 0.51619 | 0.48675 | 0.52819 | distr_wofelc_wof_NOR_010 | DEF_C | OUT | 0.56925
distr_wofelc_wof_NOR_021 | DEF_E | 0.22085 | 0.22185 | 0.22875 | 0.24357 | 0.2479 | 0.25577 | 0.29677 | 0.28586 | 0.27296 | 0.22996 | 0.24072 | 0.22421 | [28 empty] | distr_wofelc_wof_NOR_021 | 0.67004 | 0.67174 | 0.66064 | 0.63164 | 0.63282 | 0.62503 | 0.48266 | 0.48921 | 0.50468 | 0.6443 | 0.62314 | 0.64928 | distr_wofelc_wof_NOR_011 | DEF_C | OUT | 0.63165
distr_wofelc_wof_NOR_022 | DEF_E | 0.25864 | 0.25982 | 0.26413 | 0.27292 | 0.29107 | 0.3023 | 0.32519 | 0.31468 | 0.32134 | 0.24747 | 0.25965 | 0.24538 | [28 empty] | distr_wofelc_wof_NOR_022 | 0.65345 | 0.65295 | 0.63408 | 0.56846 | 0.55453 | 0.52892 | 0.40269 | 0.43834 | 0.43411 | 0.64268 | 0.61863 | 0.63955 | distr_wofelc_wof_NOR_012 | DEF_C | OUT | 0.67056
distr_wofelc_wof_NOR_023 | DEF_E | 0.38063 | 0.37638 | 0.37666 | 0.39531 | 0.41721 | 0.36466 | 0.39429 | 0.37379 | 0.36219 | 0.33715 | 0.35226 | 0.34585 | [28 empty] | distr_wofelc_wof_NOR_023 | 0.46397 | 0.46165 | 0.46324 | 0.36569 | 0.36692 | 0.38122 | 0.333 | 0.31335 | 0.36672 | 0.42852 | 0.40221 | 0.41356 | distr_wofelc_wof_NOR_013 | DEF_C | OUT | 0.6488
distr_wofelc_wof_NOR_024 | DEF_E | 0.27304 | 0.28445 | 0.2907 | 0.29186 | 0.31276 | 0.31375 | 0.33386 | 0.32095 | 0.30981 | 0.26857 | 0.27561 | 0.25286 | [28 empty] | distr_wofelc_wof_NOR_024 | 0.60455 | 0.60734 | 0.5949 | 0.52844 | 0.49866 | 0.49465 | 0.4383 | 0.44389 | 0.47623 | 0.59666 | 0.57294 | 0.59772 | distr_wofelc_wof_NOR_014 | DEF_C | OUT | 0.62371
distr_wofelc_wof_NOR_025 | DEF_E | 0.38044 | 0.42058 | 0.39533 | 0.37248 | 0.41225 | 0.37178 | 0.44421 | 0.47616 | 0.42916 | 0.38181 | 0.39469 | 0.3868 | [28 empty] | distr_wofelc_wof_NOR_025 | 0.32251 | 0.30075 | 0.32008 | 0.25631 | 0.22851 | 0.26246 | 0.18201 | 0.18895 | 0.2086 | 0.34402 | 0.342 | 0.33476 | distr_wofelc_wof_NOR_015 | DEF_C | OUT | 0.62091
distr_wofelc_wof_NOR_026 | DEF_E | 0.38016 | 0.40072 | 0.36711 | 0.35599 | 0.3819 | 0.35111 | 0.43093 | 0.4656 | 0.4339 | 0.33392 | 0.35338 | 0.33789 | [28 empty] | distr_wofelc_wof_NOR_026 | 0.42913 | 0.39724 | 0.44162 | 0.37387 | 0.3502 | 0.39393 | 0.28502 | 0.27595 | 0.31087 | 0.47487 | 0.47426 | 0.46782 | distr_wofelc_wof_NOR_016 | DEF_C | OUT | 0.64529
distr_wofelc_wof_NOR_027 | DEF_E | 0.38867 | 0.38355 | 0.39971 | 0.36573 | 0.41794 | 0.36325 | 0.4309 | 0.44287 | 0.40061 | 0.35517 | 0.3738 | 0.38616 | [28 empty] | distr_wofelc_wof_NOR_027 | 0.37875 | 0.38146 | 0.37833 | 0.32066 | 0.30689 | 0.3157 | 0.26988 | 0.2755 | 0.27667 | 0.42961 | 0.39405 | 0.39658 | distr_wofelc_wof_NOR_017 | DEF_C | OUT | 0.60565
distr_wofelc_wof_NOR_028 | DEF_E | 0.3459 | 0.38285 | 0.35095 | 0.31992 | 0.3705 | 0.32302 | 0.35589 | 0.38945 | 0.35368 | 0.30619 | 0.31204 | 0.32468 | [28 empty] | distr_wofelc_wof_NOR_028 | 0.47597 | 0.43677 | 0.47709 | 0.44242 | 0.38708 | 0.42543 | 0.35231 | 0.34182 | 0.36874 | 0.53998 | 0.52123 | 0.50655 | distr_wofelc_wof_NOR_018 | DEF_C | OUT | 0.47812
distr_wofelc_wof_NOR_029 | DEF_E | 0.35392 | 0.3438 | 0.36456 | 0.30433 | 0.34402 | 0.32331 | 0.36693 | 0.37177 | 0.35711 | 0.28135 | 0.2928 | 0.29889 | [28 empty] | distr_wofelc_wof_NOR_029 | 0.48739 | 0.49796 | 0.50233 | 0.45894 | 0.42642 | 0.45563 | 0.3759 | 0.36799 | 0.38353 | 0.59116 | 0.55499 | 0.55762 | distr_wofelc_wof_NOR_019 | DEF_C | OUT | 0.622
distr_wofelc_wof_NOR_030 | DEF_E | 0.32314 | 0.30534 | 0.31755 | 0.32076 | 0.33086 | 0.33157 | 0.36134 | 0.36051 | 0.34739 | 0.28506 | 0.29264 | 0.28829 | [28 empty] | distr_wofelc_wof_NOR_030 | 0.51056 | 0.55893 | 0.52184 | 0.47589 | 0.47209 | 0.46584 | 0.40843 | 0.39637 | 0.40687 | 0.57619 | 0.58184 | 0.57749 | distr_wofelc_wof_NOR_020 | DEF_C | OUT | 0.57846
distr_wofelc_wof_NOR_031 | DEF_E | 0.29591 | 0.29094 | 0.30792 | 0.33336 | 0.32457 | 0.36062 | 0.38719 | 0.36916 | 0.37744 | 0.32372 | 0.30446 | 0.30435 | [28 empty] | distr_wofelc_wof_NOR_031 | 0.57113 | 0.5912 | 0.56059 | 0.48123 | 0.47237 | 0.45358 | 0.39108 | 0.39328 | 0.39351 | 0.51842 | 0.5451 | 0.5345 | distr_wofelc_wof_NOR_021 | DEF_C | OUT | 0.67174
distr_wofelc_wof_NOR_032 | DEF_E | 0.31684 | 0.31063 | 0.34182 | 0.33756 | 0.35899 | 0.34805 | 0.39866 | 0.39059 | 0.38073 | 0.32112 | 0.31826 | 0.33033 | [28 empty] | distr_wofelc_wof_NOR_032 | 0.47686 | 0.5057 | 0.47545 | 0.41024 | 0.39836 | 0.40287 | 0.33247 | 0.33124 | 0.33572 | 0.47986 | 0.47338 | 0.46429 | distr_wofelc_wof_NOR_022 | DEF_C | OUT | 0.65345
distr_wofelc_wof_NOR_033 | DEF_E | 0.27896 | 0.29558 | 0.2801 | 0.3638 | 0.3696 | 0.36859 | 0.39727 | 0.39583 | 0.43347 | 0.37392 | 0.33604 | 0.36928 | [28 empty] | distr_wofelc_wof_NOR_033 | 0.53251 | 0.53868 | 0.54315 | 0.40633 | 0.39272 | 0.39689 | 0.36068 | 0.34485 | 0.33494 | 0.42156 | 0.45164 | 0.42018 | distr_wofelc_wof_NOR_023 | DEF_C | OUT | 0.46397
distr_wofelc_wof_NOR_034 | DEF_E | 0.25392 | 0.25875 | 0.26962 | 0.3498 | 0.32985 | 0.33994 | 0.3437 | 0.33111 | 0.33308 | 0.30627 | 0.2624 | 0.27691 | [28 empty] | distr_wofelc_wof_NOR_034 | 0.59006 | 0.60166 | 0.58003 | 0.47455 | 0.47502 | 0.47159 | 0.43788 | 0.42461 | 0.4317 | 0.5381 | 0.56828 | 0.53865 | distr_wofelc_wof_NOR_024 | DEF_C | OUT | 0.606
distr_wofelc_wof_NOR_035 | DEF_E | 0.26406 | 0.26808 | 0.27983 | 0.35646 | 0.37592 | 0.3681 | 0.32854 | 0.31962 | 0.34275 | 0.28059 | 0.27923 | 0.29139 | [28 empty] | distr_wofelc_wof_NOR_035 | 0.63014 | 0.61304 | 0.62166 | 0.47002 | 0.44244 | 0.43626 | 0.48068 | 0.47935 | 0.4825 | 0.5739 | 0.56126 | 0.54607 | distr_wofelc_wof_NOR_025 | DEF_C | OUT | 0.34402
distr_wofelc_wof_NOR_036 | DEF_E | 0.3058 | 0.30967 | 0.31279 | 0.37944 | 0.39049 | 0.38317 | 0.37972 | 0.38564 | 0.39807 | 0.32943 | 0.31777 | 0.32565 | [28 empty] | distr_wofelc_wof_NOR_036 | 0.52685 | 0.52675 | 0.53895 | 0.40534 | 0.38068 | 0.39767 | 0.4035 | 0.38931 | 0.4032 | 0.45108 | 0.46068 | 0.4469 | distr_wofelc_wof_NOR_026 | DEF_C | OUT | 0.47487
distr_wonelc_won_NOR_001 | DEF_E | 0.5112 | 0.50541 | 0.53366 | 0.44943 | 0.47183 | 0.45905 | 0.47832 | 0.51562 | 0.40565 | 0.51909 | 0.51072 | 0.45972 | [28 empty] | distr_wonelc_won_NOR_001 | 0.12363 | 0.13412 | 0.12252 | 0.086327 | 0.13529 | 0.11517 | 0.066372 | 0.071915 | 0.095838 | 0.088938 | 0.095352 | 0.092203 | distr_wofelc_wof_NOR_027 | DEF_C | OUT | 0.42961
distr_wonelc_won_NOR_002 | DEF_E | 0.41043 | 0.41255 | 0.42907 | 0.41386 | 0.41517 | 0.42151 | 0.40138 | 0.38313 | 0.36167 | 0.4205 | 0.41883 | 0.43805 | [28 empty] | distr_wonelc_won_NOR_002 | 0.34706 | 0.34256 | 0.3402 | 0.29171 | 0.32898 | 0.29943 | 0.16285 | 0.20121 | 0.22997 | 0.29878 | 0.27855 | 0.28398 | distr_wofelc_wof_NOR_028 | DEF_C | OUT | 0.53957
distr_wonelc_won_NOR_003 | DEF_E | 0.5358 | 0.54988 | 0.51556 | 0.50521 | 0.49513 | 0.50269 | 0.55847 | 0.46327 | 0.4418 | 0.52292 | 0.50335 | 0.53424 | [28 empty] | distr_wonelc_won_NOR_003 | 0.15202 | 0.16206 | 0.13071 | 0.10768 | 0.14559 | 0.12867 | 0.033565 | 0.057123 | 0.065016 | 0.11087 | 0.098956 | 0.098346 | distr_wofelc_wof_NOR_029 | DEF_C | OUT | 0.59116
distr_wonelc_won_NOR_004 | DEF_E | 0.38376 | 0.37884 | 0.39028 | 0.38223 | 0.38729 | 0.38425 | 0.38965 | 0.42582 | 0.34591 | 0.39837 | 0.39214 | 0.38802 | [28 empty] | distr_wonelc_won_NOR_004 | 0.31305 | 0.32587 | 0.30007 | 0.25041 | 0.30457 | 0.2642 | 0.16205 | 0.17205 | 0.20856 | 0.25441 | 0.24653 | 0.26382 | distr_wofelc_wof_NOR_030 | DEF_C | OUT | 0.58153
distr_wonelc_won_NOR_005 | DEF_E | 0.47897 | 0.48072 | 0.4884 | 0.46703 | 0.45814 | 0.45972 | 0.43903 | 0.46172 | 0.38603 | 0.48695 | 0.44481 | 0.47643 | [28 empty] | distr_wonelc_won_NOR_005 | 0.22647 | 0.25144 | 0.21551 | 0.16562 | 0.22291 | 0.19521 | 0.10753 | 0.13893 | 0.16046 | 0.17674 | 0.18388 | 0.1836 | distr_wofelc_wof_NOR_031 | DEF_C | OUT | 0.58986
distr_wonelc_won_NOR_006 | DEF_E | 0.43357 | 0.43038 | 0.41829 | 0.42936 | 0.45101 | 0.37262 | 0.43119 | 0.42028 | 0.39104 | 0.39391 | 0.40323 | 0.41571 | [28 empty] | distr_wonelc_won_NOR_006 | 0.36477 | 0.36012 | 0.36535 | 0.28411 | 0.30684 | 0.31159 | 0.2306 | 0.23052 | 0.28786 | 0.32249 | 0.28985 | 0.29634 | distr_wofelc_wof_NOR_032 | DEF_C | OUT | 0.50425
distr_wonelc_won_NOR_007 | DEF_E | 0.31414 | 0.31861 | 0.31483 | 0.31503 | 0.3518 | 0.31497 | 0.3742 | 0.37154 | 0.34733 | 0.33056 | 0.3328 | 0.31798 | [28 empty] | distr_wonelc_won_NOR_007 | 0.54062 | 0.53421 | 0.53765 | 0.4828 | 0.47192 | 0.49407 | 0.41331 | 0.41987 | 0.47714 | 0.51711 | 0.48438 | 0.50474 | distr_wofelc_wof_NOR_033 | DEF_C | OUT | 0.53816
distr_wonelc_won_NOR_008 | DEF_E | 0.38888 | 0.41885 | 0.39863 | 0.35285 | 0.39862 | 0.41648 | 0.38476 | 0.47313 | 0.40326 | 0.39225 | 0.44145 | 0.40165 | [28 empty] | distr_wonelc_won_NOR_008 | 0.29164 | 0.28272 | 0.2768 | 0.24535 | 0.23612 | 0.23586 | 0.15378 | 0.12264 | 0.15898 | 0.22317 | 0.21032 | 0.22223 | distr_wofelc_wof_NOR_034 | DEF_C | OUT | 0.60166
distr_wonelc_won_NOR_009 | DEF_E | 0.32313 | 0.31809 | 0.31742 | 0.31203 | 0.34029 | 0.35324 | 0.34683 | 0.3974 | 0.3465 | 0.34826 | 0.39277 | 0.35587 | [28 empty] | distr_wonelc_won_NOR_009 | 0.43998 | 0.43599 | 0.42785 | 0.37794 | 0.37297 | 0.36508 | 0.25183 | 0.20724 | 0.26463 | 0.37009 | 0.33924 | 0.36689 | distr_wofelc_wof_NOR_035 | DEF_C | OUT | 0.63014
distr_wonelc_won_NOR_010 | DEF_E | 0.26622 | 0.25295 | 0.25625 | 0.31493 | 0.30947 | 0.31517 | 0.31563 | 0.30963 | 0.29481 | 0.29781 | 0.30362 | 0.2863 | [28 empty] | distr_wonelc_won_NOR_010 | 0.5221 | 0.53259 | 0.50622 | 0.45225 | 0.49086 | 0.45374 | 0.34042 | 0.33986 | 0.38951 | 0.46222 | 0.43499 | 0.47316 | distr_wofelc_wof_NOR_036 | DEF_C | OUT | 0.53895

## load_shapes
~TFM_DINS-AT
g_yrfr | com_fr | timeslice | commodity
0.11427 | 0.16087 | FaD | elc_roadtransport
0.11427 | 0.052548 | FaN | elc_roadtransport
0.020776 | 0.035897 | FaP | elc_roadtransport
0.11553 | 0.16264 | RaD | elc_roadtransport
0.11553 | 0.053125 | RaN | elc_roadtransport
0.021005 | 0.036291 | RaP | elc_roadtransport
0.11553 | 0.16264 | SaD | elc_roadtransport
0.11553 | 0.053125 | SaN | elc_roadtransport
0.021005 | 0.036291 | SaP | elc_roadtransport
0.11301 | 0.1591 | WaD | elc_roadtransport
0.11301 | 0.05197 | WaN | elc_roadtransport
0.020548 | 0.035502 | WaP | elc_roadtransport

## demand
~TFM_DINS-AT
commodity | timeslice | com_fr
elc_buildings | FaD | 0.11525
elc_buildings | FaN | 0.10431
elc_buildings | FaP | 0.021459
elc_buildings | RaD | 0.12209
elc_buildings | RaN | 0.11124
elc_buildings | RaP | 0.022628
elc_buildings | SaD | 0.10405
elc_buildings | SaN | 0.090176
elc_buildings | SaP | 0.019389
elc_buildings | WaD | 0.13698
elc_buildings | WaN | 0.1258
elc_buildings | WaP | 0.026635
elc_industry | FaD | 0.11454
elc_industry | FaN | 0.11387
elc_industry | FaP | 0.020857
elc_industry | RaD | 0.11583
elc_industry | RaN | 0.11516
elc_industry | RaP | 0.021087
elc_industry | SaD | 0.1158
elc_industry | SaN | 0.11494
elc_industry | SaP | 0.021084
elc_industry | WaD | 0.1134
elc_industry | WaN | 0.11271
elc_industry | WaP | 0.020725

## peak_factors
~TFM_DINS-AT
commodity | timeslice | com_pkflx
ELC | FaD | 0.12068
ELC | FaN | 0.19451
ELC | FaP | 0.10611
ELC | RaD | 0.14349
ELC | RaN | 0.17658
ELC | RaP | 0.090401
ELC | SaD | 0.067788
ELC | SaN | 0.14572
ELC | SaP | 0.037101
ELC | WaD | 0.089849
ELC | WaN | 0.18921
ELC | WaP | 0.067836

## hydro_af
~TFM_INS-AT
Year | timeslice | ncap_afs | pset_ci
2020 | F | 0.46653 | hydro
2020 | R | 0.48293 | hydro
2020 | S | 0.40433 | hydro
2020 | W | 0.51333 | hydro
2021 | F | 0.43433 | hydro
2021 | R | 0.4427 | hydro
2021 | S | 0.37897 | hydro
2021 | W | 0.56783 | hydro
2022 | F | 0.38287 | hydro
2022 | R | 0.42123 | hydro
2022 | S | 0.39157 | hydro
2022 | W | 0.49553 | hydro
2025 | F | 0.57547 | hydro
2025 | R | 0.57043 | hydro
2025 | S | 0.5119 | hydro
2025 | W | 0.68703 | hydro
2026 | F | 0.4157 | hydro
2026 | R | 0.4238 | hydro
2026 | S | 0.3904 | hydro
2026 | W | 0.50803 | hydro
2027 | F | 0.54683 | hydro
2027 | R | 0.56377 | hydro
2027 | S | 0.46443 | hydro
2027 | W | 0.6765 | hydro
2028 | F | 0.58587 | hydro
2028 | R | 0.5286 | hydro
2028 | S | 0.48307 | hydro
2028 | W | 0.64013 | hydro
2029 | F | 0.53327 | hydro
2029 | R | 0.5462 | hydro
2029 | S | 0.45487 | hydro
2029 | W | 0.63507 | hydro
2030 | F | 0.51267 | hydro
2030 | R | 0.53003 | hydro
2030 | S | 0.41167 | hydro
2030 | W | 0.6408 | hydro
2031 | F | 0.44283 | hydro
2031 | R | 0.46853 | hydro
2031 | S | 0.41727 | hydro
2031 | W | 0.5814 | hydro
2032 | F | 0.48827 | hydro
2032 | R | 0.52577 | hydro
2032 | S | 0.3857 | hydro
2032 | W | 0.6495 | hydro
2033 | F | 0.52037 | hydro
2033 | R | 0.495 | hydro
2033 | S | 0.40077 | hydro
2033 | W | 0.5967 | hydro
2034 | F | 0.46543 | hydro
2034 | R | 0.47013 | hydro
2034 | S | 0.45907 | hydro
2034 | W | 0.65393 | hydro
2035 | F | 0.48413 | hydro
2035 | R | 0.4748 | hydro
2035 | S | 0.40797 | hydro
2035 | W | 0.5721 | hydro
2036 | F | 0.4651 | hydro
2036 | R | 0.5396 | hydro
2036 | S | 0.40413 | hydro
2036 | W | 0.58057 | hydro
2037 | F | 0.4647 | hydro
2037 | R | 0.44577 | hydro
2037 | S | 0.4505 | hydro
2037 | W | 0.53883 | hydro
2038 | F | 0.50383 | hydro
2038 | R | 0.49707 | hydro
2038 | S | 0.39463 | hydro
2038 | W | 0.56063 | hydro
2039 | F | 0.48077 | hydro
2039 | R | 0.4514 | hydro
2039 | S | 0.39077 | hydro
2039 | W | 0.60343 | hydro
2040 | F | 0.4877 | hydro
2040 | R | 0.44943 | hydro
2040 | S | 0.38367 | hydro
2040 | W | 0.5806 | hydro
2041 | F | 0.46283 | hydro
2041 | R | 0.45343 | hydro
2041 | S | 0.3761 | hydro
2041 | W | 0.4892 | hydro
2042 | F | 0.4081 | hydro
2042 | R | 0.40473 | hydro
2042 | S | 0.37337 | hydro
2042 | W | 0.463 | hydro
2043 | F | 0.40807 | hydro
2043 | R | 0.43103 | hydro
2043 | S | 0.4222 | hydro
2043 | W | 0.53733 | hydro
2044 | F | 0.44027 | hydro
2044 | R | 0.4715 | hydro
2044 | S | 0.4376 | hydro
2044 | W | 0.53797 | hydro
2045 | F | 0.45117 | hydro
2045 | R | 0.48727 | hydro
2045 | S | 0.38967 | hydro
2045 | W | 0.4879 | hydro
2046 | F | 0.4337 | hydro
2046 | R | 0.4539 | hydro
2046 | S | 0.42373 | hydro
2046 | W | 0.5624 | hydro
2047 | F | 0.51947 | hydro
2047 | R | 0.54373 | hydro
2047 | S | 0.37453 | hydro
2047 | W | 0.56727 | hydro
2048 | F | 0.4966 | hydro
2048 | R | 0.48807 | hydro
2048 | S | 0.41327 | hydro
2048 | W | 0.55987 | hydro
2049 | F | 0.48433 | hydro
2049 | R | 0.4756 | hydro
2049 | S | 0.47403 | hydro
2049 | W | 0.58807 | hydro
2050 | F | 0.48203 | hydro
2050 | R | 0.42927 | hydro
2050 | S | 0.42517 | hydro
2050 | W | 0.576 | hydro