## ev_charging_uc
ts_annual | day_night | ts_annual
| D | AllSaAllH
| N | AllSaAllH
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
Not Required!
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | AllSaAllH | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | AllSaAllH | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1

## timeslice_def
~TimeSlices
ts_annual | season | weekly | daynite | wparent | dparent
| AllS | a | AllH | AllS | a

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_NOR_001 | AllSaAllH | 1 | IMPNRGZ | elc_won_NOR_001 | AllSaAllH | 1 | IMPNRGZ | elc_wof_NOR_001 | AllSaAllH | 1 | IMPNRGZ
elc_spv_NOR_002 | AllSaAllH | 1 | IMPNRGZ | elc_won_NOR_002 | AllSaAllH | 1 | IMPNRGZ | elc_wof_NOR_002 | AllSaAllH | 1 | IMPNRGZ
elc_spv_NOR_003 | AllSaAllH | 1 | IMPNRGZ | elc_won_NOR_003 | AllSaAllH | 1 | IMPNRGZ | elc_wof_NOR_003 | AllSaAllH | 1 | IMPNRGZ
elc_spv_NOR_004 | AllSaAllH | 1 | IMPNRGZ | elc_won_NOR_004 | AllSaAllH | 1 | IMPNRGZ | elc_wof_NOR_004 | AllSaAllH | 1 | IMPNRGZ
elc_spv_NOR_005 | AllSaAllH | 1 | IMPNRGZ | elc_won_NOR_005 | AllSaAllH | 1 | IMPNRGZ | elc_wof_NOR_005 | AllSaAllH | 1 | IMPNRGZ
elc_spv_NOR_006 | AllSaAllH | 1 | IMPNRGZ | elc_won_NOR_006 | AllSaAllH | 1 | IMPNRGZ | elc_wof_NOR_006 | AllSaAllH | 1 | IMPNRGZ
elc_spv_NOR_007 | AllSaAllH | 1 | IMPNRGZ | elc_won_NOR_007 | AllSaAllH | 1 | IMPNRGZ | elc_wof_NOR_007 | AllSaAllH | 1 | IMPNRGZ
elc_spv_NOR_008 | AllSaAllH | 1 | IMPNRGZ | elc_won_NOR_008 | AllSaAllH | 1 | IMPNRGZ | elc_wof_NOR_008 | AllSaAllH | 1 | IMPNRGZ
elc_spv_NOR_009 | AllSaAllH | 1 | IMPNRGZ | elc_won_NOR_009 | AllSaAllH | 1 | IMPNRGZ | elc_wof_NOR_009 | AllSaAllH | 1 | IMPNRGZ
elc_spv_NOR_010 | AllSaAllH | 1 | IMPNRGZ | elc_won_NOR_010 | AllSaAllH | 1 | IMPNRGZ | elc_wof_NOR_010 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_011 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_012 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_013 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_014 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_015 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_016 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_017 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_018 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_019 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_020 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_021 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_022 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_023 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_024 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_025 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_026 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_027 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_028 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_029 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_030 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_031 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_032 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_033 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_034 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_035 | AllSaAllH | 1 | IMPNRGZ
[8 empty] | elc_wof_NOR_036 | AllSaAllH | 1 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT |  |  | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_DINS-TSL: attribute=NCAP_PKCNT |  | ~TFM_DINS-AT
process | commodity | AllSaAllH | process | commodity | AllSaAllH | process | commodity | AllSaAllH | process | AllSaAllH | process | commodity | other_indexes | ncap_com
distr_solelc_spv_NOR_001 | DEF_E | 0.60119 | distr_sol* | ELC4H | 0.13851 | distr_sol* | ELC8H | 0.18082 | distr_solelc_spv_NOR_001 | 0.1464 | distr_solelc_spv_NOR_001 | DEF_C | OUT | 0.1464
distr_solelc_spv_NOR_002 | DEF_E | 0.60705 | distr_won* | ELC4H | 0.0092443 | distr_won* | ELC8H | 0.02754 | distr_solelc_spv_NOR_002 | 0.14882 | distr_solelc_spv_NOR_002 | DEF_C | OUT | 0.14882
distr_solelc_spv_NOR_003 | DEF_E | 0.60837 | distr_wof* | ELC4H | 0.00076857 | distr_wof* | ELC8H | 0.004508 | distr_solelc_spv_NOR_003 | 0.14018 | distr_solelc_spv_NOR_003 | DEF_C | OUT | 0.14018
distr_solelc_spv_NOR_004 | DEF_E | 0.58839 | [6 empty] | distr_solelc_spv_NOR_004 | 0.15589 | distr_solelc_spv_NOR_004 | DEF_C | OUT | 0.15589
distr_solelc_spv_NOR_005 | DEF_E | 0.59896 | [6 empty] | distr_solelc_spv_NOR_005 | 0.14481 | distr_solelc_spv_NOR_005 | DEF_C | OUT | 0.14481
distr_solelc_spv_NOR_006 | DEF_E | 0.59184 | [6 empty] | distr_solelc_spv_NOR_006 | 0.14928 | distr_solelc_spv_NOR_006 | DEF_C | OUT | 0.14928
distr_solelc_spv_NOR_007 | DEF_E | 0.58997 | [6 empty] | distr_solelc_spv_NOR_007 | 0.15513 | distr_solelc_spv_NOR_007 | DEF_C | OUT | 0.15513
distr_solelc_spv_NOR_008 | DEF_E | 0.59536 | [6 empty] | distr_solelc_spv_NOR_008 | 0.15283 | distr_solelc_spv_NOR_008 | DEF_C | OUT | 0.15283
distr_solelc_spv_NOR_009 | DEF_E | 0.60239 | [6 empty] | distr_solelc_spv_NOR_009 | 0.14936 | distr_solelc_spv_NOR_009 | DEF_C | OUT | 0.14936
distr_solelc_spv_NOR_010 | DEF_E | 0.59556 | [6 empty] | distr_solelc_spv_NOR_010 | 0.15181 | distr_solelc_spv_NOR_010 | DEF_C | OUT | 0.15181
distr_wofelc_wof_NOR_001 | DEF_E | 0.31487 | [6 empty] | distr_wofelc_wof_NOR_001 | 0.49834 | distr_wonelc_won_NOR_001 | DEF_C | OUT | 0.10063
distr_wofelc_wof_NOR_002 | DEF_E | 0.33776 | [6 empty] | distr_wofelc_wof_NOR_002 | 0.5041 | distr_wonelc_won_NOR_002 | DEF_C | OUT | 0.28168
distr_wofelc_wof_NOR_003 | DEF_E | 0.3273 | [6 empty] | distr_wofelc_wof_NOR_003 | 0.48507 | distr_wonelc_won_NOR_003 | DEF_C | OUT | 0.108
distr_wofelc_wof_NOR_004 | DEF_E | 0.43784 | [6 empty] | distr_wofelc_wof_NOR_004 | 0.22036 | distr_wonelc_won_NOR_004 | DEF_C | OUT | 0.25374
distr_wofelc_wof_NOR_005 | DEF_E | 0.37705 | [6 empty] | distr_wofelc_wof_NOR_005 | 0.35118 | distr_wonelc_won_NOR_005 | DEF_C | OUT | 0.18429
distr_wofelc_wof_NOR_006 | DEF_E | 0.32525 | [6 empty] | distr_wofelc_wof_NOR_006 | 0.47642 | distr_wonelc_won_NOR_006 | DEF_C | OUT | 0.29969
distr_wofelc_wof_NOR_007 | DEF_E | 0.32533 | [6 empty] | distr_wofelc_wof_NOR_007 | 0.4962 | distr_wonelc_won_NOR_007 | DEF_C | OUT | 0.48439
distr_wofelc_wof_NOR_008 | DEF_E | 0.31441 | [6 empty] | distr_wofelc_wof_NOR_008 | 0.51084 | distr_wonelc_won_NOR_008 | DEF_C | OUT | 0.2206
distr_wofelc_wof_NOR_009 | DEF_E | 0.39938 | [6 empty] | distr_wofelc_wof_NOR_009 | 0.36975 | distr_wonelc_won_NOR_009 | DEF_C | OUT | 0.34947
distr_wofelc_wof_NOR_010 | DEF_E | 0.34467 | [6 empty] | distr_wofelc_wof_NOR_010 | 0.46866 | distr_wonelc_won_NOR_010 | DEF_C | OUT | 0.4472
distr_wofelc_wof_NOR_011 | DEF_E | 0.31091 | [6 empty] | distr_wofelc_wof_NOR_011 | 0.53627 | distr_wofelc_wof_NOR_001 | DEF_C | OUT | 0.49834
distr_wofelc_wof_NOR_012 | DEF_E | 0.29184 | [6 empty] | distr_wofelc_wof_NOR_012 | 0.55722 | distr_wofelc_wof_NOR_002 | DEF_C | OUT | 0.5041
distr_wofelc_wof_NOR_013 | DEF_E | 0.30955 | [6 empty] | distr_wofelc_wof_NOR_013 | 0.53719 | distr_wofelc_wof_NOR_003 | DEF_C | OUT | 0.48507
distr_wofelc_wof_NOR_014 | DEF_E | 0.31529 | [6 empty] | distr_wofelc_wof_NOR_014 | 0.52725 | distr_wofelc_wof_NOR_004 | DEF_C | OUT | 0.22036
distr_wofelc_wof_NOR_015 | DEF_E | 0.31577 | [6 empty] | distr_wofelc_wof_NOR_015 | 0.5171 | distr_wofelc_wof_NOR_005 | DEF_C | OUT | 0.35118
distr_wofelc_wof_NOR_016 | DEF_E | 0.31438 | [6 empty] | distr_wofelc_wof_NOR_016 | 0.55541 | distr_wofelc_wof_NOR_006 | DEF_C | OUT | 0.47642
distr_wofelc_wof_NOR_017 | DEF_E | 0.31099 | [6 empty] | distr_wofelc_wof_NOR_017 | 0.52869 | distr_wofelc_wof_NOR_007 | DEF_C | OUT | 0.4962
distr_wofelc_wof_NOR_018 | DEF_E | 0.37052 | [6 empty] | distr_wofelc_wof_NOR_018 | 0.38301 | distr_wofelc_wof_NOR_008 | DEF_C | OUT | 0.51084
distr_wofelc_wof_NOR_019 | DEF_E | 0.30528 | [6 empty] | distr_wofelc_wof_NOR_019 | 0.51298 | distr_wofelc_wof_NOR_009 | DEF_C | OUT | 0.36975
distr_wofelc_wof_NOR_020 | DEF_E | 0.30431 | [6 empty] | distr_wofelc_wof_NOR_020 | 0.49617 | distr_wofelc_wof_NOR_010 | DEF_C | OUT | 0.46866
distr_wofelc_wof_NOR_021 | DEF_E | 0.25347 | [6 empty] | distr_wofelc_wof_NOR_021 | 0.60562 | distr_wofelc_wof_NOR_011 | DEF_C | OUT | 0.53627
distr_wofelc_wof_NOR_022 | DEF_E | 0.2895 | [6 empty] | distr_wofelc_wof_NOR_022 | 0.56521 | distr_wofelc_wof_NOR_012 | DEF_C | OUT | 0.55722
distr_wofelc_wof_NOR_023 | DEF_E | 0.38153 | [6 empty] | distr_wofelc_wof_NOR_023 | 0.39266 | distr_wofelc_wof_NOR_013 | DEF_C | OUT | 0.53719
distr_wofelc_wof_NOR_024 | DEF_E | 0.29957 | [6 empty] | distr_wofelc_wof_NOR_024 | 0.53621 | distr_wofelc_wof_NOR_014 | DEF_C | OUT | 0.52725
distr_wofelc_wof_NOR_025 | DEF_E | 0.41756 | [6 empty] | distr_wofelc_wof_NOR_025 | 0.27112 | distr_wofelc_wof_NOR_015 | DEF_C | OUT | 0.5171
distr_wofelc_wof_NOR_026 | DEF_E | 0.39291 | [6 empty] | distr_wofelc_wof_NOR_026 | 0.3839 | distr_wofelc_wof_NOR_016 | DEF_C | OUT | 0.55541
distr_wofelc_wof_NOR_027 | DEF_E | 0.39897 | [6 empty] | distr_wofelc_wof_NOR_027 | 0.34399 | distr_wofelc_wof_NOR_017 | DEF_C | OUT | 0.52869
distr_wofelc_wof_NOR_028 | DEF_E | 0.35414 | [6 empty] | distr_wofelc_wof_NOR_028 | 0.43744 | distr_wofelc_wof_NOR_018 | DEF_C | OUT | 0.38301
distr_wofelc_wof_NOR_029 | DEF_E | 0.3405 | [6 empty] | distr_wofelc_wof_NOR_029 | 0.47008 | distr_wofelc_wof_NOR_019 | DEF_C | OUT | 0.51298
distr_wofelc_wof_NOR_030 | DEF_E | 0.32852 | [6 empty] | distr_wofelc_wof_NOR_030 | 0.49674 | distr_wofelc_wof_NOR_020 | DEF_C | OUT | 0.49617
distr_wofelc_wof_NOR_031 | DEF_E | 0.33398 | [6 empty] | distr_wofelc_wof_NOR_031 | 0.49408 | distr_wofelc_wof_NOR_021 | DEF_C | OUT | 0.60562
distr_wofelc_wof_NOR_032 | DEF_E | 0.35002 | [6 empty] | distr_wofelc_wof_NOR_032 | 0.42499 | distr_wofelc_wof_NOR_022 | DEF_C | OUT | 0.56521
distr_wofelc_wof_NOR_033 | DEF_E | 0.35678 | [6 empty] | distr_wofelc_wof_NOR_033 | 0.42992 | distr_wofelc_wof_NOR_023 | DEF_C | OUT | 0.39266
distr_wofelc_wof_NOR_034 | DEF_E | 0.30794 | [6 empty] | distr_wofelc_wof_NOR_034 | 0.51253 | distr_wofelc_wof_NOR_024 | DEF_C | OUT | 0.53621
distr_wofelc_wof_NOR_035 | DEF_E | 0.31418 | [6 empty] | distr_wofelc_wof_NOR_035 | 0.52995 | distr_wofelc_wof_NOR_025 | DEF_C | OUT | 0.27112
distr_wofelc_wof_NOR_036 | DEF_E | 0.35415 | [6 empty] | distr_wofelc_wof_NOR_036 | 0.44283 | distr_wofelc_wof_NOR_026 | DEF_C | OUT | 0.3839
distr_wonelc_won_NOR_001 | DEF_E | 0.49695 | [6 empty] | distr_wonelc_won_NOR_001 | 0.10063 | distr_wofelc_wof_NOR_027 | DEF_C | OUT | 0.34399
distr_wonelc_won_NOR_002 | DEF_E | 0.42252 | [6 empty] | distr_wonelc_won_NOR_002 | 0.28168 | distr_wofelc_wof_NOR_028 | DEF_C | OUT | 0.43744
distr_wonelc_won_NOR_003 | DEF_E | 0.53646 | [6 empty] | distr_wonelc_won_NOR_003 | 0.108 | distr_wofelc_wof_NOR_029 | DEF_C | OUT | 0.47008
distr_wonelc_won_NOR_004 | DEF_E | 0.39897 | [6 empty] | distr_wonelc_won_NOR_004 | 0.25374 | distr_wofelc_wof_NOR_030 | DEF_C | OUT | 0.49674
distr_wonelc_won_NOR_005 | DEF_E | 0.47242 | [6 empty] | distr_wonelc_won_NOR_005 | 0.18429 | distr_wofelc_wof_NOR_031 | DEF_C | OUT | 0.49408
distr_wonelc_won_NOR_006 | DEF_E | 0.42712 | [6 empty] | distr_wonelc_won_NOR_006 | 0.29969 | distr_wofelc_wof_NOR_032 | DEF_C | OUT | 0.42499
distr_wonelc_won_NOR_007 | DEF_E | 0.33869 | [6 empty] | distr_wonelc_won_NOR_007 | 0.48439 | distr_wofelc_wof_NOR_033 | DEF_C | OUT | 0.42992
distr_wonelc_won_NOR_008 | DEF_E | 0.41431 | [6 empty] | distr_wonelc_won_NOR_008 | 0.2206 | distr_wofelc_wof_NOR_034 | DEF_C | OUT | 0.51253
distr_wonelc_won_NOR_009 | DEF_E | 0.35774 | [6 empty] | distr_wonelc_won_NOR_009 | 0.34947 | distr_wofelc_wof_NOR_035 | DEF_C | OUT | 0.52995
distr_wonelc_won_NOR_010 | DEF_E | 0.30273 | [6 empty] | distr_wonelc_won_NOR_010 | 0.4472 | distr_wofelc_wof_NOR_036 | DEF_C | OUT | 0.44283

## load_shapes
~TFM_DINS-AT
g_yrfr | com_fr | timeslice | commodity
1 | 1 | AllSaAllH | elc_roadtransport

## demand
~TFM_DINS-AT
commodity | timeslice | com_fr
elc_buildings | AllSaAllH | 1
elc_industry | AllSaAllH | 1

## peak_factors
~TFM_DINS-AT
commodity | timeslice | com_pkflx
ELC | AllSaAllH | 0.26777

## hydro_af
~TFM_INS-AT
Year | timeslice | ncap_afs | pset_ci
2020 | AllS | 0.46678 | hydro
2021 | AllS | 0.45596 | hydro
2022 | AllS | 0.4228 | hydro
2025 | AllS | 0.58621 | hydro
2026 | AllS | 0.43448 | hydro
2027 | AllS | 0.56288 | hydro
2028 | AllS | 0.55942 | hydro
2029 | AllS | 0.54235 | hydro
2030 | AllS | 0.52379 | hydro
2031 | AllS | 0.47751 | hydro
2032 | AllS | 0.51231 | hydro
2033 | AllS | 0.50321 | hydro
2034 | AllS | 0.51214 | hydro
2035 | AllS | 0.48475 | hydro
2036 | AllS | 0.49735 | hydro
2037 | AllS | 0.47495 | hydro
2038 | AllS | 0.48904 | hydro
2039 | AllS | 0.48159 | hydro
2040 | AllS | 0.47535 | hydro
2041 | AllS | 0.44539 | hydro
2042 | AllS | 0.4123 | hydro
2043 | AllS | 0.44966 | hydro
2044 | AllS | 0.47183 | hydro
2045 | AllS | 0.454 | hydro
2046 | AllS | 0.46843 | hydro
2047 | AllS | 0.50125 | hydro
2048 | AllS | 0.48945 | hydro
2049 | AllS | 0.50551 | hydro
2050 | AllS | 0.47812 | hydro