## misc
~FI_Process | [7 empty] | ~FI_T: USD21~FX~ACT_BND
Sets | TechName | TechDesc | TAct | TCap | Tslvl | Process | Comm-IN | Comm-OUT | EFF | Cap2ACT | flo_cost | 2022 | 0 | invcost | life
ELE | ElcAgg_Solar |  | TWh | GW | DAYNITE | ElcAgg_Solar |  | ELC,ELCCurt | 1 | 8.76
ELE | ElcAgg_Wind |  | TWh | GW | DAYNITE | ElcAgg_Wind |  | ELC,ELCCurt | 1 | 8.76
DMD | e_demand | Demand sectors | TWh | GW |  | e_demand | ELC | elc_buildings,elc_industry,elc_transport | 1 | 8.76 | [5 empty] | $/GJ
DMD | h_demand | Hydrogen demand | TWh | GW |  | h_demand | hydrogen | hydrogen_allsect | 1 | 8.76
IMP | Trd_electricity import |  | TWh | GW | DAYNITE | fossil_supply |  | coal |  |  | 7.2 |  |  |  |  | 2
EXP | Trd_electricity export |  | TWh | GW | DAYNITE |  |  | gas |  |  | 18 |  |  |  |  | 5
IMP | fossil_supply | generic fuel supply | TWh | GW |  |  |  | oil |  |  | 36 |  |  |  |  | 10
IMP | renewable | hydro and geothermal | TWh | GW |  | renewable |  | geothermal |  |  | 0.36 |  |  |  |  | 0.1
IMP | nuclear_fuel | Nuclear fuel supply | TWh | GW |  |  |  | hydro |  |  | 0.36 |  |  |  |  | 0.1
IMP | solar_potential | solar potential | TWh | GW |  |  |  | bioenergy |  |  | 25.2 |  |  |  |  | 7
IMP | winon_potential | wind onshore potential | TWh | GW |  | nuclear_fuel |  | nuclear |  |  | 0.36 |  |  |  |  | 0.1
IMP | winoff_potential | wnid offshore potential | TWh | GW |  | solar_potential |  | solar |  |  | 0.36 |  |  |  |  | 0.1
[6 empty] | winon_potential |  | windon |  |  | 0.36 |  |  |  |  | 0.1
[6 empty] | winoff_potential |  | windoff |  |  | 0.36 |  |  |  |  | 0.1
[6 empty] | Trd_electricity import |  | e_ZA11-400_ZAF,e_ZA40-400_ZAF,e_ZA41-400_ZAF,e_ZA44-400_ZAF,e_w120941269-400_ZAF,e_w169647963-400_ZAF,e_w169789536-400_ZAF,e_w182042518-400_ZAF,e_w219384657-400_ZAF,e_w219384657-765_ZAF,e_w545652232-400_ZAF,e_w62193952-400_ZAF,e_w62218063-400_ZAF,e_w836844162-400_ZAF,e_w90454383-400_ZAF |  |  |  | 0 | 3 | 1000 | 50
[6 empty] | Trd_electricity export | e_ZA11-400_ZAF,e_ZA40-400_ZAF,e_ZA41-400_ZAF,e_ZA44-400_ZAF,e_w120941269-400_ZAF,e_w169647963-400_ZAF,e_w169789536-400_ZAF,e_w182042518-400_ZAF,e_w219384657-400_ZAF,e_w219384657-765_ZAF,e_w545652232-400_ZAF,e_w62193952-400_ZAF,e_w62218063-400_ZAF,e_w836844162-400_ZAF,e_w90454383-400_ZAF |  |  |  |  | 0 | 3 | 1000 | 50 | e_ZA11-400_ZAF,e_ZA40-400_ZAF,e_ZA41-400_ZAF,e_ZA44-400_ZAF,e_w120941269-400_ZAF,e_w169647963-400_ZAF,e_w169789536-400_ZAF,e_w182042518-400_ZAF,e_w219384657-400_ZAF,e_w219384657-765_ZAF,e_w545652232-400_ZAF,e_w62193952-400_ZAF,e_w62218063-400_ZAF,e_w836844162-400_ZAF,e_w90454383-400_ZAF

## ELC_Storage
~FI_Comm
Csets | CommName | CommDesc | Unit | LimType | CTSLvl | PeakTS | Ctype
ENV | AuxStoIN | Aux commodity for storage charging | TBTU |  | DAYNITE
| AuxStoOUT | Aux commodity for storage discharging | TBTU |  | DAYNITE
~FI_Process | [10 empty] | ~FI_T: USD21
Sets | TechName | TechDesc | Tact | Tcap | Tslvl |  | TechName | attribute | CommGrp | Commodity | time_slice | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | Comm-OUT | Comm-OUT-A | LIFE
ELE,STG | EN_STG8hbNREL | 8 hour battery - NREL | TBTU | GW | DAYNITE |  | EN_STG4hbNREL | FLO_FUNC | AuxStoOUT | ELC | ANNUAL | 2020: 1.1765 |  | AuxStoOUT | 20
| EN_STG4hbNREL | 4 hour battery - NREL | TBTU | GW | DAYNITE |  | EN_STG4hbNREL | NCAP_AFC | ACT | ELC | DAYNITE | 2020: 0.16667 | ELC
[7 empty] | EN_STG4hbNREL | NCAP_AFC | NRG |  | DAYNITE | bar: 2020
[7 empty] | EN_STG4hbNREL | NCAP_COST |  |  |  | 1363 | 956 | 784 | 735 | 686 | 637 | 588
[7 empty] | EN_STG4hbNREL | NCAP_FOM |  |  |  | 34 | 24 | 20 | 18 | 17 | 16 | 15
[7 empty] | EN_STG4hbNREL | NCAP_PKCNT |  |  | ANNUAL | bar: 2020
[7 empty] | EN_STG4hbNREL | PRC_CAPACT |  |  |  | 2020: 31.536
[7 empty] | EN_STG4hbNREL | STG_EFF |  |  |  | 2020: 0.85
[7 empty] | EN_STG8hbNREL | FLO_FUNC | AuxStoOUT | ELC | ANNUAL | 2020: 1.1765 |  | AuxStoOUT | 20
[7 empty] | EN_STG8hbNREL | NCAP_AFC | ACT | ELC | DAYNITE | 2020: 0.33333 | ELC
[7 empty] | EN_STG8hbNREL | NCAP_AFC | NRG |  | DAYNITE | bar: 2020
[7 empty] | EN_STG8hbNREL | NCAP_COST |  |  |  | 2470 | 1714 | 1371 | 1277 | 1183 | 1089 | 995
[7 empty] | EN_STG8hbNREL | NCAP_FOM |  |  |  | 62 | 43 | 34 | 32 | 30 | 27 | 25
[7 empty] | EN_STG8hbNREL | NCAP_PKCNT |  |  | ANNUAL | bar: 2020
[7 empty] | EN_STG8hbNREL | PRC_CAPACT |  |  |  | 2020: 31.536
[7 empty] | EN_STG8hbNREL | STG_EFF |  |  |  | 2020: 0.85
Utility-scale battery storage cost projections from NREL ATB 2024
Includes $100 grid connection cost
(2022$) | bar: 2020 to 2030
[8 empty] | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
4Hr Battery Storage
CAPEX
[7 empty] | Advanced | 1363 | 839 | 566 | 512 | 454 | 400 | 346
[7 empty] | Conservative | 1363 | 1167 | 981 | 981 | 981 | 981 | 981
[7 empty] | Moderate | 1363 | 956 | 784 | 735 | 686 | 637 | 588
Fixed O&M
[7 empty] | Advanced | 34 | 21 | 14 | 13 | 11 | 10 | 9
[7 empty] | Conservative | 34 | 29 | 25 | 25 | 25 | 25 | 25
[7 empty] | Moderate | 34 | 24 | 20 | 18 | 17 | 16 | 15
8Hr Battery Storage
CAPEX
[7 empty] | Advanced | 2470 | 1518 | 1024 | 927 | 822 | 724 | 626
[7 empty] | Conservative | 2470 | 2111 | 1754 | 1754 | 1754 | 1754 | 1754
[7 empty] | Moderate | 2470 | 1714 | 1371 | 1277 | 1183 | 1089 | 995
Fixed O&M
[7 empty] | Advanced | 62 | 38 | 26 | 23 | 21 | 18 | 16
[7 empty] | Conservative | 62 | 53 | 44 | 44 | 44 | 44 | 44
[7 empty] | Moderate | 62 | 43 | 34 | 32 | 30 | 27 | 25
[7 empty] | Roundtrip EFF: | 2020: 0.85
CF is duration/24 - assume one cycle per day
VAROM = 0

## EV Battery
[6 empty] | ~FI_T: FX | [8 empty] | ~FI_Process
TechName | Comm-IN | Comm-OUT | Comm-OUT-A | CommGrp | commodity | Attribute | 2030 | 0 | S_EFF | AFC~DAYNITE~UP | LIFE | invcost | CAP2ACT | Peak | Sets | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Vintage
ev_battery | ELC |  |  | NRG |  |  |  |  | 0.9025 | 4 | 10 | 150 | 1 | 1 | STG | ev_battery | Car battery - 6kw/60Kwh - with V2G (optional) | TWh | TWh | DAYNITE
|  |  |  | ACT | [5 empty] | 1
|  | elc_roadtransport | AuxStoIN
|  |  |  | ELC_BatIn | AuxStoIN | FLO_FUNC | 1 | 3

## H2 prod
XXX |  | Investment cost per unit of capacity (EUR/kW-output) |  |  | Fixed O&M costs (EUR/kW-output) |  |  | Heatrate (input over output ratio) | [5 empty] | Conversion technologies
|  | invcost | invcost | invcost | fixom | fixom | fixom | input~GASNGA | efficiency | input~GASNGA | efficiency | input~GASNGA | efficiency
|  | 2020 | 2030 | 2050 | 2020 | 2030 | 2050 | 2015 | 2015 | 2030 | 2030 | 2050 | 2050
|  | 2020 | 2030 | Ultimate | 2015 | 2030 | Ultimate | 2015 Heat | 2015 Electricity | 2030 Heat | 2030 Electricity | Ultimate Heat | Ultimate Electricity
|  | 550 | 500 | 450 | 22 | 20 | 18 | 1.33 | 0.094 | 1.3 | 0.094 | 1.28 | 0.094 | Hydrogen from natural gas steam reforming centralised - Large scale (per 1 kW or 1 MWh H2 HHV)
|  | 900 | 850 | 800 | 36 | 34 | 32 | 1.33 | 1.094 | 1.3 | 1.094 | 1.28 | 1.094 | Hydrogen from natural gas steam reforming centralised - Large scale with CCU (per 1 kW or 1 MWh H2 HHV)
|  | 1978 | 1598 | 1450 | 57 | 31 | 28 | 1.53 | 0.094 | 1.47 | 0.094 | 1.43 | 0.094 | Hydrogen from natural gas steam reforming de-centralised - Medium scale (per 1 kW or 1 MWh H2 HHV)
|  | 1610 | 740 | 200 | 49 | 15 | 10 | 0 | 1.39 | 0 | 1.19 | 0 | 1.17 | Hydrogen from low temperature water electrolysis PEM centralised - Large scale (per 1 kW or 1 MWh H2 HHV)
|  | 2530 | 1175 | 350 | 77 | 34 | 18 | 0 | 1.5 | 0 | 1.25 | 0 | 1.19 | Hydrogen from low temperature water electrolysis PEM de-centralised at a refuelling station (per 1 kW or 1 MWh H2 HHV)
|  | 1265 | 600 | 180 | 28 | 14 | 9 | 0 | 1.3952 | 0 | 1.268 | 0 | 1.18 | Hydrogen from low temperature water electrolysis - Alkaline centralised, large scale (per 1 kW or 1 MWh H2 HHV)
|  | 1897.5 | 715 | 300 | 41 | 17 | 15 | 0 | 1.3952 | 0 | 1.268 | 0 | 1.2 | Hydrogen from low temperature water electrolysis Alkaline de-centralised at a refuelling station (per 1 kW or 1 MWh H2 HHV)
|  | 3332.0882 | 1421.3922 | 600 | 55.825 | 36.18 | 39 | 1.9967 | 0.83712 | 1.4556 | 0.7608 | 0.33333 | 0.708 | Hydrogen from high temperature water electrolysis SOEC centralised (per 1 kW or 1 MWh H2 HHV)
|  | 5331.3412 | 2920.8941 | 1100 | 94.9025 | 63.315 | 48.75 | 1.9967 | 0.83712 | 1.4556 | 0.7608 | 0.33333 | 0.72 | Hydrogen from high temperature water electrolysis SOEC de-centralised at a refuelling station (per 1 kW or 1 MWh H2 HHV)
|  | 1200 | 733 | 263 | 42 | 22 | 9 | 0 | 0.01 | 0 | 0.01 | 0 | 0.01 | Methanation (per 1 kW or 1 MWh CH4 HHV)
|  | 450 | 450 | 450 | 18 | 18 | 18 | 0.26582 | 0.06 | 0.26582 | 0.06 | 0.26582 | 0.06 | CH4 Liquefaction plant (per 1 kW or 1 MWh gas HHV)
|  | 200 | 200 | 200 | 20 | 20 | 20 | 0.013 | 0.036 | 0.013 | 0.036 | 0.013 | 0.036 | Gas Liquefaction plant (per 1 kW or 1 MWh gas HHV)
|  | 175 | 175 | 175 | 5 | 5 | 5 | 0.014 | 0 | 0.014 | 0 | 0.014 | 0 | Regasification Plant including LNG storage (per 1 kW or 1 MWh gas HHV)
|  | 1000 | 720 | 364 | 50 | 31 | 18 | 0.2389 | 0.03056 | 0.2389 | 0.03056 | 0.2389 | 0.03056 | Power to liquid via the methanol route (per 1 kW or 1 MWh CH4 HHV)
|  | 1556 | 1143 | 673 | 54 | 40 | 24 | 0.035 | 0.02 | 0.035 | 0.02 | 0.035 | 0.02 | Power to liquid via the Fischer Tropsch route (per 1 kW or 1 MWh CH4 HHV)
|  | 2332 | 1511 | 965 | 163 | 106 | 68 | 0.46327 | 1.9188 | 0.39244 | 1.601 | 0.37891 | 1.5694 | Power to liquid via High temperature co-electrolysis and Fischer Tropsch (per 1 kW or 1 MWh CH4 HHV)
|  | 769.8768 | 648.0445 | 518.2906 | 26.9457 | 22.6816 | 18.1402 | 2.7778 | 2.2222 | 1.6667 | 1.3889 | 1.1389 | 0.3 | Capture CO2 from air (Absorption technology) (per 1 tCO2)
|  | 1259.7984 | 894.3014 | 495 | 44.0929 | 31.3005 | 17.325 | 2 | 0.3 | 1.8056 | 0.3 | 1.5 | 0.3 | Capture CO2 from air (Adsorption technology) (per 1 tCO2)
|  | 174 | 174 | 174 | 3 | 3 | 3 | 0 | 0.20588 | 0 | 0.20588 | 0 | 0.20588 | CO2 Liquefaction plant (per 1 ton CO2)
|  | ~FI_T: EUR15 | [14 empty] | ~FI_Process
Comm-OUT | Comm-IN | invcost~2020 | invcost~2030 | invcost~2050 | fixom~2020 | fixom~2030 | fixom~2050 | input~GASNGA~2015 | efficiency | input~GASNGA~2030 | efficiency~2030 | input~GASNGA~2050 | efficiency~2050 | TechName | LIFE | Cap2Act | Sets | TechName | TechDesc | Tcap | Tact | Tslvl | Vintage
hydrogen | ELC,ELCCurt | 1610 | 740 | 450 | 49 | 15 | 10 |  | 0.71942 |  | 0.84034 |  | 0.8547 | H2prd_Elc_PEM | 25 | 8.76 | PRE | H2prd_Elc_PEM | Hydrogen from low temperature water electrolysis PEM centralised - Large scale (per 1 kW or 1 MWh H2 HHV) | GW | TWh | DAYNITE | Yes
hydrogen | ELC,ELCCurt | 1265 | 600 | 350 | 28 | 14 | 9 |  | 0.71674 |  | 0.78864 |  | 0.84746 | H2prd_Elc_ALK | 25 | 8.76 | PRE | H2prd_Elc_ALK | Hydrogen from low temperature water electrolysis - Alkaline centralised, large scale (per 1 kW or 1 MWh H2 HHV) | GW | TWh | DAYNITE | Yes

## solar
~fi_process | [6 empty] | ~fi_t |  |  |  | ~fi_process | [7 empty] | ~fi_t |  |  |  |  | ~fi_process | [6 empty] | ~fi_t |  |  |  |  | ~fi_process | [6 empty] | ~fi_t
set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage | process | comm-out | cap_bnd | af~fx | set | process | description | capacity_unit | activity_unit | primarycg | timeslicelevel | vintage | process | comm-in | comm-out | efficiency | ncap_cost~USD21_alt | set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage | process | comm-in | comm-out | efficiency | ncap_cost~USD21_alt | set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage | process | comm-in | comm-out | efficiency | ncap_cost~USD21_alt
ele | e_spv_ZAF_001 | solar resource in cluster 1 | GW | TWh | annual | no | e_spv_ZAF_001 | elc_spv_ZAF_001 | 56.3545 | 0.25209 | pre | distr_solelc_spv_ZAF_018 | connecting solar to buses in cluster 18 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_018 | elc_spv_ZAF_018 | e_w102682082-400_ZAF,e_w177800991-400_ZAF | 0.99457 | 99.5992 | pre | distr_wonelc_won_ZAF_037 | connecting wind onshore to buses in cluster 37 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_037 | elc_won_ZAF_037 | e_w193978748-400_ZAF,e_w125754107-400_ZAF | 0.99505 | 90.782 | pre | distr_wofelc_wof_ZAF_012 | connecting wind offshore to buses in cluster 12 | GW | TWh | daynite | no | distr_wofelc_wof_ZAF_012 | elc_wof_ZAF_012 | e_ZA36-400_ZAF,e_w107391770-400_ZAF,e_w120941269-400_ZAF,e_w131625968-400_ZAF | 0.99502 | 91.3676
ele | e_spv_ZAF_002 | solar resource in cluster 2 | GW | TWh | annual | no | e_spv_ZAF_002 | elc_spv_ZAF_002 | 97.1534 | 0.26107 | pre | distr_solelc_spv_ZAF_016 | connecting solar to buses in cluster 16 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_016 | elc_spv_ZAF_016 | e_w90454383-400_ZAF,e_w89637370-400_ZAF | 0.99467 | 97.7273 | pre | distr_wonelc_won_ZAF_026 | connecting wind onshore to buses in cluster 26 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_026 | elc_won_ZAF_026 | e_w184581460-400_ZAF,e_w230551819-400_ZAF,e_ZA2-400_ZAF,e_ZA14-400_ZAF,e_w685294883-400_ZAF,e_w170672051-400_ZAF | 0.99547 | 83.096 | pre | distr_wofelc_wof_ZAF_019 | connecting wind offshore to buses in cluster 19 | GW | TWh | daynite | no | distr_wofelc_wof_ZAF_019 | elc_wof_ZAF_019 | e_w169789536-400_ZAF,e_w934819484-400_ZAF | 0.9928 | 132.0628
ele | e_spv_ZAF_003 | solar resource in cluster 3 | GW | TWh | annual | no | e_spv_ZAF_003 | elc_spv_ZAF_003 | 40.3285 | 0.25991 | pre | distr_solelc_spv_ZAF_039 | connecting solar to buses in cluster 39 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_039 | elc_spv_ZAF_039 | e_ZA2-400_ZAF,e_w685294883-400_ZAF,e_ZA1-400_ZAF,e_w208749745-400_ZAF | 0.99528 | 86.5771 | pre | distr_wonelc_won_ZAF_008 | connecting wind onshore to buses in cluster 8 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_008 | elc_won_ZAF_008 | e_w105759402-400_ZAF,e_ZA26-400_ZAF,e_w179136373-400_ZAF,e_w104080393-400_ZAF,e_w213181313-400_ZAF | 0.99677 | 59.2602 | pre | distr_wofelc_wof_ZAF_017 | connecting wind offshore to buses in cluster 17 | GW | TWh | daynite | no | distr_wofelc_wof_ZAF_017 | elc_wof_ZAF_017 | e_w90454383-400_ZAF,e_w169647963-400_ZAF | 0.9901 | 181.4598
ele | e_spv_ZAF_004 | solar resource in cluster 4 | GW | TWh | annual | no | e_spv_ZAF_004 | elc_spv_ZAF_004 | 41.8977 | 0.25525 | pre | distr_solelc_spv_ZAF_033 | connecting solar to buses in cluster 33 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_033 | elc_spv_ZAF_033 | e_w631673098-400_ZAF,e_w207991752-400_ZAF,e_w127585817-400_ZAF,e_w105759402-400_ZAF,e_ZA31-400_ZAF | 0.99511 | 89.7105 | pre | distr_wonelc_won_ZAF_035 | connecting wind onshore to buses in cluster 35 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_035 | elc_won_ZAF_035 | e_w193465369-400_ZAF,e_w193978748-400_ZAF,e_w62218063-400_ZAF,e_w836844162-400_ZAF,e_w107431792-400_ZAF,e_w102682082-400_ZAF,e_w545652232-400_ZAF,e_ZA43-400_ZAF,e_w182042518-400_ZAF | 0.99602 | 73.0258 | pre | distr_wofelc_wof_ZAF_006 | connecting wind offshore to buses in cluster 6 | GW | TWh | daynite | no | distr_wofelc_wof_ZAF_006 | elc_wof_ZAF_006 | e_w193465369-400_ZAF | 0.99223 | 142.4096
ele | e_spv_ZAF_005 | solar resource in cluster 5 | GW | TWh | annual | no | e_spv_ZAF_005 | elc_spv_ZAF_005 | 38.2047 | 0.25369 | pre | distr_solelc_spv_ZAF_032 | connecting solar to buses in cluster 32 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_032 | elc_spv_ZAF_032 | e_w631673098-400_ZAF,e_w207991752-400_ZAF,e_ZA36-400_ZAF | 0.99682 | 58.3382 | pre | distr_wonelc_won_ZAF_018 | connecting wind onshore to buses in cluster 18 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_018 | elc_won_ZAF_018 | e_r17287657-400_ZAF,e_w631673098-400_ZAF,e_w207991752-400_ZAF,e_ZA36-400_ZAF | 0.99621 | 69.54 | pre | distr_wofelc_wof_ZAF_018 | connecting wind offshore to buses in cluster 18 | GW | TWh | daynite | no | distr_wofelc_wof_ZAF_018 | elc_wof_ZAF_018 | e_w90454383-400_ZAF,e_w169647963-400_ZAF,e_r17287657-400_ZAF | 0.99462 | 98.6184
ele | e_spv_ZAF_006 | solar resource in cluster 6 | GW | TWh | annual | no | e_spv_ZAF_006 | elc_spv_ZAF_006 | 43.8129 | 0.26698 | pre | distr_solelc_spv_ZAF_024 | connecting solar to buses in cluster 24 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_024 | elc_spv_ZAF_024 | e_w208749745-400_ZAF,e_ZA7-400_ZAF,e_w156418705-400_ZAF | 0.98958 | 191.0216 | pre | distr_wonelc_won_ZAF_020 | connecting wind onshore to buses in cluster 20 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_020 | elc_won_ZAF_020 | e_w208749745-400_ZAF,e_w156418705-400_ZAF,e_ZA7-400_ZAF | 0.99495 | 92.5573 | pre | distr_wofelc_wof_ZAF_009 | connecting wind offshore to buses in cluster 9 | GW | TWh | daynite | no | distr_wofelc_wof_ZAF_009 | elc_wof_ZAF_009 | e_w631673098-400_ZAF,e_w207991752-400_ZAF | 0.99507 | 90.3535
ele | e_spv_ZAF_007 | solar resource in cluster 7 | GW | TWh | annual | no | e_spv_ZAF_007 | elc_spv_ZAF_007 | 41.6407 | 0.25951 | pre | distr_solelc_spv_ZAF_012 | connecting solar to buses in cluster 12 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_012 | elc_spv_ZAF_012 | e_w193465369-400_ZAF,e_w193978748-400_ZAF | 0.99591 | 75.0313 | pre | distr_wonelc_won_ZAF_040 | connecting wind onshore to buses in cluster 40 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_040 | elc_won_ZAF_040 | e_w183402339-400_ZAF,e_ZA38-765_ZAF,e_w142414070-400_ZAF,e_w142414070-765_ZAF,e_w107937167-400_ZAF | 0.99394 | 111.1096 | pre | distr_wofelc_wof_ZAF_010 | connecting wind offshore to buses in cluster 10 | GW | TWh | daynite | no | distr_wofelc_wof_ZAF_010 | elc_wof_ZAF_010 | e_w131625968-400_ZAF,e_ZA23-400_ZAF,e_ZA11-400_ZAF | 0.98806 | 218.9289
ele | e_spv_ZAF_008 | solar resource in cluster 8 | GW | TWh | annual | no | e_spv_ZAF_008 | elc_spv_ZAF_008 | 41.1712 | 0.26826 | pre | distr_solelc_spv_ZAF_007 | connecting solar to buses in cluster 7 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_007 | elc_spv_ZAF_007 | e_w125754107-400_ZAF,e_ZA39-400_ZAF,e_w125769921-400_ZAF,e_w167590549-400_ZAF,e_w183402339-400_ZAF | 0.99299 | 128.5084 | pre | distr_wonelc_won_ZAF_024 | connecting wind onshore to buses in cluster 24 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_024 | elc_won_ZAF_024 | e_w693869805-400_ZAF,e_w230551819-400_ZAF,e_ZA3-400_ZAF,e_w182408147-400_ZAF | 0.99577 | 77.6119 | pre | distr_wofelc_wof_ZAF_001 | connecting wind offshore to buses in cluster 1 | GW | TWh | daynite | no | distr_wofelc_wof_ZAF_001 | elc_wof_ZAF_001 | e_w107431792-400_ZAF,e_w836844162-400_ZAF,e_w62218063-400_ZAF | 0.99482 | 95.0553
ele | e_spv_ZAF_009 | solar resource in cluster 9 | GW | TWh | annual | no | e_spv_ZAF_009 | elc_spv_ZAF_009 | 104.5561 | 0.26627 | pre | distr_solelc_spv_ZAF_010 | connecting solar to buses in cluster 10 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_010 | elc_spv_ZAF_010 | e_w836844162-400_ZAF,e_w107431792-400_ZAF,e_w545652232-400_ZAF,e_ZA43-400_ZAF,e_w182042518-400_ZAF,e_w193978748-400_ZAF | 0.99715 | 52.189 | pre | distr_wonelc_won_ZAF_022 | connecting wind onshore to buses in cluster 22 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_022 | elc_won_ZAF_022 | e_w1146812331-400_ZAF,e_ZA4-400_ZAF,e_w184560833-400_ZAF,e_w184552955-400_ZAF | 0.99796 | 37.3845 | pre | distr_wofelc_wof_ZAF_004 | connecting wind offshore to buses in cluster 4 | GW | TWh | daynite | no | distr_wofelc_wof_ZAF_004 | elc_wof_ZAF_004 | e_w193465369-400_ZAF,e_w193978748-400_ZAF | 0.9883 | 214.4349
ele | e_spv_ZAF_010 | solar resource in cluster 10 | GW | TWh | annual | no | e_spv_ZAF_010 | elc_spv_ZAF_010 | 2.3741 | 0.23745 | pre | distr_solelc_spv_ZAF_017 | connecting solar to buses in cluster 17 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_017 | elc_spv_ZAF_017 | e_w167590549-400_ZAF,e_w89173873-400_ZAF,e_w90454383-400_ZAF,e_w89637370-400_ZAF | 0.99342 | 120.6523 | pre | distr_wonelc_won_ZAF_013 | connecting wind onshore to buses in cluster 13 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_013 | elc_won_ZAF_013 | e_w177800991-400_ZAF,e_w934819484-400_ZAF,e_w169789536-400_ZAF | 0.99518 | 88.4228 | pre | distr_wofelc_wof_ZAF_011 | connecting wind offshore to buses in cluster 11 | GW | TWh | daynite | no | distr_wofelc_wof_ZAF_011 | elc_wof_ZAF_011 | e_w131625968-400_ZAF | 0.99448 | 101.2885
ele | e_spv_ZAF_011 | solar resource in cluster 11 | GW | TWh | annual | no | e_spv_ZAF_011 | elc_spv_ZAF_011 | 12.5202 | 0.24512 | pre | distr_solelc_spv_ZAF_036 | connecting solar to buses in cluster 36 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_036 | elc_spv_ZAF_036 | e_w169647963-400_ZAF,e_w89637370-400_ZAF,e_r17287657-400_ZAF,e_w107937167-400_ZAF | 0.99601 | 73.0915 | pre | distr_wonelc_won_ZAF_025 | connecting wind onshore to buses in cluster 25 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_025 | elc_won_ZAF_025 | e_w693869805-400_ZAF,e_w87404898-400_ZAF,e_w184201271-400_ZAF,e_w230551819-400_ZAF,e_w359805008-400_ZAF | 0.99838 | 29.6272 | pre | distr_wofelc_wof_ZAF_008 | connecting wind offshore to buses in cluster 8 | GW | TWh | daynite | no | distr_wofelc_wof_ZAF_008 | elc_wof_ZAF_008 | e_ZA36-400_ZAF | 0.99673 | 59.9944
ele | e_spv_ZAF_012 | solar resource in cluster 12 | GW | TWh | annual | no | e_spv_ZAF_012 | elc_spv_ZAF_012 | 29.3021 | 0.24887 | pre | distr_solelc_spv_ZAF_030 | connecting solar to buses in cluster 30 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_030 | elc_spv_ZAF_030 | e_w167648085-400_ZAF,e_w183757901-400_ZAF,e_ZA23-400_ZAF | 0.99695 | 55.9013 | pre | distr_wonelc_won_ZAF_027 | connecting wind onshore to buses in cluster 27 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_027 | elc_won_ZAF_027 | e_w102925909-400_ZAF,e_w200223220-400_ZAF,e_w167540668-765_ZAF,e_w178240552-400_ZAF,e_w105759402-400_ZAF,e_ZA24-400_ZAF | 0.99579 | 77.2364 | pre | distr_wofelc_wof_ZAF_015 | connecting wind offshore to buses in cluster 15 | GW | TWh | daynite | no | distr_wofelc_wof_ZAF_015 | elc_wof_ZAF_015 | e_w102682082-400_ZAF,e_w177800991-400_ZAF,e_w934819484-400_ZAF | 0.99231 | 140.9035
ele | e_spv_ZAF_013 | solar resource in cluster 13 | GW | TWh | annual | no | e_spv_ZAF_013 | elc_spv_ZAF_013 | 22.1285 | 0.25603 | pre | distr_solelc_spv_ZAF_028 | connecting solar to buses in cluster 28 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_028 | elc_spv_ZAF_028 | e_w107391770-400_ZAF,e_w120941269-400_ZAF,e_w219596295-400_ZAF | 0.99758 | 44.3632 | pre | distr_wonelc_won_ZAF_003 | connecting wind onshore to buses in cluster 3 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_003 | elc_won_ZAF_003 | e_w177800991-400_ZAF,e_ZA39-400_ZAF,e_w193978748-400_ZAF | 0.99515 | 89.004 | pre | distr_wofelc_wof_ZAF_020 | connecting wind offshore to buses in cluster 20 | GW | TWh | daynite | no | distr_wofelc_wof_ZAF_020 | elc_wof_ZAF_020 | e_w934819484-400_ZAF,e_w169789536-400_ZAF,e_w90454383-400_ZAF | 0.9923 | 141.2013
ele | e_spv_ZAF_014 | solar resource in cluster 14 | GW | TWh | annual | no | e_spv_ZAF_014 | elc_spv_ZAF_014 | 24.0714 | 0.26465 | pre | distr_solelc_spv_ZAF_006 | connecting solar to buses in cluster 6 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_006 | elc_spv_ZAF_006 | e_w162871098-400_ZAF,e_w125754107-400_ZAF,e_ZA25-400_ZAF,e_w125769921-400_ZAF,e_w663042845-400_ZAF | 0.99589 | 75.394 | pre | distr_wonelc_won_ZAF_033 | connecting wind onshore to buses in cluster 33 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_033 | elc_won_ZAF_033 | e_w200757306-400_ZAF | 0.99178 | 150.6984 | pre | distr_wofelc_wof_ZAF_007 | connecting wind offshore to buses in cluster 7 | GW | TWh | daynite | no | distr_wofelc_wof_ZAF_007 | elc_wof_ZAF_007 | e_r17287657-400_ZAF,e_w631673098-400_ZAF | 0.99582 | 76.6205
ele | e_spv_ZAF_015 | solar resource in cluster 15 | GW | TWh | annual | no | e_spv_ZAF_015 | elc_spv_ZAF_015 | 2.3488 | 0.212 | pre | distr_solelc_spv_ZAF_019 | connecting solar to buses in cluster 19 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_019 | elc_spv_ZAF_019 | e_w177800991-400_ZAF,e_w586032034-400_ZAF,e_w934819484-400_ZAF,e_w586032034-765_ZAF,e_w169789536-400_ZAF | 0.99546 | 83.31 | pre | distr_wonelc_won_ZAF_012 | connecting wind onshore to buses in cluster 12 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_012 | elc_won_ZAF_012 | e_w169647963-400_ZAF,e_w89637370-400_ZAF,e_r17287657-400_ZAF,e_w107937167-400_ZAF,e_w631673098-400_ZAF | 0.99572 | 78.4456 | pre | distr_wofelc_wof_ZAF_013 | connecting wind offshore to buses in cluster 13 | GW | TWh | daynite | no | distr_wofelc_wof_ZAF_013 | elc_wof_ZAF_013 | e_w169789536-400_ZAF | 0.98844 | 211.935
ele | e_spv_ZAF_016 | solar resource in cluster 16 | GW | TWh | annual | no | e_spv_ZAF_016 | elc_spv_ZAF_016 | 11.1641 | 0.22892 | pre | distr_solelc_spv_ZAF_005 | connecting solar to buses in cluster 5 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_005 | elc_spv_ZAF_005 | e_w142414070-765_ZAF,e_ZA28-765_ZAF,e_w496302277-400_ZAF,e_w92348290-765_ZAF,e_w181366662-765_ZAF | 0.99492 | 93.1696 | pre | distr_wonelc_won_ZAF_041 | connecting wind onshore to buses in cluster 41 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_041 | elc_won_ZAF_041 | e_w162871098-400_ZAF,e_ZA25-400_ZAF,e_w125769921-400_ZAF,e_w663042845-400_ZAF,e_w663042849-400_ZAF,e_w183402339-400_ZAF | 0.99607 | 72.0697 | pre | distr_wofelc_wof_ZAF_003 | connecting wind offshore to buses in cluster 3 | GW | TWh | daynite | no | distr_wofelc_wof_ZAF_003 | elc_wof_ZAF_003 | e_w193978748-400_ZAF,e_w193465369-400_ZAF,e_w107431792-400_ZAF | 0.99545 | 83.3392
ele | e_spv_ZAF_017 | solar resource in cluster 17 | GW | TWh | annual | no | e_spv_ZAF_017 | elc_spv_ZAF_017 | 25.064 | 0.2331 | pre | distr_solelc_spv_ZAF_042 | connecting solar to buses in cluster 42 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_042 | elc_spv_ZAF_042 | e_w167540668-400_ZAF,e_w103079596-400_ZAF,e_w693869805-400_ZAF,e_w184201271-400_ZAF,e_w102925909-400_ZAF,e_w200223220-400_ZAF,e_w167540668-765_ZAF,e_w178240552-400_ZAF,e_w87434264-400_ZAF,e_ZA24-400_ZAF,e_w105811523-400_ZAF | 0.99673 | 59.8588 | pre | distr_wonelc_won_ZAF_006 | connecting wind onshore to buses in cluster 6 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_006 | elc_won_ZAF_006 | e_w586032034-765_ZAF,e_ZA39-400_ZAF,e_w934819484-400_ZAF,e_w167590549-400_ZAF,e_w89173873-400_ZAF | 0.99512 | 89.5119 | pre | distr_wofelc_wof_ZAF_002 | connecting wind offshore to buses in cluster 2 | GW | TWh | daynite | no | distr_wofelc_wof_ZAF_002 | elc_wof_ZAF_002 | e_w193465369-400_ZAF,e_w107431792-400_ZAF,e_w193978748-400_ZAF,e_w836844162-400_ZAF | 0.9919 | 148.4862
ele | e_spv_ZAF_018 | solar resource in cluster 18 | GW | TWh | annual | no | e_spv_ZAF_018 | elc_spv_ZAF_018 | 1.2149 | 0.2117 | pre | distr_solelc_spv_ZAF_038 | connecting solar to buses in cluster 38 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_038 | elc_spv_ZAF_038 | e_w693869805-400_ZAF,e_w230551819-400_ZAF,e_ZA3-400_ZAF,e_w87404898-400_ZAF,e_w184201271-400_ZAF,e_w359805008-400_ZAF,e_w184581460-400_ZAF,e_ZA14-400_ZAF,e_w170672051-400_ZAF,e_w1146812331-400_ZAF | 0.99649 | 64.37 | pre | distr_wonelc_won_ZAF_034 | connecting wind onshore to buses in cluster 34 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_034 | elc_won_ZAF_034 | e_w200757306-400_ZAF,e_w183402339-400_ZAF,e_w496302277-400_ZAF | 0.99451 | 100.6386 | pre | distr_wofelc_wof_ZAF_005 | connecting wind offshore to buses in cluster 5 | GW | TWh | daynite | no | distr_wofelc_wof_ZAF_005 | elc_wof_ZAF_005 | e_w193465369-400_ZAF | 0.99581 | 76.7899
ele | e_spv_ZAF_019 | solar resource in cluster 19 | GW | TWh | annual | no | e_spv_ZAF_019 | elc_spv_ZAF_019 | 6.7793 | 0.22328 | pre | distr_solelc_spv_ZAF_026 | connecting solar to buses in cluster 26 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_026 | elc_spv_ZAF_026 | e_w179140081-400_ZAF,e_w185497473-400_ZAF,e_w179136373-765_ZAF,e_w209365700-400_ZAF,e_w209976655-400_ZAF,e_ZA20-400_ZAF,e_w238322344-400_ZAF,e_w260486370-400_ZAF | 0.99849 | 27.6375 | pre | distr_wonelc_won_ZAF_014 | connecting wind onshore to buses in cluster 14 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_014 | elc_won_ZAF_014 | e_w169789536-400_ZAF,e_w167590549-400_ZAF,e_w90454383-400_ZAF,e_w169647963-400_ZAF | 0.99158 | 154.3735 | pre | distr_wofelc_wof_ZAF_016 | connecting wind offshore to buses in cluster 16 | GW | TWh | daynite | no | distr_wofelc_wof_ZAF_016 | elc_wof_ZAF_016 | e_w62218063-400_ZAF,e_w102682082-400_ZAF | 0.9943 | 104.5226
ele | e_spv_ZAF_020 | solar resource in cluster 20 | GW | TWh | annual | no | e_spv_ZAF_020 | elc_spv_ZAF_020 | 4.3508 | 0.22732 | pre | distr_solelc_spv_ZAF_031 | connecting solar to buses in cluster 31 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_031 | elc_spv_ZAF_031 | e_w219596295-400_ZAF,e_w131625968-400_ZAF,e_ZA23-400_ZAF | 0.99485 | 94.4835 | pre | distr_wonelc_won_ZAF_005 | connecting wind onshore to buses in cluster 5 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_005 | elc_won_ZAF_005 | e_w90454383-400_ZAF,e_w89173873-400_ZAF,e_w89637370-400_ZAF | 0.99394 | 111.0298 | pre | distr_wofelc_wof_ZAF_014 | connecting wind offshore to buses in cluster 14 | GW | TWh | daynite | no | distr_wofelc_wof_ZAF_014 | elc_wof_ZAF_014 | e_w102682082-400_ZAF,e_w169789536-400_ZAF,e_w934819484-400_ZAF | 0.98743 | 230.4425
ele | e_spv_ZAF_021 | solar resource in cluster 21 | GW | TWh | annual | no | e_spv_ZAF_021 | elc_spv_ZAF_021 | 27.7682 | 0.24059 | pre | distr_solelc_spv_ZAF_035 | connecting solar to buses in cluster 35 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_035 | elc_spv_ZAF_035 | e_w107937167-400_ZAF,e_w631673098-400_ZAF | 0.99493 | 92.9509 | pre | distr_wonelc_won_ZAF_032 | connecting wind onshore to buses in cluster 32 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_032 | elc_won_ZAF_032 | e_w200757306-400_ZAF,e_w496302277-400_ZAF,e_w103079596-400_ZAF | 0.98861 | 208.8376
ele | e_spv_ZAF_022 | solar resource in cluster 22 | GW | TWh | annual | no | e_spv_ZAF_022 | elc_spv_ZAF_022 | 11.7461 | 0.19106 | pre | distr_solelc_spv_ZAF_022 | connecting solar to buses in cluster 22 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_022 | elc_spv_ZAF_022 | e_w156418705-400_ZAF,e_ZA11-400_ZAF | 0.99197 | 147.1495 | pre | distr_wonelc_won_ZAF_029 | connecting wind onshore to buses in cluster 29 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_029 | elc_won_ZAF_029 | e_w142414070-765_ZAF,e_w200757306-400_ZAF,e_ZA28-765_ZAF,e_w181366662-400_ZAF,e_w92348290-765_ZAF,e_w181366662-765_ZAF | 0.99333 | 122.2695
ele | e_spv_ZAF_023 | solar resource in cluster 23 | GW | TWh | annual | no | e_spv_ZAF_023 | elc_spv_ZAF_023 | 10.1473 | 0.18816 | pre | distr_solelc_spv_ZAF_011 | connecting solar to buses in cluster 11 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_011 | elc_spv_ZAF_011 | e_w177800991-400_ZAF,e_ZA39-400_ZAF,e_w193978748-400_ZAF,e_w586032034-765_ZAF | 0.99636 | 66.7483 | pre | distr_wonelc_won_ZAF_030 | connecting wind onshore to buses in cluster 30 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_030 | elc_won_ZAF_030 | e_ZA28-765_ZAF,e_w92348290-765_ZAF,e_w102925909-400_ZAF,e_w107937167-400_ZAF | 0.99202 | 146.3641
ele | e_spv_ZAF_024 | solar resource in cluster 24 | GW | TWh | annual | no | e_spv_ZAF_024 | elc_spv_ZAF_024 | 16.9969 | 0.19477 | pre | distr_solelc_spv_ZAF_004 | connecting solar to buses in cluster 4 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_004 | elc_spv_ZAF_004 | e_w142414070-765_ZAF,e_w142414070-400_ZAF,e_w107937167-400_ZAF,e_ZA28-765_ZAF | 0.99305 | 127.3648 | pre | distr_wonelc_won_ZAF_016 | connecting wind onshore to buses in cluster 16 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_016 | elc_won_ZAF_016 | e_ZA36-400_ZAF,e_w107391770-400_ZAF,e_w120941269-400_ZAF,e_w219596295-400_ZAF,e_w131625968-400_ZAF,e_ZA23-400_ZAF | 0.99518 | 88.4312
ele | e_spv_ZAF_025 | solar resource in cluster 25 | GW | TWh | annual | no | e_spv_ZAF_025 | elc_spv_ZAF_025 | 20.5438 | 0.20737 | pre | distr_solelc_spv_ZAF_023 | connecting solar to buses in cluster 23 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_023 | elc_spv_ZAF_023 | e_ZA23-400_ZAF,e_w260486370-400_ZAF,e_w156418705-400_ZAF,e_ZA11-400_ZAF | 0.99568 | 79.2915 | pre | distr_wonelc_won_ZAF_021 | connecting wind onshore to buses in cluster 21 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_021 | elc_won_ZAF_021 | e_ZA11-400_ZAF,e_w156418705-400_ZAF,e_ZA7-400_ZAF,e_w208749745-400_ZAF | 0.99248 | 137.9491
ele | e_spv_ZAF_026 | solar resource in cluster 26 | GW | TWh | annual | no | e_spv_ZAF_026 | elc_spv_ZAF_026 | 14.3689 | 0.22195 | pre | distr_solelc_spv_ZAF_013 | connecting solar to buses in cluster 13 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_013 | elc_spv_ZAF_013 | e_w125754107-400_ZAF,e_ZA39-400_ZAF | 0.9952 | 88.0104 | pre | distr_wonelc_won_ZAF_042 | connecting wind onshore to buses in cluster 42 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_042 | elc_won_ZAF_042 | e_ZA25-400_ZAF,e_w663042845-400_ZAF | 0.98688 | 240.5395
ele | e_spv_ZAF_027 | solar resource in cluster 27 | GW | TWh | annual | no | e_spv_ZAF_027 | elc_spv_ZAF_027 | 11.7544 | 0.21242 | pre | distr_solelc_spv_ZAF_015 | connecting solar to buses in cluster 15 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_015 | elc_spv_ZAF_015 | e_w90454383-400_ZAF,e_w169647963-400_ZAF | 0.99399 | 110.2619 | pre | distr_wonelc_won_ZAF_039 | connecting wind onshore to buses in cluster 39 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_039 | elc_won_ZAF_039 | e_w125754107-400_ZAF,e_w125769921-400_ZAF,e_ZA39-400_ZAF,e_w167590549-400_ZAF,e_w183402339-400_ZAF,e_w193977981-765_ZAF,e_ZA38-765_ZAF | 0.99431 | 104.2641
ele | e_spv_ZAF_028 | solar resource in cluster 28 | GW | TWh | annual | no | e_spv_ZAF_028 | elc_spv_ZAF_028 | 0.74877 | 0.18215 | pre | distr_solelc_spv_ZAF_037 | connecting solar to buses in cluster 37 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_037 | elc_spv_ZAF_037 | e_ZA3-400_ZAF,e_w182408147-400_ZAF,e_ZA2-400_ZAF | 0.99727 | 50.0783 | pre | distr_wonelc_won_ZAF_017 | connecting wind onshore to buses in cluster 17 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_017 | elc_won_ZAF_017 | e_w631673098-400_ZAF,e_w207991752-400_ZAF | 0.99692 | 56.436
ele | e_spv_ZAF_029 | solar resource in cluster 29 | GW | TWh | annual | no | e_spv_ZAF_029 | elc_spv_ZAF_029 | 3.3995 | 0.19261 | pre | distr_solelc_spv_ZAF_034 | connecting solar to buses in cluster 34 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_034 | elc_spv_ZAF_034 | e_w107937167-400_ZAF,e_r17287657-400_ZAF,e_w631673098-400_ZAF | 0.99616 | 70.4761 | pre | distr_wonelc_won_ZAF_009 | connecting wind onshore to buses in cluster 9 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_009 | elc_won_ZAF_009 | e_w98231311-400_ZAF,e_ZA14-400_ZAF,e_w178968761-400_ZAF,e_w179140081-400_ZAF,e_w185497473-400_ZAF,e_w179136373-765_ZAF,e_w209365700-400_ZAF,e_w209976655-400_ZAF,e_ZA20-400_ZAF,e_w238322344-400_ZAF,e_w260486370-400_ZAF | 0.9983 | 31.1549
ele | e_spv_ZAF_030 | solar resource in cluster 30 | GW | TWh | annual | no | e_spv_ZAF_030 | elc_spv_ZAF_030 | 1.9909 | 0.19326 | pre | distr_solelc_spv_ZAF_043 | connecting solar to buses in cluster 43 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_043 | elc_spv_ZAF_043 | e_w102925909-400_ZAF,e_ZA24-400_ZAF,e_w105759402-400_ZAF,e_w98231311-400_ZAF,e_ZA26-400_ZAF,e_w179136373-400_ZAF,e_w178968761-400_ZAF | 0.996 | 73.4216 | pre | distr_wonelc_won_ZAF_019 | connecting wind onshore to buses in cluster 19 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_019 | elc_won_ZAF_019 | e_w207991752-400_ZAF,e_w176362710-400_ZAF,e_ZA33-400_ZAF,e_ZA36-400_ZAF,e_w107391770-400_ZAF | 0.99788 | 38.8079
ele | e_spv_ZAF_031 | solar resource in cluster 31 | GW | TWh | annual | no | e_spv_ZAF_031 | elc_spv_ZAF_031 | 5.0922 | 0.17874 | pre | distr_solelc_spv_ZAF_002 | connecting solar to buses in cluster 2 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_002 | elc_spv_ZAF_002 | e_w200757306-400_ZAF,e_w183402339-400_ZAF,e_w496302277-400_ZAF,e_w142414070-765_ZAF,e_w181366662-400_ZAF | 0.99294 | 129.4203 | pre | distr_wonelc_won_ZAF_010 | connecting wind onshore to buses in cluster 10 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_010 | elc_won_ZAF_010 | e_ZA31-400_ZAF,e_w181284049-400_ZAF,e_w167648085-400_ZAF | 0.99677 | 59.2038
ele | e_spv_ZAF_032 | solar resource in cluster 32 | GW | TWh | annual | no | e_spv_ZAF_032 | elc_spv_ZAF_032 | 1.6358 | 0.18265 | pre | distr_solelc_spv_ZAF_003 | connecting solar to buses in cluster 3 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_003 | elc_spv_ZAF_003 | e_w193977981-765_ZAF,e_w183402339-400_ZAF,e_ZA38-765_ZAF,e_w142414070-400_ZAF | 0.99535 | 85.1689 | pre | distr_wonelc_won_ZAF_015 | connecting wind onshore to buses in cluster 15 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_015 | elc_won_ZAF_015 | e_w219596295-400_ZAF,e_w183757901-400_ZAF,e_ZA23-400_ZAF | 0.99825 | 32.1413
ele | e_spv_ZAF_033 | solar resource in cluster 33 | GW | TWh | annual | no | e_spv_ZAF_033 | elc_spv_ZAF_033 | 3.4061 | 0.20838 | pre | distr_solelc_spv_ZAF_041 | connecting solar to buses in cluster 41 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_041 | elc_spv_ZAF_041 | e_w107937167-400_ZAF,e_ZA28-765_ZAF,e_w92348290-765_ZAF,e_w102925909-400_ZAF,e_w200223220-400_ZAF,e_w631673098-400_ZAF,e_w105759402-400_ZAF | 0.99309 | 126.5984 | pre | distr_wonelc_won_ZAF_004 | connecting wind onshore to buses in cluster 4 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_004 | elc_won_ZAF_004 | e_w102682082-400_ZAF,e_w177800991-400_ZAF,e_w586032034-400_ZAF,e_w586032034-765_ZAF,e_w934819484-400_ZAF,e_w169789536-400_ZAF | 0.99587 | 75.6265
ele | e_spv_ZAF_034 | solar resource in cluster 34 | GW | TWh | annual | no | e_spv_ZAF_034 | elc_spv_ZAF_034 | 3.2573 | 0.19653 | pre | distr_solelc_spv_ZAF_027 | connecting solar to buses in cluster 27 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_027 | elc_spv_ZAF_027 | e_ZA29-400_ZAF,e_ZA26-400_ZAF,e_w104080393-400_ZAF,e_w213181313-400_ZAF,e_w167648085-400_ZAF,e_w183759046-400_ZAF,e_w238322344-400_ZAF | 0.99827 | 31.7017 | pre | distr_wonelc_won_ZAF_031 | connecting wind onshore to buses in cluster 31 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_031 | elc_won_ZAF_031 | e_w496302277-400_ZAF,e_w92348290-765_ZAF | 0.99573 | 78.2893
ele | e_spv_ZAF_035 | solar resource in cluster 35 | GW | TWh | annual | no | e_spv_ZAF_035 | elc_spv_ZAF_035 | 10.3008 | 0.23438 | pre | distr_solelc_spv_ZAF_001 | connecting solar to buses in cluster 1 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_001 | elc_spv_ZAF_001 | e_w200757306-400_ZAF,e_w496302277-400_ZAF,e_w103079596-400_ZAF,e_w693869805-400_ZAF,e_w230551819-400_ZAF | 0.99021 | 179.4365 | pre | distr_wonelc_won_ZAF_023 | connecting wind onshore to buses in cluster 23 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_023 | elc_won_ZAF_023 | e_ZA2-400_ZAF,e_w685294883-400_ZAF,e_ZA1-400_ZAF,e_w208749745-400_ZAF,e_w184552955-400_ZAF | 0.99505 | 90.7294
ele | e_spv_ZAF_036 | solar resource in cluster 36 | GW | TWh | annual | no | e_spv_ZAF_036 | elc_spv_ZAF_036 | 2.6349 | 0.20429 | pre | distr_solelc_spv_ZAF_029 | connecting solar to buses in cluster 29 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_029 | elc_spv_ZAF_029 | e_w176362710-400_ZAF,e_ZA33-400_ZAF,e_ZA31-400_ZAF,e_ZA30-400_ZAF,e_w107391770-400_ZAF,e_w181284049-400_ZAF,e_w167648085-400_ZAF | 0.99766 | 42.8563 | pre | distr_wonelc_won_ZAF_038 | connecting wind onshore to buses in cluster 38 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_038 | elc_won_ZAF_038 | e_w193465369-400_ZAF | 0.99468 | 97.4925
ele | e_spv_ZAF_037 | solar resource in cluster 37 | GW | TWh | annual | no | e_spv_ZAF_037 | elc_spv_ZAF_037 | 27.4746 | 0.23025 | pre | distr_solelc_spv_ZAF_020 | connecting solar to buses in cluster 20 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_020 | elc_spv_ZAF_020 | e_w169789536-400_ZAF,e_w167590549-400_ZAF | 0.99332 | 122.5266 | pre | distr_wonelc_won_ZAF_002 | connecting wind onshore to buses in cluster 2 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_002 | elc_won_ZAF_002 | e_w89173873-400_ZAF,e_w89637370-400_ZAF,e_w142414070-400_ZAF,e_w107937167-400_ZAF,e_w631673098-400_ZAF | 0.99399 | 110.1747
ele | e_spv_ZAF_038 | solar resource in cluster 38 | GW | TWh | annual | no | e_spv_ZAF_038 | elc_spv_ZAF_038 | 63.4124 | 0.23317 | pre | distr_solelc_spv_ZAF_040 | connecting solar to buses in cluster 40 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_040 | elc_spv_ZAF_040 | e_w685294883-400_ZAF,e_w1146812331-400_ZAF,e_ZA4-400_ZAF,e_w1146878078-400_ZAF,e_w184560833-400_ZAF,e_w184552955-400_ZAF,e_w156418705-400_ZAF,e_ZA7-400_ZAF | 0.99698 | 55.2826 | pre | distr_wonelc_won_ZAF_028 | connecting wind onshore to buses in cluster 28 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_028 | elc_won_ZAF_028 | e_w496302277-400_ZAF,e_w103079596-400_ZAF,e_w200223220-400_ZAF,e_w167540668-400_ZAF,e_w693869805-400_ZAF,e_w184201271-400_ZAF,e_w87434264-400_ZAF,e_w105811523-400_ZAF | 0.99646 | 64.8498
ele | e_spv_ZAF_039 | solar resource in cluster 39 | GW | TWh | annual | no | e_spv_ZAF_039 | elc_spv_ZAF_039 | 29.1358 | 0.2246 | pre | distr_solelc_spv_ZAF_008 | connecting solar to buses in cluster 8 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_008 | elc_spv_ZAF_008 | e_ZA25-400_ZAF | 0.98299 | 311.8518 | pre | distr_wonelc_won_ZAF_036 | connecting wind onshore to buses in cluster 36 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_036 | elc_won_ZAF_036 | e_w193465369-400_ZAF,e_w162871098-400_ZAF,e_w125754107-400_ZAF | 0.99605 | 72.4736
ele | e_spv_ZAF_040 | solar resource in cluster 40 | GW | TWh | annual | no | e_spv_ZAF_040 | elc_spv_ZAF_040 | 19.4892 | 0.22873 | pre | distr_solelc_spv_ZAF_021 | connecting solar to buses in cluster 21 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_021 | elc_spv_ZAF_021 | e_w586032034-765_ZAF,e_w934819484-400_ZAF,e_w167590549-400_ZAF | 0.99496 | 92.44 | pre | distr_wonelc_won_ZAF_007 | connecting wind onshore to buses in cluster 7 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_007 | elc_won_ZAF_007 | e_w631673098-400_ZAF,e_w207991752-400_ZAF,e_w127585817-400_ZAF | 0.99164 | 153.2564
ele | e_spv_ZAF_041 | solar resource in cluster 41 | GW | TWh | annual | no | e_spv_ZAF_041 | elc_spv_ZAF_041 | 28.2736 | 0.2486 | pre | distr_solelc_spv_ZAF_025 | connecting solar to buses in cluster 25 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_025 | elc_spv_ZAF_025 | e_w208749745-400_ZAF,e_w156418705-400_ZAF,e_ZA7-400_ZAF | 0.99565 | 79.8324 | pre | distr_wonelc_won_ZAF_001 | connecting wind onshore to buses in cluster 1 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_001 | elc_won_ZAF_001 | e_w107937167-400_ZAF,e_w631673098-400_ZAF | 0.99599 | 73.4433
ele | e_spv_ZAF_042 | solar resource in cluster 42 | GW | TWh | annual | no | e_spv_ZAF_042 | elc_spv_ZAF_042 | 25.4728 | 0.24128 | pre | distr_solelc_spv_ZAF_014 | connecting solar to buses in cluster 14 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_014 | elc_spv_ZAF_014 | e_w193465369-400_ZAF,e_w162871098-400_ZAF | 0.99465 | 98.1117 | pre | distr_wonelc_won_ZAF_011 | connecting wind onshore to buses in cluster 11 | GW | TWh | daynite | no | distr_wonelc_won_ZAF_011 | elc_won_ZAF_011 | e_ZA29-400_ZAF,e_ZA26-400_ZAF,e_ZA30-400_ZAF,e_w167648085-400_ZAF,e_w183759046-400_ZAF,e_w104080393-400_ZAF,e_w183757901-400_ZAF,e_ZA23-400_ZAF | 0.99791 | 38.2514
ele | e_spv_ZAF_043 | solar resource in cluster 43 | GW | TWh | annual | no | e_spv_ZAF_043 | elc_spv_ZAF_043 | 21.2261 | 0.23195 | pre | distr_solelc_spv_ZAF_009 | connecting solar to buses in cluster 9 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_ZAF_009 | elc_spv_ZAF_009 | e_ZA25-400_ZAF,e_w125769921-400_ZAF,e_w663042845-400_ZAF,e_w663042849-400_ZAF,e_w183402339-400_ZAF,e_w200757306-400_ZAF | 0.99447 | 101.4156

## wind
~fi_process | [6 empty] | ~fi_t |  |  |  | ~fi_process | [6 empty] | ~fi_t
set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage | process | comm-out | cap_bnd | af~fx | set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage | process | comm-out | cap_bnd | af~fx
ele | e_won_ZAF_001 | wind resource in cluster 1 | GW | TWh | annual | no | e_won_ZAF_001 | elc_won_ZAF_001 | 9.3349 | 0.18433 | ele | e_wof_ZAF_001 | wind offshore resource in cluster 1 | GW | TWh | annual | no | e_wof_ZAF_001 | elc_wof_ZAF_001 | 22.356 | 0.54621
ele | e_won_ZAF_002 | wind resource in cluster 2 | GW | TWh | annual | no | e_won_ZAF_002 | elc_won_ZAF_002 | 41.3852 | 0.26383 | ele | e_wof_ZAF_002 | wind offshore resource in cluster 2 | GW | TWh | annual | no | e_wof_ZAF_002 | elc_wof_ZAF_002 | 71.145 | 0.51608
ele | e_won_ZAF_003 | wind resource in cluster 3 | GW | TWh | annual | no | e_won_ZAF_003 | elc_won_ZAF_003 | 18.6769 | 0.1448 | ele | e_wof_ZAF_003 | wind offshore resource in cluster 3 | GW | TWh | annual | no | e_wof_ZAF_003 | elc_wof_ZAF_003 | 20.2695 | 0.37629
ele | e_won_ZAF_004 | wind resource in cluster 4 | GW | TWh | annual | no | e_won_ZAF_004 | elc_won_ZAF_004 | 17.5226 | 0.14725 | ele | e_wof_ZAF_004 | wind offshore resource in cluster 4 | GW | TWh | annual | no | e_wof_ZAF_004 | elc_wof_ZAF_004 | 91.752 | 0.52991
ele | e_won_ZAF_005 | wind resource in cluster 5 | GW | TWh | annual | no | e_won_ZAF_005 | elc_won_ZAF_005 | 13.5702 | 0.22754 | ele | e_wof_ZAF_005 | wind offshore resource in cluster 5 | GW | TWh | annual | no | e_wof_ZAF_005 | elc_wof_ZAF_005 | 9.2227 | 0.37281
ele | e_won_ZAF_006 | wind resource in cluster 6 | GW | TWh | annual | no | e_won_ZAF_006 | elc_won_ZAF_006 | 59.2823 | 0.29757 | ele | e_wof_ZAF_006 | wind offshore resource in cluster 6 | GW | TWh | annual | no | e_wof_ZAF_006 | elc_wof_ZAF_006 | 66.8925 | 0.50083
ele | e_won_ZAF_007 | wind resource in cluster 7 | GW | TWh | annual | no | e_won_ZAF_007 | elc_won_ZAF_007 | 7.6188 | 0.10161 | ele | e_wof_ZAF_007 | wind offshore resource in cluster 7 | GW | TWh | annual | no | e_wof_ZAF_007 | elc_wof_ZAF_007 | 16.7347 | 0.42736
ele | e_won_ZAF_008 | wind resource in cluster 8 | GW | TWh | annual | no | e_won_ZAF_008 | elc_won_ZAF_008 | 13.3179 | 0.20062 | ele | e_wof_ZAF_008 | wind offshore resource in cluster 8 | GW | TWh | annual | no | e_wof_ZAF_008 | elc_wof_ZAF_008 | 6.2925 | 0.36117
ele | e_won_ZAF_009 | wind resource in cluster 9 | GW | TWh | annual | no | e_won_ZAF_009 | elc_won_ZAF_009 | 15.7668 | 0.20937 | ele | e_wof_ZAF_009 | wind offshore resource in cluster 9 | GW | TWh | annual | no | e_wof_ZAF_009 | elc_wof_ZAF_009 | 8.7997 | 0.37332
ele | e_won_ZAF_010 | wind resource in cluster 10 | GW | TWh | annual | no | e_won_ZAF_010 | elc_won_ZAF_010 | 1.2424 | 0.085956 | ele | e_wof_ZAF_010 | wind offshore resource in cluster 10 | GW | TWh | annual | no | e_wof_ZAF_010 | elc_wof_ZAF_010 | 12.2903 | 0.41736
ele | e_won_ZAF_011 | wind resource in cluster 11 | GW | TWh | annual | no | e_won_ZAF_011 | elc_won_ZAF_011 | 11.0166 | 0.14609 | ele | e_wof_ZAF_011 | wind offshore resource in cluster 11 | GW | TWh | annual | no | e_wof_ZAF_011 | elc_wof_ZAF_011 | 7.4318 | 0.5039
ele | e_won_ZAF_012 | wind resource in cluster 12 | GW | TWh | annual | no | e_won_ZAF_012 | elc_won_ZAF_012 | 6.1734 | 0.26562 | ele | e_wof_ZAF_012 | wind offshore resource in cluster 12 | GW | TWh | annual | no | e_wof_ZAF_012 | elc_wof_ZAF_012 | 21.2632 | 0.49048
ele | e_won_ZAF_013 | wind resource in cluster 13 | GW | TWh | annual | no | e_won_ZAF_013 | elc_won_ZAF_013 | 4.8541 | 0.30315 | ele | e_wof_ZAF_013 | wind offshore resource in cluster 13 | GW | TWh | annual | no | e_wof_ZAF_013 | elc_wof_ZAF_013 | 36.705 | 0.51264
ele | e_won_ZAF_014 | wind resource in cluster 14 | GW | TWh | annual | no | e_won_ZAF_014 | elc_won_ZAF_014 | 13.1148 | 0.19302 | ele | e_wof_ZAF_014 | wind offshore resource in cluster 14 | GW | TWh | annual | no | e_wof_ZAF_014 | elc_wof_ZAF_014 | 72.1042 | 0.51445
ele | e_won_ZAF_015 | wind resource in cluster 15 | GW | TWh | annual | no | e_won_ZAF_015 | elc_won_ZAF_015 | 2.8311 | 0.11881 | ele | e_wof_ZAF_015 | wind offshore resource in cluster 15 | GW | TWh | annual | no | e_wof_ZAF_015 | elc_wof_ZAF_015 | 7.6185 | 0.36735
ele | e_won_ZAF_016 | wind resource in cluster 16 | GW | TWh | annual | no | e_won_ZAF_016 | elc_won_ZAF_016 | 9.8725 | 0.26308 | ele | e_wof_ZAF_016 | wind offshore resource in cluster 16 | GW | TWh | annual | no | e_wof_ZAF_016 | elc_wof_ZAF_016 | 38.6557 | 0.5452
ele | e_won_ZAF_017 | wind resource in cluster 17 | GW | TWh | annual | no | e_won_ZAF_017 | elc_won_ZAF_017 | 2.1089 | 0.09357 | ele | e_wof_ZAF_017 | wind offshore resource in cluster 17 | GW | TWh | annual | no | e_wof_ZAF_017 | elc_wof_ZAF_017 | 25.179 | 0.48943
ele | e_won_ZAF_018 | wind resource in cluster 18 | GW | TWh | annual | no | e_won_ZAF_018 | elc_won_ZAF_018 | 3.1097 | 0.32077 | ele | e_wof_ZAF_018 | wind offshore resource in cluster 18 | GW | TWh | annual | no | e_wof_ZAF_018 | elc_wof_ZAF_018 | 30.0765 | 0.43612
ele | e_won_ZAF_019 | wind resource in cluster 19 | GW | TWh | annual | no | e_won_ZAF_019 | elc_won_ZAF_019 | 2.2821 | 0.1479 | ele | e_wof_ZAF_019 | wind offshore resource in cluster 19 | GW | TWh | annual | no | e_wof_ZAF_019 | elc_wof_ZAF_019 | 69.198 | 0.4514
ele | e_won_ZAF_020 | wind resource in cluster 20 | GW | TWh | annual | no | e_won_ZAF_020 | elc_won_ZAF_020 | 6.0747 | 0.1715 | ele | e_wof_ZAF_020 | wind offshore resource in cluster 20 | GW | TWh | annual | no | e_wof_ZAF_020 | elc_wof_ZAF_020 | 24.0585 | 0.29028
ele | e_won_ZAF_021 | wind resource in cluster 21 | GW | TWh | annual | no | e_won_ZAF_021 | elc_won_ZAF_021 | 16.3189 | 0.21662
ele | e_won_ZAF_022 | wind resource in cluster 22 | GW | TWh | annual | no | e_won_ZAF_022 | elc_won_ZAF_022 | 1.1455 | 0.10417
ele | e_won_ZAF_023 | wind resource in cluster 23 | GW | TWh | annual | no | e_won_ZAF_023 | elc_won_ZAF_023 | 11.3649 | 0.20504
ele | e_won_ZAF_024 | wind resource in cluster 24 | GW | TWh | annual | no | e_won_ZAF_024 | elc_won_ZAF_024 | 7.8136 | 0.21609
ele | e_won_ZAF_025 | wind resource in cluster 25 | GW | TWh | annual | no | e_won_ZAF_025 | elc_won_ZAF_025 | 1.3655 | 0.14385
ele | e_won_ZAF_026 | wind resource in cluster 26 | GW | TWh | annual | no | e_won_ZAF_026 | elc_won_ZAF_026 | 2.2229 | 0.10704
ele | e_won_ZAF_027 | wind resource in cluster 27 | GW | TWh | annual | no | e_won_ZAF_027 | elc_won_ZAF_027 | 9.7399 | 0.22473
ele | e_won_ZAF_028 | wind resource in cluster 28 | GW | TWh | annual | no | e_won_ZAF_028 | elc_won_ZAF_028 | 11.0471 | 0.23524
ele | e_won_ZAF_029 | wind resource in cluster 29 | GW | TWh | annual | no | e_won_ZAF_029 | elc_won_ZAF_029 | 26.2918 | 0.28021
ele | e_won_ZAF_030 | wind resource in cluster 30 | GW | TWh | annual | no | e_won_ZAF_030 | elc_won_ZAF_030 | 13.0933 | 0.23411
ele | e_won_ZAF_031 | wind resource in cluster 31 | GW | TWh | annual | no | e_won_ZAF_031 | elc_won_ZAF_031 | 12.9968 | 0.27219
ele | e_won_ZAF_032 | wind resource in cluster 32 | GW | TWh | annual | no | e_won_ZAF_032 | elc_won_ZAF_032 | 24.6945 | 0.28623
ele | e_won_ZAF_033 | wind resource in cluster 33 | GW | TWh | annual | no | e_won_ZAF_033 | elc_won_ZAF_033 | 28.7481 | 0.34842
ele | e_won_ZAF_034 | wind resource in cluster 34 | GW | TWh | annual | no | e_won_ZAF_034 | elc_won_ZAF_034 | 27.4365 | 0.29649
ele | e_won_ZAF_035 | wind resource in cluster 35 | GW | TWh | annual | no | e_won_ZAF_035 | elc_won_ZAF_035 | 10.9191 | 0.36892
ele | e_won_ZAF_036 | wind resource in cluster 36 | GW | TWh | annual | no | e_won_ZAF_036 | elc_won_ZAF_036 | 33.9126 | 0.31815
ele | e_won_ZAF_037 | wind resource in cluster 37 | GW | TWh | annual | no | e_won_ZAF_037 | elc_won_ZAF_037 | 22.576 | 0.23211
ele | e_won_ZAF_038 | wind resource in cluster 38 | GW | TWh | annual | no | e_won_ZAF_038 | elc_won_ZAF_038 | 20.2567 | 0.18932
ele | e_won_ZAF_039 | wind resource in cluster 39 | GW | TWh | annual | no | e_won_ZAF_039 | elc_won_ZAF_039 | 62.7914 | 0.40981
ele | e_won_ZAF_040 | wind resource in cluster 40 | GW | TWh | annual | no | e_won_ZAF_040 | elc_won_ZAF_040 | 37.6788 | 0.33908
ele | e_won_ZAF_041 | wind resource in cluster 41 | GW | TWh | annual | no | e_won_ZAF_041 | elc_won_ZAF_041 | 41.9266 | 0.33623
ele | e_won_ZAF_042 | wind resource in cluster 42 | GW | TWh | annual | no | e_won_ZAF_042 | elc_won_ZAF_042 | 47.2814 | 0.31962

## conventional
~fi_t | [6 empty] | ~fi_process
process | comm-in | comm-out | 2023 | 2030 | 2050 | attribute | set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage
Bioenergy + CCUS | bioenergy | ELC | 0.3 | 0.3 | 0.3 | efficiency | ele | Bioenergy + CCUS |  | GW | TWh | daynite | yes
Bioenergy + CCUS | bioenergy | ELC | 0.5 | 0.5 | 0.5 | ncap_af | ele | Bioenergy - Large scale unit |  | GW | TWh | daynite | yes
Bioenergy + CCUS | bioenergy | ELC | 4900 | 4900 | 4400 | ncap_cost | ele | CCGT |  | GW | TWh | daynite | yes
Bioenergy + CCUS | bioenergy | ELC | 170 | 170 | 155 | ncap_fom | ele | CCGT + CCS |  | GW | TWh | daynite | yes
Bioenergy + CCUS | bioenergy | ELC | 3 | 3 | 3 | ncap_iled | ele | Coal + CCS |  | GW | TWh | daynite | yes
Bioenergy - Large scale unit | bioenergy | ELC | 0.35 | 0.35 | 0.35 | efficiency | ele | Gas turbine |  | GW | TWh | daynite | yes
Bioenergy - Large scale unit | bioenergy | ELC | 0.5 | 0.5 | 0.5 | ncap_af | ele | Hydropower - large-scale unit |  | GW | TWh | daynite | yes
Bioenergy - Large scale unit | bioenergy | ELC | 2150 | 2100 | 2050 | ncap_cost | ele | IGCC |  | GW | TWh | daynite | yes
Bioenergy - Large scale unit | bioenergy | ELC | 75 | 75 | 70 | ncap_fom | ele | IGCC + CCS |  | GW | TWh | daynite | yes
Bioenergy - Large scale unit | bioenergy | ELC | 3 | 3 | 3 | ncap_iled | ele | Nuclear large |  | GW | TWh | daynite | yes
CCGT | gas | ELC | 0.58 | 0.59 | 0.59 | efficiency | ele | Oxyfuel + CCS |  | GW | TWh | daynite | yes
CCGT | gas | ELC | 700 | 700 | 700 | ncap_cost | ele | Solar photovoltaics - Large scale unit |  | GW | TWh | daynite | yes
CCGT | gas | ELC | 25 | 25 | 25 | ncap_fom | ele | Steam Coal - SUBCRITICAL |  | GW | TWh | daynite | yes
CCGT + CCS | gas | ELC | 0.5 | 0.51 | 0.51 | efficiency | ele | Steam Coal - SUPERCRITICAL |  | GW | TWh | daynite | yes
CCGT + CCS | gas | ELC | 2450 | 2450 | 1850 | ncap_cost | ele | Steam Coal - ULTRASUPERCRITICAL |  | GW | TWh | daynite | yes
CCGT + CCS | gas | ELC | 85 | 85 | 65 | ncap_fom | ele | Wind offshore |  | GW | TWh | daynite | yes
Coal + CCS | coal | ELC | 0.32 | 0.33 | 0.33 | efficiency | ele | Wind onshore |  | GW | TWh | daynite | yes
Coal + CCS | coal | ELC | 4500 | 4500 | 3550 | ncap_cost
Coal + CCS | coal | ELC | 175 | 175 | 135 | ncap_fom
Gas turbine | gas | ELC | 0.38 | 0.39 | 0.41 | efficiency
Gas turbine | gas | ELC | 400 | 400 | 400 | ncap_cost
Gas turbine | gas | ELC | 20 | 20 | 20 | ncap_fom
Hydropower - large-scale unit | hydro | ELC | 1 | 1 | 1 | efficiency
Hydropower - large-scale unit | hydro | ELC | 0.5 | 0.5 | 0.5 | ncap_af
Hydropower - large-scale unit | hydro | ELC | 2100 | 2100 | 2100 | ncap_cost
Hydropower - large-scale unit | hydro | ELC | 50 | 50 | 50 | ncap_fom
Hydropower - large-scale unit | hydro | ELC | 4 | 4 | 4 | ncap_iled
IGCC | gas | ELC | 0.4 | 0.43 | 0.45 | efficiency
IGCC | gas | ELC | 2200 | 2100 | 2100 | ncap_cost
IGCC | gas | ELC | 90 | 85 | 85 | ncap_fom
IGCC + CCS | coal | ELC | 0.32 | 0.32 | 0.35 | efficiency
IGCC + CCS | coal | ELC | 4850 | 4650 | 4200 | ncap_cost
IGCC + CCS | coal | ELC | 220 | 210 | 190 | ncap_fom
Nuclear large | nuclear | ELC | 0.33 | 0.33 | 0.33 | efficiency
Nuclear large | nuclear | ELC | 4000 | 4000 | 4000 | ncap_cost
Nuclear large | nuclear | ELC | 170 | 170 | 170 | ncap_fom
Oxyfuel + CCS | coal | ELC | 0.33 | 0.33 | 0.33 | efficiency
Oxyfuel + CCS | coal | ELC | 4800 | 4800 | 4300 | ncap_cost
Oxyfuel + CCS | coal | ELC | 185 | 185 | 165 | ncap_fom
Solar photovoltaics - Large scale unit | solar | ELC | 1 | 1 | 1 | efficiency
Solar photovoltaics - Large scale unit | solar | ELC | 0.22 | 0.23 | 0.23 | ncap_af
Solar photovoltaics - Large scale unit | solar | ELC | 1330 | 820 | 550 | ncap_cost
Solar photovoltaics - Large scale unit | solar | ELC | 20 | 18 | 18 | ncap_fom
Solar photovoltaics - Large scale unit | solar | ELC | 1.5 | 1.5 | 1.5 | ncap_iled
Steam Coal - SUBCRITICAL | coal | ELC | 0.35 | 0.35 | 0.35 | efficiency
Steam Coal - SUBCRITICAL | coal | ELC | 1300 | 1300 | 1300 | ncap_cost
Steam Coal - SUBCRITICAL | coal | ELC | 45 | 45 | 45 | ncap_fom
Steam Coal - SUPERCRITICAL | coal | ELC | 0.39 | 0.39 | 0.39 | efficiency
Steam Coal - SUPERCRITICAL | coal | ELC | 1600 | 1600 | 1600 | ncap_cost
Steam Coal - SUPERCRITICAL | coal | ELC | 55 | 55 | 55 | ncap_fom
Steam Coal - ULTRASUPERCRITICAL | coal | ELC | 0.42 | 0.43 | 0.44 | efficiency
Steam Coal - ULTRASUPERCRITICAL | coal | ELC | 1900 | 1900 | 1900 | ncap_cost
Steam Coal - ULTRASUPERCRITICAL | coal | ELC | 70 | 70 | 70 | ncap_fom
Wind offshore | unknown | ELC | 1 | 1 | 1 | efficiency
Wind offshore | unknown | ELC | 0.37 | 0.39 | 0.43 | ncap_af
Wind offshore | unknown | ELC | 4260 | 3220 | 2200 | ncap_cost
Wind offshore | unknown | ELC | 105 | 85 | 65 | ncap_fom
Wind offshore | unknown | ELC | 3 | 3 | 3 | ncap_iled
Wind onshore | unknown | ELC | 1 | 1 | 1 | efficiency
Wind onshore | unknown | ELC | 0.32 | 0.34 | 0.35 | ncap_af
Wind onshore | unknown | ELC | 1650 | 1560 | 1470 | ncap_cost
Wind onshore | unknown | ELC | 42 | 40 | 38 | ncap_fom
Wind onshore | unknown | ELC | 1.5 | 1.5 | 1.5 | ncap_iled

## grid_transformers
~fi_t |  |  |  | ~fi_process
process | comm-in | comm-out | efficiency | set | process | description | activityunit | capacityunit | timeslicelevel
stepdown_w142414070_ZAF_765to400 | e_w142414070-765_ZAF | e_w142414070-400_ZAF | 1 | pre | stepdown_w142414070_ZAF_765to400 | Transformer: e_w142414070-765_ZAF → e_w142414070-400_ZAF | TWh | GW | daynite
stepup_w142414070_ZAF_400to765 | e_w142414070-400_ZAF | e_w142414070-765_ZAF | 1 | pre | stepup_w142414070_ZAF_400to765 | Transformer: e_w142414070-400_ZAF → e_w142414070-765_ZAF | TWh | GW | daynite
stepdown_w167540668_ZAF_765to400 | e_w167540668-765_ZAF | e_w167540668-400_ZAF | 1 | pre | stepdown_w167540668_ZAF_765to400 | Transformer: e_w167540668-765_ZAF → e_w167540668-400_ZAF | TWh | GW | daynite
stepup_w167540668_ZAF_400to765 | e_w167540668-400_ZAF | e_w167540668-765_ZAF | 1 | pre | stepup_w167540668_ZAF_400to765 | Transformer: e_w167540668-400_ZAF → e_w167540668-765_ZAF | TWh | GW | daynite
stepdown_w178968761_ZAF_765to400 | e_w178968761-765_ZAF | e_w178968761-400_ZAF | 1 | pre | stepdown_w178968761_ZAF_765to400 | Transformer: e_w178968761-765_ZAF → e_w178968761-400_ZAF | TWh | GW | daynite
stepup_w178968761_ZAF_400to765 | e_w178968761-400_ZAF | e_w178968761-765_ZAF | 1 | pre | stepup_w178968761_ZAF_400to765 | Transformer: e_w178968761-400_ZAF → e_w178968761-765_ZAF | TWh | GW | daynite
stepdown_w179136373_ZAF_765to400 | e_w179136373-765_ZAF | e_w179136373-400_ZAF | 1 | pre | stepdown_w179136373_ZAF_765to400 | Transformer: e_w179136373-765_ZAF → e_w179136373-400_ZAF | TWh | GW | daynite
stepup_w179136373_ZAF_400to765 | e_w179136373-400_ZAF | e_w179136373-765_ZAF | 1 | pre | stepup_w179136373_ZAF_400to765 | Transformer: e_w179136373-400_ZAF → e_w179136373-765_ZAF | TWh | GW | daynite
stepdown_w181366662_ZAF_765to400 | e_w181366662-765_ZAF | e_w181366662-400_ZAF | 1 | pre | stepdown_w181366662_ZAF_765to400 | Transformer: e_w181366662-765_ZAF → e_w181366662-400_ZAF | TWh | GW | daynite
stepup_w181366662_ZAF_400to765 | e_w181366662-400_ZAF | e_w181366662-765_ZAF | 1 | pre | stepup_w181366662_ZAF_400to765 | Transformer: e_w181366662-400_ZAF → e_w181366662-765_ZAF | TWh | GW | daynite
stepdown_w219384657_ZAF_765to400 | e_w219384657-765_ZAF | e_w219384657-400_ZAF | 1 | pre | stepdown_w219384657_ZAF_765to400 | Transformer: e_w219384657-765_ZAF → e_w219384657-400_ZAF | TWh | GW | daynite
stepup_w219384657_ZAF_400to765 | e_w219384657-400_ZAF | e_w219384657-765_ZAF | 1 | pre | stepup_w219384657_ZAF_400to765 | Transformer: e_w219384657-400_ZAF → e_w219384657-765_ZAF | TWh | GW | daynite
stepdown_w586032034_ZAF_765to400 | e_w586032034-765_ZAF | e_w586032034-400_ZAF | 1 | pre | stepdown_w586032034_ZAF_765to400 | Transformer: e_w586032034-765_ZAF → e_w586032034-400_ZAF | TWh | GW | daynite
stepup_w586032034_ZAF_400to765 | e_w586032034-400_ZAF | e_w586032034-765_ZAF | 1 | pre | stepup_w586032034_ZAF_400to765 | Transformer: e_w586032034-400_ZAF → e_w586032034-765_ZAF | TWh | GW | daynite
stepdown_w92348290_ZAF_765to400 | e_w92348290-765_ZAF | e_w92348290-400_ZAF | 1 | pre | stepdown_w92348290_ZAF_765to400 | Transformer: e_w92348290-765_ZAF → e_w92348290-400_ZAF | TWh | GW | daynite
stepup_w92348290_ZAF_400to765 | e_w92348290-400_ZAF | e_w92348290-765_ZAF | 1 | pre | stepup_w92348290_ZAF_400to765 | Transformer: e_w92348290-400_ZAF → e_w92348290-765_ZAF | TWh | GW | daynite