## ev_charging_uc
ts_01 | day_night | ts_01
| D | AaH
| N | AaH
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
Not Required!
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | AaH | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | AaH | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1
[6 empty] | AuxStoOUT | DAYNITE |  | 1

## timeslice_def
~TimeSlices
ts_01 | season | weekly | daynite | wparent | dparent
| A | a | H | A | a

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_POL_001 | AaH | 1 | IMPNRGZ | elc_won_POL_001 | AaH | 1 | IMPNRGZ | elc_wof_POL_001 | AaH | 1 | IMPNRGZ
elc_spv_POL_002 | AaH | 1 | IMPNRGZ | elc_won_POL_002 | AaH | 1 | IMPNRGZ | elc_wof_POL_002 | AaH | 1 | IMPNRGZ
elc_spv_POL_003 | AaH | 1 | IMPNRGZ | elc_won_POL_003 | AaH | 1 | IMPNRGZ | elc_wof_POL_003 | AaH | 1 | IMPNRGZ
elc_spv_POL_004 | AaH | 1 | IMPNRGZ | elc_won_POL_004 | AaH | 1 | IMPNRGZ | elc_wof_POL_004 | AaH | 1 | IMPNRGZ
elc_spv_POL_005 | AaH | 1 | IMPNRGZ | elc_won_POL_005 | AaH | 1 | IMPNRGZ | elc_wof_POL_005 | AaH | 1 | IMPNRGZ
elc_spv_POL_006 | AaH | 1 | IMPNRGZ | elc_won_POL_006 | AaH | 1 | IMPNRGZ | elc_wof_POL_006 | AaH | 1 | IMPNRGZ
elc_spv_POL_007 | AaH | 1 | IMPNRGZ | elc_won_POL_007 | AaH | 1 | IMPNRGZ | elc_wof_POL_007 | AaH | 1 | IMPNRGZ
elc_spv_POL_008 | AaH | 1 | IMPNRGZ | elc_won_POL_008 | AaH | 1 | IMPNRGZ | elc_wof_POL_008 | AaH | 1 | IMPNRGZ
elc_spv_POL_009 | AaH | 1 | IMPNRGZ | elc_won_POL_009 | AaH | 1 | IMPNRGZ | elc_wof_POL_009 | AaH | 1 | IMPNRGZ
elc_spv_POL_010 | AaH | 1 | IMPNRGZ | elc_won_POL_010 | AaH | 1 | IMPNRGZ | elc_wof_POL_010 | AaH | 1 | IMPNRGZ
elc_spv_POL_011 | AaH | 1 | IMPNRGZ | elc_won_POL_011 | AaH | 1 | IMPNRGZ
elc_spv_POL_012 | AaH | 1 | IMPNRGZ | elc_won_POL_012 | AaH | 1 | IMPNRGZ
elc_spv_POL_013 | AaH | 1 | IMPNRGZ | elc_won_POL_013 | AaH | 1 | IMPNRGZ
elc_spv_POL_014 | AaH | 1 | IMPNRGZ | elc_won_POL_014 | AaH | 1 | IMPNRGZ
elc_spv_POL_015 | AaH | 1 | IMPNRGZ | elc_won_POL_015 | AaH | 1 | IMPNRGZ
elc_spv_POL_016 | AaH | 1 | IMPNRGZ | elc_won_POL_016 | AaH | 1 | IMPNRGZ
elc_spv_POL_017 | AaH | 1 | IMPNRGZ | elc_won_POL_017 | AaH | 1 | IMPNRGZ
elc_spv_POL_018 | AaH | 1 | IMPNRGZ | elc_won_POL_018 | AaH | 1 | IMPNRGZ
elc_spv_POL_019 | AaH | 1 | IMPNRGZ | elc_won_POL_019 | AaH | 1 | IMPNRGZ
elc_spv_POL_020 | AaH | 1 | IMPNRGZ | elc_won_POL_020 | AaH | 1 | IMPNRGZ
elc_spv_POL_021 | AaH | 1 | IMPNRGZ | elc_won_POL_021 | AaH | 1 | IMPNRGZ
elc_spv_POL_022 | AaH | 1 | IMPNRGZ | elc_won_POL_022 | AaH | 1 | IMPNRGZ
elc_spv_POL_023 | AaH | 1 | IMPNRGZ | elc_won_POL_023 | AaH | 1 | IMPNRGZ
elc_spv_POL_024 | AaH | 1 | IMPNRGZ | elc_won_POL_024 | AaH | 1 | IMPNRGZ
elc_spv_POL_025 | AaH | 1 | IMPNRGZ | elc_won_POL_025 | AaH | 1 | IMPNRGZ
elc_spv_POL_026 | AaH | 1 | IMPNRGZ | elc_won_POL_026 | AaH | 1 | IMPNRGZ
elc_spv_POL_027 | AaH | 1 | IMPNRGZ | elc_won_POL_027 | AaH | 1 | IMPNRGZ
elc_spv_POL_028 | AaH | 1 | IMPNRGZ | elc_won_POL_028 | AaH | 1 | IMPNRGZ
elc_spv_POL_029 | AaH | 1 | IMPNRGZ | elc_won_POL_029 | AaH | 1 | IMPNRGZ
elc_spv_POL_030 | AaH | 1 | IMPNRGZ | elc_won_POL_030 | AaH | 1 | IMPNRGZ
elc_spv_POL_031 | AaH | 1 | IMPNRGZ | elc_won_POL_031 | AaH | 1 | IMPNRGZ
elc_spv_POL_032 | AaH | 1 | IMPNRGZ | elc_won_POL_032 | AaH | 1 | IMPNRGZ
elc_spv_POL_033 | AaH | 1 | IMPNRGZ | elc_won_POL_033 | AaH | 1 | IMPNRGZ
elc_spv_POL_034 | AaH | 1 | IMPNRGZ | elc_won_POL_034 | AaH | 1 | IMPNRGZ
elc_spv_POL_035 | AaH | 1 | IMPNRGZ | elc_won_POL_035 | AaH | 1 | IMPNRGZ
elc_spv_POL_036 | AaH | 1 | IMPNRGZ | elc_won_POL_036 | AaH | 1 | IMPNRGZ
elc_spv_POL_037 | AaH | 1 | IMPNRGZ | elc_won_POL_037 | AaH | 1 | IMPNRGZ
elc_spv_POL_038 | AaH | 1 | IMPNRGZ | elc_won_POL_038 | AaH | 1 | IMPNRGZ
elc_spv_POL_039 | AaH | 1 | IMPNRGZ | elc_won_POL_039 | AaH | 1 | IMPNRGZ
elc_spv_POL_040 | AaH | 1 | IMPNRGZ | elc_won_POL_040 | AaH | 1 | IMPNRGZ
elc_spv_POL_041 | AaH | 1 | IMPNRGZ | elc_won_POL_041 | AaH | 1 | IMPNRGZ
elc_spv_POL_042 | AaH | 1 | IMPNRGZ | elc_won_POL_042 | AaH | 1 | IMPNRGZ
elc_spv_POL_043 | AaH | 1 | IMPNRGZ | elc_won_POL_043 | AaH | 1 | IMPNRGZ
elc_spv_POL_044 | AaH | 1 | IMPNRGZ | elc_won_POL_044 | AaH | 1 | IMPNRGZ
elc_spv_POL_045 | AaH | 1 | IMPNRGZ | elc_won_POL_045 | AaH | 1 | IMPNRGZ
elc_spv_POL_046 | AaH | 1 | IMPNRGZ | elc_won_POL_046 | AaH | 1 | IMPNRGZ
elc_spv_POL_047 | AaH | 1 | IMPNRGZ | elc_won_POL_047 | AaH | 1 | IMPNRGZ
elc_spv_POL_048 | AaH | 1 | IMPNRGZ | elc_won_POL_048 | AaH | 1 | IMPNRGZ
elc_spv_POL_049 | AaH | 1 | IMPNRGZ | elc_won_POL_049 | AaH | 1 | IMPNRGZ
elc_spv_POL_050 | AaH | 1 | IMPNRGZ | elc_won_POL_050 | AaH | 1 | IMPNRGZ
elc_spv_POL_051 | AaH | 1 | IMPNRGZ | elc_won_POL_051 | AaH | 1 | IMPNRGZ
elc_spv_POL_052 | AaH | 1 | IMPNRGZ | elc_won_POL_052 | AaH | 1 | IMPNRGZ
elc_spv_POL_053 | AaH | 1 | IMPNRGZ | elc_won_POL_053 | AaH | 1 | IMPNRGZ
elc_spv_POL_054 | AaH | 1 | IMPNRGZ | elc_won_POL_054 | AaH | 1 | IMPNRGZ
elc_spv_POL_055 | AaH | 1 | IMPNRGZ | elc_won_POL_055 | AaH | 1 | IMPNRGZ
elc_spv_POL_056 | AaH | 1 | IMPNRGZ | elc_won_POL_056 | AaH | 1 | IMPNRGZ
elc_spv_POL_057 | AaH | 1 | IMPNRGZ | elc_won_POL_057 | AaH | 1 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT |  |  | ~TFM_DINS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_DINS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_DINS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_INS | [6 empty] | ~TFM_DINS-TSL: attribute=NCAP_PKCNT |  | ~TFM_DINS-AT
process | commodity | AaH | process | commodity | AaH | process | commodity | AaH | process | commodity | AaH | attribute | process | commodity | year | limtype | value | timeslice | process | AaH | process | commodity | other_indexes | ncap_com
distr_solelc_spv_POL_001 | DEF_E | 0.63011 | distr_solelc_spv_POL_001 | ELC4H | 0.29599 | distr_solelc_spv_POL_001 | ELC8H | 0.16696 | distr_solelc_spv_POL_001 | ELCnH | 0.00036018 | FLO_SHAR | distr[_]???* | ELC4H,ELC8H,ELCnH | 0 | FX | 3 | AaH | distr_solelc_spv_POL_001 | 0.11391 | distr_solelc_spv_POL_001 | DEF_C | OUT | 0.11391
distr_solelc_spv_POL_002 | DEF_E | 0.62619 | distr_solelc_spv_POL_002 | ELC4H | 0.27193 | distr_solelc_spv_POL_002 | ELC8H | 0.18644 | distr_solelc_spv_POL_002 | ELCnH | 0.00054699 | [7 empty] | distr_solelc_spv_POL_002 | 0.11411 | distr_solelc_spv_POL_002 | DEF_C | OUT | 0.11411
distr_solelc_spv_POL_003 | DEF_E | 0.62969 | distr_solelc_spv_POL_003 | ELC4H | 0.29193 | distr_solelc_spv_POL_003 | ELC8H | 0.17181 | distr_solelc_spv_POL_003 | ELCnH | 0 | [7 empty] | distr_solelc_spv_POL_003 | 0.11297 | distr_solelc_spv_POL_003 | DEF_C | OUT | 0.11297
distr_solelc_spv_POL_004 | DEF_E | 0.62566 | distr_solelc_spv_POL_004 | ELC4H | 0.28031 | distr_solelc_spv_POL_004 | ELC8H | 0.17424 | distr_solelc_spv_POL_004 | ELCnH | 0.00097111 | [7 empty] | distr_solelc_spv_POL_004 | 0.11354 | distr_solelc_spv_POL_004 | DEF_C | OUT | 0.11354
distr_solelc_spv_POL_005 | DEF_E | 0.62348 | distr_solelc_spv_POL_005 | ELC4H | 0.27262 | distr_solelc_spv_POL_005 | ELC8H | 0.179 | distr_solelc_spv_POL_005 | ELCnH | 0.00084161 | [7 empty] | distr_solelc_spv_POL_005 | 0.11437 | distr_solelc_spv_POL_005 | DEF_C | OUT | 0.11437
distr_solelc_spv_POL_006 | DEF_E | 0.61966 | distr_solelc_spv_POL_006 | ELC4H | 0.29632 | distr_solelc_spv_POL_006 | ELC8H | 0.15437 | distr_solelc_spv_POL_006 | ELCnH | 0 | [7 empty] | distr_solelc_spv_POL_006 | 0.11316 | distr_solelc_spv_POL_006 | DEF_C | OUT | 0.11316
distr_solelc_spv_POL_007 | DEF_E | 0.61751 | distr_solelc_spv_POL_007 | ELC4H | 0.28358 | distr_solelc_spv_POL_007 | ELC8H | 0.16094 | distr_solelc_spv_POL_007 | ELCnH | 0.00046601 | [7 empty] | distr_solelc_spv_POL_007 | 0.11861 | distr_solelc_spv_POL_007 | DEF_C | OUT | 0.11861
distr_solelc_spv_POL_008 | DEF_E | 0.63138 | distr_solelc_spv_POL_008 | ELC4H | 0.29195 | distr_solelc_spv_POL_008 | ELC8H | 0.17269 | distr_solelc_spv_POL_008 | ELCnH | 0.00078329 | [7 empty] | distr_solelc_spv_POL_008 | 0.11717 | distr_solelc_spv_POL_008 | DEF_C | OUT | 0.11717
distr_solelc_spv_POL_009 | DEF_E | 0.6298 | distr_solelc_spv_POL_009 | ELC4H | 0.2857 | distr_solelc_spv_POL_009 | ELC8H | 0.17726 | distr_solelc_spv_POL_009 | ELCnH | 0 | [7 empty] | distr_solelc_spv_POL_009 | 0.11992 | distr_solelc_spv_POL_009 | DEF_C | OUT | 0.11992
distr_solelc_spv_POL_010 | DEF_E | 0.63052 | distr_solelc_spv_POL_010 | ELC4H | 0.28618 | distr_solelc_spv_POL_010 | ELC8H | 0.1759 | distr_solelc_spv_POL_010 | ELCnH | 0.00052398 | [7 empty] | distr_solelc_spv_POL_010 | 0.1176 | distr_solelc_spv_POL_010 | DEF_C | OUT | 0.1176
distr_solelc_spv_POL_011 | DEF_E | 0.62855 | distr_solelc_spv_POL_011 | ELC4H | 0.28095 | distr_solelc_spv_POL_011 | ELC8H | 0.17967 | distr_solelc_spv_POL_011 | ELCnH | 0.0011067 | [7 empty] | distr_solelc_spv_POL_011 | 0.11537 | distr_solelc_spv_POL_011 | DEF_C | OUT | 0.11537
distr_solelc_spv_POL_012 | DEF_E | 0.62173 | distr_solelc_spv_POL_012 | ELC4H | 0.29473 | distr_solelc_spv_POL_012 | ELC8H | 0.15917 | distr_solelc_spv_POL_012 | ELCnH | 0 | [7 empty] | distr_solelc_spv_POL_012 | 0.11251 | distr_solelc_spv_POL_012 | DEF_C | OUT | 0.11251
distr_solelc_spv_POL_013 | DEF_E | 0.62783 | distr_solelc_spv_POL_013 | ELC4H | 0.28281 | distr_solelc_spv_POL_013 | ELC8H | 0.17573 | distr_solelc_spv_POL_013 | ELCnH | 0.00059543 | [7 empty] | distr_solelc_spv_POL_013 | 0.12158 | distr_solelc_spv_POL_013 | DEF_C | OUT | 0.12158
distr_solelc_spv_POL_014 | DEF_E | 0.62953 | distr_solelc_spv_POL_014 | ELC4H | 0.28132 | distr_solelc_spv_POL_014 | ELC8H | 0.17903 | distr_solelc_spv_POL_014 | ELCnH | 0.00093069 | [7 empty] | distr_solelc_spv_POL_014 | 0.11553 | distr_solelc_spv_POL_014 | DEF_C | OUT | 0.11553
distr_solelc_spv_POL_015 | DEF_E | 0.62951 | distr_solelc_spv_POL_015 | ELC4H | 0.27676 | distr_solelc_spv_POL_015 | ELC8H | 0.18569 | distr_solelc_spv_POL_015 | ELCnH | 0.00088372 | [7 empty] | distr_solelc_spv_POL_015 | 0.11415 | distr_solelc_spv_POL_015 | DEF_C | OUT | 0.11415
distr_solelc_spv_POL_016 | DEF_E | 0.61845 | distr_solelc_spv_POL_016 | ELC4H | 0.29296 | distr_solelc_spv_POL_016 | ELC8H | 0.15623 | distr_solelc_spv_POL_016 | ELCnH | 8.522e-05 | [7 empty] | distr_solelc_spv_POL_016 | 0.11777 | distr_solelc_spv_POL_016 | DEF_C | OUT | 0.11777
distr_solelc_spv_POL_017 | DEF_E | 0.62618 | distr_solelc_spv_POL_017 | ELC4H | 0.29451 | distr_solelc_spv_POL_017 | ELC8H | 0.16584 | distr_solelc_spv_POL_017 | ELCnH | 0 | [7 empty] | distr_solelc_spv_POL_017 | 0.10993 | distr_solelc_spv_POL_017 | DEF_C | OUT | 0.10993
distr_solelc_spv_POL_018 | DEF_E | 0.629 | distr_solelc_spv_POL_018 | ELC4H | 0.28519 | distr_solelc_spv_POL_018 | ELC8H | 0.17583 | distr_solelc_spv_POL_018 | ELCnH | 0 | [7 empty] | distr_solelc_spv_POL_018 | 0.1208 | distr_solelc_spv_POL_018 | DEF_C | OUT | 0.1208
distr_solelc_spv_POL_019 | DEF_E | 0.62018 | distr_solelc_spv_POL_019 | ELC4H | 0.27712 | distr_solelc_spv_POL_019 | ELC8H | 0.1718 | distr_solelc_spv_POL_019 | ELCnH | 0.00048604 | [7 empty] | distr_solelc_spv_POL_019 | 0.11611 | distr_solelc_spv_POL_019 | DEF_C | OUT | 0.11611
distr_solelc_spv_POL_020 | DEF_E | 0.63375 | distr_solelc_spv_POL_020 | ELC4H | 0.28183 | distr_solelc_spv_POL_020 | ELC8H | 0.1876 | distr_solelc_spv_POL_020 | ELCnH | 0.00084462 | [7 empty] | distr_solelc_spv_POL_020 | 0.11341 | distr_solelc_spv_POL_020 | DEF_C | OUT | 0.11341
distr_solelc_spv_POL_021 | DEF_E | 0.61961 | distr_solelc_spv_POL_021 | ELC4H | 0.27991 | distr_solelc_spv_POL_021 | ELC8H | 0.16676 | distr_solelc_spv_POL_021 | ELCnH | 0.00023152 | [7 empty] | distr_solelc_spv_POL_021 | 0.11884 | distr_solelc_spv_POL_021 | DEF_C | OUT | 0.11884
distr_solelc_spv_POL_022 | DEF_E | 0.62203 | distr_solelc_spv_POL_022 | ELC4H | 0.29153 | distr_solelc_spv_POL_022 | ELC8H | 0.16073 | distr_solelc_spv_POL_022 | ELCnH | 0.00047411 | [7 empty] | distr_solelc_spv_POL_022 | 0.11417 | distr_solelc_spv_POL_022 | DEF_C | OUT | 0.11417
distr_solelc_spv_POL_023 | DEF_E | 0.62306 | distr_solelc_spv_POL_023 | ELC4H | 0.28127 | distr_solelc_spv_POL_023 | ELC8H | 0.1709 | distr_solelc_spv_POL_023 | ELCnH | 0.0008343 | [7 empty] | distr_solelc_spv_POL_023 | 0.11362 | distr_solelc_spv_POL_023 | DEF_C | OUT | 0.11362
distr_solelc_spv_POL_024 | DEF_E | 0.63041 | distr_solelc_spv_POL_024 | ELC4H | 0.28773 | distr_solelc_spv_POL_024 | ELC8H | 0.17542 | distr_solelc_spv_POL_024 | ELCnH | 8.5075e-05 | [7 empty] | distr_solelc_spv_POL_024 | 0.1183 | distr_solelc_spv_POL_024 | DEF_C | OUT | 0.1183
distr_solelc_spv_POL_025 | DEF_E | 0.63034 | distr_solelc_spv_POL_025 | ELC4H | 0.28967 | distr_solelc_spv_POL_025 | ELC8H | 0.17288 | distr_solelc_spv_POL_025 | ELCnH | 0.00033063 | [7 empty] | distr_solelc_spv_POL_025 | 0.11588 | distr_solelc_spv_POL_025 | DEF_C | OUT | 0.11588
distr_solelc_spv_POL_026 | DEF_E | 0.6237 | distr_solelc_spv_POL_026 | ELC4H | 0.29512 | distr_solelc_spv_POL_026 | ELC8H | 0.16189 | distr_solelc_spv_POL_026 | ELCnH | 0 | [7 empty] | distr_solelc_spv_POL_026 | 0.11214 | distr_solelc_spv_POL_026 | DEF_C | OUT | 0.11214
distr_solelc_spv_POL_027 | DEF_E | 0.6175 | distr_solelc_spv_POL_027 | ELC4H | 0.29598 | distr_solelc_spv_POL_027 | ELC8H | 0.15086 | distr_solelc_spv_POL_027 | ELCnH | 0.00027235 | [7 empty] | distr_solelc_spv_POL_027 | 0.11741 | distr_solelc_spv_POL_027 | DEF_C | OUT | 0.11741
distr_solelc_spv_POL_028 | DEF_E | 0.62001 | distr_solelc_spv_POL_028 | ELC4H | 0.29798 | distr_solelc_spv_POL_028 | ELC8H | 0.15297 | distr_solelc_spv_POL_028 | ELCnH | 0.00011382 | [7 empty] | distr_solelc_spv_POL_028 | 0.11584 | distr_solelc_spv_POL_028 | DEF_C | OUT | 0.11584
distr_solelc_spv_POL_029 | DEF_E | 0.61748 | distr_solelc_spv_POL_029 | ELC4H | 0.29314 | distr_solelc_spv_POL_029 | ELC8H | 0.14958 | distr_solelc_spv_POL_029 | ELCnH | 0.00044739 | [7 empty] | distr_solelc_spv_POL_029 | 0.11833 | distr_solelc_spv_POL_029 | DEF_C | OUT | 0.11833
distr_solelc_spv_POL_030 | DEF_E | 0.61745 | distr_solelc_spv_POL_030 | ELC4H | 0.29058 | distr_solelc_spv_POL_030 | ELC8H | 0.15243 | distr_solelc_spv_POL_030 | ELCnH | 0.00042314 | [7 empty] | distr_solelc_spv_POL_030 | 0.11807 | distr_solelc_spv_POL_030 | DEF_C | OUT | 0.11807
distr_solelc_spv_POL_031 | DEF_E | 0.62087 | distr_solelc_spv_POL_031 | ELC4H | 0.27775 | distr_solelc_spv_POL_031 | ELC8H | 0.1736 | distr_solelc_spv_POL_031 | ELCnH | 0.0002311 | [7 empty] | distr_solelc_spv_POL_031 | 0.1173 | distr_solelc_spv_POL_031 | DEF_C | OUT | 0.1173
distr_solelc_spv_POL_032 | DEF_E | 0.61813 | distr_solelc_spv_POL_032 | ELC4H | 0.2849 | distr_solelc_spv_POL_032 | ELC8H | 0.16091 | distr_solelc_spv_POL_032 | ELCnH | 0.00063113 | [7 empty] | distr_solelc_spv_POL_032 | 0.11451 | distr_solelc_spv_POL_032 | DEF_C | OUT | 0.11451
distr_solelc_spv_POL_033 | DEF_E | 0.61987 | distr_solelc_spv_POL_033 | ELC4H | 0.28618 | distr_solelc_spv_POL_033 | ELC8H | 0.16093 | distr_solelc_spv_POL_033 | ELCnH | 0.00051768 | [7 empty] | distr_solelc_spv_POL_033 | 0.11685 | distr_solelc_spv_POL_033 | DEF_C | OUT | 0.11685
distr_solelc_spv_POL_034 | DEF_E | 0.62158 | distr_solelc_spv_POL_034 | ELC4H | 0.28811 | distr_solelc_spv_POL_034 | ELC8H | 0.16199 | distr_solelc_spv_POL_034 | ELCnH | 0.00033698 | [7 empty] | distr_solelc_spv_POL_034 | 0.11672 | distr_solelc_spv_POL_034 | DEF_C | OUT | 0.11672
distr_solelc_spv_POL_035 | DEF_E | 0.62003 | distr_solelc_spv_POL_035 | ELC4H | 0.29277 | distr_solelc_spv_POL_035 | ELC8H | 0.15706 | distr_solelc_spv_POL_035 | ELCnH | 0.0004058 | [7 empty] | distr_solelc_spv_POL_035 | 0.11507 | distr_solelc_spv_POL_035 | DEF_C | OUT | 0.11507
distr_solelc_spv_POL_036 | DEF_E | 0.62963 | distr_solelc_spv_POL_036 | ELC4H | 0.29569 | distr_solelc_spv_POL_036 | ELC8H | 0.16757 | distr_solelc_spv_POL_036 | ELCnH | 2.0729e-05 | [7 empty] | distr_solelc_spv_POL_036 | 0.11451 | distr_solelc_spv_POL_036 | DEF_C | OUT | 0.11451
distr_solelc_spv_POL_037 | DEF_E | 0.62785 | distr_solelc_spv_POL_037 | ELC4H | 0.29443 | distr_solelc_spv_POL_037 | ELC8H | 0.16415 | distr_solelc_spv_POL_037 | ELCnH | 0.0005971 | [7 empty] | distr_solelc_spv_POL_037 | 0.1145 | distr_solelc_spv_POL_037 | DEF_C | OUT | 0.1145
distr_solelc_spv_POL_038 | DEF_E | 0.61869 | distr_solelc_spv_POL_038 | ELC4H | 0.28133 | distr_solelc_spv_POL_038 | ELC8H | 0.16513 | distr_solelc_spv_POL_038 | ELCnH | 0.00054898 | [7 empty] | distr_solelc_spv_POL_038 | 0.11559 | distr_solelc_spv_POL_038 | DEF_C | OUT | 0.11559
distr_solelc_spv_POL_039 | DEF_E | 0.6191 | distr_solelc_spv_POL_039 | ELC4H | 0.29552 | distr_solelc_spv_POL_039 | ELC8H | 0.15495 | distr_solelc_spv_POL_039 | ELCnH | 0.00019942 | [7 empty] | distr_solelc_spv_POL_039 | 0.11316 | distr_solelc_spv_POL_039 | DEF_C | OUT | 0.11316
distr_solelc_spv_POL_040 | DEF_E | 0.62333 | distr_solelc_spv_POL_040 | ELC4H | 0.29364 | distr_solelc_spv_POL_040 | ELC8H | 0.1596 | distr_solelc_spv_POL_040 | ELCnH | 0.00040555 | [7 empty] | distr_solelc_spv_POL_040 | 0.11447 | distr_solelc_spv_POL_040 | DEF_C | OUT | 0.11447
distr_solelc_spv_POL_041 | DEF_E | 0.61959 | distr_solelc_spv_POL_041 | ELC4H | 0.29046 | distr_solelc_spv_POL_041 | ELC8H | 0.15915 | distr_solelc_spv_POL_041 | ELCnH | 0.00029601 | [7 empty] | distr_solelc_spv_POL_041 | 0.11382 | distr_solelc_spv_POL_041 | DEF_C | OUT | 0.11382
distr_solelc_spv_POL_042 | DEF_E | 0.63095 | distr_solelc_spv_POL_042 | ELC4H | 0.28303 | distr_solelc_spv_POL_042 | ELC8H | 0.18105 | distr_solelc_spv_POL_042 | ELCnH | 0.00032173 | [7 empty] | distr_solelc_spv_POL_042 | 0.11989 | distr_solelc_spv_POL_042 | DEF_C | OUT | 0.11989
distr_solelc_spv_POL_043 | DEF_E | 0.61827 | distr_solelc_spv_POL_043 | ELC4H | 0.2952 | distr_solelc_spv_POL_043 | ELC8H | 0.15413 | distr_solelc_spv_POL_043 | ELCnH | 0 | [7 empty] | distr_solelc_spv_POL_043 | 0.11377 | distr_solelc_spv_POL_043 | DEF_C | OUT | 0.11377
distr_solelc_spv_POL_044 | DEF_E | 0.62436 | distr_solelc_spv_POL_044 | ELC4H | 0.28206 | distr_solelc_spv_POL_044 | ELC8H | 0.17199 | distr_solelc_spv_POL_044 | ELCnH | 0.00094484 | [7 empty] | distr_solelc_spv_POL_044 | 0.11431 | distr_solelc_spv_POL_044 | DEF_C | OUT | 0.11431
distr_solelc_spv_POL_045 | DEF_E | 0.62191 | distr_solelc_spv_POL_045 | ELC4H | 0.29138 | distr_solelc_spv_POL_045 | ELC8H | 0.16062 | distr_solelc_spv_POL_045 | ELCnH | 0.00061403 | [7 empty] | distr_solelc_spv_POL_045 | 0.11451 | distr_solelc_spv_POL_045 | DEF_C | OUT | 0.11451
distr_solelc_spv_POL_046 | DEF_E | 0.63182 | distr_solelc_spv_POL_046 | ELC4H | 0.27968 | distr_solelc_spv_POL_046 | ELC8H | 0.18644 | distr_solelc_spv_POL_046 | ELCnH | 0.0010378 | [7 empty] | distr_solelc_spv_POL_046 | 0.11312 | distr_solelc_spv_POL_046 | DEF_C | OUT | 0.11312
distr_solelc_spv_POL_047 | DEF_E | 0.62454 | distr_solelc_spv_POL_047 | ELC4H | 0.2916 | distr_solelc_spv_POL_047 | ELC8H | 0.16528 | distr_solelc_spv_POL_047 | ELCnH | 1.6818e-06 | [7 empty] | distr_solelc_spv_POL_047 | 0.11388 | distr_solelc_spv_POL_047 | DEF_C | OUT | 0.11388
distr_solelc_spv_POL_048 | DEF_E | 0.61963 | distr_solelc_spv_POL_048 | ELC4H | 0.29619 | distr_solelc_spv_POL_048 | ELC8H | 0.15366 | distr_solelc_spv_POL_048 | ELCnH | 0.00031489 | [7 empty] | distr_solelc_spv_POL_048 | 0.11463 | distr_solelc_spv_POL_048 | DEF_C | OUT | 0.11463
distr_solelc_spv_POL_049 | DEF_E | 0.62639 | distr_solelc_spv_POL_049 | ELC4H | 0.28524 | distr_solelc_spv_POL_049 | ELC8H | 0.17179 | distr_solelc_spv_POL_049 | ELCnH | 0.00066243 | [7 empty] | distr_solelc_spv_POL_049 | 0.1195 | distr_solelc_spv_POL_049 | DEF_C | OUT | 0.1195
distr_solelc_spv_POL_050 | DEF_E | 0.63083 | distr_solelc_spv_POL_050 | ELC4H | 0.29055 | distr_solelc_spv_POL_050 | ELC8H | 0.17418 | distr_solelc_spv_POL_050 | ELCnH | 0 | [7 empty] | distr_solelc_spv_POL_050 | 0.11439 | distr_solelc_spv_POL_050 | DEF_C | OUT | 0.11439
distr_solelc_spv_POL_051 | DEF_E | 0.61926 | distr_solelc_spv_POL_051 | ELC4H | 0.29577 | distr_solelc_spv_POL_051 | ELC8H | 0.15208 | distr_solelc_spv_POL_051 | ELCnH | 0.00028145 | [7 empty] | distr_solelc_spv_POL_051 | 0.11671 | distr_solelc_spv_POL_051 | DEF_C | OUT | 0.11671
distr_solelc_spv_POL_052 | DEF_E | 0.61799 | distr_solelc_spv_POL_052 | ELC4H | 0.29573 | distr_solelc_spv_POL_052 | ELC8H | 0.1484 | distr_solelc_spv_POL_052 | ELCnH | 0.00024844 | [7 empty] | distr_solelc_spv_POL_052 | 0.11899 | distr_solelc_spv_POL_052 | DEF_C | OUT | 0.11899
distr_solelc_spv_POL_053 | DEF_E | 0.63129 | distr_solelc_spv_POL_053 | ELC4H | 0.29551 | distr_solelc_spv_POL_053 | ELC8H | 0.16855 | distr_solelc_spv_POL_053 | ELCnH | 0.00073768 | [7 empty] | distr_solelc_spv_POL_053 | 0.11649 | distr_solelc_spv_POL_053 | DEF_C | OUT | 0.11649
distr_solelc_spv_POL_054 | DEF_E | 0.62379 | distr_solelc_spv_POL_054 | ELC4H | 0.28699 | distr_solelc_spv_POL_054 | ELC8H | 0.16599 | distr_solelc_spv_POL_054 | ELCnH | 0.00084875 | [7 empty] | distr_solelc_spv_POL_054 | 0.11565 | distr_solelc_spv_POL_054 | DEF_C | OUT | 0.11565
distr_solelc_spv_POL_055 | DEF_E | 0.62104 | distr_solelc_spv_POL_055 | ELC4H | 0.296 | distr_solelc_spv_POL_055 | ELC8H | 0.15658 | distr_solelc_spv_POL_055 | ELCnH | 5.5357e-05 | [7 empty] | distr_solelc_spv_POL_055 | 0.11295 | distr_solelc_spv_POL_055 | DEF_C | OUT | 0.11295
distr_solelc_spv_POL_056 | DEF_E | 0.62877 | distr_solelc_spv_POL_056 | ELC4H | 0.28316 | distr_solelc_spv_POL_056 | ELC8H | 0.17467 | distr_solelc_spv_POL_056 | ELCnH | 0.00057474 | [7 empty] | distr_solelc_spv_POL_056 | 0.12017 | distr_solelc_spv_POL_056 | DEF_C | OUT | 0.12017
distr_solelc_spv_POL_057 | DEF_E | 0.62213 | distr_solelc_spv_POL_057 | ELC4H | 0.27646 | distr_solelc_spv_POL_057 | ELC8H | 0.17483 | distr_solelc_spv_POL_057 | ELCnH | 0.00068525 | [7 empty] | distr_solelc_spv_POL_057 | 0.11482 | distr_solelc_spv_POL_057 | DEF_C | OUT | 0.11482
distr_wofelc_wof_POL_001 | DEF_E | 0.36228 | distr_wofelc_wof_POL_001 | ELC4H | 0.025311 | distr_wofelc_wof_POL_001 | ELC8H | 0.033974 | distr_wofelc_wof_POL_001 | ELCnH | 0.17906 | [7 empty] | distr_wofelc_wof_POL_001 | 0.31424 | distr_wonelc_won_POL_001 | DEF_C | OUT | 0.28144
distr_wofelc_wof_POL_002 | DEF_E | 0.33645 | distr_wofelc_wof_POL_002 | ELC4H | 0.021057 | distr_wofelc_wof_POL_002 | ELC8H | 0.025847 | distr_wofelc_wof_POL_002 | ELCnH | 0.15881 | [7 empty] | distr_wofelc_wof_POL_002 | 0.41181 | distr_wonelc_won_POL_002 | DEF_C | OUT | 0.28522
distr_wofelc_wof_POL_003 | DEF_E | 0.31144 | distr_wofelc_wof_POL_003 | ELC4H | 0.019509 | distr_wofelc_wof_POL_003 | ELC8H | 0.021664 | distr_wofelc_wof_POL_003 | ELCnH | 0.13181 | [7 empty] | distr_wofelc_wof_POL_003 | 0.51745 | distr_wonelc_won_POL_003 | DEF_C | OUT | 0.27984
distr_wofelc_wof_POL_004 | DEF_E | 0.33693 | distr_wofelc_wof_POL_004 | ELC4H | 0.019459 | distr_wofelc_wof_POL_004 | ELC8H | 0.025801 | distr_wofelc_wof_POL_004 | ELCnH | 0.15885 | [7 empty] | distr_wofelc_wof_POL_004 | 0.38763 | distr_wonelc_won_POL_004 | DEF_C | OUT | 0.25663
distr_wofelc_wof_POL_005 | DEF_E | 0.32054 | distr_wofelc_wof_POL_005 | ELC4H | 0.018255 | distr_wofelc_wof_POL_005 | ELC8H | 0.02193 | distr_wofelc_wof_POL_005 | ELCnH | 0.144 | [7 empty] | distr_wofelc_wof_POL_005 | 0.48248 | distr_wonelc_won_POL_005 | DEF_C | OUT | 0.27548
distr_wofelc_wof_POL_006 | DEF_E | 0.31209 | distr_wofelc_wof_POL_006 | ELC4H | 0.01873 | distr_wofelc_wof_POL_006 | ELC8H | 0.022861 | distr_wofelc_wof_POL_006 | ELCnH | 0.13592 | [7 empty] | distr_wofelc_wof_POL_006 | 0.51021 | distr_wonelc_won_POL_006 | DEF_C | OUT | 0.26232
distr_wofelc_wof_POL_007 | DEF_E | 0.30939 | distr_wofelc_wof_POL_007 | ELC4H | 0.021323 | distr_wofelc_wof_POL_007 | ELC8H | 0.023192 | distr_wofelc_wof_POL_007 | ELCnH | 0.1295 | [7 empty] | distr_wofelc_wof_POL_007 | 0.52219 | distr_wonelc_won_POL_007 | DEF_C | OUT | 0.25307
distr_wofelc_wof_POL_008 | DEF_E | 0.31379 | distr_wofelc_wof_POL_008 | ELC4H | 0.018265 | distr_wofelc_wof_POL_008 | ELC8H | 0.023234 | distr_wofelc_wof_POL_008 | ELCnH | 0.13974 | [7 empty] | distr_wofelc_wof_POL_008 | 0.49996 | distr_wonelc_won_POL_008 | DEF_C | OUT | 0.31641
distr_wofelc_wof_POL_009 | DEF_E | 0.31491 | distr_wofelc_wof_POL_009 | ELC4H | 0.019223 | distr_wofelc_wof_POL_009 | ELC8H | 0.022346 | distr_wofelc_wof_POL_009 | ELCnH | 0.1381 | [7 empty] | distr_wofelc_wof_POL_009 | 0.50997 | distr_wonelc_won_POL_009 | DEF_C | OUT | 0.33137
distr_wofelc_wof_POL_010 | DEF_E | 0.31833 | distr_wofelc_wof_POL_010 | ELC4H | 0.019281 | distr_wofelc_wof_POL_010 | ELC8H | 0.02339 | distr_wofelc_wof_POL_010 | ELCnH | 0.14241 | [7 empty] | distr_wofelc_wof_POL_010 | 0.48578 | distr_wonelc_won_POL_010 | DEF_C | OUT | 0.35091
distr_wonelc_won_POL_001 | DEF_E | 0.35476 | distr_wonelc_won_POL_001 | ELC4H | 0.030022 | distr_wonelc_won_POL_001 | ELC8H | 0.033704 | distr_wonelc_won_POL_001 | ELCnH | 0.17244 | [7 empty] | distr_wonelc_won_POL_001 | 0.28278 | distr_wonelc_won_POL_011 | DEF_C | OUT | 0.29578
distr_wonelc_won_POL_002 | DEF_E | 0.36346 | distr_wonelc_won_POL_002 | ELC4H | 0.0233 | distr_wonelc_won_POL_002 | ELC8H | 0.03056 | distr_wonelc_won_POL_002 | ELCnH | 0.19309 | [7 empty] | distr_wonelc_won_POL_002 | 0.28648 | distr_wonelc_won_POL_012 | DEF_C | OUT | 0.23851
distr_wonelc_won_POL_003 | DEF_E | 0.36135 | distr_wonelc_won_POL_003 | ELC4H | 0.028331 | distr_wonelc_won_POL_003 | ELC8H | 0.032167 | distr_wonelc_won_POL_003 | ELCnH | 0.17964 | [7 empty] | distr_wonelc_won_POL_003 | 0.28135 | distr_wonelc_won_POL_013 | DEF_C | OUT | 0.38964
distr_wonelc_won_POL_004 | DEF_E | 0.3759 | distr_wonelc_won_POL_004 | ELC4H | 0.026111 | distr_wonelc_won_POL_004 | ELC8H | 0.032537 | distr_wonelc_won_POL_004 | ELCnH | 0.19775 | [7 empty] | distr_wonelc_won_POL_004 | 0.25785 | distr_wonelc_won_POL_014 | DEF_C | OUT | 0.28498
distr_wonelc_won_POL_005 | DEF_E | 0.37337 | distr_wonelc_won_POL_005 | ELC4H | 0.02423 | distr_wonelc_won_POL_005 | ELC8H | 0.031717 | distr_wonelc_won_POL_005 | ELCnH | 0.19829 | [7 empty] | distr_wonelc_won_POL_005 | 0.27675 | distr_wonelc_won_POL_015 | DEF_C | OUT | 0.27996
distr_wonelc_won_POL_006 | DEF_E | 0.3741 | distr_wonelc_won_POL_006 | ELC4H | 0.029798 | distr_wonelc_won_POL_006 | ELC8H | 0.040418 | distr_wonelc_won_POL_006 | ELCnH | 0.18466 | [7 empty] | distr_wonelc_won_POL_006 | 0.26412 | distr_wonelc_won_POL_016 | DEF_C | OUT | 0.25028
distr_wonelc_won_POL_007 | DEF_E | 0.38272 | distr_wonelc_won_POL_007 | ELC4H | 0.024677 | distr_wonelc_won_POL_007 | ELC8H | 0.037507 | distr_wonelc_won_POL_007 | ELCnH | 0.20252 | [7 empty] | distr_wonelc_won_POL_007 | 0.25477 | distr_wonelc_won_POL_017 | DEF_C | OUT | 0.26485
distr_wonelc_won_POL_008 | DEF_E | 0.35742 | distr_wonelc_won_POL_008 | ELC4H | 0.028312 | distr_wonelc_won_POL_008 | ELC8H | 0.035502 | distr_wonelc_won_POL_008 | ELCnH | 0.17096 | [7 empty] | distr_wonelc_won_POL_008 | 0.31767 | distr_wonelc_won_POL_018 | DEF_C | OUT | 0.38101
distr_wonelc_won_POL_009 | DEF_E | 0.3476 | distr_wonelc_won_POL_009 | ELC4H | 0.025845 | distr_wonelc_won_POL_009 | ELC8H | 0.030631 | distr_wonelc_won_POL_009 | ELCnH | 0.16731 | [7 empty] | distr_wonelc_won_POL_009 | 0.33264 | distr_wonelc_won_POL_019 | DEF_C | OUT | 0.26722
distr_wonelc_won_POL_010 | DEF_E | 0.34727 | distr_wonelc_won_POL_010 | ELC4H | 0.025328 | distr_wonelc_won_POL_010 | ELC8H | 0.031484 | distr_wonelc_won_POL_010 | ELCnH | 0.16659 | [7 empty] | distr_wonelc_won_POL_010 | 0.35247 | distr_wonelc_won_POL_020 | DEF_C | OUT | 0.28964
distr_wonelc_won_POL_011 | DEF_E | 0.3575 | distr_wonelc_won_POL_011 | ELC4H | 0.025036 | distr_wonelc_won_POL_011 | ELC8H | 0.033428 | distr_wonelc_won_POL_011 | ELCnH | 0.18057 | [7 empty] | distr_wonelc_won_POL_011 | 0.29816 | distr_wonelc_won_POL_021 | DEF_C | OUT | 0.27752
distr_wonelc_won_POL_012 | DEF_E | 0.38837 | distr_wonelc_won_POL_012 | ELC4H | 0.025849 | distr_wonelc_won_POL_012 | ELC8H | 0.034781 | distr_wonelc_won_POL_012 | ELCnH | 0.20356 | [7 empty] | distr_wonelc_won_POL_012 | 0.24032 | distr_wonelc_won_POL_022 | DEF_C | OUT | 0.28494
distr_wonelc_won_POL_013 | DEF_E | 0.34204 | distr_wonelc_won_POL_013 | ELC4H | 0.024552 | distr_wonelc_won_POL_013 | ELC8H | 0.030088 | distr_wonelc_won_POL_013 | ELCnH | 0.15819 | [7 empty] | distr_wonelc_won_POL_013 | 0.39105 | distr_wonelc_won_POL_023 | DEF_C | OUT | 0.24319
distr_wonelc_won_POL_014 | DEF_E | 0.36429 | distr_wonelc_won_POL_014 | ELC4H | 0.02525 | distr_wonelc_won_POL_014 | ELC8H | 0.031835 | distr_wonelc_won_POL_014 | ELCnH | 0.18732 | [7 empty] | distr_wonelc_won_POL_014 | 0.28587 | distr_wonelc_won_POL_024 | DEF_C | OUT | 0.31572
distr_wonelc_won_POL_015 | DEF_E | 0.36706 | distr_wonelc_won_POL_015 | ELC4H | 0.025525 | distr_wonelc_won_POL_015 | ELC8H | 0.032454 | distr_wonelc_won_POL_015 | ELCnH | 0.19031 | [7 empty] | distr_wonelc_won_POL_015 | 0.28127 | distr_wonelc_won_POL_025 | DEF_C | OUT | 0.32515
distr_wonelc_won_POL_016 | DEF_E | 0.40593 | distr_wonelc_won_POL_016 | ELC4H | 0.030549 | distr_wonelc_won_POL_016 | ELC8H | 0.038034 | distr_wonelc_won_POL_016 | ELCnH | 0.20998 | [7 empty] | distr_wonelc_won_POL_016 | 0.25197 | distr_wonelc_won_POL_026 | DEF_C | OUT | 0.2691
distr_wonelc_won_POL_017 | DEF_E | 0.36631 | distr_wonelc_won_POL_017 | ELC4H | 0.027851 | distr_wonelc_won_POL_017 | ELC8H | 0.037428 | distr_wonelc_won_POL_017 | ELCnH | 0.18132 | [7 empty] | distr_wonelc_won_POL_017 | 0.26623 | distr_wonelc_won_POL_027 | DEF_C | OUT | 0.24185
distr_wonelc_won_POL_018 | DEF_E | 0.33285 | distr_wonelc_won_POL_018 | ELC4H | 0.021156 | distr_wonelc_won_POL_018 | ELC8H | 0.025093 | distr_wonelc_won_POL_018 | ELCnH | 0.15878 | [7 empty] | distr_wonelc_won_POL_018 | 0.38254 | distr_wonelc_won_POL_028 | DEF_C | OUT | 0.25477
distr_wonelc_won_POL_019 | DEF_E | 0.37227 | distr_wonelc_won_POL_019 | ELC4H | 0.022706 | distr_wonelc_won_POL_019 | ELC8H | 0.03304 | distr_wonelc_won_POL_019 | ELCnH | 0.19832 | [7 empty] | distr_wonelc_won_POL_019 | 0.26895 | distr_wonelc_won_POL_029 | DEF_C | OUT | 0.19251
distr_wonelc_won_POL_020 | DEF_E | 0.36222 | distr_wonelc_won_POL_020 | ELC4H | 0.025519 | distr_wonelc_won_POL_020 | ELC8H | 0.03331 | distr_wonelc_won_POL_020 | ELCnH | 0.18511 | [7 empty] | distr_wonelc_won_POL_020 | 0.29116 | distr_wonelc_won_POL_030 | DEF_C | OUT | 0.21897
distr_wonelc_won_POL_021 | DEF_E | 0.37038 | distr_wonelc_won_POL_021 | ELC4H | 0.02318 | distr_wonelc_won_POL_021 | ELC8H | 0.032093 | distr_wonelc_won_POL_021 | ELCnH | 0.19354 | [7 empty] | distr_wonelc_won_POL_021 | 0.27964 | distr_wonelc_won_POL_031 | DEF_C | OUT | 0.28767
distr_wonelc_won_POL_022 | DEF_E | 0.36292 | distr_wonelc_won_POL_022 | ELC4H | 0.028743 | distr_wonelc_won_POL_022 | ELC8H | 0.037921 | distr_wonelc_won_POL_022 | ELCnH | 0.17848 | [7 empty] | distr_wonelc_won_POL_022 | 0.28706 | distr_wonelc_won_POL_032 | DEF_C | OUT | 0.27749
distr_wonelc_won_POL_023 | DEF_E | 0.38293 | distr_wonelc_won_POL_023 | ELC4H | 0.02786 | distr_wonelc_won_POL_023 | ELC8H | 0.035386 | distr_wonelc_won_POL_023 | ELCnH | 0.20173 | [7 empty] | distr_wonelc_won_POL_023 | 0.24445 | distr_wonelc_won_POL_033 | DEF_C | OUT | 0.24636
distr_wonelc_won_POL_024 | DEF_E | 0.34978 | distr_wonelc_won_POL_024 | ELC4H | 0.027221 | distr_wonelc_won_POL_024 | ELC8H | 0.031562 | distr_wonelc_won_POL_024 | ELCnH | 0.16896 | [7 empty] | distr_wonelc_won_POL_024 | 0.31698 | distr_wonelc_won_POL_034 | DEF_C | OUT | 0.25833
distr_wonelc_won_POL_025 | DEF_E | 0.34494 | distr_wonelc_won_POL_025 | ELC4H | 0.026588 | distr_wonelc_won_POL_025 | ELC8H | 0.031248 | distr_wonelc_won_POL_025 | ELCnH | 0.16663 | [7 empty] | distr_wonelc_won_POL_025 | 0.3262 | distr_wonelc_won_POL_035 | DEF_C | OUT | 0.28965
distr_wonelc_won_POL_026 | DEF_E | 0.36789 | distr_wonelc_won_POL_026 | ELC4H | 0.029048 | distr_wonelc_won_POL_026 | ELC8H | 0.038229 | distr_wonelc_won_POL_026 | ELCnH | 0.1805 | [7 empty] | distr_wonelc_won_POL_026 | 0.27035 | distr_wonelc_won_POL_036 | DEF_C | OUT | 0.28559
distr_wonelc_won_POL_027 | DEF_E | 0.38921 | distr_wonelc_won_POL_027 | ELC4H | 0.030296 | distr_wonelc_won_POL_027 | ELC8H | 0.034256 | distr_wonelc_won_POL_027 | ELCnH | 0.20364 | [7 empty] | distr_wonelc_won_POL_027 | 0.24358 | distr_wonelc_won_POL_037 | DEF_C | OUT | 0.28439
distr_wonelc_won_POL_028 | DEF_E | 0.38098 | distr_wonelc_won_POL_028 | ELC4H | 0.03195 | distr_wonelc_won_POL_028 | ELC8H | 0.03756 | distr_wonelc_won_POL_028 | ELCnH | 0.19131 | [7 empty] | distr_wonelc_won_POL_028 | 0.25629 | distr_wonelc_won_POL_038 | DEF_C | OUT | 0.25171
distr_wonelc_won_POL_029 | DEF_E | 0.40288 | distr_wonelc_won_POL_029 | ELC4H | 0.032621 | distr_wonelc_won_POL_029 | ELC8H | 0.037936 | distr_wonelc_won_POL_029 | ELCnH | 0.21329 | [7 empty] | distr_wonelc_won_POL_029 | 0.19444 | distr_wonelc_won_POL_039 | DEF_C | OUT | 0.23666
distr_wonelc_won_POL_030 | DEF_E | 0.3868 | distr_wonelc_won_POL_030 | ELC4H | 0.029698 | distr_wonelc_won_POL_030 | ELC8H | 0.038052 | distr_wonelc_won_POL_030 | ELCnH | 0.19841 | [7 empty] | distr_wonelc_won_POL_030 | 0.22056 | distr_wonelc_won_POL_040 | DEF_C | OUT | 0.286
distr_wonelc_won_POL_031 | DEF_E | 0.36919 | distr_wonelc_won_POL_031 | ELC4H | 0.020882 | distr_wonelc_won_POL_031 | ELC8H | 0.030604 | distr_wonelc_won_POL_031 | ELCnH | 0.19776 | [7 empty] | distr_wonelc_won_POL_031 | 0.28939 | distr_wonelc_won_POL_041 | DEF_C | OUT | 0.28071
distr_wonelc_won_POL_032 | DEF_E | 0.36498 | distr_wonelc_won_POL_032 | ELC4H | 0.025575 | distr_wonelc_won_POL_032 | ELC8H | 0.032087 | distr_wonelc_won_POL_032 | ELCnH | 0.19175 | [7 empty] | distr_wonelc_won_POL_032 | 0.27922 | distr_wonelc_won_POL_042 | DEF_C | OUT | 0.40322
distr_wonelc_won_POL_033 | DEF_E | 0.382 | distr_wonelc_won_POL_033 | ELC4H | 0.028527 | distr_wonelc_won_POL_033 | ELC8H | 0.036356 | distr_wonelc_won_POL_033 | ELCnH | 0.19544 | [7 empty] | distr_wonelc_won_POL_033 | 0.24783 | distr_wonelc_won_POL_043 | DEF_C | OUT | 0.21845
distr_wonelc_won_POL_034 | DEF_E | 0.37942 | distr_wonelc_won_POL_034 | ELC4H | 0.02503 | distr_wonelc_won_POL_034 | ELC8H | 0.034249 | distr_wonelc_won_POL_034 | ELCnH | 0.19725 | [7 empty] | distr_wonelc_won_POL_034 | 0.25969 | distr_wonelc_won_POL_044 | DEF_C | OUT | 0.25926
distr_wonelc_won_POL_035 | DEF_E | 0.36281 | distr_wonelc_won_POL_035 | ELC4H | 0.025996 | distr_wonelc_won_POL_035 | ELC8H | 0.033925 | distr_wonelc_won_POL_035 | ELCnH | 0.18533 | [7 empty] | distr_wonelc_won_POL_035 | 0.29129 | distr_wonelc_won_POL_045 | DEF_C | OUT | 0.28978
distr_wonelc_won_POL_036 | DEF_E | 0.34991 | distr_wonelc_won_POL_036 | ELC4H | 0.02586 | distr_wonelc_won_POL_036 | ELC8H | 0.030404 | distr_wonelc_won_POL_036 | ELCnH | 0.17447 | [7 empty] | distr_wonelc_won_POL_036 | 0.28711 | distr_wonelc_won_POL_046 | DEF_C | OUT | 0.2757
distr_wonelc_won_POL_037 | DEF_E | 0.36074 | distr_wonelc_won_POL_037 | ELC4H | 0.029855 | distr_wonelc_won_POL_037 | ELC8H | 0.03706 | distr_wonelc_won_POL_037 | ELCnH | 0.17453 | [7 empty] | distr_wonelc_won_POL_037 | 0.28559 | distr_wonelc_won_POL_047 | DEF_C | OUT | 0.27186
distr_wonelc_won_POL_038 | DEF_E | 0.37755 | distr_wonelc_won_POL_038 | ELC4H | 0.026699 | distr_wonelc_won_POL_038 | ELC8H | 0.03496 | distr_wonelc_won_POL_038 | ELCnH | 0.19839 | [7 empty] | distr_wonelc_won_POL_038 | 0.25312 | distr_wonelc_won_POL_048 | DEF_C | OUT | 0.25301
distr_wonelc_won_POL_039 | DEF_E | 0.38953 | distr_wonelc_won_POL_039 | ELC4H | 0.029521 | distr_wonelc_won_POL_039 | ELC8H | 0.037443 | distr_wonelc_won_POL_039 | ELCnH | 0.20275 | [7 empty] | distr_wonelc_won_POL_039 | 0.23844 | distr_wonelc_won_POL_049 | DEF_C | OUT | 0.30905
distr_wonelc_won_POL_040 | DEF_E | 0.36188 | distr_wonelc_won_POL_040 | ELC4H | 0.027736 | distr_wonelc_won_POL_040 | ELC8H | 0.039301 | distr_wonelc_won_POL_040 | ELCnH | 0.17544 | [7 empty] | distr_wonelc_won_POL_040 | 0.2881 | distr_wonelc_won_POL_050 | DEF_C | OUT | 0.28732
distr_wonelc_won_POL_041 | DEF_E | 0.35597 | distr_wonelc_won_POL_041 | ELC4H | 0.026414 | distr_wonelc_won_POL_041 | ELC8H | 0.035452 | distr_wonelc_won_POL_041 | ELCnH | 0.17642 | [7 empty] | distr_wonelc_won_POL_041 | 0.28253 | distr_wonelc_won_POL_051 | DEF_C | OUT | 0.26439
distr_wonelc_won_POL_042 | DEF_E | 0.33734 | distr_wonelc_won_POL_042 | ELC4H | 0.021581 | distr_wonelc_won_POL_042 | ELC8H | 0.026276 | distr_wonelc_won_POL_042 | ELCnH | 0.15941 | [7 empty] | distr_wonelc_won_POL_042 | 0.40467 | distr_wonelc_won_POL_052 | DEF_C | OUT | 0.17226
distr_wonelc_won_POL_043 | DEF_E | 0.40062 | distr_wonelc_won_POL_043 | ELC4H | 0.026782 | distr_wonelc_won_POL_043 | ELC8H | 0.039377 | distr_wonelc_won_POL_043 | ELCnH | 0.21331 | [7 empty] | distr_wonelc_won_POL_043 | 0.22068 | distr_wonelc_won_POL_053 | DEF_C | OUT | 0.30814
distr_wonelc_won_POL_044 | DEF_E | 0.36907 | distr_wonelc_won_POL_044 | ELC4H | 0.026431 | distr_wonelc_won_POL_044 | ELC8H | 0.032702 | distr_wonelc_won_POL_044 | ELCnH | 0.19328 | [7 empty] | distr_wonelc_won_POL_044 | 0.2611 | distr_wonelc_won_POL_054 | DEF_C | OUT | 0.28562
distr_wonelc_won_POL_045 | DEF_E | 0.36409 | distr_wonelc_won_POL_045 | ELC4H | 0.028405 | distr_wonelc_won_POL_045 | ELC8H | 0.035228 | distr_wonelc_won_POL_045 | ELCnH | 0.18286 | [7 empty] | distr_wonelc_won_POL_045 | 0.29165 | distr_wonelc_won_POL_055 | DEF_C | OUT | 0.26386
distr_wonelc_won_POL_046 | DEF_E | 0.36186 | distr_wonelc_won_POL_046 | ELC4H | 0.022958 | distr_wonelc_won_POL_046 | ELC8H | 0.032155 | distr_wonelc_won_POL_046 | ELCnH | 0.18997 | [7 empty] | distr_wonelc_won_POL_046 | 0.27759 | distr_wonelc_won_POL_056 | DEF_C | OUT | 0.36046
distr_wonelc_won_POL_047 | DEF_E | 0.36325 | distr_wonelc_won_POL_047 | ELC4H | 0.028612 | distr_wonelc_won_POL_047 | ELC8H | 0.036721 | distr_wonelc_won_POL_047 | ELCnH | 0.17786 | [7 empty] | distr_wonelc_won_POL_047 | 0.27327 | distr_wonelc_won_POL_057 | DEF_C | OUT | 0.25356
distr_wonelc_won_POL_048 | DEF_E | 0.36248 | distr_wonelc_won_POL_048 | ELC4H | 0.029212 | distr_wonelc_won_POL_048 | ELC8H | 0.035774 | distr_wonelc_won_POL_048 | ELCnH | 0.18114 | [7 empty] | distr_wonelc_won_POL_048 | 0.25503 | distr_wofelc_wof_POL_001 | DEF_C | OUT | 0.31281
distr_wonelc_won_POL_049 | DEF_E | 0.35426 | distr_wonelc_won_POL_049 | ELC4H | 0.024368 | distr_wonelc_won_POL_049 | ELC8H | 0.033333 | distr_wonelc_won_POL_049 | ELCnH | 0.17562 | [7 empty] | distr_wonelc_won_POL_049 | 0.31071 | distr_wofelc_wof_POL_002 | DEF_C | OUT | 0.41008
distr_wonelc_won_POL_050 | DEF_E | 0.36158 | distr_wonelc_won_POL_050 | ELC4H | 0.029152 | distr_wonelc_won_POL_050 | ELC8H | 0.032461 | distr_wonelc_won_POL_050 | ELCnH | 0.1786 | [7 empty] | distr_wonelc_won_POL_050 | 0.28848 | distr_wofelc_wof_POL_003 | DEF_C | OUT | 0.5153
distr_wonelc_won_POL_051 | DEF_E | 0.37947 | distr_wonelc_won_POL_051 | ELC4H | 0.029485 | distr_wonelc_won_POL_051 | ELC8H | 0.035779 | distr_wonelc_won_POL_051 | ELCnH | 0.19488 | [7 empty] | distr_wonelc_won_POL_051 | 0.26612 | distr_wofelc_wof_POL_004 | DEF_C | OUT | 0.38616
distr_wonelc_won_POL_052 | DEF_E | 0.42651 | distr_wonelc_won_POL_052 | ELC4H | 0.031302 | distr_wonelc_won_POL_052 | ELC8H | 0.04037 | distr_wonelc_won_POL_052 | ELCnH | 0.23592 | [7 empty] | distr_wonelc_won_POL_052 | 0.17379 | distr_wofelc_wof_POL_005 | DEF_C | OUT | 0.47993
distr_wonelc_won_POL_053 | DEF_E | 0.35688 | distr_wonelc_won_POL_053 | ELC4H | 0.029609 | distr_wonelc_won_POL_053 | ELC8H | 0.033293 | distr_wonelc_won_POL_053 | ELCnH | 0.17154 | [7 empty] | distr_wonelc_won_POL_053 | 0.30917 | distr_wofelc_wof_POL_006 | DEF_C | OUT | 0.50866
distr_wonelc_won_POL_054 | DEF_E | 0.35845 | distr_wonelc_won_POL_054 | ELC4H | 0.025667 | distr_wonelc_won_POL_054 | ELC8H | 0.033932 | distr_wonelc_won_POL_054 | ELCnH | 0.18226 | [7 empty] | distr_wonelc_won_POL_054 | 0.28754 | distr_wofelc_wof_POL_007 | DEF_C | OUT | 0.52114
distr_wonelc_won_POL_055 | DEF_E | 0.36529 | distr_wonelc_won_POL_055 | ELC4H | 0.032415 | distr_wonelc_won_POL_055 | ELC8H | 0.040398 | distr_wonelc_won_POL_055 | ELCnH | 0.17377 | [7 empty] | distr_wonelc_won_POL_055 | 0.26549 | distr_wofelc_wof_POL_008 | DEF_C | OUT | 0.49784
distr_wonelc_won_POL_056 | DEF_E | 0.34161 | distr_wonelc_won_POL_056 | ELC4H | 0.024475 | distr_wonelc_won_POL_056 | ELC8H | 0.031278 | distr_wonelc_won_POL_056 | ELCnH | 0.16256 | [7 empty] | distr_wonelc_won_POL_056 | 0.36222 | distr_wofelc_wof_POL_009 | DEF_C | OUT | 0.50898
distr_wonelc_won_POL_057 | DEF_E | 0.37872 | distr_wonelc_won_POL_057 | ELC4H | 0.025192 | distr_wonelc_won_POL_057 | ELC8H | 0.032855 | distr_wonelc_won_POL_057 | ELCnH | 0.20304 | [7 empty] | distr_wonelc_won_POL_057 | 0.255 | distr_wofelc_wof_POL_010 | DEF_C | OUT | 0.48453

## load_demand_peak_hydro
| ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  | ~TFM_DINS-AT |  |  | ~TFM_INS-AT
ts_01 | g_yrfr | com_fr | timeslice | commodity | commodity | timeslice | com_fr | commodity | timeslice | com_pkflx | Year | timeslice | ncap_afs | pset_ci
| 1 | 1 | AaH | elc_roadtransport | elc_buildings | AaH | 1 | ELC | AaH | 0.22677 | 2020 | A | 0.18844 | hydro
[5 empty] | elc_industry | AaH | 1 |  |  |  | 2021 | A | 0.2156 | hydro
[11 empty] | 2022 | A | 0.18139 | hydro
[11 empty] | 2025 | A | 0.19462 | hydro
[11 empty] | 2026 | A | 0.19337 | hydro
[11 empty] | 2027 | A | 0.20275 | hydro
[11 empty] | 2028 | A | 0.17007 | hydro
[11 empty] | 2029 | A | 0.16963 | hydro
[11 empty] | 2030 | A | 0.16924 | hydro
[11 empty] | 2031 | A | 0.16456 | hydro
[11 empty] | 2032 | A | 0.17049 | hydro
[11 empty] | 2033 | A | 0.23422 | hydro
[11 empty] | 2034 | A | 0.21967 | hydro
[11 empty] | 2035 | A | 0.22217 | hydro
[11 empty] | 2036 | A | 0.22771 | hydro
[11 empty] | 2037 | A | 0.22924 | hydro
[11 empty] | 2038 | A | 0.22687 | hydro
[11 empty] | 2039 | A | 0.20101 | hydro
[11 empty] | 2040 | A | 0.19755 | hydro
[11 empty] | 2041 | A | 0.20085 | hydro
[11 empty] | 2042 | A | 0.22047 | hydro
[11 empty] | 2043 | A | 0.22736 | hydro
[11 empty] | 2044 | A | 0.23076 | hydro
[11 empty] | 2045 | A | 0.16793 | hydro
[11 empty] | 2046 | A | 0.16623 | hydro
[11 empty] | 2047 | A | 0.20014 | hydro
[11 empty] | 2048 | A | 0.19997 | hydro
[11 empty] | 2049 | A | 0.19071 | hydro
[11 empty] | 2050 | A | 0.19343 | hydro