## Veda
[18 empty] | 1.1 |  | 0.2
[5 empty] | model_fuel | ember_min | ember_max | irena_min | irena_max
| ~TFM_INS-AT |  |  |  | bioenergy | 34.91% | 70.73% | 35.28% | 71.47% |  |  | ~UC_Sets: R_E: AllRegions
* | pset_ci | process | AFA |  | coal | 28.17% | 6553500%
| \I: hydro | ep*,EN* |  |  | gas | 22.14% | 43.86%
28% | \I: solar | ep* |  |  | hydro | 19.03% | 52.51% | 9.556% | 14.15% |  | ~UC_T: UC_CAP~LO | [10 empty] | ~UC_T: UC_CAP~UP
| \I: wind | ep* |  |  | nuclear | 50.41% | 103.5% | 50.39% | 101.7% |  | UC_N | pset_ci | pset_co | UC_ACT | UC_CAP | 2022 | 2050 | UC_RHSRT | UC_RHSRT~0 |  |  | UC_N | pset_ci | UC_ACT | UC_CAP | 2050 | UC_RHSRT | UC_RHSRT~0
| nuclear | ep* | 103.5% |  | oil | 203.2% | 417% | 2.119% | 3.72% |  | UCE_max coal fleet utilization | coal | -CO2Captured | -0.11416 |  | 65535 | 72088.5 | 0 | 3 |  |  | UCE_min coal fleet utilization | coal | -0.11416 | 0.28174 | 0.056349 | 0 | 3
[5 empty] | solar | 4.976% | 11.62% | 3.458% | 11.58% |  | UCE_max gas fleet utilization | gas | -CO2Captured | -0.11416 |  | 0.43861 | 0.48247 | 0 | 3 |  |  | UCE_min gas fleet utilization | gas | -0.11416 | 0.22138 | 0.044277 | 0 | 3
[5 empty] | windoff |  |  | 11.04% | 41.9%
[5 empty] | windon | 14.68% | 31.69% | 13.05% | 27.67%
| ~TFM_INS | [9 empty] | ~UC_T: 2050
| attribute | value | process | [7 empty] | UC_N | pset_ci | pset_co | UC_ACT | UC_CAP | 2022 | 2050 | UC_RHSRT | UC_RHSRT~0
| START | 2100 | Hydropower - large-scale unit,Solar photovoltaics - Large scale unit,Wind offshore,Wind onshore | [6 empty] | Hydropower - large-scale unit | UCE_max nuclear capacity | nuclear |  |  | 1 |  |  | 12.1 | 3 |  | 4.84 | base-year nuclear capacity
Solar photovoltaics - Large scale unit
Wind offshore
Wind onshore
~TFM_INS
| attribute | cset_cn | other_indexes | value | pset_co | process
| VDA_EMCB | coal | CO2 | 338.4 |  |  |  | 94
| VDA_EMCB | gas | CO2 | 198 |  |  |  | 55
| VDA_EMCB | oil | CO2 | 252 |  |  |  | 70
| COM_AGG | co2 | co2net | 1
| COM_AGG | co2captured | co2net | -1
| flo_cost | co2captured |  | 0.03 | co2captured
| life |  |  | 50 |  | g[_]*
| prc_capact |  |  | 8.76 |  | g[_]*
~UC_T: FX
| UC_N | pset_pn | pset_ci | UC_CAP | UC_RHSRT~0
| UCE_Solar capacity aggregation for peak | ElcAgg_Solar |  | 1 | 2
|  |  | solar | -1
| UCE_Wind capacity aggregation for peak | ElcAgg_Wind |  | 1 | 2
|  |  | wind* | -1
Note on B5: Amit Kanudia: 11-09-2025 AFS will be sufficient
Note on D8: Amit Kanudia: 29-07-2025 ember
Note on E27: Amit Kanudia: 03-08-2025 CO2 transport and storage cost

## grids
~TFM_INS-AT |  |  |  | ~tfm_ins-at |  |  |  |  | ~tfm_topins |  |  | ~tfm_topins | [9 empty] | ~tfm_topins
process | pasti | ncap_cost | efficiency | process | commodity | flo_mark | lim_type | pset_co | process | commodity | io | region | process | commodity | io | ~tfm_ins-at | [5 empty] | process | commodity | io
g_BE1-220-w392090271-220 | 0.49156 | 46.2 | 0.99748 | e_demand_w16584741-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.073063 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w16584741-380 | e_w16584741-380 | IN | BEL | Bioenergy + CCUS_w23136868-380 | e_w23136868-380 | OUT | commodity | limtype | flo_bnd | stgout_bnd | year | pset_set | Trd_electricity import | e_BE12-380,e_BE19-225,e_BE22-220,e_BE23-225,e_BE24-225,e_BE5-380,e_BE6-380,e_BE7-380,e_w1001478336-220,e_w121085952-220,e_w121085952-225,e_w121085952-380,e_w121085954-220,e_w124703985-380,e_w1258230090,e_w161224164-220,e_w19783816-380,e_w23136343-380,e_w23136868-380,e_w23141556-220,e_w23141556-380,e_w33814632-220,e_w392090271-220,e_w392090271-380,e_w392090271-400,e_w495688586-380,e_w500788534,e_w500788534-380,e_w500788534-400,e_w87763325-380,e_w87779917-380 | OUT
g_BE10-380-w124703985-380 | 1.6981 | 31.9 | 0.99826 | e_demand_w19783816-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.074366 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w19783816-380 | e_w19783816-380 | IN | BEL | Bioenergy - Large scale unit_w23136868-380 | e_w23136868-380 | OUT | ELC | UP | 2 |  | 0 | ELE,DMD,PRE | Trd_electricity export | e_BE12-380,e_BE19-225,e_BE22-220,e_BE23-225,e_BE24-225,e_BE5-380,e_BE6-380,e_BE7-380,e_w1001478336-220,e_w121085952-220,e_w121085952-225,e_w121085952-380,e_w121085954-220,e_w124703985-380,e_w1258230090,e_w161224164-220,e_w19783816-380,e_w23136343-380,e_w23136868-380,e_w23141556-220,e_w23141556-380,e_w33814632-220,e_w392090271-220,e_w392090271-380,e_w392090271-400,e_w495688586-380,e_w500788534,e_w500788534-380,e_w500788534-400,e_w87763325-380,e_w87779917-380 | IN
g_BE11-380-BE10-380 | 3.3962 | 2.2 | 0.99988 | e_demand_w23151789-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.037601 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w23151789-380 | e_w23151789-380 | IN | BEL | CCGT_w23136868-380 | e_w23136868-380 | OUT | ELC | UP |  | 2 | 0 | STG
g_BE12-380-BE11-380 | 3.3962 | 13.2 | 0.99928 | e_demand_w23175771-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.02745 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w23175771-380 | e_w23175771-380 | IN | BEL | CCGT + CCS_w23136868-380 | e_w23136868-380 | OUT
g_BE12-380-w23141556-380 | 1.6981 | 11 | 0.9994 | e_demand_w23176013-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.20223 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w23176013-380 | e_w23176013-380 | IN | BEL | Coal + CCS_w23136868-380 | e_w23136868-380 | OUT
g_BE12-380-w87772591-380 | 3.3962 | 47.3 | 0.99742 | e_demand_w23208935-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.071025 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w23208935-380 | e_w23208935-380 | IN | BEL | Gas turbine_w23136868-380 | e_w23136868-380 | OUT
g_BE13-380-w23175771-380 | 3.3962 | 14.3 | 0.99922 | e_demand_w32002039-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.034944 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w32002039-380 | e_w32002039-380 | IN | BEL | IGCC_w23136868-380 | e_w23136868-380 | OUT
g_BE13-380-w23176013-380 | 1.6981 | 11 | 0.9994 | e_demand_w87761208-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.040238 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w87761208-380 | e_w87761208-380 | IN | BEL | IGCC + CCS_w23136868-380 | e_w23136868-380 | OUT
g_BE13-380-w87772593-380 | 3.3962 | 37.4 | 0.99796 | e_demand_w87763325-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.074227 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w87763325-380 | e_w87763325-380 | IN | BEL | Nuclear large_w23136868-380 | e_w23136868-380 | OUT
g_BE14-220-w204940265-220 | 0.98311 | 4.4 | 0.99976 | e_demand_w87807194-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.032704 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w87807194-380 | e_w87807194-380 | IN | BEL | Oxyfuel + CCS_w23136868-380 | e_w23136868-380 | OUT
g_BE15-400-w87529551-400 | 3.575 | 47.3 | 0.99742 | e_demand_w91142310-220 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.026059 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w91142310-220 | e_w91142310-220 | IN | BEL | Steam Coal - SUBCRITICAL_w23136868-380 | e_w23136868-380 | OUT
g_BE16-380-w87772591-380 | 3.3962 | 31.9 | 0.99826 | e_demand_w93056461-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.065314 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w93056461-380 | e_w93056461-380 | IN | BEL | Steam Coal - SUPERCRITICAL_w23136868-380 | e_w23136868-380 | OUT
g_BE16-380-w90113579-380 | 3.3962 | 3.3 | 0.99982 | e_demand_w500788534-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.022093 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w500788534-380 | e_w500788534-380 | IN | BEL | Steam Coal - ULTRASUPERCRITICAL_w23136868-380 | e_w23136868-380 | OUT
g_BE17-380-BE16-380 | 3.3962 | 30.8 | 0.99832 | e_demand_w457635067-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.028319 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w457635067-380 | e_w457635067-380 | IN | BEL | Bioenergy + CCUS_w104524889-380 | e_w104524889-380 | OUT
g_BE17-380-BE18-380 | 1.6981 | 4.4 | 0.99976 | e_demand_BE9-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.026397 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_BE9-380 | e_BE9-380 | IN | BEL | Bioenergy - Large scale unit_w104524889-380 | e_w104524889-380 | OUT
g_BE17-380-w87772593-380 | 3.3962 | 14.3 | 0.99922 | e_demand_BE13-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.028422 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_BE13-380 | e_BE13-380 | IN | BEL | CCGT_w104524889-380 | e_w104524889-380 | OUT
g_BE18-380-w98410713-380 | 3.3962 | 3.3 | 0.99982 | e_demand_BE17-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.016802 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_BE17-380 | e_BE17-380 | IN | BEL | CCGT + CCS_w104524889-380 | e_w104524889-380 | OUT
g_BE2-220-w392090271-220 | 0.98311 | 45.1 | 0.99754 | e_demand_BE8-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.039249 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_BE8-380 | e_BE8-380 | IN | BEL | Coal + CCS_w104524889-380 | e_w104524889-380 | OUT
g_BE20-220-w1062894258-220 | 0.49156 | 2.2 | 0.99988 | e_demand_w103455240-225 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.031925 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w103455240-225 | e_w103455240-225 | IN | BEL | Gas turbine_w104524889-380 | e_w104524889-380 | OUT
g_BE20-220-w92007188-220 | 0.49156 | 2.2 | 0.99988 | e_demand_w87529551-400 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.027573 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | e_demand_w87529551-400 | e_w87529551-400 | IN | BEL | IGCC_w104524889-380 | e_w104524889-380 | OUT
g_BE21-400-w88373135-400 | 1.7875 | 70.4 | 0.99616 | ev_battery_w16584741-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.073063 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w16584741-380 | e_w16584741-380 | IN | BEL | IGCC + CCS_w104524889-380 | e_w104524889-380 | OUT
g_BE22-220-w121085952-220 | 0.98311 | 5.5 | 0.9997 | ev_battery_w19783816-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.074366 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w19783816-380 | e_w19783816-380 | IN | BEL | Nuclear large_w104524889-380 | e_w104524889-380 | OUT
g_BE23-225-w121085952-225 | 0.50273 | 4.4 | 0.99976 | ev_battery_w23151789-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.037601 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w23151789-380 | e_w23151789-380 | IN | BEL | Oxyfuel + CCS_w104524889-380 | e_w104524889-380 | OUT
g_BE24-225-w121085952-225 | 0.50273 | 16.5 | 0.9991 | ev_battery_w23175771-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.02745 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w23175771-380 | e_w23175771-380 | IN | BEL | Steam Coal - SUBCRITICAL_w104524889-380 | e_w104524889-380 | OUT
g_BE3-220-w392090271-220 | 0.49156 | 45.1 | 0.99754 | ev_battery_w23176013-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.20223 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w23176013-380 | e_w23176013-380 | IN | BEL | Steam Coal - SUPERCRITICAL_w104524889-380 | e_w104524889-380 | OUT
g_BE4-220-w392090271-220 | 0.49156 | 29.7 | 0.99838 | ev_battery_w23208935-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.071025 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w23208935-380 | e_w23208935-380 | IN | BEL | Steam Coal - ULTRASUPERCRITICAL_w104524889-380 | e_w104524889-380 | OUT
g_BE5-380-w23136343-380 | 3.3962 | 7.7 | 0.99958 | ev_battery_w32002039-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.034944 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w32002039-380 | e_w32002039-380 | IN | BEL | Bioenergy + CCUS_w23175771-380 | e_w23175771-380 | OUT
g_BE6-380-w23136343-380 | 3.3962 | 3.3 | 0.99982 | ev_battery_w87761208-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.040238 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w87761208-380 | e_w87761208-380 | IN | BEL | Bioenergy - Large scale unit_w23175771-380 | e_w23175771-380 | OUT
g_BE8-380-w32002039-380 | 3.3962 | 25.3 | 0.99862 | ev_battery_w87763325-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.074227 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w87763325-380 | e_w87763325-380 | IN | BEL | CCGT_w23175771-380 | e_w23175771-380 | OUT
g_BE9-380-w23175771-380 | 3.3962 | 17.6 | 0.99904 | ev_battery_w87807194-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.032704 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w87807194-380 | e_w87807194-380 | IN | BEL | CCGT + CCS_w23175771-380 | e_w23175771-380 | OUT
g_BE9-380-w23208935-380 | 3.3962 | 24.2 | 0.99868 | ev_battery_w91142310-220 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.026059 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w91142310-220 | e_w91142310-220 | IN | BEL | Coal + CCS_w23175771-380 | e_w23175771-380 | OUT
g_r7578992-220-BE14-220 | 0.49156 | 8.8 | 0.99952 | ev_battery_w93056461-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.065314 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w93056461-380 | e_w93056461-380 | IN | BEL | Gas turbine_w23175771-380 | e_w23175771-380 | OUT
g_r7578992-220-w91752661-220 | 0.98311 | 19.8 | 0.99892 | ev_battery_w500788534-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.022093 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w500788534-380 | e_w500788534-380 | IN | BEL | IGCC_w23175771-380 | e_w23175771-380 | OUT
g_r7578992-220-w92015823-220 | 0.49156 | 41.8 | 0.99772 | ev_battery_w457635067-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.028319 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w457635067-380 | e_w457635067-380 | IN | BEL | IGCC + CCS_w23175771-380 | e_w23175771-380 | OUT
g_r7578992-220-w94155586-220 | 0.98311 | 9.9 | 0.99946 | ev_battery_BE9-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.026397 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_BE9-380 | e_BE9-380 | IN | BEL | Nuclear large_w23175771-380 | e_w23175771-380 | OUT
g_w1001478336-220-w23141556-220 | 0.98311 | 4.4 | 0.99976 | ev_battery_BE13-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.028422 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_BE13-380 | e_BE13-380 | IN | BEL | Oxyfuel + CCS_w23175771-380 | e_w23175771-380 | OUT
g_w103455240-225-BE19-225 | 0.50273 | 63.8 | 0.99652 | ev_battery_BE17-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.016802 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_BE17-380 | e_BE17-380 | IN | BEL | Steam Coal - SUBCRITICAL_w23175771-380 | e_w23175771-380 | OUT
g_w104524889-380-w87772591-380 | 6.7924 | 3.3 | 0.99982 | ev_battery_BE8-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.039249 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_BE8-380 | e_BE8-380 | IN | BEL | Steam Coal - SUPERCRITICAL_w23175771-380 | e_w23175771-380 | OUT
g_w114082368-220-w88799384-220 | 0.49156 | 30.8 | 0.99832 | ev_battery_w103455240-225 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.031925 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w103455240-225 | e_w103455240-225 | IN | BEL | Steam Coal - ULTRASUPERCRITICAL_w23175771-380 | e_w23175771-380 | OUT
g_w121085952-380-w88799384-380 | 1.6981 | 115.5 | 0.9937 | ev_battery_w87529551-400 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.027573 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | ev_battery_w87529551-400 | e_w87529551-400 | IN | BEL | Bioenergy + CCUS_w103455240-225 | e_w103455240-225 | OUT
g_w121085954-220-w161224164-220 | 0.98311 | 6.6 | 0.99964 | H2prd_Elc_PEM_w16584741-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.073063 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w16584741-380 | e_w16584741-380 | IN | BEL | Bioenergy - Large scale unit_w103455240-225 | e_w103455240-225 | OUT
g_w124703985-380-BE7-380 | 3.3962 | 12.1 | 0.99934 | H2prd_Elc_PEM_w19783816-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.074366 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w19783816-380 | e_w19783816-380 | IN | BEL | CCGT_w103455240-225 | e_w103455240-225 | OUT
g_w1258230090-w1258230090 | 1 | 97.9 | 0.99466 | H2prd_Elc_PEM_w23151789-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.037601 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w23151789-380 | e_w23151789-380 | IN | BEL | CCGT + CCS_w103455240-225 | e_w103455240-225 | OUT
g_w161224164-220-w121085952-220 | 0.98311 | 17.6 | 0.99904 | H2prd_Elc_PEM_w23175771-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.02745 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w23175771-380 | e_w23175771-380 | IN | BEL | Coal + CCS_w103455240-225 | e_w103455240-225 | OUT
g_w16584741-380-w32002039-380 | 3.3962 | 15.4 | 0.99916 | H2prd_Elc_PEM_w23176013-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.20223 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w23176013-380 | e_w23176013-380 | IN | BEL | Gas turbine_w103455240-225 | e_w103455240-225 | OUT
g_w19783816-380-w23136343-380 | 3.3962 | 17.6 | 0.99904 | H2prd_Elc_PEM_w23208935-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.071025 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w23208935-380 | e_w23208935-380 | IN | BEL | IGCC_w103455240-225 | e_w103455240-225 | OUT
g_w19783816-380-w23136868-380 | 3.3962 | 7.7 | 0.99958 | H2prd_Elc_PEM_w32002039-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.034944 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w32002039-380 | e_w32002039-380 | IN | BEL | IGCC + CCS_w103455240-225 | e_w103455240-225 | OUT
g_w204940265-220-w103041283-220 | 1.4747 | 3.3 | 0.99982 | H2prd_Elc_PEM_w87761208-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.040238 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w87761208-380 | e_w87761208-380 | IN | BEL | Nuclear large_w103455240-225 | e_w103455240-225 | OUT
g_w23136868-380-BE6-380 | 3.3962 | 3.3 | 0.99982 | H2prd_Elc_PEM_w87763325-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.074227 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w87763325-380 | e_w87763325-380 | IN | BEL | Oxyfuel + CCS_w103455240-225 | e_w103455240-225 | OUT
g_w23151789-380-BE9-380 | 3.3962 | 17.6 | 0.99904 | H2prd_Elc_PEM_w87807194-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.032704 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w87807194-380 | e_w87807194-380 | IN | BEL | Steam Coal - SUBCRITICAL_w103455240-225 | e_w103455240-225 | OUT
g_w23151789-380-w16584741-380 | 5.0943 | 23.1 | 0.99874 | H2prd_Elc_PEM_w91142310-220 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.026059 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w91142310-220 | e_w91142310-220 | IN | BEL | Steam Coal - SUPERCRITICAL_w103455240-225 | e_w103455240-225 | OUT
g_w23151789-380-w19783816-380 | 3.3962 | 22 | 0.9988 | H2prd_Elc_PEM_w93056461-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.065314 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w93056461-380 | e_w93056461-380 | IN | BEL | Steam Coal - ULTRASUPERCRITICAL_w103455240-225 | e_w103455240-225 | OUT
g_w23151789-380-w23136868-380 | 1.6981 | 24.2 | 0.99868 | H2prd_Elc_PEM_w500788534-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.022093 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w500788534-380 | e_w500788534-380 | IN | BEL | Bioenergy + CCUS_w94155586-220 | e_w94155586-220 | OUT
g_w23151789-380-w87763325-380 | 3.3962 | 37.4 | 0.99796 | H2prd_Elc_PEM_w457635067-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.028319 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w457635067-380 | e_w457635067-380 | IN | BEL | Bioenergy - Large scale unit_w94155586-220 | e_w94155586-220 | OUT
g_w24552827-220-r7578992-220 | 0.98311 | 7.7 | 0.99958 | H2prd_Elc_PEM_BE9-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.026397 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_BE9-380 | e_BE9-380 | IN | BEL | CCGT_w94155586-220 | e_w94155586-220 | OUT
g_w24552827-220-w103041283-220 | 0.98311 | 6.6 | 0.99964 | H2prd_Elc_PEM_BE13-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.028422 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_BE13-380 | e_BE13-380 | IN | BEL | CCGT + CCS_w94155586-220 | e_w94155586-220 | OUT
g_w33814632-220-w121085952-220 | 0.98311 | 16.5 | 0.9991 | H2prd_Elc_PEM_BE17-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.016802 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_BE17-380 | e_BE17-380 | IN | BEL | Coal + CCS_w94155586-220 | e_w94155586-220 | OUT
g_w392090271-400-w500788534-400 | 1.7875 | 9.9 | 0.99946 | H2prd_Elc_PEM_BE8-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.039249 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_BE8-380 | e_BE8-380 | IN | BEL | Gas turbine_w94155586-220 | e_w94155586-220 | OUT
g_w457635067-380-BE11-380 | 1.6981 | 6.6 | 0.99964 | H2prd_Elc_PEM_w103455240-225 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.031925 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w103455240-225 | e_w103455240-225 | IN | BEL | IGCC_w94155586-220 | e_w94155586-220 | OUT
g_w495688586-380-w87779917-380 | 3.3962 | 18.7 | 0.99898 | H2prd_Elc_PEM_w87529551-400 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.027573 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_PEM_w87529551-400 | e_w87529551-400 | IN | BEL | IGCC + CCS_w94155586-220 | e_w94155586-220 | OUT
g_w495688597-380-w87763325-380 | 3.3962 | 15.4 | 0.99916 | H2prd_Elc_ALK_w16584741-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.073063 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w16584741-380 | e_w16584741-380 | IN | BEL | Nuclear large_w94155586-220 | e_w94155586-220 | OUT
g_w495688597-380-w87779917-380 | 3.3962 | 13.2 | 0.99928 | H2prd_Elc_ALK_w19783816-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.074366 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w19783816-380 | e_w19783816-380 | IN | BEL | Oxyfuel + CCS_w94155586-220 | e_w94155586-220 | OUT
g_w500788534-380-w392090271-380 | 3.3962 | 9.9 | 0.99946 | H2prd_Elc_ALK_w23151789-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.037601 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w23151789-380 | e_w23151789-380 | IN | BEL | Steam Coal - SUBCRITICAL_w94155586-220 | e_w94155586-220 | OUT
g_w500788534-380-w495688586-380 | 6.7924 | 9.9 | 0.99946 | H2prd_Elc_ALK_w23175771-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.02745 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w23175771-380 | e_w23175771-380 | IN | BEL | Steam Coal - SUPERCRITICAL_w94155586-220 | e_w94155586-220 | OUT
g_w87529551-380-w495688597-380 | 3.3962 | 44 | 0.9976 | H2prd_Elc_ALK_w23176013-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.20223 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w23176013-380 | e_w23176013-380 | IN | BEL | Steam Coal - ULTRASUPERCRITICAL_w94155586-220 | e_w94155586-220 | OUT
g_w87529551-380-w93056461-380 | 3.3962 | 25.3 | 0.99862 | H2prd_Elc_ALK_w23208935-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.071025 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w23208935-380 | e_w23208935-380 | IN | BEL | Bioenergy + CCUS_w24552827-220 | e_w24552827-220 | OUT
g_w87772591-380-r7578992-380 | 1.6981 | 16.5 | 0.9991 | H2prd_Elc_ALK_w32002039-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.034944 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w32002039-380 | e_w32002039-380 | IN | BEL | Bioenergy - Large scale unit_w24552827-220 | e_w24552827-220 | OUT
g_w87772591-380-w88799384-380 | 3.3962 | 48.4 | 0.99736 | H2prd_Elc_ALK_w87761208-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.040238 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w87761208-380 | e_w87761208-380 | IN | BEL | CCGT_w24552827-220 | e_w24552827-220 | OUT
g_w87772593-380-w87761208-380 | 3.3962 | 2.2 | 0.99988 | H2prd_Elc_ALK_w87763325-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.074227 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w87763325-380 | e_w87763325-380 | IN | BEL | CCGT + CCS_w24552827-220 | e_w24552827-220 | OUT
g_w87807194-380-BE8-380 | 3.3962 | 9.9 | 0.99946 | H2prd_Elc_ALK_w87807194-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.032704 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w87807194-380 | e_w87807194-380 | IN | BEL | Coal + CCS_w24552827-220 | e_w24552827-220 | OUT
g_w87807194-380-w124703985-380 | 3.3962 | 63.8 | 0.99652 | H2prd_Elc_ALK_w91142310-220 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.026059 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w91142310-220 | e_w91142310-220 | IN | BEL | Gas turbine_w24552827-220 | e_w24552827-220 | OUT
g_w88373135-380-w87772591-380 | 1.6981 | 39.6 | 0.99784 | H2prd_Elc_ALK_w93056461-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.065314 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w93056461-380 | e_w93056461-380 | IN | BEL | IGCC_w24552827-220 | e_w24552827-220 | OUT
g_w88799385-380-w88799384-380 | 3.3962 | 2.2 | 0.99988 | H2prd_Elc_ALK_w500788534-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.022093 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w500788534-380 | e_w500788534-380 | IN | BEL | IGCC + CCS_w24552827-220 | e_w24552827-220 | OUT
g_w91142310-220-w1001478336-220 | 0.98311 | 16.5 | 0.9991 | H2prd_Elc_ALK_w457635067-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.028319 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w457635067-380 | e_w457635067-380 | IN | BEL | Nuclear large_w24552827-220 | e_w24552827-220 | OUT
g_w91142310-220-w91752661-220 | 0.49156 | 5.5 | 0.9997 | H2prd_Elc_ALK_BE9-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.026397 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_BE9-380 | e_BE9-380 | IN | BEL | Oxyfuel + CCS_w24552827-220 | e_w24552827-220 | OUT
g_w91752661-220-BE14-220 | 0.49156 | 11 | 0.9994 | H2prd_Elc_ALK_BE13-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.028422 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_BE13-380 | e_BE13-380 | IN | BEL | Steam Coal - SUBCRITICAL_w24552827-220 | e_w24552827-220 | OUT
g_w91752661-220-w91142310-220 | 0.49156 | 5.5 | 0.9997 | H2prd_Elc_ALK_BE17-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.016802 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_BE17-380 | e_BE17-380 | IN | BEL | Steam Coal - SUPERCRITICAL_w24552827-220 | e_w24552827-220 | OUT
g_w92007188-220-w114082368-220 | 0.49156 | 28.6 | 0.99844 | H2prd_Elc_ALK_BE8-380 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.039249 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_BE8-380 | e_BE8-380 | IN | BEL | Steam Coal - ULTRASUPERCRITICAL_w24552827-220 | e_w24552827-220 | OUT
g_w92007188-220-w33814632-220 | 0.98311 | 36.3 | 0.99802 | H2prd_Elc_ALK_w103455240-225 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.031925 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w103455240-225 | e_w103455240-225 | IN | BEL | Bioenergy + CCUS_w19783816-380 | e_w19783816-380 | OUT
g_w92015823-220-BE20-220 | 0.49156 | 30.8 | 0.99832 | H2prd_Elc_ALK_w87529551-400 | elc_buildings,elc_transport,elc_industry,elc_roadtransport | 0.027573 | lo | elc_buildings,elc_transport,elc_industry,elc_roadtransport | H2prd_Elc_ALK_w87529551-400 | e_w87529551-400 | IN | BEL | Bioenergy - Large scale unit_w19783816-380 | e_w19783816-380 | OUT
[12 empty] | BEL | CCGT_w19783816-380 | e_w19783816-380 | OUT
[12 empty] | BEL | CCGT + CCS_w19783816-380 | e_w19783816-380 | OUT
[12 empty] | BEL | Coal + CCS_w19783816-380 | e_w19783816-380 | OUT
[12 empty] | BEL | Gas turbine_w19783816-380 | e_w19783816-380 | OUT
[12 empty] | BEL | IGCC_w19783816-380 | e_w19783816-380 | OUT
[12 empty] | BEL | IGCC + CCS_w19783816-380 | e_w19783816-380 | OUT
[12 empty] | BEL | Nuclear large_w19783816-380 | e_w19783816-380 | OUT
[12 empty] | BEL | Oxyfuel + CCS_w19783816-380 | e_w19783816-380 | OUT
[12 empty] | BEL | Steam Coal - SUBCRITICAL_w19783816-380 | e_w19783816-380 | OUT
[12 empty] | BEL | Steam Coal - SUPERCRITICAL_w19783816-380 | e_w19783816-380 | OUT
[12 empty] | BEL | Steam Coal - ULTRASUPERCRITICAL_w19783816-380 | e_w19783816-380 | OUT
[12 empty] | BEL | Bioenergy + CCUS_w23176013-380 | e_w23176013-380 | OUT
[12 empty] | BEL | Bioenergy - Large scale unit_w23176013-380 | e_w23176013-380 | OUT
[12 empty] | BEL | CCGT_w23176013-380 | e_w23176013-380 | OUT
[12 empty] | BEL | CCGT + CCS_w23176013-380 | e_w23176013-380 | OUT
[12 empty] | BEL | Coal + CCS_w23176013-380 | e_w23176013-380 | OUT
[12 empty] | BEL | Gas turbine_w23176013-380 | e_w23176013-380 | OUT
[12 empty] | BEL | IGCC_w23176013-380 | e_w23176013-380 | OUT
[12 empty] | BEL | IGCC + CCS_w23176013-380 | e_w23176013-380 | OUT
[12 empty] | BEL | Nuclear large_w23176013-380 | e_w23176013-380 | OUT
[12 empty] | BEL | Oxyfuel + CCS_w23176013-380 | e_w23176013-380 | OUT
[12 empty] | BEL | Steam Coal - SUBCRITICAL_w23176013-380 | e_w23176013-380 | OUT
[12 empty] | BEL | Steam Coal - SUPERCRITICAL_w23176013-380 | e_w23176013-380 | OUT
[12 empty] | BEL | Steam Coal - ULTRASUPERCRITICAL_w23176013-380 | e_w23176013-380 | OUT
[12 empty] | BEL | Bioenergy + CCUS_w87763325-380 | e_w87763325-380 | OUT
[12 empty] | BEL | Bioenergy - Large scale unit_w87763325-380 | e_w87763325-380 | OUT
[12 empty] | BEL | CCGT_w87763325-380 | e_w87763325-380 | OUT
[12 empty] | BEL | CCGT + CCS_w87763325-380 | e_w87763325-380 | OUT
[12 empty] | BEL | Coal + CCS_w87763325-380 | e_w87763325-380 | OUT
[12 empty] | BEL | Gas turbine_w87763325-380 | e_w87763325-380 | OUT
[12 empty] | BEL | IGCC_w87763325-380 | e_w87763325-380 | OUT
[12 empty] | BEL | IGCC + CCS_w87763325-380 | e_w87763325-380 | OUT
[12 empty] | BEL | Nuclear large_w87763325-380 | e_w87763325-380 | OUT
[12 empty] | BEL | Oxyfuel + CCS_w87763325-380 | e_w87763325-380 | OUT
[12 empty] | BEL | Steam Coal - SUBCRITICAL_w87763325-380 | e_w87763325-380 | OUT
[12 empty] | BEL | Steam Coal - SUPERCRITICAL_w87763325-380 | e_w87763325-380 | OUT
[12 empty] | BEL | Steam Coal - ULTRASUPERCRITICAL_w87763325-380 | e_w87763325-380 | OUT
[12 empty] | BEL | Bioenergy + CCUS_w500788534-380 | e_w500788534-380 | OUT
[12 empty] | BEL | Bioenergy - Large scale unit_w500788534-380 | e_w500788534-380 | OUT
[12 empty] | BEL | CCGT_w500788534-380 | e_w500788534-380 | OUT
[12 empty] | BEL | CCGT + CCS_w500788534-380 | e_w500788534-380 | OUT
[12 empty] | BEL | Coal + CCS_w500788534-380 | e_w500788534-380 | OUT
[12 empty] | BEL | Gas turbine_w500788534-380 | e_w500788534-380 | OUT
[12 empty] | BEL | IGCC_w500788534-380 | e_w500788534-380 | OUT
[12 empty] | BEL | IGCC + CCS_w500788534-380 | e_w500788534-380 | OUT
[12 empty] | BEL | Nuclear large_w500788534-380 | e_w500788534-380 | OUT
[12 empty] | BEL | Oxyfuel + CCS_w500788534-380 | e_w500788534-380 | OUT
[12 empty] | BEL | Steam Coal - SUBCRITICAL_w500788534-380 | e_w500788534-380 | OUT
[12 empty] | BEL | Steam Coal - SUPERCRITICAL_w500788534-380 | e_w500788534-380 | OUT
[12 empty] | BEL | Steam Coal - ULTRASUPERCRITICAL_w500788534-380 | e_w500788534-380 | OUT
[12 empty] | BEL | Bioenergy + CCUS_w93056461-380 | e_w93056461-380 | OUT
[12 empty] | BEL | Bioenergy - Large scale unit_w93056461-380 | e_w93056461-380 | OUT
[12 empty] | BEL | CCGT_w93056461-380 | e_w93056461-380 | OUT
[12 empty] | BEL | CCGT + CCS_w93056461-380 | e_w93056461-380 | OUT
[12 empty] | BEL | Coal + CCS_w93056461-380 | e_w93056461-380 | OUT
[12 empty] | BEL | Gas turbine_w93056461-380 | e_w93056461-380 | OUT
[12 empty] | BEL | IGCC_w93056461-380 | e_w93056461-380 | OUT
[12 empty] | BEL | IGCC + CCS_w93056461-380 | e_w93056461-380 | OUT
[12 empty] | BEL | Nuclear large_w93056461-380 | e_w93056461-380 | OUT
[12 empty] | BEL | Oxyfuel + CCS_w93056461-380 | e_w93056461-380 | OUT
[12 empty] | BEL | Steam Coal - SUBCRITICAL_w93056461-380 | e_w93056461-380 | OUT
[12 empty] | BEL | Steam Coal - SUPERCRITICAL_w93056461-380 | e_w93056461-380 | OUT
[12 empty] | BEL | Steam Coal - ULTRASUPERCRITICAL_w93056461-380 | e_w93056461-380 | OUT
[12 empty] | BEL | Bioenergy + CCUS_w98410713-380 | e_w98410713-380 | OUT
[12 empty] | BEL | Bioenergy - Large scale unit_w98410713-380 | e_w98410713-380 | OUT
[12 empty] | BEL | CCGT_w98410713-380 | e_w98410713-380 | OUT
[12 empty] | BEL | CCGT + CCS_w98410713-380 | e_w98410713-380 | OUT
[12 empty] | BEL | Coal + CCS_w98410713-380 | e_w98410713-380 | OUT
[12 empty] | BEL | Gas turbine_w98410713-380 | e_w98410713-380 | OUT
[12 empty] | BEL | IGCC_w98410713-380 | e_w98410713-380 | OUT
[12 empty] | BEL | IGCC + CCS_w98410713-380 | e_w98410713-380 | OUT
[12 empty] | BEL | Nuclear large_w98410713-380 | e_w98410713-380 | OUT
[12 empty] | BEL | Oxyfuel + CCS_w98410713-380 | e_w98410713-380 | OUT
[12 empty] | BEL | Steam Coal - SUBCRITICAL_w98410713-380 | e_w98410713-380 | OUT
[12 empty] | BEL | Steam Coal - SUPERCRITICAL_w98410713-380 | e_w98410713-380 | OUT
[12 empty] | BEL | Steam Coal - ULTRASUPERCRITICAL_w98410713-380 | e_w98410713-380 | OUT
[12 empty] | BEL | Bioenergy + CCUS_w87761208-380 | e_w87761208-380 | OUT
[12 empty] | BEL | Bioenergy - Large scale unit_w87761208-380 | e_w87761208-380 | OUT
[12 empty] | BEL | CCGT_w87761208-380 | e_w87761208-380 | OUT
[12 empty] | BEL | CCGT + CCS_w87761208-380 | e_w87761208-380 | OUT
[12 empty] | BEL | Coal + CCS_w87761208-380 | e_w87761208-380 | OUT
[12 empty] | BEL | Gas turbine_w87761208-380 | e_w87761208-380 | OUT
[12 empty] | BEL | IGCC_w87761208-380 | e_w87761208-380 | OUT
[12 empty] | BEL | IGCC + CCS_w87761208-380 | e_w87761208-380 | OUT
[12 empty] | BEL | Nuclear large_w87761208-380 | e_w87761208-380 | OUT
[12 empty] | BEL | Oxyfuel + CCS_w87761208-380 | e_w87761208-380 | OUT
[12 empty] | BEL | Steam Coal - SUBCRITICAL_w87761208-380 | e_w87761208-380 | OUT
[12 empty] | BEL | Steam Coal - SUPERCRITICAL_w87761208-380 | e_w87761208-380 | OUT
[12 empty] | BEL | Steam Coal - ULTRASUPERCRITICAL_w87761208-380 | e_w87761208-380 | OUT
[12 empty] | BEL | Bioenergy + CCUS_BE11-380 | e_BE11-380 | OUT
[12 empty] | BEL | Bioenergy - Large scale unit_BE11-380 | e_BE11-380 | OUT
[12 empty] | BEL | CCGT_BE11-380 | e_BE11-380 | OUT
[12 empty] | BEL | CCGT + CCS_BE11-380 | e_BE11-380 | OUT
[12 empty] | BEL | Coal + CCS_BE11-380 | e_BE11-380 | OUT
[12 empty] | BEL | Gas turbine_BE11-380 | e_BE11-380 | OUT
[12 empty] | BEL | IGCC_BE11-380 | e_BE11-380 | OUT
[12 empty] | BEL | IGCC + CCS_BE11-380 | e_BE11-380 | OUT
[12 empty] | BEL | Nuclear large_BE11-380 | e_BE11-380 | OUT
[12 empty] | BEL | Oxyfuel + CCS_BE11-380 | e_BE11-380 | OUT
[12 empty] | BEL | Steam Coal - SUBCRITICAL_BE11-380 | e_BE11-380 | OUT
[12 empty] | BEL | Steam Coal - SUPERCRITICAL_BE11-380 | e_BE11-380 | OUT
[12 empty] | BEL | Steam Coal - ULTRASUPERCRITICAL_BE11-380 | e_BE11-380 | OUT
[12 empty] | BEL | Bioenergy + CCUS_w103041283-220 | e_w103041283-220 | OUT
[12 empty] | BEL | Bioenergy - Large scale unit_w103041283-220 | e_w103041283-220 | OUT
[12 empty] | BEL | CCGT_w103041283-220 | e_w103041283-220 | OUT
[12 empty] | BEL | CCGT + CCS_w103041283-220 | e_w103041283-220 | OUT
[12 empty] | BEL | Coal + CCS_w103041283-220 | e_w103041283-220 | OUT
[12 empty] | BEL | Gas turbine_w103041283-220 | e_w103041283-220 | OUT
[12 empty] | BEL | IGCC_w103041283-220 | e_w103041283-220 | OUT
[12 empty] | BEL | IGCC + CCS_w103041283-220 | e_w103041283-220 | OUT
[12 empty] | BEL | Nuclear large_w103041283-220 | e_w103041283-220 | OUT
[12 empty] | BEL | Oxyfuel + CCS_w103041283-220 | e_w103041283-220 | OUT
[12 empty] | BEL | Steam Coal - SUBCRITICAL_w103041283-220 | e_w103041283-220 | OUT
[12 empty] | BEL | Steam Coal - SUPERCRITICAL_w103041283-220 | e_w103041283-220 | OUT
[12 empty] | BEL | Steam Coal - ULTRASUPERCRITICAL_w103041283-220 | e_w103041283-220 | OUT
[12 empty] | BEL | Bioenergy + CCUS_w87807194-380 | e_w87807194-380 | OUT
[12 empty] | BEL | Bioenergy - Large scale unit_w87807194-380 | e_w87807194-380 | OUT
[12 empty] | BEL | CCGT_w87807194-380 | e_w87807194-380 | OUT
[12 empty] | BEL | CCGT + CCS_w87807194-380 | e_w87807194-380 | OUT
[12 empty] | BEL | Coal + CCS_w87807194-380 | e_w87807194-380 | OUT
[12 empty] | BEL | Gas turbine_w87807194-380 | e_w87807194-380 | OUT
[12 empty] | BEL | IGCC_w87807194-380 | e_w87807194-380 | OUT
[12 empty] | BEL | IGCC + CCS_w87807194-380 | e_w87807194-380 | OUT
[12 empty] | BEL | Nuclear large_w87807194-380 | e_w87807194-380 | OUT
[12 empty] | BEL | Oxyfuel + CCS_w87807194-380 | e_w87807194-380 | OUT
[12 empty] | BEL | Steam Coal - SUBCRITICAL_w87807194-380 | e_w87807194-380 | OUT
[12 empty] | BEL | Steam Coal - SUPERCRITICAL_w87807194-380 | e_w87807194-380 | OUT
[12 empty] | BEL | Steam Coal - ULTRASUPERCRITICAL_w87807194-380 | e_w87807194-380 | OUT
[12 empty] | BEL | Bioenergy + CCUS_w23208935-380 | e_w23208935-380 | OUT
[12 empty] | BEL | Bioenergy - Large scale unit_w23208935-380 | e_w23208935-380 | OUT
[12 empty] | BEL | CCGT_w23208935-380 | e_w23208935-380 | OUT
[12 empty] | BEL | CCGT + CCS_w23208935-380 | e_w23208935-380 | OUT
[12 empty] | BEL | Coal + CCS_w23208935-380 | e_w23208935-380 | OUT
[12 empty] | BEL | Gas turbine_w23208935-380 | e_w23208935-380 | OUT
[12 empty] | BEL | IGCC_w23208935-380 | e_w23208935-380 | OUT
[12 empty] | BEL | IGCC + CCS_w23208935-380 | e_w23208935-380 | OUT
[12 empty] | BEL | Nuclear large_w23208935-380 | e_w23208935-380 | OUT
[12 empty] | BEL | Oxyfuel + CCS_w23208935-380 | e_w23208935-380 | OUT
[12 empty] | BEL | Steam Coal - SUBCRITICAL_w23208935-380 | e_w23208935-380 | OUT
[12 empty] | BEL | Steam Coal - SUPERCRITICAL_w23208935-380 | e_w23208935-380 | OUT
[12 empty] | BEL | Steam Coal - ULTRASUPERCRITICAL_w23208935-380 | e_w23208935-380 | OUT
[12 empty] | BEL | Bioenergy + CCUS_w23136343-380 | e_w23136343-380 | OUT
[12 empty] | BEL | Bioenergy - Large scale unit_w23136343-380 | e_w23136343-380 | OUT
[12 empty] | BEL | CCGT_w23136343-380 | e_w23136343-380 | OUT
[12 empty] | BEL | CCGT + CCS_w23136343-380 | e_w23136343-380 | OUT
[12 empty] | BEL | Coal + CCS_w23136343-380 | e_w23136343-380 | OUT
[12 empty] | BEL | Gas turbine_w23136343-380 | e_w23136343-380 | OUT
[12 empty] | BEL | IGCC_w23136343-380 | e_w23136343-380 | OUT
[12 empty] | BEL | IGCC + CCS_w23136343-380 | e_w23136343-380 | OUT
[12 empty] | BEL | Nuclear large_w23136343-380 | e_w23136343-380 | OUT
[12 empty] | BEL | Oxyfuel + CCS_w23136343-380 | e_w23136343-380 | OUT
[12 empty] | BEL | Steam Coal - SUBCRITICAL_w23136343-380 | e_w23136343-380 | OUT
[12 empty] | BEL | Steam Coal - SUPERCRITICAL_w23136343-380 | e_w23136343-380 | OUT
[12 empty] | BEL | Steam Coal - ULTRASUPERCRITICAL_w23136343-380 | e_w23136343-380 | OUT
[12 empty] | BEL | Bioenergy + CCUS_w392090271-400 | e_w392090271-400 | OUT
[12 empty] | BEL | Bioenergy - Large scale unit_w392090271-400 | e_w392090271-400 | OUT
[12 empty] | BEL | CCGT_w392090271-400 | e_w392090271-400 | OUT
[12 empty] | BEL | CCGT + CCS_w392090271-400 | e_w392090271-400 | OUT
[12 empty] | BEL | Coal + CCS_w392090271-400 | e_w392090271-400 | OUT
[12 empty] | BEL | Gas turbine_w392090271-400 | e_w392090271-400 | OUT
[12 empty] | BEL | IGCC_w392090271-400 | e_w392090271-400 | OUT
[12 empty] | BEL | IGCC + CCS_w392090271-400 | e_w392090271-400 | OUT
[12 empty] | BEL | Nuclear large_w392090271-400 | e_w392090271-400 | OUT
[12 empty] | BEL | Oxyfuel + CCS_w392090271-400 | e_w392090271-400 | OUT
[12 empty] | BEL | Steam Coal - SUBCRITICAL_w392090271-400 | e_w392090271-400 | OUT
[12 empty] | BEL | Steam Coal - SUPERCRITICAL_w392090271-400 | e_w392090271-400 | OUT
[12 empty] | BEL | Steam Coal - ULTRASUPERCRITICAL_w392090271-400 | e_w392090271-400 | OUT
[12 empty] | BEL | EN_Hydro_BEL-1_w88799385-380 | e_w88799385-380 | OUT
[12 empty] | BEL | EN_Hydro_BEL-2_w88799385-380 | e_w88799385-380 | OUT
[12 empty] | BEL | EN_Hydro_BEL-3_w88799385-380 | e_w88799385-380 | OUT
[12 empty] | BEL | EN_Hydro_BEL-1_w392090271-220 | e_w392090271-220 | OUT
[12 empty] | BEL | EN_Hydro_BEL-2_w392090271-220 | e_w392090271-220 | OUT
[12 empty] | BEL | EN_Hydro_BEL-3_w392090271-220 | e_w392090271-220 | OUT
[12 empty] | BEL | EN_Hydro_BEL-1_w103455240-225 | e_w103455240-225 | OUT
[12 empty] | BEL | EN_Hydro_BEL-2_w103455240-225 | e_w103455240-225 | OUT
[12 empty] | BEL | EN_Hydro_BEL-3_w103455240-225 | e_w103455240-225 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w23136868-380 | e_w23136868-380 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w23136868-380 | e_w23136868-380 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w104524889-380 | e_w104524889-380 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w104524889-380 | e_w104524889-380 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w87763325-380 | e_w87763325-380 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w87763325-380 | e_w87763325-380 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w23175771-380 | e_w23175771-380 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w23175771-380 | e_w23175771-380 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w103455240-225 | e_w103455240-225 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w103455240-225 | e_w103455240-225 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w94155586-220 | e_w94155586-220 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w94155586-220 | e_w94155586-220 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w24552827-220 | e_w24552827-220 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w24552827-220 | e_w24552827-220 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w32002039-380 | e_w32002039-380 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w32002039-380 | e_w32002039-380 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w19783816-380 | e_w19783816-380 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w19783816-380 | e_w19783816-380 | OUT
[12 empty] | BEL | EN_STG8hbNREL_BE13-380 | e_BE13-380 | OUT
[12 empty] | BEL | EN_STG4hbNREL_BE13-380 | e_BE13-380 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w23176013-380 | e_w23176013-380 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w23176013-380 | e_w23176013-380 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w500788534-380 | e_w500788534-380 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w500788534-380 | e_w500788534-380 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w93056461-380 | e_w93056461-380 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w93056461-380 | e_w93056461-380 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w98410713-380 | e_w98410713-380 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w98410713-380 | e_w98410713-380 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w87761208-380 | e_w87761208-380 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w87761208-380 | e_w87761208-380 | OUT
[12 empty] | BEL | EN_STG8hbNREL_BE11-380 | e_BE11-380 | OUT
[12 empty] | BEL | EN_STG4hbNREL_BE11-380 | e_BE11-380 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w103041283-220 | e_w103041283-220 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w103041283-220 | e_w103041283-220 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w87807194-380 | e_w87807194-380 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w87807194-380 | e_w87807194-380 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w23208935-380 | e_w23208935-380 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w23208935-380 | e_w23208935-380 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w23136343-380 | e_w23136343-380 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w23136343-380 | e_w23136343-380 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w392090271-400 | e_w392090271-400 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w392090271-400 | e_w392090271-400 | OUT
[12 empty] | BEL | EN_STG8hbNREL_BE1-220 | e_BE1-220 | OUT
[12 empty] | BEL | EN_STG4hbNREL_BE1-220 | e_BE1-220 | OUT
[12 empty] | BEL | EN_STG8hbNREL_BE3-220 | e_BE3-220 | OUT
[12 empty] | BEL | EN_STG4hbNREL_BE3-220 | e_BE3-220 | OUT
[12 empty] | BEL | EN_STG8hbNREL_BE4-220 | e_BE4-220 | OUT
[12 empty] | BEL | EN_STG4hbNREL_BE4-220 | e_BE4-220 | OUT
[12 empty] | BEL | EN_STG8hbNREL_BE2-220 | e_BE2-220 | OUT
[12 empty] | BEL | EN_STG4hbNREL_BE2-220 | e_BE2-220 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w88799385-380 | e_w88799385-380 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w88799385-380 | e_w88799385-380 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w392090271-220 | e_w392090271-220 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w392090271-220 | e_w392090271-220 | OUT
[12 empty] | BEL | EN_STG8hbNREL_w121085954-220 | e_w121085954-220 | OUT
[12 empty] | BEL | EN_STG4hbNREL_w121085954-220 | e_w121085954-220 | OUT

## re_targets
RE Targets from EMBER
TARGET_YEAR | FUEL_CATEGORY | METRIC | VALUE | SOURCE_TYPE | SOURCE_NAME | PUBLISHER | ANNOUNCEMENT_DATE | LINK | SOURCE_SUMMARY | NOTES
2030 | Bioenergy | capacity_total_gw | 0.9 | National strategy or plans (approved) | Federal Development Plan 2024-2034 | Elia Group | 2023-05-05 | https://www.elia.be/fr/infrastructure-et-projets/plans-investissements/plan-de-developpement-federal-2024-2034 | In May 2023, the transmission system operator of Belgium established a Federal Development Plan 2024-2034 for the development of Belgium's transmission network for the period 2024-2034. The plan was developed in collaboration with the General Directorate of Energy and the Federal Planning Bureau, the federal regulator (CREG) and the office of the Minister of Energy. The general provisions within the plan are included in the “Electricity” law and comply with the royal decree of December 20, 2007, relating to the procedure for drawing up, approving and publishing the network development plan. The plan was approved by the Minister of Energy, has gone through the public consultation process, and is legally binding. The Plan depicts three separate scenarios of projections, of which the ReEU is used as it aligns with the RePowerEU guidelines for each EU country. Data may not align exactly since the figures were taken from a graph using WebPlotDigitizer. | p. 139, Figure 2.34 for generation, Tableu 2.2. for capacity
2030 | Gas | capacity_total_gw | 6.2 | National strategy or plans (approved) | Federal Development Plan 2024-2034 | Elia Group | 2023-05-05 | https://www.elia.be/fr/infrastructure-et-projets/plans-investissements/plan-de-developpement-federal-2024-2034 | In May 2023, the transmission system operator of Belgium established a Federal Development Plan 2024-2034 for the development of Belgium's transmission network for the period 2024-2034. The plan was developed in collaboration with the General Directorate of Energy and the Federal Planning Bureau, the federal regulator (CREG) and the office of the Minister of Energy. The general provisions within the plan are included in the “Electricity” law and comply with the royal decree of December 20, 2007, relating to the procedure for drawing up, approving and publishing the network development plan. The plan was approved by the Minister of Energy, has gone through the public consultation process, and is legally binding. The Plan depicts three separate scenarios of projections, of which the ReEU is used as it aligns with the RePowerEU guidelines for each EU country. Data may not align exactly since the figures were taken from a graph using WebPlotDigitizer. | p. 139, Figure 2.34 for generation, Tableu 2.2. for capacity
2030 | Hydro | capacity_total_gw | 0.15 | National strategy or plans (approved) | Federal Development Plan 2024-2034 | Elia Group | 2023-05-05 | https://www.elia.be/fr/infrastructure-et-projets/plans-investissements/plan-de-developpement-federal-2024-2034 | In May 2023, the transmission system operator of Belgium established a Federal Development Plan 2024-2034 for the development of Belgium's transmission network for the period 2024-2034. The plan was developed in collaboration with the General Directorate of Energy and the Federal Planning Bureau, the federal regulator (CREG) and the office of the Minister of Energy. The general provisions within the plan are included in the “Electricity” law and comply with the royal decree of December 20, 2007, relating to the procedure for drawing up, approving and publishing the network development plan. The plan was approved by the Minister of Energy, has gone through the public consultation process, and is legally binding. The Plan depicts three separate scenarios of projections, of which the ReEU is used as it aligns with the RePowerEU guidelines for each EU country. Data may not align exactly since the figures were taken from a graph using WebPlotDigitizer. | p. 139, Figure 2.34 for generation, Tableu 2.2. for capacity
2030 | Offshore Wind | capacity_total_gw | 5.8 | National strategy or plans (approved) | Federal Development Plan 2024-2034 | Elia Group | 2023-05-05 | https://www.elia.be/fr/infrastructure-et-projets/plans-investissements/plan-de-developpement-federal-2024-2034 | In May 2023, the transmission system operator of Belgium established a Federal Development Plan 2024-2034 for the development of Belgium's transmission network for the period 2024-2034. The plan was developed in collaboration with the General Directorate of Energy and the Federal Planning Bureau, the federal regulator (CREG) and the office of the Minister of Energy. The general provisions within the plan are included in the “Electricity” law and comply with the royal decree of December 20, 2007, relating to the procedure for drawing up, approving and publishing the network development plan. The plan was approved by the Minister of Energy, has gone through the public consultation process, and is legally binding. The Plan depicts three separate scenarios of projections, of which the ReEU is used as it aligns with the RePowerEU guidelines for each EU country. Data may not align exactly since the figures were taken from a graph using WebPlotDigitizer. | p. 139, Figure 2.34 for generation, Tableu 2.2. for capacity
2030 | Onshore Wind | capacity_total_gw | 5.3 | National strategy or plans (approved) | Federal Development Plan 2024-2034 | Elia Group | 2023-05-05 | https://www.elia.be/fr/infrastructure-et-projets/plans-investissements/plan-de-developpement-federal-2024-2034 | In May 2023, the transmission system operator of Belgium established a Federal Development Plan 2024-2034 for the development of Belgium's transmission network for the period 2024-2034. The plan was developed in collaboration with the General Directorate of Energy and the Federal Planning Bureau, the federal regulator (CREG) and the office of the Minister of Energy. The general provisions within the plan are included in the “Electricity” law and comply with the royal decree of December 20, 2007, relating to the procedure for drawing up, approving and publishing the network development plan. The plan was approved by the Minister of Energy, has gone through the public consultation process, and is legally binding. The Plan depicts three separate scenarios of projections, of which the ReEU is used as it aligns with the RePowerEU guidelines for each EU country. Data may not align exactly since the figures were taken from a graph using WebPlotDigitizer. | p. 139, Figure 2.34 for generation, Tableu 2.2. for capacity
2030 | Pumped hydro | capacity_total_gw | 1.305 | National strategy or plans (approved) | Federal Development Plan 2024-2034 | Elia Group | 2023-05-05 | https://www.elia.be/fr/infrastructure-et-projets/plans-investissements/plan-de-developpement-federal-2024-2034 | In May 2023, the transmission system operator of Belgium established a Federal Development Plan 2024-2034 for the development of Belgium's transmission network for the period 2024-2034. The plan was developed in collaboration with the General Directorate of Energy and the Federal Planning Bureau, the federal regulator (CREG) and the office of the Minister of Energy. The general provisions within the plan are included in the “Electricity” law and comply with the royal decree of December 20, 2007, relating to the procedure for drawing up, approving and publishing the network development plan. The plan was approved by the Minister of Energy, has gone through the public consultation process, and is legally binding. The Plan depicts three separate scenarios of projections, of which the ReEU is used as it aligns with the RePowerEU guidelines for each EU country. Data may not align exactly since the figures were taken from a graph using WebPlotDigitizer. | p. 139, Figure 2.34 for generation, Tableu 2.2. for capacity
2030 | Solar | capacity_total_gw | 11.6 | National strategy or plans (approved) | Federal Development Plan 2024-2034 | Elia Group | 2023-05-05 | https://www.elia.be/fr/infrastructure-et-projets/plans-investissements/plan-de-developpement-federal-2024-2034 | In May 2023, the transmission system operator of Belgium established a Federal Development Plan 2024-2034 for the development of Belgium's transmission network for the period 2024-2034. The plan was developed in collaboration with the General Directorate of Energy and the Federal Planning Bureau, the federal regulator (CREG) and the office of the Minister of Energy. The general provisions within the plan are included in the “Electricity” law and comply with the royal decree of December 20, 2007, relating to the procedure for drawing up, approving and publishing the network development plan. The plan was approved by the Minister of Energy, has gone through the public consultation process, and is legally binding. The Plan depicts three separate scenarios of projections, of which the ReEU is used as it aligns with the RePowerEU guidelines for each EU country. Data may not align exactly since the figures were taken from a graph using WebPlotDigitizer. | p. 139, Figure 2.34 for generation, Tableu 2.2. for capacity
2030 | Storage | capacity_total_gw | 2.748 | National strategy or plans (approved) | Federal Development Plan 2024-2034 | Elia Group | 2023-05-05 | https://www.elia.be/fr/infrastructure-et-projets/plans-investissements/plan-de-developpement-federal-2024-2034 | In May 2023, the transmission system operator of Belgium established a Federal Development Plan 2024-2034 for the development of Belgium's transmission network for the period 2024-2034. The plan was developed in collaboration with the General Directorate of Energy and the Federal Planning Bureau, the federal regulator (CREG) and the office of the Minister of Energy. The general provisions within the plan are included in the “Electricity” law and comply with the royal decree of December 20, 2007, relating to the procedure for drawing up, approving and publishing the network development plan. The plan was approved by the Minister of Energy, has gone through the public consultation process, and is legally binding. The Plan depicts three separate scenarios of projections, of which the ReEU is used as it aligns with the RePowerEU guidelines for each EU country. Data may not align exactly since the figures were taken from a graph using WebPlotDigitizer. | p. 139, Figure 2.34 for generation, Tableu 2.2. for capacity
2030 | Gas | generation_twh | 24.65 | National strategy or plans (approved) | Federal Development Plan 2024-2034 | Elia Group | 2023-05-05 | https://www.elia.be/fr/infrastructure-et-projets/plans-investissements/plan-de-developpement-federal-2024-2034 | In May 2023, the transmission system operator of Belgium established a Federal Development Plan 2024-2034 for the development of Belgium's transmission network for the period 2024-2034. The plan was developed in collaboration with the General Directorate of Energy and the Federal Planning Bureau, the federal regulator (CREG) and the office of the Minister of Energy. The general provisions within the plan are included in the “Electricity” law and comply with the royal decree of December 20, 2007, relating to the procedure for drawing up, approving and publishing the network development plan. The plan was approved by the Minister of Energy, has gone through the public consultation process, and is legally binding. The Plan depicts three separate scenarios of projections, of which the ReEU is used as it aligns with the RePowerEU guidelines for each EU country. Data may not align exactly since the figures were taken from a graph using WebPlotDigitizer. | p. 139, Figure 2.34 for generation, Tableu 2.2. for capacity
2030 | Hydro, bio and other renewables | generation_twh | 2.79 | National strategy or plans (approved) | Federal Development Plan 2024-2034 | Elia Group | 2023-05-05 | https://www.elia.be/fr/infrastructure-et-projets/plans-investissements/plan-de-developpement-federal-2024-2034 | In May 2023, the transmission system operator of Belgium established a Federal Development Plan 2024-2034 for the development of Belgium's transmission network for the period 2024-2034. The plan was developed in collaboration with the General Directorate of Energy and the Federal Planning Bureau, the federal regulator (CREG) and the office of the Minister of Energy. The general provisions within the plan are included in the “Electricity” law and comply with the royal decree of December 20, 2007, relating to the procedure for drawing up, approving and publishing the network development plan. The plan was approved by the Minister of Energy, has gone through the public consultation process, and is legally binding. The Plan depicts three separate scenarios of projections, of which the ReEU is used as it aligns with the RePowerEU guidelines for each EU country. Data may not align exactly since the figures were taken from a graph using WebPlotDigitizer. | p. 139, Figure 2.34 for generation, Tableu 2.2. for capacity
2030 | Solar | generation_twh | 11.17 | National strategy or plans (approved) | Federal Development Plan 2024-2034 | Elia Group | 2023-05-05 | https://www.elia.be/fr/infrastructure-et-projets/plans-investissements/plan-de-developpement-federal-2024-2034 | In May 2023, the transmission system operator of Belgium established a Federal Development Plan 2024-2034 for the development of Belgium's transmission network for the period 2024-2034. The plan was developed in collaboration with the General Directorate of Energy and the Federal Planning Bureau, the federal regulator (CREG) and the office of the Minister of Energy. The general provisions within the plan are included in the “Electricity” law and comply with the royal decree of December 20, 2007, relating to the procedure for drawing up, approving and publishing the network development plan. The plan was approved by the Minister of Energy, has gone through the public consultation process, and is legally binding. The Plan depicts three separate scenarios of projections, of which the ReEU is used as it aligns with the RePowerEU guidelines for each EU country. Data may not align exactly since the figures were taken from a graph using WebPlotDigitizer. | p. 139, Figure 2.34 for generation, Tableu 2.2. for capacity
2030 | Wind | generation_twh | 31.62 | National strategy or plans (approved) | Federal Development Plan 2024-2034 | Elia Group | 2023-05-05 | https://www.elia.be/fr/infrastructure-et-projets/plans-investissements/plan-de-developpement-federal-2024-2034 | In May 2023, the transmission system operator of Belgium established a Federal Development Plan 2024-2034 for the development of Belgium's transmission network for the period 2024-2034. The plan was developed in collaboration with the General Directorate of Energy and the Federal Planning Bureau, the federal regulator (CREG) and the office of the Minister of Energy. The general provisions within the plan are included in the “Electricity” law and comply with the royal decree of December 20, 2007, relating to the procedure for drawing up, approving and publishing the network development plan. The plan was approved by the Minister of Energy, has gone through the public consultation process, and is legally binding. The Plan depicts three separate scenarios of projections, of which the ReEU is used as it aligns with the RePowerEU guidelines for each EU country. Data may not align exactly since the figures were taken from a graph using WebPlotDigitizer. | p. 139, Figure 2.34 for generation, Tableu 2.2. for capacity
2030 | Gas | share_of_generation_pct | 35.099 | National strategy or plans (approved) | Federal Development Plan 2024-2034 | Elia Group | 2023-05-05 | https://www.elia.be/fr/infrastructure-et-projets/plans-investissements/plan-de-developpement-federal-2024-2034 | In May 2023, the transmission system operator of Belgium established a Federal Development Plan 2024-2034 for the development of Belgium's transmission network for the period 2024-2034. The plan was developed in collaboration with the General Directorate of Energy and the Federal Planning Bureau, the federal regulator (CREG) and the office of the Minister of Energy. The general provisions within the plan are included in the “Electricity” law and comply with the royal decree of December 20, 2007, relating to the procedure for drawing up, approving and publishing the network development plan. The plan was approved by the Minister of Energy, has gone through the public consultation process, and is legally binding. The Plan depicts three separate scenarios of projections, of which the ReEU is used as it aligns with the RePowerEU guidelines for each EU country. Data may not align exactly since the figures were taken from a graph using WebPlotDigitizer. | p. 139, Figure 2.34 for generation, Tableu 2.2. for capacity
2030 | Hydro, bio and other renewables | share_of_generation_pct | 3.9727 | National strategy or plans (approved) | Federal Development Plan 2024-2034 | Elia Group | 2023-05-05 | https://www.elia.be/fr/infrastructure-et-projets/plans-investissements/plan-de-developpement-federal-2024-2034 | In May 2023, the transmission system operator of Belgium established a Federal Development Plan 2024-2034 for the development of Belgium's transmission network for the period 2024-2034. The plan was developed in collaboration with the General Directorate of Energy and the Federal Planning Bureau, the federal regulator (CREG) and the office of the Minister of Energy. The general provisions within the plan are included in the “Electricity” law and comply with the royal decree of December 20, 2007, relating to the procedure for drawing up, approving and publishing the network development plan. The plan was approved by the Minister of Energy, has gone through the public consultation process, and is legally binding. The Plan depicts three separate scenarios of projections, of which the ReEU is used as it aligns with the RePowerEU guidelines for each EU country. Data may not align exactly since the figures were taken from a graph using WebPlotDigitizer. | p. 139, Figure 2.34 for generation, Tableu 2.2. for capacity
2030 | Solar | share_of_generation_pct | 15.9049 | National strategy or plans (approved) | Federal Development Plan 2024-2034 | Elia Group | 2023-05-05 | https://www.elia.be/fr/infrastructure-et-projets/plans-investissements/plan-de-developpement-federal-2024-2034 | In May 2023, the transmission system operator of Belgium established a Federal Development Plan 2024-2034 for the development of Belgium's transmission network for the period 2024-2034. The plan was developed in collaboration with the General Directorate of Energy and the Federal Planning Bureau, the federal regulator (CREG) and the office of the Minister of Energy. The general provisions within the plan are included in the “Electricity” law and comply with the royal decree of December 20, 2007, relating to the procedure for drawing up, approving and publishing the network development plan. The plan was approved by the Minister of Energy, has gone through the public consultation process, and is legally binding. The Plan depicts three separate scenarios of projections, of which the ReEU is used as it aligns with the RePowerEU guidelines for each EU country. Data may not align exactly since the figures were taken from a graph using WebPlotDigitizer. | p. 139, Figure 2.34 for generation, Tableu 2.2. for capacity
2030 | Wind | share_of_generation_pct | 45.0235 | National strategy or plans (approved) | Federal Development Plan 2024-2034 | Elia Group | 2023-05-05 | https://www.elia.be/fr/infrastructure-et-projets/plans-investissements/plan-de-developpement-federal-2024-2034 | In May 2023, the transmission system operator of Belgium established a Federal Development Plan 2024-2034 for the development of Belgium's transmission network for the period 2024-2034. The plan was developed in collaboration with the General Directorate of Energy and the Federal Planning Bureau, the federal regulator (CREG) and the office of the Minister of Energy. The general provisions within the plan are included in the “Electricity” law and comply with the royal decree of December 20, 2007, relating to the procedure for drawing up, approving and publishing the network development plan. The plan was approved by the Minister of Energy, has gone through the public consultation process, and is legally binding. The Plan depicts three separate scenarios of projections, of which the ReEU is used as it aligns with the RePowerEU guidelines for each EU country. Data may not align exactly since the figures were taken from a graph using WebPlotDigitizer. | p. 139, Figure 2.34 for generation, Tableu 2.2. for capacity

## buildrates
BUILD RATE ASSUMPTIONS
| iso | Solar Low | Solar High | Wind Low | Wind High | Hydro Low | Hydro High | Nuclear Low | Nuclear High
| BEL | 3 | 6 | 2 | 4 | 0 | 0 | 0 | 1
~UC_Sets: R_E: AllRegions
~UC_T: uc_rhsrt
* | uc_n | pset_ci | uc_attr | uc_ncap | 2025 | 2040 | 0
solar | uce_buildrate_solar | solar | ncap,buildup | 1 | 3 | 6 | 4
wind | uce_buildrate_wind | wind* | ncap,buildup | 1 | 2 | 4 | 4
hydro | uce_buildrate_hydro | hydro | ncap,buildup | 1 | 0 | 0 | 4
nuclear | uce_buildrate_nuclear | nuclear | ncap,buildup | 1 | 0 | 1 | 4

## historical_data_long
model_fuel | Year | Unit | Value
bioenergy | 2000 | TWh | 0.57
coal | 2000 | TWh | 12.92
gas | 2000 | TWh | 15.98
hydro | 2000 | TWh | 0.46
nuclear | 2000 | TWh | 48.16
oil | 2000 | TWh | 4.68
bioenergy | 2000 | TWh | 0
bioenergy | 2001 | TWh | 0.6
coal | 2001 | TWh | 9.94
gas | 2001 | TWh | 15.78
hydro | 2001 | TWh | 0.44
nuclear | 2001 | TWh | 46.35
oil | 2001 | TWh | 5.48
bioenergy | 2001 | TWh | 0
bioenergy | 2002 | TWh | 0.72
coal | 2002 | TWh | 10.03
gas | 2002 | TWh | 17.87
hydro | 2002 | TWh | 0.36
nuclear | 2002 | TWh | 47.36
oil | 2002 | TWh | 4.54
bioenergy | 2002 | TWh | 0
bioenergy | 2003 | TWh | 0.86
coal | 2003 | TWh | 9.64
gas | 2003 | TWh | 21.61
hydro | 2003 | TWh | 0.25
nuclear | 2003 | TWh | 47.38
oil | 2003 | TWh | 3.74
bioenergy | 2003 | TWh | 0
bioenergy | 2004 | TWh | 1.04
coal | 2004 | TWh | 9.15
gas | 2004 | TWh | 20.04
hydro | 2004 | TWh | 0.32
nuclear | 2004 | TWh | 47.31
oil | 2004 | TWh | 4.91
bioenergy | 2004 | TWh | 0
bioenergy | 2005 | TWh | 1.59
coal | 2005 | TWh | 8.2
gas | 2005 | TWh | 21.5
hydro | 2005 | TWh | 0.29
nuclear | 2005 | TWh | 47.6
oil | 2005 | TWh | 4.97
bioenergy | 2005 | TWh | 0
bioenergy | 2006 | TWh | 2.23
coal | 2006 | TWh | 6.85
gas | 2006 | TWh | 21.99
hydro | 2006 | TWh | 0.36
nuclear | 2006 | TWh | 46.65
oil | 2006 | TWh | 4.89
bioenergy | 2006 | TWh | 0
bioenergy | 2007 | TWh | 2.6
coal | 2007 | TWh | 6.47
gas | 2007 | TWh | 24.66
hydro | 2007 | TWh | 0.39
nuclear | 2007 | TWh | 48.23
oil | 2007 | TWh | 3.96
bioenergy | 2007 | TWh | 0
bioenergy | 2008 | TWh | 3.33
coal | 2008 | TWh | 5.55
gas | 2008 | TWh | 24.11
hydro | 2008 | TWh | 0.41
nuclear | 2008 | TWh | 45.57
oil | 2008 | TWh | 3.41
bioenergy | 2008 | TWh | 0
bioenergy | 2009 | TWh | 3.95
coal | 2009 | TWh | 5.18
gas | 2009 | TWh | 29.25
hydro | 2009 | TWh | 0.33
nuclear | 2009 | TWh | 47.22
oil | 2009 | TWh | 2.67
bioenergy | 2009 | TWh | 0
bioenergy | 2010 | TWh | 4.38
coal | 2010 | TWh | 4.2
gas | 2010 | TWh | 30.84
hydro | 2010 | TWh | 0.31
nuclear | 2010 | TWh | 47.94
oil | 2010 | TWh | 3.49
bioenergy | 2010 | TWh | 0
bioenergy | 2011 | TWh | 4.63
coal | 2011 | TWh | 3.48
gas | 2011 | TWh | 25.44
hydro | 2011 | TWh | 0.2
nuclear | 2011 | TWh | 48.23
oil | 2011 | TWh | 3.77
bioenergy | 2011 | TWh | 0
bioenergy | 2012 | TWh | 5.24
coal | 2012 | TWh | 3.39
gas | 2012 | TWh | 23.57
hydro | 2012 | TWh | 0.36
nuclear | 2012 | TWh | 40.29
oil | 2012 | TWh | 3.75
bioenergy | 2012 | TWh | 0
bioenergy | 2013 | TWh | 5.03
coal | 2013 | TWh | 3.01
gas | 2013 | TWh | 20.8
hydro | 2013 | TWh | 0.38
nuclear | 2013 | TWh | 42.64
oil | 2013 | TWh | 3.78
bioenergy | 2013 | TWh | 0
bioenergy | 2014 | TWh | 4.41
coal | 2014 | TWh | 2.09
gas | 2014 | TWh | 19.34
hydro | 2014 | TWh | 0.29
nuclear | 2014 | TWh | 33.7
oil | 2014 | TWh | 3.86
bioenergy | 2014 | TWh | 0
bioenergy | 2015 | TWh | 5.5
coal | 2015 | TWh | 2.07
gas | 2015 | TWh | 22.02
hydro | 2015 | TWh | 0.32
nuclear | 2015 | TWh | 26.1
oil | 2015 | TWh | 3.79
bioenergy | 2015 | TWh | 0
bioenergy | 2016 | TWh | 5.36
coal | 2016 | TWh | 0.39
gas | 2016 | TWh | 22.08
hydro | 2016 | TWh | 0.37
nuclear | 2016 | TWh | 43.52
oil | 2016 | TWh | 4.08
bioenergy | 2016 | TWh | 0
bioenergy | 2017 | TWh | 5.7
coal | 2017 | TWh | 0.09
gas | 2017 | TWh | 23.02
hydro | 2017 | TWh | 0.27
nuclear | 2017 | TWh | 42.23
oil | 2017 | TWh | 4.2
bioenergy | 2017 | TWh | 0
bioenergy | 2018 | TWh | 5.41
coal | 2018 | TWh | 0.09
gas | 2018 | TWh | 23.99
hydro | 2018 | TWh | 0.29
nuclear | 2018 | TWh | 28.6
oil | 2018 | TWh | 4.03
bioenergy | 2018 | TWh | 0
bioenergy | 2019 | TWh | 5.16
coal | 2019 | TWh | 0.09
gas | 2019 | TWh | 25.54
hydro | 2019 | TWh | 0.3
nuclear | 2019 | TWh | 43.52
oil | 2019 | TWh | 4.08
bioenergy | 2019 | TWh | 0
bioenergy | 2020 | TWh | 5.26
coal | 2020 | TWh | 0.08
gas | 2020 | TWh | 26.78
hydro | 2020 | TWh | 0.27
nuclear | 2020 | TWh | 34.43
oil | 2020 | TWh | 3.54
bioenergy | 2020 | TWh | 0
bioenergy | 2021 | TWh | 4.69
coal | 2021 | TWh | 0.04
gas | 2021 | TWh | 22.52
hydro | 2021 | TWh | 0.42
nuclear | 2021 | TWh | 50.33
oil | 2021 | TWh | 3.77
bioenergy | 2021 | TWh | 0
bioenergy | 2022 | TWh | 4.94
coal | 2022 | TWh | 0.05
gas | 2022 | TWh | 21.95
hydro | 2022 | TWh | 0.27
nuclear | 2022 | TWh | 43.88
oil | 2022 | TWh | 4.01
bioenergy | 2022 | TWh | 0
bioenergy | 2023 | TWh | 3.93
coal | 2023 | TWh | 0.05
gas | 2023 | TWh | 17.2
hydro | 2023 | TWh | 0.38
nuclear | 2023 | TWh | 33.42
oil | 2023 | TWh | 4.49
bioenergy | 2023 | TWh | 0
bioenergy | 2000 | GW | 0.07
coal | 2000 | GW | 2.59
gas | 2000 | GW | 8.24
hydro | 2000 | GW | 0.1
nuclear | 2000 | GW | 5.71
oil | 2000 | GW | 0.15
bioenergy | 2000 | GW | 0.05
bioenergy | 2001 | GW | 0.09
coal | 2001 | GW | 2.46
gas | 2001 | GW | 8.02
hydro | 2001 | GW | 0.11
nuclear | 2001 | GW | 5.74
oil | 2001 | GW | 0.15
bioenergy | 2001 | GW | 0.05
bioenergy | 2002 | GW | 0.09
coal | 2002 | GW | 2.46
gas | 2002 | GW | 7.99
hydro | 2002 | GW | 0.11
nuclear | 2002 | GW | 5.76
oil | 2002 | GW | 0.15
bioenergy | 2002 | GW | 0.07
bioenergy | 2003 | GW | 0.16
coal | 2003 | GW | 2.46
gas | 2003 | GW | 7.97
hydro | 2003 | GW | 0.11
nuclear | 2003 | GW | 5.76
oil | 2003 | GW | 0.15
bioenergy | 2003 | GW | 0.07
bioenergy | 2004 | GW | 0.18
coal | 2004 | GW | 2.46
gas | 2004 | GW | 7.95
hydro | 2004 | GW | 0.12
nuclear | 2004 | GW | 5.76
oil | 2004 | GW | 0.15
bioenergy | 2004 | GW | 0.07
bioenergy | 2005 | GW | 0.45
coal | 2005 | GW | 2.46
gas | 2005 | GW | 8.02
hydro | 2005 | GW | 0.1
nuclear | 2005 | GW | 5.8
oil | 2005 | GW | 0.15
bioenergy | 2005 | GW | 0.07
bioenergy | 2006 | GW | 0.46
coal | 2006 | GW | 2.12
gas | 2006 | GW | 8.05
hydro | 2006 | GW | 0.11
nuclear | 2006 | GW | 5.82
oil | 2006 | GW | 0.15
bioenergy | 2006 | GW | 0.1
bioenergy | 2007 | GW | 0.49
coal | 2007 | GW | 2.12
gas | 2007 | GW | 8.06
hydro | 2007 | GW | 0.11
nuclear | 2007 | GW | 5.82
oil | 2007 | GW | 0.15
bioenergy | 2007 | GW | 0.09
bioenergy | 2008 | GW | 0.6
coal | 2008 | GW | 2.12
gas | 2008 | GW | 8.23
hydro | 2008 | GW | 0.11
nuclear | 2008 | GW | 5.82
oil | 2008 | GW | 0.15
bioenergy | 2008 | GW | 0.09
bioenergy | 2009 | GW | 0.8
coal | 2009 | GW | 1.87
gas | 2009 | GW | 8.35
hydro | 2009 | GW | 0.11
nuclear | 2009 | GW | 5.9
oil | 2009 | GW | 0.15
bioenergy | 2009 | GW | 0.11
bioenergy | 2010 | GW | 0.89
coal | 2010 | GW | 1.41
gas | 2010 | GW | 8.27
hydro | 2010 | GW | 0.12
nuclear | 2010 | GW | 5.93
oil | 2010 | GW | 0.15
bioenergy | 2010 | GW | 0.13
bioenergy | 2011 | GW | 0.91
coal | 2011 | GW | 1.41
gas | 2011 | GW | 9.02
hydro | 2011 | GW | 0.12
nuclear | 2011 | GW | 5.93
oil | 2011 | GW | 0.15
bioenergy | 2011 | GW | 0.12
bioenergy | 2012 | GW | 0.87
coal | 2012 | GW | 1.15
gas | 2012 | GW | 8.24
hydro | 2012 | GW | 0.12
nuclear | 2012 | GW | 5.93
oil | 2012 | GW | 0.19
bioenergy | 2012 | GW | 0.11
bioenergy | 2013 | GW | 0.84
coal | 2013 | GW | 0.56
gas | 2013 | GW | 7.75
hydro | 2013 | GW | 0.12
nuclear | 2013 | GW | 5.93
oil | 2013 | GW | 0.19
bioenergy | 2013 | GW | 0.12
bioenergy | 2014 | GW | 0.79
coal | 2014 | GW | 0.56
gas | 2014 | GW | 7.5
hydro | 2014 | GW | 0.12
nuclear | 2014 | GW | 5.93
oil | 2014 | GW | 0.19
bioenergy | 2014 | GW | 0.12
bioenergy | 2015 | GW | 0.82
coal | 2015 | GW | 0.56
gas | 2015 | GW | 7.4
hydro | 2015 | GW | 0.11
nuclear | 2015 | GW | 5.91
oil | 2015 | GW | 0.19
bioenergy | 2015 | GW | 0.12
bioenergy | 2016 | GW | 0.8
coal | 2016 | GW | 0
gas | 2016 | GW | 7.29
hydro | 2016 | GW | 0.11
nuclear | 2016 | GW | 5.91
oil | 2016 | GW | 0.19
bioenergy | 2016 | GW | 0.12
bioenergy | 2017 | GW | 0.79
coal | 2017 | GW | 0
gas | 2017 | GW | 7.27
hydro | 2017 | GW | 0.11
nuclear | 2017 | GW | 5.92
oil | 2017 | GW | 0.19
bioenergy | 2017 | GW | 0.13
bioenergy | 2018 | GW | 0.76
coal | 2018 | GW | 0
gas | 2018 | GW | 7.01
hydro | 2018 | GW | 0.11
nuclear | 2018 | GW | 5.92
oil | 2018 | GW | 0.19
bioenergy | 2018 | GW | 0.13
bioenergy | 2019 | GW | 0.78
coal | 2019 | GW | 0
gas | 2019 | GW | 6.98
hydro | 2019 | GW | 0.1
nuclear | 2019 | GW | 5.93
oil | 2019 | GW | 0.19
bioenergy | 2019 | GW | 0.13
bioenergy | 2020 | GW | 0.79
coal | 2020 | GW | 0
gas | 2020 | GW | 6.97
hydro | 2020 | GW | 0.11
nuclear | 2020 | GW | 5.94
oil | 2020 | GW | 0.19
bioenergy | 2020 | GW | 0.14
bioenergy | 2021 | GW | 0.67
coal | 2021 | GW | 0
gas | 2021 | GW | 6.97
hydro | 2021 | GW | 0.11
nuclear | 2021 | GW | 5.85
oil | 2021 | GW | 0.19
bioenergy | 2021 | GW | 0.15
bioenergy | 2022 | GW | 0.72
coal | 2022 | GW | 0
gas | 2022 | GW | 7.1
hydro | 2022 | GW | 0.12
nuclear | 2022 | GW | 4.84
oil | 2022 | GW | 0.19
bioenergy | 2022 | GW | 0.15
bioenergy | 2023 | GW | 0.72
coal | 2023 | GW | 0
gas | 2023 | GW | 7.08
hydro | 2023 | GW | 0.12
nuclear | 2023 | GW | 3.84
oil | 2023 | GW | 0.19
bioenergy | 2023 | GW | 0.15
bioenergy | 2000 | mtCO2 | 0.12
coal | 2000 | mtCO2 | 12.56
gas | 2000 | mtCO2 | 6.32
hydro | 2000 | mtCO2 | 0.01
nuclear | 2000 | mtCO2 | 0.23
oil | 2000 | mtCO2 | 3.08
bioenergy | 2000 | mtCO2 | 0
solar | 2000 | mtCO2 | 0
windon | 2000 | mtCO2 | 0
bioenergy | 2001 | mtCO2 | 0.13
coal | 2001 | mtCO2 | 9.67
gas | 2001 | mtCO2 | 6.24
hydro | 2001 | mtCO2 | 0.01
nuclear | 2001 | mtCO2 | 0.22
oil | 2001 | mtCO2 | 3.61
bioenergy | 2001 | mtCO2 | 0
solar | 2001 | mtCO2 | 0
windon | 2001 | mtCO2 | 0
bioenergy | 2002 | mtCO2 | 0.16
coal | 2002 | mtCO2 | 9.76
gas | 2002 | mtCO2 | 7.07
hydro | 2002 | mtCO2 | 0.01
nuclear | 2002 | mtCO2 | 0.23
oil | 2002 | mtCO2 | 2.99
bioenergy | 2002 | mtCO2 | 0
solar | 2002 | mtCO2 | 0
windon | 2002 | mtCO2 | 0
bioenergy | 2003 | mtCO2 | 0.19
coal | 2003 | mtCO2 | 9.38
gas | 2003 | mtCO2 | 8.55
hydro | 2003 | mtCO2 | 0.01
nuclear | 2003 | mtCO2 | 0.23
oil | 2003 | mtCO2 | 2.46
bioenergy | 2003 | mtCO2 | 0
solar | 2003 | mtCO2 | 0
windon | 2003 | mtCO2 | 0
bioenergy | 2004 | mtCO2 | 0.22
coal | 2004 | mtCO2 | 8.91
gas | 2004 | mtCO2 | 7.93
hydro | 2004 | mtCO2 | 0.01
nuclear | 2004 | mtCO2 | 0.23
oil | 2004 | mtCO2 | 3.23
bioenergy | 2004 | mtCO2 | 0
solar | 2004 | mtCO2 | 0
windon | 2004 | mtCO2 | 0
bioenergy | 2005 | mtCO2 | 0.34
coal | 2005 | mtCO2 | 7.98
gas | 2005 | mtCO2 | 8.51
hydro | 2005 | mtCO2 | 0.01
nuclear | 2005 | mtCO2 | 0.23
oil | 2005 | mtCO2 | 3.27
bioenergy | 2005 | mtCO2 | 0
solar | 2005 | mtCO2 | 0
windon | 2005 | mtCO2 | 0
bioenergy | 2006 | mtCO2 | 0.48
coal | 2006 | mtCO2 | 6.66
gas | 2006 | mtCO2 | 8.7
hydro | 2006 | mtCO2 | 0.01
nuclear | 2006 | mtCO2 | 0.23
oil | 2006 | mtCO2 | 3.22
bioenergy | 2006 | mtCO2 | 0
solar | 2006 | mtCO2 | 0
windon | 2006 | mtCO2 | 0
bioenergy | 2007 | mtCO2 | 0.56
coal | 2007 | mtCO2 | 6.29
gas | 2007 | mtCO2 | 9.76
hydro | 2007 | mtCO2 | 0.01
nuclear | 2007 | mtCO2 | 0.23
oil | 2007 | mtCO2 | 2.61
bioenergy | 2007 | mtCO2 | 0
solar | 2007 | mtCO2 | 0
windon | 2007 | mtCO2 | 0.01
bioenergy | 2008 | mtCO2 | 0.72
coal | 2008 | mtCO2 | 5.39
gas | 2008 | mtCO2 | 9.54
hydro | 2008 | mtCO2 | 0.01
nuclear | 2008 | mtCO2 | 0.22
oil | 2008 | mtCO2 | 2.24
bioenergy | 2008 | mtCO2 | 0
solar | 2008 | mtCO2 | 0
windon | 2008 | mtCO2 | 0.01
bioenergy | 2009 | mtCO2 | 0.85
coal | 2009 | mtCO2 | 5.03
gas | 2009 | mtCO2 | 11.57
hydro | 2009 | mtCO2 | 0.01
nuclear | 2009 | mtCO2 | 0.23
oil | 2009 | mtCO2 | 1.76
bioenergy | 2009 | mtCO2 | 0
solar | 2009 | mtCO2 | 0.01
windon | 2009 | mtCO2 | 0.01
bioenergy | 2010 | mtCO2 | 0.95
coal | 2010 | mtCO2 | 4.06
gas | 2010 | mtCO2 | 12.2
hydro | 2010 | mtCO2 | 0.01
nuclear | 2010 | mtCO2 | 0.23
oil | 2010 | mtCO2 | 2.3
bioenergy | 2010 | mtCO2 | 0
solar | 2010 | mtCO2 | 0.03
windon | 2010 | mtCO2 | 0.02
bioenergy | 2011 | mtCO2 | 1
coal | 2011 | mtCO2 | 3.35
gas | 2011 | mtCO2 | 10.07
hydro | 2011 | mtCO2 | 0
nuclear | 2011 | mtCO2 | 0.23
oil | 2011 | mtCO2 | 2.48
bioenergy | 2011 | mtCO2 | 0
solar | 2011 | mtCO2 | 0.06
windon | 2011 | mtCO2 | 0.03
bioenergy | 2012 | mtCO2 | 1.13
coal | 2012 | mtCO2 | 3.26
gas | 2012 | mtCO2 | 9.33
hydro | 2012 | mtCO2 | 0.01
nuclear | 2012 | mtCO2 | 0.19
oil | 2012 | mtCO2 | 2.47
bioenergy | 2012 | mtCO2 | 0
solar | 2012 | mtCO2 | 0.1
windon | 2012 | mtCO2 | 0.03
bioenergy | 2013 | mtCO2 | 1.09
coal | 2013 | mtCO2 | 2.89
gas | 2013 | mtCO2 | 8.23
hydro | 2013 | mtCO2 | 0.01
nuclear | 2013 | mtCO2 | 0.21
oil | 2013 | mtCO2 | 2.49
bioenergy | 2013 | mtCO2 | 0
solar | 2013 | mtCO2 | 0.13
windon | 2013 | mtCO2 | 0.05
bioenergy | 2014 | mtCO2 | 0.95
coal | 2014 | mtCO2 | 2.01
gas | 2014 | mtCO2 | 7.65
hydro | 2014 | mtCO2 | 0.01
nuclear | 2014 | mtCO2 | 0.16
oil | 2014 | mtCO2 | 2.54
bioenergy | 2014 | mtCO2 | 0
solar | 2014 | mtCO2 | 0.14
windon | 2014 | mtCO2 | 0.06
bioenergy | 2015 | mtCO2 | 1.19
coal | 2015 | mtCO2 | 1.99
gas | 2015 | mtCO2 | 8.71
hydro | 2015 | mtCO2 | 0.01
nuclear | 2015 | mtCO2 | 0.13
oil | 2015 | mtCO2 | 2.49
bioenergy | 2015 | mtCO2 | 0
solar | 2015 | mtCO2 | 0.15
windon | 2015 | mtCO2 | 0.07
bioenergy | 2016 | mtCO2 | 1.16
coal | 2016 | mtCO2 | 0.37
gas | 2016 | mtCO2 | 8.74
hydro | 2016 | mtCO2 | 0.01
nuclear | 2016 | mtCO2 | 0.21
oil | 2016 | mtCO2 | 2.68
bioenergy | 2016 | mtCO2 | 0
solar | 2016 | mtCO2 | 0.15
windon | 2016 | mtCO2 | 0.07
bioenergy | 2017 | mtCO2 | 1.23
coal | 2017 | mtCO2 | 0.09
gas | 2017 | mtCO2 | 9.11
hydro | 2017 | mtCO2 | 0.01
nuclear | 2017 | mtCO2 | 0.2
oil | 2017 | mtCO2 | 2.76
bioenergy | 2017 | mtCO2 | 0
solar | 2017 | mtCO2 | 0.16
windon | 2017 | mtCO2 | 0.08
bioenergy | 2018 | mtCO2 | 1.17
coal | 2018 | mtCO2 | 0.09
gas | 2018 | mtCO2 | 9.49
hydro | 2018 | mtCO2 | 0.01
nuclear | 2018 | mtCO2 | 0.14
oil | 2018 | mtCO2 | 2.65
bioenergy | 2018 | mtCO2 | 0
solar | 2018 | mtCO2 | 0.19
windon | 2018 | mtCO2 | 0.1
bioenergy | 2019 | mtCO2 | 1.12
coal | 2019 | mtCO2 | 0.09
gas | 2019 | mtCO2 | 10.11
hydro | 2019 | mtCO2 | 0.01
nuclear | 2019 | mtCO2 | 0.21
oil | 2019 | mtCO2 | 2.68
bioenergy | 2019 | mtCO2 | 0
solar | 2019 | mtCO2 | 0.2
windon | 2019 | mtCO2 | 0.12
bioenergy | 2020 | mtCO2 | 1.14
coal | 2020 | mtCO2 | 0.08
gas | 2020 | mtCO2 | 10.6
hydro | 2020 | mtCO2 | 0.01
nuclear | 2020 | mtCO2 | 0.17
oil | 2020 | mtCO2 | 2.33
bioenergy | 2020 | mtCO2 | 0
solar | 2020 | mtCO2 | 0.24
windon | 2020 | mtCO2 | 0.16
bioenergy | 2021 | mtCO2 | 1.01
coal | 2021 | mtCO2 | 0.04
gas | 2021 | mtCO2 | 8.91
hydro | 2021 | mtCO2 | 0.01
nuclear | 2021 | mtCO2 | 0.24
oil | 2021 | mtCO2 | 2.48
bioenergy | 2021 | mtCO2 | 0
solar | 2021 | mtCO2 | 0.27
windon | 2021 | mtCO2 | 0.15
bioenergy | 2022 | mtCO2 | 1.07
coal | 2022 | mtCO2 | 0.05
gas | 2022 | mtCO2 | 8.69
hydro | 2022 | mtCO2 | 0.01
nuclear | 2022 | mtCO2 | 0.21
oil | 2022 | mtCO2 | 2.64
bioenergy | 2022 | mtCO2 | 0
solar | 2022 | mtCO2 | 0.33
windon | 2022 | mtCO2 | 0.16
bioenergy | 2023 | mtCO2 | 0.85
coal | 2023 | mtCO2 | 0.05
gas | 2023 | mtCO2 | 6.81
hydro | 2023 | mtCO2 | 0.01
nuclear | 2023 | mtCO2 | 0.16
oil | 2023 | mtCO2 | 2.95
bioenergy | 2023 | mtCO2 | 0
solar | 2023 | mtCO2 | 0.36
windon | 2023 | mtCO2 | 0.19
solar | 2018 | GW | 3.9628
solar | 2019 | GW | 4.523
solar | 2020 | GW | 5.453
solar | 2021 | GW | 5.934
solar | 2022 | GW | 6.7812
solar | 2023 | GW | 8.3519
solar | 2024 | GW | 9.7519
solar | 2011 | GW | 1.8649
solar | 2012 | GW | 2.5955
solar | 2013 | GW | 2.864
solar | 2014 | GW | 2.9771
solar | 2015 | GW | 3.1081
solar | 2016 | GW | 3.2912
solar | 2017 | GW | 3.6004
solar | 2004 | GW | 0.001
solar | 2005 | GW | 0.002
solar | 2006 | GW | 0.002
solar | 2007 | GW | 0.02
solar | 2008 | GW | 0.062
solar | 2009 | GW | 0.386
solar | 2010 | GW | 0.8402
solar | 2002 | GW | 0.001
solar | 2003 | GW | 0.001
solar | 2004 | TWh | 0.000658
solar | 2005 | TWh | 0.00134
solar | 2006 | TWh | 0.001623
solar | 2007 | TWh | 0.006058
solar | 2008 | TWh | 0.041388
solar | 2009 | TWh | 0.16601
solar | 2010 | TWh | 0.56
solar | 2011 | TWh | 1.169
solar | 2012 | TWh | 2.148
solar | 2013 | TWh | 2.644
solar | 2014 | TWh | 2.8863
solar | 2015 | TWh | 3.0565
solar | 2016 | TWh | 3.0952
solar | 2017 | TWh | 3.3079
solar | 2018 | TWh | 3.9034
solar | 2019 | TWh | 4.2525
solar | 2020 | TWh | 5.1122
solar | 2021 | TWh | 5.6181
solar | 2022 | TWh | 6.876
windon | 2018 | GW | 2.119
windon | 2019 | GW | 2.3082
windon | 2020 | GW | 2.411
windon | 2021 | GW | 2.6866
windon | 2022 | GW | 3.0416
windon | 2023 | GW | 3.1923
windon | 2024 | GW | 3.337
windon | 2011 | GW | 0.87
windon | 2012 | GW | 0.9859
windon | 2013 | GW | 1.0613
windon | 2014 | GW | 1.225
windon | 2015 | GW | 1.4693
windon | 2016 | GW | 1.6215
windon | 2017 | GW | 1.9022
windon | 2004 | GW | 0.096
windon | 2005 | GW | 0.167
windon | 2006 | GW | 0.212
windon | 2007 | GW | 0.276
windon | 2008 | GW | 0.324
windon | 2009 | GW | 0.5765
windon | 2010 | GW | 0.7069
windon | 2000 | GW | 0.014
windon | 2001 | GW | 0.026
windon | 2002 | GW | 0.031
windon | 2003 | GW | 0.067
windon | 2002 | TWh | 0.057
windon | 2003 | TWh | 0.088
windon | 2004 | TWh | 0.142
windon | 2005 | TWh | 0.227
windon | 2006 | TWh | 0.366
windon | 2007 | TWh | 0.491
windon | 2008 | TWh | 0.637
windon | 2009 | TWh | 0.914
windon | 2010 | TWh | 1.102
windon | 2011 | TWh | 1.603
windon | 2012 | TWh | 1.9053
windon | 2013 | TWh | 2.125
windon | 2014 | TWh | 2.3991
windon | 2015 | TWh | 2.9608
windon | 2016 | TWh | 3.0294
windon | 2017 | TWh | 3.6503
windon | 2018 | TWh | 4.163
windon | 2019 | TWh | 4.9613
windon | 2020 | TWh | 5.8449
windon | 2021 | TWh | 5.0714
windon | 2022 | TWh | 5.7008
windon | 2000 | TWh | 0.016
windon | 2001 | TWh | 0.037
windoff | 2018 | GW | 1.1859
windoff | 2019 | GW | 1.5555
windoff | 2020 | GW | 2.2618
windoff | 2021 | GW | 2.2618
windoff | 2022 | GW | 2.2618
windoff | 2023 | GW | 2.2618
windoff | 2024 | GW | 2.2618
windoff | 2011 | GW | 0.1965
windoff | 2012 | GW | 0.381
windoff | 2013 | GW | 0.7077
windoff | 2014 | GW | 0.7077
windoff | 2015 | GW | 0.712
windoff | 2016 | GW | 0.7122
windoff | 2017 | GW | 0.8772
windoff | 2009 | GW | 0.0315
windoff | 2010 | GW | 0.1965
windoff | 2009 | TWh | 0.082
windoff | 2010 | TWh | 0.19
windoff | 2011 | TWh | 0.709
windoff | 2012 | TWh | 0.854
windoff | 2013 | TWh | 1.54
windoff | 2014 | TWh | 2.2162
windoff | 2015 | TWh | 2.6132
windoff | 2016 | TWh | 2.3901
windoff | 2017 | TWh | 2.8704
windoff | 2018 | TWh | 3.4111
windoff | 2019 | TWh | 4.7941
windoff | 2020 | TWh | 6.9737
windoff | 2021 | TWh | 6.9262
windoff | 2022 | TWh | 6.6518
Export | 2000 | TWh | 7.3
Import | 2000 | TWh | 11.6
Export | 2001 | TWh | 6.7
Import | 2001 | TWh | 15.8
Export | 2002 | TWh | 9.1
Import | 2002 | TWh | 16.7
Export | 2003 | TWh | 8.3
Import | 2003 | TWh | 14.7
Export | 2004 | TWh | 6.8
Import | 2004 | TWh | 14.6
Export | 2005 | TWh | 8
Import | 2005 | TWh | 14.3
Export | 2006 | TWh | 8.7
Import | 2006 | TWh | 18.9
Export | 2007 | TWh | 9
Import | 2007 | TWh | 15.8
Export | 2008 | TWh | 6.6
Import | 2008 | TWh | 17.2
Export | 2009 | TWh | 11.3
Import | 2009 | TWh | 9.5
Export | 2010 | TWh | 11.8
Import | 2010 | TWh | 12.4
Export | 2011 | TWh | 10.7
Import | 2011 | TWh | 13.2
Export | 2012 | TWh | 6.9
Import | 2012 | TWh | 16.8
Export | 2013 | TWh | 7.6
Import | 2013 | TWh | 17.2
Export | 2014 | TWh | 4.2
Import | 2014 | TWh | 21.8
Export | 2015 | TWh | 2.7
Import | 2015 | TWh | 23.7
Export | 2016 | TWh | 8.5
Import | 2016 | TWh | 14.6
Export | 2017 | TWh | 8.2
Import | 2017 | TWh | 14.2
Export | 2018 | TWh | 4.3
Import | 2018 | TWh | 21.6
Export | 2019 | TWh | 14.6
Import | 2019 | TWh | 12.7
Export | 2020 | TWh | 14.1
Import | 2020 | TWh | 13.7
Export | 2021 | TWh | 23.1
Import | 2021 | TWh | 15.2
Export | 2022 | TWh | 23.9
Import | 2022 | TWh | 16.3
Export | 2023 | TWh | 18.3
Import | 2023 | TWh | 18.6