## ev_charging_uc
ts_12t | day_night | ts_12t
| D | SaD,WaD,RaP,FaD,WaP,RaD,FaP,SaP
| N | FaP,SaP,WaP,RaP,FaN,RaN,SaN,WaN
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
~UC_T: LO
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | FaP,SaP,WaP,RaP,FaN,RaN,SaN,WaN | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | SaD,WaD,RaP,FaD,WaP,RaD,FaP,SaP | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1

## timeslice_def
~TimeSlices
ts_12t | season | weekly | daynite | wparent | dparent
| F | a | D | W,R,S,F | a
| R |  | N |  | a
| S |  | P |  | a
W

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_ESP_001 | FaD | 0.18645 | IMPNRGZ | elc_won_ESP_001 | FaD | 0.068808 | IMPNRGZ | elc_wof_ESP_001 | FaD | 0.076925 | IMPNRGZ
elc_spv_ESP_001 | FaN | 0.00031627 | IMPNRGZ | elc_won_ESP_001 | FaN | 0.098998 | IMPNRGZ | elc_wof_ESP_001 | FaN | 0.079025 | IMPNRGZ
elc_spv_ESP_001 | FaP | 0.016312 | IMPNRGZ | elc_won_ESP_001 | FaP | 0.015729 | IMPNRGZ | elc_wof_ESP_001 | FaP | 0.016994 | IMPNRGZ
elc_spv_ESP_001 | RaD | 0.24145 | IMPNRGZ | elc_won_ESP_001 | RaD | 0.14451 | IMPNRGZ | elc_wof_ESP_001 | RaD | 0.14624 | IMPNRGZ
elc_spv_ESP_001 | RaN | 0.0053617 | IMPNRGZ | elc_won_ESP_001 | RaN | 0.15755 | IMPNRGZ | elc_wof_ESP_001 | RaN | 0.14475 | IMPNRGZ
elc_spv_ESP_001 | RaP | 0.032179 | IMPNRGZ | elc_won_ESP_001 | RaP | 0.03067 | IMPNRGZ | elc_wof_ESP_001 | RaP | 0.034283 | IMPNRGZ
elc_spv_ESP_001 | SaD | 0.30617 | IMPNRGZ | elc_won_ESP_001 | SaD | 0.037653 | IMPNRGZ | elc_wof_ESP_001 | SaD | 0.088445 | IMPNRGZ
elc_spv_ESP_001 | SaN | 0.015737 | IMPNRGZ | elc_won_ESP_001 | SaN | 0.10056 | IMPNRGZ | elc_wof_ESP_001 | SaN | 0.073393 | IMPNRGZ
elc_spv_ESP_001 | SaP | 0.046561 | IMPNRGZ | elc_won_ESP_001 | SaP | 0.01146 | IMPNRGZ | elc_wof_ESP_001 | SaP | 0.019515 | IMPNRGZ
elc_spv_ESP_001 | WaD | 0.14173 | IMPNRGZ | elc_won_ESP_001 | WaD | 0.1432 | IMPNRGZ | elc_wof_ESP_001 | WaD | 0.14212 | IMPNRGZ
elc_spv_ESP_001 | WaN | 0 | IMPNRGZ | elc_won_ESP_001 | WaN | 0.16331 | IMPNRGZ | elc_wof_ESP_001 | WaN | 0.14964 | IMPNRGZ
elc_spv_ESP_001 | WaP | 0.0077376 | IMPNRGZ | elc_won_ESP_001 | WaP | 0.027545 | IMPNRGZ | elc_wof_ESP_001 | WaP | 0.028662 | IMPNRGZ
elc_spv_ESP_002 | FaD | 0.18049 | IMPNRGZ | elc_won_ESP_002 | FaD | 0.095543 | IMPNRGZ | elc_wof_ESP_002 | FaD | 0.080365 | IMPNRGZ
elc_spv_ESP_002 | FaN | 0.00073443 | IMPNRGZ | elc_won_ESP_002 | FaN | 0.11882 | IMPNRGZ | elc_wof_ESP_002 | FaN | 0.084553 | IMPNRGZ
elc_spv_ESP_002 | FaP | 0.018243 | IMPNRGZ | elc_won_ESP_002 | FaP | 0.021414 | IMPNRGZ | elc_wof_ESP_002 | FaP | 0.016689 | IMPNRGZ
elc_spv_ESP_002 | RaD | 0.24132 | IMPNRGZ | elc_won_ESP_002 | RaD | 0.15374 | IMPNRGZ | elc_wof_ESP_002 | RaD | 0.14229 | IMPNRGZ
elc_spv_ESP_002 | RaN | 0.0056816 | IMPNRGZ | elc_won_ESP_002 | RaN | 0.1359 | IMPNRGZ | elc_wof_ESP_002 | RaN | 0.14577 | IMPNRGZ
elc_spv_ESP_002 | RaP | 0.032455 | IMPNRGZ | elc_won_ESP_002 | RaP | 0.029949 | IMPNRGZ | elc_wof_ESP_002 | RaP | 0.034487 | IMPNRGZ
elc_spv_ESP_002 | SaD | 0.31088 | IMPNRGZ | elc_won_ESP_002 | SaD | 0.039135 | IMPNRGZ | elc_wof_ESP_002 | SaD | 0.057633 | IMPNRGZ
elc_spv_ESP_002 | SaN | 0.01654 | IMPNRGZ | elc_won_ESP_002 | SaN | 0.096076 | IMPNRGZ | elc_wof_ESP_002 | SaN | 0.049777 | IMPNRGZ
elc_spv_ESP_002 | SaP | 0.04856 | IMPNRGZ | elc_won_ESP_002 | SaP | 0.012998 | IMPNRGZ | elc_wof_ESP_002 | SaP | 0.013659 | IMPNRGZ
elc_spv_ESP_002 | WaD | 0.13642 | IMPNRGZ | elc_won_ESP_002 | WaD | 0.12761 | IMPNRGZ | elc_wof_ESP_002 | WaD | 0.16784 | IMPNRGZ
elc_spv_ESP_002 | WaN | 0 | IMPNRGZ | elc_won_ESP_002 | WaN | 0.14165 | IMPNRGZ | elc_wof_ESP_002 | WaN | 0.1757 | IMPNRGZ
elc_spv_ESP_002 | WaP | 0.008676 | IMPNRGZ | elc_won_ESP_002 | WaP | 0.027167 | IMPNRGZ | elc_wof_ESP_002 | WaP | 0.031246 | IMPNRGZ
elc_spv_ESP_003 | FaD | 0.19576 | IMPNRGZ | elc_won_ESP_003 | FaD | 0.086364 | IMPNRGZ | elc_wof_ESP_003 | FaD | 0.086709 | IMPNRGZ
elc_spv_ESP_003 | FaN | 0.00063755 | IMPNRGZ | elc_won_ESP_003 | FaN | 0.10103 | IMPNRGZ | elc_wof_ESP_003 | FaN | 0.096534 | IMPNRGZ
elc_spv_ESP_003 | FaP | 0.021269 | IMPNRGZ | elc_won_ESP_003 | FaP | 0.020986 | IMPNRGZ | elc_wof_ESP_003 | FaP | 0.016559 | IMPNRGZ
elc_spv_ESP_003 | RaD | 0.22601 | IMPNRGZ | elc_won_ESP_003 | RaD | 0.15104 | IMPNRGZ | elc_wof_ESP_003 | RaD | 0.14591 | IMPNRGZ
elc_spv_ESP_003 | RaN | 0.0065176 | IMPNRGZ | elc_won_ESP_003 | RaN | 0.12666 | IMPNRGZ | elc_wof_ESP_003 | RaN | 0.15925 | IMPNRGZ
elc_spv_ESP_003 | RaP | 0.031083 | IMPNRGZ | elc_won_ESP_003 | RaP | 0.032377 | IMPNRGZ | elc_wof_ESP_003 | RaP | 0.033462 | IMPNRGZ
elc_spv_ESP_003 | SaD | 0.30728 | IMPNRGZ | elc_won_ESP_003 | SaD | 0.049777 | IMPNRGZ | elc_wof_ESP_003 | SaD | 0.040034 | IMPNRGZ
elc_spv_ESP_003 | SaN | 0.017446 | IMPNRGZ | elc_won_ESP_003 | SaN | 0.094881 | IMPNRGZ | elc_wof_ESP_003 | SaN | 0.038685 | IMPNRGZ
elc_spv_ESP_003 | SaP | 0.044501 | IMPNRGZ | elc_won_ESP_003 | SaP | 0.013411 | IMPNRGZ | elc_wof_ESP_003 | SaP | 0.011794 | IMPNRGZ
elc_spv_ESP_003 | WaD | 0.13757 | IMPNRGZ | elc_won_ESP_003 | WaD | 0.14813 | IMPNRGZ | elc_wof_ESP_003 | WaD | 0.16945 | IMPNRGZ
elc_spv_ESP_003 | WaN | 0 | IMPNRGZ | elc_won_ESP_003 | WaN | 0.14789 | IMPNRGZ | elc_wof_ESP_003 | WaN | 0.1737 | IMPNRGZ
elc_spv_ESP_003 | WaP | 0.011935 | IMPNRGZ | elc_won_ESP_003 | WaP | 0.027448 | IMPNRGZ | elc_wof_ESP_003 | WaP | 0.027913 | IMPNRGZ
elc_spv_ESP_004 | FaD | 0.19744 | IMPNRGZ | elc_won_ESP_004 | FaD | 0.080876 | IMPNRGZ | elc_wof_ESP_004 | FaD | 0.093841 | IMPNRGZ
elc_spv_ESP_004 | FaN | 0.00015742 | IMPNRGZ | elc_won_ESP_004 | FaN | 0.071359 | IMPNRGZ | elc_wof_ESP_004 | FaN | 0.099406 | IMPNRGZ
elc_spv_ESP_004 | FaP | 0.018015 | IMPNRGZ | elc_won_ESP_004 | FaP | 0.016441 | IMPNRGZ | elc_wof_ESP_004 | FaP | 0.015427 | IMPNRGZ
elc_spv_ESP_004 | RaD | 0.23452 | IMPNRGZ | elc_won_ESP_004 | RaD | 0.15446 | IMPNRGZ | elc_wof_ESP_004 | RaD | 0.14866 | IMPNRGZ
elc_spv_ESP_004 | RaN | 0.0054834 | IMPNRGZ | elc_won_ESP_004 | RaN | 0.12619 | IMPNRGZ | elc_wof_ESP_004 | RaN | 0.15692 | IMPNRGZ
elc_spv_ESP_004 | RaP | 0.031184 | IMPNRGZ | elc_won_ESP_004 | RaP | 0.031144 | IMPNRGZ | elc_wof_ESP_004 | RaP | 0.026741 | IMPNRGZ
elc_spv_ESP_004 | SaD | 0.30193 | IMPNRGZ | elc_won_ESP_004 | SaD | 0.084896 | IMPNRGZ | elc_wof_ESP_004 | SaD | 0.044194 | IMPNRGZ
elc_spv_ESP_004 | SaN | 0.014878 | IMPNRGZ | elc_won_ESP_004 | SaN | 0.067668 | IMPNRGZ | elc_wof_ESP_004 | SaN | 0.042109 | IMPNRGZ
elc_spv_ESP_004 | SaP | 0.042444 | IMPNRGZ | elc_won_ESP_004 | SaP | 0.015088 | IMPNRGZ | elc_wof_ESP_004 | SaP | 0.0075367 | IMPNRGZ
elc_spv_ESP_004 | WaD | 0.14595 | IMPNRGZ | elc_won_ESP_004 | WaD | 0.16497 | IMPNRGZ | elc_wof_ESP_004 | WaD | 0.16927 | IMPNRGZ
elc_spv_ESP_004 | WaN | 0 | IMPNRGZ | elc_won_ESP_004 | WaN | 0.15715 | IMPNRGZ | elc_wof_ESP_004 | WaN | 0.16739 | IMPNRGZ
elc_spv_ESP_004 | WaP | 0.007999 | IMPNRGZ | elc_won_ESP_004 | WaP | 0.02977 | IMPNRGZ | elc_wof_ESP_004 | WaP | 0.02851 | IMPNRGZ
elc_spv_ESP_005 | FaD | 0.18221 | IMPNRGZ | elc_won_ESP_005 | FaD | 0.082441 | IMPNRGZ | elc_wof_ESP_005 | FaD | 0.1048 | IMPNRGZ
elc_spv_ESP_005 | FaN | 0.00082355 | IMPNRGZ | elc_won_ESP_005 | FaN | 0.10227 | IMPNRGZ | elc_wof_ESP_005 | FaN | 0.11184 | IMPNRGZ
elc_spv_ESP_005 | FaP | 0.020421 | IMPNRGZ | elc_won_ESP_005 | FaP | 0.02086 | IMPNRGZ | elc_wof_ESP_005 | FaP | 0.020313 | IMPNRGZ
elc_spv_ESP_005 | RaD | 0.23158 | IMPNRGZ | elc_won_ESP_005 | RaD | 0.14246 | IMPNRGZ | elc_wof_ESP_005 | RaD | 0.14565 | IMPNRGZ
elc_spv_ESP_005 | RaN | 0.0064412 | IMPNRGZ | elc_won_ESP_005 | RaN | 0.14153 | IMPNRGZ | elc_wof_ESP_005 | RaN | 0.14483 | IMPNRGZ
elc_spv_ESP_005 | RaP | 0.032093 | IMPNRGZ | elc_won_ESP_005 | RaP | 0.033752 | IMPNRGZ | elc_wof_ESP_005 | RaP | 0.030748 | IMPNRGZ
elc_spv_ESP_005 | SaD | 0.317 | IMPNRGZ | elc_won_ESP_005 | SaD | 0.050551 | IMPNRGZ | elc_wof_ESP_005 | SaD | 0.039179 | IMPNRGZ
elc_spv_ESP_005 | SaN | 0.017985 | IMPNRGZ | elc_won_ESP_005 | SaN | 0.08809 | IMPNRGZ | elc_wof_ESP_005 | SaN | 0.039047 | IMPNRGZ
elc_spv_ESP_005 | SaP | 0.048303 | IMPNRGZ | elc_won_ESP_005 | SaP | 0.021491 | IMPNRGZ | elc_wof_ESP_005 | SaP | 0.010659 | IMPNRGZ
elc_spv_ESP_005 | WaD | 0.13238 | IMPNRGZ | elc_won_ESP_005 | WaD | 0.13189 | IMPNRGZ | elc_wof_ESP_005 | WaD | 0.16141 | IMPNRGZ
elc_spv_ESP_005 | WaN | 0 | IMPNRGZ | elc_won_ESP_005 | WaN | 0.15937 | IMPNRGZ | elc_wof_ESP_005 | WaN | 0.16164 | IMPNRGZ
elc_spv_ESP_005 | WaP | 0.010763 | IMPNRGZ | elc_won_ESP_005 | WaP | 0.02529 | IMPNRGZ | elc_wof_ESP_005 | WaP | 0.029876 | IMPNRGZ
elc_spv_ESP_006 | FaD | 0.19773 | IMPNRGZ | elc_won_ESP_006 | FaD | 0.070269 | IMPNRGZ | elc_wof_ESP_006 | FaD | 0.10531 | IMPNRGZ
elc_spv_ESP_006 | FaN | 0 | IMPNRGZ | elc_won_ESP_006 | FaN | 0.094222 | IMPNRGZ | elc_wof_ESP_006 | FaN | 0.12021 | IMPNRGZ
elc_spv_ESP_006 | FaP | 0.011975 | IMPNRGZ | elc_won_ESP_006 | FaP | 0.020956 | IMPNRGZ | elc_wof_ESP_006 | FaP | 0.024048 | IMPNRGZ
elc_spv_ESP_006 | RaD | 0.24504 | IMPNRGZ | elc_won_ESP_006 | RaD | 0.15109 | IMPNRGZ | elc_wof_ESP_006 | RaD | 0.16442 | IMPNRGZ
elc_spv_ESP_006 | RaN | 0.0026435 | IMPNRGZ | elc_won_ESP_006 | RaN | 0.1486 | IMPNRGZ | elc_wof_ESP_006 | RaN | 0.15239 | IMPNRGZ
elc_spv_ESP_006 | RaP | 0.026961 | IMPNRGZ | elc_won_ESP_006 | RaP | 0.037627 | IMPNRGZ | elc_wof_ESP_006 | RaP | 0.040704 | IMPNRGZ
elc_spv_ESP_006 | SaD | 0.29679 | IMPNRGZ | elc_won_ESP_006 | SaD | 0.039168 | IMPNRGZ | elc_wof_ESP_006 | SaD | 0.038879 | IMPNRGZ
elc_spv_ESP_006 | SaN | 0.0097599 | IMPNRGZ | elc_won_ESP_006 | SaN | 0.092448 | IMPNRGZ | elc_wof_ESP_006 | SaN | 0.035091 | IMPNRGZ
elc_spv_ESP_006 | SaP | 0.035791 | IMPNRGZ | elc_won_ESP_006 | SaP | 0.020795 | IMPNRGZ | elc_wof_ESP_006 | SaP | 0.0080558 | IMPNRGZ
elc_spv_ESP_006 | WaD | 0.16752 | IMPNRGZ | elc_won_ESP_006 | WaD | 0.1374 | IMPNRGZ | elc_wof_ESP_006 | WaD | 0.13538 | IMPNRGZ
elc_spv_ESP_006 | WaN | 0 | IMPNRGZ | elc_won_ESP_006 | WaN | 0.16146 | IMPNRGZ | elc_wof_ESP_006 | WaN | 0.14934 | IMPNRGZ
elc_spv_ESP_006 | WaP | 0.0057878 | IMPNRGZ | elc_won_ESP_006 | WaP | 0.025965 | IMPNRGZ | elc_wof_ESP_006 | WaP | 0.026169 | IMPNRGZ
elc_spv_ESP_007 | FaD | 0.19887 | IMPNRGZ | elc_won_ESP_007 | FaD | 0.060391 | IMPNRGZ | elc_wof_ESP_007 | FaD | 0.12719 | IMPNRGZ
elc_spv_ESP_007 | FaN | 0 | IMPNRGZ | elc_won_ESP_007 | FaN | 0.065915 | IMPNRGZ | elc_wof_ESP_007 | FaN | 0.12222 | IMPNRGZ
elc_spv_ESP_007 | FaP | 0.01413 | IMPNRGZ | elc_won_ESP_007 | FaP | 0.015754 | IMPNRGZ | elc_wof_ESP_007 | FaP | 0.021935 | IMPNRGZ
elc_spv_ESP_007 | RaD | 0.25415 | IMPNRGZ | elc_won_ESP_007 | RaD | 0.16938 | IMPNRGZ | elc_wof_ESP_007 | RaD | 0.13171 | IMPNRGZ
elc_spv_ESP_007 | RaN | 0.0033433 | IMPNRGZ | elc_won_ESP_007 | RaN | 0.15216 | IMPNRGZ | elc_wof_ESP_007 | RaN | 0.13162 | IMPNRGZ
elc_spv_ESP_007 | RaP | 0.030135 | IMPNRGZ | elc_won_ESP_007 | RaP | 0.041498 | IMPNRGZ | elc_wof_ESP_007 | RaP | 0.022183 | IMPNRGZ
elc_spv_ESP_007 | SaD | 0.28122 | IMPNRGZ | elc_won_ESP_007 | SaD | 0.040875 | IMPNRGZ | elc_wof_ESP_007 | SaD | 0.062768 | IMPNRGZ
elc_spv_ESP_007 | SaN | 0.0087304 | IMPNRGZ | elc_won_ESP_007 | SaN | 0.058042 | IMPNRGZ | elc_wof_ESP_007 | SaN | 0.052467 | IMPNRGZ
elc_spv_ESP_007 | SaP | 0.035213 | IMPNRGZ | elc_won_ESP_007 | SaP | 0.016845 | IMPNRGZ | elc_wof_ESP_007 | SaP | 0.007779 | IMPNRGZ
elc_spv_ESP_007 | WaD | 0.16713 | IMPNRGZ | elc_won_ESP_007 | WaD | 0.16995 | IMPNRGZ | elc_wof_ESP_007 | WaD | 0.1449 | IMPNRGZ
elc_spv_ESP_007 | WaN | 0 | IMPNRGZ | elc_won_ESP_007 | WaN | 0.17755 | IMPNRGZ | elc_wof_ESP_007 | WaN | 0.15001 | IMPNRGZ
elc_spv_ESP_007 | WaP | 0.0070782 | IMPNRGZ | elc_won_ESP_007 | WaP | 0.031638 | IMPNRGZ | elc_wof_ESP_007 | WaP | 0.025227 | IMPNRGZ
elc_spv_ESP_008 | FaD | 0.19734 | IMPNRGZ | elc_won_ESP_008 | FaD | 0.060902 | IMPNRGZ | elc_wof_ESP_008 | FaD | 0.12741 | IMPNRGZ
elc_spv_ESP_008 | FaN | 1.9277e-06 | IMPNRGZ | elc_won_ESP_008 | FaN | 0.070314 | IMPNRGZ | elc_wof_ESP_008 | FaN | 0.12147 | IMPNRGZ
elc_spv_ESP_008 | FaP | 0.01664 | IMPNRGZ | elc_won_ESP_008 | FaP | 0.014408 | IMPNRGZ | elc_wof_ESP_008 | FaP | 0.022421 | IMPNRGZ
elc_spv_ESP_008 | RaD | 0.23768 | IMPNRGZ | elc_won_ESP_008 | RaD | 0.1668 | IMPNRGZ | elc_wof_ESP_008 | RaD | 0.13394 | IMPNRGZ
elc_spv_ESP_008 | RaN | 0.0052877 | IMPNRGZ | elc_won_ESP_008 | RaN | 0.14507 | IMPNRGZ | elc_wof_ESP_008 | RaN | 0.14075 | IMPNRGZ
elc_spv_ESP_008 | RaP | 0.031075 | IMPNRGZ | elc_won_ESP_008 | RaP | 0.03358 | IMPNRGZ | elc_wof_ESP_008 | RaP | 0.02484 | IMPNRGZ
elc_spv_ESP_008 | SaD | 0.29648 | IMPNRGZ | elc_won_ESP_008 | SaD | 0.059801 | IMPNRGZ | elc_wof_ESP_008 | SaD | 0.053006 | IMPNRGZ
elc_spv_ESP_008 | SaN | 0.013287 | IMPNRGZ | elc_won_ESP_008 | SaN | 0.096172 | IMPNRGZ | elc_wof_ESP_008 | SaN | 0.040141 | IMPNRGZ
elc_spv_ESP_008 | SaP | 0.041651 | IMPNRGZ | elc_won_ESP_008 | SaP | 0.015126 | IMPNRGZ | elc_wof_ESP_008 | SaP | 0.0082661 | IMPNRGZ
elc_spv_ESP_008 | WaD | 0.1526 | IMPNRGZ | elc_won_ESP_008 | WaD | 0.1473 | IMPNRGZ | elc_wof_ESP_008 | WaD | 0.15283 | IMPNRGZ
elc_spv_ESP_008 | WaN | 0 | IMPNRGZ | elc_won_ESP_008 | WaN | 0.15815 | IMPNRGZ | elc_wof_ESP_008 | WaN | 0.14991 | IMPNRGZ
elc_spv_ESP_008 | WaP | 0.0079567 | IMPNRGZ | elc_won_ESP_008 | WaP | 0.032369 | IMPNRGZ | elc_wof_ESP_008 | WaP | 0.025015 | IMPNRGZ
elc_spv_ESP_009 | FaD | 0.20175 | IMPNRGZ | elc_won_ESP_009 | FaD | 0.078245 | IMPNRGZ | elc_wof_ESP_009 | FaD | 0.086689 | IMPNRGZ
elc_spv_ESP_009 | FaN | 0 | IMPNRGZ | elc_won_ESP_009 | FaN | 0.10373 | IMPNRGZ | elc_wof_ESP_009 | FaN | 0.084902 | IMPNRGZ
elc_spv_ESP_009 | FaP | 0.015831 | IMPNRGZ | elc_won_ESP_009 | FaP | 0.018521 | IMPNRGZ | elc_wof_ESP_009 | FaP | 0.017496 | IMPNRGZ
elc_spv_ESP_009 | RaD | 0.24919 | IMPNRGZ | elc_won_ESP_009 | RaD | 0.14787 | IMPNRGZ | elc_wof_ESP_009 | RaD | 0.13993 | IMPNRGZ
elc_spv_ESP_009 | RaN | 0.0045325 | IMPNRGZ | elc_won_ESP_009 | RaN | 0.1545 | IMPNRGZ | elc_wof_ESP_009 | RaN | 0.13662 | IMPNRGZ
elc_spv_ESP_009 | RaP | 0.030391 | IMPNRGZ | elc_won_ESP_009 | RaP | 0.031254 | IMPNRGZ | elc_wof_ESP_009 | RaP | 0.029081 | IMPNRGZ
elc_spv_ESP_009 | SaD | 0.27634 | IMPNRGZ | elc_won_ESP_009 | SaD | 0.030172 | IMPNRGZ | elc_wof_ESP_009 | SaD | 0.084201 | IMPNRGZ
elc_spv_ESP_009 | SaN | 0.0090998 | IMPNRGZ | elc_won_ESP_009 | SaN | 0.089414 | IMPNRGZ | elc_wof_ESP_009 | SaN | 0.078469 | IMPNRGZ
elc_spv_ESP_009 | SaP | 0.03514 | IMPNRGZ | elc_won_ESP_009 | SaP | 0.014132 | IMPNRGZ | elc_wof_ESP_009 | SaP | 0.014972 | IMPNRGZ
elc_spv_ESP_009 | WaD | 0.16773 | IMPNRGZ | elc_won_ESP_009 | WaD | 0.13603 | IMPNRGZ | elc_wof_ESP_009 | WaD | 0.14795 | IMPNRGZ
elc_spv_ESP_009 | WaN | 0 | IMPNRGZ | elc_won_ESP_009 | WaN | 0.16665 | IMPNRGZ | elc_wof_ESP_009 | WaN | 0.15008 | IMPNRGZ
elc_spv_ESP_009 | WaP | 0.010005 | IMPNRGZ | elc_won_ESP_009 | WaP | 0.029473 | IMPNRGZ | elc_wof_ESP_009 | WaP | 0.029606 | IMPNRGZ
elc_spv_ESP_010 | FaD | 0.20421 | IMPNRGZ | elc_won_ESP_010 | FaD | 0.078552 | IMPNRGZ | elc_wof_ESP_010 | FaD | 0.086158 | IMPNRGZ
elc_spv_ESP_010 | FaN | 0 | IMPNRGZ | elc_won_ESP_010 | FaN | 0.093573 | IMPNRGZ | elc_wof_ESP_010 | FaN | 0.087533 | IMPNRGZ
elc_spv_ESP_010 | FaP | 0.017538 | IMPNRGZ | elc_won_ESP_010 | FaP | 0.016888 | IMPNRGZ | elc_wof_ESP_010 | FaP | 0.017269 | IMPNRGZ
elc_spv_ESP_010 | RaD | 0.24273 | IMPNRGZ | elc_won_ESP_010 | RaD | 0.15752 | IMPNRGZ | elc_wof_ESP_010 | RaD | 0.13472 | IMPNRGZ
elc_spv_ESP_010 | RaN | 0.0051018 | IMPNRGZ | elc_won_ESP_010 | RaN | 0.14789 | IMPNRGZ | elc_wof_ESP_010 | RaN | 0.14103 | IMPNRGZ
elc_spv_ESP_010 | RaP | 0.030805 | IMPNRGZ | elc_won_ESP_010 | RaP | 0.032373 | IMPNRGZ | elc_wof_ESP_010 | RaP | 0.026922 | IMPNRGZ
elc_spv_ESP_010 | SaD | 0.2855 | IMPNRGZ | elc_won_ESP_010 | SaD | 0.038308 | IMPNRGZ | elc_wof_ESP_010 | SaD | 0.096864 | IMPNRGZ
elc_spv_ESP_010 | SaN | 0.010529 | IMPNRGZ | elc_won_ESP_010 | SaN | 0.071761 | IMPNRGZ | elc_wof_ESP_010 | SaN | 0.08816 | IMPNRGZ
elc_spv_ESP_010 | SaP | 0.037449 | IMPNRGZ | elc_won_ESP_010 | SaP | 0.012676 | IMPNRGZ | elc_wof_ESP_010 | SaP | 0.017671 | IMPNRGZ
elc_spv_ESP_010 | WaD | 0.15738 | IMPNRGZ | elc_won_ESP_010 | WaD | 0.14872 | IMPNRGZ | elc_wof_ESP_010 | WaD | 0.1357 | IMPNRGZ
elc_spv_ESP_010 | WaN | 0 | IMPNRGZ | elc_won_ESP_010 | WaN | 0.172 | IMPNRGZ | elc_wof_ESP_010 | WaN | 0.14097 | IMPNRGZ
elc_spv_ESP_010 | WaP | 0.0087543 | IMPNRGZ | elc_won_ESP_010 | WaP | 0.029743 | IMPNRGZ | elc_wof_ESP_010 | WaP | 0.027009 | IMPNRGZ
elc_spv_ESP_011 | FaD | 0.20341 | IMPNRGZ | elc_won_ESP_011 | FaD | 0.13157 | IMPNRGZ | elc_wof_ESP_011 | FaD | 0.077745 | IMPNRGZ
elc_spv_ESP_011 | FaN | 0 | IMPNRGZ | elc_won_ESP_011 | FaN | 0.10073 | IMPNRGZ | elc_wof_ESP_011 | FaN | 0.095124 | IMPNRGZ
elc_spv_ESP_011 | FaP | 0.016279 | IMPNRGZ | elc_won_ESP_011 | FaP | 0.021366 | IMPNRGZ | elc_wof_ESP_011 | FaP | 0.017215 | IMPNRGZ
elc_spv_ESP_011 | RaD | 0.24945 | IMPNRGZ | elc_won_ESP_011 | RaD | 0.15656 | IMPNRGZ | elc_wof_ESP_011 | RaD | 0.1427 | IMPNRGZ
elc_spv_ESP_011 | RaN | 0.0044156 | IMPNRGZ | elc_won_ESP_011 | RaN | 0.11085 | IMPNRGZ | elc_wof_ESP_011 | RaN | 0.16489 | IMPNRGZ
elc_spv_ESP_011 | RaP | 0.030547 | IMPNRGZ | elc_won_ESP_011 | RaP | 0.026125 | IMPNRGZ | elc_wof_ESP_011 | RaP | 0.035669 | IMPNRGZ
elc_spv_ESP_011 | SaD | 0.27781 | IMPNRGZ | elc_won_ESP_011 | SaD | 0.04803 | IMPNRGZ | elc_wof_ESP_011 | SaD | 0.058329 | IMPNRGZ
elc_spv_ESP_011 | SaN | 0.0090279 | IMPNRGZ | elc_won_ESP_011 | SaN | 0.032524 | IMPNRGZ | elc_wof_ESP_011 | SaN | 0.10253 | IMPNRGZ
elc_spv_ESP_011 | SaP | 0.035537 | IMPNRGZ | elc_won_ESP_011 | SaP | 0.01193 | IMPNRGZ | elc_wof_ESP_011 | SaP | 0.023873 | IMPNRGZ
elc_spv_ESP_011 | WaD | 0.16506 | IMPNRGZ | elc_won_ESP_011 | WaD | 0.16671 | IMPNRGZ | elc_wof_ESP_011 | WaD | 0.11747 | IMPNRGZ
elc_spv_ESP_011 | WaN | 0 | IMPNRGZ | elc_won_ESP_011 | WaN | 0.16276 | IMPNRGZ | elc_wof_ESP_011 | WaN | 0.14114 | IMPNRGZ
elc_spv_ESP_011 | WaP | 0.0084534 | IMPNRGZ | elc_won_ESP_011 | WaP | 0.030852 | IMPNRGZ | elc_wof_ESP_011 | WaP | 0.023324 | IMPNRGZ
elc_spv_ESP_012 | FaD | 0.20458 | IMPNRGZ | elc_won_ESP_012 | FaD | 0.12755 | IMPNRGZ | elc_wof_ESP_012 | FaD | 0.090729 | IMPNRGZ
elc_spv_ESP_012 | FaN | 0.00035535 | IMPNRGZ | elc_won_ESP_012 | FaN | 0.11617 | IMPNRGZ | elc_wof_ESP_012 | FaN | 0.10199 | IMPNRGZ
elc_spv_ESP_012 | FaP | 0.020787 | IMPNRGZ | elc_won_ESP_012 | FaP | 0.022107 | IMPNRGZ | elc_wof_ESP_012 | FaP | 0.018724 | IMPNRGZ
elc_spv_ESP_012 | RaD | 0.22719 | IMPNRGZ | elc_won_ESP_012 | RaD | 0.15404 | IMPNRGZ | elc_wof_ESP_012 | RaD | 0.11903 | IMPNRGZ
elc_spv_ESP_012 | RaN | 0.0059083 | IMPNRGZ | elc_won_ESP_012 | RaN | 0.1149 | IMPNRGZ | elc_wof_ESP_012 | RaN | 0.13013 | IMPNRGZ
elc_spv_ESP_012 | RaP | 0.030149 | IMPNRGZ | elc_won_ESP_012 | RaP | 0.025923 | IMPNRGZ | elc_wof_ESP_012 | RaP | 0.025765 | IMPNRGZ
elc_spv_ESP_012 | SaD | 0.28897 | IMPNRGZ | elc_won_ESP_012 | SaD | 0.047793 | IMPNRGZ | elc_wof_ESP_012 | SaD | 0.10047 | IMPNRGZ
elc_spv_ESP_012 | SaN | 0.014153 | IMPNRGZ | elc_won_ESP_012 | SaN | 0.027716 | IMPNRGZ | elc_wof_ESP_012 | SaN | 0.12133 | IMPNRGZ
elc_spv_ESP_012 | SaP | 0.042338 | IMPNRGZ | elc_won_ESP_012 | SaP | 0.011222 | IMPNRGZ | elc_wof_ESP_012 | SaP | 0.023636 | IMPNRGZ
elc_spv_ESP_012 | WaD | 0.15208 | IMPNRGZ | elc_won_ESP_012 | WaD | 0.16533 | IMPNRGZ | elc_wof_ESP_012 | WaD | 0.11633 | IMPNRGZ
elc_spv_ESP_012 | WaN | 0 | IMPNRGZ | elc_won_ESP_012 | WaN | 0.15918 | IMPNRGZ | elc_wof_ESP_012 | WaN | 0.1284 | IMPNRGZ
elc_spv_ESP_012 | WaP | 0.013485 | IMPNRGZ | elc_won_ESP_012 | WaP | 0.028079 | IMPNRGZ | elc_wof_ESP_012 | WaP | 0.02346 | IMPNRGZ
elc_spv_ESP_013 | FaD | 0.20244 | IMPNRGZ | elc_won_ESP_013 | FaD | 0.12488 | IMPNRGZ | elc_wof_ESP_013 | FaD | 0.11467 | IMPNRGZ
elc_spv_ESP_013 | FaN | 0.00012615 | IMPNRGZ | elc_won_ESP_013 | FaN | 0.12122 | IMPNRGZ | elc_wof_ESP_013 | FaN | 0.10767 | IMPNRGZ
elc_spv_ESP_013 | FaP | 0.019306 | IMPNRGZ | elc_won_ESP_013 | FaP | 0.024417 | IMPNRGZ | elc_wof_ESP_013 | FaP | 0.020447 | IMPNRGZ
elc_spv_ESP_013 | RaD | 0.23597 | IMPNRGZ | elc_won_ESP_013 | RaD | 0.12983 | IMPNRGZ | elc_wof_ESP_013 | RaD | 0.12012 | IMPNRGZ
elc_spv_ESP_013 | RaN | 0.0055058 | IMPNRGZ | elc_won_ESP_013 | RaN | 0.12189 | IMPNRGZ | elc_wof_ESP_013 | RaN | 0.11683 | IMPNRGZ
elc_spv_ESP_013 | RaP | 0.029888 | IMPNRGZ | elc_won_ESP_013 | RaP | 0.026754 | IMPNRGZ | elc_wof_ESP_013 | RaP | 0.021854 | IMPNRGZ
elc_spv_ESP_013 | SaD | 0.29042 | IMPNRGZ | elc_won_ESP_013 | SaD | 0.085331 | IMPNRGZ | elc_wof_ESP_013 | SaD | 0.077386 | IMPNRGZ
elc_spv_ESP_013 | SaN | 0.012563 | IMPNRGZ | elc_won_ESP_013 | SaN | 0.087339 | IMPNRGZ | elc_wof_ESP_013 | SaN | 0.066839 | IMPNRGZ
elc_spv_ESP_013 | SaP | 0.038709 | IMPNRGZ | elc_won_ESP_013 | SaP | 0.020514 | IMPNRGZ | elc_wof_ESP_013 | SaP | 0.015127 | IMPNRGZ
elc_spv_ESP_013 | WaD | 0.15398 | IMPNRGZ | elc_won_ESP_013 | WaD | 0.12017 | IMPNRGZ | elc_wof_ESP_013 | WaD | 0.15044 | IMPNRGZ
elc_spv_ESP_013 | WaN | 0 | IMPNRGZ | elc_won_ESP_013 | WaN | 0.115 | IMPNRGZ | elc_wof_ESP_013 | WaN | 0.16037 | IMPNRGZ
elc_spv_ESP_013 | WaP | 0.011098 | IMPNRGZ | elc_won_ESP_013 | WaP | 0.022662 | IMPNRGZ | elc_wof_ESP_013 | WaP | 0.028247 | IMPNRGZ
elc_spv_ESP_014 | FaD | 0.2056 | IMPNRGZ | elc_won_ESP_014 | FaD | 0.10102 | IMPNRGZ | elc_wof_ESP_014 | FaD | 0.11753 | IMPNRGZ
elc_spv_ESP_014 | FaN | 0.00016614 | IMPNRGZ | elc_won_ESP_014 | FaN | 0.10958 | IMPNRGZ | elc_wof_ESP_014 | FaN | 0.12419 | IMPNRGZ
elc_spv_ESP_014 | FaP | 0.019148 | IMPNRGZ | elc_won_ESP_014 | FaP | 0.021104 | IMPNRGZ | elc_wof_ESP_014 | FaP | 0.023018 | IMPNRGZ
elc_spv_ESP_014 | RaD | 0.2295 | IMPNRGZ | elc_won_ESP_014 | RaD | 0.13548 | IMPNRGZ | elc_wof_ESP_014 | RaD | 0.1297 | IMPNRGZ
elc_spv_ESP_014 | RaN | 0.0056137 | IMPNRGZ | elc_won_ESP_014 | RaN | 0.1333 | IMPNRGZ | elc_wof_ESP_014 | RaN | 0.12323 | IMPNRGZ
elc_spv_ESP_014 | RaP | 0.030594 | IMPNRGZ | elc_won_ESP_014 | RaP | 0.026315 | IMPNRGZ | elc_wof_ESP_014 | RaP | 0.02448 | IMPNRGZ
elc_spv_ESP_014 | SaD | 0.28287 | IMPNRGZ | elc_won_ESP_014 | SaD | 0.045126 | IMPNRGZ | elc_wof_ESP_014 | SaD | 0.056598 | IMPNRGZ
elc_spv_ESP_014 | SaN | 0.011368 | IMPNRGZ | elc_won_ESP_014 | SaN | 0.10278 | IMPNRGZ | elc_wof_ESP_014 | SaN | 0.059537 | IMPNRGZ
elc_spv_ESP_014 | SaP | 0.039546 | IMPNRGZ | elc_won_ESP_014 | SaP | 0.018449 | IMPNRGZ | elc_wof_ESP_014 | SaP | 0.014916 | IMPNRGZ
elc_spv_ESP_014 | WaD | 0.16095 | IMPNRGZ | elc_won_ESP_014 | WaD | 0.1351 | IMPNRGZ | elc_wof_ESP_014 | WaD | 0.14515 | IMPNRGZ
elc_spv_ESP_014 | WaN | 0 | IMPNRGZ | elc_won_ESP_014 | WaN | 0.14585 | IMPNRGZ | elc_wof_ESP_014 | WaN | 0.15597 | IMPNRGZ
elc_spv_ESP_014 | WaP | 0.014645 | IMPNRGZ | elc_won_ESP_014 | WaP | 0.025907 | IMPNRGZ | elc_wof_ESP_014 | WaP | 0.025677 | IMPNRGZ
elc_spv_ESP_015 | FaD | 0.2022 | IMPNRGZ | elc_won_ESP_015 | FaD | 0.06023 | IMPNRGZ | elc_wof_ESP_015 | FaD | 0.12365 | IMPNRGZ
elc_spv_ESP_015 | FaN | 0 | IMPNRGZ | elc_won_ESP_015 | FaN | 0.04327 | IMPNRGZ | elc_wof_ESP_015 | FaN | 0.13455 | IMPNRGZ
elc_spv_ESP_015 | FaP | 0.018061 | IMPNRGZ | elc_won_ESP_015 | FaP | 0.013581 | IMPNRGZ | elc_wof_ESP_015 | FaP | 0.022848 | IMPNRGZ
elc_spv_ESP_015 | RaD | 0.23998 | IMPNRGZ | elc_won_ESP_015 | RaD | 0.18669 | IMPNRGZ | elc_wof_ESP_015 | RaD | 0.11325 | IMPNRGZ
elc_spv_ESP_015 | RaN | 0.0048172 | IMPNRGZ | elc_won_ESP_015 | RaN | 0.14855 | IMPNRGZ | elc_wof_ESP_015 | RaN | 0.11781 | IMPNRGZ
elc_spv_ESP_015 | RaP | 0.029924 | IMPNRGZ | elc_won_ESP_015 | RaP | 0.037873 | IMPNRGZ | elc_wof_ESP_015 | RaP | 0.021741 | IMPNRGZ
elc_spv_ESP_015 | SaD | 0.27814 | IMPNRGZ | elc_won_ESP_015 | SaD | 0.048589 | IMPNRGZ | elc_wof_ESP_015 | SaD | 0.085397 | IMPNRGZ
elc_spv_ESP_015 | SaN | 0.0095069 | IMPNRGZ | elc_won_ESP_015 | SaN | 0.027769 | IMPNRGZ | elc_wof_ESP_015 | SaN | 0.09271 | IMPNRGZ
elc_spv_ESP_015 | SaP | 0.035838 | IMPNRGZ | elc_won_ESP_015 | SaP | 0.017482 | IMPNRGZ | elc_wof_ESP_015 | SaP | 0.017151 | IMPNRGZ
elc_spv_ESP_015 | WaD | 0.16781 | IMPNRGZ | elc_won_ESP_015 | WaD | 0.19058 | IMPNRGZ | elc_wof_ESP_015 | WaD | 0.1195 | IMPNRGZ
elc_spv_ESP_015 | WaN | 0 | IMPNRGZ | elc_won_ESP_015 | WaN | 0.18948 | IMPNRGZ | elc_wof_ESP_015 | WaN | 0.12828 | IMPNRGZ
elc_spv_ESP_015 | WaP | 0.013735 | IMPNRGZ | elc_won_ESP_015 | WaP | 0.035912 | IMPNRGZ | elc_wof_ESP_015 | WaP | 0.023115 | IMPNRGZ
elc_spv_ESP_016 | FaD | 0.19937 | IMPNRGZ | elc_won_ESP_016 | FaD | 0.076315 | IMPNRGZ | elc_wof_ESP_016 | FaD | 0.11673 | IMPNRGZ
elc_spv_ESP_016 | FaN | 1.0531e-06 | IMPNRGZ | elc_won_ESP_016 | FaN | 0.082706 | IMPNRGZ | elc_wof_ESP_016 | FaN | 0.12271 | IMPNRGZ
elc_spv_ESP_016 | FaP | 0.017494 | IMPNRGZ | elc_won_ESP_016 | FaP | 0.016421 | IMPNRGZ | elc_wof_ESP_016 | FaP | 0.024541 | IMPNRGZ
elc_spv_ESP_016 | RaD | 0.24037 | IMPNRGZ | elc_won_ESP_016 | RaD | 0.15667 | IMPNRGZ | elc_wof_ESP_016 | RaD | 0.12933 | IMPNRGZ
elc_spv_ESP_016 | RaN | 0.0048843 | IMPNRGZ | elc_won_ESP_016 | RaN | 0.13296 | IMPNRGZ | elc_wof_ESP_016 | RaN | 0.13281 | IMPNRGZ
elc_spv_ESP_016 | RaP | 0.032045 | IMPNRGZ | elc_won_ESP_016 | RaP | 0.029529 | IMPNRGZ | elc_wof_ESP_016 | RaP | 0.026651 | IMPNRGZ
elc_spv_ESP_016 | SaD | 0.27385 | IMPNRGZ | elc_won_ESP_016 | SaD | 0.037842 | IMPNRGZ | elc_wof_ESP_016 | SaD | 0.082525 | IMPNRGZ
elc_spv_ESP_016 | SaN | 0.0099636 | IMPNRGZ | elc_won_ESP_016 | SaN | 0.021307 | IMPNRGZ | elc_wof_ESP_016 | SaN | 0.092546 | IMPNRGZ
elc_spv_ESP_016 | SaP | 0.038504 | IMPNRGZ | elc_won_ESP_016 | SaP | 0.013643 | IMPNRGZ | elc_wof_ESP_016 | SaP | 0.020241 | IMPNRGZ
elc_spv_ESP_016 | WaD | 0.16885 | IMPNRGZ | elc_won_ESP_016 | WaD | 0.20002 | IMPNRGZ | elc_wof_ESP_016 | WaD | 0.11287 | IMPNRGZ
elc_spv_ESP_016 | WaN | 0 | IMPNRGZ | elc_won_ESP_016 | WaN | 0.20081 | IMPNRGZ | elc_wof_ESP_016 | WaN | 0.11663 | IMPNRGZ
elc_spv_ESP_016 | WaP | 0.014662 | IMPNRGZ | elc_won_ESP_016 | WaP | 0.031787 | IMPNRGZ | elc_wof_ESP_016 | WaP | 0.022424 | IMPNRGZ
elc_spv_ESP_017 | FaD | 0.21284 | IMPNRGZ | elc_won_ESP_017 | FaD | 0.080558 | IMPNRGZ | elc_wof_ESP_017 | FaD | 0.11971 | IMPNRGZ
elc_spv_ESP_017 | FaN | 0 | IMPNRGZ | elc_won_ESP_017 | FaN | 0.080316 | IMPNRGZ | elc_wof_ESP_017 | FaN | 0.11258 | IMPNRGZ
elc_spv_ESP_017 | FaP | 0.0082619 | IMPNRGZ | elc_won_ESP_017 | FaP | 0.018366 | IMPNRGZ | elc_wof_ESP_017 | FaP | 0.021321 | IMPNRGZ
elc_spv_ESP_017 | RaD | 0.23924 | IMPNRGZ | elc_won_ESP_017 | RaD | 0.14996 | IMPNRGZ | elc_wof_ESP_017 | RaD | 0.1139 | IMPNRGZ
elc_spv_ESP_017 | RaN | 0.0024466 | IMPNRGZ | elc_won_ESP_017 | RaN | 0.11666 | IMPNRGZ | elc_wof_ESP_017 | RaN | 0.11206 | IMPNRGZ
elc_spv_ESP_017 | RaP | 0.02265 | IMPNRGZ | elc_won_ESP_017 | RaP | 0.032903 | IMPNRGZ | elc_wof_ESP_017 | RaP | 0.020111 | IMPNRGZ
elc_spv_ESP_017 | SaD | 0.29921 | IMPNRGZ | elc_won_ESP_017 | SaD | 0.061365 | IMPNRGZ | elc_wof_ESP_017 | SaD | 0.089085 | IMPNRGZ
elc_spv_ESP_017 | SaN | 0.0097515 | IMPNRGZ | elc_won_ESP_017 | SaN | 0.031353 | IMPNRGZ | elc_wof_ESP_017 | SaN | 0.083939 | IMPNRGZ
elc_spv_ESP_017 | SaP | 0.035748 | IMPNRGZ | elc_won_ESP_017 | SaP | 0.017172 | IMPNRGZ | elc_wof_ESP_017 | SaP | 0.018586 | IMPNRGZ
elc_spv_ESP_017 | WaD | 0.16502 | IMPNRGZ | elc_won_ESP_017 | WaD | 0.19203 | IMPNRGZ | elc_wof_ESP_017 | WaD | 0.1388 | IMPNRGZ
elc_spv_ESP_017 | WaN | 0 | IMPNRGZ | elc_won_ESP_017 | WaN | 0.18516 | IMPNRGZ | elc_wof_ESP_017 | WaN | 0.14402 | IMPNRGZ
elc_spv_ESP_017 | WaP | 0.0048255 | IMPNRGZ | elc_won_ESP_017 | WaP | 0.034166 | IMPNRGZ | elc_wof_ESP_017 | WaP | 0.025887 | IMPNRGZ
elc_spv_ESP_018 | FaD | 0.21457 | IMPNRGZ | elc_won_ESP_018 | FaD | 0.10586 | IMPNRGZ | elc_wof_ESP_018 | FaD | 0.11804 | IMPNRGZ
elc_spv_ESP_018 | FaN | 0 | IMPNRGZ | elc_won_ESP_018 | FaN | 0.10453 | IMPNRGZ | elc_wof_ESP_018 | FaN | 0.11703 | IMPNRGZ
elc_spv_ESP_018 | FaP | 0.0078723 | IMPNRGZ | elc_won_ESP_018 | FaP | 0.024914 | IMPNRGZ | elc_wof_ESP_018 | FaP | 0.021531 | IMPNRGZ
elc_spv_ESP_018 | RaD | 0.24318 | IMPNRGZ | elc_won_ESP_018 | RaD | 0.17332 | IMPNRGZ | elc_wof_ESP_018 | RaD | 0.11215 | IMPNRGZ
elc_spv_ESP_018 | RaN | 0.0020886 | IMPNRGZ | elc_won_ESP_018 | RaN | 0.12376 | IMPNRGZ | elc_wof_ESP_018 | RaN | 0.11503 | IMPNRGZ
elc_spv_ESP_018 | RaP | 0.022218 | IMPNRGZ | elc_won_ESP_018 | RaP | 0.036697 | IMPNRGZ | elc_wof_ESP_018 | RaP | 0.022119 | IMPNRGZ
elc_spv_ESP_018 | SaD | 0.29446 | IMPNRGZ | elc_won_ESP_018 | SaD | 0.056923 | IMPNRGZ | elc_wof_ESP_018 | SaD | 0.1101 | IMPNRGZ
elc_spv_ESP_018 | SaN | 0.0082268 | IMPNRGZ | elc_won_ESP_018 | SaN | 0.027332 | IMPNRGZ | elc_wof_ESP_018 | SaN | 0.10481 | IMPNRGZ
elc_spv_ESP_018 | SaP | 0.034523 | IMPNRGZ | elc_won_ESP_018 | SaP | 0.016031 | IMPNRGZ | elc_wof_ESP_018 | SaP | 0.021424 | IMPNRGZ
elc_spv_ESP_018 | WaD | 0.16823 | IMPNRGZ | elc_won_ESP_018 | WaD | 0.15013 | IMPNRGZ | elc_wof_ESP_018 | WaD | 0.11517 | IMPNRGZ
elc_spv_ESP_018 | WaN | 0 | IMPNRGZ | elc_won_ESP_018 | WaN | 0.14903 | IMPNRGZ | elc_wof_ESP_018 | WaN | 0.12024 | IMPNRGZ
elc_spv_ESP_018 | WaP | 0.0046314 | IMPNRGZ | elc_won_ESP_018 | WaP | 0.031479 | IMPNRGZ | elc_wof_ESP_018 | WaP | 0.022352 | IMPNRGZ
elc_spv_ESP_019 | FaD | 0.21267 | IMPNRGZ | elc_won_ESP_019 | FaD | 0.10206 | IMPNRGZ
elc_spv_ESP_019 | FaN | 0 | IMPNRGZ | elc_won_ESP_019 | FaN | 0.09695 | IMPNRGZ
elc_spv_ESP_019 | FaP | 0.0087354 | IMPNRGZ | elc_won_ESP_019 | FaP | 0.026383 | IMPNRGZ
elc_spv_ESP_019 | RaD | 0.23987 | IMPNRGZ | elc_won_ESP_019 | RaD | 0.15898 | IMPNRGZ
elc_spv_ESP_019 | RaN | 0.0031909 | IMPNRGZ | elc_won_ESP_019 | RaN | 0.118 | IMPNRGZ
elc_spv_ESP_019 | RaP | 0.022148 | IMPNRGZ | elc_won_ESP_019 | RaP | 0.033333 | IMPNRGZ
elc_spv_ESP_019 | SaD | 0.30649 | IMPNRGZ | elc_won_ESP_019 | SaD | 0.051085 | IMPNRGZ
elc_spv_ESP_019 | SaN | 0.011073 | IMPNRGZ | elc_won_ESP_019 | SaN | 0.069016 | IMPNRGZ
elc_spv_ESP_019 | SaP | 0.036687 | IMPNRGZ | elc_won_ESP_019 | SaP | 0.020489 | IMPNRGZ
elc_spv_ESP_019 | WaD | 0.15494 | IMPNRGZ | elc_won_ESP_019 | WaD | 0.1547 | IMPNRGZ
elc_spv_ESP_019 | WaN | 0 | IMPNRGZ | elc_won_ESP_019 | WaN | 0.13698 | IMPNRGZ
elc_spv_ESP_019 | WaP | 0.0041993 | IMPNRGZ | elc_won_ESP_019 | WaP | 0.03202 | IMPNRGZ
elc_spv_ESP_020 | FaD | 0.22085 | IMPNRGZ | elc_won_ESP_020 | FaD | 0.11477 | IMPNRGZ
elc_spv_ESP_020 | FaN | 0 | IMPNRGZ | elc_won_ESP_020 | FaN | 0.11832 | IMPNRGZ
elc_spv_ESP_020 | FaP | 0.0074818 | IMPNRGZ | elc_won_ESP_020 | FaP | 0.021931 | IMPNRGZ
elc_spv_ESP_020 | RaD | 0.23599 | IMPNRGZ | elc_won_ESP_020 | RaD | 0.13018 | IMPNRGZ
elc_spv_ESP_020 | RaN | 0.0033958 | IMPNRGZ | elc_won_ESP_020 | RaN | 0.11663 | IMPNRGZ
elc_spv_ESP_020 | RaP | 0.020055 | IMPNRGZ | elc_won_ESP_020 | RaP | 0.022953 | IMPNRGZ
elc_spv_ESP_020 | SaD | 0.30387 | IMPNRGZ | elc_won_ESP_020 | SaD | 0.052633 | IMPNRGZ
elc_spv_ESP_020 | SaN | 0.010777 | IMPNRGZ | elc_won_ESP_020 | SaN | 0.049337 | IMPNRGZ
elc_spv_ESP_020 | SaP | 0.033958 | IMPNRGZ | elc_won_ESP_020 | SaP | 0.014297 | IMPNRGZ
elc_spv_ESP_020 | WaD | 0.16048 | IMPNRGZ | elc_won_ESP_020 | WaD | 0.17278 | IMPNRGZ
elc_spv_ESP_020 | WaN | 0 | IMPNRGZ | elc_won_ESP_020 | WaN | 0.15795 | IMPNRGZ
elc_spv_ESP_020 | WaP | 0.003143 | IMPNRGZ | elc_won_ESP_020 | WaP | 0.028221 | IMPNRGZ
elc_spv_ESP_021 | FaD | 0.21338 | IMPNRGZ | elc_won_ESP_021 | FaD | 0.097428 | IMPNRGZ
elc_spv_ESP_021 | FaN | 0 | IMPNRGZ | elc_won_ESP_021 | FaN | 0.10469 | IMPNRGZ
elc_spv_ESP_021 | FaP | 0.0078148 | IMPNRGZ | elc_won_ESP_021 | FaP | 0.017682 | IMPNRGZ
elc_spv_ESP_021 | RaD | 0.23677 | IMPNRGZ | elc_won_ESP_021 | RaD | 0.14926 | IMPNRGZ
elc_spv_ESP_021 | RaN | 0.0036167 | IMPNRGZ | elc_won_ESP_021 | RaN | 0.13756 | IMPNRGZ
elc_spv_ESP_021 | RaP | 0.020733 | IMPNRGZ | elc_won_ESP_021 | RaP | 0.028869 | IMPNRGZ
elc_spv_ESP_021 | SaD | 0.31099 | IMPNRGZ | elc_won_ESP_021 | SaD | 0.047134 | IMPNRGZ
elc_spv_ESP_021 | SaN | 0.012452 | IMPNRGZ | elc_won_ESP_021 | SaN | 0.015467 | IMPNRGZ
elc_spv_ESP_021 | SaP | 0.035088 | IMPNRGZ | elc_won_ESP_021 | SaP | 0.0061496 | IMPNRGZ
elc_spv_ESP_021 | WaD | 0.15623 | IMPNRGZ | elc_won_ESP_021 | WaD | 0.18622 | IMPNRGZ
elc_spv_ESP_021 | WaN | 0 | IMPNRGZ | elc_won_ESP_021 | WaN | 0.18162 | IMPNRGZ
elc_spv_ESP_021 | WaP | 0.0029309 | IMPNRGZ | elc_won_ESP_021 | WaP | 0.027921 | IMPNRGZ
elc_spv_ESP_022 | FaD | 0.19794 | IMPNRGZ | elc_won_ESP_022 | FaD | 0.11962 | IMPNRGZ
elc_spv_ESP_022 | FaN | 0 | IMPNRGZ | elc_won_ESP_022 | FaN | 0.10651 | IMPNRGZ
elc_spv_ESP_022 | FaP | 0.009901 | IMPNRGZ | elc_won_ESP_022 | FaP | 0.022923 | IMPNRGZ
elc_spv_ESP_022 | RaD | 0.24801 | IMPNRGZ | elc_won_ESP_022 | RaD | 0.14723 | IMPNRGZ
elc_spv_ESP_022 | RaN | 0.004058 | IMPNRGZ | elc_won_ESP_022 | RaN | 0.11744 | IMPNRGZ
elc_spv_ESP_022 | RaP | 0.02639 | IMPNRGZ | elc_won_ESP_022 | RaP | 0.02889 | IMPNRGZ
elc_spv_ESP_022 | SaD | 0.33299 | IMPNRGZ | elc_won_ESP_022 | SaD | 0.038883 | IMPNRGZ
elc_spv_ESP_022 | SaN | 0.012345 | IMPNRGZ | elc_won_ESP_022 | SaN | 0.056626 | IMPNRGZ
elc_spv_ESP_022 | SaP | 0.042674 | IMPNRGZ | elc_won_ESP_022 | SaP | 0.015084 | IMPNRGZ
elc_spv_ESP_022 | WaD | 0.12328 | IMPNRGZ | elc_won_ESP_022 | WaD | 0.16252 | IMPNRGZ
elc_spv_ESP_022 | WaN | 0 | IMPNRGZ | elc_won_ESP_022 | WaN | 0.15644 | IMPNRGZ
elc_spv_ESP_022 | WaP | 0.002404 | IMPNRGZ | elc_won_ESP_022 | WaP | 0.027835 | IMPNRGZ
elc_spv_ESP_023 | FaD | 0.20755 | IMPNRGZ | elc_won_ESP_023 | FaD | 0.13587 | IMPNRGZ
elc_spv_ESP_023 | FaN | 0 | IMPNRGZ | elc_won_ESP_023 | FaN | 0.12939 | IMPNRGZ
elc_spv_ESP_023 | FaP | 0.007881 | IMPNRGZ | elc_won_ESP_023 | FaP | 0.026029 | IMPNRGZ
elc_spv_ESP_023 | RaD | 0.2395 | IMPNRGZ | elc_won_ESP_023 | RaD | 0.13789 | IMPNRGZ
elc_spv_ESP_023 | RaN | 0.003431 | IMPNRGZ | elc_won_ESP_023 | RaN | 0.10056 | IMPNRGZ
elc_spv_ESP_023 | RaP | 0.02075 | IMPNRGZ | elc_won_ESP_023 | RaP | 0.025874 | IMPNRGZ
elc_spv_ESP_023 | SaD | 0.32795 | IMPNRGZ | elc_won_ESP_023 | SaD | 0.066958 | IMPNRGZ
elc_spv_ESP_023 | SaN | 0.012969 | IMPNRGZ | elc_won_ESP_023 | SaN | 0.067887 | IMPNRGZ
elc_spv_ESP_023 | SaP | 0.036583 | IMPNRGZ | elc_won_ESP_023 | SaP | 0.019874 | IMPNRGZ
elc_spv_ESP_023 | WaD | 0.14126 | IMPNRGZ | elc_won_ESP_023 | WaD | 0.13927 | IMPNRGZ
elc_spv_ESP_023 | WaN | 0 | IMPNRGZ | elc_won_ESP_023 | WaN | 0.12633 | IMPNRGZ
elc_spv_ESP_023 | WaP | 0.0021165 | IMPNRGZ | elc_won_ESP_023 | WaP | 0.024077 | IMPNRGZ
elc_spv_ESP_024 | FaD | 0.20834 | IMPNRGZ | elc_won_ESP_024 | FaD | 0.1338 | IMPNRGZ
elc_spv_ESP_024 | FaN | 0 | IMPNRGZ | elc_won_ESP_024 | FaN | 0.13518 | IMPNRGZ
elc_spv_ESP_024 | FaP | 0.0089082 | IMPNRGZ | elc_won_ESP_024 | FaP | 0.027017 | IMPNRGZ
elc_spv_ESP_024 | RaD | 0.2355 | IMPNRGZ | elc_won_ESP_024 | RaD | 0.13634 | IMPNRGZ
elc_spv_ESP_024 | RaN | 0.0038977 | IMPNRGZ | elc_won_ESP_024 | RaN | 0.12039 | IMPNRGZ
elc_spv_ESP_024 | RaP | 0.022748 | IMPNRGZ | elc_won_ESP_024 | RaP | 0.031733 | IMPNRGZ
elc_spv_ESP_024 | SaD | 0.32518 | IMPNRGZ | elc_won_ESP_024 | SaD | 0.071588 | IMPNRGZ
elc_spv_ESP_024 | SaN | 0.01277 | IMPNRGZ | elc_won_ESP_024 | SaN | 0.055734 | IMPNRGZ
elc_spv_ESP_024 | SaP | 0.038467 | IMPNRGZ | elc_won_ESP_024 | SaP | 0.015707 | IMPNRGZ
elc_spv_ESP_024 | WaD | 0.14087 | IMPNRGZ | elc_won_ESP_024 | WaD | 0.1222 | IMPNRGZ
elc_spv_ESP_024 | WaN | 0 | IMPNRGZ | elc_won_ESP_024 | WaN | 0.12483 | IMPNRGZ
elc_spv_ESP_024 | WaP | 0.0033088 | IMPNRGZ | elc_won_ESP_024 | WaP | 0.025478 | IMPNRGZ
elc_spv_ESP_025 | FaD | 0.20344 | IMPNRGZ | elc_won_ESP_025 | FaD | 0.11848 | IMPNRGZ
elc_spv_ESP_025 | FaN | 0 | IMPNRGZ | elc_won_ESP_025 | FaN | 0.10735 | IMPNRGZ
elc_spv_ESP_025 | FaP | 0.0083619 | IMPNRGZ | elc_won_ESP_025 | FaP | 0.023593 | IMPNRGZ
elc_spv_ESP_025 | RaD | 0.24222 | IMPNRGZ | elc_won_ESP_025 | RaD | 0.19613 | IMPNRGZ
elc_spv_ESP_025 | RaN | 0.0039064 | IMPNRGZ | elc_won_ESP_025 | RaN | 0.12922 | IMPNRGZ
elc_spv_ESP_025 | RaP | 0.022774 | IMPNRGZ | elc_won_ESP_025 | RaP | 0.047862 | IMPNRGZ
elc_spv_ESP_025 | SaD | 0.33131 | IMPNRGZ | elc_won_ESP_025 | SaD | 0.071299 | IMPNRGZ
elc_spv_ESP_025 | SaN | 0.012912 | IMPNRGZ | elc_won_ESP_025 | SaN | 0.024632 | IMPNRGZ
elc_spv_ESP_025 | SaP | 0.036983 | IMPNRGZ | elc_won_ESP_025 | SaP | 0.015311 | IMPNRGZ
elc_spv_ESP_025 | WaD | 0.13527 | IMPNRGZ | elc_won_ESP_025 | WaD | 0.12058 | IMPNRGZ
elc_spv_ESP_025 | WaN | 0 | IMPNRGZ | elc_won_ESP_025 | WaN | 0.12075 | IMPNRGZ
elc_spv_ESP_025 | WaP | 0.0028256 | IMPNRGZ | elc_won_ESP_025 | WaP | 0.024803 | IMPNRGZ
elc_spv_ESP_026 | FaD | 0.19933 | IMPNRGZ
elc_spv_ESP_026 | FaN | 0 | IMPNRGZ
elc_spv_ESP_026 | FaP | 0.0071541 | IMPNRGZ
elc_spv_ESP_026 | RaD | 0.2495 | IMPNRGZ
elc_spv_ESP_026 | RaN | 0.0033457 | IMPNRGZ
elc_spv_ESP_026 | RaP | 0.019518 | IMPNRGZ
elc_spv_ESP_026 | SaD | 0.33301 | IMPNRGZ
elc_spv_ESP_026 | SaN | 0.011425 | IMPNRGZ
elc_spv_ESP_026 | SaP | 0.032894 | IMPNRGZ
elc_spv_ESP_026 | WaD | 0.1418 | IMPNRGZ
elc_spv_ESP_026 | WaN | 0 | IMPNRGZ
elc_spv_ESP_026 | WaP | 0.0020217 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT | [13 empty] | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX | [13 empty] | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX | [13 empty] | ~TFM_DINS-TSL: attribute=NCAP_PKCNT | [12 empty] | ~TFM_DINS-AT
process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | other_indexes | ncap_com
distr_solelc_spv_ESP_001 | DEF_E | 0 | 0.3585 | 0.64415 | 0.94359 | 0.25317 | 0.25651 | 0.86506 | 0.18423 | 0.16046 | 0.997 | 0.30553 | 0.47305 | distr_sol* | ELC4H | 0 | 0.085115 | 0.014998 | 0.42636 | 0.049528 | 0.0025583 | 0.47327 | 0.028213 | 0.0037322 | 0 | 0.057885 | 0.0070837 | distr_sol* | ELC8H | 0 | 0.059002 | 0.31652 | 0.022056 | 0.040311 | 0.039348 | 0 | 0.013655 | 0.050712 | 0 | 0.045179 | 0.19053 | distr_solelc_spv_ESP_001 | 0 | 0.22821 | 0.068524 | 0.0084456 | 0.38033 | 0.27878 | 0.02479 | 0.48227 | 0.40338 | 0.00050366 | 0.29692 | 0.14287 | distr_solelc_spv_ESP_001 | DEF_C | OUT | 0.48227
distr_solelc_spv_ESP_002 | DEF_E | 0 | 0.37876 | 0.58351 | 0.93187 | 0.26375 | 0.26281 | 0.85789 | 0.19899 | 0.1685 | 0.99401 | 0.33334 | 0.43748 | distr_won* | ELC4H | 0.0025108 | 0.0035354 | 0.0041016 | 0.00083416 | 0.012372 | 0.0024587 | 0.0097185 | 0.071649 | 0 | 0.0029227 | 0.0050084 | 0.00082104 | distr_won* | ELC8H | 0.013812 | 0.0054718 | 0.027403 | 0.014455 | 0.015829 | 0.021569 | 0.028941 | 0.04005 | 0.055869 | 0.017503 | 0.014262 | 0.027997 | distr_solelc_spv_ESP_002 | 0 | 0.21163 | 0.074027 | 0.0086225 | 0.36624 | 0.27089 | 0.025101 | 0.47179 | 0.40532 | 0.0011268 | 0.27692 | 0.15395 | distr_solelc_spv_ESP_002 | DEF_C | OUT | 0.47179
distr_solelc_spv_ESP_003 | DEF_E | 0 | 0.364 | 0.51385 | 0.93861 | 0.24368 | 0.25282 | 0.8568 | 0.1214 | 0.12078 | 0.99401 | 0.2842 | 0.39248 | distr_wof* | ELC4H | 0.00050755 | 0.0015447 | 0.0010882 | 0.00014282 | 0.0026317 | 0.0034312 | 0.0016074 | 0.0023479 | 0.0014627 | 0.0001398 | 0.00042072 | 9.855e-05 | distr_wof* | ELC8H | 0.006829 | 0.0041503 | 0.011579 | 0.0093823 | 0.0059297 | 0.011099 | 0.0044482 | 0.0060438 | 0.0034492 | 0.0014805 | 0.0032434 | 0.0016508 | distr_solelc_spv_ESP_003 | 0 | 0.26588 | 0.12687 | 0.012323 | 0.42732 | 0.32323 | 0.032985 | 0.58098 | 0.46277 | 0.0012187 | 0.37419 | 0.22361 | distr_solelc_spv_ESP_003 | DEF_C | OUT | 0.58098
distr_solelc_spv_ESP_004 | DEF_E | 0 | 0.34428 | 0.61759 | 0.94478 | 0.2348 | 0.2557 | 0.86796 | 0.13377 | 0.13983 | 0.997 | 0.2661 | 0.43455 | [28 empty] | distr_solelc_spv_ESP_004 | 0 | 0.27152 | 0.081844 | 0.0099791 | 0.42679 | 0.31213 | 0.027075 | 0.54947 | 0.42483 | 0.00028963 | 0.36327 | 0.1823 | distr_solelc_spv_ESP_004 | DEF_C | OUT | 0.54947
distr_solelc_spv_ESP_005 | DEF_E | 0 | 0.37414 | 0.51316 | 0.93334 | 0.25602 | 0.26242 | 0.8554 | 0.16613 | 0.14437 | 0.99401 | 0.31648 | 0.40955 | [28 empty] | distr_solelc_spv_ESP_005 | 0 | 0.22358 | 0.099981 | 0.010642 | 0.38261 | 0.29163 | 0.029714 | 0.52375 | 0.43893 | 0.0013756 | 0.30435 | 0.18761 | distr_solelc_spv_ESP_005 | DEF_C | OUT | 0.52375
distr_solelc_spv_ESP_006 | DEF_E | 0 | 0.29083 | 0.75356 | 0.95256 | 0.21748 | 0.26625 | 0.88104 | 0.12332 | 0.14283 | 0 | 0.24301 | 0.5541 | [28 empty] | distr_solelc_spv_ESP_006 | 0 | 0.30417 | 0.0578 | 0.0046955 | 0.43526 | 0.2634 | 0.017336 | 0.52718 | 0.34966 | 0 | 0.35507 | 0.11827 | distr_solelc_spv_ESP_006 | DEF_C | OUT | 0.50784
distr_solelc_spv_ESP_007 | DEF_E | 0 | 0.28744 | 0.70964 | 0.95561 | 0.20054 | 0.24241 | 0.89097 | 0.13019 | 0.13403 | 0 | 0.2335 | 0.5073 | [28 empty] | distr_solelc_spv_ESP_007 | 0 | 0.3258 | 0.075889 | 0.0063755 | 0.48465 | 0.31607 | 0.016649 | 0.53627 | 0.36933 | 0 | 0.38342 | 0.14983 | distr_solelc_spv_ESP_007 | DEF_C | OUT | 0.531
distr_solelc_spv_ESP_008 | DEF_E | 0 | 0.32344 | 0.64717 | 0.94892 | 0.22368 | 0.25443 | 0.87661 | 0.12611 | 0.12484 | 0.999 | 0.25738 | 0.46042 | [28 empty] | distr_solelc_spv_ESP_008 | 0 | 0.29299 | 0.08402 | 0.0099313 | 0.44641 | 0.321 | 0.024956 | 0.55685 | 0.43026 | 3.6604e-06 | 0.37472 | 0.17379 | distr_solelc_spv_ESP_008 | DEF_C | OUT | 0.55685
distr_solelc_spv_ESP_009 | DEF_E | 0 | 0.29491 | 0.60947 | 0.95158 | 0.18994 | 0.22456 | 0.91266 | 0.12172 | 0.13602 | 0 | 0.22777 | 0.42742 | [28 empty] | distr_solelc_spv_ESP_009 | 0 | 0.34248 | 0.11236 | 0.0090533 | 0.49773 | 0.33387 | 0.018176 | 0.55196 | 0.38604 | 0 | 0.4074 | 0.17583 | distr_solelc_spv_ESP_009 | DEF_C | OUT | 0.55196
distr_solelc_spv_ESP_010 | DEF_E | 0 | 0.30757 | 0.62212 | 0.94933 | 0.20222 | 0.23709 | 0.88683 | 0.11711 | 0.13979 | 0 | 0.24064 | 0.43189 | [28 empty] | distr_solelc_spv_ESP_010 | 0 | 0.31805 | 0.097303 | 0.010086 | 0.47987 | 0.33495 | 0.020815 | 0.56442 | 0.40719 | 0 | 0.40816 | 0.19278 | distr_solelc_spv_ESP_010 | DEF_C | OUT | 0.56442
distr_solelc_spv_ESP_011 | DEF_E | 0 | 0.29395 | 0.66481 | 0.95353 | 0.19453 | 0.23215 | 0.90858 | 0.11952 | 0.13697 | 0 | 0.2309 | 0.4682 | [28 empty] | distr_solelc_spv_ESP_011 | 0 | 0.33822 | 0.095266 | 0.0088509 | 0.50002 | 0.33677 | 0.018096 | 0.55687 | 0.39178 | 0 | 0.41222 | 0.18144 | distr_solelc_spv_ESP_011 | DEF_C | OUT | 0.55687
distr_solelc_spv_ESP_012 | DEF_E | 0 | 0.33604 | 0.48039 | 0.94117 | 0.21835 | 0.21548 | 0.86599 | 0.11407 | 0.091463 | 0.99401 | 0.23747 | 0.35494 | [28 empty] | distr_solelc_spv_ESP_012 | 0 | 0.31408 | 0.15317 | 0.011937 | 0.459 | 0.33501 | 0.028593 | 0.58382 | 0.47045 | 0.00072581 | 0.41786 | 0.23352 | distr_solelc_spv_ESP_012 | DEF_C | OUT | 0.58382
distr_solelc_spv_ESP_013 | DEF_E | 0 | 0.33015 | 0.51453 | 0.94301 | 0.21595 | 0.24472 | 0.87465 | 0.12053 | 0.12591 | 0.997 | 0.25418 | 0.37575 | [28 empty] | distr_solelc_spv_ESP_013 | 0 | 0.30626 | 0.1214 | 0.010713 | 0.45912 | 0.31984 | 0.024443 | 0.56506 | 0.41423 | 0.00024814 | 0.39821 | 0.20887 | distr_solelc_spv_ESP_013 | DEF_C | OUT | 0.56506
distr_solelc_spv_ESP_014 | DEF_E | 0 | 0.31224 | 0.44192 | 0.94142 | 0.20774 | 0.19375 | 0.89909 | 0.11603 | 0.10219 | 0.995 | 0.22249 | 0.33817 | [28 empty] | distr_solelc_spv_ESP_014 | 0 | 0.34181 | 0.17106 | 0.011663 | 0.4768 | 0.34959 | 0.023618 | 0.58767 | 0.45188 | 0.00034896 | 0.43184 | 0.2212 | distr_solelc_spv_ESP_014 | DEF_C | OUT | 0.58767
distr_solelc_spv_ESP_015 | DEF_E | 0 | 0.29688 | 0.47247 | 0.94982 | 0.19198 | 0.21056 | 0.91029 | 0.12251 | 0.13226 | 0 | 0.21368 | 0.36221 | [28 empty] | distr_solelc_spv_ESP_015 | 0 | 0.35125 | 0.15812 | 0.0098642 | 0.4914 | 0.33701 | 0.019467 | 0.56954 | 0.40362 | 0 | 0.41858 | 0.20565 | distr_solelc_spv_ESP_015 | DEF_C | OUT | 0.56954
distr_solelc_spv_ESP_016 | DEF_E | 0 | 0.27555 | 0.42914 | 0.94654 | 0.18307 | 0.16999 | 0.90925 | 0.11847 | 0.096407 | 0.999 | 0.20445 | 0.34685 | [28 empty] | distr_solelc_spv_ESP_016 | 0 | 0.3683 | 0.1759 | 0.010422 | 0.51289 | 0.37607 | 0.02126 | 0.58434 | 0.45187 | 2.2717e-06 | 0.4301 | 0.20756 | distr_solelc_spv_ESP_016 | DEF_C | OUT | 0.58434
distr_solelc_spv_ESP_017 | DEF_E | 0 | 0.2959 | 0.80554 | 0.96542 | 0.18562 | 0.26887 | 0.88593 | 0.076098 | 0.10719 | 0 | 0.19408 | 0.65547 | [28 empty] | distr_solelc_spv_ESP_017 | 0 | 0.35039 | 0.056351 | 0.0050817 | 0.49693 | 0.25875 | 0.020255 | 0.62148 | 0.40839 | 0 | 0.44694 | 0.09542 | distr_solelc_spv_ESP_017 | DEF_C | OUT | 0.52555
distr_solelc_spv_ESP_018 | DEF_E | 0 | 0.27099 | 0.79571 | 0.96943 | 0.16761 | 0.26388 | 0.8894 | 0.076069 | 0.11009 | 0 | 0.17549 | 0.66948 | [28 empty] | distr_solelc_spv_ESP_018 | 0 | 0.36495 | 0.055257 | 0.0044323 | 0.51606 | 0.25932 | 0.017458 | 0.62489 | 0.40295 | 0 | 0.46034 | 0.092893 | distr_solelc_spv_ESP_018 | DEF_C | OUT | 0.51606
distr_solelc_spv_ESP_019 | DEF_E | 0 | 0.3265 | 0.8267 | 0.95766 | 0.20086 | 0.27929 | 0.87793 | 0.078359 | 0.10753 | 0 | 0.20747 | 0.67358 | [28 empty] | distr_solelc_spv_ESP_019 | 0 | 0.32197 | 0.047993 | 0.0064865 | 0.48761 | 0.24762 | 0.022509 | 0.62303 | 0.41018 | 0 | 0.43707 | 0.09874 | distr_solelc_spv_ESP_019 | DEF_C | OUT | 0.56475
distr_solelc_spv_ESP_020 | DEF_E | 0 | 0.31872 | 0.84889 | 0.96768 | 0.19539 | 0.31273 | 0.88355 | 0.079066 | 0.1176 | 0 | 0.18921 | 0.72071 | [28 empty] | distr_solelc_spv_ESP_020 | 0 | 0.33325 | 0.035897 | 0.0068984 | 0.4794 | 0.22407 | 0.021893 | 0.61728 | 0.37941 | 0 | 0.45356 | 0.084511 | distr_solelc_spv_ESP_020 | DEF_C | OUT | 0.53531
distr_solelc_spv_ESP_021 | DEF_E | 0 | 0.3114 | 0.85298 | 0.95931 | 0.20262 | 0.32245 | 0.87415 | 0.077327 | 0.11401 | 0 | 0.21304 | 0.71264 | [28 empty] | distr_solelc_spv_ESP_021 | 0 | 0.32146 | 0.03317 | 0.0072803 | 0.47661 | 0.22954 | 0.025065 | 0.626 | 0.38847 | 0 | 0.43424 | 0.08747 | distr_solelc_spv_ESP_021 | DEF_C | OUT | 0.56928
distr_solelc_spv_ESP_022 | DEF_E | 0 | 0.38151 | 0.83526 | 0.94944 | 0.2323 | 0.3024 | 0.87207 | 0.143 | 0.15462 | 0 | 0.27237 | 0.66891 | [28 empty] | distr_solelc_spv_ESP_022 | 0 | 0.20679 | 0.022178 | 0.0066587 | 0.40696 | 0.23816 | 0.020256 | 0.5464 | 0.38512 | 0 | 0.32837 | 0.090337 | distr_solelc_spv_ESP_022 | DEF_C | OUT | 0.52465
distr_solelc_spv_ESP_023 | DEF_E | 0 | 0.31043 | 0.87083 | 0.95465 | 0.20201 | 0.33367 | 0.87199 | 0.085756 | 0.13332 | 0 | 0.24224 | 0.73131 | [28 empty] | distr_solelc_spv_ESP_023 | 0 | 0.27335 | 0.022526 | 0.0064949 | 0.45339 | 0.21604 | 0.02455 | 0.62082 | 0.38089 | 0 | 0.39722 | 0.082956 | distr_solelc_spv_ESP_023 | DEF_C | OUT | 0.54734
distr_solelc_spv_ESP_024 | DEF_E | 0 | 0.34392 | 0.83027 | 0.9539 | 0.2244 | 0.32435 | 0.87155 | 0.080084 | 0.11506 | 0 | 0.23763 | 0.69901 | [28 empty] | distr_solelc_spv_ESP_024 | 0 | 0.27936 | 0.036089 | 0.0075616 | 0.45688 | 0.24272 | 0.024775 | 0.63086 | 0.41045 | 0 | 0.40863 | 0.096096 | distr_solelc_spv_ESP_024 | DEF_C | OUT | 0.55789
distr_solelc_spv_ESP_025 | DEF_E | 0 | 0.34316 | 0.85866 | 0.94651 | 0.21694 | 0.32254 | 0.87183 | 0.10007 | 0.15067 | 0 | 0.25108 | 0.70286 | [28 empty] | distr_solelc_spv_ESP_025 | 0 | 0.25154 | 0.028898 | 0.0071058 | 0.44062 | 0.22785 | 0.023487 | 0.60266 | 0.37001 | 0 | 0.37413 | 0.084578 | distr_solelc_spv_ESP_025 | DEF_C | OUT | 0.56825
distr_solelc_spv_ESP_026 | DEF_E | 0 | 0.3209 | 0.88012 | 0.94835 | 0.21216 | 0.34009 | 0.86779 | 0.13095 | 0.20206 | 0 | 0.26286 | 0.72419 | [28 empty] | distr_solelc_spv_ESP_026 | 0 | 0.2388 | 0.018726 | 0.0055119 | 0.41105 | 0.17686 | 0.018823 | 0.54862 | 0.29806 | 0 | 0.33201 | 0.065537 | distr_solelc_spv_ESP_026 | DEF_C | OUT | 0.51466
distr_wofelc_wof_ESP_001 | DEF_E | 0.35654 | 0.37999 | 0.34803 | 0.38005 | 0.38287 | 0.32072 | 0.41556 | 0.40319 | 0.40757 | 0.45804 | 0.45705 | 0.41734 | [28 empty] | distr_wofelc_wof_ESP_001 | 0.38473 | 0.3654 | 0.40531 | 0.36408 | 0.36782 | 0.47424 | 0.18459 | 0.22245 | 0.26996 | 0.20094 | 0.1956 | 0.23767 | distr_wonelc_won_ESP_001 | DEF_C | OUT | 0.3109
distr_wofelc_wof_ESP_002 | DEF_E | 0.36284 | 0.384 | 0.38336 | 0.37207 | 0.39685 | 0.34175 | 0.41829 | 0.37884 | 0.36057 | 0.46263 | 0.4706 | 0.45283 | [28 empty] | distr_wofelc_wof_ESP_002 | 0.43729 | 0.41773 | 0.42773 | 0.35491 | 0.34646 | 0.46184 | 0.1212 | 0.14033 | 0.18291 | 0.20813 | 0.19783 | 0.22595 | distr_wonelc_won_ESP_002 | DEF_C | OUT | 0.20619
distr_wofelc_wof_ESP_003 | DEF_E | 0.41129 | 0.42517 | 0.43551 | 0.37825 | 0.40363 | 0.3489 | 0.45741 | 0.42581 | 0.35861 | 0.48256 | 0.47549 | 0.39982 | [28 empty] | distr_wofelc_wof_ESP_003 | 0.407 | 0.39704 | 0.35972 | 0.36501 | 0.33444 | 0.42184 | 0.08867 | 0.091763 | 0.14869 | 0.2237 | 0.20093 | 0.21105 | distr_wonelc_won_ESP_003 | DEF_C | OUT | 0.2336
distr_wofelc_wof_ESP_004 | DEF_E | 0.39714 | 0.39787 | 0.40642 | 0.37 | 0.38877 | 0.39504 | 0.45516 | 0.4545 | 0.42663 | 0.44987 | 0.44228 | 0.48251 | [28 empty] | distr_wofelc_wof_ESP_004 | 0.43686 | 0.44177 | 0.40924 | 0.40063 | 0.37954 | 0.3755 | 0.10751 | 0.11283 | 0.10583 | 0.25658 | 0.24222 | 0.21901 | distr_wonelc_won_ESP_004 | DEF_C | OUT | 0.26294
distr_wofelc_wof_ESP_005 | DEF_E | 0.43395 | 0.46385 | 0.44797 | 0.42941 | 0.40498 | 0.33147 | 0.56849 | 0.45943 | 0.36568 | 0.52588 | 0.47727 | 0.46563 | [28 empty] | distr_wofelc_wof_ESP_005 | 0.35354 | 0.35304 | 0.3594 | 0.30988 | 0.31165 | 0.36184 | 0.083547 | 0.083831 | 0.12543 | 0.24194 | 0.22671 | 0.24167 | distr_wonelc_won_ESP_005 | DEF_C | OUT | 0.29238
distr_wofelc_wof_ESP_006 | DEF_E | 0.50186 | 0.5233 | 0.49929 | 0.48474 | 0.48997 | 0.43064 | 0.63918 | 0.52176 | 0.51496 | 0.55043 | 0.53314 | 0.52557 | [28 empty] | distr_wofelc_wof_ESP_006 | 0.27281 | 0.2473 | 0.26291 | 0.27231 | 0.29381 | 0.40006 | 0.062707 | 0.069476 | 0.079176 | 0.21718 | 0.19026 | 0.23895 | distr_wonelc_won_ESP_006 | DEF_C | OUT | 0.24465
distr_wofelc_wof_ESP_007 | DEF_E | 0.35584 | 0.38267 | 0.41381 | 0.37818 | 0.38493 | 0.39714 | 0.50924 | 0.51075 | 0.52436 | 0.41254 | 0.42522 | 0.41094 | [28 empty] | distr_wofelc_wof_ESP_007 | 0.4689 | 0.45292 | 0.4337 | 0.40247 | 0.40274 | 0.37307 | 0.16043 | 0.19193 | 0.13083 | 0.37782 | 0.39319 | 0.37296 | distr_wonelc_won_ESP_007 | DEF_C | OUT | 0.20068
distr_wofelc_wof_ESP_008 | DEF_E | 0.44083 | 0.44339 | 0.46037 | 0.42278 | 0.42411 | 0.41402 | 0.51713 | 0.49971 | 0.41951 | 0.46276 | 0.46397 | 0.44588 | [28 empty] | distr_wofelc_wof_ESP_008 | 0.37055 | 0.37776 | 0.34007 | 0.34034 | 0.32387 | 0.33035 | 0.097062 | 0.12817 | 0.10993 | 0.29694 | 0.31146 | 0.30146 | distr_wonelc_won_ESP_008 | DEF_C | OUT | 0.18002
distr_wofelc_wof_ESP_009 | DEF_E | 0.3385 | 0.35296 | 0.31225 | 0.35337 | 0.35961 | 0.33581 | 0.4263 | 0.44811 | 0.48063 | 0.4191 | 0.44803 | 0.42955 | [28 empty] | distr_wofelc_wof_ESP_009 | 0.42472 | 0.41871 | 0.46083 | 0.37823 | 0.3874 | 0.44281 | 0.21724 | 0.23311 | 0.22798 | 0.23764 | 0.24264 | 0.26934 | distr_wonelc_won_ESP_009 | DEF_C | OUT | 0.26867
distr_wofelc_wof_ESP_010 | DEF_E | 0.31518 | 0.33422 | 0.30497 | 0.36576 | 0.35369 | 0.33929 | 0.44479 | 0.4289 | 0.43953 | 0.44211 | 0.43269 | 0.42444 | [28 empty] | distr_wofelc_wof_ESP_010 | 0.48353 | 0.46546 | 0.50954 | 0.47324 | 0.45208 | 0.49687 | 0.29583 | 0.32504 | 0.32612 | 0.29695 | 0.29229 | 0.32221 | distr_wonelc_won_ESP_010 | DEF_C | OUT | 0.25103
distr_wofelc_wof_ESP_011 | DEF_E | 0.40569 | 0.47127 | 0.47148 | 0.36525 | 0.45003 | 0.33935 | 0.43617 | 0.47225 | 0.26738 | 0.42116 | 0.47843 | 0.35404 | [28 empty] | distr_wofelc_wof_ESP_011 | 0.31382 | 0.26119 | 0.28523 | 0.35865 | 0.31038 | 0.42672 | 0.22303 | 0.12687 | 0.2856 | 0.20918 | 0.17096 | 0.20821 | distr_wonelc_won_ESP_011 | DEF_C | OUT | 0.1904
distr_wofelc_wof_ESP_012 | DEF_E | 0.35734 | 0.39855 | 0.36985 | 0.31907 | 0.37119 | 0.30442 | 0.33648 | 0.41395 | 0.27992 | 0.36963 | 0.39047 | 0.34296 | [28 empty] | distr_wofelc_wof_ESP_012 | 0.43668 | 0.39564 | 0.43882 | 0.43295 | 0.39601 | 0.47146 | 0.40366 | 0.33427 | 0.4325 | 0.34306 | 0.30517 | 0.34639 | distr_wonelc_won_ESP_012 | DEF_C | OUT | 0.30017
distr_wofelc_wof_ESP_013 | DEF_E | 0.36565 | 0.37254 | 0.36557 | 0.35823 | 0.33778 | 0.37051 | 0.43601 | 0.43646 | 0.39955 | 0.40794 | 0.38511 | 0.40033 | [28 empty] | distr_wofelc_wof_ESP_013 | 0.41295 | 0.38739 | 0.40004 | 0.29429 | 0.30259 | 0.30278 | 0.16837 | 0.19493 | 0.20958 | 0.2742 | 0.29203 | 0.2864 | distr_wonelc_won_ESP_013 | DEF_C | OUT | 0.47646
distr_wofelc_wof_ESP_014 | DEF_E | 0.33755 | 0.37319 | 0.33896 | 0.35708 | 0.36149 | 0.35466 | 0.35881 | 0.41355 | 0.27883 | 0.36829 | 0.38185 | 0.38127 | [28 empty] | distr_wofelc_wof_ESP_014 | 0.43485 | 0.40468 | 0.39373 | 0.33609 | 0.35375 | 0.36721 | 0.16238 | 0.15437 | 0.22375 | 0.34244 | 0.32409 | 0.34908 | distr_wonelc_won_ESP_014 | DEF_C | OUT | 0.31094
distr_wofelc_wof_ESP_015 | DEF_E | 0.28895 | 0.31988 | 0.31807 | 0.30755 | 0.32936 | 0.27177 | 0.38481 | 0.41579 | 0.32342 | 0.26608 | 0.31093 | 0.27855 | [28 empty] | distr_wofelc_wof_ESP_015 | 0.55719 | 0.51903 | 0.55221 | 0.50058 | 0.48122 | 0.50808 | 0.39393 | 0.36286 | 0.40082 | 0.57801 | 0.53118 | 0.53982 | distr_wonelc_won_ESP_015 | DEF_C | OUT | 0.18915
distr_wofelc_wof_ESP_016 | DEF_E | 0.32301 | 0.36297 | 0.29875 | 0.28313 | 0.28633 | 0.26543 | 0.41647 | 0.40643 | 0.37431 | 0.29162 | 0.31895 | 0.25879 | [28 empty] | distr_wofelc_wof_ESP_016 | 0.49851 | 0.48245 | 0.52716 | 0.55533 | 0.5408 | 0.61292 | 0.38698 | 0.34507 | 0.4655 | 0.51873 | 0.49346 | 0.5706 | distr_wonelc_won_ESP_016 | DEF_C | OUT | 0.40454
distr_wofelc_wof_ESP_017 | DEF_E | 0.3256 | 0.35252 | 0.34087 | 0.35858 | 0.34243 | 0.34793 | 0.36979 | 0.36294 | 0.33803 | 0.3744 | 0.35178 | 0.37026 | [28 empty] | distr_wofelc_wof_ESP_017 | 0.4749 | 0.4577 | 0.4695 | 0.36149 | 0.36742 | 0.35682 | 0.27078 | 0.28738 | 0.32975 | 0.36716 | 0.39041 | 0.38244 | distr_wonelc_won_ESP_017 | DEF_C | OUT | 0.33956
distr_wofelc_wof_ESP_018 | DEF_E | 0.25443 | 0.28443 | 0.24587 | 0.25411 | 0.24859 | 0.22846 | 0.31789 | 0.28339 | 0.27605 | 0.26592 | 0.26089 | 0.26585 | [28 empty] | distr_wofelc_wof_ESP_018 | 0.59348 | 0.56847 | 0.60681 | 0.55546 | 0.54154 | 0.58743 | 0.5061 | 0.53165 | 0.56897 | 0.57131 | 0.57626 | 0.57809 | distr_wonelc_won_ESP_018 | DEF_C | OUT | 0.29021
distr_wonelc_won_ESP_001 | DEF_E | 0.43463 | 0.48983 | 0.45941 | 0.35145 | 0.44041 | 0.3891 | 0.321 | 0.49604 | 0.4597 | 0.36487 | 0.50119 | 0.44856 | [28 empty] | distr_wonelc_won_ESP_001 | 0.30768 | 0.26979 | 0.28542 | 0.29037 | 0.26635 | 0.3109 | 0.18535 | 0.069397 | 0.11617 | 0.18447 | 0.12821 | 0.1612 | distr_wonelc_won_ESP_019 | DEF_C | OUT | 0.23199
distr_wonelc_won_ESP_002 | DEF_E | 0.4749 | 0.52025 | 0.49443 | 0.39107 | 0.46021 | 0.4176 | 0.38719 | 0.50321 | 0.36962 | 0.42024 | 0.49762 | 0.45517 | [28 empty] | distr_wonelc_won_ESP_002 | 0.18125 | 0.16329 | 0.19119 | 0.17012 | 0.19245 | 0.20619 | 0.12027 | 0.048989 | 0.08949 | 0.15036 | 0.12091 | 0.14905 | distr_wonelc_won_ESP_020 | DEF_C | OUT | 0.36176
distr_wonelc_won_ESP_003 | DEF_E | 0.50315 | 0.53371 | 0.48408 | 0.39096 | 0.45987 | 0.40835 | 0.38711 | 0.5489 | 0.47443 | 0.42116 | 0.51488 | 0.47758 | [28 empty] | distr_wonelc_won_ESP_003 | 0.19859 | 0.19891 | 0.20272 | 0.16639 | 0.19841 | 0.23392 | 0.12464 | 0.065389 | 0.096897 | 0.13418 | 0.1147 | 0.15329 | distr_wonelc_won_ESP_021 | DEF_C | OUT | 0.26087
distr_wonelc_won_ESP_004 | DEF_E | 0.38638 | 0.39921 | 0.33783 | 0.36489 | 0.36788 | 0.33101 | 0.42395 | 0.42057 | 0.44522 | 0.41311 | 0.41384 | 0.39443 | [28 empty] | distr_wonelc_won_ESP_004 | 0.24742 | 0.25973 | 0.25779 | 0.19435 | 0.2379 | 0.26383 | 0.10422 | 0.13076 | 0.12781 | 0.11112 | 0.12594 | 0.14081 | distr_wonelc_won_ESP_022 | DEF_C | OUT | 0.34895
distr_wonelc_won_ESP_005 | DEF_E | 0.40485 | 0.44472 | 0.40734 | 0.35655 | 0.46118 | 0.34964 | 0.28239 | 0.4158 | 0.19549 | 0.35579 | 0.45557 | 0.28251 | [28 empty] | distr_wonelc_won_ESP_005 | 0.26309 | 0.21772 | 0.22961 | 0.22855 | 0.23006 | 0.29977 | 0.14225 | 0.081633 | 0.19088 | 0.16696 | 0.13459 | 0.18731 | distr_wonelc_won_ESP_023 | DEF_C | OUT | 0.25962
distr_wonelc_won_ESP_006 | DEF_E | 0.52557 | 0.55017 | 0.51696 | 0.43187 | 0.5308 | 0.43367 | 0.35406 | 0.54283 | 0.30455 | 0.44487 | 0.57525 | 0.40601 | [28 empty] | distr_wonelc_won_ESP_006 | 0.19588 | 0.16669 | 0.17325 | 0.17636 | 0.17931 | 0.24561 | 0.10972 | 0.046485 | 0.13574 | 0.11305 | 0.084312 | 0.13829 | distr_wonelc_won_ESP_024 | DEF_C | OUT | 0.29857
distr_wonelc_won_ESP_007 | DEF_E | 0.5505 | 0.55577 | 0.52021 | 0.4628 | 0.49326 | 0.44447 | 0.31458 | 0.51558 | 0.31229 | 0.44982 | 0.56196 | 0.40918 | [28 empty] | distr_wonelc_won_ESP_007 | 0.16125 | 0.15434 | 0.15803 | 0.13518 | 0.15048 | 0.20278 | 0.051567 | 0.036314 | 0.082313 | 0.059204 | 0.054243 | 0.077827 | distr_wonelc_won_ESP_025 | DEF_C | OUT | 0.18481
distr_wonelc_won_ESP_008 | DEF_E | 0.52884 | 0.56103 | 0.5164 | 0.45799 | 0.50015 | 0.461 | 0.47213 | 0.54751 | 0.43103 | 0.4832 | 0.55266 | 0.48012 | [28 empty] | distr_wonelc_won_ESP_008 | 0.15758 | 0.14677 | 0.17739 | 0.14141 | 0.16259 | 0.18002 | 0.093742 | 0.05829 | 0.081093 | 0.069292 | 0.060016 | 0.078091 | distr_wofelc_wof_ESP_001 | DEF_C | OUT | 0.47424
distr_wonelc_won_ESP_009 | DEF_E | 0.432 | 0.5013 | 0.4521 | 0.37676 | 0.46378 | 0.40533 | 0.29169 | 0.52125 | 0.35383 | 0.3764 | 0.52297 | 0.3556 | [28 empty] | distr_wonelc_won_ESP_009 | 0.26751 | 0.21836 | 0.26021 | 0.24262 | 0.23221 | 0.26994 | 0.14041 | 0.047381 | 0.12206 | 0.16469 | 0.12422 | 0.16172 | distr_wofelc_wof_ESP_002 | DEF_C | OUT | 0.4561
distr_wonelc_won_ESP_010 | DEF_E | 0.48751 | 0.5304 | 0.49194 | 0.41917 | 0.46071 | 0.4342 | 0.33363 | 0.50212 | 0.35827 | 0.41968 | 0.54022 | 0.39568 | [28 empty] | distr_wonelc_won_ESP_010 | 0.24815 | 0.21457 | 0.23602 | 0.20873 | 0.22233 | 0.25131 | 0.10128 | 0.054069 | 0.098399 | 0.13352 | 0.11209 | 0.13254 | distr_wofelc_wof_ESP_003 | DEF_C | OUT | 0.41045
distr_wonelc_won_ESP_011 | DEF_E | 0.4567 | 0.46514 | 0.47644 | 0.42708 | 0.43836 | 0.38779 | 0.38059 | 0.39048 | 0.2404 | 0.46472 | 0.4562 | 0.38696 | [28 empty] | distr_wonelc_won_ESP_011 | 0.18272 | 0.18716 | 0.1905 | 0.12174 | 0.17194 | 0.15781 | 0.03572 | 0.052749 | 0.072061 | 0.11184 | 0.14608 | 0.13048 | distr_wofelc_wof_ESP_004 | DEF_C | OUT | 0.44177
distr_wonelc_won_ESP_012 | DEF_E | 0.36771 | 0.39428 | 0.38938 | 0.40443 | 0.3917 | 0.37052 | 0.45031 | 0.43241 | 0.29058 | 0.42127 | 0.3949 | 0.39691 | [28 empty] | distr_wonelc_won_ESP_012 | 0.28906 | 0.30023 | 0.28045 | 0.20412 | 0.27365 | 0.25329 | 0.049237 | 0.084905 | 0.10964 | 0.20865 | 0.22908 | 0.21838 | distr_wofelc_wof_ESP_005 | DEF_C | OUT | 0.36184
distr_wonelc_won_ESP_013 | DEF_E | 0.35526 | 0.36634 | 0.32583 | 0.31798 | 0.31046 | 0.27713 | 0.40996 | 0.39204 | 0.32429 | 0.33488 | 0.33022 | 0.28292 | [28 empty] | distr_wonelc_won_ESP_013 | 0.38311 | 0.40031 | 0.41522 | 0.39721 | 0.42308 | 0.47953 | 0.28462 | 0.27808 | 0.36768 | 0.39938 | 0.41143 | 0.44246 | distr_wofelc_wof_ESP_006 | DEF_C | OUT | 0.40006
distr_wonelc_won_ESP_014 | DEF_E | 0.40548 | 0.45435 | 0.43653 | 0.31434 | 0.43459 | 0.34415 | 0.29364 | 0.44201 | 0.32027 | 0.32309 | 0.46215 | 0.35284 | [28 empty] | distr_wonelc_won_ESP_014 | 0.31095 | 0.28804 | 0.30378 | 0.27801 | 0.28255 | 0.30187 | 0.21436 | 0.094116 | 0.21163 | 0.23106 | 0.21301 | 0.24474 | distr_wofelc_wof_ESP_007 | DEF_C | OUT | 0.4689
distr_wonelc_won_ESP_015 | DEF_E | 0.55191 | 0.53763 | 0.49519 | 0.54134 | 0.51758 | 0.42036 | 0.55831 | 0.55127 | 0.42102 | 0.60469 | 0.62909 | 0.46206 | [28 empty] | distr_wonelc_won_ESP_015 | 0.17662 | 0.17765 | 0.18411 | 0.13546 | 0.17024 | 0.18994 | 0.025322 | 0.044307 | 0.08768 | 0.03989 | 0.055526 | 0.068861 | distr_wofelc_wof_ESP_008 | DEF_C | OUT | 0.37776
distr_wonelc_won_ESP_016 | DEF_E | 0.38977 | 0.42028 | 0.43926 | 0.50094 | 0.46271 | 0.41824 | 0.59364 | 0.49077 | 0.20872 | 0.56733 | 0.56064 | 0.40323 | [28 empty] | distr_wonelc_won_ESP_016 | 0.40454 | 0.40295 | 0.35221 | 0.26202 | 0.30877 | 0.32007 | 0.041992 | 0.074579 | 0.14788 | 0.16479 | 0.15205 | 0.17994 | distr_wofelc_wof_ESP_009 | DEF_C | OUT | 0.46083
distr_wonelc_won_ESP_017 | DEF_E | 0.38565 | 0.42176 | 0.35007 | 0.42224 | 0.39713 | 0.29004 | 0.47438 | 0.36876 | 0.22914 | 0.53876 | 0.51184 | 0.35936 | [28 empty] | distr_wonelc_won_ESP_017 | 0.32742 | 0.33956 | 0.33229 | 0.2018 | 0.2594 | 0.31305 | 0.054236 | 0.10615 | 0.16338 | 0.14046 | 0.14088 | 0.17666 | distr_wofelc_wof_ESP_010 | DEF_C | OUT | 0.50892
distr_wonelc_won_ESP_018 | DEF_E | 0.49756 | 0.51653 | 0.48438 | 0.5142 | 0.46535 | 0.36674 | 0.61661 | 0.47533 | 0.3097 | 0.56171 | 0.51788 | 0.43142 | [28 empty] | distr_wonelc_won_ESP_018 | 0.21921 | 0.22082 | 0.25466 | 0.17808 | 0.24939 | 0.29042 | 0.039329 | 0.081908 | 0.12687 | 0.15206 | 0.15399 | 0.19934 | distr_wofelc_wof_ESP_011 | DEF_C | OUT | 0.42671
distr_wonelc_won_ESP_019 | DEF_E | 0.50618 | 0.54622 | 0.50818 | 0.44522 | 0.47662 | 0.39038 | 0.38764 | 0.4998 | 0.31727 | 0.46262 | 0.50185 | 0.3885 | [28 empty] | distr_wonelc_won_ESP_019 | 0.17727 | 0.20021 | 0.22792 | 0.14939 | 0.20128 | 0.2321 | 0.087378 | 0.064675 | 0.14267 | 0.12409 | 0.13064 | 0.18573 | distr_wofelc_wof_ESP_012 | DEF_C | OUT | 0.4691
distr_wonelc_won_ESP_020 | DEF_E | 0.48746 | 0.49592 | 0.49828 | 0.47367 | 0.46283 | 0.40957 | 0.48526 | 0.43985 | 0.2796 | 0.50266 | 0.51 | 0.46975 | [28 empty] | distr_wonelc_won_ESP_020 | 0.33072 | 0.36176 | 0.32498 | 0.23889 | 0.26663 | 0.25858 | 0.10105 | 0.10781 | 0.16106 | 0.24501 | 0.23767 | 0.24977 | distr_wofelc_wof_ESP_013 | DEF_C | OUT | 0.41295
distr_wonelc_won_ESP_021 | DEF_E | 0.50519 | 0.51627 | 0.55102 | 0.56138 | 0.48017 | 0.51677 | 0.78287 | 0.44497 | 0.41188 | 0.62277 | 0.54038 | 0.58992 | [28 empty] | distr_wonelc_won_ESP_021 | 0.25442 | 0.26087 | 0.21512 | 0.18851 | 0.20455 | 0.21759 | 0.021197 | 0.064592 | 0.04635 | 0.14504 | 0.13498 | 0.13474 | distr_wofelc_wof_ESP_014 | DEF_C | OUT | 0.43485
distr_wonelc_won_ESP_022 | DEF_E | 0.40409 | 0.41458 | 0.40593 | 0.37536 | 0.40968 | 0.35527 | 0.31857 | 0.49978 | 0.31168 | 0.38768 | 0.43833 | 0.35374 | [28 empty] | distr_wonelc_won_ESP_022 | 0.33589 | 0.34895 | 0.3287 | 0.24667 | 0.30925 | 0.33375 | 0.11894 | 0.081671 | 0.17426 | 0.22618 | 0.254 | 0.26773 | distr_wofelc_wof_ESP_015 | DEF_C | OUT | 0.57801
distr_wonelc_won_ESP_023 | DEF_E | 0.42137 | 0.43053 | 0.41826 | 0.40929 | 0.42111 | 0.41222 | 0.40001 | 0.48662 | 0.3724 | 0.40069 | 0.41095 | 0.37827 | [28 empty] | distr_wonelc_won_ESP_023 | 0.23172 | 0.25546 | 0.24291 | 0.18045 | 0.24743 | 0.25536 | 0.12182 | 0.12015 | 0.19615 | 0.23473 | 0.24649 | 0.25972 | distr_wofelc_wof_ESP_016 | DEF_C | OUT | 0.61292
distr_wonelc_won_ESP_024 | DEF_E | 0.50948 | 0.50035 | 0.44923 | 0.48691 | 0.44496 | 0.37142 | 0.49095 | 0.45093 | 0.38781 | 0.47697 | 0.44407 | 0.41043 | [28 empty] | distr_wonelc_won_ESP_024 | 0.21844 | 0.21382 | 0.2452 | 0.20608 | 0.23339 | 0.29876 | 0.095405 | 0.12254 | 0.14787 | 0.23395 | 0.23155 | 0.25715 | distr_wofelc_wof_ESP_017 | DEF_C | OUT | 0.4749
distr_wonelc_won_ESP_025 | DEF_E | 0.62425 | 0.62916 | 0.56036 | 0.61902 | 0.5236 | 0.46583 | 0.59185 | 0.50282 | 0.39358 | 0.59743 | 0.53241 | 0.48883 | [28 empty] | distr_wonelc_won_ESP_025 | 0.086659 | 0.086538 | 0.097903 | 0.090721 | 0.1377 | 0.18481 | 0.017294 | 0.050057 | 0.059121 | 0.076192 | 0.084094 | 0.092104 | distr_wofelc_wof_ESP_018 | DEF_C | OUT | 0.60541

## load_shapes
~TFM_DINS-AT
g_yrfr | com_fr | timeslice | commodity
0.11427 | 0.16087 | FaD | elc_roadtransport
0.11427 | 0.052548 | FaN | elc_roadtransport
0.020776 | 0.035897 | FaP | elc_roadtransport
0.11553 | 0.16264 | RaD | elc_roadtransport
0.11553 | 0.053125 | RaN | elc_roadtransport
0.021005 | 0.036291 | RaP | elc_roadtransport
0.11553 | 0.16264 | SaD | elc_roadtransport
0.11553 | 0.053125 | SaN | elc_roadtransport
0.021005 | 0.036291 | SaP | elc_roadtransport
0.11301 | 0.1591 | WaD | elc_roadtransport
0.11301 | 0.05197 | WaN | elc_roadtransport
0.020548 | 0.035502 | WaP | elc_roadtransport

## demand
~TFM_DINS-AT
commodity | timeslice | com_fr
elc_buildings | FaD | 0.11447
elc_buildings | FaN | 0.10347
elc_buildings | FaP | 0.021883
elc_buildings | RaD | 0.11752
elc_buildings | RaN | 0.10503
elc_buildings | RaP | 0.02235
elc_buildings | SaD | 0.12195
elc_buildings | SaN | 0.1084
elc_buildings | SaP | 0.023563
elc_buildings | WaD | 0.12613
elc_buildings | WaN | 0.11093
elc_buildings | WaP | 0.024299
elc_industry | FaD | 0.11461
elc_industry | FaN | 0.1137
elc_industry | FaP | 0.020927
elc_industry | RaD | 0.11594
elc_industry | RaN | 0.1149
elc_industry | RaP | 0.02116
elc_industry | SaD | 0.11599
elc_industry | SaN | 0.11487
elc_industry | SaP | 0.021205
elc_industry | WaD | 0.11359
elc_industry | WaN | 0.11234
elc_industry | WaP | 0.020767

## peak_factors
~TFM_DINS-AT
commodity | timeslice | com_pkflx
ELC | FaD | 0.15768
ELC | FaN | 0.27761
ELC | FaP | 0.11235
ELC | RaD | 0.1383
ELC | RaN | 0.28088
ELC | RaP | 0.12352
ELC | SaD | 0.20663
ELC | SaN | 0.30458
ELC | SaP | 0.13922
ELC | WaD | 0.13373
ELC | WaN | 0.28067
ELC | WaP | 0.09541

## hydro_af
~TFM_INS-AT
Year | timeslice | ncap_afs | pset_ci
2020 | F | 0.18557 | hydro
2020 | R | 0.26277 | hydro
2020 | S | 0.17423 | hydro
2020 | W | 0.29123 | hydro
2021 | F | 0.11787 | hydro
2021 | R | 0.25327 | hydro
2021 | S | 0.18123 | hydro
2021 | W | 0.34033 | hydro
2022 | F | 0.12203 | hydro
2022 | R | 0.173 | hydro
2022 | S | 0.1127 | hydro
2022 | W | 0.18453 | hydro