## misc
~FI_Process | [7 empty] | ~FI_T: USD21~FX~ACT_BND
Sets | TechName | TechDesc | TAct | TCap | Tslvl | Process | Comm-IN | Comm-OUT | EFF | Cap2ACT | flo_cost | 2022 | 0 | invcost | life
ELE | ElcAgg_Solar |  | TWh | GW | DAYNITE | ElcAgg_Solar |  | ELC,ELCCurt | 1 | 8.76
ELE | ElcAgg_Wind |  | TWh | GW | DAYNITE | ElcAgg_Wind |  | ELC,ELCCurt | 1 | 8.76
DMD | e_demand | Demand sectors | TWh | GW |  | e_demand | ELC | elc_buildings,elc_industry,elc_transport | 1 | 8.76 | [5 empty] | $/GJ
DMD | h_demand | Hydrogen demand | TWh | GW |  | h_demand | hydrogen | hydrogen_allsect | 1 | 8.76
IMP | Trd_electricity import |  | TWh | GW | DAYNITE | fossil_supply |  | coal |  |  | 7.2 |  |  |  |  | 2
EXP | Trd_electricity export |  | TWh | GW | DAYNITE |  |  | gas |  |  | 18 |  |  |  |  | 5
IMP | fossil_supply | generic fuel supply | TWh | GW |  |  |  | oil |  |  | 36 |  |  |  |  | 10
IMP | renewable | hydro and geothermal | TWh | GW |  | renewable |  | geothermal |  |  | 0.36 |  |  |  |  | 0.1
IMP | nuclear_fuel | Nuclear fuel supply | TWh | GW |  |  |  | hydro |  |  | 0.36 |  |  |  |  | 0.1
IMP | solar_potential | solar potential | TWh | GW |  |  |  | bioenergy |  |  | 25.2 |  |  |  |  | 7
IMP | winon_potential | wind onshore potential | TWh | GW |  | nuclear_fuel |  | nuclear |  |  | 0.36 |  |  |  |  | 0.1
IMP | winoff_potential | wnid offshore potential | TWh | GW |  | solar_potential |  | solar |  |  | 0.36 |  |  |  |  | 0.1
[6 empty] | winon_potential |  | windon |  |  | 0.36 |  |  |  |  | 0.1
[6 empty] | winoff_potential |  | windoff |  |  | 0.36 |  |  |  |  | 0.1
[6 empty] | Trd_electricity import |  | e_VE1-230,e_VE10-230,e_VE11-230,e_VE12-230,e_VE13-230,e_VE2-230,e_VE24-230,e_VE25-230,e_VE3-230,e_VE4-230,e_VE4-400,e_VE5-230,e_VE5-400,e_VE52-230,e_VE58-230,e_VE59-230,e_VE6-230,e_VE8-230,e_VE9-230,e_w187936908-230,e_w187936908-400,e_w264134612-230,e_w264134612-400,e_w264156840-230,e_w264156841-230,e_w264156842-230,e_w265064743-400,e_w365007880-230,e_w365007880-400,e_w502761909-230,e_w565534382-230,e_w609494059-230,e_w677150278-230,e_w794639093-230,e_w798451066-230,e_w801987822-230 |  |  |  | 0 | 3 | 1000 | 50
[6 empty] | Trd_electricity export | e_VE1-230,e_VE10-230,e_VE11-230,e_VE12-230,e_VE13-230,e_VE2-230,e_VE24-230,e_VE25-230,e_VE3-230,e_VE4-230,e_VE4-400,e_VE5-230,e_VE5-400,e_VE52-230,e_VE58-230,e_VE59-230,e_VE6-230,e_VE8-230,e_VE9-230,e_w187936908-230,e_w187936908-400,e_w264134612-230,e_w264134612-400,e_w264156840-230,e_w264156841-230,e_w264156842-230,e_w265064743-400,e_w365007880-230,e_w365007880-400,e_w502761909-230,e_w565534382-230,e_w609494059-230,e_w677150278-230,e_w794639093-230,e_w798451066-230,e_w801987822-230 |  |  |  |  | 0 | 3 | 1000 | 50 | e_VE1-230,e_VE10-230,e_VE11-230,e_VE12-230,e_VE13-230,e_VE2-230,e_VE24-230,e_VE25-230,e_VE3-230,e_VE4-230,e_VE4-400,e_VE5-230,e_VE5-400,e_VE52-230,e_VE58-230,e_VE59-230,e_VE6-230,e_VE8-230,e_VE9-230,e_w187936908-230,e_w187936908-400,e_w264134612-230,e_w264134612-400,e_w264156840-230,e_w264156841-230,e_w264156842-230,e_w265064743-400,e_w365007880-230,e_w365007880-400,e_w502761909-230,e_w565534382-230,e_w609494059-230,e_w677150278-230,e_w794639093-230,e_w798451066-230,e_w801987822-230

## ELC_Storage
~FI_Comm
Csets | CommName | CommDesc | Unit | LimType | CTSLvl | PeakTS | Ctype
ENV | AuxStoIN | Aux commodity for storage charging | TBTU |  | DAYNITE
| AuxStoOUT | Aux commodity for storage discharging | TBTU |  | DAYNITE
~FI_Process | [10 empty] | ~FI_T: USD21
Sets | TechName | TechDesc | Tact | Tcap | Tslvl |  | TechName | attribute | CommGrp | Commodity | time_slice | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050 | Comm-OUT | Comm-OUT-A | LIFE
ELE,STG | EN_STG8hbNREL | 8 hour battery - NREL | TBTU | GW | DAYNITE |  | EN_STG4hbNREL | FLO_FUNC | AuxStoOUT | ELC | ANNUAL | 2020: 1.1765 |  | AuxStoOUT | 20
| EN_STG4hbNREL | 4 hour battery - NREL | TBTU | GW | DAYNITE |  | EN_STG4hbNREL | NCAP_AFC | ACT | ELC | DAYNITE | 2020: 0.16667 | ELC
[7 empty] | EN_STG4hbNREL | NCAP_AFC | NRG |  | DAYNITE | bar: 2020
[7 empty] | EN_STG4hbNREL | NCAP_COST |  |  |  | 1363 | 956 | 784 | 735 | 686 | 637 | 588
[7 empty] | EN_STG4hbNREL | NCAP_FOM |  |  |  | 34 | 24 | 20 | 18 | 17 | 16 | 15
[7 empty] | EN_STG4hbNREL | NCAP_PKCNT |  |  | ANNUAL | bar: 2020
[7 empty] | EN_STG4hbNREL | PRC_CAPACT |  |  |  | 2020: 31.536
[7 empty] | EN_STG4hbNREL | STG_EFF |  |  |  | 2020: 0.85
[7 empty] | EN_STG8hbNREL | FLO_FUNC | AuxStoOUT | ELC | ANNUAL | 2020: 1.1765 |  | AuxStoOUT | 20
[7 empty] | EN_STG8hbNREL | NCAP_AFC | ACT | ELC | DAYNITE | 2020: 0.33333 | ELC
[7 empty] | EN_STG8hbNREL | NCAP_AFC | NRG |  | DAYNITE | bar: 2020
[7 empty] | EN_STG8hbNREL | NCAP_COST |  |  |  | 2470 | 1714 | 1371 | 1277 | 1183 | 1089 | 995
[7 empty] | EN_STG8hbNREL | NCAP_FOM |  |  |  | 62 | 43 | 34 | 32 | 30 | 27 | 25
[7 empty] | EN_STG8hbNREL | NCAP_PKCNT |  |  | ANNUAL | bar: 2020
[7 empty] | EN_STG8hbNREL | PRC_CAPACT |  |  |  | 2020: 31.536
[7 empty] | EN_STG8hbNREL | STG_EFF |  |  |  | 2020: 0.85
Utility-scale battery storage cost projections from NREL ATB 2024
Includes $100 grid connection cost
(2022$) | bar: 2020 to 2030
[8 empty] | 2020 | 2025 | 2030 | 2035 | 2040 | 2045 | 2050
4Hr Battery Storage
CAPEX
[7 empty] | Advanced | 1363 | 839 | 566 | 512 | 454 | 400 | 346
[7 empty] | Conservative | 1363 | 1167 | 981 | 981 | 981 | 981 | 981
[7 empty] | Moderate | 1363 | 956 | 784 | 735 | 686 | 637 | 588
Fixed O&M
[7 empty] | Advanced | 34 | 21 | 14 | 13 | 11 | 10 | 9
[7 empty] | Conservative | 34 | 29 | 25 | 25 | 25 | 25 | 25
[7 empty] | Moderate | 34 | 24 | 20 | 18 | 17 | 16 | 15
8Hr Battery Storage
CAPEX
[7 empty] | Advanced | 2470 | 1518 | 1024 | 927 | 822 | 724 | 626
[7 empty] | Conservative | 2470 | 2111 | 1754 | 1754 | 1754 | 1754 | 1754
[7 empty] | Moderate | 2470 | 1714 | 1371 | 1277 | 1183 | 1089 | 995
Fixed O&M
[7 empty] | Advanced | 62 | 38 | 26 | 23 | 21 | 18 | 16
[7 empty] | Conservative | 62 | 53 | 44 | 44 | 44 | 44 | 44
[7 empty] | Moderate | 62 | 43 | 34 | 32 | 30 | 27 | 25
[7 empty] | Roundtrip EFF: | 2020: 0.85
CF is duration/24 - assume one cycle per day
VAROM = 0

## EV Battery
[6 empty] | ~FI_T: FX | [8 empty] | ~FI_Process
TechName | Comm-IN | Comm-OUT | Comm-OUT-A | CommGrp | commodity | Attribute | 2030 | 0 | S_EFF | AFC~DAYNITE~UP | LIFE | invcost | CAP2ACT | Peak | Sets | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Vintage
ev_battery | ELC |  |  | NRG |  |  |  |  | 0.9025 | 4 | 10 | 150 | 1 | 1 | STG | ev_battery | Car battery - 6kw/60Kwh - with V2G (optional) | TWh | TWh | DAYNITE
|  |  |  | ACT | [5 empty] | 1
|  | elc_roadtransport | AuxStoIN
|  |  |  | ELC | AuxStoIN | FLO_FUNC | 1 | 3

## H2 prod
XXX |  | Investment cost per unit of capacity (EUR/kW-output) |  |  | Fixed O&M costs (EUR/kW-output) |  |  | Heatrate (input over output ratio) | [5 empty] | Conversion technologies
|  | invcost | invcost | invcost | fixom | fixom | fixom | input~GASNGA | efficiency | input~GASNGA | efficiency | input~GASNGA | efficiency
|  | 2020 | 2030 | 2050 | 2020 | 2030 | 2050 | 2015 | 2015 | 2030 | 2030 | 2050 | 2050
|  | 2020 | 2030 | Ultimate | 2015 | 2030 | Ultimate | 2015 Heat | 2015 Electricity | 2030 Heat | 2030 Electricity | Ultimate Heat | Ultimate Electricity
|  | 550 | 500 | 450 | 22 | 20 | 18 | 1.33 | 0.094 | 1.3 | 0.094 | 1.28 | 0.094 | Hydrogen from natural gas steam reforming centralised - Large scale (per 1 kW or 1 MWh H2 HHV)
|  | 900 | 850 | 800 | 36 | 34 | 32 | 1.33 | 1.094 | 1.3 | 1.094 | 1.28 | 1.094 | Hydrogen from natural gas steam reforming centralised - Large scale with CCU (per 1 kW or 1 MWh H2 HHV)
|  | 1978 | 1598 | 1450 | 57 | 31 | 28 | 1.53 | 0.094 | 1.47 | 0.094 | 1.43 | 0.094 | Hydrogen from natural gas steam reforming de-centralised - Medium scale (per 1 kW or 1 MWh H2 HHV)
|  | 1610 | 740 | 200 | 49 | 15 | 10 | 0 | 1.39 | 0 | 1.19 | 0 | 1.17 | Hydrogen from low temperature water electrolysis PEM centralised - Large scale (per 1 kW or 1 MWh H2 HHV)
|  | 2530 | 1175 | 350 | 77 | 34 | 18 | 0 | 1.5 | 0 | 1.25 | 0 | 1.19 | Hydrogen from low temperature water electrolysis PEM de-centralised at a refuelling station (per 1 kW or 1 MWh H2 HHV)
|  | 1265 | 600 | 180 | 28 | 14 | 9 | 0 | 1.3952 | 0 | 1.268 | 0 | 1.18 | Hydrogen from low temperature water electrolysis - Alkaline centralised, large scale (per 1 kW or 1 MWh H2 HHV)
|  | 1897.5 | 715 | 300 | 41 | 17 | 15 | 0 | 1.3952 | 0 | 1.268 | 0 | 1.2 | Hydrogen from low temperature water electrolysis Alkaline de-centralised at a refuelling station (per 1 kW or 1 MWh H2 HHV)
|  | 3332.0882 | 1421.3922 | 600 | 55.825 | 36.18 | 39 | 1.9967 | 0.83712 | 1.4556 | 0.7608 | 0.33333 | 0.708 | Hydrogen from high temperature water electrolysis SOEC centralised (per 1 kW or 1 MWh H2 HHV)
|  | 5331.3412 | 2920.8941 | 1100 | 94.9025 | 63.315 | 48.75 | 1.9967 | 0.83712 | 1.4556 | 0.7608 | 0.33333 | 0.72 | Hydrogen from high temperature water electrolysis SOEC de-centralised at a refuelling station (per 1 kW or 1 MWh H2 HHV)
|  | 1200 | 733 | 263 | 42 | 22 | 9 | 0 | 0.01 | 0 | 0.01 | 0 | 0.01 | Methanation (per 1 kW or 1 MWh CH4 HHV)
|  | 450 | 450 | 450 | 18 | 18 | 18 | 0.26582 | 0.06 | 0.26582 | 0.06 | 0.26582 | 0.06 | CH4 Liquefaction plant (per 1 kW or 1 MWh gas HHV)
|  | 200 | 200 | 200 | 20 | 20 | 20 | 0.013 | 0.036 | 0.013 | 0.036 | 0.013 | 0.036 | Gas Liquefaction plant (per 1 kW or 1 MWh gas HHV)
|  | 175 | 175 | 175 | 5 | 5 | 5 | 0.014 | 0 | 0.014 | 0 | 0.014 | 0 | Regasification Plant including LNG storage (per 1 kW or 1 MWh gas HHV)
|  | 1000 | 720 | 364 | 50 | 31 | 18 | 0.2389 | 0.03056 | 0.2389 | 0.03056 | 0.2389 | 0.03056 | Power to liquid via the methanol route (per 1 kW or 1 MWh CH4 HHV)
|  | 1556 | 1143 | 673 | 54 | 40 | 24 | 0.035 | 0.02 | 0.035 | 0.02 | 0.035 | 0.02 | Power to liquid via the Fischer Tropsch route (per 1 kW or 1 MWh CH4 HHV)
|  | 2332 | 1511 | 965 | 163 | 106 | 68 | 0.46327 | 1.9188 | 0.39244 | 1.601 | 0.37891 | 1.5694 | Power to liquid via High temperature co-electrolysis and Fischer Tropsch (per 1 kW or 1 MWh CH4 HHV)
|  | 769.8768 | 648.0445 | 518.2906 | 26.9457 | 22.6816 | 18.1402 | 2.7778 | 2.2222 | 1.6667 | 1.3889 | 1.1389 | 0.3 | Capture CO2 from air (Absorption technology) (per 1 tCO2)
|  | 1259.7984 | 894.3014 | 495 | 44.0929 | 31.3005 | 17.325 | 2 | 0.3 | 1.8056 | 0.3 | 1.5 | 0.3 | Capture CO2 from air (Adsorption technology) (per 1 tCO2)
|  | 174 | 174 | 174 | 3 | 3 | 3 | 0 | 0.20588 | 0 | 0.20588 | 0 | 0.20588 | CO2 Liquefaction plant (per 1 ton CO2)
|  | ~FI_T: EUR15 | [14 empty] | ~FI_Process
Comm-OUT | Comm-IN | invcost~2020 | invcost~2030 | invcost~2050 | fixom~2020 | fixom~2030 | fixom~2050 | input~GASNGA~2015 | efficiency | input~GASNGA~2030 | efficiency~2030 | input~GASNGA~2050 | efficiency~2050 | TechName | LIFE | Cap2Act | Sets | TechName | TechDesc | Tcap | Tact | Tslvl | Vintage
hydrogen | ELC,ELCCurt | 1610 | 740 | 450 | 49 | 15 | 10 |  | 0.71942 |  | 0.84034 |  | 0.8547 | H2prd_Elc_PEM | 25 | 8.76 | PRE | H2prd_Elc_PEM | Hydrogen from low temperature water electrolysis PEM centralised - Large scale (per 1 kW or 1 MWh H2 HHV) | GW | TWh | DAYNITE | Yes
hydrogen | ELC,ELCCurt | 1265 | 600 | 350 | 28 | 14 | 9 |  | 0.71674 |  | 0.78864 |  | 0.84746 | H2prd_Elc_ALK | 25 | 8.76 | PRE | H2prd_Elc_ALK | Hydrogen from low temperature water electrolysis - Alkaline centralised, large scale (per 1 kW or 1 MWh H2 HHV) | GW | TWh | DAYNITE | Yes

## solar
~fi_process | [6 empty] | ~fi_t |  |  |  | ~fi_process | [7 empty] | ~fi_t |  |  |  |  | ~fi_process | [6 empty] | ~fi_t |  |  |  |  | ~fi_process | [6 empty] | ~fi_t
set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage | process | comm-out | cap_bnd | af~fx | set | process | description | capacity_unit | activity_unit | primarycg | timeslicelevel | vintage | process | comm-in | comm-out | efficiency | ncap_cost~USD21_alt | set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage | process | comm-in | comm-out | efficiency | ncap_cost~USD21_alt | set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage | process | comm-in | comm-out | efficiency | ncap_cost~USD21_alt
ele | e_spv_001 | solar resource in cluster 1 | GW | TWh | annual | no | e_spv_001 | elc_spv_001 | 0.84236 | 0.19822 | pre | distr_solelc_spv_025 | connecting solar to buses in cluster 25 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_025 | elc_spv_025 | e_w441856561-230,e_w804397572-230,e_w783149321-230,e_w804392437-230,e_VE26-230 | 0.99662 | 61.8963 | pre | distr_wonelc_won_019 | connecting wind onshore to buses in cluster 19 | GW | TWh | daynite | no | distr_wonelc_won_019 | elc_won_019 | e_w569768673-765,e_VE50-400,e_w249635068-230,e_w677061975-230,e_w249635068-400,e_w793249697-400 | 0.99759 | 44.2212 | pre | distr_wofelc_wof_016 | connecting wind offshore to buses in cluster 16 | GW | TWh | daynite | no | distr_wofelc_wof_016 | elc_wof_016 | e_w376845631-230 | 0.98938 | 194.6443
ele | e_spv_002 | solar resource in cluster 2 | GW | TWh | annual | no | e_spv_002 | elc_spv_002 | 1.6999 | 0.20046 | pre | distr_solelc_spv_019 | connecting solar to buses in cluster 19 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_019 | elc_spv_019 | e_w791294867-230,e_w374453219-230,e_VE43-230,e_w505185835-230,e_w783149321-230,e_w706766425-400,e_w804397572-230,e_VE34-400 | 0.99482 | 94.9428 | pre | distr_wonelc_won_004 | connecting wind onshore to buses in cluster 4 | GW | TWh | daynite | no | distr_wonelc_won_004 | elc_won_004 | e_w801987822-230,e_w801907613-230 | 0.99658 | 62.6954 | pre | distr_wofelc_wof_002 | connecting wind offshore to buses in cluster 2 | GW | TWh | daynite | no | distr_wofelc_wof_002 | elc_wof_002 | e_w97261904-230 | 0.99849 | 27.6253
ele | e_spv_003 | solar resource in cluster 3 | GW | TWh | annual | no | e_spv_003 | elc_spv_003 | 5.3648 | 0.20719 | pre | distr_solelc_spv_018 | connecting solar to buses in cluster 18 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_018 | elc_spv_018 | e_w783149321-230 | 0.99304 | 127.5822 | pre | distr_wonelc_won_012 | connecting wind onshore to buses in cluster 12 | GW | TWh | daynite | no | distr_wonelc_won_012 | elc_won_012 | e_VE24-230,e_w97261904-230,e_w265524283-230,e_VE2-230 | 0.99552 | 82.1954 | pre | distr_wofelc_wof_005 | connecting wind offshore to buses in cluster 5 | GW | TWh | daynite | no | distr_wofelc_wof_005 | elc_wof_005 | e_w609494059-230,e_VE13-230,e_w796286014-230,e_w795511372-230 | 0.99376 | 114.4137
ele | e_spv_004 | solar resource in cluster 4 | GW | TWh | annual | no | e_spv_004 | elc_spv_004 | 9.9923 | 0.20945 | pre | distr_solelc_spv_015 | connecting solar to buses in cluster 15 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_015 | elc_spv_015 | e_w791294867-230,e_VE54-230,e_w374453219-230,e_w799462016-230,e_w472249822-230 | 0.99613 | 70.8797 | pre | distr_wonelc_won_014 | connecting wind onshore to buses in cluster 14 | GW | TWh | daynite | no | distr_wonelc_won_014 | elc_won_014 | e_w441856561-230,e_w264310078-400 | 0.99692 | 56.4174 | pre | distr_wofelc_wof_004 | connecting wind offshore to buses in cluster 4 | GW | TWh | daynite | no | distr_wofelc_wof_004 | elc_wof_004 | e_w97261904-230,e_VE2-230 | 0.994 | 110.0701
ele | e_spv_005 | solar resource in cluster 5 | GW | TWh | annual | no | e_spv_005 | elc_spv_005 | 7.9735 | 0.20227 | pre | distr_solelc_spv_028 | connecting solar to buses in cluster 28 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_028 | elc_spv_028 | e_w783149321-230,e_VE60-230 | 0.96404 | 659.2845 | pre | distr_wonelc_won_011 | connecting wind onshore to buses in cluster 11 | GW | TWh | daynite | no | distr_wonelc_won_011 | elc_won_011 | e_VE1-230,e_w264134612-400,e_VE5-400,e_w97261904-230,e_VE2-230,e_VE3-230 | 0.99619 | 69.9114 | pre | distr_wofelc_wof_008 | connecting wind offshore to buses in cluster 8 | GW | TWh | daynite | no | distr_wofelc_wof_008 | elc_wof_008 | e_VE3-230,e_w806074207-230,e_w609494059-230 | 0.99729 | 49.7239
ele | e_spv_006 | solar resource in cluster 6 | GW | TWh | annual | no | e_spv_006 | elc_spv_006 | 1.2037 | 0.20064 | pre | distr_solelc_spv_022 | connecting solar to buses in cluster 22 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_022 | elc_spv_022 | e_w264310054-400,e_w265064743-400,e_w795511372-230,e_w795345873-230,e_w677150278-230,e_w743541244-230,e_VE39-230,e_VE32-230,e_w565534382-230,e_VE42-230,e_VE37-230 | 0.99774 | 41.4437 | pre | distr_wonelc_won_017 | connecting wind onshore to buses in cluster 17 | GW | TWh | daynite | no | distr_wonelc_won_017 | elc_won_017 | e_w569768673-765,e_VE50-400,e_w249635068-230,e_w793249697-400,e_w249635068-400,e_VE59-230 | 0.99537 | 84.8279 | pre | distr_wofelc_wof_009 | connecting wind offshore to buses in cluster 9 | GW | TWh | daynite | no | distr_wofelc_wof_009 | elc_wof_009 | e_w795511372-230,e_w677150278-230 | 0.99672 | 60.2045
ele | e_spv_007 | solar resource in cluster 7 | GW | TWh | annual | no | e_spv_007 | elc_spv_007 | 3.8009 | 0.20014 | pre | distr_solelc_spv_006 | connecting solar to buses in cluster 6 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_006 | elc_spv_006 | e_w514066950-230,e_w564346877-230,e_VE45-400,e_w793249697-400 | 0.98918 | 198.375 | pre | distr_wonelc_won_008 | connecting wind onshore to buses in cluster 8 | GW | TWh | daynite | no | distr_wonelc_won_008 | elc_won_008 | e_w676645121-400,e_VE37-230,e_w675996415-230,e_w264241198-400,e_w514066950-230,e_VE47-400,e_VE45-400,e_w793249697-400 | 0.99746 | 46.5426 | pre | distr_wofelc_wof_014 | connecting wind offshore to buses in cluster 14 | GW | TWh | daynite | no | distr_wofelc_wof_014 | elc_wof_014 | e_w376845631-230 | 0.98636 | 250.1506
ele | e_spv_008 | solar resource in cluster 8 | GW | TWh | annual | no | e_spv_008 | elc_spv_008 | 6.758 | 0.19967 | pre | distr_solelc_spv_009 | connecting solar to buses in cluster 9 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_009 | elc_spv_009 | e_VE1-230,e_w264134612-400,e_VE5-400,e_w97261904-230,e_VE2-230,e_VE3-230 | 0.9962 | 69.7375 | pre | distr_wonelc_won_007 | connecting wind onshore to buses in cluster 7 | GW | TWh | daynite | no | distr_wonelc_won_007 | elc_won_007 | e_w441856561-230,e_VE26-230,e_w264310078-400,e_w264310054-400 | 0.99652 | 63.7547 | pre | distr_wofelc_wof_011 | connecting wind offshore to buses in cluster 11 | GW | TWh | daynite | no | distr_wofelc_wof_011 | elc_wof_011 | e_w376845631-230 | 0.97078 | 535.7592
ele | e_spv_009 | solar resource in cluster 9 | GW | TWh | annual | no | e_spv_009 | elc_spv_009 | 4.9281 | 0.24038 | pre | distr_solelc_spv_024 | connecting solar to buses in cluster 24 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_024 | elc_spv_024 | e_w783149321-230,e_w264310078-400 | 0.99327 | 123.4698 | pre | distr_wonelc_won_016 | connecting wind onshore to buses in cluster 16 | GW | TWh | daynite | no | distr_wonelc_won_016 | elc_won_016 | e_VE44-230,e_w264310078-400,e_w569768673-765 | 0.99606 | 72.2946 | pre | distr_wofelc_wof_010 | connecting wind offshore to buses in cluster 10 | GW | TWh | daynite | no | distr_wofelc_wof_010 | elc_wof_010 | e_w376845631-230 | 0.96152 | 705.5021
ele | e_spv_010 | solar resource in cluster 10 | GW | TWh | annual | no | e_spv_010 | elc_spv_010 | 1.8468 | 0.20402 | pre | distr_solelc_spv_004 | connecting solar to buses in cluster 4 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_004 | elc_spv_004 | e_w569768673-765,e_VE50-400,e_w249635068-230,e_w677061975-230 | 0.99708 | 53.5665 | pre | distr_wonelc_won_009 | connecting wind onshore to buses in cluster 9 | GW | TWh | daynite | no | distr_wonelc_won_009 | elc_won_009 | e_w376845631-230,e_w564346877-230,e_VE45-400,e_w514066950-230 | 0.98889 | 203.5942 | pre | distr_wofelc_wof_006 | connecting wind offshore to buses in cluster 6 | GW | TWh | daynite | no | distr_wofelc_wof_006 | elc_wof_006 | e_w565534382-230,e_w376845631-230 | 0.99405 | 109.0836
ele | e_spv_011 | solar resource in cluster 11 | GW | TWh | annual | no | e_spv_011 | elc_spv_011 | 7.1116 | 0.21385 | pre | distr_solelc_spv_003 | connecting solar to buses in cluster 3 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_003 | elc_spv_003 | e_VE57-230,e_VE59-230 | 0.99646 | 64.828 | pre | distr_wonelc_won_018 | connecting wind onshore to buses in cluster 18 | GW | TWh | daynite | no | distr_wonelc_won_018 | elc_won_018 | e_VE44-230,e_w795345873-230,e_w743541244-230,e_VE39-230,e_w497203467-230,e_VE42-230,e_VE37-230 | 0.99849 | 27.6615 | pre | distr_wofelc_wof_003 | connecting wind offshore to buses in cluster 3 | GW | TWh | daynite | no | distr_wofelc_wof_003 | elc_wof_003 | e_VE1-230 | 0.99589 | 75.3669
ele | e_spv_012 | solar resource in cluster 12 | GW | TWh | annual | no | e_spv_012 | elc_spv_012 | 1.7003 | 0.1868 | pre | distr_solelc_spv_002 | connecting solar to buses in cluster 2 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_002 | elc_spv_002 | e_VE58-230,e_VE57-230,e_w497276787-400 | 0.99753 | 45.3282 | pre | distr_wonelc_won_015 | connecting wind onshore to buses in cluster 15 | GW | TWh | daynite | no | distr_wonelc_won_015 | elc_won_015 | e_w783149321-230,e_w264310078-400 | 0.99459 | 99.1017 | pre | distr_wofelc_wof_001 | connecting wind offshore to buses in cluster 1 | GW | TWh | daynite | no | distr_wofelc_wof_001 | elc_wof_001 | e_w264134612-400,e_VE1-230,e_w97261904-230 | 0.9914 | 157.703
ele | e_spv_013 | solar resource in cluster 13 | GW | TWh | annual | no | e_spv_013 | elc_spv_013 | 0.95386 | 0.19919 | pre | distr_solelc_spv_012 | connecting solar to buses in cluster 12 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_012 | elc_spv_012 | e_VE52-230,e_w1315053537-230,e_VE56-230,e_VE48-230,e_w1315070791-230,e_w353744944-230,e_VE40-230,e_w799462016-230,e_VE41-230 | 0.99622 | 69.3037 | pre | distr_wonelc_won_005 | connecting wind onshore to buses in cluster 5 | GW | TWh | daynite | no | distr_wonelc_won_005 | elc_won_005 | e_w265064743-400 | 0.99636 | 66.6513 | pre | distr_wofelc_wof_007 | connecting wind offshore to buses in cluster 7 | GW | TWh | daynite | no | distr_wofelc_wof_007 | elc_wof_007 | e_w795511372-230,e_w677150278-230,e_w565534382-230 | 0.99388 | 112.2651
ele | e_spv_014 | solar resource in cluster 14 | GW | TWh | annual | no | e_spv_014 | elc_spv_014 | 6.3993 | 0.20789 | pre | distr_solelc_spv_023 | connecting solar to buses in cluster 23 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_023 | elc_spv_023 | e_w569768673-765,e_VE44-230 | 0.98888 | 203.9234 | pre | distr_wonelc_won_001 | connecting wind onshore to buses in cluster 1 | GW | TWh | daynite | no | distr_wonelc_won_001 | elc_won_001 | e_w791294867-230,e_w783149321-230 | 0.98846 | 211.5617 | pre | distr_wofelc_wof_015 | connecting wind offshore to buses in cluster 15 | GW | TWh | daynite | no | distr_wofelc_wof_015 | elc_wof_015 | e_w565534382-230,e_w376845631-230 | 0.99217 | 143.5969
ele | e_spv_015 | solar resource in cluster 15 | GW | TWh | annual | no | e_spv_015 | elc_spv_015 | 13.2185 | 0.1901 | pre | distr_solelc_spv_001 | connecting solar to buses in cluster 1 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_001 | elc_spv_001 | e_w569768673-765,e_VE57-230,e_w249635068-230,e_w793249697-400,e_w497276787-230 | 0.98979 | 187.269 | pre | distr_wonelc_won_013 | connecting wind onshore to buses in cluster 13 | GW | TWh | daynite | no | distr_wonelc_won_013 | elc_won_013 | e_w265524283-230 | 0.99865 | 24.8043 | pre | distr_wofelc_wof_013 | connecting wind offshore to buses in cluster 13 | GW | TWh | daynite | no | distr_wofelc_wof_013 | elc_wof_013 | e_w564346877-230,e_w793249697-400,e_VE45-400 | 0.98203 | 329.5029
ele | e_spv_016 | solar resource in cluster 16 | GW | TWh | annual | no | e_spv_016 | elc_spv_016 | 6.9683 | 0.18311 | pre | distr_solelc_spv_029 | connecting solar to buses in cluster 29 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_029 | elc_spv_029 | e_VE59-230,e_VE60-230 | 0.97587 | 442.4324 | pre | distr_wonelc_won_002 | connecting wind onshore to buses in cluster 2 | GW | TWh | daynite | no | distr_wonelc_won_002 | elc_won_002 | e_w783149321-230 | 0.99351 | 118.9273 | pre | distr_wofelc_wof_012 | connecting wind offshore to buses in cluster 12 | GW | TWh | daynite | no | distr_wofelc_wof_012 | elc_wof_012 | e_VE45-400,e_w793249697-400 | 0.97847 | 394.8064
ele | e_spv_017 | solar resource in cluster 17 | GW | TWh | annual | no | e_spv_017 | elc_spv_017 | 39.06 | 0.19739 | pre | distr_solelc_spv_016 | connecting solar to buses in cluster 16 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_016 | elc_spv_016 | e_VE56-230,e_w252437677-230,e_w791294867-230,e_w790976844-230 | 0.99721 | 51.1946 | pre | distr_wonelc_won_020 | connecting wind onshore to buses in cluster 20 | GW | TWh | daynite | no | distr_wonelc_won_020 | elc_won_020 | e_w265064743-400 | 0.99634 | 67.1306
ele | e_spv_018 | solar resource in cluster 18 | GW | TWh | annual | no | e_spv_018 | elc_spv_018 | 11.3236 | 0.2079 | pre | distr_solelc_spv_011 | connecting solar to buses in cluster 11 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_011 | elc_spv_011 | e_VE18-230,e_VE5-400,e_w791120846-400,e_w264156842-230,e_VE24-230,e_w97261904-230,e_w265524283-230 | 0.99634 | 67.1835 | pre | distr_wonelc_won_010 | connecting wind onshore to buses in cluster 10 | GW | TWh | daynite | no | distr_wonelc_won_010 | elc_won_010 | e_w795511372-230,e_w677150278-230,e_w565534382-230,e_w376845631-230 | 0.99743 | 47.1288
ele | e_spv_019 | solar resource in cluster 19 | GW | TWh | annual | no | e_spv_019 | elc_spv_019 | 20.1904 | 0.19995 | pre | distr_solelc_spv_026 | connecting solar to buses in cluster 26 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_026 | elc_spv_026 | e_VE31-230,e_w365007880-230,e_w264334536-230,e_w806074207-230,e_VE28-230,e_w609494059-230,e_w264393619-230,e_VE19-230,e_w795878094-230,e_VE22-230,e_VE20-230,e_w795511372-230 | 0.99842 | 28.8871 | pre | distr_wonelc_won_003 | connecting wind onshore to buses in cluster 3 | GW | TWh | daynite | no | distr_wonelc_won_003 | elc_won_003 | e_VE1-230,e_VE4-400,e_VE5-400 | 0.99721 | 51.1623
ele | e_spv_020 | solar resource in cluster 20 | GW | TWh | annual | no | e_spv_020 | elc_spv_020 | 17.6135 | 0.2088 | pre | distr_solelc_spv_032 | connecting solar to buses in cluster 32 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_032 | elc_spv_032 | e_w783149321-230,e_w569768673-765 | 0.98708 | 236.798 | pre | distr_wonelc_won_006 | connecting wind onshore to buses in cluster 6 | GW | TWh | daynite | no | distr_wonelc_won_006 | elc_won_006 | e_w264310054-400 | 0.99683 | 58.1259
ele | e_spv_021 | solar resource in cluster 21 | GW | TWh | annual | no | e_spv_021 | elc_spv_021 | 8.3604 | 0.22029 | pre | distr_solelc_spv_008 | connecting solar to buses in cluster 8 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_008 | elc_spv_008 | e_w676645121-400,e_VE37-230,e_w264241198-400,e_w675996415-230,e_VE45-400 | 0.99662 | 62.0508
ele | e_spv_022 | solar resource in cluster 22 | GW | TWh | annual | no | e_spv_022 | elc_spv_022 | 10.0647 | 0.21844 | pre | distr_solelc_spv_020 | connecting solar to buses in cluster 20 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_020 | elc_spv_020 | e_VE44-230,e_w264310078-400,e_w569768673-765,e_w795345873-230,e_w497203467-230 | 0.99685 | 57.6978
ele | e_spv_023 | solar resource in cluster 23 | GW | TWh | annual | no | e_spv_023 | elc_spv_023 | 3.5717 | 0.19726 | pre | distr_solelc_spv_014 | connecting solar to buses in cluster 14 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_014 | elc_spv_014 | e_w1315053537-230,e_VE1-230,e_w801907613-230,e_w801987822-230,e_VE4-400 | 0.99654 | 63.5108
ele | e_spv_024 | solar resource in cluster 24 | GW | TWh | annual | no | e_spv_024 | elc_spv_024 | 10.3646 | 0.21025 | pre | distr_solelc_spv_013 | connecting solar to buses in cluster 13 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_013 | elc_spv_013 | e_w1315053537-230,e_w801987822-230,e_w798451066-230,e_w264156842-230 | 0.99476 | 95.9813
ele | e_spv_025 | solar resource in cluster 25 | GW | TWh | annual | no | e_spv_025 | elc_spv_025 | 20.9925 | 0.21883 | pre | distr_solelc_spv_027 | connecting solar to buses in cluster 27 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_027 | elc_spv_027 | e_w783149321-230 | 0.97228 | 508.2804
ele | e_spv_026 | solar resource in cluster 26 | GW | TWh | annual | no | e_spv_026 | elc_spv_026 | 2.4832 | 0.21028 | pre | distr_solelc_spv_031 | connecting solar to buses in cluster 31 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_031 | elc_spv_031 | e_w783149321-230,e_w569768673-765 | 0.97898 | 385.3012
ele | e_spv_027 | solar resource in cluster 27 | GW | TWh | annual | no | e_spv_027 | elc_spv_027 | 0.969 | 0.17964 | pre | distr_solelc_spv_017 | connecting solar to buses in cluster 17 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_017 | elc_spv_017 | e_w791294867-230,e_w783149321-230 | 0.99036 | 176.6548
ele | e_spv_028 | solar resource in cluster 28 | GW | TWh | annual | no | e_spv_028 | elc_spv_028 | 0.12415 | 0.17729 | pre | distr_solelc_spv_010 | connecting solar to buses in cluster 10 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_010 | elc_spv_010 | e_w265524283-230,e_w97261904-230,e_w265524284-765,e_VE29-230,e_VE34-400,e_w365007880-230 | 0.99759 | 44.1415
ele | e_spv_029 | solar resource in cluster 29 | GW | TWh | annual | no | e_spv_029 | elc_spv_029 | 0.13433 | 0.19789 | pre | distr_solelc_spv_021 | connecting solar to buses in cluster 21 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_021 | elc_spv_021 | e_w264310078-400,e_w264310054-400 | 0.99704 | 54.2014
ele | e_spv_030 | solar resource in cluster 30 | GW | TWh | annual | no | e_spv_030 | elc_spv_030 | 0.46128 | 0.18894 | pre | distr_solelc_spv_030 | connecting solar to buses in cluster 30 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_030 | elc_spv_030 | e_w569768673-765,e_VE57-230 | 0.97933 | 379.03
ele | e_spv_031 | solar resource in cluster 31 | GW | TWh | annual | no | e_spv_031 | elc_spv_031 | 0.99186 | 0.18993 | pre | distr_solelc_spv_007 | connecting solar to buses in cluster 7 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_007 | elc_spv_007 | e_w675996415-230,e_VE35-230,e_w376845631-230,e_w514066950-230,e_w564346877-230 | 0.99813 | 34.3119
ele | e_spv_032 | solar resource in cluster 32 | GW | TWh | annual | no | e_spv_032 | elc_spv_032 | 0.26674 | 0.19312 | pre | distr_solelc_spv_033 | connecting solar to buses in cluster 33 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_033 | elc_spv_033 | e_w783149321-230 | 0.98775 | 224.5394
ele | e_spv_033 | solar resource in cluster 33 | GW | TWh | annual | no | e_spv_033 | elc_spv_033 | 5.8097 | 0.19885 | pre | distr_solelc_spv_005 | connecting solar to buses in cluster 5 | GW | TWh | NRGI | daynite | no | distr_solelc_spv_005 | elc_spv_005 | e_w249635068-400,e_VE47-400,e_w793249697-400,e_VE45-400,e_w497276787-400 | 0.99721 | 51.2101

## wind
~fi_process | [6 empty] | ~fi_t |  |  |  | ~fi_process | [6 empty] | ~fi_t
set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage | process | comm-out | cap_bnd | af~fx | set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage | process | comm-out | cap_bnd | af~fx
ele | e_won_001 | wind resource in cluster 1 | GW | TWh | annual | no | e_won_001 | elc_won_001 | 4.0844 | 0.098299 | ele | e_wof_001 | wind offshore resource in cluster 1 | GW | TWh | annual | no | e_wof_001 | elc_wof_001 | 37.968 | 0.73792
ele | e_won_002 | wind resource in cluster 2 | GW | TWh | annual | no | e_won_002 | elc_won_002 | 4.9748 | 0.11159 | ele | e_wof_002 | wind offshore resource in cluster 2 | GW | TWh | annual | no | e_wof_002 | elc_wof_002 | 0.282 | 0.33675
ele | e_won_003 | wind resource in cluster 3 | GW | TWh | annual | no | e_won_003 | elc_won_003 | 2.0625 | 0.29164 | ele | e_wof_003 | wind offshore resource in cluster 3 | GW | TWh | annual | no | e_wof_003 | elc_wof_003 | 0.69225 | 0.58934
ele | e_won_004 | wind resource in cluster 4 | GW | TWh | annual | no | e_won_004 | elc_won_004 | 1.2039 | 0.1049 | ele | e_wof_004 | wind offshore resource in cluster 4 | GW | TWh | annual | no | e_wof_004 | elc_wof_004 | 16.3792 | 0.48011
ele | e_won_005 | wind resource in cluster 5 | GW | TWh | annual | no | e_won_005 | elc_won_005 | 0.47146 | 0.091187 | ele | e_wof_005 | wind offshore resource in cluster 5 | GW | TWh | annual | no | e_wof_005 | elc_wof_005 | 24.9398 | 0.42401
ele | e_won_006 | wind resource in cluster 6 | GW | TWh | annual | no | e_won_006 | elc_won_006 | 2.0015 | 0.11774 | ele | e_wof_006 | wind offshore resource in cluster 6 | GW | TWh | annual | no | e_wof_006 | elc_wof_006 | 13.0597 | 0.48248
ele | e_won_007 | wind resource in cluster 7 | GW | TWh | annual | no | e_won_007 | elc_won_007 | 7.7011 | 0.12055 | ele | e_wof_007 | wind offshore resource in cluster 7 | GW | TWh | annual | no | e_wof_007 | elc_wof_007 | 22.3343 | 0.43666
ele | e_won_008 | wind resource in cluster 8 | GW | TWh | annual | no | e_won_008 | elc_won_008 | 10.6756 | 0.16256 | ele | e_wof_008 | wind offshore resource in cluster 8 | GW | TWh | annual | no | e_wof_008 | elc_wof_008 | 9.7223 | 0.38444
ele | e_won_009 | wind resource in cluster 9 | GW | TWh | annual | no | e_won_009 | elc_won_009 | 0.42731 | 0.18332 | ele | e_wof_009 | wind offshore resource in cluster 9 | GW | TWh | annual | no | e_wof_009 | elc_wof_009 | 10.965 | 0.38106
ele | e_won_010 | wind resource in cluster 10 | GW | TWh | annual | no | e_won_010 | elc_won_010 | 1.2548 | 0.39888 | ele | e_wof_010 | wind offshore resource in cluster 10 | GW | TWh | annual | no | e_wof_010 | elc_wof_010 | 0.636 | 0.38841
ele | e_won_011 | wind resource in cluster 11 | GW | TWh | annual | no | e_won_011 | elc_won_011 | 9.177 | 0.56967 | ele | e_wof_011 | wind offshore resource in cluster 11 | GW | TWh | annual | no | e_wof_011 | elc_wof_011 | 2.3032 | 0.4248
ele | e_won_012 | wind resource in cluster 12 | GW | TWh | annual | no | e_won_012 | elc_won_012 | 9.5124 | 0.16199 | ele | e_wof_012 | wind offshore resource in cluster 12 | GW | TWh | annual | no | e_wof_012 | elc_wof_012 | 24.189 | 0.32117
ele | e_won_013 | wind resource in cluster 13 | GW | TWh | annual | no | e_won_013 | elc_won_013 | 0.66584 | 0.10321 | ele | e_wof_013 | wind offshore resource in cluster 13 | GW | TWh | annual | no | e_wof_013 | elc_wof_013 | 23.634 | 0.29819
ele | e_won_014 | wind resource in cluster 14 | GW | TWh | annual | no | e_won_014 | elc_won_014 | 7.9908 | 0.1331 | ele | e_wof_014 | wind offshore resource in cluster 14 | GW | TWh | annual | no | e_wof_014 | elc_wof_014 | 3.6803 | 0.44531
ele | e_won_015 | wind resource in cluster 15 | GW | TWh | annual | no | e_won_015 | elc_won_015 | 6.1517 | 0.13212 | ele | e_wof_015 | wind offshore resource in cluster 15 | GW | TWh | annual | no | e_wof_015 | elc_wof_015 | 28.6672 | 0.40092
ele | e_won_016 | wind resource in cluster 16 | GW | TWh | annual | no | e_won_016 | elc_won_016 | 8.5835 | 0.1496 | ele | e_wof_016 | wind offshore resource in cluster 16 | GW | TWh | annual | no | e_wof_016 | elc_wof_016 | 26.2028 | 0.36057
ele | e_won_017 | wind resource in cluster 17 | GW | TWh | annual | no | e_won_017 | elc_won_017 | 4.6779 | 0.1182
ele | e_won_018 | wind resource in cluster 18 | GW | TWh | annual | no | e_won_018 | elc_won_018 | 13.9653 | 0.22284
ele | e_won_019 | wind resource in cluster 19 | GW | TWh | annual | no | e_won_019 | elc_won_019 | 12.4718 | 0.16928
ele | e_won_020 | wind resource in cluster 20 | GW | TWh | annual | no | e_won_020 | elc_won_020 | 0.23866 | 0.080558

## conventional
~fi_t | [6 empty] | ~fi_process
process | comm-in | comm-out | 2023 | 2030 | 2050 | attribute | set | process | description | capacity_unit | activity_unit | timeslicelevel | vintage
Bioenergy + CCUS | bioenergy | ELC | 0.3 | 0.3 | 0.3 | efficiency | ele | Bioenergy + CCUS |  | GW | TWh | daynite | yes
Bioenergy + CCUS | bioenergy | ELC | 0.4 | 0.4 | 0.4 | ncap_af | ele | Bioenergy - Large scale unit |  | GW | TWh | daynite | yes
Bioenergy + CCUS | bioenergy | ELC | 4550 | 4500 | 4050 | ncap_cost | ele | CCGT |  | GW | TWh | daynite | yes
Bioenergy + CCUS | bioenergy | ELC | 160 | 155 | 140 | ncap_fom | ele | Gas turbine |  | GW | TWh | daynite | yes
Bioenergy + CCUS | bioenergy | ELC | 3 | 3 | 3 | ncap_iled | ele | Hydropower - large-scale unit |  | GW | TWh | daynite | yes
Bioenergy - Large scale unit | bioenergy | ELC | 0.35 | 0.35 | 0.35 | efficiency | ele | IGCC |  | GW | TWh | daynite | yes
Bioenergy - Large scale unit | bioenergy | ELC | 0.4 | 0.4 | 0.4 | ncap_af | ele | Nuclear large |  | GW | TWh | daynite | yes
Bioenergy - Large scale unit | bioenergy | ELC | 2200 | 2150 | 2100 | ncap_cost | ele | Solar photovoltaics - Large scale unit |  | GW | TWh | daynite | yes
Bioenergy - Large scale unit | bioenergy | ELC | 75 | 75 | 75 | ncap_fom | ele | Steam Coal - SUBCRITICAL |  | GW | TWh | daynite | yes
Bioenergy - Large scale unit | bioenergy | ELC | 3 | 3 | 3 | ncap_iled | ele | Steam Coal - SUPERCRITICAL |  | GW | TWh | daynite | yes
CCGT | gas | ELC | 0.58 | 0.59 | 0.59 | efficiency | ele | Steam Coal - ULTRASUPERCRITICAL |  | GW | TWh | daynite | yes
CCGT | gas | ELC | 700 | 700 | 700 | ncap_cost | ele | Wind offshore |  | GW | TWh | daynite | yes
CCGT | gas | ELC | 25 | 25 | 25 | ncap_fom | ele | Wind onshore |  | GW | TWh | daynite | yes
Gas turbine | gas | ELC | 0.38 | 0.39 | 0.41 | efficiency
Gas turbine | gas | ELC | 400 | 400 | 400 | ncap_cost
Gas turbine | gas | ELC | 20 | 20 | 20 | ncap_fom
Hydropower - large-scale unit | hydro | ELC | 1 | 1 | 1 | efficiency
Hydropower - large-scale unit | hydro | ELC | 0.5 | 0.5 | 0.5 | ncap_af
Hydropower - large-scale unit | hydro | ELC | 2100 | 2100 | 2100 | ncap_cost
Hydropower - large-scale unit | hydro | ELC | 55 | 50 | 50 | ncap_fom
Hydropower - large-scale unit | hydro | ELC | 4 | 4 | 4 | ncap_iled
IGCC | gas | ELC | 0.44 | 0.47 | 0.49 | efficiency
IGCC | gas | ELC | 2000 | 1900 | 1900 | ncap_cost
IGCC | gas | ELC | 90 | 85 | 85 | ncap_fom
Nuclear large | nuclear | ELC | 0.33 | 0.33 | 0.33 | efficiency
Nuclear large | nuclear | ELC | 4000 | 4000 | 4000 | ncap_cost
Nuclear large | nuclear | ELC | 170 | 170 | 170 | ncap_fom
Solar photovoltaics - Large scale unit | solar | ELC | 1 | 1 | 1 | efficiency
Solar photovoltaics - Large scale unit | solar | ELC | 0.2 | 0.21 | 0.21 | ncap_af
Solar photovoltaics - Large scale unit | solar | ELC | 730 | 460 | 330 | ncap_cost
Solar photovoltaics - Large scale unit | solar | ELC | 10 | 10 | 10 | ncap_fom
Solar photovoltaics - Large scale unit | solar | ELC | 1.5 | 1.5 | 1.5 | ncap_iled
Steam Coal - SUBCRITICAL | coal | ELC | 0.39 | 0.39 | 0.39 | efficiency
Steam Coal - SUBCRITICAL | coal | ELC | 1300 | 1300 | 1300 | ncap_cost
Steam Coal - SUBCRITICAL | coal | ELC | 45 | 45 | 45 | ncap_fom
Steam Coal - SUPERCRITICAL | coal | ELC | 0.43 | 0.43 | 0.43 | efficiency
Steam Coal - SUPERCRITICAL | coal | ELC | 1600 | 1600 | 1600 | ncap_cost
Steam Coal - SUPERCRITICAL | coal | ELC | 65 | 65 | 65 | ncap_fom
Steam Coal - ULTRASUPERCRITICAL | coal | ELC | 0.45 | 0.47 | 0.47 | efficiency
Steam Coal - ULTRASUPERCRITICAL | coal | ELC | 1800 | 1800 | 1800 | ncap_cost
Steam Coal - ULTRASUPERCRITICAL | coal | ELC | 70 | 70 | 70 | ncap_fom
Wind offshore | unknown | ELC | 1 | 1 | 1 | efficiency
Wind offshore | unknown | ELC | 0.49 | 0.52 | 0.55 | ncap_af
Wind offshore | unknown | ELC | 4440 | 3340 | 2240 | ncap_cost
Wind offshore | unknown | ELC | 110 | 90 | 65 | ncap_fom
Wind offshore | unknown | ELC | 3 | 3 | 3 | ncap_iled
Wind onshore | unknown | ELC | 1 | 1 | 1 | efficiency
Wind onshore | unknown | ELC | 0.44 | 0.44 | 0.44 | ncap_af
Wind onshore | unknown | ELC | 1080 | 1030 | 980 | ncap_cost
Wind onshore | unknown | ELC | 26 | 26 | 26 | ncap_fom
Wind onshore | unknown | ELC | 1.5 | 1.5 | 1.5 | ncap_iled

## grid_transformers
~fi_t |  |  |  | ~fi_process
process | comm-in | comm-out | efficiency | set | process | description | activityunit | capacityunit | timeslicelevel
stepdown_VE30_765to400 | e_VE30-765 | e_VE30-400 | 1 | pre | stepdown_VE30_765to400 | Transformer: e_VE30-765 → e_VE30-400 | TWh | GW | daynite
stepup_VE30_400to765 | e_VE30-400 | e_VE30-765 | 1 | pre | stepup_VE30_400to765 | Transformer: e_VE30-400 → e_VE30-765 | TWh | GW | daynite
stepdown_VE30_400to230 | e_VE30-400 | e_VE30-230 | 1 | pre | stepdown_VE30_400to230 | Transformer: e_VE30-400 → e_VE30-230 | TWh | GW | daynite
stepup_VE30_230to400 | e_VE30-230 | e_VE30-400 | 1 | pre | stepup_VE30_230to400 | Transformer: e_VE30-230 → e_VE30-400 | TWh | GW | daynite
stepdown_VE32_400to230 | e_VE32-400 | e_VE32-230 | 1 | pre | stepdown_VE32_400to230 | Transformer: e_VE32-400 → e_VE32-230 | TWh | GW | daynite
stepup_VE32_230to400 | e_VE32-230 | e_VE32-400 | 1 | pre | stepup_VE32_230to400 | Transformer: e_VE32-230 → e_VE32-400 | TWh | GW | daynite
stepdown_VE4_400to230 | e_VE4-400 | e_VE4-230 | 1 | pre | stepdown_VE4_400to230 | Transformer: e_VE4-400 → e_VE4-230 | TWh | GW | daynite
stepup_VE4_230to400 | e_VE4-230 | e_VE4-400 | 1 | pre | stepup_VE4_230to400 | Transformer: e_VE4-230 → e_VE4-400 | TWh | GW | daynite
stepdown_VE46_400to230 | e_VE46-400 | e_VE46-230 | 1 | pre | stepdown_VE46_400to230 | Transformer: e_VE46-400 → e_VE46-230 | TWh | GW | daynite
stepup_VE46_230to400 | e_VE46-230 | e_VE46-400 | 1 | pre | stepup_VE46_230to400 | Transformer: e_VE46-230 → e_VE46-400 | TWh | GW | daynite
stepdown_VE5_400to230 | e_VE5-400 | e_VE5-230 | 1 | pre | stepdown_VE5_400to230 | Transformer: e_VE5-400 → e_VE5-230 | TWh | GW | daynite
stepup_VE5_230to400 | e_VE5-230 | e_VE5-400 | 1 | pre | stepup_VE5_230to400 | Transformer: e_VE5-230 → e_VE5-400 | TWh | GW | daynite
stepdown_w187936908_400to230 | e_w187936908-400 | e_w187936908-230 | 1 | pre | stepdown_w187936908_400to230 | Transformer: e_w187936908-400 → e_w187936908-230 | TWh | GW | daynite
stepup_w187936908_230to400 | e_w187936908-230 | e_w187936908-400 | 1 | pre | stepup_w187936908_230to400 | Transformer: e_w187936908-230 → e_w187936908-400 | TWh | GW | daynite
stepdown_w249635068_765to400 | e_w249635068-765 | e_w249635068-400 | 1 | pre | stepdown_w249635068_765to400 | Transformer: e_w249635068-765 → e_w249635068-400 | TWh | GW | daynite
stepup_w249635068_400to765 | e_w249635068-400 | e_w249635068-765 | 1 | pre | stepup_w249635068_400to765 | Transformer: e_w249635068-400 → e_w249635068-765 | TWh | GW | daynite
stepdown_w249635068_400to230 | e_w249635068-400 | e_w249635068-230 | 1 | pre | stepdown_w249635068_400to230 | Transformer: e_w249635068-400 → e_w249635068-230 | TWh | GW | daynite
stepup_w249635068_230to400 | e_w249635068-230 | e_w249635068-400 | 1 | pre | stepup_w249635068_230to400 | Transformer: e_w249635068-230 → e_w249635068-400 | TWh | GW | daynite
stepdown_w252437677_400to230 | e_w252437677-400 | e_w252437677-230 | 1 | pre | stepdown_w252437677_400to230 | Transformer: e_w252437677-400 → e_w252437677-230 | TWh | GW | daynite
stepup_w252437677_230to400 | e_w252437677-230 | e_w252437677-400 | 1 | pre | stepup_w252437677_230to400 | Transformer: e_w252437677-230 → e_w252437677-400 | TWh | GW | daynite
stepdown_w264134612_400to230 | e_w264134612-400 | e_w264134612-230 | 1 | pre | stepdown_w264134612_400to230 | Transformer: e_w264134612-400 → e_w264134612-230 | TWh | GW | daynite
stepup_w264134612_230to400 | e_w264134612-230 | e_w264134612-400 | 1 | pre | stepup_w264134612_230to400 | Transformer: e_w264134612-230 → e_w264134612-400 | TWh | GW | daynite
stepdown_w264310078_765to400 | e_w264310078-765 | e_w264310078-400 | 1 | pre | stepdown_w264310078_765to400 | Transformer: e_w264310078-765 → e_w264310078-400 | TWh | GW | daynite
stepup_w264310078_400to765 | e_w264310078-400 | e_w264310078-765 | 1 | pre | stepup_w264310078_400to765 | Transformer: e_w264310078-400 → e_w264310078-765 | TWh | GW | daynite
stepdown_w264334536_765to400 | e_w264334536-765 | e_w264334536-400 | 1 | pre | stepdown_w264334536_765to400 | Transformer: e_w264334536-765 → e_w264334536-400 | TWh | GW | daynite
stepup_w264334536_400to765 | e_w264334536-400 | e_w264334536-765 | 1 | pre | stepup_w264334536_400to765 | Transformer: e_w264334536-400 → e_w264334536-765 | TWh | GW | daynite
stepdown_w264334536_400to230 | e_w264334536-400 | e_w264334536-230 | 1 | pre | stepdown_w264334536_400to230 | Transformer: e_w264334536-400 → e_w264334536-230 | TWh | GW | daynite
stepup_w264334536_230to400 | e_w264334536-230 | e_w264334536-400 | 1 | pre | stepup_w264334536_230to400 | Transformer: e_w264334536-230 → e_w264334536-400 | TWh | GW | daynite
stepdown_w264393619_765to230 | e_w264393619-765 | e_w264393619-230 | 1 | pre | stepdown_w264393619_765to230 | Transformer: e_w264393619-765 → e_w264393619-230 | TWh | GW | daynite
stepup_w264393619_230to765 | e_w264393619-230 | e_w264393619-765 | 1 | pre | stepup_w264393619_230to765 | Transformer: e_w264393619-230 → e_w264393619-765 | TWh | GW | daynite
stepdown_w265524284_765to400 | e_w265524284-765 | e_w265524284-400 | 1 | pre | stepdown_w265524284_765to400 | Transformer: e_w265524284-765 → e_w265524284-400 | TWh | GW | daynite
stepup_w265524284_400to765 | e_w265524284-400 | e_w265524284-765 | 1 | pre | stepup_w265524284_400to765 | Transformer: e_w265524284-400 → e_w265524284-765 | TWh | GW | daynite
stepdown_w265524284_400to230 | e_w265524284-400 | e_w265524284-230 | 1 | pre | stepdown_w265524284_400to230 | Transformer: e_w265524284-400 → e_w265524284-230 | TWh | GW | daynite
stepup_w265524284_230to400 | e_w265524284-230 | e_w265524284-400 | 1 | pre | stepup_w265524284_230to400 | Transformer: e_w265524284-230 → e_w265524284-400 | TWh | GW | daynite
stepdown_w342975228_400to230 | e_w342975228-400 | e_w342975228-230 | 1 | pre | stepdown_w342975228_400to230 | Transformer: e_w342975228-400 → e_w342975228-230 | TWh | GW | daynite
stepup_w342975228_230to400 | e_w342975228-230 | e_w342975228-400 | 1 | pre | stepup_w342975228_230to400 | Transformer: e_w342975228-230 → e_w342975228-400 | TWh | GW | daynite
stepdown_w365007880_400to230 | e_w365007880-400 | e_w365007880-230 | 1 | pre | stepdown_w365007880_400to230 | Transformer: e_w365007880-400 → e_w365007880-230 | TWh | GW | daynite
stepup_w365007880_230to400 | e_w365007880-230 | e_w365007880-400 | 1 | pre | stepup_w365007880_230to400 | Transformer: e_w365007880-230 → e_w365007880-400 | TWh | GW | daynite
stepdown_w497203467_400to230 | e_w497203467-400 | e_w497203467-230 | 1 | pre | stepdown_w497203467_400to230 | Transformer: e_w497203467-400 → e_w497203467-230 | TWh | GW | daynite
stepup_w497203467_230to400 | e_w497203467-230 | e_w497203467-400 | 1 | pre | stepup_w497203467_230to400 | Transformer: e_w497203467-230 → e_w497203467-400 | TWh | GW | daynite
stepdown_w497276787_400to230 | e_w497276787-400 | e_w497276787-230 | 1 | pre | stepdown_w497276787_400to230 | Transformer: e_w497276787-400 → e_w497276787-230 | TWh | GW | daynite
stepup_w497276787_230to400 | e_w497276787-230 | e_w497276787-400 | 1 | pre | stepup_w497276787_230to400 | Transformer: e_w497276787-230 → e_w497276787-400 | TWh | GW | daynite
stepdown_w675996415_400to230 | e_w675996415-400 | e_w675996415-230 | 1 | pre | stepdown_w675996415_400to230 | Transformer: e_w675996415-400 → e_w675996415-230 | TWh | GW | daynite
stepup_w675996415_230to400 | e_w675996415-230 | e_w675996415-400 | 1 | pre | stepup_w675996415_230to400 | Transformer: e_w675996415-230 → e_w675996415-400 | TWh | GW | daynite
stepdown_w677186398_400to230 | e_w677186398-400 | e_w677186398-230 | 1 | pre | stepdown_w677186398_400to230 | Transformer: e_w677186398-400 → e_w677186398-230 | TWh | GW | daynite
stepup_w677186398_230to400 | e_w677186398-230 | e_w677186398-400 | 1 | pre | stepup_w677186398_230to400 | Transformer: e_w677186398-230 → e_w677186398-400 | TWh | GW | daynite
stepdown_w791120846_400to230 | e_w791120846-400 | e_w791120846-230 | 1 | pre | stepdown_w791120846_400to230 | Transformer: e_w791120846-400 → e_w791120846-230 | TWh | GW | daynite
stepup_w791120846_230to400 | e_w791120846-230 | e_w791120846-400 | 1 | pre | stepup_w791120846_230to400 | Transformer: e_w791120846-230 → e_w791120846-400 | TWh | GW | daynite