## ev_charging_uc
ts_12t | day_night | ts_12t
| D | WaD,SaD,RaP,RaD,FaD,FaP,SaP,WaP
| N | FaP,SaP,SaN,WaN,RaP,WaP,RaN,FaN
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
~UC_T: LO
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | FaP,SaP,SaN,WaN,RaP,WaP,RaN,FaN | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | WaD,SaD,RaP,RaD,FaD,FaP,SaP,WaP | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1

## timeslice_def
~TimeSlices
ts_12t | season | weekly | daynite | wparent | dparent
| F | a | D | W,R,S,F | a
| R |  | N |  | a
| S |  | P |  | a
W

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_IRL_001 | FaD | 0.15839 | IMPNRGZ | elc_won_IRL_001 | FaD | 0.10934 | IMPNRGZ | elc_wof_IRL_001 | FaD | 0.10703 | IMPNRGZ
elc_spv_IRL_001 | FaN | 0 | IMPNRGZ | elc_won_IRL_001 | FaN | 0.096403 | IMPNRGZ | elc_wof_IRL_001 | FaN | 0.10517 | IMPNRGZ
elc_spv_IRL_001 | FaP | 0.006072 | IMPNRGZ | elc_won_IRL_001 | FaP | 0.017948 | IMPNRGZ | elc_wof_IRL_001 | FaP | 0.018824 | IMPNRGZ
elc_spv_IRL_001 | RaD | 0.2998 | IMPNRGZ | elc_won_IRL_001 | RaD | 0.14326 | IMPNRGZ | elc_wof_IRL_001 | RaD | 0.12998 | IMPNRGZ
elc_spv_IRL_001 | RaN | 0.0080433 | IMPNRGZ | elc_won_IRL_001 | RaN | 0.12815 | IMPNRGZ | elc_wof_IRL_001 | RaN | 0.13597 | IMPNRGZ
elc_spv_IRL_001 | RaP | 0.030714 | IMPNRGZ | elc_won_IRL_001 | RaP | 0.024775 | IMPNRGZ | elc_wof_IRL_001 | RaP | 0.024658 | IMPNRGZ
elc_spv_IRL_001 | SaD | 0.33652 | IMPNRGZ | elc_won_IRL_001 | SaD | 0.080359 | IMPNRGZ | elc_wof_IRL_001 | SaD | 0.080627 | IMPNRGZ
elc_spv_IRL_001 | SaN | 0.023882 | IMPNRGZ | elc_won_IRL_001 | SaN | 0.061093 | IMPNRGZ | elc_wof_IRL_001 | SaN | 0.085604 | IMPNRGZ
elc_spv_IRL_001 | SaP | 0.041697 | IMPNRGZ | elc_won_IRL_001 | SaP | 0.013544 | IMPNRGZ | elc_wof_IRL_001 | SaP | 0.015695 | IMPNRGZ
elc_spv_IRL_001 | WaD | 0.093672 | IMPNRGZ | elc_won_IRL_001 | WaD | 0.15248 | IMPNRGZ | elc_wof_IRL_001 | WaD | 0.13788 | IMPNRGZ
elc_spv_IRL_001 | WaN | 0 | IMPNRGZ | elc_won_IRL_001 | WaN | 0.14507 | IMPNRGZ | elc_wof_IRL_001 | WaN | 0.13333 | IMPNRGZ
elc_spv_IRL_001 | WaP | 0.001217 | IMPNRGZ | elc_won_IRL_001 | WaP | 0.027575 | IMPNRGZ | elc_wof_IRL_001 | WaP | 0.025231 | IMPNRGZ
elc_spv_IRL_002 | FaD | 0.1637 | IMPNRGZ | elc_won_IRL_002 | FaD | 0.10799 | IMPNRGZ | elc_wof_IRL_002 | FaD | 0.1049 | IMPNRGZ
elc_spv_IRL_002 | FaN | 0 | IMPNRGZ | elc_won_IRL_002 | FaN | 0.095483 | IMPNRGZ | elc_wof_IRL_002 | FaN | 0.10638 | IMPNRGZ
elc_spv_IRL_002 | FaP | 0.0080772 | IMPNRGZ | elc_won_IRL_002 | FaP | 0.017847 | IMPNRGZ | elc_wof_IRL_002 | FaP | 0.018056 | IMPNRGZ
elc_spv_IRL_002 | RaD | 0.30865 | IMPNRGZ | elc_won_IRL_002 | RaD | 0.14442 | IMPNRGZ | elc_wof_IRL_002 | RaD | 0.13167 | IMPNRGZ
elc_spv_IRL_002 | RaN | 0.0073996 | IMPNRGZ | elc_won_IRL_002 | RaN | 0.13107 | IMPNRGZ | elc_wof_IRL_002 | RaN | 0.13756 | IMPNRGZ
elc_spv_IRL_002 | RaP | 0.032083 | IMPNRGZ | elc_won_IRL_002 | RaP | 0.025726 | IMPNRGZ | elc_wof_IRL_002 | RaP | 0.025737 | IMPNRGZ
elc_spv_IRL_002 | SaD | 0.32404 | IMPNRGZ | elc_won_IRL_002 | SaD | 0.082108 | IMPNRGZ | elc_wof_IRL_002 | SaD | 0.078552 | IMPNRGZ
elc_spv_IRL_002 | SaN | 0.020113 | IMPNRGZ | elc_won_IRL_002 | SaN | 0.06422 | IMPNRGZ | elc_wof_IRL_002 | SaN | 0.082076 | IMPNRGZ
elc_spv_IRL_002 | SaP | 0.041292 | IMPNRGZ | elc_won_IRL_002 | SaP | 0.014254 | IMPNRGZ | elc_wof_IRL_002 | SaP | 0.015235 | IMPNRGZ
elc_spv_IRL_002 | WaD | 0.09281 | IMPNRGZ | elc_won_IRL_002 | WaD | 0.15018 | IMPNRGZ | elc_wof_IRL_002 | WaD | 0.13929 | IMPNRGZ
elc_spv_IRL_002 | WaN | 0 | IMPNRGZ | elc_won_IRL_002 | WaN | 0.13951 | IMPNRGZ | elc_wof_IRL_002 | WaN | 0.13521 | IMPNRGZ
elc_spv_IRL_002 | WaP | 0.0018338 | IMPNRGZ | elc_won_IRL_002 | WaP | 0.027197 | IMPNRGZ | elc_wof_IRL_002 | WaP | 0.025335 | IMPNRGZ
elc_spv_IRL_003 | FaD | 0.15967 | IMPNRGZ | elc_won_IRL_003 | FaD | 0.11465 | IMPNRGZ | elc_wof_IRL_003 | FaD | 0.10669 | IMPNRGZ
elc_spv_IRL_003 | FaN | 0 | IMPNRGZ | elc_won_IRL_003 | FaN | 0.11028 | IMPNRGZ | elc_wof_IRL_003 | FaN | 0.10456 | IMPNRGZ
elc_spv_IRL_003 | FaP | 0.0072114 | IMPNRGZ | elc_won_IRL_003 | FaP | 0.020379 | IMPNRGZ | elc_wof_IRL_003 | FaP | 0.019013 | IMPNRGZ
elc_spv_IRL_003 | RaD | 0.30544 | IMPNRGZ | elc_won_IRL_003 | RaD | 0.12997 | IMPNRGZ | elc_wof_IRL_003 | RaD | 0.13454 | IMPNRGZ
elc_spv_IRL_003 | RaN | 0.007715 | IMPNRGZ | elc_won_IRL_003 | RaN | 0.12996 | IMPNRGZ | elc_wof_IRL_003 | RaN | 0.1369 | IMPNRGZ
elc_spv_IRL_003 | RaP | 0.031242 | IMPNRGZ | elc_won_IRL_003 | RaP | 0.021954 | IMPNRGZ | elc_wof_IRL_003 | RaP | 0.025612 | IMPNRGZ
elc_spv_IRL_003 | SaD | 0.32875 | IMPNRGZ | elc_won_IRL_003 | SaD | 0.079247 | IMPNRGZ | elc_wof_IRL_003 | SaD | 0.079747 | IMPNRGZ
elc_spv_IRL_003 | SaN | 0.022647 | IMPNRGZ | elc_won_IRL_003 | SaN | 0.077075 | IMPNRGZ | elc_wof_IRL_003 | SaN | 0.078714 | IMPNRGZ
elc_spv_IRL_003 | SaP | 0.041185 | IMPNRGZ | elc_won_IRL_003 | SaP | 0.016385 | IMPNRGZ | elc_wof_IRL_003 | SaP | 0.015439 | IMPNRGZ
elc_spv_IRL_003 | WaD | 0.094762 | IMPNRGZ | elc_won_IRL_003 | WaD | 0.13706 | IMPNRGZ | elc_wof_IRL_003 | WaD | 0.13934 | IMPNRGZ
elc_spv_IRL_003 | WaN | 0 | IMPNRGZ | elc_won_IRL_003 | WaN | 0.13784 | IMPNRGZ | elc_wof_IRL_003 | WaN | 0.13412 | IMPNRGZ
elc_spv_IRL_003 | WaP | 0.0013792 | IMPNRGZ | elc_won_IRL_003 | WaP | 0.025201 | IMPNRGZ | elc_wof_IRL_003 | WaP | 0.025328 | IMPNRGZ
elc_spv_IRL_004 | FaD | 0.16206 | IMPNRGZ | elc_won_IRL_004 | FaD | 0.11476 | IMPNRGZ | elc_wof_IRL_004 | FaD | 0.10908 | IMPNRGZ
elc_spv_IRL_004 | FaN | 0 | IMPNRGZ | elc_won_IRL_004 | FaN | 0.10413 | IMPNRGZ | elc_wof_IRL_004 | FaN | 0.10411 | IMPNRGZ
elc_spv_IRL_004 | FaP | 0.0057249 | IMPNRGZ | elc_won_IRL_004 | FaP | 0.019338 | IMPNRGZ | elc_wof_IRL_004 | FaP | 0.019865 | IMPNRGZ
elc_spv_IRL_004 | RaD | 0.30346 | IMPNRGZ | elc_won_IRL_004 | RaD | 0.13809 | IMPNRGZ | elc_wof_IRL_004 | RaD | 0.12693 | IMPNRGZ
elc_spv_IRL_004 | RaN | 0.0088376 | IMPNRGZ | elc_won_IRL_004 | RaN | 0.12839 | IMPNRGZ | elc_wof_IRL_004 | RaN | 0.13601 | IMPNRGZ
elc_spv_IRL_004 | RaP | 0.032326 | IMPNRGZ | elc_won_IRL_004 | RaP | 0.022575 | IMPNRGZ | elc_wof_IRL_004 | RaP | 0.02367 | IMPNRGZ
elc_spv_IRL_004 | SaD | 0.32865 | IMPNRGZ | elc_won_IRL_004 | SaD | 0.077799 | IMPNRGZ | elc_wof_IRL_004 | SaD | 0.083738 | IMPNRGZ
elc_spv_IRL_004 | SaN | 0.025748 | IMPNRGZ | elc_won_IRL_004 | SaN | 0.063721 | IMPNRGZ | elc_wof_IRL_004 | SaN | 0.087435 | IMPNRGZ
elc_spv_IRL_004 | SaP | 0.038314 | IMPNRGZ | elc_won_IRL_004 | SaP | 0.01395 | IMPNRGZ | elc_wof_IRL_004 | SaP | 0.017057 | IMPNRGZ
elc_spv_IRL_004 | WaD | 0.093359 | IMPNRGZ | elc_won_IRL_004 | WaD | 0.14636 | IMPNRGZ | elc_wof_IRL_004 | WaD | 0.13619 | IMPNRGZ
elc_spv_IRL_004 | WaN | 0 | IMPNRGZ | elc_won_IRL_004 | WaN | 0.14426 | IMPNRGZ | elc_wof_IRL_004 | WaN | 0.13058 | IMPNRGZ
elc_spv_IRL_004 | WaP | 0.0015186 | IMPNRGZ | elc_won_IRL_004 | WaP | 0.026628 | IMPNRGZ | elc_wof_IRL_004 | WaP | 0.025349 | IMPNRGZ
elc_spv_IRL_005 | FaD | 0.15941 | IMPNRGZ | elc_won_IRL_005 | FaD | 0.11759 | IMPNRGZ | elc_wof_IRL_005 | FaD | 0.10921 | IMPNRGZ
elc_spv_IRL_005 | FaN | 0 | IMPNRGZ | elc_won_IRL_005 | FaN | 0.10685 | IMPNRGZ | elc_wof_IRL_005 | FaN | 0.10215 | IMPNRGZ
elc_spv_IRL_005 | FaP | 0.005978 | IMPNRGZ | elc_won_IRL_005 | FaP | 0.019171 | IMPNRGZ | elc_wof_IRL_005 | FaP | 0.019915 | IMPNRGZ
elc_spv_IRL_005 | RaD | 0.30412 | IMPNRGZ | elc_won_IRL_005 | RaD | 0.13745 | IMPNRGZ | elc_wof_IRL_005 | RaD | 0.12947 | IMPNRGZ
elc_spv_IRL_005 | RaN | 0.0082593 | IMPNRGZ | elc_won_IRL_005 | RaN | 0.12401 | IMPNRGZ | elc_wof_IRL_005 | RaN | 0.13501 | IMPNRGZ
elc_spv_IRL_005 | RaP | 0.030549 | IMPNRGZ | elc_won_IRL_005 | RaP | 0.023091 | IMPNRGZ | elc_wof_IRL_005 | RaP | 0.023561 | IMPNRGZ
elc_spv_IRL_005 | SaD | 0.33273 | IMPNRGZ | elc_won_IRL_005 | SaD | 0.071625 | IMPNRGZ | elc_wof_IRL_005 | SaD | 0.085375 | IMPNRGZ
elc_spv_IRL_005 | SaN | 0.024908 | IMPNRGZ | elc_won_IRL_005 | SaN | 0.05993 | IMPNRGZ | elc_wof_IRL_005 | SaN | 0.080937 | IMPNRGZ
elc_spv_IRL_005 | SaP | 0.039611 | IMPNRGZ | elc_won_IRL_005 | SaP | 0.011479 | IMPNRGZ | elc_wof_IRL_005 | SaP | 0.017199 | IMPNRGZ
elc_spv_IRL_005 | WaD | 0.093175 | IMPNRGZ | elc_won_IRL_005 | WaD | 0.14865 | IMPNRGZ | elc_wof_IRL_005 | WaD | 0.13798 | IMPNRGZ
elc_spv_IRL_005 | WaN | 0 | IMPNRGZ | elc_won_IRL_005 | WaN | 0.15218 | IMPNRGZ | elc_wof_IRL_005 | WaN | 0.13353 | IMPNRGZ
elc_spv_IRL_005 | WaP | 0.0012626 | IMPNRGZ | elc_won_IRL_005 | WaP | 0.027968 | IMPNRGZ | elc_wof_IRL_005 | WaP | 0.025659 | IMPNRGZ
elc_spv_IRL_006 | FaD | 0.15908 | IMPNRGZ | elc_won_IRL_006 | FaD | 0.11203 | IMPNRGZ | elc_wof_IRL_006 | FaD | 0.10602 | IMPNRGZ
elc_spv_IRL_006 | FaN | 0 | IMPNRGZ | elc_won_IRL_006 | FaN | 0.10361 | IMPNRGZ | elc_wof_IRL_006 | FaN | 0.090078 | IMPNRGZ
elc_spv_IRL_006 | FaP | 0.0058044 | IMPNRGZ | elc_won_IRL_006 | FaP | 0.018682 | IMPNRGZ | elc_wof_IRL_006 | FaP | 0.01717 | IMPNRGZ
elc_spv_IRL_006 | RaD | 0.31 | IMPNRGZ | elc_won_IRL_006 | RaD | 0.13878 | IMPNRGZ | elc_wof_IRL_006 | RaD | 0.14591 | IMPNRGZ
elc_spv_IRL_006 | RaN | 0.0079908 | IMPNRGZ | elc_won_IRL_006 | RaN | 0.12572 | IMPNRGZ | elc_wof_IRL_006 | RaN | 0.12777 | IMPNRGZ
elc_spv_IRL_006 | RaP | 0.031641 | IMPNRGZ | elc_won_IRL_006 | RaP | 0.023063 | IMPNRGZ | elc_wof_IRL_006 | RaP | 0.026078 | IMPNRGZ
elc_spv_IRL_006 | SaD | 0.32626 | IMPNRGZ | elc_won_IRL_006 | SaD | 0.075518 | IMPNRGZ | elc_wof_IRL_006 | SaD | 0.07917 | IMPNRGZ
elc_spv_IRL_006 | SaN | 0.024699 | IMPNRGZ | elc_won_IRL_006 | SaN | 0.064461 | IMPNRGZ | elc_wof_IRL_006 | SaN | 0.061389 | IMPNRGZ
elc_spv_IRL_006 | SaP | 0.037779 | IMPNRGZ | elc_won_IRL_006 | SaP | 0.012653 | IMPNRGZ | elc_wof_IRL_006 | SaP | 0.013886 | IMPNRGZ
elc_spv_IRL_006 | WaD | 0.095067 | IMPNRGZ | elc_won_IRL_006 | WaD | 0.14902 | IMPNRGZ | elc_wof_IRL_006 | WaD | 0.16033 | IMPNRGZ
elc_spv_IRL_006 | WaN | 0 | IMPNRGZ | elc_won_IRL_006 | WaN | 0.14884 | IMPNRGZ | elc_wof_IRL_006 | WaN | 0.1436 | IMPNRGZ
elc_spv_IRL_006 | WaP | 0.0016815 | IMPNRGZ | elc_won_IRL_006 | WaP | 0.027622 | IMPNRGZ | elc_wof_IRL_006 | WaP | 0.028611 | IMPNRGZ
elc_spv_IRL_007 | FaD | 0.15789 | IMPNRGZ | elc_won_IRL_007 | FaD | 0.11217 | IMPNRGZ | elc_wof_IRL_007 | FaD | 0.11469 | IMPNRGZ
elc_spv_IRL_007 | FaN | 0 | IMPNRGZ | elc_won_IRL_007 | FaN | 0.10327 | IMPNRGZ | elc_wof_IRL_007 | FaN | 0.11034 | IMPNRGZ
elc_spv_IRL_007 | FaP | 0.0058643 | IMPNRGZ | elc_won_IRL_007 | FaP | 0.01875 | IMPNRGZ | elc_wof_IRL_007 | FaP | 0.02105 | IMPNRGZ
elc_spv_IRL_007 | RaD | 0.3102 | IMPNRGZ | elc_won_IRL_007 | RaD | 0.1389 | IMPNRGZ | elc_wof_IRL_007 | RaD | 0.12466 | IMPNRGZ
elc_spv_IRL_007 | RaN | 0.0087369 | IMPNRGZ | elc_won_IRL_007 | RaN | 0.12262 | IMPNRGZ | elc_wof_IRL_007 | RaN | 0.12827 | IMPNRGZ
elc_spv_IRL_007 | RaP | 0.034657 | IMPNRGZ | elc_won_IRL_007 | RaP | 0.023995 | IMPNRGZ | elc_wof_IRL_007 | RaP | 0.021654 | IMPNRGZ
elc_spv_IRL_007 | SaD | 0.32506 | IMPNRGZ | elc_won_IRL_007 | SaD | 0.077463 | IMPNRGZ | elc_wof_IRL_007 | SaD | 0.080558 | IMPNRGZ
elc_spv_IRL_007 | SaN | 0.025254 | IMPNRGZ | elc_won_IRL_007 | SaN | 0.065589 | IMPNRGZ | elc_wof_IRL_007 | SaN | 0.083924 | IMPNRGZ
elc_spv_IRL_007 | SaP | 0.03951 | IMPNRGZ | elc_won_IRL_007 | SaP | 0.013274 | IMPNRGZ | elc_wof_IRL_007 | SaP | 0.017779 | IMPNRGZ
elc_spv_IRL_007 | WaD | 0.091008 | IMPNRGZ | elc_won_IRL_007 | WaD | 0.15061 | IMPNRGZ | elc_wof_IRL_007 | WaD | 0.1356 | IMPNRGZ
elc_spv_IRL_007 | WaN | 0 | IMPNRGZ | elc_won_IRL_007 | WaN | 0.14602 | IMPNRGZ | elc_wof_IRL_007 | WaN | 0.13624 | IMPNRGZ
elc_spv_IRL_007 | WaP | 0.001818 | IMPNRGZ | elc_won_IRL_007 | WaP | 0.027348 | IMPNRGZ | elc_wof_IRL_007 | WaP | 0.025223 | IMPNRGZ
elc_spv_IRL_008 | FaD | 0.15528 | IMPNRGZ | elc_won_IRL_008 | FaD | 0.11909 | IMPNRGZ | elc_wof_IRL_008 | FaD | 0.12007 | IMPNRGZ
elc_spv_IRL_008 | FaN | 0 | IMPNRGZ | elc_won_IRL_008 | FaN | 0.11512 | IMPNRGZ | elc_wof_IRL_008 | FaN | 0.11799 | IMPNRGZ
elc_spv_IRL_008 | FaP | 0.0063077 | IMPNRGZ | elc_won_IRL_008 | FaP | 0.020526 | IMPNRGZ | elc_wof_IRL_008 | FaP | 0.02143 | IMPNRGZ
elc_spv_IRL_008 | RaD | 0.31609 | IMPNRGZ | elc_won_IRL_008 | RaD | 0.1254 | IMPNRGZ | elc_wof_IRL_008 | RaD | 0.12527 | IMPNRGZ
elc_spv_IRL_008 | RaN | 0.0081259 | IMPNRGZ | elc_won_IRL_008 | RaN | 0.1172 | IMPNRGZ | elc_wof_IRL_008 | RaN | 0.12812 | IMPNRGZ
elc_spv_IRL_008 | RaP | 0.032235 | IMPNRGZ | elc_won_IRL_008 | RaP | 0.023122 | IMPNRGZ | elc_wof_IRL_008 | RaP | 0.021799 | IMPNRGZ
elc_spv_IRL_008 | SaD | 0.32462 | IMPNRGZ | elc_won_IRL_008 | SaD | 0.077643 | IMPNRGZ | elc_wof_IRL_008 | SaD | 0.068436 | IMPNRGZ
elc_spv_IRL_008 | SaN | 0.022697 | IMPNRGZ | elc_won_IRL_008 | SaN | 0.07307 | IMPNRGZ | elc_wof_IRL_008 | SaN | 0.070042 | IMPNRGZ
elc_spv_IRL_008 | SaP | 0.038965 | IMPNRGZ | elc_won_IRL_008 | SaP | 0.013833 | IMPNRGZ | elc_wof_IRL_008 | SaP | 0.014421 | IMPNRGZ
elc_spv_IRL_008 | WaD | 0.09389 | IMPNRGZ | elc_won_IRL_008 | WaD | 0.14333 | IMPNRGZ | elc_wof_IRL_008 | WaD | 0.1402 | IMPNRGZ
elc_spv_IRL_008 | WaN | 0 | IMPNRGZ | elc_won_IRL_008 | WaN | 0.14449 | IMPNRGZ | elc_wof_IRL_008 | WaN | 0.14564 | IMPNRGZ
elc_spv_IRL_008 | WaP | 0.001788 | IMPNRGZ | elc_won_IRL_008 | WaP | 0.027177 | IMPNRGZ | elc_wof_IRL_008 | WaP | 0.026571 | IMPNRGZ
elc_spv_IRL_009 | FaD | 0.15559 | IMPNRGZ | elc_won_IRL_009 | FaD | 0.11604 | IMPNRGZ | elc_wof_IRL_009 | FaD | 0.11855 | IMPNRGZ
elc_spv_IRL_009 | FaN | 0 | IMPNRGZ | elc_won_IRL_009 | FaN | 0.11262 | IMPNRGZ | elc_wof_IRL_009 | FaN | 0.10227 | IMPNRGZ
elc_spv_IRL_009 | FaP | 0.0061994 | IMPNRGZ | elc_won_IRL_009 | FaP | 0.019863 | IMPNRGZ | elc_wof_IRL_009 | FaP | 0.01884 | IMPNRGZ
elc_spv_IRL_009 | RaD | 0.31269 | IMPNRGZ | elc_won_IRL_009 | RaD | 0.12735 | IMPNRGZ | elc_wof_IRL_009 | RaD | 0.13672 | IMPNRGZ
elc_spv_IRL_009 | RaN | 0.0083772 | IMPNRGZ | elc_won_IRL_009 | RaN | 0.12384 | IMPNRGZ | elc_wof_IRL_009 | RaN | 0.11585 | IMPNRGZ
elc_spv_IRL_009 | RaP | 0.032669 | IMPNRGZ | elc_won_IRL_009 | RaP | 0.022765 | IMPNRGZ | elc_wof_IRL_009 | RaP | 0.023411 | IMPNRGZ
elc_spv_IRL_009 | SaD | 0.32697 | IMPNRGZ | elc_won_IRL_009 | SaD | 0.0805 | IMPNRGZ | elc_wof_IRL_009 | SaD | 0.069545 | IMPNRGZ
elc_spv_IRL_009 | SaN | 0.023642 | IMPNRGZ | elc_won_IRL_009 | SaN | 0.079778 | IMPNRGZ | elc_wof_IRL_009 | SaN | 0.058834 | IMPNRGZ
elc_spv_IRL_009 | SaP | 0.038568 | IMPNRGZ | elc_won_IRL_009 | SaP | 0.014574 | IMPNRGZ | elc_wof_IRL_009 | SaP | 0.011651 | IMPNRGZ
elc_spv_IRL_009 | WaD | 0.093182 | IMPNRGZ | elc_won_IRL_009 | WaD | 0.13933 | IMPNRGZ | elc_wof_IRL_009 | WaD | 0.16025 | IMPNRGZ
elc_spv_IRL_009 | WaN | 0 | IMPNRGZ | elc_won_IRL_009 | WaN | 0.1379 | IMPNRGZ | elc_wof_IRL_009 | WaN | 0.15446 | IMPNRGZ
elc_spv_IRL_009 | WaP | 0.0021097 | IMPNRGZ | elc_won_IRL_009 | WaP | 0.025445 | IMPNRGZ | elc_wof_IRL_009 | WaP | 0.029624 | IMPNRGZ
elc_spv_IRL_010 | FaD | 0.15793 | IMPNRGZ | elc_won_IRL_010 | FaD | 0.11114 | IMPNRGZ | elc_wof_IRL_010 | FaD | 0.1157 | IMPNRGZ
elc_spv_IRL_010 | FaN | 0 | IMPNRGZ | elc_won_IRL_010 | FaN | 0.10433 | IMPNRGZ | elc_wof_IRL_010 | FaN | 0.11543 | IMPNRGZ
elc_spv_IRL_010 | FaP | 0.0069218 | IMPNRGZ | elc_won_IRL_010 | FaP | 0.018998 | IMPNRGZ | elc_wof_IRL_010 | FaP | 0.020704 | IMPNRGZ
elc_spv_IRL_010 | RaD | 0.30923 | IMPNRGZ | elc_won_IRL_010 | RaD | 0.13615 | IMPNRGZ | elc_wof_IRL_010 | RaD | 0.1223 | IMPNRGZ
elc_spv_IRL_010 | RaN | 0.0082047 | IMPNRGZ | elc_won_IRL_010 | RaN | 0.12677 | IMPNRGZ | elc_wof_IRL_010 | RaN | 0.12223 | IMPNRGZ
elc_spv_IRL_010 | RaP | 0.03255 | IMPNRGZ | elc_won_IRL_010 | RaP | 0.024314 | IMPNRGZ | elc_wof_IRL_010 | RaP | 0.022637 | IMPNRGZ
elc_spv_IRL_010 | SaD | 0.32871 | IMPNRGZ | elc_won_IRL_010 | SaD | 0.081648 | IMPNRGZ | elc_wof_IRL_010 | SaD | 0.077438 | IMPNRGZ
elc_spv_IRL_010 | SaN | 0.022387 | IMPNRGZ | elc_won_IRL_010 | SaN | 0.072775 | IMPNRGZ | elc_wof_IRL_010 | SaN | 0.080655 | IMPNRGZ
elc_spv_IRL_010 | SaP | 0.042325 | IMPNRGZ | elc_won_IRL_010 | SaP | 0.014626 | IMPNRGZ | elc_wof_IRL_010 | SaP | 0.014389 | IMPNRGZ
elc_spv_IRL_010 | WaD | 0.089651 | IMPNRGZ | elc_won_IRL_010 | WaD | 0.14476 | IMPNRGZ | elc_wof_IRL_010 | WaD | 0.14304 | IMPNRGZ
elc_spv_IRL_010 | WaN | 0 | IMPNRGZ | elc_won_IRL_010 | WaN | 0.13819 | IMPNRGZ | elc_wof_IRL_010 | WaN | 0.14008 | IMPNRGZ
elc_spv_IRL_010 | WaP | 0.0020935 | IMPNRGZ | elc_won_IRL_010 | WaP | 0.026298 | IMPNRGZ | elc_wof_IRL_010 | WaP | 0.025404 | IMPNRGZ
[8 empty] | elc_wof_IRL_011 | FaD | 0.11852 | IMPNRGZ
[8 empty] | elc_wof_IRL_011 | FaN | 0.11652 | IMPNRGZ
[8 empty] | elc_wof_IRL_011 | FaP | 0.021493 | IMPNRGZ
[8 empty] | elc_wof_IRL_011 | RaD | 0.12155 | IMPNRGZ
[8 empty] | elc_wof_IRL_011 | RaN | 0.11796 | IMPNRGZ
[8 empty] | elc_wof_IRL_011 | RaP | 0.02253 | IMPNRGZ
[8 empty] | elc_wof_IRL_011 | SaD | 0.078066 | IMPNRGZ
[8 empty] | elc_wof_IRL_011 | SaN | 0.083548 | IMPNRGZ
[8 empty] | elc_wof_IRL_011 | SaP | 0.014984 | IMPNRGZ
[8 empty] | elc_wof_IRL_011 | WaD | 0.13896 | IMPNRGZ
[8 empty] | elc_wof_IRL_011 | WaN | 0.13983 | IMPNRGZ
[8 empty] | elc_wof_IRL_011 | WaP | 0.026038 | IMPNRGZ
[8 empty] | elc_wof_IRL_012 | FaD | 0.11847 | IMPNRGZ
[8 empty] | elc_wof_IRL_012 | FaN | 0.11751 | IMPNRGZ
[8 empty] | elc_wof_IRL_012 | FaP | 0.021345 | IMPNRGZ
[8 empty] | elc_wof_IRL_012 | RaD | 0.12197 | IMPNRGZ
[8 empty] | elc_wof_IRL_012 | RaN | 0.1198 | IMPNRGZ
[8 empty] | elc_wof_IRL_012 | RaP | 0.022924 | IMPNRGZ
[8 empty] | elc_wof_IRL_012 | SaD | 0.075116 | IMPNRGZ
[8 empty] | elc_wof_IRL_012 | SaN | 0.077431 | IMPNRGZ
[8 empty] | elc_wof_IRL_012 | SaP | 0.014211 | IMPNRGZ
[8 empty] | elc_wof_IRL_012 | WaD | 0.1425 | IMPNRGZ
[8 empty] | elc_wof_IRL_012 | WaN | 0.14237 | IMPNRGZ
[8 empty] | elc_wof_IRL_012 | WaP | 0.026349 | IMPNRGZ
[8 empty] | elc_wof_IRL_013 | FaD | 0.1111 | IMPNRGZ
[8 empty] | elc_wof_IRL_013 | FaN | 0.11021 | IMPNRGZ
[8 empty] | elc_wof_IRL_013 | FaP | 0.019812 | IMPNRGZ
[8 empty] | elc_wof_IRL_013 | RaD | 0.12456 | IMPNRGZ
[8 empty] | elc_wof_IRL_013 | RaN | 0.12187 | IMPNRGZ
[8 empty] | elc_wof_IRL_013 | RaP | 0.021891 | IMPNRGZ
[8 empty] | elc_wof_IRL_013 | SaD | 0.09496 | IMPNRGZ
[8 empty] | elc_wof_IRL_013 | SaN | 0.090059 | IMPNRGZ
[8 empty] | elc_wof_IRL_013 | SaP | 0.017184 | IMPNRGZ
[8 empty] | elc_wof_IRL_013 | WaD | 0.13575 | IMPNRGZ
[8 empty] | elc_wof_IRL_013 | WaN | 0.1283 | IMPNRGZ
[8 empty] | elc_wof_IRL_013 | WaP | 0.024308 | IMPNRGZ
[8 empty] | elc_wof_IRL_014 | FaD | 0.11588 | IMPNRGZ
[8 empty] | elc_wof_IRL_014 | FaN | 0.11165 | IMPNRGZ
[8 empty] | elc_wof_IRL_014 | FaP | 0.019934 | IMPNRGZ
[8 empty] | elc_wof_IRL_014 | RaD | 0.12765 | IMPNRGZ
[8 empty] | elc_wof_IRL_014 | RaN | 0.1286 | IMPNRGZ
[8 empty] | elc_wof_IRL_014 | RaP | 0.023158 | IMPNRGZ
[8 empty] | elc_wof_IRL_014 | SaD | 0.07605 | IMPNRGZ
[8 empty] | elc_wof_IRL_014 | SaN | 0.077529 | IMPNRGZ
[8 empty] | elc_wof_IRL_014 | SaP | 0.014007 | IMPNRGZ
[8 empty] | elc_wof_IRL_014 | WaD | 0.14152 | IMPNRGZ
[8 empty] | elc_wof_IRL_014 | WaN | 0.13832 | IMPNRGZ
[8 empty] | elc_wof_IRL_014 | WaP | 0.025704 | IMPNRGZ
[8 empty] | elc_wof_IRL_015 | FaD | 0.1111 | IMPNRGZ
[8 empty] | elc_wof_IRL_015 | FaN | 0.10803 | IMPNRGZ
[8 empty] | elc_wof_IRL_015 | FaP | 0.019521 | IMPNRGZ
[8 empty] | elc_wof_IRL_015 | RaD | 0.13403 | IMPNRGZ
[8 empty] | elc_wof_IRL_015 | RaN | 0.13192 | IMPNRGZ
[8 empty] | elc_wof_IRL_015 | RaP | 0.024739 | IMPNRGZ
[8 empty] | elc_wof_IRL_015 | SaD | 0.07555 | IMPNRGZ
[8 empty] | elc_wof_IRL_015 | SaN | 0.074061 | IMPNRGZ
[8 empty] | elc_wof_IRL_015 | SaP | 0.014067 | IMPNRGZ
[8 empty] | elc_wof_IRL_015 | WaD | 0.14334 | IMPNRGZ
[8 empty] | elc_wof_IRL_015 | WaN | 0.13796 | IMPNRGZ
[8 empty] | elc_wof_IRL_015 | WaP | 0.025694 | IMPNRGZ
[8 empty] | elc_wof_IRL_016 | FaD | 0.11658 | IMPNRGZ
[8 empty] | elc_wof_IRL_016 | FaN | 0.11211 | IMPNRGZ
[8 empty] | elc_wof_IRL_016 | FaP | 0.019801 | IMPNRGZ
[8 empty] | elc_wof_IRL_016 | RaD | 0.12332 | IMPNRGZ
[8 empty] | elc_wof_IRL_016 | RaN | 0.12866 | IMPNRGZ
[8 empty] | elc_wof_IRL_016 | RaP | 0.023033 | IMPNRGZ
[8 empty] | elc_wof_IRL_016 | SaD | 0.079311 | IMPNRGZ
[8 empty] | elc_wof_IRL_016 | SaN | 0.079873 | IMPNRGZ
[8 empty] | elc_wof_IRL_016 | SaP | 0.014681 | IMPNRGZ
[8 empty] | elc_wof_IRL_016 | WaD | 0.1393 | IMPNRGZ
[8 empty] | elc_wof_IRL_016 | WaN | 0.13832 | IMPNRGZ
[8 empty] | elc_wof_IRL_016 | WaP | 0.024997 | IMPNRGZ
[8 empty] | elc_wof_IRL_017 | FaD | 0.11418 | IMPNRGZ
[8 empty] | elc_wof_IRL_017 | FaN | 0.11239 | IMPNRGZ
[8 empty] | elc_wof_IRL_017 | FaP | 0.019836 | IMPNRGZ
[8 empty] | elc_wof_IRL_017 | RaD | 0.1283 | IMPNRGZ
[8 empty] | elc_wof_IRL_017 | RaN | 0.13177 | IMPNRGZ
[8 empty] | elc_wof_IRL_017 | RaP | 0.023713 | IMPNRGZ
[8 empty] | elc_wof_IRL_017 | SaD | 0.076778 | IMPNRGZ
[8 empty] | elc_wof_IRL_017 | SaN | 0.078185 | IMPNRGZ
[8 empty] | elc_wof_IRL_017 | SaP | 0.014025 | IMPNRGZ
[8 empty] | elc_wof_IRL_017 | WaD | 0.1392 | IMPNRGZ
[8 empty] | elc_wof_IRL_017 | WaN | 0.13672 | IMPNRGZ
[8 empty] | elc_wof_IRL_017 | WaP | 0.024899 | IMPNRGZ
[8 empty] | elc_wof_IRL_018 | FaD | 0.11213 | IMPNRGZ
[8 empty] | elc_wof_IRL_018 | FaN | 0.11095 | IMPNRGZ
[8 empty] | elc_wof_IRL_018 | FaP | 0.019513 | IMPNRGZ
[8 empty] | elc_wof_IRL_018 | RaD | 0.12705 | IMPNRGZ
[8 empty] | elc_wof_IRL_018 | RaN | 0.12949 | IMPNRGZ
[8 empty] | elc_wof_IRL_018 | RaP | 0.023657 | IMPNRGZ
[8 empty] | elc_wof_IRL_018 | SaD | 0.079753 | IMPNRGZ
[8 empty] | elc_wof_IRL_018 | SaN | 0.079492 | IMPNRGZ
[8 empty] | elc_wof_IRL_018 | SaP | 0.014717 | IMPNRGZ
[8 empty] | elc_wof_IRL_018 | WaD | 0.13972 | IMPNRGZ
[8 empty] | elc_wof_IRL_018 | WaN | 0.13814 | IMPNRGZ
[8 empty] | elc_wof_IRL_018 | WaP | 0.025384 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT | [13 empty] | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX | [13 empty] | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX | [13 empty] | ~TFM_DINS-TSL: attribute=NCAP_PKCNT | [12 empty] | ~TFM_DINS-AT
process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | other_indexes | ncap_com
distr_solelc_spv_IRL_001 | DEF_E | 0 | 0.47431 | 0.91667 | 0.92308 | 0.23512 | 0.32684 | 0.79451 | 0.18976 | 0.25454 | 0 | 0.33556 | 0.74286 | distr_sol* | ELC4H | 0 | 0.19389 | 0 | 0.48543 | 0.064576 | 0.0092934 | 0.38119 | 0.037194 | 0.003696 | 0 | 0.11771 | 0.045366 | distr_sol* | ELC8H | 0 | 0.10429 | 0.83974 | 0.068674 | 0.051952 | 0.048181 | 0.018056 | 0.054931 | 0.041118 | 0 | 0.072422 | 0.16533 | distr_solelc_spv_IRL_001 | 0 | 0.12049 | 0.0086094 | 0.010121 | 0.37724 | 0.21256 | 0.030051 | 0.42345 | 0.28857 | 0 | 0.20149 | 0.042485 | distr_solelc_spv_IRL_001 | DEF_C | OUT | 0.42178
distr_solelc_spv_IRL_002 | DEF_E | 0 | 0.48757 | 0.90443 | 0.91968 | 0.23053 | 0.35335 | 0.81677 | 0.20409 | 0.2405 | 0 | 0.33829 | 0.70275 | distr_won* | ELC4H | 0.005426 | 0.007283 | 0.0082903 | 0.0063769 | 0.0068604 | 0 | 0.011506 | 0.014963 | 0.0082117 | 0.018212 | 0.0089823 | 0.0079067 | distr_won* | ELC8H | 0.012554 | 0.0096827 | 0.024351 | 0.014028 | 0.017191 | 0.0086633 | 0.040662 | 0.030106 | 0.028125 | 0.03128 | 0.034889 | 0.016007 | distr_solelc_spv_IRL_002 | 0 | 0.11953 | 0.012989 | 0.0093226 | 0.38886 | 0.22232 | 0.02534 | 0.40826 | 0.28613 | 0 | 0.20851 | 0.056585 | distr_solelc_spv_IRL_002 | DEF_C | OUT | 0.40608
distr_solelc_spv_IRL_003 | DEF_E | 0 | 0.47932 | 0.90832 | 0.92155 | 0.23612 | 0.33017 | 0.80638 | 0.2044 | 0.26477 | 0 | 0.34237 | 0.71621 | distr_wof* | ELC4H | 0.0041113 | 0.0034852 | 0.0040633 | 0.0019415 | 0.0012111 | 0.0022887 | 0.001678 | 0.0063693 | 0.0015096 | 0.0034643 | 0.0027422 | 0 | distr_wof* | ELC8H | 0.0068656 | 0.0098844 | 0.0056246 | 0.0069742 | 0.0034638 | 0.0015852 | 0.014527 | 0.019624 | 0.026545 | 0.0096916 | 0.014106 | 0.013782 | distr_solelc_spv_IRL_003 | 0 | 0.11691 | 0.0093584 | 0.0093111 | 0.36863 | 0.20738 | 0.027332 | 0.39676 | 0.27338 | 0 | 0.19482 | 0.048394 | distr_solelc_spv_IRL_003 | DEF_C | OUT | 0.39553
distr_solelc_spv_IRL_004 | DEF_E | 0 | 0.51284 | 0.93414 | 0.91273 | 0.2536 | 0.33538 | 0.7837 | 0.21228 | 0.27749 | 0 | 0.35538 | 0.75495 | [28 empty] | distr_solelc_spv_IRL_004 | 0 | 0.10709 | 0.0095805 | 0.0099168 | 0.34052 | 0.1995 | 0.028892 | 0.36878 | 0.23646 | 0 | 0.18385 | 0.03572 | distr_solelc_spv_IRL_004 | DEF_C | OUT | 0.36758
distr_solelc_spv_IRL_005 | DEF_E | 0 | 0.48593 | 0.93144 | 0.92168 | 0.23468 | 0.32629 | 0.79137 | 0.19896 | 0.28093 | 0 | 0.34046 | 0.74885 | [28 empty] | distr_solelc_spv_IRL_005 | 0 | 0.11618 | 0.0086589 | 0.010075 | 0.37097 | 0.20495 | 0.030384 | 0.40587 | 0.26575 | 0 | 0.19658 | 0.040547 | distr_solelc_spv_IRL_005 | DEF_C | OUT | 0.40311
distr_solelc_spv_IRL_006 | DEF_E | 0 | 0.48792 | 0.92148 | 0.92 | 0.24848 | 0.33827 | 0.78875 | 0.20865 | 0.28911 | 0 | 0.35059 | 0.7391 | [28 empty] | distr_solelc_spv_IRL_006 | 0 | 0.10938 | 0.010641 | 0.0089941 | 0.34892 | 0.19588 | 0.0278 | 0.36722 | 0.23387 | 0 | 0.18102 | 0.036328 | distr_solelc_spv_IRL_006 | DEF_C | OUT | 0.36585
distr_solelc_spv_IRL_007 | DEF_E | 0 | 0.51942 | 0.93754 | 0.90967 | 0.24767 | 0.33522 | 0.78804 | 0.21389 | 0.2686 | 0 | 0.35325 | 0.74529 | [28 empty] | distr_solelc_spv_IRL_007 | 0 | 0.10313 | 0.01133 | 0.0096851 | 0.34387 | 0.2113 | 0.027994 | 0.36034 | 0.24089 | 0 | 0.17695 | 0.036147 | distr_solelc_spv_IRL_007 | DEF_C | OUT | 0.35603
distr_solelc_spv_IRL_008 | DEF_E | 0 | 0.48624 | 0.91049 | 0.9237 | 0.24171 | 0.32846 | 0.79601 | 0.2131 | 0.27349 | 0 | 0.35193 | 0.71204 | [28 empty] | distr_solelc_spv_IRL_008 | 0 | 0.10922 | 0.01144 | 0.0092472 | 0.35971 | 0.20176 | 0.025829 | 0.36941 | 0.24388 | 0 | 0.17865 | 0.039914 | distr_solelc_spv_IRL_008 | DEF_C | OUT | 0.36737
distr_solelc_spv_IRL_009 | DEF_E | 0 | 0.49105 | 0.91401 | 0.91511 | 0.24292 | 0.32713 | 0.78688 | 0.20378 | 0.26712 | 0 | 0.34042 | 0.70492 | [28 empty] | distr_solelc_spv_IRL_009 | 0 | 0.11009 | 0.013709 | 0.009682 | 0.3614 | 0.20766 | 0.027324 | 0.3779 | 0.24516 | 0 | 0.18179 | 0.03984 | distr_solelc_spv_IRL_009 | DEF_C | OUT | 0.3733
distr_solelc_spv_IRL_010 | DEF_E | 0 | 0.48627 | 0.90553 | 0.91742 | 0.23573 | 0.32905 | 0.78793 | 0.2043 | 0.2354 | 0 | 0.33532 | 0.68161 | [28 empty] | distr_solelc_spv_IRL_010 | 0 | 0.115 | 0.01477 | 0.010296 | 0.38804 | 0.22466 | 0.028092 | 0.41249 | 0.29212 | 0 | 0.20037 | 0.048298 | distr_solelc_spv_IRL_010 | DEF_C | OUT | 0.40817
distr_wofelc_wof_IRL_001 | DEF_E | 0.23018 | 0.21478 | 0.21442 | 0.22081 | 0.23846 | 0.21233 | 0.34167 | 0.36067 | 0.31879 | 0.30784 | 0.31478 | 0.31718 | [28 empty] | distr_wofelc_wof_IRL_001 | 0.69612 | 0.71987 | 0.72454 | 0.69449 | 0.66388 | 0.69267 | 0.43723 | 0.41181 | 0.44089 | 0.54308 | 0.55268 | 0.5346 | distr_wonelc_won_IRL_001 | DEF_C | OUT | 0.54061
distr_wofelc_wof_IRL_002 | DEF_E | 0.21372 | 0.20278 | 0.20141 | 0.19912 | 0.22162 | 0.18315 | 0.33805 | 0.35812 | 0.32641 | 0.30265 | 0.32695 | 0.32675 | [28 empty] | distr_wofelc_wof_IRL_002 | 0.72 | 0.74174 | 0.74199 | 0.71657 | 0.68592 | 0.73739 | 0.42755 | 0.4092 | 0.43648 | 0.56022 | 0.55243 | 0.52299 | distr_wonelc_won_IRL_002 | DEF_C | OUT | 0.58588
distr_wofelc_wof_IRL_003 | DEF_E | 0.21908 | 0.20892 | 0.20728 | 0.20352 | 0.21469 | 0.18891 | 0.34744 | 0.33884 | 0.31202 | 0.2968 | 0.30814 | 0.29658 | [28 empty] | distr_wofelc_wof_IRL_003 | 0.6891 | 0.71595 | 0.71577 | 0.68812 | 0.67625 | 0.70806 | 0.39565 | 0.40084 | 0.42683 | 0.53134 | 0.54215 | 0.53139 | distr_wonelc_won_IRL_003 | DEF_C | OUT | 0.63421
distr_wofelc_wof_IRL_004 | DEF_E | 0.23391 | 0.22511 | 0.21066 | 0.21428 | 0.24734 | 0.23121 | 0.32822 | 0.35382 | 0.31361 | 0.3035 | 0.31225 | 0.30182 | [28 empty] | distr_wofelc_wof_IRL_004 | 0.67849 | 0.70766 | 0.72445 | 0.69133 | 0.64518 | 0.66173 | 0.44444 | 0.42565 | 0.47686 | 0.535 | 0.56055 | 0.56146 | distr_wonelc_won_IRL_004 | DEF_C | OUT | 0.54893
distr_wofelc_wof_IRL_005 | DEF_E | 0.25644 | 0.24669 | 0.23871 | 0.23796 | 0.26768 | 0.25571 | 0.34425 | 0.37546 | 0.32638 | 0.3183 | 0.31078 | 0.29711 | [28 empty] | distr_wofelc_wof_IRL_005 | 0.62728 | 0.64816 | 0.66294 | 0.62044 | 0.59496 | 0.59549 | 0.37194 | 0.39233 | 0.43469 | 0.47457 | 0.50738 | 0.50887 | distr_wonelc_won_IRL_005 | DEF_C | OUT | 0.58874
distr_wofelc_wof_IRL_006 | DEF_E | 0.32285 | 0.3063 | 0.30693 | 0.30877 | 0.29718 | 0.2863 | 0.43617 | 0.40886 | 0.36638 | 0.36958 | 0.36772 | 0.35716 | [28 empty] | distr_wofelc_wof_IRL_006 | 0.4664 | 0.52075 | 0.51111 | 0.40596 | 0.46361 | 0.45573 | 0.19506 | 0.25155 | 0.24266 | 0.28936 | 0.34056 | 0.30336 | distr_wonelc_won_IRL_006 | DEF_C | OUT | 0.55572
distr_wofelc_wof_IRL_007 | DEF_E | 0.2347 | 0.23708 | 0.2342 | 0.25562 | 0.26801 | 0.26025 | 0.32681 | 0.3608 | 0.31353 | 0.28688 | 0.28397 | 0.27632 | [28 empty] | distr_wofelc_wof_IRL_007 | 0.66859 | 0.66545 | 0.68077 | 0.61579 | 0.59845 | 0.57175 | 0.40289 | 0.38673 | 0.46943 | 0.53553 | 0.55664 | 0.56191 | distr_wonelc_won_IRL_007 | DEF_C | OUT | 0.60902
distr_wofelc_wof_IRL_008 | DEF_E | 0.22613 | 0.24568 | 0.22859 | 0.28844 | 0.29181 | 0.29348 | 0.37021 | 0.4213 | 0.36734 | 0.26947 | 0.28668 | 0.26654 | [28 empty] | distr_wofelc_wof_IRL_008 | 0.66686 | 0.64195 | 0.66912 | 0.57385 | 0.5611 | 0.53701 | 0.31373 | 0.30653 | 0.35526 | 0.53431 | 0.54374 | 0.53374 | distr_wonelc_won_IRL_008 | DEF_C | OUT | 0.73223
distr_wofelc_wof_IRL_009 | DEF_E | 0.30713 | 0.29299 | 0.29374 | 0.36035 | 0.34282 | 0.36027 | 0.48052 | 0.46608 | 0.4577 | 0.37548 | 0.37767 | 0.36973 | [28 empty] | distr_wofelc_wof_IRL_009 | 0.5056 | 0.52454 | 0.53333 | 0.37097 | 0.43779 | 0.41231 | 0.18839 | 0.22269 | 0.20519 | 0.33107 | 0.38379 | 0.33545 | distr_wonelc_won_IRL_009 | DEF_C | OUT | 0.77765
distr_wofelc_wof_IRL_010 | DEF_E | 0.17554 | 0.16389 | 0.1741 | 0.23789 | 0.24888 | 0.23541 | 0.36901 | 0.3784 | 0.36548 | 0.28123 | 0.28188 | 0.27644 | [28 empty] | distr_wofelc_wof_IRL_010 | 0.77137 | 0.78767 | 0.76942 | 0.65844 | 0.65882 | 0.6707 | 0.43449 | 0.41716 | 0.42634 | 0.62864 | 0.63012 | 0.62016 | distr_wonelc_won_IRL_010 | DEF_C | OUT | 0.66586
distr_wofelc_wof_IRL_011 | DEF_E | 0.17452 | 0.17796 | 0.16198 | 0.26719 | 0.25341 | 0.24527 | 0.36489 | 0.37538 | 0.35761 | 0.27861 | 0.27552 | 0.25701 | [28 empty] | distr_wofelc_wof_IRL_011 | 0.77737 | 0.77252 | 0.79617 | 0.64156 | 0.66108 | 0.67392 | 0.45438 | 0.42456 | 0.44822 | 0.64065 | 0.65167 | 0.64996 | distr_wofelc_wof_IRL_001 | DEF_C | OUT | 0.7241
distr_wofelc_wof_IRL_012 | DEF_E | 0.18294 | 0.18558 | 0.16757 | 0.26497 | 0.258 | 0.2373 | 0.38591 | 0.38157 | 0.35296 | 0.27451 | 0.27785 | 0.26002 | [28 empty] | distr_wofelc_wof_IRL_012 | 0.73847 | 0.73912 | 0.75168 | 0.6079 | 0.61891 | 0.63976 | 0.39289 | 0.38115 | 0.39661 | 0.60282 | 0.60772 | 0.60224 | distr_wofelc_wof_IRL_002 | DEF_C | OUT | 0.74199
distr_wofelc_wof_IRL_013 | DEF_E | 0.19826 | 0.1637 | 0.16902 | 0.23274 | 0.22102 | 0.22877 | 0.34475 | 0.32425 | 0.32643 | 0.27212 | 0.26108 | 0.26699 | [28 empty] | distr_wofelc_wof_IRL_013 | 0.76285 | 0.80712 | 0.79491 | 0.70885 | 0.7245 | 0.70029 | 0.52383 | 0.55234 | 0.54972 | 0.64806 | 0.65334 | 0.64078 | distr_wofelc_wof_IRL_003 | DEF_C | OUT | 0.71577
distr_wofelc_wof_IRL_014 | DEF_E | 0.18676 | 0.1753 | 0.17717 | 0.21314 | 0.24091 | 0.21902 | 0.38127 | 0.37283 | 0.35348 | 0.28503 | 0.27007 | 0.29908 | [28 empty] | distr_wofelc_wof_IRL_014 | 0.74398 | 0.76114 | 0.76036 | 0.67663 | 0.67163 | 0.67016 | 0.40792 | 0.40014 | 0.40534 | 0.5939 | 0.61641 | 0.58321 | distr_wofelc_wof_IRL_004 | DEF_C | OUT | 0.7086
distr_wofelc_wof_IRL_015 | DEF_E | 0.22456 | 0.20877 | 0.21645 | 0.22412 | 0.23488 | 0.22162 | 0.38669 | 0.36702 | 0.34621 | 0.28744 | 0.29487 | 0.3107 | [28 empty] | distr_wofelc_wof_IRL_015 | 0.67131 | 0.69749 | 0.68766 | 0.62795 | 0.638 | 0.64769 | 0.35255 | 0.35964 | 0.36829 | 0.5199 | 0.53466 | 0.51669 | distr_wofelc_wof_IRL_005 | DEF_C | OUT | 0.66294
distr_wofelc_wof_IRL_016 | DEF_E | 0.16017 | 0.16115 | 0.16601 | 0.20805 | 0.23496 | 0.20466 | 0.3655 | 0.34811 | 0.36519 | 0.27782 | 0.25714 | 0.28904 | [28 empty] | distr_wofelc_wof_IRL_016 | 0.79366 | 0.79928 | 0.78884 | 0.72219 | 0.69219 | 0.71105 | 0.44832 | 0.44517 | 0.4532 | 0.63617 | 0.66156 | 0.618 | distr_wofelc_wof_IRL_006 | DEF_C | OUT | 0.52075
distr_wofelc_wof_IRL_017 | DEF_E | 0.18137 | 0.17145 | 0.17155 | 0.19657 | 0.21904 | 0.19202 | 0.37555 | 0.34611 | 0.35492 | 0.26555 | 0.2564 | 0.28184 | [28 empty] | distr_wofelc_wof_IRL_017 | 0.76219 | 0.77605 | 0.76345 | 0.71867 | 0.69969 | 0.7113 | 0.4264 | 0.41873 | 0.42068 | 0.61968 | 0.62958 | 0.60152 | distr_wofelc_wof_IRL_007 | DEF_C | OUT | 0.67613
distr_wofelc_wof_IRL_018 | DEF_E | 0.16384 | 0.15816 | 0.15765 | 0.20206 | 0.2173 | 0.18489 | 0.35214 | 0.32883 | 0.34289 | 0.26315 | 0.2511 | 0.27865 | [28 empty] | distr_wofelc_wof_IRL_018 | 0.78695 | 0.7959 | 0.7953 | 0.72164 | 0.70802 | 0.72508 | 0.44298 | 0.44444 | 0.45107 | 0.62509 | 0.63172 | 0.60465 | distr_wofelc_wof_IRL_008 | DEF_C | OUT | 0.66912
distr_wonelc_won_IRL_001 | DEF_E | 0.29864 | 0.30363 | 0.29397 | 0.30294 | 0.29832 | 0.29509 | 0.40731 | 0.44036 | 0.40166 | 0.33859 | 0.35335 | 0.33061 | [28 empty] | distr_wonelc_won_IRL_001 | 0.51439 | 0.54066 | 0.53775 | 0.44452 | 0.49691 | 0.47265 | 0.21191 | 0.27874 | 0.25838 | 0.33807 | 0.38343 | 0.34617 | distr_wofelc_wof_IRL_009 | DEF_C | OUT | 0.53311
distr_wonelc_won_IRL_002 | DEF_E | 0.28381 | 0.27738 | 0.27371 | 0.27602 | 0.26972 | 0.26739 | 0.39801 | 0.39708 | 0.35929 | 0.33475 | 0.33599 | 0.32724 | [28 empty] | distr_wonelc_won_IRL_002 | 0.54442 | 0.58605 | 0.58374 | 0.50036 | 0.55134 | 0.54016 | 0.24517 | 0.31346 | 0.29928 | 0.36852 | 0.4168 | 0.37886 | distr_wofelc_wof_IRL_010 | DEF_C | OUT | 0.78767
distr_wonelc_won_IRL_003 | DEF_E | 0.24328 | 0.25292 | 0.24184 | 0.25961 | 0.27107 | 0.27597 | 0.33429 | 0.3985 | 0.34132 | 0.27665 | 0.29682 | 0.28624 | [28 empty] | distr_wonelc_won_IRL_003 | 0.63076 | 0.62719 | 0.63428 | 0.58179 | 0.58182 | 0.54054 | 0.34503 | 0.35476 | 0.40342 | 0.49911 | 0.51889 | 0.50728 | distr_wofelc_wof_IRL_011 | DEF_C | OUT | 0.79617
distr_wonelc_won_IRL_004 | DEF_E | 0.28406 | 0.29703 | 0.27891 | 0.29637 | 0.29311 | 0.29957 | 0.37508 | 0.43676 | 0.38794 | 0.30642 | 0.32519 | 0.3061 | [28 empty] | distr_wonelc_won_IRL_004 | 0.54076 | 0.54861 | 0.54898 | 0.47082 | 0.50638 | 0.45531 | 0.23366 | 0.28529 | 0.28134 | 0.38602 | 0.42546 | 0.3943 | distr_wofelc_wof_IRL_012 | DEF_C | OUT | 0.75006
distr_wonelc_won_IRL_005 | DEF_E | 0.26751 | 0.27403 | 0.25994 | 0.32021 | 0.30427 | 0.32463 | 0.42798 | 0.44418 | 0.43065 | 0.32083 | 0.32482 | 0.30941 | [28 empty] | distr_wonelc_won_IRL_005 | 0.58282 | 0.56931 | 0.58911 | 0.46461 | 0.51497 | 0.47581 | 0.22453 | 0.26834 | 0.23654 | 0.4047 | 0.44539 | 0.39937 | distr_wofelc_wof_IRL_013 | DEF_C | OUT | 0.80712
distr_wonelc_won_IRL_006 | DEF_E | 0.28542 | 0.29437 | 0.27786 | 0.31174 | 0.31566 | 0.33368 | 0.38898 | 0.46091 | 0.41885 | 0.31434 | 0.33454 | 0.30932 | [28 empty] | distr_wonelc_won_IRL_006 | 0.54455 | 0.54519 | 0.55582 | 0.44994 | 0.49671 | 0.454 | 0.23071 | 0.27028 | 0.24908 | 0.37491 | 0.40537 | 0.37178 | distr_wofelc_wof_IRL_014 | DEF_C | OUT | 0.76114
distr_wonelc_won_IRL_007 | DEF_E | 0.25939 | 0.25621 | 0.25101 | 0.30145 | 0.29085 | 0.29707 | 0.40529 | 0.42682 | 0.40026 | 0.3305 | 0.32731 | 0.32388 | [28 empty] | distr_wonelc_won_IRL_007 | 0.59046 | 0.60902 | 0.60823 | 0.48506 | 0.54945 | 0.52206 | 0.25946 | 0.30643 | 0.2888 | 0.413 | 0.44861 | 0.41243 | distr_wofelc_wof_IRL_015 | DEF_C | OUT | 0.69497
distr_wonelc_won_IRL_008 | DEF_E | 0.20524 | 0.21799 | 0.19021 | 0.29711 | 0.27477 | 0.26496 | 0.41939 | 0.41621 | 0.39358 | 0.2977 | 0.29302 | 0.29182 | [28 empty] | distr_wonelc_won_IRL_008 | 0.70843 | 0.70271 | 0.73285 | 0.56213 | 0.60146 | 0.60994 | 0.35047 | 0.3724 | 0.3649 | 0.5582 | 0.57745 | 0.54743 | distr_wofelc_wof_IRL_016 | DEF_C | OUT | 0.79928
distr_wonelc_won_IRL_009 | DEF_E | 0.1703 | 0.17019 | 0.16695 | 0.22278 | 0.22434 | 0.2221 | 0.371 | 0.37626 | 0.35305 | 0.27811 | 0.26312 | 0.28545 | [28 empty] | distr_wonelc_won_IRL_009 | 0.76966 | 0.77765 | 0.78108 | 0.67615 | 0.69534 | 0.68365 | 0.43559 | 0.43953 | 0.43765 | 0.62167 | 0.64054 | 0.60304 | distr_wofelc_wof_IRL_017 | DEF_C | OUT | 0.77605
distr_wonelc_won_IRL_010 | DEF_E | 0.23109 | 0.22182 | 0.21141 | 0.24735 | 0.25001 | 0.24735 | 0.38737 | 0.39048 | 0.3665 | 0.29753 | 0.2937 | 0.30849 | [28 empty] | distr_wonelc_won_IRL_010 | 0.63565 | 0.66588 | 0.66533 | 0.57044 | 0.61266 | 0.60174 | 0.32748 | 0.3674 | 0.36198 | 0.47462 | 0.50563 | 0.47535 | distr_wofelc_wof_IRL_018 | DEF_C | OUT | 0.7959

## load_shapes
~TFM_DINS-AT
g_yrfr | com_fr | timeslice | commodity
0.11427 | 0.16087 | FaD | elc_roadtransport
0.11427 | 0.052548 | FaN | elc_roadtransport
0.020776 | 0.035897 | FaP | elc_roadtransport
0.11553 | 0.16264 | RaD | elc_roadtransport
0.11553 | 0.053125 | RaN | elc_roadtransport
0.021005 | 0.036291 | RaP | elc_roadtransport
0.11553 | 0.16264 | SaD | elc_roadtransport
0.11553 | 0.053125 | SaN | elc_roadtransport
0.021005 | 0.036291 | SaP | elc_roadtransport
0.11301 | 0.1591 | WaD | elc_roadtransport
0.11301 | 0.05197 | WaN | elc_roadtransport
0.020548 | 0.035502 | WaP | elc_roadtransport

## demand
~TFM_DINS-AT
commodity | timeslice | com_fr
elc_buildings | FaD | 0.11888
elc_buildings | FaN | 0.09989
elc_buildings | FaP | 0.02271
elc_buildings | RaD | 0.13385
elc_buildings | RaN | 0.10815
elc_buildings | RaP | 0.02537
elc_buildings | SaD | 0.10809
elc_buildings | SaN | 0.090726
elc_buildings | SaP | 0.020239
elc_buildings | WaD | 0.13473
elc_buildings | WaN | 0.11135
elc_buildings | WaP | 0.026009
elc_industry | FaD | 0.11494
elc_industry | FaN | 0.11332
elc_industry | FaP | 0.020992
elc_industry | RaD | 0.11655
elc_industry | RaN | 0.11435
elc_industry | RaP | 0.02128
elc_industry | SaD | 0.11606
elc_industry | SaN | 0.11457
elc_industry | SaP | 0.021151
elc_industry | WaD | 0.11397
elc_industry | WaN | 0.11197
elc_industry | WaP | 0.020851

## peak_factors
~TFM_DINS-AT
commodity | timeslice | com_pkflx
ELC | FaD | 0.23973
ELC | FaN | 0.45298
ELC | FaP | 0.20309
ELC | RaD | 0.19967
ELC | RaN | 0.4374
ELC | RaP | 0.1582
ELC | SaD | 0.12352
ELC | SaN | 0.27597
ELC | SaP | 0.077527
ELC | WaD | 0.15015
ELC | WaN | 0.36411
ELC | WaP | 0.099697

## hydro_af
~TFM_INS-AT
Year | timeslice | ncap_afs | pset_ci
2020 | F | 0.53513 | hydro
2020 | R | 0.30053 | hydro
2020 | S | 0.22463 | hydro
2020 | W | 0.6875 | hydro
2021 | F | 0.30427 | hydro
2021 | R | 0.31983 | hydro
2021 | S | 0.11263 | hydro
2021 | W | 0.67733 | hydro
2022 | F | 0.43803 | hydro
2022 | R | 0.2632 | hydro
2022 | S | 0.056633 | hydro
2022 | W | 0.54267 | hydro
2025 | F | 0.37087 | hydro
2025 | R | 0.3679 | hydro
2025 | S | 0.15677 | hydro
2025 | W | 0.70723 | hydro
2026 | F | 0.36863 | hydro
2026 | R | 0.31413 | hydro
2026 | S | 0.11487 | hydro
2026 | W | 0.631 | hydro
2027 | F | 0.3419 | hydro
2027 | R | 0.24017 | hydro
2027 | S | 0.15767 | hydro
2027 | W | 0.54363 | hydro
2028 | F | 0.3385 | hydro
2028 | R | 0.29813 | hydro
2028 | S | 0.1906 | hydro
2028 | W | 0.6287 | hydro
2029 | F | 0.36067 | hydro
2029 | R | 0.275 | hydro
2029 | S | 0.14367 | hydro
2029 | W | 0.6102 | hydro
2030 | F | 0.39043 | hydro
2030 | R | 0.25347 | hydro
2030 | S | 0.1558 | hydro
2030 | W | 0.61483 | hydro
2031 | F | 0.46597 | hydro
2031 | R | 0.30737 | hydro
2031 | S | 0.18933 | hydro
2031 | W | 0.64297 | hydro
2032 | F | 0.38377 | hydro
2032 | R | 0.28367 | hydro
2032 | S | 0.2032 | hydro
2032 | W | 0.53373 | hydro
2033 | F | 0.374 | hydro
2033 | R | 0.32653 | hydro
2033 | S | 0.1573 | hydro
2033 | W | 0.56877 | hydro
2034 | F | 0.4604 | hydro
2034 | R | 0.32347 | hydro
2034 | S | 0.1482 | hydro
2034 | W | 0.53663 | hydro
2035 | F | 0.31853 | hydro
2035 | R | 0.30133 | hydro
2035 | S | 0.2144 | hydro
2035 | W | 0.58687 | hydro
2036 | F | 0.33583 | hydro
2036 | R | 0.26833 | hydro
2036 | S | 0.16853 | hydro
2036 | W | 0.56927 | hydro
2037 | F | 0.45703 | hydro
2037 | R | 0.27753 | hydro
2037 | S | 0.2066 | hydro
2037 | W | 0.52603 | hydro
2038 | F | 0.36067 | hydro
2038 | R | 0.2913 | hydro
2038 | S | 0.1807 | hydro
2038 | W | 0.61617 | hydro
2039 | F | 0.4053 | hydro
2039 | R | 0.29207 | hydro
2039 | S | 0.10133 | hydro
2039 | W | 0.57653 | hydro
2040 | F | 0.3545 | hydro
2040 | R | 0.30017 | hydro
2040 | S | 0.26103 | hydro
2040 | W | 0.59823 | hydro
2041 | F | 0.33503 | hydro
2041 | R | 0.307 | hydro
2041 | S | 0.0746 | hydro
2041 | W | 0.59837 | hydro
2042 | F | 0.40453 | hydro
2042 | R | 0.34137 | hydro
2042 | S | 0.12887 | hydro
2042 | W | 0.64427 | hydro
2043 | F | 0.34457 | hydro
2043 | R | 0.36077 | hydro
2043 | S | 0.18603 | hydro
2043 | W | 0.56853 | hydro
2044 | F | 0.4748 | hydro
2044 | R | 0.30083 | hydro
2044 | S | 0.072467 | hydro
2044 | W | 0.54283 | hydro
2045 | F | 0.36127 | hydro
2045 | R | 0.28053 | hydro
2045 | S | 0.12213 | hydro
2045 | W | 0.61097 | hydro
2046 | F | 0.40207 | hydro
2046 | R | 0.32393 | hydro
2046 | S | 0.1281 | hydro
2046 | W | 0.5903 | hydro
2047 | F | 0.4447 | hydro
2047 | R | 0.344 | hydro
2047 | S | 0.19273 | hydro
2047 | W | 0.61673 | hydro
2048 | F | 0.39667 | hydro
2048 | R | 0.27803 | hydro
2048 | S | 0.17413 | hydro
2048 | W | 0.6403 | hydro
2049 | F | 0.4202 | hydro
2049 | R | 0.28823 | hydro
2049 | S | 0.1613 | hydro
2049 | W | 0.53733 | hydro
2050 | F | 0.40453 | hydro
2050 | R | 0.31003 | hydro
2050 | S | 0.16797 | hydro
2050 | W | 0.53933 | hydro