## ev_charging_uc
ts_12t | day_night | ts_12t
| D | FaD,SaD,FaP,SaP,WaP,WaD,RaP,RaD
| N | WaP,RaP,FaP,SaP,RaN,SaN,WaN,FaN
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
~UC_T: LO
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | WaP,RaP,FaP,SaP,RaN,SaN,WaN,FaN | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | FaD,SaD,FaP,SaP,WaP,WaD,RaP,RaD | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1

## timeslice_def
~TimeSlices
ts_12t | season | weekly | daynite | wparent | dparent
| F | a | D | W,R,S,F | a
| R |  | N |  | a
| S |  | P |  | a
W

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_ZWE_001 | FaD | 0.25404 | IMPNRGZ | elc_won_ZWE_001 | FaD | 0.10553 | IMPNRGZ | elc_wof_ZWE_001 | FaD | 0.10553 | IMPNRGZ
elc_spv_ZWE_001 | FaN | 0 | IMPNRGZ | elc_won_ZWE_001 | FaN | 0.19028 | IMPNRGZ | elc_wof_ZWE_001 | FaN | 0.19028 | IMPNRGZ
elc_spv_ZWE_001 | FaP | 0.030242 | IMPNRGZ | elc_won_ZWE_001 | FaP | 0.029298 | IMPNRGZ | elc_wof_ZWE_001 | FaP | 0.029298 | IMPNRGZ
elc_spv_ZWE_001 | RaD | 0.22421 | IMPNRGZ | elc_won_ZWE_001 | RaD | 0.064713 | IMPNRGZ | elc_wof_ZWE_001 | RaD | 0.064713 | IMPNRGZ
elc_spv_ZWE_001 | RaN | 0 | IMPNRGZ | elc_won_ZWE_001 | RaN | 0.12382 | IMPNRGZ | elc_wof_ZWE_001 | RaN | 0.12382 | IMPNRGZ
elc_spv_ZWE_001 | RaP | 0.025565 | IMPNRGZ | elc_won_ZWE_001 | RaP | 0.015348 | IMPNRGZ | elc_wof_ZWE_001 | RaP | 0.015348 | IMPNRGZ
elc_spv_ZWE_001 | SaD | 0.1835 | IMPNRGZ | elc_won_ZWE_001 | SaD | 0.075827 | IMPNRGZ | elc_wof_ZWE_001 | SaD | 0.075827 | IMPNRGZ
elc_spv_ZWE_001 | SaN | 0 | IMPNRGZ | elc_won_ZWE_001 | SaN | 0.12494 | IMPNRGZ | elc_wof_ZWE_001 | SaN | 0.12494 | IMPNRGZ
elc_spv_ZWE_001 | SaP | 0.016303 | IMPNRGZ | elc_won_ZWE_001 | SaP | 0.013243 | IMPNRGZ | elc_wof_ZWE_001 | SaP | 0.013243 | IMPNRGZ
elc_spv_ZWE_001 | WaD | 0.23169 | IMPNRGZ | elc_won_ZWE_001 | WaD | 0.10015 | IMPNRGZ | elc_wof_ZWE_001 | WaD | 0.10015 | IMPNRGZ
elc_spv_ZWE_001 | WaN | 0.0030949 | IMPNRGZ | elc_won_ZWE_001 | WaN | 0.13393 | IMPNRGZ | elc_wof_ZWE_001 | WaN | 0.13393 | IMPNRGZ
elc_spv_ZWE_001 | WaP | 0.031356 | IMPNRGZ | elc_won_ZWE_001 | WaP | 0.022902 | IMPNRGZ | elc_wof_ZWE_001 | WaP | 0.022902 | IMPNRGZ
elc_spv_ZWE_002 | FaD | 0.25588 | IMPNRGZ | elc_won_ZWE_002 | FaD | 0.11366 | IMPNRGZ | elc_wof_ZWE_002 | FaD | 0.11366 | IMPNRGZ
elc_spv_ZWE_002 | FaN | 0 | IMPNRGZ | elc_won_ZWE_002 | FaN | 0.18994 | IMPNRGZ | elc_wof_ZWE_002 | FaN | 0.18994 | IMPNRGZ
elc_spv_ZWE_002 | FaP | 0.030137 | IMPNRGZ | elc_won_ZWE_002 | FaP | 0.02711 | IMPNRGZ | elc_wof_ZWE_002 | FaP | 0.02711 | IMPNRGZ
elc_spv_ZWE_002 | RaD | 0.22454 | IMPNRGZ | elc_won_ZWE_002 | RaD | 0.07049 | IMPNRGZ | elc_wof_ZWE_002 | RaD | 0.07049 | IMPNRGZ
elc_spv_ZWE_002 | RaN | 0 | IMPNRGZ | elc_won_ZWE_002 | RaN | 0.13197 | IMPNRGZ | elc_wof_ZWE_002 | RaN | 0.13197 | IMPNRGZ
elc_spv_ZWE_002 | RaP | 0.025383 | IMPNRGZ | elc_won_ZWE_002 | RaP | 0.01404 | IMPNRGZ | elc_wof_ZWE_002 | RaP | 0.01404 | IMPNRGZ
elc_spv_ZWE_002 | SaD | 0.18792 | IMPNRGZ | elc_won_ZWE_002 | SaD | 0.075565 | IMPNRGZ | elc_wof_ZWE_002 | SaD | 0.075565 | IMPNRGZ
elc_spv_ZWE_002 | SaN | 0 | IMPNRGZ | elc_won_ZWE_002 | SaN | 0.11559 | IMPNRGZ | elc_wof_ZWE_002 | SaN | 0.11559 | IMPNRGZ
elc_spv_ZWE_002 | SaP | 0.016577 | IMPNRGZ | elc_won_ZWE_002 | SaP | 0.013413 | IMPNRGZ | elc_wof_ZWE_002 | SaP | 0.013413 | IMPNRGZ
elc_spv_ZWE_002 | WaD | 0.23057 | IMPNRGZ | elc_won_ZWE_002 | WaD | 0.092624 | IMPNRGZ | elc_wof_ZWE_002 | WaD | 0.092624 | IMPNRGZ
elc_spv_ZWE_002 | WaN | 0.00015366 | IMPNRGZ | elc_won_ZWE_002 | WaN | 0.13458 | IMPNRGZ | elc_wof_ZWE_002 | WaN | 0.13458 | IMPNRGZ
elc_spv_ZWE_002 | WaP | 0.028849 | IMPNRGZ | elc_won_ZWE_002 | WaP | 0.021026 | IMPNRGZ | elc_wof_ZWE_002 | WaP | 0.021026 | IMPNRGZ
elc_spv_ZWE_003 | FaD | 0.25454 | IMPNRGZ | elc_won_ZWE_003 | FaD | 0.09525 | IMPNRGZ | elc_wof_ZWE_003 | FaD | 0.09525 | IMPNRGZ
elc_spv_ZWE_003 | FaN | 0 | IMPNRGZ | elc_won_ZWE_003 | FaN | 0.17933 | IMPNRGZ | elc_wof_ZWE_003 | FaN | 0.17933 | IMPNRGZ
elc_spv_ZWE_003 | FaP | 0.030221 | IMPNRGZ | elc_won_ZWE_003 | FaP | 0.025624 | IMPNRGZ | elc_wof_ZWE_003 | FaP | 0.025624 | IMPNRGZ
elc_spv_ZWE_003 | RaD | 0.22356 | IMPNRGZ | elc_won_ZWE_003 | RaD | 0.073498 | IMPNRGZ | elc_wof_ZWE_003 | RaD | 0.073498 | IMPNRGZ
elc_spv_ZWE_003 | RaN | 0 | IMPNRGZ | elc_won_ZWE_003 | RaN | 0.12872 | IMPNRGZ | elc_wof_ZWE_003 | RaN | 0.12872 | IMPNRGZ
elc_spv_ZWE_003 | RaP | 0.025816 | IMPNRGZ | elc_won_ZWE_003 | RaP | 0.019836 | IMPNRGZ | elc_wof_ZWE_003 | RaP | 0.019836 | IMPNRGZ
elc_spv_ZWE_003 | SaD | 0.18356 | IMPNRGZ | elc_won_ZWE_003 | SaD | 0.084238 | IMPNRGZ | elc_wof_ZWE_003 | SaD | 0.084238 | IMPNRGZ
elc_spv_ZWE_003 | SaN | 0 | IMPNRGZ | elc_won_ZWE_003 | SaN | 0.13835 | IMPNRGZ | elc_wof_ZWE_003 | SaN | 0.13835 | IMPNRGZ
elc_spv_ZWE_003 | SaP | 0.017078 | IMPNRGZ | elc_won_ZWE_003 | SaP | 0.018776 | IMPNRGZ | elc_wof_ZWE_003 | SaP | 0.018776 | IMPNRGZ
elc_spv_ZWE_003 | WaD | 0.23175 | IMPNRGZ | elc_won_ZWE_003 | WaD | 0.094149 | IMPNRGZ | elc_wof_ZWE_003 | WaD | 0.094149 | IMPNRGZ
elc_spv_ZWE_003 | WaN | 0.0027285 | IMPNRGZ | elc_won_ZWE_003 | WaN | 0.11829 | IMPNRGZ | elc_wof_ZWE_003 | WaN | 0.11829 | IMPNRGZ
elc_spv_ZWE_003 | WaP | 0.030749 | IMPNRGZ | elc_won_ZWE_003 | WaP | 0.02394 | IMPNRGZ | elc_wof_ZWE_003 | WaP | 0.02394 | IMPNRGZ
elc_spv_ZWE_004 | FaD | 0.25532 | IMPNRGZ | elc_won_ZWE_004 | FaD | 0.10104 | IMPNRGZ | elc_wof_ZWE_004 | FaD | 0.10104 | IMPNRGZ
elc_spv_ZWE_004 | FaN | 1.2667e-05 | IMPNRGZ | elc_won_ZWE_004 | FaN | 0.18625 | IMPNRGZ | elc_wof_ZWE_004 | FaN | 0.18625 | IMPNRGZ
elc_spv_ZWE_004 | FaP | 0.031623 | IMPNRGZ | elc_won_ZWE_004 | FaP | 0.037545 | IMPNRGZ | elc_wof_ZWE_004 | FaP | 0.037545 | IMPNRGZ
elc_spv_ZWE_004 | RaD | 0.21703 | IMPNRGZ | elc_won_ZWE_004 | RaD | 0.06929 | IMPNRGZ | elc_wof_ZWE_004 | RaD | 0.06929 | IMPNRGZ
elc_spv_ZWE_004 | RaN | 6.0425e-06 | IMPNRGZ | elc_won_ZWE_004 | RaN | 0.10026 | IMPNRGZ | elc_wof_ZWE_004 | RaN | 0.10026 | IMPNRGZ
elc_spv_ZWE_004 | RaP | 0.031997 | IMPNRGZ | elc_won_ZWE_004 | RaP | 0.021761 | IMPNRGZ | elc_wof_ZWE_004 | RaP | 0.021761 | IMPNRGZ
elc_spv_ZWE_004 | SaD | 0.18019 | IMPNRGZ | elc_won_ZWE_004 | SaD | 0.083368 | IMPNRGZ | elc_wof_ZWE_004 | SaD | 0.083368 | IMPNRGZ
elc_spv_ZWE_004 | SaN | 0 | IMPNRGZ | elc_won_ZWE_004 | SaN | 0.13031 | IMPNRGZ | elc_wof_ZWE_004 | SaN | 0.13031 | IMPNRGZ
elc_spv_ZWE_004 | SaP | 0.022568 | IMPNRGZ | elc_won_ZWE_004 | SaP | 0.021283 | IMPNRGZ | elc_wof_ZWE_004 | SaP | 0.021283 | IMPNRGZ
elc_spv_ZWE_004 | WaD | 0.22036 | IMPNRGZ | elc_won_ZWE_004 | WaD | 0.10965 | IMPNRGZ | elc_wof_ZWE_004 | WaD | 0.10965 | IMPNRGZ
elc_spv_ZWE_004 | WaN | 0.0089137 | IMPNRGZ | elc_won_ZWE_004 | WaN | 0.10903 | IMPNRGZ | elc_wof_ZWE_004 | WaN | 0.10903 | IMPNRGZ
elc_spv_ZWE_004 | WaP | 0.031977 | IMPNRGZ | elc_won_ZWE_004 | WaP | 0.030224 | IMPNRGZ | elc_wof_ZWE_004 | WaP | 0.030224 | IMPNRGZ
elc_spv_ZWE_005 | FaD | 0.25187 | IMPNRGZ | elc_won_ZWE_005 | FaD | 0.092753 | IMPNRGZ | elc_wof_ZWE_005 | FaD | 0.092753 | IMPNRGZ
elc_spv_ZWE_005 | FaN | 0 | IMPNRGZ | elc_won_ZWE_005 | FaN | 0.17244 | IMPNRGZ | elc_wof_ZWE_005 | FaN | 0.17244 | IMPNRGZ
elc_spv_ZWE_005 | FaP | 0.031177 | IMPNRGZ | elc_won_ZWE_005 | FaP | 0.025026 | IMPNRGZ | elc_wof_ZWE_005 | FaP | 0.025026 | IMPNRGZ
elc_spv_ZWE_005 | RaD | 0.22106 | IMPNRGZ | elc_won_ZWE_005 | RaD | 0.075623 | IMPNRGZ | elc_wof_ZWE_005 | RaD | 0.075623 | IMPNRGZ
elc_spv_ZWE_005 | RaN | 0 | IMPNRGZ | elc_won_ZWE_005 | RaN | 0.13402 | IMPNRGZ | elc_wof_ZWE_005 | RaN | 0.13402 | IMPNRGZ
elc_spv_ZWE_005 | RaP | 0.027903 | IMPNRGZ | elc_won_ZWE_005 | RaP | 0.019784 | IMPNRGZ | elc_wof_ZWE_005 | RaP | 0.019784 | IMPNRGZ
elc_spv_ZWE_005 | SaD | 0.18092 | IMPNRGZ | elc_won_ZWE_005 | SaD | 0.088226 | IMPNRGZ | elc_wof_ZWE_005 | SaD | 0.088226 | IMPNRGZ
elc_spv_ZWE_005 | SaN | 0 | IMPNRGZ | elc_won_ZWE_005 | SaN | 0.14937 | IMPNRGZ | elc_wof_ZWE_005 | SaN | 0.14937 | IMPNRGZ
elc_spv_ZWE_005 | SaP | 0.017846 | IMPNRGZ | elc_won_ZWE_005 | SaP | 0.020745 | IMPNRGZ | elc_wof_ZWE_005 | SaP | 0.020745 | IMPNRGZ
elc_spv_ZWE_005 | WaD | 0.2288 | IMPNRGZ | elc_won_ZWE_005 | WaD | 0.094353 | IMPNRGZ | elc_wof_ZWE_005 | WaD | 0.094353 | IMPNRGZ
elc_spv_ZWE_005 | WaN | 0.0067629 | IMPNRGZ | elc_won_ZWE_005 | WaN | 0.10489 | IMPNRGZ | elc_wof_ZWE_005 | WaN | 0.10489 | IMPNRGZ
elc_spv_ZWE_005 | WaP | 0.033661 | IMPNRGZ | elc_won_ZWE_005 | WaP | 0.022768 | IMPNRGZ | elc_wof_ZWE_005 | WaP | 0.022768 | IMPNRGZ
elc_spv_ZWE_006 | FaD | 0.25307 | IMPNRGZ | elc_won_ZWE_006 | FaD | 0.10309 | IMPNRGZ | elc_wof_ZWE_006 | FaD | 0.10309 | IMPNRGZ
elc_spv_ZWE_006 | FaN | 0 | IMPNRGZ | elc_won_ZWE_006 | FaN | 0.18444 | IMPNRGZ | elc_wof_ZWE_006 | FaN | 0.18444 | IMPNRGZ
elc_spv_ZWE_006 | FaP | 0.032642 | IMPNRGZ | elc_won_ZWE_006 | FaP | 0.01974 | IMPNRGZ | elc_wof_ZWE_006 | FaP | 0.01974 | IMPNRGZ
elc_spv_ZWE_006 | RaD | 0.21726 | IMPNRGZ | elc_won_ZWE_006 | RaD | 0.077567 | IMPNRGZ | elc_wof_ZWE_006 | RaD | 0.077567 | IMPNRGZ
elc_spv_ZWE_006 | RaN | 0 | IMPNRGZ | elc_won_ZWE_006 | RaN | 0.14323 | IMPNRGZ | elc_wof_ZWE_006 | RaN | 0.14323 | IMPNRGZ
elc_spv_ZWE_006 | RaP | 0.029534 | IMPNRGZ | elc_won_ZWE_006 | RaP | 0.015176 | IMPNRGZ | elc_wof_ZWE_006 | RaP | 0.015176 | IMPNRGZ
elc_spv_ZWE_006 | SaD | 0.17913 | IMPNRGZ | elc_won_ZWE_006 | SaD | 0.081574 | IMPNRGZ | elc_wof_ZWE_006 | SaD | 0.081574 | IMPNRGZ
elc_spv_ZWE_006 | SaN | 0 | IMPNRGZ | elc_won_ZWE_006 | SaN | 0.13154 | IMPNRGZ | elc_wof_ZWE_006 | SaN | 0.13154 | IMPNRGZ
elc_spv_ZWE_006 | SaP | 0.019694 | IMPNRGZ | elc_won_ZWE_006 | SaP | 0.014474 | IMPNRGZ | elc_wof_ZWE_006 | SaP | 0.014474 | IMPNRGZ
elc_spv_ZWE_006 | WaD | 0.22546 | IMPNRGZ | elc_won_ZWE_006 | WaD | 0.084515 | IMPNRGZ | elc_wof_ZWE_006 | WaD | 0.084515 | IMPNRGZ
elc_spv_ZWE_006 | WaN | 0.0087261 | IMPNRGZ | elc_won_ZWE_006 | WaN | 0.12756 | IMPNRGZ | elc_wof_ZWE_006 | WaN | 0.12756 | IMPNRGZ
elc_spv_ZWE_006 | WaP | 0.034474 | IMPNRGZ | elc_won_ZWE_006 | WaP | 0.017092 | IMPNRGZ | elc_wof_ZWE_006 | WaP | 0.017092 | IMPNRGZ
elc_spv_ZWE_007 | FaD | 0.25517 | IMPNRGZ | elc_won_ZWE_007 | FaD | 0.08601 | IMPNRGZ | elc_wof_ZWE_007 | FaD | 0.08601 | IMPNRGZ
elc_spv_ZWE_007 | FaN | 0 | IMPNRGZ | elc_won_ZWE_007 | FaN | 0.18081 | IMPNRGZ | elc_wof_ZWE_007 | FaN | 0.18081 | IMPNRGZ
elc_spv_ZWE_007 | FaP | 0.03053 | IMPNRGZ | elc_won_ZWE_007 | FaP | 0.018207 | IMPNRGZ | elc_wof_ZWE_007 | FaP | 0.018207 | IMPNRGZ
elc_spv_ZWE_007 | RaD | 0.21941 | IMPNRGZ | elc_won_ZWE_007 | RaD | 0.072642 | IMPNRGZ | elc_wof_ZWE_007 | RaD | 0.072642 | IMPNRGZ
elc_spv_ZWE_007 | RaN | 0 | IMPNRGZ | elc_won_ZWE_007 | RaN | 0.15539 | IMPNRGZ | elc_wof_ZWE_007 | RaN | 0.15539 | IMPNRGZ
elc_spv_ZWE_007 | RaP | 0.030485 | IMPNRGZ | elc_won_ZWE_007 | RaP | 0.015094 | IMPNRGZ | elc_wof_ZWE_007 | RaP | 0.015094 | IMPNRGZ
elc_spv_ZWE_007 | SaD | 0.18209 | IMPNRGZ | elc_won_ZWE_007 | SaD | 0.083605 | IMPNRGZ | elc_wof_ZWE_007 | SaD | 0.083605 | IMPNRGZ
elc_spv_ZWE_007 | SaN | 0 | IMPNRGZ | elc_won_ZWE_007 | SaN | 0.159 | IMPNRGZ | elc_wof_ZWE_007 | SaN | 0.159 | IMPNRGZ
elc_spv_ZWE_007 | SaP | 0.020711 | IMPNRGZ | elc_won_ZWE_007 | SaP | 0.015219 | IMPNRGZ | elc_wof_ZWE_007 | SaP | 0.015219 | IMPNRGZ
elc_spv_ZWE_007 | WaD | 0.22225 | IMPNRGZ | elc_won_ZWE_007 | WaD | 0.076948 | IMPNRGZ | elc_wof_ZWE_007 | WaD | 0.076948 | IMPNRGZ
elc_spv_ZWE_007 | WaN | 0.0073435 | IMPNRGZ | elc_won_ZWE_007 | WaN | 0.1203 | IMPNRGZ | elc_wof_ZWE_007 | WaN | 0.1203 | IMPNRGZ
elc_spv_ZWE_007 | WaP | 0.032018 | IMPNRGZ | elc_won_ZWE_007 | WaP | 0.016779 | IMPNRGZ | elc_wof_ZWE_007 | WaP | 0.016779 | IMPNRGZ
elc_spv_ZWE_008 | FaD | 0.25462 | IMPNRGZ | elc_won_ZWE_008 | FaD | 0.11293 | IMPNRGZ | elc_wof_ZWE_008 | FaD | 0.11293 | IMPNRGZ
elc_spv_ZWE_008 | FaN | 0 | IMPNRGZ | elc_won_ZWE_008 | FaN | 0.23526 | IMPNRGZ | elc_wof_ZWE_008 | FaN | 0.23526 | IMPNRGZ
elc_spv_ZWE_008 | FaP | 0.030752 | IMPNRGZ | elc_won_ZWE_008 | FaP | 0.016624 | IMPNRGZ | elc_wof_ZWE_008 | FaP | 0.016624 | IMPNRGZ
elc_spv_ZWE_008 | RaD | 0.21966 | IMPNRGZ | elc_won_ZWE_008 | RaD | 0.057914 | IMPNRGZ | elc_wof_ZWE_008 | RaD | 0.057914 | IMPNRGZ
elc_spv_ZWE_008 | RaN | 0 | IMPNRGZ | elc_won_ZWE_008 | RaN | 0.12554 | IMPNRGZ | elc_wof_ZWE_008 | RaN | 0.12554 | IMPNRGZ
elc_spv_ZWE_008 | RaP | 0.028517 | IMPNRGZ | elc_won_ZWE_008 | RaP | 0.0075831 | IMPNRGZ | elc_wof_ZWE_008 | RaP | 0.0075831 | IMPNRGZ
elc_spv_ZWE_008 | SaD | 0.18143 | IMPNRGZ | elc_won_ZWE_008 | SaD | 0.094907 | IMPNRGZ | elc_wof_ZWE_008 | SaD | 0.094907 | IMPNRGZ
elc_spv_ZWE_008 | SaN | 0 | IMPNRGZ | elc_won_ZWE_008 | SaN | 0.17636 | IMPNRGZ | elc_wof_ZWE_008 | SaN | 0.17636 | IMPNRGZ
elc_spv_ZWE_008 | SaP | 0.019122 | IMPNRGZ | elc_won_ZWE_008 | SaP | 0.013129 | IMPNRGZ | elc_wof_ZWE_008 | SaP | 0.013129 | IMPNRGZ
elc_spv_ZWE_008 | WaD | 0.22748 | IMPNRGZ | elc_won_ZWE_008 | WaD | 0.061257 | IMPNRGZ | elc_wof_ZWE_008 | WaD | 0.061257 | IMPNRGZ
elc_spv_ZWE_008 | WaN | 0.0060571 | IMPNRGZ | elc_won_ZWE_008 | WaN | 0.09075 | IMPNRGZ | elc_wof_ZWE_008 | WaN | 0.09075 | IMPNRGZ
elc_spv_ZWE_008 | WaP | 0.032368 | IMPNRGZ | elc_won_ZWE_008 | WaP | 0.0077477 | IMPNRGZ | elc_wof_ZWE_008 | WaP | 0.0077477 | IMPNRGZ
elc_spv_ZWE_009 | FaD | 0.26762 | IMPNRGZ | elc_won_ZWE_009 | FaD | 0.1708 | IMPNRGZ | elc_wof_ZWE_009 | FaD | 0.1708 | IMPNRGZ
elc_spv_ZWE_009 | FaN | 0 | IMPNRGZ | elc_won_ZWE_009 | FaN | 0.20523 | IMPNRGZ | elc_wof_ZWE_009 | FaN | 0.20523 | IMPNRGZ
elc_spv_ZWE_009 | FaP | 0.029033 | IMPNRGZ | elc_won_ZWE_009 | FaP | 0.01752 | IMPNRGZ | elc_wof_ZWE_009 | FaP | 0.01752 | IMPNRGZ
elc_spv_ZWE_009 | RaD | 0.22004 | IMPNRGZ | elc_won_ZWE_009 | RaD | 0.085794 | IMPNRGZ | elc_wof_ZWE_009 | RaD | 0.085794 | IMPNRGZ
elc_spv_ZWE_009 | RaN | 0 | IMPNRGZ | elc_won_ZWE_009 | RaN | 0.088279 | IMPNRGZ | elc_wof_ZWE_009 | RaN | 0.088279 | IMPNRGZ
elc_spv_ZWE_009 | RaP | 0.023698 | IMPNRGZ | elc_won_ZWE_009 | RaP | 0.00605 | IMPNRGZ | elc_wof_ZWE_009 | RaP | 0.00605 | IMPNRGZ
elc_spv_ZWE_009 | SaD | 0.19576 | IMPNRGZ | elc_won_ZWE_009 | SaD | 0.12289 | IMPNRGZ | elc_wof_ZWE_009 | SaD | 0.12289 | IMPNRGZ
elc_spv_ZWE_009 | SaN | 0 | IMPNRGZ | elc_won_ZWE_009 | SaN | 0.14671 | IMPNRGZ | elc_wof_ZWE_009 | SaN | 0.14671 | IMPNRGZ
elc_spv_ZWE_009 | SaP | 0.018199 | IMPNRGZ | elc_won_ZWE_009 | SaP | 0.013827 | IMPNRGZ | elc_wof_ZWE_009 | SaP | 0.013827 | IMPNRGZ
elc_spv_ZWE_009 | WaD | 0.21987 | IMPNRGZ | elc_won_ZWE_009 | WaD | 0.067245 | IMPNRGZ | elc_wof_ZWE_009 | WaD | 0.067245 | IMPNRGZ
elc_spv_ZWE_009 | WaN | 0 | IMPNRGZ | elc_won_ZWE_009 | WaN | 0.071039 | IMPNRGZ | elc_wof_ZWE_009 | WaN | 0.071039 | IMPNRGZ
elc_spv_ZWE_009 | WaP | 0.025777 | IMPNRGZ | elc_won_ZWE_009 | WaP | 0.0046122 | IMPNRGZ | elc_wof_ZWE_009 | WaP | 0.0046122 | IMPNRGZ
elc_spv_ZWE_010 | FaD | 0.25696 | IMPNRGZ | elc_won_ZWE_010 | FaD | 0.1643 | IMPNRGZ | elc_wof_ZWE_010 | FaD | 0.1643 | IMPNRGZ
elc_spv_ZWE_010 | FaN | 0 | IMPNRGZ | elc_won_ZWE_010 | FaN | 0.22366 | IMPNRGZ | elc_wof_ZWE_010 | FaN | 0.22366 | IMPNRGZ
elc_spv_ZWE_010 | FaP | 0.02898 | IMPNRGZ | elc_won_ZWE_010 | FaP | 0.025819 | IMPNRGZ | elc_wof_ZWE_010 | FaP | 0.025819 | IMPNRGZ
elc_spv_ZWE_010 | RaD | 0.22303 | IMPNRGZ | elc_won_ZWE_010 | RaD | 0.081458 | IMPNRGZ | elc_wof_ZWE_010 | RaD | 0.081458 | IMPNRGZ
elc_spv_ZWE_010 | RaN | 0 | IMPNRGZ | elc_won_ZWE_010 | RaN | 0.093428 | IMPNRGZ | elc_wof_ZWE_010 | RaN | 0.093428 | IMPNRGZ
elc_spv_ZWE_010 | RaP | 0.025859 | IMPNRGZ | elc_won_ZWE_010 | RaP | 0.010075 | IMPNRGZ | elc_wof_ZWE_010 | RaP | 0.010075 | IMPNRGZ
elc_spv_ZWE_010 | SaD | 0.18975 | IMPNRGZ | elc_won_ZWE_010 | SaD | 0.10649 | IMPNRGZ | elc_wof_ZWE_010 | SaD | 0.10649 | IMPNRGZ
elc_spv_ZWE_010 | SaN | 0 | IMPNRGZ | elc_won_ZWE_010 | SaN | 0.13509 | IMPNRGZ | elc_wof_ZWE_010 | SaN | 0.13509 | IMPNRGZ
elc_spv_ZWE_010 | SaP | 0.019064 | IMPNRGZ | elc_won_ZWE_010 | SaP | 0.020136 | IMPNRGZ | elc_wof_ZWE_010 | SaP | 0.020136 | IMPNRGZ
elc_spv_ZWE_010 | WaD | 0.22448 | IMPNRGZ | elc_won_ZWE_010 | WaD | 0.056684 | IMPNRGZ | elc_wof_ZWE_010 | WaD | 0.056684 | IMPNRGZ
elc_spv_ZWE_010 | WaN | 0.0025132 | IMPNRGZ | elc_won_ZWE_010 | WaN | 0.075301 | IMPNRGZ | elc_wof_ZWE_010 | WaN | 0.075301 | IMPNRGZ
elc_spv_ZWE_010 | WaP | 0.029362 | IMPNRGZ | elc_won_ZWE_010 | WaP | 0.0075583 | IMPNRGZ | elc_wof_ZWE_010 | WaP | 0.0075583 | IMPNRGZ
elc_spv_ZWE_011 | FaD | 0.26099 | IMPNRGZ | elc_won_ZWE_011 | FaD | 0.095451 | IMPNRGZ | elc_wof_ZWE_011 | FaD | 0.095451 | IMPNRGZ
elc_spv_ZWE_011 | FaN | 0 | IMPNRGZ | elc_won_ZWE_011 | FaN | 0.18979 | IMPNRGZ | elc_wof_ZWE_011 | FaN | 0.18979 | IMPNRGZ
elc_spv_ZWE_011 | FaP | 0.028173 | IMPNRGZ | elc_won_ZWE_011 | FaP | 0.021204 | IMPNRGZ | elc_wof_ZWE_011 | FaP | 0.021204 | IMPNRGZ
elc_spv_ZWE_011 | RaD | 0.22229 | IMPNRGZ | elc_won_ZWE_011 | RaD | 0.069548 | IMPNRGZ | elc_wof_ZWE_011 | RaD | 0.069548 | IMPNRGZ
elc_spv_ZWE_011 | RaN | 0 | IMPNRGZ | elc_won_ZWE_011 | RaN | 0.14424 | IMPNRGZ | elc_wof_ZWE_011 | RaN | 0.14424 | IMPNRGZ
elc_spv_ZWE_011 | RaP | 0.025436 | IMPNRGZ | elc_won_ZWE_011 | RaP | 0.015642 | IMPNRGZ | elc_wof_ZWE_011 | RaP | 0.015642 | IMPNRGZ
elc_spv_ZWE_011 | SaD | 0.19319 | IMPNRGZ | elc_won_ZWE_011 | SaD | 0.088714 | IMPNRGZ | elc_wof_ZWE_011 | SaD | 0.088714 | IMPNRGZ
elc_spv_ZWE_011 | SaN | 0 | IMPNRGZ | elc_won_ZWE_011 | SaN | 0.15627 | IMPNRGZ | elc_wof_ZWE_011 | SaN | 0.15627 | IMPNRGZ
elc_spv_ZWE_011 | SaP | 0.019907 | IMPNRGZ | elc_won_ZWE_011 | SaP | 0.018818 | IMPNRGZ | elc_wof_ZWE_011 | SaP | 0.018818 | IMPNRGZ
elc_spv_ZWE_011 | WaD | 0.22077 | IMPNRGZ | elc_won_ZWE_011 | WaD | 0.083227 | IMPNRGZ | elc_wof_ZWE_011 | WaD | 0.083227 | IMPNRGZ
elc_spv_ZWE_011 | WaN | 0.0019709 | IMPNRGZ | elc_won_ZWE_011 | WaN | 0.099733 | IMPNRGZ | elc_wof_ZWE_011 | WaN | 0.099733 | IMPNRGZ
elc_spv_ZWE_011 | WaP | 0.027268 | IMPNRGZ | elc_won_ZWE_011 | WaP | 0.017361 | IMPNRGZ | elc_wof_ZWE_011 | WaP | 0.017361 | IMPNRGZ
elc_spv_ZWE_012 | FaD | 0.26785 | IMPNRGZ | elc_won_ZWE_012 | FaD | 0.13265 | IMPNRGZ | elc_wof_ZWE_012 | FaD | 0.13265 | IMPNRGZ
elc_spv_ZWE_012 | FaN | 0 | IMPNRGZ | elc_won_ZWE_012 | FaN | 0.22831 | IMPNRGZ | elc_wof_ZWE_012 | FaN | 0.22831 | IMPNRGZ
elc_spv_ZWE_012 | FaP | 0.028299 | IMPNRGZ | elc_won_ZWE_012 | FaP | 0.027539 | IMPNRGZ | elc_wof_ZWE_012 | FaP | 0.027539 | IMPNRGZ
elc_spv_ZWE_012 | RaD | 0.22428 | IMPNRGZ | elc_won_ZWE_012 | RaD | 0.08093 | IMPNRGZ | elc_wof_ZWE_012 | RaD | 0.08093 | IMPNRGZ
elc_spv_ZWE_012 | RaN | 0 | IMPNRGZ | elc_won_ZWE_012 | RaN | 0.11766 | IMPNRGZ | elc_wof_ZWE_012 | RaN | 0.11766 | IMPNRGZ
elc_spv_ZWE_012 | RaP | 0.02428 | IMPNRGZ | elc_won_ZWE_012 | RaP | 0.013869 | IMPNRGZ | elc_wof_ZWE_012 | RaP | 0.013869 | IMPNRGZ
elc_spv_ZWE_012 | SaD | 0.2008 | IMPNRGZ | elc_won_ZWE_012 | SaD | 0.099495 | IMPNRGZ | elc_wof_ZWE_012 | SaD | 0.099495 | IMPNRGZ
elc_spv_ZWE_012 | SaN | 0 | IMPNRGZ | elc_won_ZWE_012 | SaN | 0.13937 | IMPNRGZ | elc_wof_ZWE_012 | SaN | 0.13937 | IMPNRGZ
elc_spv_ZWE_012 | SaP | 0.020116 | IMPNRGZ | elc_won_ZWE_012 | SaP | 0.019629 | IMPNRGZ | elc_wof_ZWE_012 | SaP | 0.019629 | IMPNRGZ
elc_spv_ZWE_012 | WaD | 0.20929 | IMPNRGZ | elc_won_ZWE_012 | WaD | 0.050244 | IMPNRGZ | elc_wof_ZWE_012 | WaD | 0.050244 | IMPNRGZ
elc_spv_ZWE_012 | WaN | 0.0003755 | IMPNRGZ | elc_won_ZWE_012 | WaN | 0.079798 | IMPNRGZ | elc_wof_ZWE_012 | WaN | 0.079798 | IMPNRGZ
elc_spv_ZWE_012 | WaP | 0.024705 | IMPNRGZ | elc_won_ZWE_012 | WaP | 0.010502 | IMPNRGZ | elc_wof_ZWE_012 | WaP | 0.010502 | IMPNRGZ
elc_spv_ZWE_013 | FaD | 0.27247 | IMPNRGZ | elc_won_ZWE_013 | FaD | 0.089738 | IMPNRGZ | elc_wof_ZWE_013 | FaD | 0.089738 | IMPNRGZ
elc_spv_ZWE_013 | FaN | 0 | IMPNRGZ | elc_won_ZWE_013 | FaN | 0.18883 | IMPNRGZ | elc_wof_ZWE_013 | FaN | 0.18883 | IMPNRGZ
elc_spv_ZWE_013 | FaP | 0.031673 | IMPNRGZ | elc_won_ZWE_013 | FaP | 0.012833 | IMPNRGZ | elc_wof_ZWE_013 | FaP | 0.012833 | IMPNRGZ
elc_spv_ZWE_013 | RaD | 0.21993 | IMPNRGZ | elc_won_ZWE_013 | RaD | 0.070343 | IMPNRGZ | elc_wof_ZWE_013 | RaD | 0.070343 | IMPNRGZ
elc_spv_ZWE_013 | RaN | 0 | IMPNRGZ | elc_won_ZWE_013 | RaN | 0.16813 | IMPNRGZ | elc_wof_ZWE_013 | RaN | 0.16813 | IMPNRGZ
elc_spv_ZWE_013 | RaP | 0.024985 | IMPNRGZ | elc_won_ZWE_013 | RaP | 0.0096146 | IMPNRGZ | elc_wof_ZWE_013 | RaP | 0.0096146 | IMPNRGZ
elc_spv_ZWE_013 | SaD | 0.19717 | IMPNRGZ | elc_won_ZWE_013 | SaD | 0.08224 | IMPNRGZ | elc_wof_ZWE_013 | SaD | 0.08224 | IMPNRGZ
elc_spv_ZWE_013 | SaN | 0 | IMPNRGZ | elc_won_ZWE_013 | SaN | 0.16981 | IMPNRGZ | elc_wof_ZWE_013 | SaN | 0.16981 | IMPNRGZ
elc_spv_ZWE_013 | SaP | 0.018613 | IMPNRGZ | elc_won_ZWE_013 | SaP | 0.010638 | IMPNRGZ | elc_wof_ZWE_013 | SaP | 0.010638 | IMPNRGZ
elc_spv_ZWE_013 | WaD | 0.20819 | IMPNRGZ | elc_won_ZWE_013 | WaD | 0.06795 | IMPNRGZ | elc_wof_ZWE_013 | WaD | 0.06795 | IMPNRGZ
elc_spv_ZWE_013 | WaN | 0 | IMPNRGZ | elc_won_ZWE_013 | WaN | 0.11925 | IMPNRGZ | elc_wof_ZWE_013 | WaN | 0.11925 | IMPNRGZ
elc_spv_ZWE_013 | WaP | 0.026971 | IMPNRGZ | elc_won_ZWE_013 | WaP | 0.010622 | IMPNRGZ | elc_wof_ZWE_013 | WaP | 0.010622 | IMPNRGZ
elc_spv_ZWE_014 | FaD | 0.2605 | IMPNRGZ | elc_won_ZWE_014 | FaD | 0.086349 | IMPNRGZ | elc_wof_ZWE_014 | FaD | 0.086349 | IMPNRGZ
elc_spv_ZWE_014 | FaN | 0 | IMPNRGZ | elc_won_ZWE_014 | FaN | 0.19885 | IMPNRGZ | elc_wof_ZWE_014 | FaN | 0.19885 | IMPNRGZ
elc_spv_ZWE_014 | FaP | 0.030124 | IMPNRGZ | elc_won_ZWE_014 | FaP | 0.012784 | IMPNRGZ | elc_wof_ZWE_014 | FaP | 0.012784 | IMPNRGZ
elc_spv_ZWE_014 | RaD | 0.22299 | IMPNRGZ | elc_won_ZWE_014 | RaD | 0.071883 | IMPNRGZ | elc_wof_ZWE_014 | RaD | 0.071883 | IMPNRGZ
elc_spv_ZWE_014 | RaN | 0 | IMPNRGZ | elc_won_ZWE_014 | RaN | 0.16507 | IMPNRGZ | elc_wof_ZWE_014 | RaN | 0.16507 | IMPNRGZ
elc_spv_ZWE_014 | RaP | 0.028616 | IMPNRGZ | elc_won_ZWE_014 | RaP | 0.0089044 | IMPNRGZ | elc_wof_ZWE_014 | RaP | 0.0089044 | IMPNRGZ
elc_spv_ZWE_014 | SaD | 0.19585 | IMPNRGZ | elc_won_ZWE_014 | SaD | 0.086138 | IMPNRGZ | elc_wof_ZWE_014 | SaD | 0.086138 | IMPNRGZ
elc_spv_ZWE_014 | SaN | 0 | IMPNRGZ | elc_won_ZWE_014 | SaN | 0.17823 | IMPNRGZ | elc_wof_ZWE_014 | SaN | 0.17823 | IMPNRGZ
elc_spv_ZWE_014 | SaP | 0.022926 | IMPNRGZ | elc_won_ZWE_014 | SaP | 0.011049 | IMPNRGZ | elc_wof_ZWE_014 | SaP | 0.011049 | IMPNRGZ
elc_spv_ZWE_014 | WaD | 0.20729 | IMPNRGZ | elc_won_ZWE_014 | WaD | 0.063332 | IMPNRGZ | elc_wof_ZWE_014 | WaD | 0.063332 | IMPNRGZ
elc_spv_ZWE_014 | WaN | 0.0040187 | IMPNRGZ | elc_won_ZWE_014 | WaN | 0.10863 | IMPNRGZ | elc_wof_ZWE_014 | WaN | 0.10863 | IMPNRGZ
elc_spv_ZWE_014 | WaP | 0.027682 | IMPNRGZ | elc_won_ZWE_014 | WaP | 0.008779 | IMPNRGZ | elc_wof_ZWE_014 | WaP | 0.008779 | IMPNRGZ
elc_spv_ZWE_015 | FaD | 0.26639 | IMPNRGZ | elc_won_ZWE_015 | FaD | 0.10345 | IMPNRGZ | elc_wof_ZWE_015 | FaD | 0.10345 | IMPNRGZ
elc_spv_ZWE_015 | FaN | 0 | IMPNRGZ | elc_won_ZWE_015 | FaN | 0.19794 | IMPNRGZ | elc_wof_ZWE_015 | FaN | 0.19794 | IMPNRGZ
elc_spv_ZWE_015 | FaP | 0.03293 | IMPNRGZ | elc_won_ZWE_015 | FaP | 0.010486 | IMPNRGZ | elc_wof_ZWE_015 | FaP | 0.010486 | IMPNRGZ
elc_spv_ZWE_015 | RaD | 0.22034 | IMPNRGZ | elc_won_ZWE_015 | RaD | 0.080931 | IMPNRGZ | elc_wof_ZWE_015 | RaD | 0.080931 | IMPNRGZ
elc_spv_ZWE_015 | RaN | 0 | IMPNRGZ | elc_won_ZWE_015 | RaN | 0.15677 | IMPNRGZ | elc_wof_ZWE_015 | RaN | 0.15677 | IMPNRGZ
elc_spv_ZWE_015 | RaP | 0.028266 | IMPNRGZ | elc_won_ZWE_015 | RaP | 0.0057994 | IMPNRGZ | elc_wof_ZWE_015 | RaP | 0.0057994 | IMPNRGZ
elc_spv_ZWE_015 | SaD | 0.19606 | IMPNRGZ | elc_won_ZWE_015 | SaD | 0.09673 | IMPNRGZ | elc_wof_ZWE_015 | SaD | 0.09673 | IMPNRGZ
elc_spv_ZWE_015 | SaN | 0 | IMPNRGZ | elc_won_ZWE_015 | SaN | 0.16991 | IMPNRGZ | elc_wof_ZWE_015 | SaN | 0.16991 | IMPNRGZ
elc_spv_ZWE_015 | SaP | 0.022234 | IMPNRGZ | elc_won_ZWE_015 | SaP | 0.0084675 | IMPNRGZ | elc_wof_ZWE_015 | SaP | 0.0084675 | IMPNRGZ
elc_spv_ZWE_015 | WaD | 0.20485 | IMPNRGZ | elc_won_ZWE_015 | WaD | 0.063902 | IMPNRGZ | elc_wof_ZWE_015 | WaD | 0.063902 | IMPNRGZ
elc_spv_ZWE_015 | WaN | 0.00036213 | IMPNRGZ | elc_won_ZWE_015 | WaN | 0.099232 | IMPNRGZ | elc_wof_ZWE_015 | WaN | 0.099232 | IMPNRGZ
elc_spv_ZWE_015 | WaP | 0.028564 | IMPNRGZ | elc_won_ZWE_015 | WaP | 0.0063804 | IMPNRGZ | elc_wof_ZWE_015 | WaP | 0.0063804 | IMPNRGZ
elc_spv_ZWE_016 | FaD | 0.26363 | IMPNRGZ | elc_won_ZWE_016 | FaD | 0.10852 | IMPNRGZ | elc_wof_ZWE_016 | FaD | 0.10852 | IMPNRGZ
elc_spv_ZWE_016 | FaN | 0 | IMPNRGZ | elc_won_ZWE_016 | FaN | 0.18642 | IMPNRGZ | elc_wof_ZWE_016 | FaN | 0.18642 | IMPNRGZ
elc_spv_ZWE_016 | FaP | 0.033329 | IMPNRGZ | elc_won_ZWE_016 | FaP | 0.010707 | IMPNRGZ | elc_wof_ZWE_016 | FaP | 0.010707 | IMPNRGZ
elc_spv_ZWE_016 | RaD | 0.22036 | IMPNRGZ | elc_won_ZWE_016 | RaD | 0.076254 | IMPNRGZ | elc_wof_ZWE_016 | RaD | 0.076254 | IMPNRGZ
elc_spv_ZWE_016 | RaN | 0 | IMPNRGZ | elc_won_ZWE_016 | RaN | 0.15784 | IMPNRGZ | elc_wof_ZWE_016 | RaN | 0.15784 | IMPNRGZ
elc_spv_ZWE_016 | RaP | 0.030158 | IMPNRGZ | elc_won_ZWE_016 | RaP | 0.0060778 | IMPNRGZ | elc_wof_ZWE_016 | RaP | 0.0060778 | IMPNRGZ
elc_spv_ZWE_016 | SaD | 0.19504 | IMPNRGZ | elc_won_ZWE_016 | SaD | 0.092875 | IMPNRGZ | elc_wof_ZWE_016 | SaD | 0.092875 | IMPNRGZ
elc_spv_ZWE_016 | SaN | 0 | IMPNRGZ | elc_won_ZWE_016 | SaN | 0.17932 | IMPNRGZ | elc_wof_ZWE_016 | SaN | 0.17932 | IMPNRGZ
elc_spv_ZWE_016 | SaP | 0.025371 | IMPNRGZ | elc_won_ZWE_016 | SaP | 0.0087515 | IMPNRGZ | elc_wof_ZWE_016 | SaP | 0.0087515 | IMPNRGZ
elc_spv_ZWE_016 | WaD | 0.20104 | IMPNRGZ | elc_won_ZWE_016 | WaD | 0.066888 | IMPNRGZ | elc_wof_ZWE_016 | WaD | 0.066888 | IMPNRGZ
elc_spv_ZWE_016 | WaN | 0.0031302 | IMPNRGZ | elc_won_ZWE_016 | WaN | 0.10015 | IMPNRGZ | elc_wof_ZWE_016 | WaN | 0.10015 | IMPNRGZ
elc_spv_ZWE_016 | WaP | 0.027934 | IMPNRGZ | elc_won_ZWE_016 | WaP | 0.0062021 | IMPNRGZ | elc_wof_ZWE_016 | WaP | 0.0062021 | IMPNRGZ
elc_spv_ZWE_017 | FaD | 0.27443 | IMPNRGZ | elc_won_ZWE_017 | FaD | 0.21569 | IMPNRGZ | elc_wof_ZWE_017 | FaD | 0.21569 | IMPNRGZ
elc_spv_ZWE_017 | FaN | 0 | IMPNRGZ | elc_won_ZWE_017 | FaN | 0.16562 | IMPNRGZ | elc_wof_ZWE_017 | FaN | 0.16562 | IMPNRGZ
elc_spv_ZWE_017 | FaP | 0.012936 | IMPNRGZ | elc_won_ZWE_017 | FaP | 0.027759 | IMPNRGZ | elc_wof_ZWE_017 | FaP | 0.027759 | IMPNRGZ
elc_spv_ZWE_017 | RaD | 0.24146 | IMPNRGZ | elc_won_ZWE_017 | RaD | 0.088192 | IMPNRGZ | elc_wof_ZWE_017 | RaD | 0.088192 | IMPNRGZ
elc_spv_ZWE_017 | RaN | 0 | IMPNRGZ | elc_won_ZWE_017 | RaN | 0.08491 | IMPNRGZ | elc_wof_ZWE_017 | RaN | 0.08491 | IMPNRGZ
elc_spv_ZWE_017 | RaP | 0.016649 | IMPNRGZ | elc_won_ZWE_017 | RaP | 0.014705 | IMPNRGZ | elc_wof_ZWE_017 | RaP | 0.014705 | IMPNRGZ
elc_spv_ZWE_017 | SaD | 0.20547 | IMPNRGZ | elc_won_ZWE_017 | SaD | 0.1263 | IMPNRGZ | elc_wof_ZWE_017 | SaD | 0.1263 | IMPNRGZ
elc_spv_ZWE_017 | SaN | 0 | IMPNRGZ | elc_won_ZWE_017 | SaN | 0.1152 | IMPNRGZ | elc_wof_ZWE_017 | SaN | 0.1152 | IMPNRGZ
elc_spv_ZWE_017 | SaP | 0.011255 | IMPNRGZ | elc_won_ZWE_017 | SaP | 0.022757 | IMPNRGZ | elc_wof_ZWE_017 | SaP | 0.022757 | IMPNRGZ
elc_spv_ZWE_017 | WaD | 0.21902 | IMPNRGZ | elc_won_ZWE_017 | WaD | 0.077989 | IMPNRGZ | elc_wof_ZWE_017 | WaD | 0.077989 | IMPNRGZ
elc_spv_ZWE_017 | WaN | 0 | IMPNRGZ | elc_won_ZWE_017 | WaN | 0.054004 | IMPNRGZ | elc_wof_ZWE_017 | WaN | 0.054004 | IMPNRGZ
elc_spv_ZWE_017 | WaP | 0.018774 | IMPNRGZ | elc_won_ZWE_017 | WaP | 0.0068727 | IMPNRGZ | elc_wof_ZWE_017 | WaP | 0.0068727 | IMPNRGZ
elc_spv_ZWE_018 | FaD | 0.25836 | IMPNRGZ | elc_won_ZWE_018 | FaD | 0.15116 | IMPNRGZ | elc_wof_ZWE_018 | FaD | 0.15116 | IMPNRGZ
elc_spv_ZWE_018 | FaN | 0 | IMPNRGZ | elc_won_ZWE_018 | FaN | 0.17715 | IMPNRGZ | elc_wof_ZWE_018 | FaN | 0.17715 | IMPNRGZ
elc_spv_ZWE_018 | FaP | 0.029466 | IMPNRGZ | elc_won_ZWE_018 | FaP | 0.01723 | IMPNRGZ | elc_wof_ZWE_018 | FaP | 0.01723 | IMPNRGZ
elc_spv_ZWE_018 | RaD | 0.2241 | IMPNRGZ | elc_won_ZWE_018 | RaD | 0.087545 | IMPNRGZ | elc_wof_ZWE_018 | RaD | 0.087545 | IMPNRGZ
elc_spv_ZWE_018 | RaN | 0 | IMPNRGZ | elc_won_ZWE_018 | RaN | 0.12578 | IMPNRGZ | elc_wof_ZWE_018 | RaN | 0.12578 | IMPNRGZ
elc_spv_ZWE_018 | RaP | 0.028584 | IMPNRGZ | elc_won_ZWE_018 | RaP | 0.008396 | IMPNRGZ | elc_wof_ZWE_018 | RaP | 0.008396 | IMPNRGZ
elc_spv_ZWE_018 | SaD | 0.19128 | IMPNRGZ | elc_won_ZWE_018 | SaD | 0.11296 | IMPNRGZ | elc_wof_ZWE_018 | SaD | 0.11296 | IMPNRGZ
elc_spv_ZWE_018 | SaN | 0 | IMPNRGZ | elc_won_ZWE_018 | SaN | 0.1503 | IMPNRGZ | elc_wof_ZWE_018 | SaN | 0.1503 | IMPNRGZ
elc_spv_ZWE_018 | SaP | 0.022066 | IMPNRGZ | elc_won_ZWE_018 | SaP | 0.01357 | IMPNRGZ | elc_wof_ZWE_018 | SaP | 0.01357 | IMPNRGZ
elc_spv_ZWE_018 | WaD | 0.21391 | IMPNRGZ | elc_won_ZWE_018 | WaD | 0.073727 | IMPNRGZ | elc_wof_ZWE_018 | WaD | 0.073727 | IMPNRGZ
elc_spv_ZWE_018 | WaN | 0.0051373 | IMPNRGZ | elc_won_ZWE_018 | WaN | 0.076499 | IMPNRGZ | elc_wof_ZWE_018 | WaN | 0.076499 | IMPNRGZ
elc_spv_ZWE_018 | WaP | 0.027111 | IMPNRGZ | elc_won_ZWE_018 | WaP | 0.0056925 | IMPNRGZ | elc_wof_ZWE_018 | WaP | 0.0056925 | IMPNRGZ
elc_spv_ZWE_019 | FaD | 0.25657 | IMPNRGZ | elc_won_ZWE_019 | FaD | 0.11192 | IMPNRGZ | elc_wof_ZWE_019 | FaD | 0.11192 | IMPNRGZ
elc_spv_ZWE_019 | FaN | 0 | IMPNRGZ | elc_won_ZWE_019 | FaN | 0.17782 | IMPNRGZ | elc_wof_ZWE_019 | FaN | 0.17782 | IMPNRGZ
elc_spv_ZWE_019 | FaP | 0.02875 | IMPNRGZ | elc_won_ZWE_019 | FaP | 0.022455 | IMPNRGZ | elc_wof_ZWE_019 | FaP | 0.022455 | IMPNRGZ
elc_spv_ZWE_019 | RaD | 0.22329 | IMPNRGZ | elc_won_ZWE_019 | RaD | 0.079396 | IMPNRGZ | elc_wof_ZWE_019 | RaD | 0.079396 | IMPNRGZ
elc_spv_ZWE_019 | RaN | 0 | IMPNRGZ | elc_won_ZWE_019 | RaN | 0.1383 | IMPNRGZ | elc_wof_ZWE_019 | RaN | 0.1383 | IMPNRGZ
elc_spv_ZWE_019 | RaP | 0.029669 | IMPNRGZ | elc_won_ZWE_019 | RaP | 0.016692 | IMPNRGZ | elc_wof_ZWE_019 | RaP | 0.016692 | IMPNRGZ
elc_spv_ZWE_019 | SaD | 0.18639 | IMPNRGZ | elc_won_ZWE_019 | SaD | 0.10324 | IMPNRGZ | elc_wof_ZWE_019 | SaD | 0.10324 | IMPNRGZ
elc_spv_ZWE_019 | SaN | 0 | IMPNRGZ | elc_won_ZWE_019 | SaN | 0.17264 | IMPNRGZ | elc_wof_ZWE_019 | SaN | 0.17264 | IMPNRGZ
elc_spv_ZWE_019 | SaP | 0.020911 | IMPNRGZ | elc_won_ZWE_019 | SaP | 0.022403 | IMPNRGZ | elc_wof_ZWE_019 | SaP | 0.022403 | IMPNRGZ
elc_spv_ZWE_019 | WaD | 0.21885 | IMPNRGZ | elc_won_ZWE_019 | WaD | 0.066754 | IMPNRGZ | elc_wof_ZWE_019 | WaD | 0.066754 | IMPNRGZ
elc_spv_ZWE_019 | WaN | 0.0057701 | IMPNRGZ | elc_won_ZWE_019 | WaN | 0.080741 | IMPNRGZ | elc_wof_ZWE_019 | WaN | 0.080741 | IMPNRGZ
elc_spv_ZWE_019 | WaP | 0.029796 | IMPNRGZ | elc_won_ZWE_019 | WaP | 0.0076377 | IMPNRGZ | elc_wof_ZWE_019 | WaP | 0.0076377 | IMPNRGZ
elc_spv_ZWE_020 | FaD | 0.25887 | IMPNRGZ | elc_won_ZWE_020 | FaD | 0.10269 | IMPNRGZ | elc_wof_ZWE_020 | FaD | 0.10269 | IMPNRGZ
elc_spv_ZWE_020 | FaN | 0 | IMPNRGZ | elc_won_ZWE_020 | FaN | 0.1854 | IMPNRGZ | elc_wof_ZWE_020 | FaN | 0.1854 | IMPNRGZ
elc_spv_ZWE_020 | FaP | 0.033363 | IMPNRGZ | elc_won_ZWE_020 | FaP | 0.014743 | IMPNRGZ | elc_wof_ZWE_020 | FaP | 0.014743 | IMPNRGZ
elc_spv_ZWE_020 | RaD | 0.22034 | IMPNRGZ | elc_won_ZWE_020 | RaD | 0.071063 | IMPNRGZ | elc_wof_ZWE_020 | RaD | 0.071063 | IMPNRGZ
elc_spv_ZWE_020 | RaN | 6.4024e-06 | IMPNRGZ | elc_won_ZWE_020 | RaN | 0.15667 | IMPNRGZ | elc_wof_ZWE_020 | RaN | 0.15667 | IMPNRGZ
elc_spv_ZWE_020 | RaP | 0.034067 | IMPNRGZ | elc_won_ZWE_020 | RaP | 0.0083078 | IMPNRGZ | elc_wof_ZWE_020 | RaP | 0.0083078 | IMPNRGZ
elc_spv_ZWE_020 | SaD | 0.1924 | IMPNRGZ | elc_won_ZWE_020 | SaD | 0.085805 | IMPNRGZ | elc_wof_ZWE_020 | SaD | 0.085805 | IMPNRGZ
elc_spv_ZWE_020 | SaN | 0 | IMPNRGZ | elc_won_ZWE_020 | SaN | 0.17989 | IMPNRGZ | elc_wof_ZWE_020 | SaN | 0.17989 | IMPNRGZ
elc_spv_ZWE_020 | SaP | 0.027314 | IMPNRGZ | elc_won_ZWE_020 | SaP | 0.013195 | IMPNRGZ | elc_wof_ZWE_020 | SaP | 0.013195 | IMPNRGZ
elc_spv_ZWE_020 | WaD | 0.19812 | IMPNRGZ | elc_won_ZWE_020 | WaD | 0.072534 | IMPNRGZ | elc_wof_ZWE_020 | WaD | 0.072534 | IMPNRGZ
elc_spv_ZWE_020 | WaN | 0.0058859 | IMPNRGZ | elc_won_ZWE_020 | WaN | 0.10133 | IMPNRGZ | elc_wof_ZWE_020 | WaN | 0.10133 | IMPNRGZ
elc_spv_ZWE_020 | WaP | 0.029631 | IMPNRGZ | elc_won_ZWE_020 | WaP | 0.008377 | IMPNRGZ | elc_wof_ZWE_020 | WaP | 0.008377 | IMPNRGZ
elc_spv_ZWE_021 | FaD | 0.25644 | IMPNRGZ
elc_spv_ZWE_021 | FaN | 1.8246e-06 | IMPNRGZ
elc_spv_ZWE_021 | FaP | 0.028975 | IMPNRGZ
elc_spv_ZWE_021 | RaD | 0.22365 | IMPNRGZ
elc_spv_ZWE_021 | RaN | 9.7068e-06 | IMPNRGZ
elc_spv_ZWE_021 | RaP | 0.031857 | IMPNRGZ
elc_spv_ZWE_021 | SaD | 0.18409 | IMPNRGZ
elc_spv_ZWE_021 | SaN | 0 | IMPNRGZ
elc_spv_ZWE_021 | SaP | 0.023361 | IMPNRGZ
elc_spv_ZWE_021 | WaD | 0.21486 | IMPNRGZ
elc_spv_ZWE_021 | WaN | 0.0077013 | IMPNRGZ
elc_spv_ZWE_021 | WaP | 0.029052 | IMPNRGZ
elc_spv_ZWE_022 | FaD | 0.25587 | IMPNRGZ
elc_spv_ZWE_022 | FaN | 6.2131e-05 | IMPNRGZ
elc_spv_ZWE_022 | FaP | 0.031266 | IMPNRGZ
elc_spv_ZWE_022 | RaD | 0.2223 | IMPNRGZ
elc_spv_ZWE_022 | RaN | 0.00055583 | IMPNRGZ
elc_spv_ZWE_022 | RaP | 0.034439 | IMPNRGZ
elc_spv_ZWE_022 | SaD | 0.18605 | IMPNRGZ
elc_spv_ZWE_022 | SaN | 0 | IMPNRGZ
elc_spv_ZWE_022 | SaP | 0.026937 | IMPNRGZ
elc_spv_ZWE_022 | WaD | 0.2068 | IMPNRGZ
elc_spv_ZWE_022 | WaN | 0.0076084 | IMPNRGZ
elc_spv_ZWE_022 | WaP | 0.028104 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT | [13 empty] | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX | [13 empty] | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX | [13 empty] | ~TFM_DINS-TSL: attribute=NCAP_PKCNT | [12 empty] | ~TFM_DINS-AT
process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | other_indexes | ncap_com
distr_solelc_spv_ZWE_001 | DEF_E | 0.96008 | 0.22689 | 0.24928 | 0 | 0.1915 | 0.3055 | 0 | 0.22846 | 0.42288 | 0 | 0.20565 | 0.21275 | distr_sol* | ELC4H | 0.27538 | 0.055151 | 0.0001076 | 0 | 0.04758 | 0.0050886 | 0 | 0.057768 | 0.0035571 | 0.58109 | 0.043423 | 0.011068 | distr_sol* | ELC8H | 0.0063716 | 0.040623 | 0.06917 | 0.3508 | 0.023887 | 0.073146 | 0 | 0.028362 | 0.12315 | 0 | 0.020235 | 0.063765 | distr_solelc_spv_ZWE_001 | 0.005612 | 0.42012 | 0.31272 | 0 | 0.39772 | 0.24943 | 0 | 0.32551 | 0.15906 | 0 | 0.4556 | 0.2983 | distr_solelc_spv_ZWE_001 | DEF_C | OUT | 0.4556
distr_solelc_spv_ZWE_002 | DEF_E | 0.98687 | 0.21243 | 0.24328 | 0 | 0.17097 | 0.2982 | 0 | 0.20395 | 0.42688 | 0 | 0.17619 | 0.18291 | distr_won* | ELC4H | 0.016695 | 0.019125 | 0.027838 | 0.023933 | 0.012085 | 0.036152 | 0.012062 | 0.015543 | 0.0080284 | 0.012895 | 0.0091486 | 0.032792 | distr_won* | ELC8H | 0.023517 | 0.033209 | 0.003211 | 0.04121 | 0.0065085 | 0 | 0.025068 | 0.031875 | 0.043851 | 0.034059 | 0.0086452 | 0.0051875 | distr_solelc_spv_ZWE_002 | 0.00029602 | 0.44418 | 0.30567 | 0 | 0.42315 | 0.2631 | 0 | 0.35414 | 0.17182 | 0 | 0.48751 | 0.3158 | distr_solelc_spv_ZWE_002 | DEF_C | OUT | 0.48751
distr_solelc_spv_ZWE_003 | DEF_E | 0.96292 | 0.22883 | 0.24621 | 0 | 0.18756 | 0.30438 | 0 | 0.22661 | 0.41431 | 0 | 0.19697 | 0.21003 | [28 empty] | distr_solelc_spv_ZWE_003 | 0.0050848 | 0.43188 | 0.31517 | 0 | 0.40756 | 0.25885 | 0 | 0.33465 | 0.17124 | 0 | 0.46915 | 0.30636 | distr_solelc_spv_ZWE_003 | DEF_C | OUT | 0.46915
distr_solelc_spv_ZWE_004 | DEF_E | 0.91667 | 0.24151 | 0.23369 | 0.99802 | 0.19361 | 0.17675 | 0 | 0.21962 | 0.2299 | 0.996 | 0.16979 | 0.16785 | [28 empty] | distr_solelc_spv_ZWE_004 | 0.018045 | 0.44611 | 0.35604 | 1.1967e-05 | 0.42982 | 0.34852 | 0 | 0.35685 | 0.24582 | 2.5362e-05 | 0.5112 | 0.34823 | distr_solelc_spv_ZWE_004 | DEF_C | OUT | 0.5112
distr_solelc_spv_ZWE_005 | DEF_E | 0.94515 | 0.25097 | 0.26116 | 0 | 0.21474 | 0.2858 | 0 | 0.24323 | 0.39641 | 0 | 0.22275 | 0.21121 | [28 empty] | distr_solelc_spv_ZWE_005 | 0.01222 | 0.41341 | 0.33451 | 0 | 0.39074 | 0.27127 | 0 | 0.31979 | 0.1735 | 0 | 0.45008 | 0.30643 | distr_solelc_spv_ZWE_005 | DEF_C | OUT | 0.45008
distr_solelc_spv_ZWE_006 | DEF_E | 0.92806 | 0.2542 | 0.2513 | 0 | 0.21099 | 0.25222 | 0 | 0.23795 | 0.33033 | 0 | 0.20703 | 0.18625 | [28 empty] | distr_solelc_spv_ZWE_006 | 0.016345 | 0.4223 | 0.35514 | 0 | 0.3981 | 0.29764 | 0 | 0.32823 | 0.19847 | 0 | 0.46881 | 0.33258 | distr_solelc_spv_ZWE_006 | DEF_C | OUT | 0.46881
distr_solelc_spv_ZWE_007 | DEF_E | 0.93584 | 0.25252 | 0.25833 | 0 | 0.20369 | 0.22661 | 0 | 0.23674 | 0.29733 | 0 | 0.18611 | 0.18997 | [28 empty] | distr_solelc_spv_ZWE_007 | 0.014473 | 0.43802 | 0.34707 | 0 | 0.42302 | 0.32326 | 0 | 0.35107 | 0.21962 | 0 | 0.49737 | 0.3273 | distr_solelc_spv_ZWE_007 | DEF_C | OUT | 0.49737
distr_solelc_spv_ZWE_008 | DEF_E | 0.93801 | 0.24749 | 0.25381 | 0 | 0.20817 | 0.26433 | 0 | 0.24058 | 0.35101 | 0 | 0.19962 | 0.20078 | [28 empty] | distr_solelc_spv_ZWE_008 | 0.011414 | 0.42865 | 0.33546 | 0 | 0.40491 | 0.28913 | 0 | 0.33444 | 0.19387 | 0 | 0.47452 | 0.31521 | distr_solelc_spv_ZWE_008 | DEF_C | OUT | 0.47452
distr_solelc_spv_ZWE_009 | DEF_E | 0 | 0.20863 | 0.25316 | 0 | 0.17009 | 0.28779 | 0 | 0.19356 | 0.39057 | 0 | 0.15001 | 0.16966 | [28 empty] | distr_solelc_spv_ZWE_009 | 0 | 0.44797 | 0.28885 | 0 | 0.43856 | 0.25978 | 0 | 0.39016 | 0.19949 | 0 | 0.53926 | 0.32176 | distr_solelc_spv_ZWE_009 | DEF_C | OUT | 0.53926
distr_solelc_spv_ZWE_010 | DEF_E | 0.96524 | 0.22454 | 0.26325 | 0 | 0.18299 | 0.28193 | 0 | 0.22215 | 0.36922 | 0 | 0.18524 | 0.19371 | [28 empty] | distr_solelc_spv_ZWE_010 | 0.0049956 | 0.44621 | 0.321 | 0 | 0.43368 | 0.27656 | 0 | 0.36898 | 0.20388 | 0 | 0.50516 | 0.31335 | distr_solelc_spv_ZWE_010 | DEF_C | OUT | 0.50516
distr_solelc_spv_ZWE_011 | DEF_E | 0.96023 | 0.21286 | 0.2405 | 0 | 0.17611 | 0.24998 | 0 | 0.20761 | 0.33634 | 0 | 0.16489 | 0.19329 | [28 empty] | distr_solelc_spv_ZWE_011 | 0.0040488 | 0.45352 | 0.30808 | 0 | 0.44672 | 0.28114 | 0 | 0.38824 | 0.22003 | 0 | 0.53025 | 0.31481 | distr_solelc_spv_ZWE_011 | DEF_C | OUT | 0.53025
distr_solelc_spv_ZWE_012 | DEF_E | 0.97119 | 0.21188 | 0.22941 | 0 | 0.15632 | 0.23118 | 0 | 0.18291 | 0.31599 | 0 | 0.13577 | 0.17563 | [28 empty] | distr_solelc_spv_ZWE_012 | 0.00078733 | 0.43883 | 0.2849 | 0 | 0.46003 | 0.27392 | 0 | 0.41188 | 0.22693 | 0 | 0.55545 | 0.32276 | distr_solelc_spv_ZWE_012 | DEF_C | OUT | 0.55545
distr_solelc_spv_ZWE_013 | DEF_E | 0 | 0.20593 | 0.20544 | 0 | 0.14991 | 0.23337 | 0 | 0.1712 | 0.34602 | 0 | 0.12836 | 0.13572 | [28 empty] | distr_solelc_spv_ZWE_013 | 0 | 0.42997 | 0.30636 | 0 | 0.44433 | 0.27763 | 0 | 0.39834 | 0.20682 | 0 | 0.55653 | 0.35581 | distr_solelc_spv_ZWE_013 | DEF_C | OUT | 0.55653
distr_solelc_spv_ZWE_014 | DEF_E | 0.93609 | 0.2061 | 0.1897 | 0 | 0.1493 | 0.15227 | 0 | 0.19261 | 0.21753 | 0 | 0.14051 | 0.15489 | [28 empty] | distr_solelc_spv_ZWE_014 | 0.0084571 | 0.43623 | 0.32041 | 0 | 0.45907 | 0.32401 | 0 | 0.4032 | 0.25959 | 0 | 0.54219 | 0.34484 | distr_solelc_spv_ZWE_014 | DEF_C | OUT | 0.54219
distr_solelc_spv_ZWE_015 | DEF_E | 0.97319 | 0.21462 | 0.19649 | 0 | 0.1458 | 0.17835 | 0 | 0.18416 | 0.23794 | 0 | 0.13176 | 0.13143 | [28 empty] | distr_solelc_spv_ZWE_015 | 0.00075471 | 0.42693 | 0.32741 | 0 | 0.44923 | 0.31696 | 0 | 0.39972 | 0.24931 | 0 | 0.54908 | 0.37332 | distr_solelc_spv_ZWE_015 | DEF_C | OUT | 0.54908
distr_solelc_spv_ZWE_016 | DEF_E | 0.94805 | 0.22735 | 0.18959 | 0 | 0.14903 | 0.12845 | 0 | 0.197 | 0.15624 | 0 | 0.1405 | 0.13727 | [28 empty] | distr_solelc_spv_ZWE_016 | 0.0064729 | 0.41573 | 0.3177 | 0 | 0.44578 | 0.33554 | 0 | 0.39455 | 0.28228 | 0 | 0.53918 | 0.3749 | distr_solelc_spv_ZWE_016 | DEF_C | OUT | 0.53918
distr_solelc_spv_ZWE_017 | DEF_E | 0 | 0.18371 | 0.33753 | 0 | 0.11828 | 0.46773 | 0 | 0.14134 | 0.5114 | 0 | 0.096418 | 0.4884 | [28 empty] | distr_solelc_spv_ZWE_017 | 0 | 0.46011 | 0.21692 | 0 | 0.49624 | 0.18818 | 0 | 0.42227 | 0.12721 | 0 | 0.57019 | 0.14783 | distr_solelc_spv_ZWE_017 | DEF_C | OUT | 0.57019
distr_solelc_spv_ZWE_018 | DEF_E | 0.92976 | 0.20825 | 0.21304 | 0 | 0.16236 | 0.19547 | 0 | 0.2 | 0.25634 | 0 | 0.15212 | 0.15956 | [28 empty] | distr_solelc_spv_ZWE_018 | 0.0108 | 0.4497 | 0.31347 | 0 | 0.46088 | 0.32333 | 0 | 0.39338 | 0.24959 | 0 | 0.53718 | 0.33697 | distr_solelc_spv_ZWE_018 | DEF_C | OUT | 0.53718
distr_solelc_spv_ZWE_019 | DEF_E | 0.93795 | 0.22997 | 0.2446 | 0 | 0.18026 | 0.20483 | 0 | 0.21806 | 0.29101 | 0 | 0.17136 | 0.18517 | [28 empty] | distr_solelc_spv_ZWE_019 | 0.011788 | 0.44709 | 0.33479 | 0 | 0.44625 | 0.32611 | 0 | 0.37249 | 0.22985 | 0 | 0.5184 | 0.31949 | distr_solelc_spv_ZWE_019 | DEF_C | OUT | 0.5184
distr_solelc_spv_ZWE_020 | DEF_E | 0.92044 | 0.23445 | 0.19668 | 0.99704 | 0.16034 | 0.091839 | 0 | 0.2012 | 0.11434 | 0 | 0.15545 | 0.13958 | [28 empty] | distr_solelc_spv_ZWE_020 | 0.012221 | 0.41137 | 0.33839 | 1.3005e-05 | 0.44756 | 0.38058 | 0 | 0.39081 | 0.30514 | 0 | 0.5316 | 0.37682 | distr_solelc_spv_ZWE_020 | DEF_C | OUT | 0.5316
distr_solelc_spv_ZWE_021 | DEF_E | 0.91748 | 0.2287 | 0.23333 | 0.99802 | 0.16714 | 0.14704 | 0 | 0.20818 | 0.19721 | 0.999 | 0.1519 | 0.15654 | [28 empty] | distr_solelc_spv_ZWE_021 | 0.016246 | 0.45326 | 0.33708 | 2.0032e-05 | 0.46154 | 0.36158 | 0 | 0.37991 | 0.26515 | 3.8068e-06 | 0.53502 | 0.33249 | distr_solelc_spv_ZWE_021 | DEF_C | OUT | 0.53502
distr_solelc_spv_ZWE_022 | DEF_E | 0.91286 | 0.22816 | 0.22905 | 0.99308 | 0.17102 | 0.095939 | 0 | 0.21072 | 0.12371 | 0.99401 | 0.1508 | 0.13679 | [28 empty] | distr_solelc_spv_ZWE_022 | 0.015899 | 0.43214 | 0.32299 | 0.0011362 | 0.45444 | 0.38721 | 0 | 0.38032 | 0.30286 | 0.0001284 | 0.52881 | 0.35539 | distr_solelc_spv_ZWE_022 | DEF_C | OUT | 0.52881
distr_wonelc_won_ZWE_001 | DEF_E | 0.3197 | 0.44683 | 0.35707 | 0.3285 | 0.49979 | 0.39529 | 0.33183 | 0.4755 | 0.38883 | 0.26658 | 0.42236 | 0.282 | [28 empty] | distr_wonelc_won_ZWE_001 | 0.25807 | 0.19298 | 0.24271 | 0.23339 | 0.12198 | 0.15912 | 0.23552 | 0.14293 | 0.1373 | 0.36262 | 0.20112 | 0.30708 | distr_wonelc_won_ZWE_001 | DEF_C | OUT | 0.35053
distr_wonelc_won_ZWE_002 | DEF_E | 0.29413 | 0.43479 | 0.37475 | 0.33886 | 0.51059 | 0.41972 | 0.3485 | 0.49888 | 0.44903 | 0.27811 | 0.43186 | 0.32633 | [28 empty] | distr_wonelc_won_ZWE_002 | 0.29936 | 0.20603 | 0.25724 | 0.28718 | 0.15339 | 0.16804 | 0.25153 | 0.16443 | 0.16053 | 0.41785 | 0.25004 | 0.32802 | distr_wonelc_won_ZWE_002 | DEF_C | OUT | 0.4163
distr_wonelc_won_ZWE_003 | DEF_E | 0.32156 | 0.43834 | 0.36412 | 0.30223 | 0.46726 | 0.30172 | 0.30968 | 0.49539 | 0.34942 | 0.2771 | 0.44542 | 0.30316 | [28 empty] | distr_wonelc_won_ZWE_003 | 0.21524 | 0.17131 | 0.23958 | 0.22911 | 0.13083 | 0.19419 | 0.24625 | 0.14994 | 0.18381 | 0.32272 | 0.17141 | 0.25361 | distr_wonelc_won_ZWE_003 | DEF_C | OUT | 0.32076
distr_wonelc_won_ZWE_004 | DEF_E | 0.37585 | 0.47446 | 0.35211 | 0.38384 | 0.51177 | 0.34118 | 0.43656 | 0.53468 | 0.40267 | 0.33868 | 0.45561 | 0.29681 | [28 empty] | distr_wonelc_won_ZWE_004 | 0.10457 | 0.10517 | 0.15943 | 0.094064 | 0.06501 | 0.11229 | 0.12226 | 0.078219 | 0.10983 | 0.17666 | 0.09584 | 0.19587 | distr_wonelc_won_ZWE_004 | DEF_C | OUT | 0.18834
distr_wonelc_won_ZWE_005 | DEF_E | 0.36471 | 0.46301 | 0.39696 | 0.32157 | 0.48841 | 0.36318 | 0.32516 | 0.51328 | 0.36974 | 0.28554 | 0.4701 | 0.34803 | [28 empty] | distr_wonelc_won_ZWE_005 | 0.15948 | 0.14345 | 0.19039 | 0.19933 | 0.11248 | 0.16184 | 0.22216 | 0.13122 | 0.1697 | 0.2593 | 0.13947 | 0.20697 | distr_wonelc_won_ZWE_005 | DEF_C | OUT | 0.25769
distr_wonelc_won_ZWE_006 | DEF_E | 0.25742 | 0.39534 | 0.35121 | 0.2559 | 0.45441 | 0.34559 | 0.27251 | 0.45572 | 0.40752 | 0.21525 | 0.39584 | 0.31574 | [28 empty] | distr_wonelc_won_ZWE_006 | 0.32793 | 0.21727 | 0.24166 | 0.3602 | 0.19507 | 0.20991 | 0.33079 | 0.20515 | 0.20021 | 0.46895 | 0.26211 | 0.27604 | distr_wonelc_won_ZWE_006 | DEF_C | OUT | 0.44293
distr_wonelc_won_ZWE_007 | DEF_E | 0.30344 | 0.42053 | 0.39616 | 0.27956 | 0.50615 | 0.41059 | 0.26714 | 0.48061 | 0.45218 | 0.22899 | 0.43914 | 0.36582 | [28 empty] | distr_wonelc_won_ZWE_007 | 0.26593 | 0.1701 | 0.20401 | 0.33604 | 0.15709 | 0.17953 | 0.34385 | 0.1808 | 0.18101 | 0.3953 | 0.18804 | 0.21894 | distr_wonelc_won_ZWE_007 | DEF_C | OUT | 0.3702
distr_wonelc_won_ZWE_008 | DEF_E | 0.37498 | 0.46738 | 0.48605 | 0.30499 | 0.51876 | 0.47126 | 0.25614 | 0.44751 | 0.39999 | 0.21557 | 0.41231 | 0.37027 | [28 empty] | distr_wonelc_won_ZWE_008 | 0.13831 | 0.093358 | 0.064943 | 0.18717 | 0.086346 | 0.062182 | 0.26294 | 0.1415 | 0.10766 | 0.3546 | 0.17022 | 0.13781 | distr_wonelc_won_ZWE_008 | DEF_C | OUT | 0.34869
distr_wonelc_won_ZWE_009 | DEF_E | 0.45965 | 0.50154 | 0.54647 | 0.34232 | 0.38583 | 0.37515 | 0.32402 | 0.34429 | 0.3372 | 0.27507 | 0.33732 | 0.31169 | [28 empty] | distr_wonelc_won_ZWE_009 | 0.11727 | 0.11101 | 0.041876 | 0.14256 | 0.13855 | 0.053736 | 0.23693 | 0.19845 | 0.12281 | 0.33507 | 0.27886 | 0.15732 | distr_wonelc_won_ZWE_009 | DEF_C | OUT | 0.33506
distr_wonelc_won_ZWE_010 | DEF_E | 0.51195 | 0.53527 | 0.58282 | 0.35999 | 0.41058 | 0.38974 | 0.35173 | 0.38213 | 0.35903 | 0.25939 | 0.34291 | 0.32513 | [28 empty] | distr_wonelc_won_ZWE_010 | 0.11686 | 0.087968 | 0.064514 | 0.14184 | 0.12367 | 0.084121 | 0.20509 | 0.16167 | 0.16813 | 0.34329 | 0.25218 | 0.21795 | distr_wonelc_won_ZWE_010 | DEF_C | OUT | 0.34322
distr_wonelc_won_ZWE_011 | DEF_E | 0.37892 | 0.4722 | 0.45441 | 0.34414 | 0.53935 | 0.43368 | 0.30762 | 0.49777 | 0.39306 | 0.2657 | 0.43154 | 0.35989 | [28 empty] | distr_wonelc_won_ZWE_011 | 0.14076 | 0.11746 | 0.13476 | 0.19915 | 0.096023 | 0.11878 | 0.21576 | 0.12248 | 0.1429 | 0.26492 | 0.13323 | 0.16279 | distr_wonelc_won_ZWE_011 | DEF_C | OUT | 0.26075
distr_wonelc_won_ZWE_012 | DEF_E | 0.47203 | 0.50941 | 0.53117 | 0.29585 | 0.4579 | 0.40895 | 0.2897 | 0.42739 | 0.39349 | 0.20722 | 0.38616 | 0.33866 | [28 empty] | distr_wonelc_won_ZWE_012 | 0.1544 | 0.097218 | 0.11177 | 0.22272 | 0.15319 | 0.14438 | 0.26381 | 0.18833 | 0.20435 | 0.4369 | 0.25385 | 0.28985 | distr_wonelc_won_ZWE_012 | DEF_C | OUT | 0.43602
distr_wonelc_won_ZWE_013 | DEF_E | 0.33065 | 0.45066 | 0.4456 | 0.30612 | 0.52732 | 0.52583 | 0.32405 | 0.48249 | 0.53687 | 0.26865 | 0.44403 | 0.41227 | [28 empty] | distr_wonelc_won_ZWE_013 | 0.23682 | 0.13494 | 0.11602 | 0.32664 | 0.13666 | 0.10273 | 0.32991 | 0.15977 | 0.11367 | 0.37089 | 0.17626 | 0.13863 | distr_wonelc_won_ZWE_013 | DEF_C | OUT | 0.36538
distr_wonelc_won_ZWE_014 | DEF_E | 0.37702 | 0.479 | 0.54254 | 0.35559 | 0.56678 | 0.53815 | 0.36228 | 0.52257 | 0.56268 | 0.29272 | 0.47256 | 0.48749 | [28 empty] | distr_wonelc_won_ZWE_014 | 0.1653 | 0.096373 | 0.073474 | 0.24573 | 0.10701 | 0.072904 | 0.26532 | 0.12823 | 0.090462 | 0.29926 | 0.12995 | 0.10581 | distr_wonelc_won_ZWE_014 | DEF_C | OUT | 0.29903
distr_wonelc_won_ZWE_015 | DEF_E | 0.48289 | 0.51045 | 0.58856 | 0.46629 | 0.58873 | 0.54685 | 0.49737 | 0.54213 | 0.56201 | 0.38315 | 0.46458 | 0.51545 | [28 empty] | distr_wonelc_won_ZWE_015 | 0.1254 | 0.080751 | 0.044345 | 0.1938 | 0.10005 | 0.039431 | 0.21004 | 0.11958 | 0.057572 | 0.24739 | 0.12929 | 0.072076 | distr_wonelc_won_ZWE_015 | DEF_C | OUT | 0.24739
distr_wonelc_won_ZWE_016 | DEF_E | 0.39584 | 0.48478 | 0.55956 | 0.35839 | 0.55264 | 0.55822 | 0.39424 | 0.51558 | 0.50777 | 0.33633 | 0.43705 | 0.45533 | [28 empty] | distr_wonelc_won_ZWE_016 | 0.13957 | 0.093217 | 0.047539 | 0.21519 | 0.10396 | 0.045573 | 0.24447 | 0.12662 | 0.065622 | 0.25694 | 0.14957 | 0.081168 | distr_wonelc_won_ZWE_016 | DEF_C | OUT | 0.25694
distr_wonelc_won_ZWE_017 | DEF_E | 0.43753 | 0.48485 | 0.47644 | 0.38728 | 0.39691 | 0.26946 | 0.42643 | 0.39919 | 0.25065 | 0.36778 | 0.34202 | 0.29855 | [28 empty] | distr_wonelc_won_ZWE_017 | 0.04552 | 0.065738 | 0.031862 | 0.070015 | 0.072721 | 0.066691 | 0.094993 | 0.10414 | 0.10321 | 0.13807 | 0.1798 | 0.12728 | distr_wonelc_won_ZWE_017 | DEF_C | OUT | 0.1798
distr_wonelc_won_ZWE_018 | DEF_E | 0.41686 | 0.47087 | 0.47602 | 0.41204 | 0.49005 | 0.37184 | 0.44843 | 0.46387 | 0.32315 | 0.3628 | 0.37053 | 0.33211 | [28 empty] | distr_wonelc_won_ZWE_018 | 0.080876 | 0.077945 | 0.0331 | 0.13008 | 0.090542 | 0.047759 | 0.15544 | 0.11683 | 0.077192 | 0.18523 | 0.15805 | 0.099089 | distr_wonelc_won_ZWE_018 | DEF_C | OUT | 0.18514
distr_wonelc_won_ZWE_019 | DEF_E | 0.33591 | 0.45667 | 0.42689 | 0.27698 | 0.4533 | 0.30331 | 0.29353 | 0.41105 | 0.26264 | 0.29771 | 0.40102 | 0.34105 | [28 empty] | distr_wonelc_won_ZWE_019 | 0.11819 | 0.097716 | 0.061491 | 0.19805 | 0.1137 | 0.13147 | 0.24721 | 0.14784 | 0.17645 | 0.25744 | 0.16203 | 0.17879 | distr_wonelc_won_ZWE_019 | DEF_C | OUT | 0.25721
distr_wonelc_won_ZWE_020 | DEF_E | 0.35649 | 0.47652 | 0.42558 | 0.29424 | 0.50463 | 0.40047 | 0.32165 | 0.47192 | 0.40015 | 0.31672 | 0.4339 | 0.37444 | [28 empty] | distr_wonelc_won_ZWE_020 | 0.13919 | 0.099639 | 0.06329 | 0.21054 | 0.095496 | 0.061403 | 0.24174 | 0.11531 | 0.097524 | 0.25188 | 0.13951 | 0.11017 | distr_wonelc_won_ZWE_020 | DEF_C | OUT | 0.25188

## load_shapes
~TFM_DINS-AT
g_yrfr | com_fr | timeslice | commodity
0.11427 | 0.16087 | FaD | elc_roadtransport
0.11427 | 0.052548 | FaN | elc_roadtransport
0.020776 | 0.035897 | FaP | elc_roadtransport
0.11553 | 0.16264 | RaD | elc_roadtransport
0.11553 | 0.053125 | RaN | elc_roadtransport
0.021005 | 0.036291 | RaP | elc_roadtransport
0.11553 | 0.16264 | SaD | elc_roadtransport
0.11553 | 0.053125 | SaN | elc_roadtransport
0.021005 | 0.036291 | SaP | elc_roadtransport
0.11301 | 0.1591 | WaD | elc_roadtransport
0.11301 | 0.05197 | WaN | elc_roadtransport
0.020548 | 0.035502 | WaP | elc_roadtransport

## demand
~TFM_DINS-AT
commodity | timeslice | com_fr
elc_buildings | FaD | 0.12777
elc_buildings | FaN | 0.10005
elc_buildings | FaP | 0.026299
elc_buildings | RaD | 0.12533
elc_buildings | RaN | 0.10041
elc_buildings | RaP | 0.026138
elc_buildings | SaD | 0.11949
elc_buildings | SaN | 0.099361
elc_buildings | SaP | 0.025081
elc_buildings | WaD | 0.12541
elc_buildings | WaN | 0.098635
elc_buildings | WaP | 0.026026
elc_industry | FaD | 0.11489
elc_industry | FaN | 0.1134
elc_industry | FaP | 0.021054
elc_industry | RaD | 0.11606
elc_industry | RaN | 0.11472
elc_industry | RaP | 0.021282
elc_industry | SaD | 0.11592
elc_industry | SaN | 0.11484
elc_industry | SaP | 0.021257
elc_industry | WaD | 0.1136
elc_industry | WaN | 0.11216
elc_industry | WaP | 0.020829

## peak_factors
~TFM_DINS-AT
commodity | timeslice | com_pkflx
ELC | FaD | 0.094232
ELC | FaN | 0.34162
ELC | FaP | 0.089701
ELC | RaD | 0.068234
ELC | RaN | 0.31849
ELC | RaP | 0.096201
ELC | SaD | 0.088748
ELC | SaN | 0.36061
ELC | SaP | 0.12898
ELC | WaD | 0.059521
ELC | WaN | 0.32632
ELC | WaP | 0.083896

## hydro_af
~TFM_INS-AT
Year | timeslice | ncap_afs | pset_ci
2025 | F | 0.8329 | hydro
2025 | R | 0.8311 | hydro
2025 | S | 0.79813 | hydro
2025 | W | 0.752 | hydro
2026 | F | 0.6979 | hydro
2026 | R | 0.70337 | hydro
2026 | S | 0.71577 | hydro
2026 | W | 0.68607 | hydro
2027 | F | 0.86867 | hydro
2027 | R | 0.7581 | hydro
2027 | S | 0.7458 | hydro
2027 | W | 0.7906 | hydro
2028 | F | 0.55077 | hydro
2028 | R | 0.58783 | hydro
2028 | S | 0.70793 | hydro
2028 | W | 0.72443 | hydro
2029 | F | 0.77237 | hydro
2029 | R | 0.86943 | hydro
2029 | S | 0.81847 | hydro
2029 | W | 0.77853 | hydro
2030 | F | 0.58417 | hydro
2030 | R | 0.6438 | hydro
2030 | S | 0.5819 | hydro
2030 | W | 0.60977 | hydro
2031 | F | 0.72467 | hydro
2031 | R | 0.6992 | hydro
2031 | S | 0.69323 | hydro
2031 | W | 0.66637 | hydro
2032 | F | 0.54953 | hydro
2032 | R | 0.6262 | hydro
2032 | S | 0.48617 | hydro
2032 | W | 0.6013 | hydro
2033 | F | 0.7318 | hydro
2033 | R | 0.89957 | hydro
2033 | S | 0.6697 | hydro
2033 | W | 0.7517 | hydro
2034 | F | 0.60477 | hydro
2034 | R | 0.61517 | hydro
2034 | S | 0.62833 | hydro
2034 | W | 0.62403 | hydro
2035 | F | 0.6279 | hydro
2035 | R | 0.46307 | hydro
2035 | S | 0.86907 | hydro
2035 | W | 0.7226 | hydro
2036 | F | 0.65213 | hydro
2036 | R | 0.75023 | hydro
2036 | S | 0.59933 | hydro
2036 | W | 0.75507 | hydro
2037 | F | 0.6723 | hydro
2037 | R | 0.70513 | hydro
2037 | S | 0.68 | hydro
2037 | W | 0.52187 | hydro
2038 | F | 0.4061 | hydro
2038 | R | 0.62817 | hydro
2038 | S | 0.74063 | hydro
2038 | W | 0.5863 | hydro
2039 | F | 0.75283 | hydro
2039 | R | 0.7471 | hydro
2039 | S | 0.47487 | hydro
2039 | W | 0.69983 | hydro
2040 | F | 0.64513 | hydro
2040 | R | 0.718 | hydro
2040 | S | 0.73023 | hydro
2040 | W | 0.58187 | hydro
2041 | F | 0.47323 | hydro
2041 | R | 0.5023 | hydro
2041 | S | 0.8542 | hydro
2041 | W | 0.59647 | hydro
2042 | F | 0.63423 | hydro
2042 | R | 0.67877 | hydro
2042 | S | 0.6812 | hydro
2042 | W | 0.75053 | hydro
2043 | F | 0.79587 | hydro
2043 | R | 0.6806 | hydro
2043 | S | 0.74777 | hydro
2043 | W | 0.79203 | hydro
2044 | F | 0.87953 | hydro
2044 | R | 0.64467 | hydro
2044 | S | 0.82383 | hydro
2044 | W | 0.85367 | hydro
2045 | F | 0.7421 | hydro
2045 | R | 0.8864 | hydro
2045 | S | 0.86023 | hydro
2045 | W | 0.83143 | hydro
2046 | F | 0.9031 | hydro
2046 | R | 0.86887 | hydro
2046 | S | 0.90743 | hydro
2046 | W | 0.76577 | hydro
2047 | F | 0.7347 | hydro
2047 | R | 0.82047 | hydro
2047 | S | 0.7161 | hydro
2047 | W | 0.7926 | hydro
2048 | F | 0.93603 | hydro
2048 | R | 0.7601 | hydro
2048 | S | 0.76037 | hydro
2048 | W | 0.757 | hydro
2049 | F | 0.85717 | hydro
2049 | R | 0.91733 | hydro
2049 | S | 0.8038 | hydro
2049 | W | 0.69863 | hydro
2050 | F | 0.86133 | hydro
2050 | R | 0.7748 | hydro
2050 | S | 0.8857 | hydro
2050 | W | 0.83733 | hydro