## ev_charging_uc
ts_12 | day_night | ts_12
| D | S1aH2,S3aH2,S2aH2,S4aH2
| N | S1aH3,S1aH1,S4aH3,S3aH1,S2aH3,S3aH3,S4aH1,S2aH1
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
~UC_T: LO
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | S1aH3,S1aH1,S4aH3,S3aH1,S2aH3,S3aH3,S4aH1,S2aH1 | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | S1aH2,S3aH2,S2aH2,S4aH2 | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1

## timeslice_def
~TimeSlices
ts_12 | season | weekly | daynite | wparent | dparent
| S1 | a | H1 | S1,S2,S3,S4 | a
| S2 |  | H2 |  | a
| S3 |  | H3 |  | a
S4

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_HRV_001 | S1aH1 | 0 | IMPNRGZ | elc_won_HRV_001 | S1aH1 | 0.10867 | IMPNRGZ
elc_spv_HRV_001 | S1aH2 | 0.14004 | IMPNRGZ | elc_won_HRV_001 | S1aH2 | 0.13004 | IMPNRGZ
elc_spv_HRV_001 | S1aH3 | 0.00010055 | IMPNRGZ | elc_won_HRV_001 | S1aH3 | 0.079072 | IMPNRGZ
elc_spv_HRV_001 | S2aH1 | 0.017587 | IMPNRGZ | elc_won_HRV_001 | S2aH1 | 0.095297 | IMPNRGZ
elc_spv_HRV_001 | S2aH2 | 0.25637 | IMPNRGZ | elc_won_HRV_001 | S2aH2 | 0.11989 | IMPNRGZ
elc_spv_HRV_001 | S2aH3 | 0.016196 | IMPNRGZ | elc_won_HRV_001 | S2aH3 | 0.077039 | IMPNRGZ
elc_spv_HRV_001 | S3aH1 | 0.033571 | IMPNRGZ | elc_won_HRV_001 | S3aH1 | 0.04107 | IMPNRGZ
elc_spv_HRV_001 | S3aH2 | 0.30605 | IMPNRGZ | elc_won_HRV_001 | S3aH2 | 0.061637 | IMPNRGZ
elc_spv_HRV_001 | S3aH3 | 0.026906 | IMPNRGZ | elc_won_HRV_001 | S3aH3 | 0.040102 | IMPNRGZ
elc_spv_HRV_001 | S4aH1 | 0.0069662 | IMPNRGZ | elc_won_HRV_001 | S4aH1 | 0.08149 | IMPNRGZ
elc_spv_HRV_001 | S4aH2 | 0.19292 | IMPNRGZ | elc_won_HRV_001 | S4aH2 | 0.10397 | IMPNRGZ
elc_spv_HRV_001 | S4aH3 | 0.0033056 | IMPNRGZ | elc_won_HRV_001 | S4aH3 | 0.061711 | IMPNRGZ
elc_spv_HRV_002 | S1aH1 | 0 | IMPNRGZ | elc_won_HRV_002 | S1aH1 | 0.10556 | IMPNRGZ
elc_spv_HRV_002 | S1aH2 | 0.13764 | IMPNRGZ | elc_won_HRV_002 | S1aH2 | 0.12598 | IMPNRGZ
elc_spv_HRV_002 | S1aH3 | 0.00018892 | IMPNRGZ | elc_won_HRV_002 | S1aH3 | 0.075453 | IMPNRGZ
elc_spv_HRV_002 | S2aH1 | 0.017498 | IMPNRGZ | elc_won_HRV_002 | S2aH1 | 0.094904 | IMPNRGZ
elc_spv_HRV_002 | S2aH2 | 0.25667 | IMPNRGZ | elc_won_HRV_002 | S2aH2 | 0.12323 | IMPNRGZ
elc_spv_HRV_002 | S2aH3 | 0.016389 | IMPNRGZ | elc_won_HRV_002 | S2aH3 | 0.075833 | IMPNRGZ
elc_spv_HRV_002 | S3aH1 | 0.033885 | IMPNRGZ | elc_won_HRV_002 | S3aH1 | 0.031332 | IMPNRGZ
elc_spv_HRV_002 | S3aH2 | 0.30741 | IMPNRGZ | elc_won_HRV_002 | S3aH2 | 0.051653 | IMPNRGZ
elc_spv_HRV_002 | S3aH3 | 0.029162 | IMPNRGZ | elc_won_HRV_002 | S3aH3 | 0.038193 | IMPNRGZ
elc_spv_HRV_002 | S4aH1 | 0.0062903 | IMPNRGZ | elc_won_HRV_002 | S4aH1 | 0.096294 | IMPNRGZ
elc_spv_HRV_002 | S4aH2 | 0.1914 | IMPNRGZ | elc_won_HRV_002 | S4aH2 | 0.11242 | IMPNRGZ
elc_spv_HRV_002 | S4aH3 | 0.0034701 | IMPNRGZ | elc_won_HRV_002 | S4aH3 | 0.069141 | IMPNRGZ
elc_spv_HRV_003 | S1aH1 | 0 | IMPNRGZ | elc_won_HRV_003 | S1aH1 | 0.10475 | IMPNRGZ
elc_spv_HRV_003 | S1aH2 | 0.1335 | IMPNRGZ | elc_won_HRV_003 | S1aH2 | 0.11755 | IMPNRGZ
elc_spv_HRV_003 | S1aH3 | 0.00057103 | IMPNRGZ | elc_won_HRV_003 | S1aH3 | 0.072949 | IMPNRGZ
elc_spv_HRV_003 | S2aH1 | 0.014013 | IMPNRGZ | elc_won_HRV_003 | S2aH1 | 0.092338 | IMPNRGZ
elc_spv_HRV_003 | S2aH2 | 0.25215 | IMPNRGZ | elc_won_HRV_003 | S2aH2 | 0.099865 | IMPNRGZ
elc_spv_HRV_003 | S2aH3 | 0.017617 | IMPNRGZ | elc_won_HRV_003 | S2aH3 | 0.06677 | IMPNRGZ
elc_spv_HRV_003 | S3aH1 | 0.029826 | IMPNRGZ | elc_won_HRV_003 | S3aH1 | 0.061091 | IMPNRGZ
elc_spv_HRV_003 | S3aH2 | 0.32761 | IMPNRGZ | elc_won_HRV_003 | S3aH2 | 0.051414 | IMPNRGZ
elc_spv_HRV_003 | S3aH3 | 0.035811 | IMPNRGZ | elc_won_HRV_003 | S3aH3 | 0.029774 | IMPNRGZ
elc_spv_HRV_003 | S4aH1 | 0.00416 | IMPNRGZ | elc_won_HRV_003 | S4aH1 | 0.098874 | IMPNRGZ
elc_spv_HRV_003 | S4aH2 | 0.18058 | IMPNRGZ | elc_won_HRV_003 | S4aH2 | 0.12655 | IMPNRGZ
elc_spv_HRV_003 | S4aH3 | 0.0041625 | IMPNRGZ | elc_won_HRV_003 | S4aH3 | 0.078076 | IMPNRGZ
elc_spv_HRV_004 | S1aH1 | 0 | IMPNRGZ | elc_won_HRV_004 | S1aH1 | 0.11361 | IMPNRGZ
elc_spv_HRV_004 | S1aH2 | 0.12797 | IMPNRGZ | elc_won_HRV_004 | S1aH2 | 0.12891 | IMPNRGZ
elc_spv_HRV_004 | S1aH3 | 0.00045039 | IMPNRGZ | elc_won_HRV_004 | S1aH3 | 0.083022 | IMPNRGZ
elc_spv_HRV_004 | S2aH1 | 0.013541 | IMPNRGZ | elc_won_HRV_004 | S2aH1 | 0.070394 | IMPNRGZ
elc_spv_HRV_004 | S2aH2 | 0.25019 | IMPNRGZ | elc_won_HRV_004 | S2aH2 | 0.10624 | IMPNRGZ
elc_spv_HRV_004 | S2aH3 | 0.017256 | IMPNRGZ | elc_won_HRV_004 | S2aH3 | 0.055131 | IMPNRGZ
elc_spv_HRV_004 | S3aH1 | 0.033241 | IMPNRGZ | elc_won_HRV_004 | S3aH1 | 0.041635 | IMPNRGZ
elc_spv_HRV_004 | S3aH2 | 0.34094 | IMPNRGZ | elc_won_HRV_004 | S3aH2 | 0.077416 | IMPNRGZ
elc_spv_HRV_004 | S3aH3 | 0.035342 | IMPNRGZ | elc_won_HRV_004 | S3aH3 | 0.030064 | IMPNRGZ
elc_spv_HRV_004 | S4aH1 | 0.0041182 | IMPNRGZ | elc_won_HRV_004 | S4aH1 | 0.090528 | IMPNRGZ
elc_spv_HRV_004 | S4aH2 | 0.17316 | IMPNRGZ | elc_won_HRV_004 | S4aH2 | 0.13504 | IMPNRGZ
elc_spv_HRV_004 | S4aH3 | 0.0037918 | IMPNRGZ | elc_won_HRV_004 | S4aH3 | 0.068011 | IMPNRGZ
elc_spv_HRV_005 | S1aH1 | 0 | IMPNRGZ | elc_won_HRV_005 | S1aH1 | 0.1224 | IMPNRGZ
elc_spv_HRV_005 | S1aH2 | 0.1208 | IMPNRGZ | elc_won_HRV_005 | S1aH2 | 0.12475 | IMPNRGZ
elc_spv_HRV_005 | S1aH3 | 0.00033243 | IMPNRGZ | elc_won_HRV_005 | S1aH3 | 0.085477 | IMPNRGZ
elc_spv_HRV_005 | S2aH1 | 0.01429 | IMPNRGZ | elc_won_HRV_005 | S2aH1 | 0.087606 | IMPNRGZ
elc_spv_HRV_005 | S2aH2 | 0.25708 | IMPNRGZ | elc_won_HRV_005 | S2aH2 | 0.10883 | IMPNRGZ
elc_spv_HRV_005 | S2aH3 | 0.017051 | IMPNRGZ | elc_won_HRV_005 | S2aH3 | 0.057759 | IMPNRGZ
elc_spv_HRV_005 | S3aH1 | 0.034061 | IMPNRGZ | elc_won_HRV_005 | S3aH1 | 0.052488 | IMPNRGZ
elc_spv_HRV_005 | S3aH2 | 0.33934 | IMPNRGZ | elc_won_HRV_005 | S3aH2 | 0.064329 | IMPNRGZ
elc_spv_HRV_005 | S3aH3 | 0.033769 | IMPNRGZ | elc_won_HRV_005 | S3aH3 | 0.041498 | IMPNRGZ
elc_spv_HRV_005 | S4aH1 | 0.0044119 | IMPNRGZ | elc_won_HRV_005 | S4aH1 | 0.088822 | IMPNRGZ
elc_spv_HRV_005 | S4aH2 | 0.17527 | IMPNRGZ | elc_won_HRV_005 | S4aH2 | 0.099212 | IMPNRGZ
elc_spv_HRV_005 | S4aH3 | 0.0035876 | IMPNRGZ | elc_won_HRV_005 | S4aH3 | 0.066829 | IMPNRGZ
elc_spv_HRV_006 | S1aH1 | 0 | IMPNRGZ | elc_won_HRV_006 | S1aH1 | 0.1197 | IMPNRGZ
elc_spv_HRV_006 | S1aH2 | 0.13064 | IMPNRGZ | elc_won_HRV_006 | S1aH2 | 0.13088 | IMPNRGZ
elc_spv_HRV_006 | S1aH3 | 0.00042422 | IMPNRGZ | elc_won_HRV_006 | S1aH3 | 0.08074 | IMPNRGZ
elc_spv_HRV_006 | S2aH1 | 0.015633 | IMPNRGZ | elc_won_HRV_006 | S2aH1 | 0.095872 | IMPNRGZ
elc_spv_HRV_006 | S2aH2 | 0.25391 | IMPNRGZ | elc_won_HRV_006 | S2aH2 | 0.12365 | IMPNRGZ
elc_spv_HRV_006 | S2aH3 | 0.01702 | IMPNRGZ | elc_won_HRV_006 | S2aH3 | 0.069402 | IMPNRGZ
elc_spv_HRV_006 | S3aH1 | 0.033354 | IMPNRGZ | elc_won_HRV_006 | S3aH1 | 0.027539 | IMPNRGZ
elc_spv_HRV_006 | S3aH2 | 0.32043 | IMPNRGZ | elc_won_HRV_006 | S3aH2 | 0.061761 | IMPNRGZ
elc_spv_HRV_006 | S3aH3 | 0.032405 | IMPNRGZ | elc_won_HRV_006 | S3aH3 | 0.023306 | IMPNRGZ
elc_spv_HRV_006 | S4aH1 | 0.0051622 | IMPNRGZ | elc_won_HRV_006 | S4aH1 | 0.090968 | IMPNRGZ
elc_spv_HRV_006 | S4aH2 | 0.18736 | IMPNRGZ | elc_won_HRV_006 | S4aH2 | 0.10805 | IMPNRGZ
elc_spv_HRV_006 | S4aH3 | 0.003659 | IMPNRGZ | elc_won_HRV_006 | S4aH3 | 0.068129 | IMPNRGZ
elc_spv_HRV_007 | S1aH1 | 0 | IMPNRGZ | elc_won_HRV_007 | S1aH1 | 0.10963 | IMPNRGZ
elc_spv_HRV_007 | S1aH2 | 0.12214 | IMPNRGZ | elc_won_HRV_007 | S1aH2 | 0.12313 | IMPNRGZ
elc_spv_HRV_007 | S1aH3 | 0.00016472 | IMPNRGZ | elc_won_HRV_007 | S1aH3 | 0.07515 | IMPNRGZ
elc_spv_HRV_007 | S2aH1 | 0.016337 | IMPNRGZ | elc_won_HRV_007 | S2aH1 | 0.082889 | IMPNRGZ
elc_spv_HRV_007 | S2aH2 | 0.2617 | IMPNRGZ | elc_won_HRV_007 | S2aH2 | 0.13291 | IMPNRGZ
elc_spv_HRV_007 | S2aH3 | 0.017196 | IMPNRGZ | elc_won_HRV_007 | S2aH3 | 0.061377 | IMPNRGZ
elc_spv_HRV_007 | S3aH1 | 0.033531 | IMPNRGZ | elc_won_HRV_007 | S3aH1 | 0.039907 | IMPNRGZ
elc_spv_HRV_007 | S3aH2 | 0.32259 | IMPNRGZ | elc_won_HRV_007 | S3aH2 | 0.090587 | IMPNRGZ
elc_spv_HRV_007 | S3aH3 | 0.031463 | IMPNRGZ | elc_won_HRV_007 | S3aH3 | 0.036121 | IMPNRGZ
elc_spv_HRV_007 | S4aH1 | 0.0054052 | IMPNRGZ | elc_won_HRV_007 | S4aH1 | 0.078973 | IMPNRGZ
elc_spv_HRV_007 | S4aH2 | 0.18592 | IMPNRGZ | elc_won_HRV_007 | S4aH2 | 0.11028 | IMPNRGZ
elc_spv_HRV_007 | S4aH3 | 0.0035542 | IMPNRGZ | elc_won_HRV_007 | S4aH3 | 0.059051 | IMPNRGZ
elc_spv_HRV_008 | S1aH1 | 0 | IMPNRGZ | elc_won_HRV_008 | S1aH1 | 0.11425 | IMPNRGZ
elc_spv_HRV_008 | S1aH2 | 0.1157 | IMPNRGZ | elc_won_HRV_008 | S1aH2 | 0.095144 | IMPNRGZ
elc_spv_HRV_008 | S1aH3 | 2.1708e-05 | IMPNRGZ | elc_won_HRV_008 | S1aH3 | 0.080916 | IMPNRGZ
elc_spv_HRV_008 | S2aH1 | 0.017386 | IMPNRGZ | elc_won_HRV_008 | S2aH1 | 0.097227 | IMPNRGZ
elc_spv_HRV_008 | S2aH2 | 0.26729 | IMPNRGZ | elc_won_HRV_008 | S2aH2 | 0.11067 | IMPNRGZ
elc_spv_HRV_008 | S2aH3 | 0.016809 | IMPNRGZ | elc_won_HRV_008 | S2aH3 | 0.079334 | IMPNRGZ
elc_spv_HRV_008 | S3aH1 | 0.034049 | IMPNRGZ | elc_won_HRV_008 | S3aH1 | 0.062731 | IMPNRGZ
elc_spv_HRV_008 | S3aH2 | 0.32612 | IMPNRGZ | elc_won_HRV_008 | S3aH2 | 0.055584 | IMPNRGZ
elc_spv_HRV_008 | S3aH3 | 0.029426 | IMPNRGZ | elc_won_HRV_008 | S3aH3 | 0.050182 | IMPNRGZ
elc_spv_HRV_008 | S4aH1 | 0.0054722 | IMPNRGZ | elc_won_HRV_008 | S4aH1 | 0.089029 | IMPNRGZ
elc_spv_HRV_008 | S4aH2 | 0.18447 | IMPNRGZ | elc_won_HRV_008 | S4aH2 | 0.093009 | IMPNRGZ
elc_spv_HRV_008 | S4aH3 | 0.0032539 | IMPNRGZ | elc_won_HRV_008 | S4aH3 | 0.071918 | IMPNRGZ
elc_spv_HRV_009 | S1aH1 | 0 | IMPNRGZ | elc_won_HRV_009 | S1aH1 | 0.11574 | IMPNRGZ
elc_spv_HRV_009 | S1aH2 | 0.10954 | IMPNRGZ | elc_won_HRV_009 | S1aH2 | 0.10048 | IMPNRGZ
elc_spv_HRV_009 | S1aH3 | 6.1208e-09 | IMPNRGZ | elc_won_HRV_009 | S1aH3 | 0.088294 | IMPNRGZ
elc_spv_HRV_009 | S2aH1 | 0.020327 | IMPNRGZ | elc_won_HRV_009 | S2aH1 | 0.093798 | IMPNRGZ
elc_spv_HRV_009 | S2aH2 | 0.26958 | IMPNRGZ | elc_won_HRV_009 | S2aH2 | 0.098206 | IMPNRGZ
elc_spv_HRV_009 | S2aH3 | 0.015226 | IMPNRGZ | elc_won_HRV_009 | S2aH3 | 0.074268 | IMPNRGZ
elc_spv_HRV_009 | S3aH1 | 0.038553 | IMPNRGZ | elc_won_HRV_009 | S3aH1 | 0.065647 | IMPNRGZ
elc_spv_HRV_009 | S3aH2 | 0.32605 | IMPNRGZ | elc_won_HRV_009 | S3aH2 | 0.050241 | IMPNRGZ
elc_spv_HRV_009 | S3aH3 | 0.030196 | IMPNRGZ | elc_won_HRV_009 | S3aH3 | 0.049998 | IMPNRGZ
elc_spv_HRV_009 | S4aH1 | 0.0061997 | IMPNRGZ | elc_won_HRV_009 | S4aH1 | 0.095567 | IMPNRGZ
elc_spv_HRV_009 | S4aH2 | 0.18171 | IMPNRGZ | elc_won_HRV_009 | S4aH2 | 0.092444 | IMPNRGZ
elc_spv_HRV_009 | S4aH3 | 0.0026344 | IMPNRGZ | elc_won_HRV_009 | S4aH3 | 0.075319 | IMPNRGZ
elc_spv_HRV_010 | S1aH1 | 0 | IMPNRGZ | elc_won_HRV_010 | S1aH1 | 0.10442 | IMPNRGZ
elc_spv_HRV_010 | S1aH2 | 0.11127 | IMPNRGZ | elc_won_HRV_010 | S1aH2 | 0.088095 | IMPNRGZ
elc_spv_HRV_010 | S1aH3 | 1.4573e-07 | IMPNRGZ | elc_won_HRV_010 | S1aH3 | 0.08418 | IMPNRGZ
elc_spv_HRV_010 | S2aH1 | 0.019639 | IMPNRGZ | elc_won_HRV_010 | S2aH1 | 0.10109 | IMPNRGZ
elc_spv_HRV_010 | S2aH2 | 0.2692 | IMPNRGZ | elc_won_HRV_010 | S2aH2 | 0.091577 | IMPNRGZ
elc_spv_HRV_010 | S2aH3 | 0.015627 | IMPNRGZ | elc_won_HRV_010 | S2aH3 | 0.078583 | IMPNRGZ
elc_spv_HRV_010 | S3aH1 | 0.037152 | IMPNRGZ | elc_won_HRV_010 | S3aH1 | 0.059039 | IMPNRGZ
elc_spv_HRV_010 | S3aH2 | 0.32582 | IMPNRGZ | elc_won_HRV_010 | S3aH2 | 0.049672 | IMPNRGZ
elc_spv_HRV_010 | S3aH3 | 0.028889 | IMPNRGZ | elc_won_HRV_010 | S3aH3 | 0.060276 | IMPNRGZ
elc_spv_HRV_010 | S4aH1 | 0.0060138 | IMPNRGZ | elc_won_HRV_010 | S4aH1 | 0.10346 | IMPNRGZ
elc_spv_HRV_010 | S4aH2 | 0.18371 | IMPNRGZ | elc_won_HRV_010 | S4aH2 | 0.098233 | IMPNRGZ
elc_spv_HRV_010 | S4aH3 | 0.002681 | IMPNRGZ | elc_won_HRV_010 | S4aH3 | 0.081371 | IMPNRGZ
elc_spv_HRV_011 | S1aH1 | 0 | IMPNRGZ | elc_won_HRV_011 | S1aH1 | 0.098496 | IMPNRGZ
elc_spv_HRV_011 | S1aH2 | 0.11634 | IMPNRGZ | elc_won_HRV_011 | S1aH2 | 0.1026 | IMPNRGZ
elc_spv_HRV_011 | S1aH3 | 0 | IMPNRGZ | elc_won_HRV_011 | S1aH3 | 0.075709 | IMPNRGZ
elc_spv_HRV_011 | S2aH1 | 0.0245 | IMPNRGZ | elc_won_HRV_011 | S2aH1 | 0.091738 | IMPNRGZ
elc_spv_HRV_011 | S2aH2 | 0.27 | IMPNRGZ | elc_won_HRV_011 | S2aH2 | 0.10546 | IMPNRGZ
elc_spv_HRV_011 | S2aH3 | 0.01239 | IMPNRGZ | elc_won_HRV_011 | S2aH3 | 0.074179 | IMPNRGZ
elc_spv_HRV_011 | S3aH1 | 0.040059 | IMPNRGZ | elc_won_HRV_011 | S3aH1 | 0.046554 | IMPNRGZ
elc_spv_HRV_011 | S3aH2 | 0.30955 | IMPNRGZ | elc_won_HRV_011 | S3aH2 | 0.055304 | IMPNRGZ
elc_spv_HRV_011 | S3aH3 | 0.024342 | IMPNRGZ | elc_won_HRV_011 | S3aH3 | 0.051658 | IMPNRGZ
elc_spv_HRV_011 | S4aH1 | 0.0090477 | IMPNRGZ | elc_won_HRV_011 | S4aH1 | 0.097385 | IMPNRGZ
elc_spv_HRV_011 | S4aH2 | 0.1914 | IMPNRGZ | elc_won_HRV_011 | S4aH2 | 0.12518 | IMPNRGZ
elc_spv_HRV_011 | S4aH3 | 0.0023683 | IMPNRGZ | elc_won_HRV_011 | S4aH3 | 0.075742 | IMPNRGZ
elc_spv_HRV_012 | S1aH1 | 0 | IMPNRGZ | elc_won_HRV_012 | S1aH1 | 0.092949 | IMPNRGZ
elc_spv_HRV_012 | S1aH2 | 0.10902 | IMPNRGZ | elc_won_HRV_012 | S1aH2 | 0.10091 | IMPNRGZ
elc_spv_HRV_012 | S1aH3 | 0 | IMPNRGZ | elc_won_HRV_012 | S1aH3 | 0.080389 | IMPNRGZ
elc_spv_HRV_012 | S2aH1 | 0.024115 | IMPNRGZ | elc_won_HRV_012 | S2aH1 | 0.11009 | IMPNRGZ
elc_spv_HRV_012 | S2aH2 | 0.27058 | IMPNRGZ | elc_won_HRV_012 | S2aH2 | 0.098261 | IMPNRGZ
elc_spv_HRV_012 | S2aH3 | 0.012551 | IMPNRGZ | elc_won_HRV_012 | S2aH3 | 0.082036 | IMPNRGZ
elc_spv_HRV_012 | S3aH1 | 0.042095 | IMPNRGZ | elc_won_HRV_012 | S3aH1 | 0.060908 | IMPNRGZ
elc_spv_HRV_012 | S3aH2 | 0.31435 | IMPNRGZ | elc_won_HRV_012 | S3aH2 | 0.052901 | IMPNRGZ
elc_spv_HRV_012 | S3aH3 | 0.025285 | IMPNRGZ | elc_won_HRV_012 | S3aH3 | 0.051287 | IMPNRGZ
elc_spv_HRV_012 | S4aH1 | 0.0087172 | IMPNRGZ | elc_won_HRV_012 | S4aH1 | 0.094797 | IMPNRGZ
elc_spv_HRV_012 | S4aH2 | 0.19083 | IMPNRGZ | elc_won_HRV_012 | S4aH2 | 0.097948 | IMPNRGZ
elc_spv_HRV_012 | S4aH3 | 0.002459 | IMPNRGZ | elc_won_HRV_012 | S4aH3 | 0.077527 | IMPNRGZ
elc_spv_HRV_013 | S1aH1 | 0 | IMPNRGZ | elc_won_HRV_013 | S1aH1 | 0.1056 | IMPNRGZ
elc_spv_HRV_013 | S1aH2 | 0.11473 | IMPNRGZ | elc_won_HRV_013 | S1aH2 | 0.098902 | IMPNRGZ
elc_spv_HRV_013 | S1aH3 | 0 | IMPNRGZ | elc_won_HRV_013 | S1aH3 | 0.081166 | IMPNRGZ
elc_spv_HRV_013 | S2aH1 | 0.022116 | IMPNRGZ | elc_won_HRV_013 | S2aH1 | 0.10618 | IMPNRGZ
elc_spv_HRV_013 | S2aH2 | 0.27123 | IMPNRGZ | elc_won_HRV_013 | S2aH2 | 0.098069 | IMPNRGZ
elc_spv_HRV_013 | S2aH3 | 0.013542 | IMPNRGZ | elc_won_HRV_013 | S2aH3 | 0.072402 | IMPNRGZ
elc_spv_HRV_013 | S3aH1 | 0.038749 | IMPNRGZ | elc_won_HRV_013 | S3aH1 | 0.06042 | IMPNRGZ
elc_spv_HRV_013 | S3aH2 | 0.31123 | IMPNRGZ | elc_won_HRV_013 | S3aH2 | 0.050791 | IMPNRGZ
elc_spv_HRV_013 | S3aH3 | 0.025544 | IMPNRGZ | elc_won_HRV_013 | S3aH3 | 0.050553 | IMPNRGZ
elc_spv_HRV_013 | S4aH1 | 0.007682 | IMPNRGZ | elc_won_HRV_013 | S4aH1 | 0.099262 | IMPNRGZ
elc_spv_HRV_013 | S4aH2 | 0.19234 | IMPNRGZ | elc_won_HRV_013 | S4aH2 | 0.10058 | IMPNRGZ
elc_spv_HRV_013 | S4aH3 | 0.0028454 | IMPNRGZ | elc_won_HRV_013 | S4aH3 | 0.076079 | IMPNRGZ
elc_spv_HRV_014 | S1aH1 | 0 | IMPNRGZ
elc_spv_HRV_014 | S1aH2 | 0.10902 | IMPNRGZ
elc_spv_HRV_014 | S1aH3 | 0 | IMPNRGZ
elc_spv_HRV_014 | S2aH1 | 0.020988 | IMPNRGZ
elc_spv_HRV_014 | S2aH2 | 0.27248 | IMPNRGZ
elc_spv_HRV_014 | S2aH3 | 0.014316 | IMPNRGZ
elc_spv_HRV_014 | S3aH1 | 0.039212 | IMPNRGZ
elc_spv_HRV_014 | S3aH2 | 0.3172 | IMPNRGZ
elc_spv_HRV_014 | S3aH3 | 0.028031 | IMPNRGZ
elc_spv_HRV_014 | S4aH1 | 0.006915 | IMPNRGZ
elc_spv_HRV_014 | S4aH2 | 0.189 | IMPNRGZ
elc_spv_HRV_014 | S4aH3 | 0.0028323 | IMPNRGZ
elc_spv_HRV_015 | S1aH1 | 0 | IMPNRGZ
elc_spv_HRV_015 | S1aH2 | 0.11371 | IMPNRGZ
elc_spv_HRV_015 | S1aH3 | 9.3828e-08 | IMPNRGZ
elc_spv_HRV_015 | S2aH1 | 0.019223 | IMPNRGZ
elc_spv_HRV_015 | S2aH2 | 0.27027 | IMPNRGZ
elc_spv_HRV_015 | S2aH3 | 0.015325 | IMPNRGZ
elc_spv_HRV_015 | S3aH1 | 0.036264 | IMPNRGZ
elc_spv_HRV_015 | S3aH2 | 0.31846 | IMPNRGZ
elc_spv_HRV_015 | S3aH3 | 0.027718 | IMPNRGZ
elc_spv_HRV_015 | S4aH1 | 0.0063415 | IMPNRGZ
elc_spv_HRV_015 | S4aH2 | 0.18967 | IMPNRGZ
elc_spv_HRV_015 | S4aH3 | 0.0030233 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT | [13 empty] | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX | [13 empty] | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX | [13 empty] | ~TFM_DINS-TSL: attribute=NCAP_PKCNT | [12 empty] | ~TFM_DINS-AT
process | commodity | S1aH1 | S1aH2 | S1aH3 | S2aH1 | S2aH2 | S2aH3 | S3aH1 | S3aH2 | S3aH3 | S4aH1 | S4aH2 | S4aH3 | process | commodity | S1aH1 | S1aH2 | S1aH3 | S2aH1 | S2aH2 | S2aH3 | S3aH1 | S3aH2 | S3aH3 | S4aH1 | S4aH2 | S4aH3 | process | commodity | S1aH1 | S1aH2 | S1aH3 | S2aH1 | S2aH2 | S2aH3 | S3aH1 | S3aH2 | S3aH3 | S4aH1 | S4aH2 | S4aH3 | process | S1aH1 | S1aH2 | S1aH3 | S2aH1 | S2aH2 | S2aH3 | S3aH1 | S3aH2 | S3aH3 | S4aH1 | S4aH2 | S4aH3 | process | commodity | other_indexes | ncap_com
distr_solelc_spv_HRV_001 | DEF_E | 0 | 0.28205 | 0.99444 | 0.81364 | 0.15677 | 0.7666 | 0.71055 | 0.069859 | 0.67735 | 0.91111 | 0.22383 | 0.94872 | distr_sol* | ELC4H | 0 | 0.11818 | 0.58084 | 0.67513 | 0.042254 | 0.27944 | 0.5292 | 0.017472 | 0.37784 | 0.83071 | 0.069342 | 0.35566 | distr_sol* | ELC8H | 0 | 0.058861 | 0 | 0 | 0.053679 | 0.037322 | 0 | 0.031001 | 0 | 0 | 0.063122 | 0.089892 | distr_solelc_spv_HRV_001 | 0 | 0.27703 | 0.00033152 | 0.042544 | 0.49613 | 0.052238 | 0.08121 | 0.59227 | 0.086781 | 0.017037 | 0.37744 | 0.010779 | distr_solelc_spv_HRV_001 | DEF_C | OUT | 0.49762
distr_solelc_spv_HRV_002 | DEF_E | 0 | 0.29379 | 0.99244 | 0.82885 | 0.17159 | 0.76443 | 0.71367 | 0.0786 | 0.64806 | 0.92439 | 0.23825 | 0.94673 | distr_won* | ELC4H | 0.005552 | 0.011954 | 0.020054 | 0.023637 | 0.009534 | 0.02342 | 0.023907 | 0.030657 | 0.038872 | 0.0033063 | 0.0075128 | 0.0112 | distr_won* | ELC8H | 0.026728 | 0.019665 | 0.046088 | 0.075773 | 0.031461 | 0.021401 | 0.04879 | 0.050552 | 0.032888 | 0.030961 | 0.027388 | 0.028219 | distr_solelc_spv_HRV_002 | 0 | 0.25982 | 0.00059434 | 0.040388 | 0.47396 | 0.05044 | 0.078215 | 0.56765 | 0.089749 | 0.014679 | 0.35731 | 0.010797 | distr_solelc_spv_HRV_002 | DEF_C | OUT | 0.53686
distr_solelc_spv_HRV_003 | DEF_E | 0 | 0.32357 | 0.98704 | 0.84509 | 0.1934 | 0.75566 | 0.74995 | 0.074789 | 0.59759 | 0.94028 | 0.26233 | 0.93588 | [28 empty] | distr_solelc_spv_HRV_003 | 0 | 0.24096 | 0.0017177 | 0.030927 | 0.44521 | 0.051842 | 0.065827 | 0.57844 | 0.10538 | 0.0092824 | 0.32234 | 0.012384 | distr_solelc_spv_HRV_003 | DEF_C | OUT | 0.50067
distr_solelc_spv_HRV_004 | DEF_E | 0 | 0.34242 | 0.98889 | 0.84686 | 0.226 | 0.76709 | 0.73652 | 0.091275 | 0.60342 | 0.93862 | 0.28584 | 0.94139 | [28 empty] | distr_solelc_spv_HRV_004 | 0 | 0.21014 | 0.0012327 | 0.027191 | 0.40193 | 0.046203 | 0.066752 | 0.54771 | 0.094629 | 0.0083606 | 0.28124 | 0.010264 | distr_solelc_spv_HRV_004 | DEF_C | OUT | 0.52303
distr_solelc_spv_HRV_005 | DEF_E | 0 | 0.33999 | 0.99215 | 0.84577 | 0.23019 | 0.76306 | 0.72762 | 0.10206 | 0.61757 | 0.93707 | 0.29582 | 0.94469 | [28 empty] | distr_solelc_spv_HRV_005 | 0 | 0.19497 | 0.00089421 | 0.028202 | 0.40589 | 0.044869 | 0.067221 | 0.53576 | 0.088861 | 0.0088029 | 0.27977 | 0.0095443 | distr_solelc_spv_HRV_005 | DEF_C | OUT | 0.50626
distr_solelc_spv_HRV_006 | DEF_E | 0 | 0.32372 | 0.9925 | 0.84036 | 0.19823 | 0.764 | 0.71931 | 0.085647 | 0.62314 | 0.93579 | 0.25975 | 0.94505 | [28 empty] | distr_solelc_spv_HRV_006 | 0 | 0.2338 | 0.0012653 | 0.03421 | 0.44453 | 0.04966 | 0.07299 | 0.56098 | 0.094554 | 0.011421 | 0.33161 | 0.010794 | distr_solelc_spv_HRV_006 | DEF_C | OUT | 0.54013
distr_solelc_spv_HRV_007 | DEF_E | 0 | 0.32671 | 0.99259 | 0.83802 | 0.20489 | 0.76146 | 0.72168 | 0.10613 | 0.63235 | 0.93141 | 0.27689 | 0.94784 | [28 empty] | distr_solelc_spv_HRV_007 | 0 | 0.20596 | 0.00046292 | 0.033685 | 0.43168 | 0.047276 | 0.069139 | 0.53212 | 0.0865 | 0.011268 | 0.31006 | 0.0098787 | distr_solelc_spv_HRV_007 | DEF_C | OUT | 0.47588
distr_solelc_spv_HRV_008 | DEF_E | 0 | 0.3512 | 0.9963 | 0.83887 | 0.22062 | 0.7712 | 0.72515 | 0.1226 | 0.63502 | 0.93136 | 0.29107 | 0.94898 | [28 empty] | distr_solelc_spv_HRV_008 | 0 | 0.18352 | 5.7387e-05 | 0.033722 | 0.41476 | 0.043472 | 0.066044 | 0.50605 | 0.076101 | 0.010731 | 0.28939 | 0.0085078 | distr_solelc_spv_HRV_008 | DEF_C | OUT | 0.46074
distr_solelc_spv_HRV_009 | DEF_E | 0 | 0.37014 | 0.99815 | 0.82536 | 0.22213 | 0.78121 | 0.71535 | 0.12182 | 0.63639 | 0.93313 | 0.29151 | 0.95351 | [28 empty] | distr_solelc_spv_HRV_009 | 0 | 0.17416 | 1.622e-08 | 0.03952 | 0.4193 | 0.039471 | 0.074956 | 0.50713 | 0.078277 | 0.012186 | 0.28573 | 0.0069043 | distr_solelc_spv_HRV_009 | DEF_C | OUT | 0.46994
distr_solelc_spv_HRV_010 | DEF_E | 0 | 0.37273 | 0.99815 | 0.83027 | 0.22648 | 0.77705 | 0.71946 | 0.12274 | 0.64305 | 0.93106 | 0.29205 | 0.95238 | [28 empty] | distr_solelc_spv_HRV_010 | 0 | 0.17695 | 3.8624e-07 | 0.03819 | 0.41879 | 0.04052 | 0.072247 | 0.50689 | 0.074903 | 0.011823 | 0.28894 | 0.0070278 | distr_solelc_spv_HRV_010 | DEF_C | OUT | 0.46608
distr_solelc_spv_HRV_011 | DEF_E | 0 | 0.33943 | 0 | 0.80845 | 0.19834 | 0.80167 | 0.69864 | 0.1127 | 0.69589 | 0.90843 | 0.27958 | 0.95876 | [28 empty] | distr_solelc_spv_HRV_011 | 0 | 0.19644 | 0 | 0.050587 | 0.44599 | 0.034109 | 0.082711 | 0.51132 | 0.067014 | 0.018886 | 0.31962 | 0.0065915 | distr_solelc_spv_HRV_011 | DEF_C | OUT | 0.47987
distr_solelc_spv_HRV_012 | DEF_E | 0 | 0.34824 | 0 | 0.80396 | 0.20282 | 0.7968 | 0.6923 | 0.1102 | 0.6896 | 0.91383 | 0.27405 | 0.95788 | [28 empty] | distr_solelc_spv_HRV_012 | 0 | 0.18237 | 0 | 0.04933 | 0.44281 | 0.034233 | 0.08611 | 0.51442 | 0.068965 | 0.018028 | 0.31572 | 0.0067806 | distr_solelc_spv_HRV_012 | DEF_C | OUT | 0.48449
distr_solelc_spv_HRV_013 | DEF_E | 0 | 0.34608 | 0 | 0.80714 | 0.20631 | 0.7814 | 0.70595 | 0.12181 | 0.68211 | 0.91384 | 0.27525 | 0.95238 | [28 empty] | distr_solelc_spv_HRV_013 | 0 | 0.1898 | 0 | 0.044739 | 0.43895 | 0.036527 | 0.078387 | 0.50367 | 0.0689 | 0.015711 | 0.31469 | 0.0077591 | distr_solelc_spv_HRV_013 | DEF_C | OUT | 0.47015
distr_solelc_spv_HRV_014 | DEF_E | 0 | 0.37178 | 0 | 0.81564 | 0.22317 | 0.79244 | 0.71148 | 0.12675 | 0.65293 | 0.92714 | 0.2826 | 0.95238 | [28 empty] | distr_solelc_spv_HRV_014 | 0 | 0.17721 | 0 | 0.041715 | 0.43327 | 0.03794 | 0.077937 | 0.50437 | 0.074286 | 0.013895 | 0.30383 | 0.0075885 | distr_solelc_spv_HRV_014 | DEF_C | OUT | 0.47881
distr_solelc_spv_HRV_015 | DEF_E | 0 | 0.36427 | 0.99815 | 0.8276 | 0.22118 | 0.77828 | 0.71801 | 0.12868 | 0.65537 | 0.92861 | 0.28598 | 0.95238 | [28 empty] | distr_solelc_spv_HRV_015 | 0 | 0.18312 | 2.5184e-07 | 0.037855 | 0.4258 | 0.04024 | 0.071413 | 0.5017 | 0.072779 | 0.012625 | 0.30209 | 0.0080254 | distr_solelc_spv_HRV_015 | DEF_C | OUT | 0.47541
distr_wonelc_won_HRV_001 | DEF_E | 0.57892 | 0.56217 | 0.5587 | 0.48946 | 0.49441 | 0.4975 | 0.52029 | 0.43839 | 0.44066 | 0.47315 | 0.53659 | 0.52197 | [28 empty] | distr_wonelc_won_HRV_001 | 0.20369 | 0.19499 | 0.19761 | 0.17474 | 0.17587 | 0.18835 | 0.075307 | 0.090416 | 0.098042 | 0.15106 | 0.1542 | 0.15253 | distr_wonelc_won_HRV_001 | DEF_C | OUT | 0.20369
distr_wonelc_won_HRV_002 | DEF_E | 0.57328 | 0.56879 | 0.57408 | 0.55137 | 0.52968 | 0.53283 | 0.55577 | 0.48846 | 0.44424 | 0.53262 | 0.55541 | 0.52901 | [28 empty] | distr_wonelc_won_HRV_002 | 0.21863 | 0.20873 | 0.20836 | 0.19228 | 0.19974 | 0.20486 | 0.06348 | 0.083722 | 0.10317 | 0.19724 | 0.18422 | 0.18883 | distr_wonelc_won_HRV_002 | DEF_C | OUT | 0.21863
distr_wonelc_won_HRV_003 | DEF_E | 0.52705 | 0.55642 | 0.54371 | 0.47205 | 0.54512 | 0.49493 | 0.54982 | 0.58795 | 0.61727 | 0.51915 | 0.53131 | 0.51625 | [28 empty] | distr_wonelc_won_HRV_003 | 0.26948 | 0.24194 | 0.25023 | 0.23239 | 0.20107 | 0.22406 | 0.15375 | 0.10352 | 0.099912 | 0.25157 | 0.25759 | 0.26487 | distr_wonelc_won_HRV_003 | DEF_C | OUT | 0.26948
distr_wonelc_won_HRV_004 | DEF_E | 0.53497 | 0.54859 | 0.53093 | 0.51939 | 0.52646 | 0.54726 | 0.59187 | 0.54502 | 0.64237 | 0.54731 | 0.53288 | 0.54412 | [28 empty] | distr_wonelc_won_HRV_004 | 0.14985 | 0.13602 | 0.146 | 0.090829 | 0.10967 | 0.094847 | 0.053721 | 0.079912 | 0.051722 | 0.11809 | 0.14093 | 0.11829 | distr_wonelc_won_HRV_004 | DEF_C | OUT | 0.14985
distr_wonelc_won_HRV_005 | DEF_E | 0.46876 | 0.51694 | 0.48072 | 0.50123 | 0.54116 | 0.53837 | 0.53236 | 0.50767 | 0.48109 | 0.48586 | 0.51661 | 0.47377 | [28 empty] | distr_wonelc_won_HRV_005 | 0.28505 | 0.23242 | 0.26542 | 0.19959 | 0.19836 | 0.17545 | 0.11958 | 0.11725 | 0.12605 | 0.20458 | 0.18281 | 0.20523 | distr_wonelc_won_HRV_005 | DEF_C | OUT | 0.28505
distr_wonelc_won_HRV_006 | DEF_E | 0.54899 | 0.56466 | 0.55949 | 0.5713 | 0.6062 | 0.60871 | 0.63418 | 0.58254 | 0.60233 | 0.55614 | 0.56085 | 0.53573 | [28 empty] | distr_wonelc_won_HRV_006 | 0.14817 | 0.12962 | 0.13326 | 0.1161 | 0.11979 | 0.11206 | 0.033349 | 0.059833 | 0.03763 | 0.11137 | 0.10582 | 0.11121 | distr_wonelc_won_HRV_006 | DEF_C | OUT | 0.14817
distr_wonelc_won_HRV_007 | DEF_E | 0.47387 | 0.51331 | 0.47792 | 0.52141 | 0.5216 | 0.5389 | 0.54038 | 0.53919 | 0.53162 | 0.48604 | 0.48687 | 0.46873 | [28 empty] | distr_wonelc_won_HRV_007 | 0.16694 | 0.15 | 0.15259 | 0.12348 | 0.15841 | 0.12191 | 0.059451 | 0.10796 | 0.071749 | 0.11894 | 0.13287 | 0.11858 | distr_wonelc_won_HRV_007 | DEF_C | OUT | 0.16694
distr_wonelc_won_HRV_008 | DEF_E | 0.48186 | 0.56965 | 0.44832 | 0.47171 | 0.5576 | 0.40537 | 0.46527 | 0.55911 | 0.41684 | 0.47617 | 0.56044 | 0.43597 | [28 empty] | distr_wonelc_won_HRV_008 | 0.15877 | 0.10577 | 0.14992 | 0.13217 | 0.12036 | 0.14379 | 0.085277 | 0.060448 | 0.090956 | 0.12236 | 0.10226 | 0.13179 | distr_wonelc_won_HRV_008 | DEF_C | OUT | 0.15877
distr_wonelc_won_HRV_009 | DEF_E | 0.43889 | 0.54997 | 0.415 | 0.417 | 0.53206 | 0.3955 | 0.41818 | 0.56679 | 0.41512 | 0.42974 | 0.52461 | 0.39199 | [28 empty] | distr_wonelc_won_HRV_009 | 0.20812 | 0.14455 | 0.2117 | 0.165 | 0.13821 | 0.1742 | 0.11548 | 0.070705 | 0.11727 | 0.16996 | 0.13153 | 0.1786 | distr_wonelc_won_HRV_009 | DEF_C | OUT | 0.2117
distr_wonelc_won_HRV_010 | DEF_E | 0.46006 | 0.53675 | 0.45932 | 0.44807 | 0.56117 | 0.41219 | 0.5052 | 0.60358 | 0.45222 | 0.49042 | 0.57454 | 0.44085 | [28 empty] | distr_wonelc_won_HRV_010 | 0.14013 | 0.094578 | 0.15062 | 0.13271 | 0.096179 | 0.13755 | 0.077507 | 0.052168 | 0.10551 | 0.13732 | 0.1043 | 0.144 | distr_wonelc_won_HRV_010 | DEF_C | OUT | 0.15062
distr_wonelc_won_HRV_011 | DEF_E | 0.52925 | 0.58076 | 0.53836 | 0.52352 | 0.57132 | 0.4605 | 0.6181 | 0.59622 | 0.50712 | 0.54878 | 0.59289 | 0.52208 | [28 empty] | distr_wonelc_won_HRV_011 | 0.14013 | 0.11678 | 0.14362 | 0.12768 | 0.11742 | 0.13766 | 0.064794 | 0.061577 | 0.095863 | 0.13703 | 0.14091 | 0.1421 | distr_wonelc_won_HRV_011 | DEF_C | OUT | 0.14362
distr_wonelc_won_HRV_012 | DEF_E | 0.4371 | 0.49762 | 0.43945 | 0.39788 | 0.50341 | 0.38975 | 0.42448 | 0.53003 | 0.42302 | 0.45958 | 0.54533 | 0.47091 | [28 empty] | distr_wonelc_won_HRV_012 | 0.20645 | 0.1793 | 0.23807 | 0.2392 | 0.1708 | 0.23766 | 0.13234 | 0.091954 | 0.14858 | 0.20824 | 0.17213 | 0.22707 | distr_wonelc_won_HRV_012 | DEF_C | OUT | 0.2392
distr_wonelc_won_HRV_013 | DEF_E | 0.40749 | 0.50792 | 0.43684 | 0.39522 | 0.50703 | 0.37651 | 0.44582 | 0.54741 | 0.4444 | 0.45866 | 0.5244 | 0.42639 | [28 empty] | distr_wonelc_won_HRV_013 | 0.22109 | 0.16566 | 0.22658 | 0.21748 | 0.16069 | 0.19773 | 0.12375 | 0.083223 | 0.13806 | 0.20554 | 0.16661 | 0.21005 | distr_wonelc_won_HRV_013 | DEF_C | OUT | 0.22658

## load_demand_peak_hydro
| ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  | ~TFM_DINS-AT |  |  | ~TFM_INS-AT
ts_12 | g_yrfr | com_fr | timeslice | commodity | commodity | timeslice | com_fr | commodity | timeslice | com_pkflx | Year | timeslice | ncap_afs | pset_ci
| 0.082192 | 0.045556 | S1aH1 | elc_roadtransport | elc_buildings | S1aH1 |  | ELC | S1aH1 | 0.28217 | 2020 | S1 | 0.34707 | hydro
| 0.10274 | 0.14672 | S1aH2 | elc_roadtransport | elc_buildings | S1aH2 |  | ELC | S1aH2 | 0.065805 | 2020 | S2 | 0.20767 | hydro
| 0.061644 | 0.054297 | S1aH3 | elc_roadtransport | elc_buildings | S1aH3 |  | ELC | S1aH3 | 0.12049 | 2020 | S3 | 0.1711 | hydro
| 0.084018 | 0.046568 | S2aH1 | elc_roadtransport | elc_buildings | S2aH1 |  | ELC | S2aH1 | 0.34681 | 2020 | S4 | 0.26543 | hydro
| 0.10502 | 0.14998 | S2aH2 | elc_roadtransport | elc_buildings | S2aH2 |  | ELC | S2aH2 | 0.15391 | 2021 | S1 | 0.51187 | hydro
| 0.063014 | 0.055504 | S2aH3 | elc_roadtransport | elc_buildings | S2aH3 |  | ELC | S2aH3 | 0.19508 | 2021 | S2 | 0.37233 | hydro
| 0.084018 | 0.046568 | S3aH1 | elc_roadtransport | elc_buildings | S3aH1 |  | ELC | S3aH1 | 0.26555 | 2021 | S3 | 0.2288 | hydro
| 0.10502 | 0.14998 | S3aH2 | elc_roadtransport | elc_buildings | S3aH2 |  | ELC | S3aH2 | 0.10923 | 2021 | S4 | 0.18783 | hydro
| 0.063014 | 0.055504 | S3aH3 | elc_roadtransport | elc_buildings | S3aH3 |  | ELC | S3aH3 | 0.097937 | 2022 | S1 | 0.36303 | hydro
| 0.083105 | 0.046062 | S4aH1 | elc_roadtransport | elc_buildings | S4aH1 |  | ELC | S4aH1 | 0.33004 | 2022 | S2 | 0.21737 | hydro
| 0.10388 | 0.14835 | S4aH2 | elc_roadtransport | elc_buildings | S4aH2 |  | ELC | S4aH2 | 0.1686 | 2022 | S3 | 0.16027 | hydro
| 0.062329 | 0.054901 | S4aH3 | elc_roadtransport | elc_buildings | S4aH3 |  | ELC | S4aH3 | 0.20642 | 2022 | S4 | 0.18273 | hydro
[5 empty] | elc_industry | S1aH1 |  |  |  |  | 2025 | S1 | 0.4361 | hydro
[5 empty] | elc_industry | S1aH2 |  |  |  |  | 2025 | S2 | 0.3158 | hydro
[5 empty] | elc_industry | S1aH3 |  |  |  |  | 2025 | S3 | 0.26203 | hydro
[5 empty] | elc_industry | S2aH1 |  |  |  |  | 2025 | S4 | 0.2751 | hydro
[5 empty] | elc_industry | S2aH2 |  |  |  |  | 2026 | S1 | 0.4821 | hydro
[5 empty] | elc_industry | S2aH3 |  |  |  |  | 2026 | S2 | 0.4289 | hydro
[5 empty] | elc_industry | S3aH1 |  |  |  |  | 2026 | S3 | 0.25643 | hydro
[5 empty] | elc_industry | S3aH2 |  |  |  |  | 2026 | S4 | 0.28333 | hydro
[5 empty] | elc_industry | S3aH3 |  |  |  |  | 2027 | S1 | 0.38813 | hydro
[5 empty] | elc_industry | S4aH1 |  |  |  |  | 2027 | S2 | 0.36287 | hydro
[5 empty] | elc_industry | S4aH2 |  |  |  |  | 2027 | S3 | 0.26993 | hydro
[5 empty] | elc_industry | S4aH3 |  |  |  |  | 2027 | S4 | 0.24477 | hydro
[11 empty] | 2028 | S1 | 0.4551 | hydro
[11 empty] | 2028 | S2 | 0.29773 | hydro
[11 empty] | 2028 | S3 | 0.27507 | hydro
[11 empty] | 2028 | S4 | 0.25643 | hydro
[11 empty] | 2029 | S1 | 0.4836 | hydro
[11 empty] | 2029 | S2 | 0.39773 | hydro
[11 empty] | 2029 | S3 | 0.2557 | hydro
[11 empty] | 2029 | S4 | 0.2847 | hydro
[11 empty] | 2030 | S1 | 0.53743 | hydro
[11 empty] | 2030 | S2 | 0.37093 | hydro
[11 empty] | 2030 | S3 | 0.31077 | hydro
[11 empty] | 2030 | S4 | 0.32247 | hydro
[11 empty] | 2031 | S1 | 0.43563 | hydro
[11 empty] | 2031 | S2 | 0.3722 | hydro
[11 empty] | 2031 | S3 | 0.29293 | hydro
[11 empty] | 2031 | S4 | 0.25473 | hydro
[11 empty] | 2032 | S1 | 0.4998 | hydro
[11 empty] | 2032 | S2 | 0.38233 | hydro
[11 empty] | 2032 | S3 | 0.291 | hydro
[11 empty] | 2032 | S4 | 0.2287 | hydro
[11 empty] | 2033 | S1 | 0.50333 | hydro
[11 empty] | 2033 | S2 | 0.39117 | hydro
[11 empty] | 2033 | S3 | 0.24457 | hydro
[11 empty] | 2033 | S4 | 0.2754 | hydro
[11 empty] | 2034 | S1 | 0.56483 | hydro
[11 empty] | 2034 | S2 | 0.27753 | hydro
[11 empty] | 2034 | S3 | 0.3247 | hydro
[11 empty] | 2034 | S4 | 0.34383 | hydro
[11 empty] | 2035 | S1 | 0.49217 | hydro
[11 empty] | 2035 | S2 | 0.39883 | hydro
[11 empty] | 2035 | S3 | 0.32963 | hydro
[11 empty] | 2035 | S4 | 0.2869 | hydro
[11 empty] | 2036 | S1 | 0.49983 | hydro
[11 empty] | 2036 | S2 | 0.375 | hydro
[11 empty] | 2036 | S3 | 0.23597 | hydro
[11 empty] | 2036 | S4 | 0.25093 | hydro
[11 empty] | 2037 | S1 | 0.45047 | hydro
[11 empty] | 2037 | S2 | 0.39327 | hydro
[11 empty] | 2037 | S3 | 0.18997 | hydro
[11 empty] | 2037 | S4 | 0.19753 | hydro
[11 empty] | 2038 | S1 | 0.46633 | hydro
[11 empty] | 2038 | S2 | 0.35017 | hydro
[11 empty] | 2038 | S3 | 0.29143 | hydro
[11 empty] | 2038 | S4 | 0.29397 | hydro
[11 empty] | 2039 | S1 | 0.47463 | hydro
[11 empty] | 2039 | S2 | 0.30597 | hydro
[11 empty] | 2039 | S3 | 0.3087 | hydro
[11 empty] | 2039 | S4 | 0.3231 | hydro
[11 empty] | 2040 | S1 | 0.5024 | hydro
[11 empty] | 2040 | S2 | 0.44913 | hydro
[11 empty] | 2040 | S3 | 0.25847 | hydro
[11 empty] | 2040 | S4 | 0.29777 | hydro
[11 empty] | 2041 | S1 | 0.5124 | hydro
[11 empty] | 2041 | S2 | 0.4094 | hydro
[11 empty] | 2041 | S3 | 0.32107 | hydro
[11 empty] | 2041 | S4 | 0.2525 | hydro
[11 empty] | 2042 | S1 | 0.5556 | hydro
[11 empty] | 2042 | S2 | 0.346 | hydro
[11 empty] | 2042 | S3 | 0.23567 | hydro
[11 empty] | 2042 | S4 | 0.3058 | hydro
[11 empty] | 2043 | S1 | 0.4943 | hydro
[11 empty] | 2043 | S2 | 0.35983 | hydro
[11 empty] | 2043 | S3 | 0.31743 | hydro
[11 empty] | 2043 | S4 | 0.2312 | hydro
[11 empty] | 2044 | S1 | 0.59 | hydro
[11 empty] | 2044 | S2 | 0.32047 | hydro
[11 empty] | 2044 | S3 | 0.32407 | hydro
[11 empty] | 2044 | S4 | 0.31087 | hydro
[11 empty] | 2045 | S1 | 0.44743 | hydro
[11 empty] | 2045 | S2 | 0.45293 | hydro
[11 empty] | 2045 | S3 | 0.30783 | hydro
[11 empty] | 2045 | S4 | 0.23607 | hydro
[11 empty] | 2046 | S1 | 0.46907 | hydro
[11 empty] | 2046 | S2 | 0.34603 | hydro
[11 empty] | 2046 | S3 | 0.3427 | hydro
[11 empty] | 2046 | S4 | 0.2902 | hydro
[11 empty] | 2047 | S1 | 0.3835 | hydro
[11 empty] | 2047 | S2 | 0.31127 | hydro
[11 empty] | 2047 | S3 | 0.351 | hydro
[11 empty] | 2047 | S4 | 0.41733 | hydro
[11 empty] | 2048 | S1 | 0.5488 | hydro
[11 empty] | 2048 | S2 | 0.43487 | hydro
[11 empty] | 2048 | S3 | 0.2373 | hydro
[11 empty] | 2048 | S4 | 0.29993 | hydro
[11 empty] | 2049 | S1 | 0.47163 | hydro
[11 empty] | 2049 | S2 | 0.4135 | hydro
[11 empty] | 2049 | S3 | 0.37373 | hydro
[11 empty] | 2049 | S4 | 0.24793 | hydro
[11 empty] | 2050 | S1 | 0.4312 | hydro
[11 empty] | 2050 | S2 | 0.39643 | hydro
[11 empty] | 2050 | S3 | 0.21667 | hydro
[11 empty] | 2050 | S4 | 0.23783 | hydro