## ev_charging_uc
ts_12t | day_night | ts_12t
| D | WaD,WaP,SaD,RaP,FaD,FaP,SaP,RaD
| N | RaN,SaN,WaN,FaP,SaP,RaP,FaN,WaP
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
~UC_T: LO
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | RaN,SaN,WaN,FaP,SaP,RaP,FaN,WaP | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | WaD,WaP,SaD,RaP,FaD,FaP,SaP,RaD | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1

## timeslice_def
~TimeSlices
ts_12t | season | weekly | daynite | wparent | dparent
| F | a | D | W,R,S,F | a
| R |  | N |  | a
| S |  | P |  | a
W

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_MAR_001 | FaD | 0.20549 | IMPNRGZ | elc_won_MAR_001 | FaD | 0.092861 | IMPNRGZ | elc_wof_MAR_001 | FaD | 0.084413 | IMPNRGZ
elc_spv_MAR_001 | FaN | 8.1772e-06 | IMPNRGZ | elc_won_MAR_001 | FaN | 0.068257 | IMPNRGZ | elc_wof_MAR_001 | FaN | 0.08284 | IMPNRGZ
elc_spv_MAR_001 | FaP | 0.01877 | IMPNRGZ | elc_won_MAR_001 | FaP | 0.016842 | IMPNRGZ | elc_wof_MAR_001 | FaP | 0.021195 | IMPNRGZ
elc_spv_MAR_001 | RaD | 0.24499 | IMPNRGZ | elc_won_MAR_001 | RaD | 0.1589 | IMPNRGZ | elc_wof_MAR_001 | RaD | 0.13522 | IMPNRGZ
elc_spv_MAR_001 | RaN | 0.0043934 | IMPNRGZ | elc_won_MAR_001 | RaN | 0.11922 | IMPNRGZ | elc_wof_MAR_001 | RaN | 0.14142 | IMPNRGZ
elc_spv_MAR_001 | RaP | 0.034006 | IMPNRGZ | elc_won_MAR_001 | RaP | 0.028801 | IMPNRGZ | elc_wof_MAR_001 | RaP | 0.032763 | IMPNRGZ
elc_spv_MAR_001 | SaD | 0.23608 | IMPNRGZ | elc_won_MAR_001 | SaD | 0.11516 | IMPNRGZ | elc_wof_MAR_001 | SaD | 0.12798 | IMPNRGZ
elc_spv_MAR_001 | SaN | 0.0069511 | IMPNRGZ | elc_won_MAR_001 | SaN | 0.086096 | IMPNRGZ | elc_wof_MAR_001 | SaN | 0.12588 | IMPNRGZ
elc_spv_MAR_001 | SaP | 0.032669 | IMPNRGZ | elc_won_MAR_001 | SaP | 0.020668 | IMPNRGZ | elc_wof_MAR_001 | SaP | 0.032007 | IMPNRGZ
elc_spv_MAR_001 | WaD | 0.19534 | IMPNRGZ | elc_won_MAR_001 | WaD | 0.14322 | IMPNRGZ | elc_wof_MAR_001 | WaD | 0.089044 | IMPNRGZ
elc_spv_MAR_001 | WaN | 0 | IMPNRGZ | elc_won_MAR_001 | WaN | 0.12473 | IMPNRGZ | elc_wof_MAR_001 | WaN | 0.10384 | IMPNRGZ
elc_spv_MAR_001 | WaP | 0.021303 | IMPNRGZ | elc_won_MAR_001 | WaP | 0.02524 | IMPNRGZ | elc_wof_MAR_001 | WaP | 0.0234 | IMPNRGZ
elc_spv_MAR_002 | FaD | 0.19856 | IMPNRGZ | elc_won_MAR_002 | FaD | 0.062381 | IMPNRGZ | elc_wof_MAR_002 | FaD | 0.079983 | IMPNRGZ
elc_spv_MAR_002 | FaN | 8.833e-05 | IMPNRGZ | elc_won_MAR_002 | FaN | 0.068231 | IMPNRGZ | elc_wof_MAR_002 | FaN | 0.087933 | IMPNRGZ
elc_spv_MAR_002 | FaP | 0.018835 | IMPNRGZ | elc_won_MAR_002 | FaP | 0.02114 | IMPNRGZ | elc_wof_MAR_002 | FaP | 0.019276 | IMPNRGZ
elc_spv_MAR_002 | RaD | 0.24302 | IMPNRGZ | elc_won_MAR_002 | RaD | 0.15507 | IMPNRGZ | elc_wof_MAR_002 | RaD | 0.12651 | IMPNRGZ
elc_spv_MAR_002 | RaN | 0.0059578 | IMPNRGZ | elc_won_MAR_002 | RaN | 0.1141 | IMPNRGZ | elc_wof_MAR_002 | RaN | 0.13329 | IMPNRGZ
elc_spv_MAR_002 | RaP | 0.035495 | IMPNRGZ | elc_won_MAR_002 | RaP | 0.030698 | IMPNRGZ | elc_wof_MAR_002 | RaP | 0.027215 | IMPNRGZ
elc_spv_MAR_002 | SaD | 0.25856 | IMPNRGZ | elc_won_MAR_002 | SaD | 0.082436 | IMPNRGZ | elc_wof_MAR_002 | SaD | 0.13881 | IMPNRGZ
elc_spv_MAR_002 | SaN | 0.0093958 | IMPNRGZ | elc_won_MAR_002 | SaN | 0.10247 | IMPNRGZ | elc_wof_MAR_002 | SaN | 0.1471 | IMPNRGZ
elc_spv_MAR_002 | SaP | 0.038469 | IMPNRGZ | elc_won_MAR_002 | SaP | 0.031835 | IMPNRGZ | elc_wof_MAR_002 | SaP | 0.02943 | IMPNRGZ
elc_spv_MAR_002 | WaD | 0.17316 | IMPNRGZ | elc_won_MAR_002 | WaD | 0.15272 | IMPNRGZ | elc_wof_MAR_002 | WaD | 0.087367 | IMPNRGZ
elc_spv_MAR_002 | WaN | 0 | IMPNRGZ | elc_won_MAR_002 | WaN | 0.14883 | IMPNRGZ | elc_wof_MAR_002 | WaN | 0.10251 | IMPNRGZ
elc_spv_MAR_002 | WaP | 0.01846 | IMPNRGZ | elc_won_MAR_002 | WaP | 0.030091 | IMPNRGZ | elc_wof_MAR_002 | WaP | 0.020583 | IMPNRGZ
elc_spv_MAR_003 | FaD | 0.20646 | IMPNRGZ | elc_won_MAR_003 | FaD | 0.074055 | IMPNRGZ | elc_wof_MAR_003 | FaD | 0.073911 | IMPNRGZ
elc_spv_MAR_003 | FaN | 0 | IMPNRGZ | elc_won_MAR_003 | FaN | 0.059055 | IMPNRGZ | elc_wof_MAR_003 | FaN | 0.083535 | IMPNRGZ
elc_spv_MAR_003 | FaP | 0.017509 | IMPNRGZ | elc_won_MAR_003 | FaP | 0.014875 | IMPNRGZ | elc_wof_MAR_003 | FaP | 0.016751 | IMPNRGZ
elc_spv_MAR_003 | RaD | 0.24129 | IMPNRGZ | elc_won_MAR_003 | RaD | 0.21244 | IMPNRGZ | elc_wof_MAR_003 | RaD | 0.10093 | IMPNRGZ
elc_spv_MAR_003 | RaN | 0.0046813 | IMPNRGZ | elc_won_MAR_003 | RaN | 0.14341 | IMPNRGZ | elc_wof_MAR_003 | RaN | 0.11876 | IMPNRGZ
elc_spv_MAR_003 | RaP | 0.033546 | IMPNRGZ | elc_won_MAR_003 | RaP | 0.033074 | IMPNRGZ | elc_wof_MAR_003 | RaP | 0.023561 | IMPNRGZ
elc_spv_MAR_003 | SaD | 0.26243 | IMPNRGZ | elc_won_MAR_003 | SaD | 0.062407 | IMPNRGZ | elc_wof_MAR_003 | SaD | 0.13827 | IMPNRGZ
elc_spv_MAR_003 | SaN | 0.0083093 | IMPNRGZ | elc_won_MAR_003 | SaN | 0.040141 | IMPNRGZ | elc_wof_MAR_003 | SaN | 0.15158 | IMPNRGZ
elc_spv_MAR_003 | SaP | 0.036809 | IMPNRGZ | elc_won_MAR_003 | SaP | 0.022768 | IMPNRGZ | elc_wof_MAR_003 | SaP | 0.030418 | IMPNRGZ
elc_spv_MAR_003 | WaD | 0.17232 | IMPNRGZ | elc_won_MAR_003 | WaD | 0.16119 | IMPNRGZ | elc_wof_MAR_003 | WaD | 0.10759 | IMPNRGZ
elc_spv_MAR_003 | WaN | 0 | IMPNRGZ | elc_won_MAR_003 | WaN | 0.14938 | IMPNRGZ | elc_wof_MAR_003 | WaN | 0.13223 | IMPNRGZ
elc_spv_MAR_003 | WaP | 0.016647 | IMPNRGZ | elc_won_MAR_003 | WaP | 0.027207 | IMPNRGZ | elc_wof_MAR_003 | WaP | 0.022471 | IMPNRGZ
elc_spv_MAR_004 | FaD | 0.20466 | IMPNRGZ | elc_won_MAR_004 | FaD | 0.07214 | IMPNRGZ | elc_wof_MAR_004 | FaD | 0.076923 | IMPNRGZ
elc_spv_MAR_004 | FaN | 5.7164e-05 | IMPNRGZ | elc_won_MAR_004 | FaN | 0.056027 | IMPNRGZ | elc_wof_MAR_004 | FaN | 0.074641 | IMPNRGZ
elc_spv_MAR_004 | FaP | 0.018006 | IMPNRGZ | elc_won_MAR_004 | FaP | 0.016488 | IMPNRGZ | elc_wof_MAR_004 | FaP | 0.023586 | IMPNRGZ
elc_spv_MAR_004 | RaD | 0.24232 | IMPNRGZ | elc_won_MAR_004 | RaD | 0.16184 | IMPNRGZ | elc_wof_MAR_004 | RaD | 0.13751 | IMPNRGZ
elc_spv_MAR_004 | RaN | 0.0050707 | IMPNRGZ | elc_won_MAR_004 | RaN | 0.13742 | IMPNRGZ | elc_wof_MAR_004 | RaN | 0.14327 | IMPNRGZ
elc_spv_MAR_004 | RaP | 0.034567 | IMPNRGZ | elc_won_MAR_004 | RaP | 0.035995 | IMPNRGZ | elc_wof_MAR_004 | RaP | 0.032615 | IMPNRGZ
elc_spv_MAR_004 | SaD | 0.25445 | IMPNRGZ | elc_won_MAR_004 | SaD | 0.041139 | IMPNRGZ | elc_wof_MAR_004 | SaD | 0.13739 | IMPNRGZ
elc_spv_MAR_004 | SaN | 0.0076112 | IMPNRGZ | elc_won_MAR_004 | SaN | 0.060722 | IMPNRGZ | elc_wof_MAR_004 | SaN | 0.13174 | IMPNRGZ
elc_spv_MAR_004 | SaP | 0.032256 | IMPNRGZ | elc_won_MAR_004 | SaP | 0.022467 | IMPNRGZ | elc_wof_MAR_004 | SaP | 0.035845 | IMPNRGZ
elc_spv_MAR_004 | WaD | 0.18197 | IMPNRGZ | elc_won_MAR_004 | WaD | 0.18888 | IMPNRGZ | elc_wof_MAR_004 | WaD | 0.085271 | IMPNRGZ
elc_spv_MAR_004 | WaN | 0 | IMPNRGZ | elc_won_MAR_004 | WaN | 0.17491 | IMPNRGZ | elc_wof_MAR_004 | WaN | 0.096906 | IMPNRGZ
elc_spv_MAR_004 | WaP | 0.019028 | IMPNRGZ | elc_won_MAR_004 | WaP | 0.031968 | IMPNRGZ | elc_wof_MAR_004 | WaP | 0.024311 | IMPNRGZ
elc_spv_MAR_005 | FaD | 0.20779 | IMPNRGZ | elc_won_MAR_005 | FaD | 0.063355 | IMPNRGZ | elc_wof_MAR_005 | FaD | 0.071092 | IMPNRGZ
elc_spv_MAR_005 | FaN | 0 | IMPNRGZ | elc_won_MAR_005 | FaN | 0.043277 | IMPNRGZ | elc_wof_MAR_005 | FaN | 0.07478 | IMPNRGZ
elc_spv_MAR_005 | FaP | 0.017338 | IMPNRGZ | elc_won_MAR_005 | FaP | 0.017606 | IMPNRGZ | elc_wof_MAR_005 | FaP | 0.017152 | IMPNRGZ
elc_spv_MAR_005 | RaD | 0.24524 | IMPNRGZ | elc_won_MAR_005 | RaD | 0.20203 | IMPNRGZ | elc_wof_MAR_005 | RaD | 0.12176 | IMPNRGZ
elc_spv_MAR_005 | RaN | 0.0039939 | IMPNRGZ | elc_won_MAR_005 | RaN | 0.13247 | IMPNRGZ | elc_wof_MAR_005 | RaN | 0.13249 | IMPNRGZ
elc_spv_MAR_005 | RaP | 0.033422 | IMPNRGZ | elc_won_MAR_005 | RaP | 0.04074 | IMPNRGZ | elc_wof_MAR_005 | RaP | 0.026255 | IMPNRGZ
elc_spv_MAR_005 | SaD | 0.25369 | IMPNRGZ | elc_won_MAR_005 | SaD | 0.056025 | IMPNRGZ | elc_wof_MAR_005 | SaD | 0.1276 | IMPNRGZ
elc_spv_MAR_005 | SaN | 0.0064662 | IMPNRGZ | elc_won_MAR_005 | SaN | 0.032992 | IMPNRGZ | elc_wof_MAR_005 | SaN | 0.13416 | IMPNRGZ
elc_spv_MAR_005 | SaP | 0.031744 | IMPNRGZ | elc_won_MAR_005 | SaP | 0.029598 | IMPNRGZ | elc_wof_MAR_005 | SaP | 0.029224 | IMPNRGZ
elc_spv_MAR_005 | WaD | 0.18213 | IMPNRGZ | elc_won_MAR_005 | WaD | 0.18615 | IMPNRGZ | elc_wof_MAR_005 | WaD | 0.11276 | IMPNRGZ
elc_spv_MAR_005 | WaN | 0 | IMPNRGZ | elc_won_MAR_005 | WaN | 0.16366 | IMPNRGZ | elc_wof_MAR_005 | WaN | 0.12753 | IMPNRGZ
elc_spv_MAR_005 | WaP | 0.018199 | IMPNRGZ | elc_won_MAR_005 | WaP | 0.032091 | IMPNRGZ | elc_wof_MAR_005 | WaP | 0.025209 | IMPNRGZ
elc_spv_MAR_006 | FaD | 0.21585 | IMPNRGZ | elc_won_MAR_006 | FaD | 0.080705 | IMPNRGZ | elc_wof_MAR_006 | FaD | 0.071558 | IMPNRGZ
elc_spv_MAR_006 | FaN | 0 | IMPNRGZ | elc_won_MAR_006 | FaN | 0.060974 | IMPNRGZ | elc_wof_MAR_006 | FaN | 0.063394 | IMPNRGZ
elc_spv_MAR_006 | FaP | 0.0055179 | IMPNRGZ | elc_won_MAR_006 | FaP | 0.019451 | IMPNRGZ | elc_wof_MAR_006 | FaP | 0.017535 | IMPNRGZ
elc_spv_MAR_006 | RaD | 0.26283 | IMPNRGZ | elc_won_MAR_006 | RaD | 0.20905 | IMPNRGZ | elc_wof_MAR_006 | RaD | 0.16072 | IMPNRGZ
elc_spv_MAR_006 | RaN | 0.0017043 | IMPNRGZ | elc_won_MAR_006 | RaN | 0.14688 | IMPNRGZ | elc_wof_MAR_006 | RaN | 0.15792 | IMPNRGZ
elc_spv_MAR_006 | RaP | 0.019718 | IMPNRGZ | elc_won_MAR_006 | RaP | 0.044952 | IMPNRGZ | elc_wof_MAR_006 | RaP | 0.03325 | IMPNRGZ
elc_spv_MAR_006 | SaD | 0.25913 | IMPNRGZ | elc_won_MAR_006 | SaD | 0.047062 | IMPNRGZ | elc_wof_MAR_006 | SaD | 0.10845 | IMPNRGZ
elc_spv_MAR_006 | SaN | 0.00343 | IMPNRGZ | elc_won_MAR_006 | SaN | 0.038901 | IMPNRGZ | elc_wof_MAR_006 | SaN | 0.095822 | IMPNRGZ
elc_spv_MAR_006 | SaP | 0.019757 | IMPNRGZ | elc_won_MAR_006 | SaP | 0.025026 | IMPNRGZ | elc_wof_MAR_006 | SaP | 0.028338 | IMPNRGZ
elc_spv_MAR_006 | WaD | 0.20644 | IMPNRGZ | elc_won_MAR_006 | WaD | 0.15662 | IMPNRGZ | elc_wof_MAR_006 | WaD | 0.1164 | IMPNRGZ
elc_spv_MAR_006 | WaN | 0 | IMPNRGZ | elc_won_MAR_006 | WaN | 0.14052 | IMPNRGZ | elc_wof_MAR_006 | WaN | 0.11917 | IMPNRGZ
elc_spv_MAR_006 | WaP | 0.0056303 | IMPNRGZ | elc_won_MAR_006 | WaP | 0.029862 | IMPNRGZ | elc_wof_MAR_006 | WaP | 0.027453 | IMPNRGZ
elc_spv_MAR_007 | FaD | 0.21675 | IMPNRGZ | elc_won_MAR_007 | FaD | 0.10591 | IMPNRGZ | elc_wof_MAR_007 | FaD | 0.087139 | IMPNRGZ
elc_spv_MAR_007 | FaN | 0 | IMPNRGZ | elc_won_MAR_007 | FaN | 0.057023 | IMPNRGZ | elc_wof_MAR_007 | FaN | 0.087084 | IMPNRGZ
elc_spv_MAR_007 | FaP | 0.0070565 | IMPNRGZ | elc_won_MAR_007 | FaP | 0.021168 | IMPNRGZ | elc_wof_MAR_007 | FaP | 0.018355 | IMPNRGZ
elc_spv_MAR_007 | RaD | 0.24978 | IMPNRGZ | elc_won_MAR_007 | RaD | 0.17923 | IMPNRGZ | elc_wof_MAR_007 | RaD | 0.12663 | IMPNRGZ
elc_spv_MAR_007 | RaN | 0.00088458 | IMPNRGZ | elc_won_MAR_007 | RaN | 0.14899 | IMPNRGZ | elc_wof_MAR_007 | RaN | 0.12991 | IMPNRGZ
elc_spv_MAR_007 | RaP | 0.022356 | IMPNRGZ | elc_won_MAR_007 | RaP | 0.038009 | IMPNRGZ | elc_wof_MAR_007 | RaP | 0.025367 | IMPNRGZ
elc_spv_MAR_007 | SaD | 0.27439 | IMPNRGZ | elc_won_MAR_007 | SaD | 0.073657 | IMPNRGZ | elc_wof_MAR_007 | SaD | 0.094453 | IMPNRGZ
elc_spv_MAR_007 | SaN | 0.0029013 | IMPNRGZ | elc_won_MAR_007 | SaN | 0.05457 | IMPNRGZ | elc_wof_MAR_007 | SaN | 0.082744 | IMPNRGZ
elc_spv_MAR_007 | SaP | 0.026056 | IMPNRGZ | elc_won_MAR_007 | SaP | 0.019534 | IMPNRGZ | elc_wof_MAR_007 | SaP | 0.018193 | IMPNRGZ
elc_spv_MAR_007 | WaD | 0.19381 | IMPNRGZ | elc_won_MAR_007 | WaD | 0.15089 | IMPNRGZ | elc_wof_MAR_007 | WaD | 0.1448 | IMPNRGZ
elc_spv_MAR_007 | WaN | 0 | IMPNRGZ | elc_won_MAR_007 | WaN | 0.12429 | IMPNRGZ | elc_wof_MAR_007 | WaN | 0.15625 | IMPNRGZ
elc_spv_MAR_007 | WaP | 0.0060212 | IMPNRGZ | elc_won_MAR_007 | WaP | 0.026729 | IMPNRGZ | elc_wof_MAR_007 | WaP | 0.029079 | IMPNRGZ
elc_spv_MAR_008 | FaD | 0.21336 | IMPNRGZ | elc_won_MAR_008 | FaD | 0.08727 | IMPNRGZ | elc_wof_MAR_008 | FaD | 0.079446 | IMPNRGZ
elc_spv_MAR_008 | FaN | 0 | IMPNRGZ | elc_won_MAR_008 | FaN | 0.07211 | IMPNRGZ | elc_wof_MAR_008 | FaN | 0.090846 | IMPNRGZ
elc_spv_MAR_008 | FaP | 0.0084674 | IMPNRGZ | elc_won_MAR_008 | FaP | 0.018284 | IMPNRGZ | elc_wof_MAR_008 | FaP | 0.021904 | IMPNRGZ
elc_spv_MAR_008 | RaD | 0.24906 | IMPNRGZ | elc_won_MAR_008 | RaD | 0.14482 | IMPNRGZ | elc_wof_MAR_008 | RaD | 0.13394 | IMPNRGZ
elc_spv_MAR_008 | RaN | 5.4171e-05 | IMPNRGZ | elc_won_MAR_008 | RaN | 0.11398 | IMPNRGZ | elc_wof_MAR_008 | RaN | 0.14614 | IMPNRGZ
elc_spv_MAR_008 | RaP | 0.024602 | IMPNRGZ | elc_won_MAR_008 | RaP | 0.027371 | IMPNRGZ | elc_wof_MAR_008 | RaP | 0.029366 | IMPNRGZ
elc_spv_MAR_008 | SaD | 0.27344 | IMPNRGZ | elc_won_MAR_008 | SaD | 0.098782 | IMPNRGZ | elc_wof_MAR_008 | SaD | 0.088516 | IMPNRGZ
elc_spv_MAR_008 | SaN | 0.0016733 | IMPNRGZ | elc_won_MAR_008 | SaN | 0.064706 | IMPNRGZ | elc_wof_MAR_008 | SaN | 0.11224 | IMPNRGZ
elc_spv_MAR_008 | SaP | 0.027977 | IMPNRGZ | elc_won_MAR_008 | SaP | 0.019074 | IMPNRGZ | elc_wof_MAR_008 | SaP | 0.030753 | IMPNRGZ
elc_spv_MAR_008 | WaD | 0.19393 | IMPNRGZ | elc_won_MAR_008 | WaD | 0.16529 | IMPNRGZ | elc_wof_MAR_008 | WaD | 0.11344 | IMPNRGZ
elc_spv_MAR_008 | WaN | 0 | IMPNRGZ | elc_won_MAR_008 | WaN | 0.15812 | IMPNRGZ | elc_wof_MAR_008 | WaN | 0.12767 | IMPNRGZ
elc_spv_MAR_008 | WaP | 0.0074376 | IMPNRGZ | elc_won_MAR_008 | WaP | 0.030195 | IMPNRGZ | elc_wof_MAR_008 | WaP | 0.02574 | IMPNRGZ
elc_spv_MAR_009 | FaD | 0.21185 | IMPNRGZ | elc_won_MAR_009 | FaD | 0.080719 | IMPNRGZ | elc_wof_MAR_009 | FaD | 0.084234 | IMPNRGZ
elc_spv_MAR_009 | FaN | 0 | IMPNRGZ | elc_won_MAR_009 | FaN | 0.086101 | IMPNRGZ | elc_wof_MAR_009 | FaN | 0.10039 | IMPNRGZ
elc_spv_MAR_009 | FaP | 0.0092501 | IMPNRGZ | elc_won_MAR_009 | FaP | 0.019521 | IMPNRGZ | elc_wof_MAR_009 | FaP | 0.020922 | IMPNRGZ
elc_spv_MAR_009 | RaD | 0.24512 | IMPNRGZ | elc_won_MAR_009 | RaD | 0.12963 | IMPNRGZ | elc_wof_MAR_009 | RaD | 0.11895 | IMPNRGZ
elc_spv_MAR_009 | RaN | 6.5324e-05 | IMPNRGZ | elc_won_MAR_009 | RaN | 0.15013 | IMPNRGZ | elc_wof_MAR_009 | RaN | 0.12866 | IMPNRGZ
elc_spv_MAR_009 | RaP | 0.025587 | IMPNRGZ | elc_won_MAR_009 | RaP | 0.031481 | IMPNRGZ | elc_wof_MAR_009 | RaP | 0.02519 | IMPNRGZ
elc_spv_MAR_009 | SaD | 0.28158 | IMPNRGZ | elc_won_MAR_009 | SaD | 0.062181 | IMPNRGZ | elc_wof_MAR_009 | SaD | 0.10561 | IMPNRGZ
elc_spv_MAR_009 | SaN | 0.0034548 | IMPNRGZ | elc_won_MAR_009 | SaN | 0.12114 | IMPNRGZ | elc_wof_MAR_009 | SaN | 0.13142 | IMPNRGZ
elc_spv_MAR_009 | SaP | 0.033243 | IMPNRGZ | elc_won_MAR_009 | SaP | 0.020499 | IMPNRGZ | elc_wof_MAR_009 | SaP | 0.027549 | IMPNRGZ
elc_spv_MAR_009 | WaD | 0.18307 | IMPNRGZ | elc_won_MAR_009 | WaD | 0.13678 | IMPNRGZ | elc_wof_MAR_009 | WaD | 0.10914 | IMPNRGZ
elc_spv_MAR_009 | WaN | 0 | IMPNRGZ | elc_won_MAR_009 | WaN | 0.1357 | IMPNRGZ | elc_wof_MAR_009 | WaN | 0.12347 | IMPNRGZ
elc_spv_MAR_009 | WaP | 0.0067702 | IMPNRGZ | elc_won_MAR_009 | WaP | 0.026111 | IMPNRGZ | elc_wof_MAR_009 | WaP | 0.024447 | IMPNRGZ
elc_spv_MAR_010 | FaD | 0.20984 | IMPNRGZ | elc_won_MAR_010 | FaD | 0.077845 | IMPNRGZ | elc_wof_MAR_010 | FaD | 0.088342 | IMPNRGZ
elc_spv_MAR_010 | FaN | 0 | IMPNRGZ | elc_won_MAR_010 | FaN | 0.081074 | IMPNRGZ | elc_wof_MAR_010 | FaN | 0.083463 | IMPNRGZ
elc_spv_MAR_010 | FaP | 0.01106 | IMPNRGZ | elc_won_MAR_010 | FaP | 0.019755 | IMPNRGZ | elc_wof_MAR_010 | FaP | 0.021708 | IMPNRGZ
elc_spv_MAR_010 | RaD | 0.24321 | IMPNRGZ | elc_won_MAR_010 | RaD | 0.13289 | IMPNRGZ | elc_wof_MAR_010 | RaD | 0.1504 | IMPNRGZ
elc_spv_MAR_010 | RaN | 4.9103e-06 | IMPNRGZ | elc_won_MAR_010 | RaN | 0.17427 | IMPNRGZ | elc_wof_MAR_010 | RaN | 0.16461 | IMPNRGZ
elc_spv_MAR_010 | RaP | 0.027747 | IMPNRGZ | elc_won_MAR_010 | RaP | 0.026053 | IMPNRGZ | elc_wof_MAR_010 | RaP | 0.034309 | IMPNRGZ
elc_spv_MAR_010 | SaD | 0.27772 | IMPNRGZ | elc_won_MAR_010 | SaD | 0.098391 | IMPNRGZ | elc_wof_MAR_010 | SaD | 0.083607 | IMPNRGZ
elc_spv_MAR_010 | SaN | 0.0037227 | IMPNRGZ | elc_won_MAR_010 | SaN | 0.14127 | IMPNRGZ | elc_wof_MAR_010 | SaN | 0.082174 | IMPNRGZ
elc_spv_MAR_010 | SaP | 0.034425 | IMPNRGZ | elc_won_MAR_010 | SaP | 0.018009 | IMPNRGZ | elc_wof_MAR_010 | SaP | 0.026301 | IMPNRGZ
elc_spv_MAR_010 | WaD | 0.18402 | IMPNRGZ | elc_won_MAR_010 | WaD | 0.10755 | IMPNRGZ | elc_wof_MAR_010 | WaD | 0.11327 | IMPNRGZ
elc_spv_MAR_010 | WaN | 0 | IMPNRGZ | elc_won_MAR_010 | WaN | 0.10045 | IMPNRGZ | elc_wof_MAR_010 | WaN | 0.12666 | IMPNRGZ
elc_spv_MAR_010 | WaP | 0.0082492 | IMPNRGZ | elc_won_MAR_010 | WaP | 0.022446 | IMPNRGZ | elc_wof_MAR_010 | WaP | 0.025151 | IMPNRGZ
elc_spv_MAR_011 | FaD | 0.21387 | IMPNRGZ | elc_won_MAR_011 | FaD | 0.089546 | IMPNRGZ | elc_wof_MAR_011 | FaD | 0.087134 | IMPNRGZ
elc_spv_MAR_011 | FaN | 0 | IMPNRGZ | elc_won_MAR_011 | FaN | 0.082271 | IMPNRGZ | elc_wof_MAR_011 | FaN | 0.087119 | IMPNRGZ
elc_spv_MAR_011 | FaP | 0.0088141 | IMPNRGZ | elc_won_MAR_011 | FaP | 0.025066 | IMPNRGZ | elc_wof_MAR_011 | FaP | 0.020935 | IMPNRGZ
elc_spv_MAR_011 | RaD | 0.24409 | IMPNRGZ | elc_won_MAR_011 | RaD | 0.12256 | IMPNRGZ | elc_wof_MAR_011 | RaD | 0.1366 | IMPNRGZ
elc_spv_MAR_011 | RaN | 0.00075562 | IMPNRGZ | elc_won_MAR_011 | RaN | 0.19115 | IMPNRGZ | elc_wof_MAR_011 | RaN | 0.15324 | IMPNRGZ
elc_spv_MAR_011 | RaP | 0.025384 | IMPNRGZ | elc_won_MAR_011 | RaP | 0.036908 | IMPNRGZ | elc_wof_MAR_011 | RaP | 0.033141 | IMPNRGZ
elc_spv_MAR_011 | SaD | 0.28992 | IMPNRGZ | elc_won_MAR_011 | SaD | 0.1019 | IMPNRGZ | elc_wof_MAR_011 | SaD | 0.10446 | IMPNRGZ
elc_spv_MAR_011 | SaN | 0.0042828 | IMPNRGZ | elc_won_MAR_011 | SaN | 0.16623 | IMPNRGZ | elc_wof_MAR_011 | SaN | 0.10983 | IMPNRGZ
elc_spv_MAR_011 | SaP | 0.034221 | IMPNRGZ | elc_won_MAR_011 | SaP | 0.029631 | IMPNRGZ | elc_wof_MAR_011 | SaP | 0.029438 | IMPNRGZ
elc_spv_MAR_011 | WaD | 0.17309 | IMPNRGZ | elc_won_MAR_011 | WaD | 0.068666 | IMPNRGZ | elc_wof_MAR_011 | WaD | 0.098696 | IMPNRGZ
elc_spv_MAR_011 | WaN | 0 | IMPNRGZ | elc_won_MAR_011 | WaN | 0.065308 | IMPNRGZ | elc_wof_MAR_011 | WaN | 0.11569 | IMPNRGZ
elc_spv_MAR_011 | WaP | 0.0055661 | IMPNRGZ | elc_won_MAR_011 | WaP | 0.020758 | IMPNRGZ | elc_wof_MAR_011 | WaP | 0.023722 | IMPNRGZ
elc_spv_MAR_012 | FaD | 0.21654 | IMPNRGZ | elc_won_MAR_012 | FaD | 0.08422 | IMPNRGZ
elc_spv_MAR_012 | FaN | 0 | IMPNRGZ | elc_won_MAR_012 | FaN | 0.11358 | IMPNRGZ
elc_spv_MAR_012 | FaP | 0.0084815 | IMPNRGZ | elc_won_MAR_012 | FaP | 0.022791 | IMPNRGZ
elc_spv_MAR_012 | RaD | 0.24325 | IMPNRGZ | elc_won_MAR_012 | RaD | 0.11231 | IMPNRGZ
elc_spv_MAR_012 | RaN | 0.0011075 | IMPNRGZ | elc_won_MAR_012 | RaN | 0.18458 | IMPNRGZ
elc_spv_MAR_012 | RaP | 0.024649 | IMPNRGZ | elc_won_MAR_012 | RaP | 0.024527 | IMPNRGZ
elc_spv_MAR_012 | SaD | 0.29222 | IMPNRGZ | elc_won_MAR_012 | SaD | 0.095588 | IMPNRGZ
elc_spv_MAR_012 | SaN | 0.0050902 | IMPNRGZ | elc_won_MAR_012 | SaN | 0.1558 | IMPNRGZ
elc_spv_MAR_012 | SaP | 0.034564 | IMPNRGZ | elc_won_MAR_012 | SaP | 0.019953 | IMPNRGZ
elc_spv_MAR_012 | WaD | 0.16878 | IMPNRGZ | elc_won_MAR_012 | WaD | 0.071486 | IMPNRGZ
elc_spv_MAR_012 | WaN | 0 | IMPNRGZ | elc_won_MAR_012 | WaN | 0.097965 | IMPNRGZ
elc_spv_MAR_012 | WaP | 0.0053095 | IMPNRGZ | elc_won_MAR_012 | WaP | 0.017202 | IMPNRGZ
elc_spv_MAR_013 | FaD | 0.21657 | IMPNRGZ | elc_won_MAR_013 | FaD | 0.086593 | IMPNRGZ
elc_spv_MAR_013 | FaN | 0 | IMPNRGZ | elc_won_MAR_013 | FaN | 0.097275 | IMPNRGZ
elc_spv_MAR_013 | FaP | 0.0059086 | IMPNRGZ | elc_won_MAR_013 | FaP | 0.023245 | IMPNRGZ
elc_spv_MAR_013 | RaD | 0.2521 | IMPNRGZ | elc_won_MAR_013 | RaD | 0.12877 | IMPNRGZ
elc_spv_MAR_013 | RaN | 0.0014418 | IMPNRGZ | elc_won_MAR_013 | RaN | 0.18545 | IMPNRGZ
elc_spv_MAR_013 | RaP | 0.02127 | IMPNRGZ | elc_won_MAR_013 | RaP | 0.034521 | IMPNRGZ
elc_spv_MAR_013 | SaD | 0.2862 | IMPNRGZ | elc_won_MAR_013 | SaD | 0.096079 | IMPNRGZ
elc_spv_MAR_013 | SaN | 0.0042631 | IMPNRGZ | elc_won_MAR_013 | SaN | 0.12446 | IMPNRGZ
elc_spv_MAR_013 | SaP | 0.027263 | IMPNRGZ | elc_won_MAR_013 | SaP | 0.02575 | IMPNRGZ
elc_spv_MAR_013 | WaD | 0.18001 | IMPNRGZ | elc_won_MAR_013 | WaD | 0.078089 | IMPNRGZ
elc_spv_MAR_013 | WaN | 0 | IMPNRGZ | elc_won_MAR_013 | WaN | 0.10122 | IMPNRGZ
elc_spv_MAR_013 | WaP | 0.0049674 | IMPNRGZ | elc_won_MAR_013 | WaP | 0.018548 | IMPNRGZ
elc_spv_MAR_014 | FaD | 0.21487 | IMPNRGZ | elc_won_MAR_014 | FaD | 0.13503 | IMPNRGZ
elc_spv_MAR_014 | FaN | 0 | IMPNRGZ | elc_won_MAR_014 | FaN | 0.058719 | IMPNRGZ
elc_spv_MAR_014 | FaP | 0.0074557 | IMPNRGZ | elc_won_MAR_014 | FaP | 0.035232 | IMPNRGZ
elc_spv_MAR_014 | RaD | 0.2469 | IMPNRGZ | elc_won_MAR_014 | RaD | 0.16546 | IMPNRGZ
elc_spv_MAR_014 | RaN | 0.00088006 | IMPNRGZ | elc_won_MAR_014 | RaN | 0.13195 | IMPNRGZ
elc_spv_MAR_014 | RaP | 0.023184 | IMPNRGZ | elc_won_MAR_014 | RaP | 0.056136 | IMPNRGZ
elc_spv_MAR_014 | SaD | 0.28549 | IMPNRGZ | elc_won_MAR_014 | SaD | 0.14655 | IMPNRGZ
elc_spv_MAR_014 | SaN | 0.0032535 | IMPNRGZ | elc_won_MAR_014 | SaN | 0.084436 | IMPNRGZ
elc_spv_MAR_014 | SaP | 0.030108 | IMPNRGZ | elc_won_MAR_014 | SaP | 0.043609 | IMPNRGZ
elc_spv_MAR_014 | WaD | 0.18238 | IMPNRGZ | elc_won_MAR_014 | WaD | 0.072334 | IMPNRGZ
elc_spv_MAR_014 | WaN | 0 | IMPNRGZ | elc_won_MAR_014 | WaN | 0.047666 | IMPNRGZ
elc_spv_MAR_014 | WaP | 0.0054766 | IMPNRGZ | elc_won_MAR_014 | WaP | 0.02287 | IMPNRGZ
elc_spv_MAR_015 | FaD | 0.21911 | IMPNRGZ | elc_won_MAR_015 | FaD | 0.11427 | IMPNRGZ
elc_spv_MAR_015 | FaN | 0 | IMPNRGZ | elc_won_MAR_015 | FaN | 0.0587 | IMPNRGZ
elc_spv_MAR_015 | FaP | 0.0066505 | IMPNRGZ | elc_won_MAR_015 | FaP | 0.029922 | IMPNRGZ
elc_spv_MAR_015 | RaD | 0.26029 | IMPNRGZ | elc_won_MAR_015 | RaD | 0.16144 | IMPNRGZ
elc_spv_MAR_015 | RaN | 0.0008062 | IMPNRGZ | elc_won_MAR_015 | RaN | 0.18009 | IMPNRGZ
elc_spv_MAR_015 | RaP | 0.020735 | IMPNRGZ | elc_won_MAR_015 | RaP | 0.053741 | IMPNRGZ
elc_spv_MAR_015 | SaD | 0.24759 | IMPNRGZ | elc_won_MAR_015 | SaD | 0.11748 | IMPNRGZ
elc_spv_MAR_015 | SaN | 0.001893 | IMPNRGZ | elc_won_MAR_015 | SaN | 0.083308 | IMPNRGZ
elc_spv_MAR_015 | SaP | 0.021992 | IMPNRGZ | elc_won_MAR_015 | SaP | 0.037374 | IMPNRGZ
elc_spv_MAR_015 | WaD | 0.21413 | IMPNRGZ | elc_won_MAR_015 | WaD | 0.0724 | IMPNRGZ
elc_spv_MAR_015 | WaN | 0 | IMPNRGZ | elc_won_MAR_015 | WaN | 0.069182 | IMPNRGZ
elc_spv_MAR_015 | WaP | 0.0067969 | IMPNRGZ | elc_won_MAR_015 | WaP | 0.022096 | IMPNRGZ
elc_spv_MAR_016 | FaD | 0.21956 | IMPNRGZ | elc_won_MAR_016 | FaD | 0.079512 | IMPNRGZ
elc_spv_MAR_016 | FaN | 0 | IMPNRGZ | elc_won_MAR_016 | FaN | 0.076474 | IMPNRGZ
elc_spv_MAR_016 | FaP | 0.0085754 | IMPNRGZ | elc_won_MAR_016 | FaP | 0.02102 | IMPNRGZ
elc_spv_MAR_016 | RaD | 0.25851 | IMPNRGZ | elc_won_MAR_016 | RaD | 0.14263 | IMPNRGZ
elc_spv_MAR_016 | RaN | 0 | IMPNRGZ | elc_won_MAR_016 | RaN | 0.13871 | IMPNRGZ
elc_spv_MAR_016 | RaP | 0.02449 | IMPNRGZ | elc_won_MAR_016 | RaP | 0.033386 | IMPNRGZ
elc_spv_MAR_016 | SaD | 0.24624 | IMPNRGZ | elc_won_MAR_016 | SaD | 0.12348 | IMPNRGZ
elc_spv_MAR_016 | SaN | 0 | IMPNRGZ | elc_won_MAR_016 | SaN | 0.12388 | IMPNRGZ
elc_spv_MAR_016 | SaP | 0.023397 | IMPNRGZ | elc_won_MAR_016 | SaP | 0.030379 | IMPNRGZ
elc_spv_MAR_016 | WaD | 0.2104 | IMPNRGZ | elc_won_MAR_016 | WaD | 0.094716 | IMPNRGZ
elc_spv_MAR_016 | WaN | 0 | IMPNRGZ | elc_won_MAR_016 | WaN | 0.11075 | IMPNRGZ
elc_spv_MAR_016 | WaP | 0.0088342 | IMPNRGZ | elc_won_MAR_016 | WaP | 0.025062 | IMPNRGZ
elc_spv_MAR_017 | FaD | 0.22015 | IMPNRGZ | elc_won_MAR_017 | FaD | 0.066149 | IMPNRGZ
elc_spv_MAR_017 | FaN | 0 | IMPNRGZ | elc_won_MAR_017 | FaN | 0.069786 | IMPNRGZ
elc_spv_MAR_017 | FaP | 0.0072452 | IMPNRGZ | elc_won_MAR_017 | FaP | 0.030604 | IMPNRGZ
elc_spv_MAR_017 | RaD | 0.2607 | IMPNRGZ | elc_won_MAR_017 | RaD | 0.16327 | IMPNRGZ
elc_spv_MAR_017 | RaN | 0.00041282 | IMPNRGZ | elc_won_MAR_017 | RaN | 0.17237 | IMPNRGZ
elc_spv_MAR_017 | RaP | 0.022374 | IMPNRGZ | elc_won_MAR_017 | RaP | 0.048888 | IMPNRGZ
elc_spv_MAR_017 | SaD | 0.24763 | IMPNRGZ | elc_won_MAR_017 | SaD | 0.076945 | IMPNRGZ
elc_spv_MAR_017 | SaN | 0.0012533 | IMPNRGZ | elc_won_MAR_017 | SaN | 0.08919 | IMPNRGZ
elc_spv_MAR_017 | SaP | 0.020333 | IMPNRGZ | elc_won_MAR_017 | SaP | 0.041658 | IMPNRGZ
elc_spv_MAR_017 | WaD | 0.21208 | IMPNRGZ | elc_won_MAR_017 | WaD | 0.097738 | IMPNRGZ
elc_spv_MAR_017 | WaN | 0 | IMPNRGZ | elc_won_MAR_017 | WaN | 0.11239 | IMPNRGZ
elc_spv_MAR_017 | WaP | 0.0078273 | IMPNRGZ | elc_won_MAR_017 | WaP | 0.031005 | IMPNRGZ
elc_spv_MAR_018 | FaD | 0.21266 | IMPNRGZ | elc_won_MAR_018 | FaD | 0.061085 | IMPNRGZ
elc_spv_MAR_018 | FaN | 0 | IMPNRGZ | elc_won_MAR_018 | FaN | 0.073226 | IMPNRGZ
elc_spv_MAR_018 | FaP | 0.015943 | IMPNRGZ | elc_won_MAR_018 | FaP | 0.029804 | IMPNRGZ
elc_spv_MAR_018 | RaD | 0.24618 | IMPNRGZ | elc_won_MAR_018 | RaD | 0.15024 | IMPNRGZ
elc_spv_MAR_018 | RaN | 7.0654e-05 | IMPNRGZ | elc_won_MAR_018 | RaN | 0.16039 | IMPNRGZ
elc_spv_MAR_018 | RaP | 0.030221 | IMPNRGZ | elc_won_MAR_018 | RaP | 0.050731 | IMPNRGZ
elc_spv_MAR_018 | SaD | 0.24789 | IMPNRGZ | elc_won_MAR_018 | SaD | 0.094202 | IMPNRGZ
elc_spv_MAR_018 | SaN | 0.0033553 | IMPNRGZ | elc_won_MAR_018 | SaN | 0.1063 | IMPNRGZ
elc_spv_MAR_018 | SaP | 0.032415 | IMPNRGZ | elc_won_MAR_018 | SaP | 0.042498 | IMPNRGZ
elc_spv_MAR_018 | WaD | 0.19699 | IMPNRGZ | elc_won_MAR_018 | WaD | 0.085615 | IMPNRGZ
elc_spv_MAR_018 | WaN | 0 | IMPNRGZ | elc_won_MAR_018 | WaN | 0.11436 | IMPNRGZ
elc_spv_MAR_018 | WaP | 0.014279 | IMPNRGZ | elc_won_MAR_018 | WaP | 0.031544 | IMPNRGZ
elc_spv_MAR_019 | FaD | 0.2106 | IMPNRGZ | elc_won_MAR_019 | FaD | 0.085647 | IMPNRGZ
elc_spv_MAR_019 | FaN | 0 | IMPNRGZ | elc_won_MAR_019 | FaN | 0.058349 | IMPNRGZ
elc_spv_MAR_019 | FaP | 0.01153 | IMPNRGZ | elc_won_MAR_019 | FaP | 0.019654 | IMPNRGZ
elc_spv_MAR_019 | RaD | 0.24874 | IMPNRGZ | elc_won_MAR_019 | RaD | 0.18594 | IMPNRGZ
elc_spv_MAR_019 | RaN | 5.8667e-06 | IMPNRGZ | elc_won_MAR_019 | RaN | 0.18494 | IMPNRGZ
elc_spv_MAR_019 | RaP | 0.02852 | IMPNRGZ | elc_won_MAR_019 | RaP | 0.047041 | IMPNRGZ
elc_spv_MAR_019 | SaD | 0.26668 | IMPNRGZ | elc_won_MAR_019 | SaD | 0.086207 | IMPNRGZ
elc_spv_MAR_019 | SaN | 0.0037087 | IMPNRGZ | elc_won_MAR_019 | SaN | 0.074804 | IMPNRGZ
elc_spv_MAR_019 | SaP | 0.03127 | IMPNRGZ | elc_won_MAR_019 | SaP | 0.025792 | IMPNRGZ
elc_spv_MAR_019 | WaD | 0.18939 | IMPNRGZ | elc_won_MAR_019 | WaD | 0.11179 | IMPNRGZ
elc_spv_MAR_019 | WaN | 0 | IMPNRGZ | elc_won_MAR_019 | WaN | 0.098762 | IMPNRGZ
elc_spv_MAR_019 | WaP | 0.0095534 | IMPNRGZ | elc_won_MAR_019 | WaP | 0.021076 | IMPNRGZ
elc_spv_MAR_020 | FaD | 0.22007 | IMPNRGZ | elc_won_MAR_020 | FaD | 0.074017 | IMPNRGZ
elc_spv_MAR_020 | FaN | 0 | IMPNRGZ | elc_won_MAR_020 | FaN | 0.076743 | IMPNRGZ
elc_spv_MAR_020 | FaP | 0.0089542 | IMPNRGZ | elc_won_MAR_020 | FaP | 0.019824 | IMPNRGZ
elc_spv_MAR_020 | RaD | 0.25452 | IMPNRGZ | elc_won_MAR_020 | RaD | 0.154 | IMPNRGZ
elc_spv_MAR_020 | RaN | 0 | IMPNRGZ | elc_won_MAR_020 | RaN | 0.15683 | IMPNRGZ
elc_spv_MAR_020 | RaP | 0.025849 | IMPNRGZ | elc_won_MAR_020 | RaP | 0.035996 | IMPNRGZ
elc_spv_MAR_020 | SaD | 0.25412 | IMPNRGZ | elc_won_MAR_020 | SaD | 0.09405 | IMPNRGZ
elc_spv_MAR_020 | SaN | 0.00022619 | IMPNRGZ | elc_won_MAR_020 | SaN | 0.10461 | IMPNRGZ
elc_spv_MAR_020 | SaP | 0.024434 | IMPNRGZ | elc_won_MAR_020 | SaP | 0.028333 | IMPNRGZ
elc_spv_MAR_020 | WaD | 0.2027 | IMPNRGZ | elc_won_MAR_020 | WaD | 0.11866 | IMPNRGZ
elc_spv_MAR_020 | WaN | 0 | IMPNRGZ | elc_won_MAR_020 | WaN | 0.1144 | IMPNRGZ
elc_spv_MAR_020 | WaP | 0.0091294 | IMPNRGZ | elc_won_MAR_020 | WaP | 0.022535 | IMPNRGZ
elc_spv_MAR_021 | FaD | 0.21692 | IMPNRGZ | elc_won_MAR_021 | FaD | 0.077902 | IMPNRGZ
elc_spv_MAR_021 | FaN | 0 | IMPNRGZ | elc_won_MAR_021 | FaN | 0.073625 | IMPNRGZ
elc_spv_MAR_021 | FaP | 0.01061 | IMPNRGZ | elc_won_MAR_021 | FaP | 0.019127 | IMPNRGZ
elc_spv_MAR_021 | RaD | 0.25137 | IMPNRGZ | elc_won_MAR_021 | RaD | 0.12416 | IMPNRGZ
elc_spv_MAR_021 | RaN | 0 | IMPNRGZ | elc_won_MAR_021 | RaN | 0.11923 | IMPNRGZ
elc_spv_MAR_021 | RaP | 0.027397 | IMPNRGZ | elc_won_MAR_021 | RaP | 0.028912 | IMPNRGZ
elc_spv_MAR_021 | SaD | 0.25733 | IMPNRGZ | elc_won_MAR_021 | SaD | 0.12958 | IMPNRGZ
elc_spv_MAR_021 | SaN | 0.0021168 | IMPNRGZ | elc_won_MAR_021 | SaN | 0.13438 | IMPNRGZ
elc_spv_MAR_021 | SaP | 0.027315 | IMPNRGZ | elc_won_MAR_021 | SaP | 0.030698 | IMPNRGZ
elc_spv_MAR_021 | WaD | 0.1972 | IMPNRGZ | elc_won_MAR_021 | WaD | 0.11828 | IMPNRGZ
elc_spv_MAR_021 | WaN | 0 | IMPNRGZ | elc_won_MAR_021 | WaN | 0.12054 | IMPNRGZ
elc_spv_MAR_021 | WaP | 0.009738 | IMPNRGZ | elc_won_MAR_021 | WaP | 0.023572 | IMPNRGZ
elc_spv_MAR_022 | FaD | 0.22072 | IMPNRGZ | elc_won_MAR_022 | FaD | 0.081149 | IMPNRGZ
elc_spv_MAR_022 | FaN | 0 | IMPNRGZ | elc_won_MAR_022 | FaN | 0.05402 | IMPNRGZ
elc_spv_MAR_022 | FaP | 0.011945 | IMPNRGZ | elc_won_MAR_022 | FaP | 0.021161 | IMPNRGZ
elc_spv_MAR_022 | RaD | 0.25563 | IMPNRGZ | elc_won_MAR_022 | RaD | 0.18235 | IMPNRGZ
elc_spv_MAR_022 | RaN | 0 | IMPNRGZ | elc_won_MAR_022 | RaN | 0.13504 | IMPNRGZ
elc_spv_MAR_022 | RaP | 0.027396 | IMPNRGZ | elc_won_MAR_022 | RaP | 0.044495 | IMPNRGZ
elc_spv_MAR_022 | SaD | 0.24523 | IMPNRGZ | elc_won_MAR_022 | SaD | 0.11898 | IMPNRGZ
elc_spv_MAR_022 | SaN | 7.9061e-05 | IMPNRGZ | elc_won_MAR_022 | SaN | 0.090737 | IMPNRGZ
elc_spv_MAR_022 | SaP | 0.025267 | IMPNRGZ | elc_won_MAR_022 | SaP | 0.035391 | IMPNRGZ
elc_spv_MAR_022 | WaD | 0.20269 | IMPNRGZ | elc_won_MAR_022 | WaD | 0.11121 | IMPNRGZ
elc_spv_MAR_022 | WaN | 0 | IMPNRGZ | elc_won_MAR_022 | WaN | 0.098063 | IMPNRGZ
elc_spv_MAR_022 | WaP | 0.011045 | IMPNRGZ | elc_won_MAR_022 | WaP | 0.027409 | IMPNRGZ
elc_spv_MAR_023 | FaD | 0.21275 | IMPNRGZ
elc_spv_MAR_023 | FaN | 0 | IMPNRGZ
elc_spv_MAR_023 | FaP | 0.0142 | IMPNRGZ
elc_spv_MAR_023 | RaD | 0.24952 | IMPNRGZ
elc_spv_MAR_023 | RaN | 0 | IMPNRGZ
elc_spv_MAR_023 | RaP | 0.029756 | IMPNRGZ
elc_spv_MAR_023 | SaD | 0.2493 | IMPNRGZ
elc_spv_MAR_023 | SaN | 0.0028416 | IMPNRGZ
elc_spv_MAR_023 | SaP | 0.03036 | IMPNRGZ
elc_spv_MAR_023 | WaD | 0.19944 | IMPNRGZ
elc_spv_MAR_023 | WaN | 0 | IMPNRGZ
elc_spv_MAR_023 | WaP | 0.011833 | IMPNRGZ
elc_spv_MAR_024 | FaD | 0.21627 | IMPNRGZ
elc_spv_MAR_024 | FaN | 0 | IMPNRGZ
elc_spv_MAR_024 | FaP | 0.014833 | IMPNRGZ
elc_spv_MAR_024 | RaD | 0.2508 | IMPNRGZ
elc_spv_MAR_024 | RaN | 0 | IMPNRGZ
elc_spv_MAR_024 | RaP | 0.029791 | IMPNRGZ
elc_spv_MAR_024 | SaD | 0.24699 | IMPNRGZ
elc_spv_MAR_024 | SaN | 0.0013863 | IMPNRGZ
elc_spv_MAR_024 | SaP | 0.028277 | IMPNRGZ
elc_spv_MAR_024 | WaD | 0.19847 | IMPNRGZ
elc_spv_MAR_024 | WaN | 0 | IMPNRGZ
elc_spv_MAR_024 | WaP | 0.013171 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT | [13 empty] | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX | [13 empty] | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX | [13 empty] | ~TFM_DINS-TSL: attribute=NCAP_PKCNT | [12 empty] | ~TFM_DINS-AT
process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | other_indexes | ncap_com
distr_solelc_spv_MAR_001 | DEF_E | 0 | 0.22073 | 0.32547 | 0.94493 | 0.15338 | 0.12079 | 0.90919 | 0.12982 | 0.097548 | 0.998 | 0.1821 | 0.31761 | distr_sol* | ELC4H | 0 | 0.043344 | 0.01013 | 0.83607 | 0.033325 | 0.015334 | 0.74287 | 0.03424 | 0.034559 | 0 | 0.037834 | 0.049484 | distr_sol* | ELC8H | 0 | 0.032912 | 0.28337 | 0 | 0.015984 | 0.072131 | 0 | 0.007603 | 0.035866 | 0 | 0.022695 | 0.18534 | distr_solelc_spv_MAR_001 | 0 | 0.48633 | 0.2917 | 0.0107 | 0.59668 | 0.45552 | 0.016929 | 0.57496 | 0.43761 | 2.0135e-05 | 0.50597 | 0.25419 | distr_solelc_spv_MAR_001 | DEF_C | OUT | 0.59668
distr_solelc_spv_MAR_002 | DEF_E | 0 | 0.27537 | 0.39774 | 0.94403 | 0.18441 | 0.14625 | 0.90985 | 0.14793 | 0.093892 | 0.997 | 0.22177 | 0.34376 | distr_won* | ELC4H | 0.0011816 | 0.022891 | 0.00088058 | 0.001829 | 0.019715 | 0.0039008 | 0.006436 | 0.070928 | 0.0044642 | 0.0075223 | 0.091449 | 0.0058931 | distr_won* | ELC8H | 0.021452 | 0.014462 | 0.070093 | 0.013578 | 0.018343 | 0.039472 | 0.02775 | 0.03556 | 0.10189 | 0.032647 | 0.037182 | 0.087695 | distr_solelc_spv_MAR_002 | 0 | 0.38173 | 0.22382 | 0.012848 | 0.52407 | 0.421 | 0.020262 | 0.55759 | 0.45628 | 0.00019258 | 0.4329 | 0.22586 | distr_solelc_spv_MAR_002 | DEF_C | OUT | 0.55759
distr_solelc_spv_MAR_003 | DEF_E | 0 | 0.28605 | 0.43189 | 0.94946 | 0.1902 | 0.16144 | 0.90996 | 0.13881 | 0.10355 | 0 | 0.21212 | 0.36819 | distr_wof* | ELC4H | 0.0028958 | 0.003462 | 0.0024839 | 0.0064654 | 0.010132 | 0.0018429 | 0.00060244 | 0.013532 | 0.0043439 | 0.0042968 | 0.012135 | 0.0031111 | distr_wof* | ELC8H | 0.0055279 | 0.017159 | 0.017748 | 0.010015 | 0.0079039 | 0.007895 | 0.010112 | 0.0040621 | 0.010793 | 0.017952 | 0.0060985 | 0.011391 | distr_solelc_spv_MAR_003 | 0 | 0.37863 | 0.20118 | 0.010063 | 0.51867 | 0.3966 | 0.017861 | 0.56409 | 0.43518 | 0 | 0.44867 | 0.20927 | distr_solelc_spv_MAR_003 | DEF_C | OUT | 0.56409
distr_solelc_spv_MAR_004 | DEF_E | 0 | 0.2588 | 0.39404 | 0.94445 | 0.17688 | 0.13381 | 0.90909 | 0.1269 | 0.1322 | 0.997 | 0.20469 | 0.33712 | [28 empty] | distr_solelc_spv_MAR_004 | 0 | 0.42916 | 0.24681 | 0.011699 | 0.55907 | 0.43863 | 0.01756 | 0.58706 | 0.4093 | 0.00013334 | 0.47737 | 0.23099 | distr_solelc_spv_MAR_004 | DEF_C | OUT | 0.58706
distr_solelc_spv_MAR_005 | DEF_E | 0 | 0.26425 | 0.405 | 0.95277 | 0.17145 | 0.14849 | 0.91198 | 0.12291 | 0.13151 | 0 | 0.19801 | 0.3563 | [28 empty] | distr_solelc_spv_MAR_005 | 0 | 0.43375 | 0.23838 | 0.009305 | 0.57136 | 0.42827 | 0.015065 | 0.59104 | 0.40677 | 0 | 0.48942 | 0.22461 | distr_solelc_spv_MAR_005 | DEF_C | OUT | 0.59104
distr_solelc_spv_MAR_006 | DEF_E | 0 | 0.18485 | 0.78685 | 0.97663 | 0.11813 | 0.27612 | 0.95034 | 0.094311 | 0.19147 | 0 | 0.15552 | 0.70294 | [28 empty] | distr_solelc_spv_MAR_006 | 0 | 0.49757 | 0.074637 | 0.0040185 | 0.61971 | 0.2557 | 0.0080873 | 0.61098 | 0.25621 | 0 | 0.51452 | 0.072342 | distr_solelc_spv_MAR_006 | DEF_C | OUT | 0.61971
distr_solelc_spv_MAR_007 | DEF_E | 0 | 0.23387 | 0.75799 | 0.98617 | 0.16134 | 0.24255 | 0.96146 | 0.089084 | 0.15608 | 0 | 0.1746 | 0.66278 | [28 empty] | distr_solelc_spv_MAR_007 | 0 | 0.44077 | 0.075316 | 0.0019681 | 0.55572 | 0.27357 | 0.0064549 | 0.61046 | 0.31883 | 0 | 0.48753 | 0.087296 | distr_solelc_spv_MAR_007 | DEF_C | OUT | 0.55572
distr_solelc_spv_MAR_008 | DEF_E | 0 | 0.22251 | 0.69425 | 0.99506 | 0.15106 | 0.19673 | 0.93306 | 0.092191 | 0.13815 | 0 | 0.17466 | 0.60016 | [28 empty] | distr_solelc_spv_MAR_008 | 0 | 0.43932 | 0.09267 | 0.00012005 | 0.55195 | 0.29987 | 0.0037083 | 0.606 | 0.341 | 0 | 0.47803 | 0.10434 | distr_solelc_spv_MAR_008 | DEF_C | OUT | 0.55195
distr_solelc_spv_MAR_009 | DEF_E | 0 | 0.24675 | 0.72149 | 0.99407 | 0.16149 | 0.20293 | 0.92829 | 0.10615 | 0.12008 | 0 | 0.18296 | 0.61303 | [28 empty] | distr_solelc_spv_MAR_009 | 0 | 0.40021 | 0.081401 | 0.0001397 | 0.52421 | 0.30096 | 0.0073883 | 0.60218 | 0.391 | 0 | 0.45804 | 0.11 | distr_solelc_spv_MAR_009 | DEF_C | OUT | 0.52963
distr_solelc_spv_MAR_010 | DEF_E | 0 | 0.24843 | 0.66921 | 0.99704 | 0.1637 | 0.17934 | 0.94363 | 0.11788 | 0.11318 | 0 | 0.18579 | 0.5544 | [28 empty] | distr_solelc_spv_MAR_010 | 0 | 0.40359 | 0.099506 | 1.0535e-05 | 0.52181 | 0.32742 | 0.0079871 | 0.59584 | 0.40623 | 0 | 0.45515 | 0.13195 | distr_solelc_spv_MAR_010 | DEF_C | OUT | 0.57197
distr_solelc_spv_MAR_011 | DEF_E | 0 | 0.27297 | 0.77786 | 0.98419 | 0.17619 | 0.23369 | 0.92249 | 0.10549 | 0.12239 | 0 | 0.18577 | 0.65669 | [28 empty] | distr_solelc_spv_MAR_011 | 0 | 0.36202 | 0.064028 | 0.001546 | 0.4994 | 0.28564 | 0.0087626 | 0.59318 | 0.38509 | 0 | 0.4424 | 0.10028 | distr_solelc_spv_MAR_011 | DEF_C | OUT | 0.53308
distr_solelc_spv_MAR_012 | DEF_E | 0 | 0.27997 | 0.79794 | 0.97866 | 0.17612 | 0.24515 | 0.91459 | 0.098799 | 0.11579 | 0 | 0.18353 | 0.6695 | [28 empty] | distr_solelc_spv_MAR_012 | 0 | 0.35249 | 0.060986 | 0.0022626 | 0.49697 | 0.27697 | 0.010399 | 0.59701 | 0.38838 | 0 | 0.44725 | 0.096351 | distr_solelc_spv_MAR_012 | DEF_C | OUT | 0.56047
distr_solelc_spv_MAR_013 | DEF_E | 0 | 0.25256 | 0.81286 | 0.97332 | 0.15004 | 0.26058 | 0.94466 | 0.084574 | 0.15166 | 0 | 0.17093 | 0.71415 | [28 empty] | distr_solelc_spv_MAR_013 | 0 | 0.39578 | 0.060068 | 0.003101 | 0.54222 | 0.25161 | 0.0091691 | 0.61557 | 0.32251 | 0 | 0.47093 | 0.070664 | distr_solelc_spv_MAR_013 | DEF_C | OUT | 0.54222
distr_solelc_spv_MAR_014 | DEF_E | 0 | 0.25114 | 0.76564 | 0.97826 | 0.16028 | 0.23983 | 0.92682 | 0.090076 | 0.13351 | 0 | 0.17571 | 0.65293 | [28 empty] | distr_solelc_spv_MAR_014 | 0 | 0.39574 | 0.06536 | 0.0018681 | 0.52411 | 0.27067 | 0.0069062 | 0.60602 | 0.35151 | 0 | 0.46112 | 0.088001 | distr_solelc_spv_MAR_014 | DEF_C | OUT | 0.52411
distr_solelc_spv_MAR_015 | DEF_E | 0 | 0.15111 | 0.71388 | 0.98123 | 0.09787 | 0.24888 | 0.95652 | 0.08309 | 0.16426 | 0 | 0.13205 | 0.67252 | [28 empty] | distr_solelc_spv_MAR_015 | 0 | 0.53439 | 0.093294 | 0.0019682 | 0.63548 | 0.27842 | 0.0046216 | 0.60447 | 0.29531 | 0 | 0.54081 | 0.090281 | distr_solelc_spv_MAR_015 | DEF_C | OUT | 0.63548
distr_solelc_spv_MAR_016 | DEF_E | 0 | 0.16802 | 0.66656 | 0 | 0.10533 | 0.19355 | 0 | 0.087258 | 0.15386 | 0 | 0.13585 | 0.60278 | [28 empty] | distr_solelc_spv_MAR_016 | 0 | 0.52314 | 0.12081 | 0 | 0.62879 | 0.32763 | 0 | 0.59895 | 0.31302 | 0 | 0.53992 | 0.11598 | distr_solelc_spv_MAR_016 | DEF_C | OUT | 0.62879
distr_solelc_spv_MAR_017 | DEF_E | 0 | 0.17114 | 0.69854 | 0.98715 | 0.10582 | 0.21374 | 0.96344 | 0.0923 | 0.17427 | 0 | 0.13959 | 0.62623 | [28 empty] | distr_solelc_spv_MAR_017 | 0 | 0.5321 | 0.10801 | 0.0010132 | 0.63986 | 0.30203 | 0.0030761 | 0.60778 | 0.27448 | 0 | 0.54628 | 0.09888 | distr_solelc_spv_MAR_017 | DEF_C | OUT | 0.63986
distr_solelc_spv_MAR_018 | DEF_E | 0 | 0.22759 | 0.46152 | 0.99111 | 0.16816 | 0.14735 | 0.93556 | 0.16278 | 0.1214 | 0 | 0.19754 | 0.40338 | [28 empty] | distr_solelc_spv_MAR_018 | 0 | 0.44569 | 0.17769 | 0.00015638 | 0.54488 | 0.36789 | 0.0074264 | 0.54867 | 0.3946 | 0 | 0.47586 | 0.19621 | distr_solelc_spv_MAR_018 | DEF_C | OUT | 0.54488
distr_solelc_spv_MAR_019 | DEF_E | 0 | 0.2255 | 0.6311 | 0.99802 | 0.14508 | 0.15625 | 0.94275 | 0.10152 | 0.11874 | 0 | 0.16755 | 0.50282 | [28 empty] | distr_solelc_spv_MAR_019 | 0 | 0.44239 | 0.12274 | 1.3406e-05 | 0.56841 | 0.35844 | 0.0084747 | 0.60938 | 0.39301 | 0 | 0.48654 | 0.14651 | distr_solelc_spv_MAR_019 | DEF_C | OUT | 0.56841
distr_solelc_spv_MAR_020 | DEF_E | 0 | 0.20561 | 0.66956 | 0 | 0.12881 | 0.17152 | 0.97041 | 0.099703 | 0.16033 | 0 | 0.14761 | 0.57242 | [28 empty] | distr_solelc_spv_MAR_020 | 0 | 0.49016 | 0.12142 | 0 | 0.60208 | 0.3363 | 0.00053506 | 0.60113 | 0.3179 | 0 | 0.5263 | 0.11778 | distr_solelc_spv_MAR_020 | DEF_C | OUT | 0.60208
distr_solelc_spv_MAR_021 | DEF_E | 0 | 0.21491 | 0.63337 | 0 | 0.13694 | 0.1575 | 0.95503 | 0.10257 | 0.13951 | 0 | 0.15651 | 0.52455 | [28 empty] | distr_solelc_spv_MAR_021 | 0 | 0.46588 | 0.12653 | 0 | 0.58093 | 0.34825 | 0.0048921 | 0.59472 | 0.34721 | 0 | 0.50684 | 0.13635 | distr_solelc_spv_MAR_021 | DEF_C | OUT | 0.58093
distr_solelc_spv_MAR_022 | DEF_E | 0 | 0.19201 | 0.55492 | 0 | 0.11107 | 0.15536 | 0.96841 | 0.092155 | 0.14379 | 0 | 0.13847 | 0.47096 | [28 empty] | distr_solelc_spv_MAR_022 | 0 | 0.50549 | 0.1515 | 0 | 0.62367 | 0.36762 | 0.00019289 | 0.5983 | 0.33905 | 0 | 0.54442 | 0.16205 | distr_solelc_spv_MAR_022 | DEF_C | OUT | 0.62367
distr_solelc_spv_MAR_023 | DEF_E | 0 | 0.21254 | 0.5627 | 0 | 0.14753 | 0.14654 | 0.95027 | 0.12815 | 0.12403 | 0 | 0.16075 | 0.44633 | [28 empty] | distr_solelc_spv_MAR_023 | 0 | 0.46695 | 0.15237 | 0 | 0.57152 | 0.37485 | 0.0065085 | 0.57099 | 0.38246 | 0 | 0.49265 | 0.18085 | distr_solelc_spv_MAR_023 | DEF_C | OUT | 0.57152
distr_solelc_spv_MAR_024 | DEF_E | 0 | 0.21333 | 0.50051 | 0 | 0.13786 | 0.14224 | 0.95553 | 0.11552 | 0.13528 | 0 | 0.16863 | 0.43133 | [28 empty] | distr_solelc_spv_MAR_024 | 0 | 0.48245 | 0.17608 | 0 | 0.5964 | 0.38962 | 0.0032965 | 0.58733 | 0.36983 | 0 | 0.51994 | 0.19613 | distr_solelc_spv_MAR_024 | DEF_C | OUT | 0.5964
distr_wofelc_wof_MAR_001 | DEF_E | 0.38752 | 0.43144 | 0.34849 | 0.30153 | 0.34296 | 0.25905 | 0.33139 | 0.34919 | 0.27295 | 0.40974 | 0.42241 | 0.37181 | [28 empty] | distr_wofelc_wof_MAR_001 | 0.32954 | 0.28258 | 0.40843 | 0.43903 | 0.41978 | 0.55942 | 0.3908 | 0.39733 | 0.54652 | 0.26 | 0.26494 | 0.36588 | distr_wonelc_won_MAR_001 | DEF_C | OUT | 0.23877
distr_wofelc_wof_MAR_002 | DEF_E | 0.32467 | 0.36827 | 0.29272 | 0.23141 | 0.24487 | 0.20672 | 0.23093 | 0.26394 | 0.20418 | 0.38836 | 0.39764 | 0.36753 | [28 empty] | distr_wofelc_wof_MAR_002 | 0.47299 | 0.40312 | 0.52235 | 0.60163 | 0.57106 | 0.67565 | 0.66397 | 0.62654 | 0.73063 | 0.40128 | 0.365 | 0.4838 | distr_wonelc_won_MAR_002 | DEF_C | OUT | 0.14312
distr_wofelc_wof_MAR_003 | DEF_E | 0.30906 | 0.3778 | 0.33408 | 0.26913 | 0.30641 | 0.22827 | 0.25399 | 0.27537 | 0.22042 | 0.37868 | 0.40341 | 0.34109 | [28 empty] | distr_wofelc_wof_MAR_003 | 0.47561 | 0.38697 | 0.44455 | 0.41786 | 0.35515 | 0.45597 | 0.53336 | 0.48653 | 0.58868 | 0.29716 | 0.26293 | 0.32773 | distr_wonelc_won_MAR_003 | DEF_C | OUT | 0.19755
distr_wofelc_wof_MAR_004 | DEF_E | 0.41655 | 0.48172 | 0.34086 | 0.33203 | 0.33806 | 0.23883 | 0.29677 | 0.30819 | 0.19517 | 0.39926 | 0.42668 | 0.33835 | [28 empty] | distr_wofelc_wof_MAR_004 | 0.3407 | 0.2998 | 0.4701 | 0.49277 | 0.47294 | 0.61697 | 0.4531 | 0.47253 | 0.67807 | 0.25954 | 0.26748 | 0.45107 | distr_wonelc_won_MAR_004 | DEF_C | OUT | 0.30974
distr_wofelc_wof_MAR_005 | DEF_E | 0.35821 | 0.41008 | 0.31296 | 0.31158 | 0.33893 | 0.25641 | 0.30309 | 0.30945 | 0.25146 | 0.38373 | 0.39792 | 0.34889 | [28 empty] | distr_wofelc_wof_MAR_005 | 0.40323 | 0.35654 | 0.4384 | 0.40981 | 0.37663 | 0.44667 | 0.41497 | 0.39469 | 0.49718 | 0.23385 | 0.22232 | 0.295 | distr_wonelc_won_MAR_005 | DEF_C | OUT | 0.24239
distr_wofelc_wof_MAR_006 | DEF_E | 0.48163 | 0.45878 | 0.39338 | 0.4214 | 0.40543 | 0.33584 | 0.3545 | 0.36078 | 0.29709 | 0.45744 | 0.44069 | 0.38509 | [28 empty] | distr_wofelc_wof_MAR_006 | 0.24943 | 0.24365 | 0.31605 | 0.32336 | 0.32909 | 0.37447 | 0.19621 | 0.22206 | 0.31915 | 0.13123 | 0.14813 | 0.19965 | distr_wonelc_won_MAR_006 | DEF_C | OUT | 0.31875
distr_wofelc_wof_MAR_007 | DEF_E | 0.35916 | 0.38627 | 0.35888 | 0.43456 | 0.41912 | 0.39814 | 0.4768 | 0.44182 | 0.45476 | 0.48579 | 0.49243 | 0.4518 | [28 empty] | distr_wofelc_wof_MAR_007 | 0.47754 | 0.44255 | 0.48881 | 0.3884 | 0.37862 | 0.41714 | 0.24739 | 0.2824 | 0.29917 | 0.26323 | 0.2634 | 0.30515 | distr_wonelc_won_MAR_007 | DEF_C | OUT | 0.29892
distr_wofelc_wof_MAR_008 | DEF_E | 0.40221 | 0.46007 | 0.40137 | 0.3717 | 0.42445 | 0.35405 | 0.37909 | 0.43263 | 0.2944 | 0.41919 | 0.4442 | 0.38081 | [28 empty] | distr_wofelc_wof_MAR_008 | 0.33069 | 0.29382 | 0.36668 | 0.37028 | 0.33937 | 0.40924 | 0.2844 | 0.22428 | 0.42858 | 0.23272 | 0.20351 | 0.30861 | distr_wonelc_won_MAR_008 | DEF_C | OUT | 0.25618
distr_wofelc_wof_MAR_009 | DEF_E | 0.39864 | 0.43707 | 0.3926 | 0.37321 | 0.41138 | 0.37136 | 0.42928 | 0.48327 | 0.33921 | 0.44742 | 0.45168 | 0.42087 | [28 empty] | distr_wofelc_wof_MAR_009 | 0.3774 | 0.3336 | 0.41099 | 0.38472 | 0.35568 | 0.41427 | 0.39296 | 0.3158 | 0.45306 | 0.30349 | 0.25464 | 0.34786 | distr_wonelc_won_MAR_009 | DEF_C | OUT | 0.40801
distr_wofelc_wof_MAR_010 | DEF_E | 0.44869 | 0.45073 | 0.39586 | 0.38305 | 0.41922 | 0.33501 | 0.38304 | 0.4147 | 0.30201 | 0.4412 | 0.46152 | 0.36763 | [28 empty] | distr_wofelc_wof_MAR_010 | 0.26774 | 0.23944 | 0.29241 | 0.3404 | 0.31102 | 0.39022 | 0.16993 | 0.17289 | 0.29913 | 0.17449 | 0.18469 | 0.24961 | distr_wonelc_won_MAR_010 | DEF_C | OUT | 0.38154
distr_wofelc_wof_MAR_011 | DEF_E | 0.41642 | 0.43441 | 0.36287 | 0.32127 | 0.37094 | 0.28691 | 0.34369 | 0.37971 | 0.28735 | 0.38679 | 0.43378 | 0.35553 | [28 empty] | distr_wofelc_wof_MAR_011 | 0.30735 | 0.26221 | 0.34662 | 0.39827 | 0.35501 | 0.47373 | 0.28545 | 0.27148 | 0.42079 | 0.2289 | 0.22894 | 0.30254 | distr_wonelc_won_MAR_011 | DEF_C | OUT | 0.25193
distr_wonelc_won_MAR_001 | DEF_E | 0.48637 | 0.4602 | 0.43095 | 0.42488 | 0.43724 | 0.40264 | 0.49787 | 0.51346 | 0.39724 | 0.49116 | 0.47674 | 0.3842 | [28 empty] | distr_wonelc_won_MAR_001 | 0.19158 | 0.21999 | 0.21323 | 0.17915 | 0.23877 | 0.23802 | 0.12937 | 0.17304 | 0.17081 | 0.10369 | 0.14107 | 0.14072 | distr_wonelc_won_MAR_012 | DEF_C | OUT | 0.44789
distr_wonelc_won_MAR_002 | DEF_E | 0.55775 | 0.58512 | 0.5278 | 0.54415 | 0.52277 | 0.39365 | 0.56423 | 0.53223 | 0.25752 | 0.56261 | 0.53335 | 0.31891 | [28 empty] | distr_wonelc_won_MAR_002 | 0.1287 | 0.13207 | 0.14312 | 0.096526 | 0.13118 | 0.14283 | 0.086684 | 0.069738 | 0.14812 | 0.058355 | 0.053352 | 0.099442 | distr_wonelc_won_MAR_013 | DEF_C | OUT | 0.38288
distr_wonelc_won_MAR_003 | DEF_E | 0.60034 | 0.59233 | 0.57515 | 0.57582 | 0.49252 | 0.44415 | 0.58117 | 0.44309 | 0.23087 | 0.6493 | 0.53177 | 0.44629 | [28 empty] | distr_wonelc_won_MAR_003 | 0.142 | 0.15322 | 0.14224 | 0.13336 | 0.19755 | 0.16916 | 0.037328 | 0.058033 | 0.11645 | 0.05552 | 0.069621 | 0.076915 | distr_wonelc_won_MAR_014 | DEF_C | OUT | 0.28757
distr_wonelc_won_MAR_004 | DEF_E | 0.49891 | 0.49654 | 0.46457 | 0.43695 | 0.45973 | 0.31085 | 0.40411 | 0.50293 | 0.2319 | 0.47372 | 0.59773 | 0.33016 | [28 empty] | distr_wonelc_won_MAR_004 | 0.28132 | 0.30381 | 0.2828 | 0.21622 | 0.25466 | 0.31151 | 0.095544 | 0.06473 | 0.19443 | 0.089125 | 0.11476 | 0.14426 | distr_wonelc_won_MAR_015 | DEF_C | OUT | 0.35845
distr_wonelc_won_MAR_005 | DEF_E | 0.5284 | 0.53727 | 0.49409 | 0.50677 | 0.45788 | 0.32043 | 0.47103 | 0.46796 | 0.21394 | 0.54491 | 0.56479 | 0.3364 | [28 empty] | distr_wonelc_won_MAR_005 | 0.1845 | 0.20985 | 0.19897 | 0.14609 | 0.2228 | 0.2471 | 0.036383 | 0.061784 | 0.17952 | 0.04825 | 0.070635 | 0.10796 | distr_wonelc_won_MAR_016 | DEF_C | OUT | 0.50475
distr_wonelc_won_MAR_006 | DEF_E | 0.56686 | 0.58159 | 0.51968 | 0.52198 | 0.47749 | 0.34568 | 0.51589 | 0.50993 | 0.26215 | 0.58406 | 0.57841 | 0.36388 | [28 empty] | distr_wonelc_won_MAR_006 | 0.1855 | 0.20675 | 0.21681 | 0.18968 | 0.26996 | 0.31928 | 0.050236 | 0.060775 | 0.17775 | 0.079606 | 0.10537 | 0.13967 | distr_wonelc_won_MAR_017 | DEF_C | OUT | 0.25091
distr_wonelc_won_MAR_007 | DEF_E | 0.57345 | 0.53779 | 0.50751 | 0.44327 | 0.4522 | 0.35265 | 0.385 | 0.51704 | 0.34433 | 0.54683 | 0.5589 | 0.47069 | [28 empty] | distr_wonelc_won_MAR_007 | 0.18273 | 0.22183 | 0.21613 | 0.21429 | 0.25777 | 0.30067 | 0.078485 | 0.10594 | 0.15452 | 0.082913 | 0.154 | 0.16929 | distr_wonelc_won_MAR_018 | DEF_C | OUT | 0.36446
distr_wonelc_won_MAR_008 | DEF_E | 0.37193 | 0.40159 | 0.36168 | 0.40624 | 0.36391 | 0.35636 | 0.46167 | 0.37892 | 0.39889 | 0.47186 | 0.46066 | 0.40573 | [28 empty] | distr_wonelc_won_MAR_008 | 0.24391 | 0.25498 | 0.25618 | 0.172 | 0.21854 | 0.22717 | 0.097643 | 0.14907 | 0.15831 | 0.11001 | 0.13314 | 0.15342 | distr_wonelc_won_MAR_019 | DEF_C | OUT | 0.40297
distr_wonelc_won_MAR_009 | DEF_E | 0.39938 | 0.43787 | 0.40079 | 0.30163 | 0.40052 | 0.29243 | 0.27529 | 0.45591 | 0.28578 | 0.31989 | 0.49757 | 0.35218 | [28 empty] | distr_wonelc_won_MAR_009 | 0.34185 | 0.34458 | 0.36179 | 0.36999 | 0.31945 | 0.4267 | 0.29855 | 0.15324 | 0.27785 | 0.21452 | 0.20111 | 0.2675 | distr_wonelc_won_MAR_020 | DEF_C | OUT | 0.56263
distr_wonelc_won_MAR_010 | DEF_E | 0.4534 | 0.51949 | 0.42954 | 0.30852 | 0.39812 | 0.33918 | 0.3066 | 0.45022 | 0.40204 | 0.37054 | 0.47494 | 0.39781 | [28 empty] | distr_wonelc_won_MAR_010 | 0.22491 | 0.2408 | 0.27642 | 0.38173 | 0.29107 | 0.31386 | 0.30944 | 0.21551 | 0.21696 | 0.17953 | 0.17238 | 0.2406 | distr_wonelc_won_MAR_021 | DEF_C | OUT | 0.59521
distr_wonelc_won_MAR_011 | DEF_E | 0.59482 | 0.6053 | 0.4371 | 0.37681 | 0.49401 | 0.37164 | 0.35703 | 0.5004 | 0.43694 | 0.47568 | 0.58281 | 0.47966 | [28 empty] | distr_wonelc_won_MAR_011 | 0.082934 | 0.087199 | 0.14498 | 0.23747 | 0.15226 | 0.25218 | 0.20651 | 0.12658 | 0.20246 | 0.10333 | 0.11246 | 0.17315 | distr_wonelc_won_MAR_022 | DEF_C | OUT | 0.28417
distr_wonelc_won_MAR_012 | DEF_E | 0.37368 | 0.46843 | 0.39195 | 0.22971 | 0.38352 | 0.34061 | 0.27259 | 0.42485 | 0.40128 | 0.32445 | 0.46068 | 0.39209 | [28 empty] | distr_wonelc_won_MAR_012 | 0.24434 | 0.1783 | 0.23597 | 0.45036 | 0.27401 | 0.32914 | 0.38014 | 0.23322 | 0.26775 | 0.28017 | 0.20775 | 0.30921 | distr_wofelc_wof_MAR_001 | DEF_C | OUT | 0.55684
distr_wonelc_won_MAR_013 | DEF_E | 0.39566 | 0.4693 | 0.41253 | 0.27031 | 0.41431 | 0.35813 | 0.25821 | 0.39647 | 0.35317 | 0.33492 | 0.43928 | 0.34046 | [28 empty] | distr_wonelc_won_MAR_013 | 0.21146 | 0.16314 | 0.21312 | 0.37901 | 0.26317 | 0.38804 | 0.25437 | 0.19636 | 0.28944 | 0.20099 | 0.17892 | 0.26416 | distr_wofelc_wof_MAR_002 | DEF_C | OUT | 0.73046
distr_wonelc_won_MAR_014 | DEF_E | 0.57122 | 0.56617 | 0.3854 | 0.40603 | 0.47693 | 0.28357 | 0.42651 | 0.49637 | 0.37298 | 0.51628 | 0.53205 | 0.36967 | [28 empty] | distr_wonelc_won_MAR_014 | 0.045442 | 0.068961 | 0.11992 | 0.12306 | 0.15432 | 0.28795 | 0.078748 | 0.13668 | 0.22369 | 0.055365 | 0.12732 | 0.18271 | distr_wofelc_wof_MAR_003 | DEF_C | OUT | 0.55329
distr_wonelc_won_MAR_015 | DEF_E | 0.55549 | 0.55398 | 0.36864 | 0.37207 | 0.44087 | 0.25255 | 0.39599 | 0.47708 | 0.29919 | 0.45536 | 0.49081 | 0.28805 | [28 empty] | distr_wonelc_won_MAR_015 | 0.091918 | 0.096193 | 0.16147 | 0.23407 | 0.20983 | 0.38418 | 0.10828 | 0.1527 | 0.26717 | 0.077134 | 0.15015 | 0.21625 | distr_wofelc_wof_MAR_004 | DEF_C | OUT | 0.67805
distr_wonelc_won_MAR_016 | DEF_E | 0.33625 | 0.38003 | 0.2812 | 0.23782 | 0.26337 | 0.19754 | 0.27901 | 0.29026 | 0.23458 | 0.38908 | 0.37114 | 0.32335 | [28 empty] | distr_wonelc_won_MAR_016 | 0.32624 | 0.279 | 0.40603 | 0.39972 | 0.411 | 0.52913 | 0.35698 | 0.35582 | 0.48148 | 0.22279 | 0.23164 | 0.3368 | distr_wofelc_wof_MAR_005 | DEF_C | OUT | 0.46938
distr_wonelc_won_MAR_017 | DEF_E | 0.4481 | 0.51532 | 0.33276 | 0.37534 | 0.46142 | 0.23508 | 0.3993 | 0.46316 | 0.18746 | 0.44343 | 0.47985 | 0.23733 | [28 empty] | distr_wonelc_won_MAR_017 | 0.12187 | 0.10598 | 0.1849 | 0.18283 | 0.17319 | 0.28521 | 0.094604 | 0.081617 | 0.24303 | 0.074836 | 0.070936 | 0.18051 | distr_wofelc_wof_MAR_006 | DEF_C | OUT | 0.36909
distr_wonelc_won_MAR_018 | DEF_E | 0.38839 | 0.48682 | 0.28872 | 0.34821 | 0.42431 | 0.19669 | 0.36894 | 0.41029 | 0.18915 | 0.43255 | 0.45184 | 0.22144 | [28 empty] | distr_wonelc_won_MAR_018 | 0.17473 | 0.13081 | 0.26508 | 0.23973 | 0.22456 | 0.41705 | 0.15889 | 0.1408 | 0.34936 | 0.11065 | 0.092306 | 0.2477 | distr_wofelc_wof_MAR_007 | DEF_C | OUT | 0.48881
distr_wonelc_won_MAR_019 | DEF_E | 0.51867 | 0.48587 | 0.44431 | 0.37686 | 0.41434 | 0.32655 | 0.35335 | 0.37817 | 0.26527 | 0.46227 | 0.44797 | 0.32254 | [28 empty] | distr_wonelc_won_MAR_019 | 0.16368 | 0.18527 | 0.19211 | 0.29984 | 0.30145 | 0.41946 | 0.12128 | 0.13976 | 0.22998 | 0.095639 | 0.14038 | 0.17718 | distr_wofelc_wof_MAR_008 | DEF_C | OUT | 0.41746
distr_wonelc_won_MAR_020 | DEF_E | 0.37779 | 0.40059 | 0.35682 | 0.28852 | 0.32228 | 0.22666 | 0.28177 | 0.35503 | 0.22446 | 0.37217 | 0.4125 | 0.30172 | [28 empty] | distr_wonelc_won_MAR_020 | 0.35762 | 0.37092 | 0.38744 | 0.47959 | 0.47094 | 0.60542 | 0.31991 | 0.28761 | 0.47654 | 0.23726 | 0.22883 | 0.33708 | distr_wofelc_wof_MAR_009 | DEF_C | OUT | 0.43501
distr_wonelc_won_MAR_021 | DEF_E | 0.28759 | 0.34604 | 0.25939 | 0.26593 | 0.30487 | 0.17482 | 0.24252 | 0.26012 | 0.17238 | 0.33195 | 0.35541 | 0.2428 | [28 empty] | distr_wonelc_won_MAR_021 | 0.46651 | 0.45774 | 0.50172 | 0.45138 | 0.47005 | 0.60201 | 0.50873 | 0.49056 | 0.63921 | 0.2818 | 0.29817 | 0.40265 | distr_wofelc_wof_MAR_010 | DEF_C | OUT | 0.38284
distr_wonelc_won_MAR_022 | DEF_E | 0.4472 | 0.4483 | 0.33863 | 0.3658 | 0.3591 | 0.29054 | 0.33554 | 0.34162 | 0.22219 | 0.40571 | 0.38809 | 0.29184 | [28 empty] | distr_wonelc_won_MAR_022 | 0.11666 | 0.1323 | 0.17934 | 0.15716 | 0.21222 | 0.28481 | 0.1056 | 0.13846 | 0.22653 | 0.063559 | 0.095479 | 0.13694 | distr_wofelc_wof_MAR_011 | DEF_C | OUT | 0.46932

## load_shapes
~TFM_DINS-AT
g_yrfr | com_fr | timeslice | commodity
0.11427 | 0.16087 | FaD | elc_roadtransport
0.11427 | 0.052548 | FaN | elc_roadtransport
0.020776 | 0.035897 | FaP | elc_roadtransport
0.11553 | 0.16264 | RaD | elc_roadtransport
0.11553 | 0.053125 | RaN | elc_roadtransport
0.021005 | 0.036291 | RaP | elc_roadtransport
0.11553 | 0.16264 | SaD | elc_roadtransport
0.11553 | 0.053125 | SaN | elc_roadtransport
0.021005 | 0.036291 | SaP | elc_roadtransport
0.11301 | 0.1591 | WaD | elc_roadtransport
0.11301 | 0.05197 | WaN | elc_roadtransport
0.020548 | 0.035502 | WaP | elc_roadtransport

## demand
~TFM_DINS-AT
commodity | timeslice | com_fr
elc_buildings | FaD | 0.12354
elc_buildings | FaN | 0.10093
elc_buildings | FaP | 0.02549
elc_buildings | RaD | 0.12349
elc_buildings | RaN | 0.10281
elc_buildings | RaP | 0.025182
elc_buildings | SaD | 0.13206
elc_buildings | SaN | 0.10607
elc_buildings | SaP | 0.027195
elc_buildings | WaD | 0.11099
elc_buildings | WaN | 0.099218
elc_buildings | WaP | 0.023031
elc_industry | FaD | 0.11482
elc_industry | FaN | 0.11343
elc_industry | FaP | 0.021063
elc_industry | RaD | 0.11603
elc_industry | RaN | 0.11476
elc_industry | RaP | 0.021264
elc_industry | SaD | 0.1162
elc_industry | SaN | 0.11461
elc_industry | SaP | 0.021324
elc_industry | WaD | 0.11323
elc_industry | WaN | 0.1125
elc_industry | WaP | 0.020763

## peak_factors
~TFM_DINS-AT
commodity | timeslice | com_pkflx
ELC | FaD | 0.12227
ELC | FaN | 0.30016
ELC | FaP | 0.070587
ELC | RaD | 0.057527
ELC | RaN | 0.29463
ELC | RaP | 0.075749
ELC | SaD | 0.11126
ELC | SaN | 0.33236
ELC | SaP | 0.075391
ELC | WaD | 0.076255
ELC | WaN | 0.33034
ELC | WaP | 0.096852

## hydro_af
~TFM_INS-AT
Year | timeslice | ncap_afs | pset_ci
2020 | F | 0.083767 | hydro
2020 | R | 0.1313 | hydro
2020 | S | 0.13157 | hydro
2020 | W | 0.10543 | hydro
2021 | F | 0.083767 | hydro
2021 | R | 0.1279 | hydro
2021 | S | 0.13143 | hydro
2021 | W | 0.0812 | hydro
2022 | F | 0.045367 | hydro
2022 | R | 0.076133 | hydro
2022 | S | 0.058833 | hydro
2022 | W | 0.0573 | hydro
2025 | F | 0.14967 | hydro
2025 | R | 0.17773 | hydro
2025 | S | 0.1339 | hydro
2025 | W | 0.10077 | hydro
2026 | F | 0.094667 | hydro
2026 | R | 0.2216 | hydro
2026 | S | 0.1435 | hydro
2026 | W | 0.065867 | hydro
2027 | F | 0.1746 | hydro
2027 | R | 0.2257 | hydro
2027 | S | 0.18573 | hydro
2027 | W | 0.106 | hydro
2028 | F | 0.10883 | hydro
2028 | R | 0.14383 | hydro
2028 | S | 0.18907 | hydro
2028 | W | 0.17253 | hydro
2029 | F | 0.11347 | hydro
2029 | R | 0.2094 | hydro
2029 | S | 0.148 | hydro
2029 | W | 0.066367 | hydro
2030 | F | 0.093833 | hydro
2030 | R | 0.13817 | hydro
2030 | S | 0.16397 | hydro
2030 | W | 0.1236 | hydro
2031 | F | 0.1754 | hydro
2031 | R | 0.20243 | hydro
2031 | S | 0.1643 | hydro
2031 | W | 0.1251 | hydro
2032 | F | 0.15647 | hydro
2032 | R | 0.2103 | hydro
2032 | S | 0.1432 | hydro
2032 | W | 0.077033 | hydro
2033 | F | 0.1471 | hydro
2033 | R | 0.26093 | hydro
2033 | S | 0.22223 | hydro
2033 | W | 0.1614 | hydro
2034 | F | 0.11977 | hydro
2034 | R | 0.16393 | hydro
2034 | S | 0.17013 | hydro
2034 | W | 0.0939 | hydro
2035 | F | 0.18247 | hydro
2035 | R | 0.21407 | hydro
2035 | S | 0.20927 | hydro
2035 | W | 0.10167 | hydro
2036 | F | 0.10497 | hydro
2036 | R | 0.11413 | hydro
2036 | S | 0.1923 | hydro
2036 | W | 0.098633 | hydro
2037 | F | 0.11267 | hydro
2037 | R | 0.15517 | hydro
2037 | S | 0.16717 | hydro
2037 | W | 0.2047 | hydro
2038 | F | 0.17657 | hydro
2038 | R | 0.22307 | hydro
2038 | S | 0.111 | hydro
2038 | W | 0.17613 | hydro
2039 | F | 0.13287 | hydro
2039 | R | 0.25657 | hydro
2039 | S | 0.15493 | hydro
2039 | W | 0.13717 | hydro
2040 | F | 0.107 | hydro
2040 | R | 0.1264 | hydro
2040 | S | 0.2363 | hydro
2040 | W | 0.12663 | hydro
2041 | F | 0.1544 | hydro
2041 | R | 0.12173 | hydro
2041 | S | 0.16427 | hydro
2041 | W | 0.096133 | hydro
2042 | F | 0.0996 | hydro
2042 | R | 0.12663 | hydro
2042 | S | 0.12953 | hydro
2042 | W | 0.12373 | hydro
2043 | F | 0.13753 | hydro
2043 | R | 0.17203 | hydro
2043 | S | 0.17907 | hydro
2043 | W | 0.1399 | hydro
2044 | F | 0.14307 | hydro
2044 | R | 0.17523 | hydro
2044 | S | 0.2182 | hydro
2044 | W | 0.17153 | hydro
2045 | F | 0.17387 | hydro
2045 | R | 0.1833 | hydro
2045 | S | 0.2237 | hydro
2045 | W | 0.15603 | hydro
2046 | F | 0.073167 | hydro
2046 | R | 0.17347 | hydro
2046 | S | 0.20393 | hydro
2046 | W | 0.1798 | hydro
2047 | F | 0.0821 | hydro
2047 | R | 0.13007 | hydro
2047 | S | 0.13247 | hydro
2047 | W | 0.10553 | hydro
2048 | F | 0.111 | hydro
2048 | R | 0.14683 | hydro
2048 | S | 0.11127 | hydro
2048 | W | 0.079167 | hydro
2049 | F | 0.1891 | hydro
2049 | R | 0.2247 | hydro
2049 | S | 0.1579 | hydro
2049 | W | 0.098967 | hydro
2050 | F | 0.071 | hydro
2050 | R | 0.18567 | hydro
2050 | S | 0.10697 | hydro
2050 | W | 0.14103 | hydro