## ev_charging_uc
ts_annual | day_night | ts_annual
| D | AllSaAllH
| N | AllSaAllH
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
Not Required!
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | AllSaAllH | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | AllSaAllH | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1

## timeslice_def
~TimeSlices
ts_annual | season | weekly | daynite | wparent | dparent
| AllS | a | AllH | AllS | a

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_MAR_001 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_001 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MAR_001 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_002 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_002 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MAR_002 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_003 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_003 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MAR_003 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_004 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_004 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MAR_004 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_005 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_005 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MAR_005 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_006 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_006 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MAR_006 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_007 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_007 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MAR_007 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_008 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_008 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MAR_008 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_009 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_009 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MAR_009 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_010 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_010 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MAR_010 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_011 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_011 | AllSaAllH | 1 | IMPNRGZ | elc_wof_MAR_011 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_012 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_012 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_013 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_013 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_014 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_014 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_015 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_015 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_016 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_016 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_017 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_017 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_018 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_018 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_019 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_019 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_020 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_020 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_021 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_021 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_022 | AllSaAllH | 1 | IMPNRGZ | elc_won_MAR_022 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_023 | AllSaAllH | 1 | IMPNRGZ
elc_spv_MAR_024 | AllSaAllH | 1 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT |  |  | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_DINS-TSL: attribute=NCAP_PKCNT |  | ~TFM_DINS-AT
process | commodity | AllSaAllH | process | commodity | AllSaAllH | process | commodity | AllSaAllH | process | AllSaAllH | process | commodity | other_indexes | ncap_com
distr_solelc_spv_MAR_001 | DEF_E | 0.51721 | distr_sol* | ELC4H | 0.13496 | distr_sol* | ELC8H | 0.15517 | distr_solelc_spv_MAR_001 | 0.28136 | distr_solelc_spv_MAR_001 | DEF_C | OUT | 0.28136
distr_solelc_spv_MAR_002 | DEF_E | 0.52651 | distr_won* | ELC4H | 0.019162 | distr_won* | ELC8H | 0.027801 | distr_solelc_spv_MAR_002 | 0.24913 | distr_solelc_spv_MAR_002 | DEF_C | OUT | 0.24913
distr_solelc_spv_MAR_003 | DEF_E | 0.52935 | distr_wof* | ELC4H | 0.0061877 | distr_wof* | ELC8H | 0.012216 | distr_solelc_spv_MAR_003 | 0.24832 | distr_solelc_spv_MAR_003 | DEF_C | OUT | 0.24832
distr_solelc_spv_MAR_004 | DEF_E | 0.52384 | [6 empty] | distr_solelc_spv_MAR_004 | 0.26653 | distr_solelc_spv_MAR_004 | DEF_C | OUT | 0.26653
distr_solelc_spv_MAR_005 | DEF_E | 0.52519 | [6 empty] | distr_solelc_spv_MAR_005 | 0.26915 | distr_solelc_spv_MAR_005 | DEF_C | OUT | 0.26915
distr_solelc_spv_MAR_006 | DEF_E | 0.52248 | [6 empty] | distr_solelc_spv_MAR_006 | 0.27239 | distr_solelc_spv_MAR_006 | DEF_C | OUT | 0.27239
distr_solelc_spv_MAR_007 | DEF_E | 0.53255 | [6 empty] | distr_solelc_spv_MAR_007 | 0.25702 | distr_solelc_spv_MAR_007 | DEF_C | OUT | 0.25702
distr_solelc_spv_MAR_008 | DEF_E | 0.52809 | [6 empty] | distr_solelc_spv_MAR_008 | 0.25602 | distr_solelc_spv_MAR_008 | DEF_C | OUT | 0.25602
distr_solelc_spv_MAR_009 | DEF_E | 0.53099 | [6 empty] | distr_solelc_spv_MAR_009 | 0.24706 | distr_solelc_spv_MAR_009 | DEF_C | OUT | 0.24706
distr_solelc_spv_MAR_010 | DEF_E | 0.53054 | [6 empty] | distr_solelc_spv_MAR_010 | 0.24786 | distr_solelc_spv_MAR_010 | DEF_C | OUT | 0.24786
distr_solelc_spv_MAR_011 | DEF_E | 0.53507 | [6 empty] | distr_solelc_spv_MAR_011 | 0.23637 | distr_solelc_spv_MAR_011 | DEF_C | OUT | 0.23637
distr_solelc_spv_MAR_012 | DEF_E | 0.53478 | [6 empty] | distr_solelc_spv_MAR_012 | 0.23602 | distr_solelc_spv_MAR_012 | DEF_C | OUT | 0.23602
distr_solelc_spv_MAR_013 | DEF_E | 0.53035 | [6 empty] | distr_solelc_spv_MAR_013 | 0.24847 | distr_solelc_spv_MAR_013 | DEF_C | OUT | 0.24847
distr_solelc_spv_MAR_014 | DEF_E | 0.53169 | [6 empty] | distr_solelc_spv_MAR_014 | 0.24523 | distr_solelc_spv_MAR_014 | DEF_C | OUT | 0.24523
distr_solelc_spv_MAR_015 | DEF_E | 0.51593 | [6 empty] | distr_solelc_spv_MAR_015 | 0.28204 | distr_solelc_spv_MAR_015 | DEF_C | OUT | 0.28204
distr_solelc_spv_MAR_016 | DEF_E | 0.51871 | [6 empty] | distr_solelc_spv_MAR_016 | 0.281 | distr_solelc_spv_MAR_016 | DEF_C | OUT | 0.281
distr_solelc_spv_MAR_017 | DEF_E | 0.51943 | [6 empty] | distr_solelc_spv_MAR_017 | 0.28355 | distr_solelc_spv_MAR_017 | DEF_C | OUT | 0.28355
distr_solelc_spv_MAR_018 | DEF_E | 0.52899 | [6 empty] | distr_solelc_spv_MAR_018 | 0.2557 | distr_solelc_spv_MAR_018 | DEF_C | OUT | 0.2557
distr_solelc_spv_MAR_019 | DEF_E | 0.52282 | [6 empty] | distr_solelc_spv_MAR_019 | 0.26399 | distr_solelc_spv_MAR_019 | DEF_C | OUT | 0.26399
distr_solelc_spv_MAR_020 | DEF_E | 0.52409 | [6 empty] | distr_solelc_spv_MAR_020 | 0.27328 | distr_solelc_spv_MAR_020 | DEF_C | OUT | 0.27328
distr_solelc_spv_MAR_021 | DEF_E | 0.52205 | [6 empty] | distr_solelc_spv_MAR_021 | 0.26699 | distr_solelc_spv_MAR_021 | DEF_C | OUT | 0.26699
distr_solelc_spv_MAR_022 | DEF_E | 0.51744 | [6 empty] | distr_solelc_spv_MAR_022 | 0.28185 | distr_solelc_spv_MAR_022 | DEF_C | OUT | 0.28185
distr_solelc_spv_MAR_023 | DEF_E | 0.52103 | [6 empty] | distr_solelc_spv_MAR_023 | 0.2646 | distr_solelc_spv_MAR_023 | DEF_C | OUT | 0.2646
distr_solelc_spv_MAR_024 | DEF_E | 0.52115 | [6 empty] | distr_solelc_spv_MAR_024 | 0.27471 | distr_solelc_spv_MAR_024 | DEF_C | OUT | 0.27471
distr_wofelc_wof_MAR_001 | DEF_E | 0.37251 | [6 empty] | distr_wofelc_wof_MAR_001 | 0.35865 | distr_wonelc_won_MAR_001 | DEF_C | OUT | 0.17359
distr_wofelc_wof_MAR_002 | DEF_E | 0.3113 | [6 empty] | distr_wofelc_wof_MAR_002 | 0.52146 | distr_wonelc_won_MAR_002 | DEF_C | OUT | 0.09773
distr_wofelc_wof_MAR_003 | DEF_E | 0.32543 | [6 empty] | distr_wofelc_wof_MAR_003 | 0.4065 | distr_wonelc_won_MAR_003 | DEF_C | OUT | 0.10743
distr_wofelc_wof_MAR_004 | DEF_E | 0.37665 | [6 empty] | distr_wofelc_wof_MAR_004 | 0.39734 | distr_wonelc_won_MAR_004 | DEF_C | OUT | 0.18177
distr_wofelc_wof_MAR_005 | DEF_E | 0.35585 | [6 empty] | distr_wofelc_wof_MAR_005 | 0.35734 | distr_wonelc_won_MAR_005 | DEF_C | OUT | 0.1274
distr_wofelc_wof_MAR_006 | DEF_E | 0.43161 | [6 empty] | distr_wofelc_wof_MAR_006 | 0.23655 | distr_wonelc_won_MAR_006 | DEF_C | OUT | 0.14919
distr_wofelc_wof_MAR_007 | DEF_E | 0.44182 | [6 empty] | distr_wofelc_wof_MAR_007 | 0.3454 | distr_wonelc_won_MAR_007 | DEF_C | OUT | 0.16615
distr_wofelc_wof_MAR_008 | DEF_E | 0.41591 | [6 empty] | distr_wofelc_wof_MAR_008 | 0.29272 | distr_wonelc_won_MAR_008 | DEF_C | OUT | 0.17433
distr_wofelc_wof_MAR_009 | DEF_E | 0.42687 | [6 empty] | distr_wofelc_wof_MAR_009 | 0.34544 | distr_wonelc_won_MAR_009 | DEF_C | OUT | 0.2847
distr_wofelc_wof_MAR_010 | DEF_E | 0.43006 | [6 empty] | distr_wofelc_wof_MAR_010 | 0.23889 | distr_wonelc_won_MAR_010 | DEF_C | OUT | 0.25304
distr_wofelc_wof_MAR_011 | DEF_E | 0.38456 | [6 empty] | distr_wofelc_wof_MAR_011 | 0.30024 | distr_wonelc_won_MAR_011 | DEF_C | OUT | 0.14352
distr_wonelc_won_MAR_001 | DEF_E | 0.47244 | [6 empty] | distr_wonelc_won_MAR_001 | 0.17359 | distr_wonelc_won_MAR_012 | DEF_C | OUT | 0.28187
distr_wonelc_won_MAR_002 | DEF_E | 0.54534 | [6 empty] | distr_wonelc_won_MAR_002 | 0.09773 | distr_wonelc_won_MAR_013 | DEF_C | OUT | 0.2361
distr_wonelc_won_MAR_003 | DEF_E | 0.57143 | [6 empty] | distr_wonelc_won_MAR_003 | 0.10743 | distr_wonelc_won_MAR_014 | DEF_C | OUT | 0.10774
distr_wonelc_won_MAR_004 | DEF_E | 0.51201 | [6 empty] | distr_wonelc_won_MAR_004 | 0.18177 | distr_wonelc_won_MAR_015 | DEF_C | OUT | 0.15015
distr_wonelc_won_MAR_005 | DEF_E | 0.54449 | [6 empty] | distr_wonelc_won_MAR_005 | 0.1274 | distr_wonelc_won_MAR_016 | DEF_C | OUT | 0.3329
distr_wonelc_won_MAR_006 | DEF_E | 0.56132 | [6 empty] | distr_wonelc_won_MAR_006 | 0.14919 | distr_wonelc_won_MAR_017 | DEF_C | OUT | 0.12254
distr_wonelc_won_MAR_007 | DEF_E | 0.52217 | [6 empty] | distr_wonelc_won_MAR_007 | 0.16615 | distr_wonelc_won_MAR_018 | DEF_C | OUT | 0.17267
distr_wonelc_won_MAR_008 | DEF_E | 0.42207 | [6 empty] | distr_wonelc_won_MAR_008 | 0.17433 | distr_wonelc_won_MAR_019 | DEF_C | OUT | 0.1873
distr_wonelc_won_MAR_009 | DEF_E | 0.39539 | [6 empty] | distr_wonelc_won_MAR_009 | 0.2847 | distr_wonelc_won_MAR_020 | DEF_C | OUT | 0.35328
distr_wonelc_won_MAR_010 | DEF_E | 0.41497 | [6 empty] | distr_wonelc_won_MAR_010 | 0.25304 | distr_wonelc_won_MAR_021 | DEF_C | OUT | 0.43736
distr_wonelc_won_MAR_011 | DEF_E | 0.49849 | [6 empty] | distr_wonelc_won_MAR_011 | 0.14352 | distr_wonelc_won_MAR_022 | DEF_C | OUT | 0.13445
distr_wonelc_won_MAR_012 | DEF_E | 0.37499 | [6 empty] | distr_wonelc_won_MAR_012 | 0.28187 | distr_wofelc_wof_MAR_001 | DEF_C | OUT | 0.35865
distr_wonelc_won_MAR_013 | DEF_E | 0.37681 | [6 empty] | distr_wonelc_won_MAR_013 | 0.2361 | distr_wofelc_wof_MAR_002 | DEF_C | OUT | 0.52146
distr_wonelc_won_MAR_014 | DEF_E | 0.501 | [6 empty] | distr_wonelc_won_MAR_014 | 0.10774 | distr_wofelc_wof_MAR_003 | DEF_C | OUT | 0.4065
distr_wonelc_won_MAR_015 | DEF_E | 0.46655 | [6 empty] | distr_wonelc_won_MAR_015 | 0.15015 | distr_wofelc_wof_MAR_004 | DEF_C | OUT | 0.39734
distr_wonelc_won_MAR_016 | DEF_E | 0.32062 | [6 empty] | distr_wonelc_won_MAR_016 | 0.3329 | distr_wofelc_wof_MAR_005 | DEF_C | OUT | 0.35734
distr_wonelc_won_MAR_017 | DEF_E | 0.44501 | [6 empty] | distr_wonelc_won_MAR_017 | 0.12254 | distr_wofelc_wof_MAR_006 | DEF_C | OUT | 0.23655
distr_wonelc_won_MAR_018 | DEF_E | 0.41086 | [6 empty] | distr_wonelc_won_MAR_018 | 0.17267 | distr_wofelc_wof_MAR_007 | DEF_C | OUT | 0.3454
distr_wonelc_won_MAR_019 | DEF_E | 0.44866 | [6 empty] | distr_wonelc_won_MAR_019 | 0.1873 | distr_wofelc_wof_MAR_008 | DEF_C | OUT | 0.29272
distr_wonelc_won_MAR_020 | DEF_E | 0.35831 | [6 empty] | distr_wonelc_won_MAR_020 | 0.35328 | distr_wofelc_wof_MAR_009 | DEF_C | OUT | 0.34544
distr_wonelc_won_MAR_021 | DEF_E | 0.3015 | [6 empty] | distr_wonelc_won_MAR_021 | 0.43736 | distr_wofelc_wof_MAR_010 | DEF_C | OUT | 0.23889
distr_wonelc_won_MAR_022 | DEF_E | 0.39652 | [6 empty] | distr_wonelc_won_MAR_022 | 0.13445 | distr_wofelc_wof_MAR_011 | DEF_C | OUT | 0.30024

## load_shapes
~TFM_DINS-AT
g_yrfr | com_fr | timeslice | commodity
1 | 1 | AllSaAllH | elc_roadtransport

## demand
~TFM_DINS-AT
commodity | timeslice | com_fr
elc_buildings | AllSaAllH | 1
elc_industry | AllSaAllH | 1

## peak_factors
~TFM_DINS-AT
commodity | timeslice | com_pkflx
ELC | AllSaAllH | 0.26913

## hydro_af
~TFM_INS-AT
Year | timeslice | ncap_afs | pset_ci
2020 | AllS | 0.11302 | hydro
2021 | AllS | 0.10607 | hydro
2022 | AllS | 0.059408 | hydro
2025 | AllS | 0.14052 | hydro
2026 | AllS | 0.13141 | hydro
2027 | AllS | 0.17301 | hydro
2028 | AllS | 0.15357 | hydro
2029 | AllS | 0.13431 | hydro
2030 | AllS | 0.12989 | hydro
2031 | AllS | 0.16681 | hydro
2032 | AllS | 0.14675 | hydro
2033 | AllS | 0.19792 | hydro
2034 | AllS | 0.13693 | hydro
2035 | AllS | 0.17687 | hydro
2036 | AllS | 0.12751 | hydro
2037 | AllS | 0.15993 | hydro
2038 | AllS | 0.17169 | hydro
2039 | AllS | 0.17038 | hydro
2040 | AllS | 0.14908 | hydro
2041 | AllS | 0.13413 | hydro
2042 | AllS | 0.11988 | hydro
2043 | AllS | 0.15713 | hydro
2044 | AllS | 0.17701 | hydro
2045 | AllS | 0.18422 | hydro
2046 | AllS | 0.15759 | hydro
2047 | AllS | 0.11254 | hydro
2048 | AllS | 0.11207 | hydro
2049 | AllS | 0.16767 | hydro
2050 | AllS | 0.12617 | hydro