## ev_charging_uc
ts_24c | day_night | ts_24c
| D | S03aH05,S01aH04,S03aH04,S02aH04,S02aH05,S04aH03,S01aH03,S03aH03,S04aH02,S03aH02,S01aH02,S04aH04,S02aH02,S02aH03,S01aH05,S04aH05
| N | S02aH06,S02aH01,S03aH06,S03aH01,S01aH01,S04aH01,S04aH06,S01aH06
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
~UC_T: LO
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | S02aH06,S02aH01,S03aH06,S03aH01,S01aH01,S04aH01,S04aH06,S01aH06 | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | S03aH05,S01aH04,S03aH04,S02aH04,S02aH05,S04aH03,S01aH03,S03aH03,S04aH02,S03aH02,S01aH02,S04aH04,S02aH02,S02aH03,S01aH05,S04aH05 | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1

## timeslice_def
~TimeSlices
ts_24c | season | weekly | daynite | wparent | dparent
| S01 | a | H01 | S01,S02,S03,S04 | a
| S02 |  | H02 |  | a
| S03 |  | H03 |  | a
| S04 |  | H04 |  | a
|  |  | H05 |  | a
|  |  | H06 |  | a

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_CHE_001 | S01aH01 | 0 | IMPNRGZ | elc_won_CHE_001 | S01aH01 | 0.10873 | IMPNRGZ | elc_wof_CHE_001 | S01aH01 | 0.10873 | IMPNRGZ
elc_spv_CHE_001 | S01aH02 | 0.0137 | IMPNRGZ | elc_won_CHE_001 | S01aH02 | 0.051088 | IMPNRGZ | elc_wof_CHE_001 | S01aH02 | 0.051088 | IMPNRGZ
elc_spv_CHE_001 | S01aH03 | 0.066934 | IMPNRGZ | elc_won_CHE_001 | S01aH03 | 0.031125 | IMPNRGZ | elc_wof_CHE_001 | S01aH03 | 0.031125 | IMPNRGZ
elc_spv_CHE_001 | S01aH04 | 0.065859 | IMPNRGZ | elc_won_CHE_001 | S01aH04 | 0.031467 | IMPNRGZ | elc_wof_CHE_001 | S01aH04 | 0.031467 | IMPNRGZ
elc_spv_CHE_001 | S01aH05 | 0.030346 | IMPNRGZ | elc_won_CHE_001 | S01aH05 | 0.040319 | IMPNRGZ | elc_wof_CHE_001 | S01aH05 | 0.040319 | IMPNRGZ
elc_spv_CHE_001 | S01aH06 | 0 | IMPNRGZ | elc_won_CHE_001 | S01aH06 | 0.045627 | IMPNRGZ | elc_wof_CHE_001 | S01aH06 | 0.045627 | IMPNRGZ
elc_spv_CHE_001 | S02aH01 | 0 | IMPNRGZ | elc_won_CHE_001 | S02aH01 | 0.064664 | IMPNRGZ | elc_wof_CHE_001 | S02aH01 | 0.064664 | IMPNRGZ
elc_spv_CHE_001 | S02aH02 | 0.05125 | IMPNRGZ | elc_won_CHE_001 | S02aH02 | 0.02827 | IMPNRGZ | elc_wof_CHE_001 | S02aH02 | 0.02827 | IMPNRGZ
elc_spv_CHE_001 | S02aH03 | 0.088814 | IMPNRGZ | elc_won_CHE_001 | S02aH03 | 0.020742 | IMPNRGZ | elc_wof_CHE_001 | S02aH03 | 0.020742 | IMPNRGZ
elc_spv_CHE_001 | S02aH04 | 0.080369 | IMPNRGZ | elc_won_CHE_001 | S02aH04 | 0.028304 | IMPNRGZ | elc_wof_CHE_001 | S02aH04 | 0.028304 | IMPNRGZ
elc_spv_CHE_001 | S02aH05 | 0.053458 | IMPNRGZ | elc_won_CHE_001 | S02aH05 | 0.028762 | IMPNRGZ | elc_wof_CHE_001 | S02aH05 | 0.028762 | IMPNRGZ
elc_spv_CHE_001 | S02aH06 | 0.0070848 | IMPNRGZ | elc_won_CHE_001 | S02aH06 | 0.026469 | IMPNRGZ | elc_wof_CHE_001 | S02aH06 | 0.026469 | IMPNRGZ
elc_spv_CHE_001 | S03aH01 | 0 | IMPNRGZ | elc_won_CHE_001 | S03aH01 | 0.044903 | IMPNRGZ | elc_wof_CHE_001 | S03aH01 | 0.044903 | IMPNRGZ
elc_spv_CHE_001 | S03aH02 | 0.074559 | IMPNRGZ | elc_won_CHE_001 | S03aH02 | 0.014978 | IMPNRGZ | elc_wof_CHE_001 | S03aH02 | 0.014978 | IMPNRGZ
elc_spv_CHE_001 | S03aH03 | 0.10046 | IMPNRGZ | elc_won_CHE_001 | S03aH03 | 0.010756 | IMPNRGZ | elc_wof_CHE_001 | S03aH03 | 0.010756 | IMPNRGZ
elc_spv_CHE_001 | S03aH04 | 0.093422 | IMPNRGZ | elc_won_CHE_001 | S03aH04 | 0.016936 | IMPNRGZ | elc_wof_CHE_001 | S03aH04 | 0.016936 | IMPNRGZ
elc_spv_CHE_001 | S03aH05 | 0.066108 | IMPNRGZ | elc_won_CHE_001 | S03aH05 | 0.020858 | IMPNRGZ | elc_wof_CHE_001 | S03aH05 | 0.020858 | IMPNRGZ
elc_spv_CHE_001 | S03aH06 | 0.016803 | IMPNRGZ | elc_won_CHE_001 | S03aH06 | 0.018354 | IMPNRGZ | elc_wof_CHE_001 | S03aH06 | 0.018354 | IMPNRGZ
elc_spv_CHE_001 | S04aH01 | 0 | IMPNRGZ | elc_won_CHE_001 | S04aH01 | 0.11625 | IMPNRGZ | elc_wof_CHE_001 | S04aH01 | 0.11625 | IMPNRGZ
elc_spv_CHE_001 | S04aH02 | 0.0266 | IMPNRGZ | elc_won_CHE_001 | S04aH02 | 0.06628 | IMPNRGZ | elc_wof_CHE_001 | S04aH02 | 0.06628 | IMPNRGZ
elc_spv_CHE_001 | S04aH03 | 0.065696 | IMPNRGZ | elc_won_CHE_001 | S04aH03 | 0.046045 | IMPNRGZ | elc_wof_CHE_001 | S04aH03 | 0.046045 | IMPNRGZ
elc_spv_CHE_001 | S04aH04 | 0.063779 | IMPNRGZ | elc_won_CHE_001 | S04aH04 | 0.050256 | IMPNRGZ | elc_wof_CHE_001 | S04aH04 | 0.050256 | IMPNRGZ
elc_spv_CHE_001 | S04aH05 | 0.033566 | IMPNRGZ | elc_won_CHE_001 | S04aH05 | 0.044931 | IMPNRGZ | elc_wof_CHE_001 | S04aH05 | 0.044931 | IMPNRGZ
elc_spv_CHE_001 | S04aH06 | 0.0011948 | IMPNRGZ | elc_won_CHE_001 | S04aH06 | 0.043891 | IMPNRGZ | elc_wof_CHE_001 | S04aH06 | 0.043891 | IMPNRGZ
elc_spv_CHE_002 | S01aH01 | 0 | IMPNRGZ | elc_won_CHE_002 | S01aH01 | 0.11738 | IMPNRGZ | elc_wof_CHE_002 | S01aH01 | 0.11738 | IMPNRGZ
elc_spv_CHE_002 | S01aH02 | 0.011896 | IMPNRGZ | elc_won_CHE_002 | S01aH02 | 0.054552 | IMPNRGZ | elc_wof_CHE_002 | S01aH02 | 0.054552 | IMPNRGZ
elc_spv_CHE_002 | S01aH03 | 0.063315 | IMPNRGZ | elc_won_CHE_002 | S01aH03 | 0.034724 | IMPNRGZ | elc_wof_CHE_002 | S01aH03 | 0.034724 | IMPNRGZ
elc_spv_CHE_002 | S01aH04 | 0.06573 | IMPNRGZ | elc_won_CHE_002 | S01aH04 | 0.033985 | IMPNRGZ | elc_wof_CHE_002 | S01aH04 | 0.033985 | IMPNRGZ
elc_spv_CHE_002 | S01aH05 | 0.032124 | IMPNRGZ | elc_won_CHE_002 | S01aH05 | 0.040411 | IMPNRGZ | elc_wof_CHE_002 | S01aH05 | 0.040411 | IMPNRGZ
elc_spv_CHE_002 | S01aH06 | 0 | IMPNRGZ | elc_won_CHE_002 | S01aH06 | 0.046647 | IMPNRGZ | elc_wof_CHE_002 | S01aH06 | 0.046647 | IMPNRGZ
elc_spv_CHE_002 | S02aH01 | 0 | IMPNRGZ | elc_won_CHE_002 | S02aH01 | 0.070859 | IMPNRGZ | elc_wof_CHE_002 | S02aH01 | 0.070859 | IMPNRGZ
elc_spv_CHE_002 | S02aH02 | 0.047629 | IMPNRGZ | elc_won_CHE_002 | S02aH02 | 0.033102 | IMPNRGZ | elc_wof_CHE_002 | S02aH02 | 0.033102 | IMPNRGZ
elc_spv_CHE_002 | S02aH03 | 0.086739 | IMPNRGZ | elc_won_CHE_002 | S02aH03 | 0.020514 | IMPNRGZ | elc_wof_CHE_002 | S02aH03 | 0.020514 | IMPNRGZ
elc_spv_CHE_002 | S02aH04 | 0.084649 | IMPNRGZ | elc_won_CHE_002 | S02aH04 | 0.024528 | IMPNRGZ | elc_wof_CHE_002 | S02aH04 | 0.024528 | IMPNRGZ
elc_spv_CHE_002 | S02aH05 | 0.060318 | IMPNRGZ | elc_won_CHE_002 | S02aH05 | 0.024197 | IMPNRGZ | elc_wof_CHE_002 | S02aH05 | 0.024197 | IMPNRGZ
elc_spv_CHE_002 | S02aH06 | 0.008578 | IMPNRGZ | elc_won_CHE_002 | S02aH06 | 0.02599 | IMPNRGZ | elc_wof_CHE_002 | S02aH06 | 0.02599 | IMPNRGZ
elc_spv_CHE_002 | S03aH01 | 0 | IMPNRGZ | elc_won_CHE_002 | S03aH01 | 0.048445 | IMPNRGZ | elc_wof_CHE_002 | S03aH01 | 0.048445 | IMPNRGZ
elc_spv_CHE_002 | S03aH02 | 0.067812 | IMPNRGZ | elc_won_CHE_002 | S03aH02 | 0.017409 | IMPNRGZ | elc_wof_CHE_002 | S03aH02 | 0.017409 | IMPNRGZ
elc_spv_CHE_002 | S03aH03 | 0.10036 | IMPNRGZ | elc_won_CHE_002 | S03aH03 | 0.011335 | IMPNRGZ | elc_wof_CHE_002 | S03aH03 | 0.011335 | IMPNRGZ
elc_spv_CHE_002 | S03aH04 | 0.097628 | IMPNRGZ | elc_won_CHE_002 | S03aH04 | 0.014786 | IMPNRGZ | elc_wof_CHE_002 | S03aH04 | 0.014786 | IMPNRGZ
elc_spv_CHE_002 | S03aH05 | 0.072201 | IMPNRGZ | elc_won_CHE_002 | S03aH05 | 0.018449 | IMPNRGZ | elc_wof_CHE_002 | S03aH05 | 0.018449 | IMPNRGZ
elc_spv_CHE_002 | S03aH06 | 0.018606 | IMPNRGZ | elc_won_CHE_002 | S03aH06 | 0.017719 | IMPNRGZ | elc_wof_CHE_002 | S03aH06 | 0.017719 | IMPNRGZ
elc_spv_CHE_002 | S04aH01 | 0 | IMPNRGZ | elc_won_CHE_002 | S04aH01 | 0.12156 | IMPNRGZ | elc_wof_CHE_002 | S04aH01 | 0.12156 | IMPNRGZ
elc_spv_CHE_002 | S04aH02 | 0.023092 | IMPNRGZ | elc_won_CHE_002 | S04aH02 | 0.059122 | IMPNRGZ | elc_wof_CHE_002 | S04aH02 | 0.059122 | IMPNRGZ
elc_spv_CHE_002 | S04aH03 | 0.060773 | IMPNRGZ | elc_won_CHE_002 | S04aH03 | 0.039919 | IMPNRGZ | elc_wof_CHE_002 | S04aH03 | 0.039919 | IMPNRGZ
elc_spv_CHE_002 | S04aH04 | 0.062004 | IMPNRGZ | elc_won_CHE_002 | S04aH04 | 0.041731 | IMPNRGZ | elc_wof_CHE_002 | S04aH04 | 0.041731 | IMPNRGZ
elc_spv_CHE_002 | S04aH05 | 0.035107 | IMPNRGZ | elc_won_CHE_002 | S04aH05 | 0.040555 | IMPNRGZ | elc_wof_CHE_002 | S04aH05 | 0.040555 | IMPNRGZ
elc_spv_CHE_002 | S04aH06 | 0.001436 | IMPNRGZ | elc_won_CHE_002 | S04aH06 | 0.042081 | IMPNRGZ | elc_wof_CHE_002 | S04aH06 | 0.042081 | IMPNRGZ
elc_spv_CHE_003 | S01aH01 | 0 | IMPNRGZ | elc_won_CHE_003 | S01aH01 | 0.11293 | IMPNRGZ | elc_wof_CHE_003 | S01aH01 | 0.11293 | IMPNRGZ
elc_spv_CHE_003 | S01aH02 | 0.012294 | IMPNRGZ | elc_won_CHE_003 | S01aH02 | 0.053272 | IMPNRGZ | elc_wof_CHE_003 | S01aH02 | 0.053272 | IMPNRGZ
elc_spv_CHE_003 | S01aH03 | 0.065796 | IMPNRGZ | elc_won_CHE_003 | S01aH03 | 0.0339 | IMPNRGZ | elc_wof_CHE_003 | S01aH03 | 0.0339 | IMPNRGZ
elc_spv_CHE_003 | S01aH04 | 0.06652 | IMPNRGZ | elc_won_CHE_003 | S01aH04 | 0.035364 | IMPNRGZ | elc_wof_CHE_003 | S01aH04 | 0.035364 | IMPNRGZ
elc_spv_CHE_003 | S01aH05 | 0.028848 | IMPNRGZ | elc_won_CHE_003 | S01aH05 | 0.040762 | IMPNRGZ | elc_wof_CHE_003 | S01aH05 | 0.040762 | IMPNRGZ
elc_spv_CHE_003 | S01aH06 | 0 | IMPNRGZ | elc_won_CHE_003 | S01aH06 | 0.045444 | IMPNRGZ | elc_wof_CHE_003 | S01aH06 | 0.045444 | IMPNRGZ
elc_spv_CHE_003 | S02aH01 | 0 | IMPNRGZ | elc_won_CHE_003 | S02aH01 | 0.063981 | IMPNRGZ | elc_wof_CHE_003 | S02aH01 | 0.063981 | IMPNRGZ
elc_spv_CHE_003 | S02aH02 | 0.049912 | IMPNRGZ | elc_won_CHE_003 | S02aH02 | 0.028868 | IMPNRGZ | elc_wof_CHE_003 | S02aH02 | 0.028868 | IMPNRGZ
elc_spv_CHE_003 | S02aH03 | 0.097094 | IMPNRGZ | elc_won_CHE_003 | S02aH03 | 0.021179 | IMPNRGZ | elc_wof_CHE_003 | S02aH03 | 0.021179 | IMPNRGZ
elc_spv_CHE_003 | S02aH04 | 0.089385 | IMPNRGZ | elc_won_CHE_003 | S02aH04 | 0.029206 | IMPNRGZ | elc_wof_CHE_003 | S02aH04 | 0.029206 | IMPNRGZ
elc_spv_CHE_003 | S02aH05 | 0.059353 | IMPNRGZ | elc_won_CHE_003 | S02aH05 | 0.028449 | IMPNRGZ | elc_wof_CHE_003 | S02aH05 | 0.028449 | IMPNRGZ
elc_spv_CHE_003 | S02aH06 | 0.0074263 | IMPNRGZ | elc_won_CHE_003 | S02aH06 | 0.025889 | IMPNRGZ | elc_wof_CHE_003 | S02aH06 | 0.025889 | IMPNRGZ
elc_spv_CHE_003 | S03aH01 | 0 | IMPNRGZ | elc_won_CHE_003 | S03aH01 | 0.039804 | IMPNRGZ | elc_wof_CHE_003 | S03aH01 | 0.039804 | IMPNRGZ
elc_spv_CHE_003 | S03aH02 | 0.066144 | IMPNRGZ | elc_won_CHE_003 | S03aH02 | 0.015285 | IMPNRGZ | elc_wof_CHE_003 | S03aH02 | 0.015285 | IMPNRGZ
elc_spv_CHE_003 | S03aH03 | 0.096215 | IMPNRGZ | elc_won_CHE_003 | S03aH03 | 0.012472 | IMPNRGZ | elc_wof_CHE_003 | S03aH03 | 0.012472 | IMPNRGZ
elc_spv_CHE_003 | S03aH04 | 0.087737 | IMPNRGZ | elc_won_CHE_003 | S03aH04 | 0.018603 | IMPNRGZ | elc_wof_CHE_003 | S03aH04 | 0.018603 | IMPNRGZ
elc_spv_CHE_003 | S03aH05 | 0.060744 | IMPNRGZ | elc_won_CHE_003 | S03aH05 | 0.020313 | IMPNRGZ | elc_wof_CHE_003 | S03aH05 | 0.020313 | IMPNRGZ
elc_spv_CHE_003 | S03aH06 | 0.01559 | IMPNRGZ | elc_won_CHE_003 | S03aH06 | 0.016937 | IMPNRGZ | elc_wof_CHE_003 | S03aH06 | 0.016937 | IMPNRGZ
elc_spv_CHE_003 | S04aH01 | 0 | IMPNRGZ | elc_won_CHE_003 | S04aH01 | 0.11448 | IMPNRGZ | elc_wof_CHE_003 | S04aH01 | 0.11448 | IMPNRGZ
elc_spv_CHE_003 | S04aH02 | 0.024385 | IMPNRGZ | elc_won_CHE_003 | S04aH02 | 0.06044 | IMPNRGZ | elc_wof_CHE_003 | S04aH02 | 0.06044 | IMPNRGZ
elc_spv_CHE_003 | S04aH03 | 0.068288 | IMPNRGZ | elc_won_CHE_003 | S04aH03 | 0.044268 | IMPNRGZ | elc_wof_CHE_003 | S04aH03 | 0.044268 | IMPNRGZ
elc_spv_CHE_003 | S04aH04 | 0.068394 | IMPNRGZ | elc_won_CHE_003 | S04aH04 | 0.049242 | IMPNRGZ | elc_wof_CHE_003 | S04aH04 | 0.049242 | IMPNRGZ
elc_spv_CHE_003 | S04aH05 | 0.034836 | IMPNRGZ | elc_won_CHE_003 | S04aH05 | 0.046879 | IMPNRGZ | elc_wof_CHE_003 | S04aH05 | 0.046879 | IMPNRGZ
elc_spv_CHE_003 | S04aH06 | 0.0010392 | IMPNRGZ | elc_won_CHE_003 | S04aH06 | 0.042039 | IMPNRGZ | elc_wof_CHE_003 | S04aH06 | 0.042039 | IMPNRGZ
elc_spv_CHE_004 | S01aH01 | 0 | IMPNRGZ | elc_won_CHE_004 | S01aH01 | 0.10738 | IMPNRGZ | elc_wof_CHE_004 | S01aH01 | 0.10738 | IMPNRGZ
elc_spv_CHE_004 | S01aH02 | 0.011576 | IMPNRGZ | elc_won_CHE_004 | S01aH02 | 0.052614 | IMPNRGZ | elc_wof_CHE_004 | S01aH02 | 0.052614 | IMPNRGZ
elc_spv_CHE_004 | S01aH03 | 0.062576 | IMPNRGZ | elc_won_CHE_004 | S01aH03 | 0.035206 | IMPNRGZ | elc_wof_CHE_004 | S01aH03 | 0.035206 | IMPNRGZ
elc_spv_CHE_004 | S01aH04 | 0.065246 | IMPNRGZ | elc_won_CHE_004 | S01aH04 | 0.035725 | IMPNRGZ | elc_wof_CHE_004 | S01aH04 | 0.035725 | IMPNRGZ
elc_spv_CHE_004 | S01aH05 | 0.026783 | IMPNRGZ | elc_won_CHE_004 | S01aH05 | 0.037798 | IMPNRGZ | elc_wof_CHE_004 | S01aH05 | 0.037798 | IMPNRGZ
elc_spv_CHE_004 | S01aH06 | 0 | IMPNRGZ | elc_won_CHE_004 | S01aH06 | 0.045211 | IMPNRGZ | elc_wof_CHE_004 | S01aH06 | 0.045211 | IMPNRGZ
elc_spv_CHE_004 | S02aH01 | 0 | IMPNRGZ | elc_won_CHE_004 | S02aH01 | 0.074615 | IMPNRGZ | elc_wof_CHE_004 | S02aH01 | 0.074615 | IMPNRGZ
elc_spv_CHE_004 | S02aH02 | 0.047977 | IMPNRGZ | elc_won_CHE_004 | S02aH02 | 0.033762 | IMPNRGZ | elc_wof_CHE_004 | S02aH02 | 0.033762 | IMPNRGZ
elc_spv_CHE_004 | S02aH03 | 0.093625 | IMPNRGZ | elc_won_CHE_004 | S02aH03 | 0.023627 | IMPNRGZ | elc_wof_CHE_004 | S02aH03 | 0.023627 | IMPNRGZ
elc_spv_CHE_004 | S02aH04 | 0.088625 | IMPNRGZ | elc_won_CHE_004 | S02aH04 | 0.027729 | IMPNRGZ | elc_wof_CHE_004 | S02aH04 | 0.027729 | IMPNRGZ
elc_spv_CHE_004 | S02aH05 | 0.057922 | IMPNRGZ | elc_won_CHE_004 | S02aH05 | 0.028714 | IMPNRGZ | elc_wof_CHE_004 | S02aH05 | 0.028714 | IMPNRGZ
elc_spv_CHE_004 | S02aH06 | 0.0071232 | IMPNRGZ | elc_won_CHE_004 | S02aH06 | 0.028725 | IMPNRGZ | elc_wof_CHE_004 | S02aH06 | 0.028725 | IMPNRGZ
elc_spv_CHE_004 | S03aH01 | 0 | IMPNRGZ | elc_won_CHE_004 | S03aH01 | 0.054482 | IMPNRGZ | elc_wof_CHE_004 | S03aH01 | 0.054482 | IMPNRGZ
elc_spv_CHE_004 | S03aH02 | 0.068478 | IMPNRGZ | elc_won_CHE_004 | S03aH02 | 0.017404 | IMPNRGZ | elc_wof_CHE_004 | S03aH02 | 0.017404 | IMPNRGZ
elc_spv_CHE_004 | S03aH03 | 0.09822 | IMPNRGZ | elc_won_CHE_004 | S03aH03 | 0.014893 | IMPNRGZ | elc_wof_CHE_004 | S03aH03 | 0.014893 | IMPNRGZ
elc_spv_CHE_004 | S03aH04 | 0.094693 | IMPNRGZ | elc_won_CHE_004 | S03aH04 | 0.019185 | IMPNRGZ | elc_wof_CHE_004 | S03aH04 | 0.019185 | IMPNRGZ
elc_spv_CHE_004 | S03aH05 | 0.068518 | IMPNRGZ | elc_won_CHE_004 | S03aH05 | 0.018996 | IMPNRGZ | elc_wof_CHE_004 | S03aH05 | 0.018996 | IMPNRGZ
elc_spv_CHE_004 | S03aH06 | 0.017249 | IMPNRGZ | elc_won_CHE_004 | S03aH06 | 0.019025 | IMPNRGZ | elc_wof_CHE_004 | S03aH06 | 0.019025 | IMPNRGZ
elc_spv_CHE_004 | S04aH01 | 0 | IMPNRGZ | elc_won_CHE_004 | S04aH01 | 0.11122 | IMPNRGZ | elc_wof_CHE_004 | S04aH01 | 0.11122 | IMPNRGZ
elc_spv_CHE_004 | S04aH02 | 0.02322 | IMPNRGZ | elc_won_CHE_004 | S04aH02 | 0.052412 | IMPNRGZ | elc_wof_CHE_004 | S04aH02 | 0.052412 | IMPNRGZ
elc_spv_CHE_004 | S04aH03 | 0.064384 | IMPNRGZ | elc_won_CHE_004 | S04aH03 | 0.037343 | IMPNRGZ | elc_wof_CHE_004 | S04aH03 | 0.037343 | IMPNRGZ
elc_spv_CHE_004 | S04aH04 | 0.067252 | IMPNRGZ | elc_won_CHE_004 | S04aH04 | 0.040982 | IMPNRGZ | elc_wof_CHE_004 | S04aH04 | 0.040982 | IMPNRGZ
elc_spv_CHE_004 | S04aH05 | 0.035387 | IMPNRGZ | elc_won_CHE_004 | S04aH05 | 0.042225 | IMPNRGZ | elc_wof_CHE_004 | S04aH05 | 0.042225 | IMPNRGZ
elc_spv_CHE_004 | S04aH06 | 0.001144 | IMPNRGZ | elc_won_CHE_004 | S04aH06 | 0.040734 | IMPNRGZ | elc_wof_CHE_004 | S04aH06 | 0.040734 | IMPNRGZ
elc_spv_CHE_005 | S01aH01 | 0 | IMPNRGZ | elc_won_CHE_005 | S01aH01 | 0.11261 | IMPNRGZ | elc_wof_CHE_005 | S01aH01 | 0.11261 | IMPNRGZ
elc_spv_CHE_005 | S01aH02 | 0.0097195 | IMPNRGZ | elc_won_CHE_005 | S01aH02 | 0.051374 | IMPNRGZ | elc_wof_CHE_005 | S01aH02 | 0.051374 | IMPNRGZ
elc_spv_CHE_005 | S01aH03 | 0.05685 | IMPNRGZ | elc_won_CHE_005 | S01aH03 | 0.034685 | IMPNRGZ | elc_wof_CHE_005 | S01aH03 | 0.034685 | IMPNRGZ
elc_spv_CHE_005 | S01aH04 | 0.061404 | IMPNRGZ | elc_won_CHE_005 | S01aH04 | 0.039421 | IMPNRGZ | elc_wof_CHE_005 | S01aH04 | 0.039421 | IMPNRGZ
elc_spv_CHE_005 | S01aH05 | 0.027982 | IMPNRGZ | elc_won_CHE_005 | S01aH05 | 0.040783 | IMPNRGZ | elc_wof_CHE_005 | S01aH05 | 0.040783 | IMPNRGZ
elc_spv_CHE_005 | S01aH06 | 0 | IMPNRGZ | elc_won_CHE_005 | S01aH06 | 0.047752 | IMPNRGZ | elc_wof_CHE_005 | S01aH06 | 0.047752 | IMPNRGZ
elc_spv_CHE_005 | S02aH01 | 0 | IMPNRGZ | elc_won_CHE_005 | S02aH01 | 0.072704 | IMPNRGZ | elc_wof_CHE_005 | S02aH01 | 0.072704 | IMPNRGZ
elc_spv_CHE_005 | S02aH02 | 0.046309 | IMPNRGZ | elc_won_CHE_005 | S02aH02 | 0.033774 | IMPNRGZ | elc_wof_CHE_005 | S02aH02 | 0.033774 | IMPNRGZ
elc_spv_CHE_005 | S02aH03 | 0.088087 | IMPNRGZ | elc_won_CHE_005 | S02aH03 | 0.024019 | IMPNRGZ | elc_wof_CHE_005 | S02aH03 | 0.024019 | IMPNRGZ
elc_spv_CHE_005 | S02aH04 | 0.087164 | IMPNRGZ | elc_won_CHE_005 | S02aH04 | 0.029695 | IMPNRGZ | elc_wof_CHE_005 | S02aH04 | 0.029695 | IMPNRGZ
elc_spv_CHE_005 | S02aH05 | 0.059097 | IMPNRGZ | elc_won_CHE_005 | S02aH05 | 0.030759 | IMPNRGZ | elc_wof_CHE_005 | S02aH05 | 0.030759 | IMPNRGZ
elc_spv_CHE_005 | S02aH06 | 0.0083622 | IMPNRGZ | elc_won_CHE_005 | S02aH06 | 0.028272 | IMPNRGZ | elc_wof_CHE_005 | S02aH06 | 0.028272 | IMPNRGZ
elc_spv_CHE_005 | S03aH01 | 0 | IMPNRGZ | elc_won_CHE_005 | S03aH01 | 0.042306 | IMPNRGZ | elc_wof_CHE_005 | S03aH01 | 0.042306 | IMPNRGZ
elc_spv_CHE_005 | S03aH02 | 0.070584 | IMPNRGZ | elc_won_CHE_005 | S03aH02 | 0.011603 | IMPNRGZ | elc_wof_CHE_005 | S03aH02 | 0.011603 | IMPNRGZ
elc_spv_CHE_005 | S03aH03 | 0.10134 | IMPNRGZ | elc_won_CHE_005 | S03aH03 | 0.012005 | IMPNRGZ | elc_wof_CHE_005 | S03aH03 | 0.012005 | IMPNRGZ
elc_spv_CHE_005 | S03aH04 | 0.099233 | IMPNRGZ | elc_won_CHE_005 | S03aH04 | 0.02078 | IMPNRGZ | elc_wof_CHE_005 | S03aH04 | 0.02078 | IMPNRGZ
elc_spv_CHE_005 | S03aH05 | 0.074379 | IMPNRGZ | elc_won_CHE_005 | S03aH05 | 0.020002 | IMPNRGZ | elc_wof_CHE_005 | S03aH05 | 0.020002 | IMPNRGZ
elc_spv_CHE_005 | S03aH06 | 0.019605 | IMPNRGZ | elc_won_CHE_005 | S03aH06 | 0.019164 | IMPNRGZ | elc_wof_CHE_005 | S03aH06 | 0.019164 | IMPNRGZ
elc_spv_CHE_005 | S04aH01 | 0 | IMPNRGZ | elc_won_CHE_005 | S04aH01 | 0.10577 | IMPNRGZ | elc_wof_CHE_005 | S04aH01 | 0.10577 | IMPNRGZ
elc_spv_CHE_005 | S04aH02 | 0.022057 | IMPNRGZ | elc_won_CHE_005 | S04aH02 | 0.051553 | IMPNRGZ | elc_wof_CHE_005 | S04aH02 | 0.051553 | IMPNRGZ
elc_spv_CHE_005 | S04aH03 | 0.062283 | IMPNRGZ | elc_won_CHE_005 | S04aH03 | 0.037646 | IMPNRGZ | elc_wof_CHE_005 | S04aH03 | 0.037646 | IMPNRGZ
elc_spv_CHE_005 | S04aH04 | 0.067076 | IMPNRGZ | elc_won_CHE_005 | S04aH04 | 0.046225 | IMPNRGZ | elc_wof_CHE_005 | S04aH04 | 0.046225 | IMPNRGZ
elc_spv_CHE_005 | S04aH05 | 0.037168 | IMPNRGZ | elc_won_CHE_005 | S04aH05 | 0.045612 | IMPNRGZ | elc_wof_CHE_005 | S04aH05 | 0.045612 | IMPNRGZ
elc_spv_CHE_005 | S04aH06 | 0.0013035 | IMPNRGZ | elc_won_CHE_005 | S04aH06 | 0.041489 | IMPNRGZ | elc_wof_CHE_005 | S04aH06 | 0.041489 | IMPNRGZ
elc_spv_CHE_006 | S01aH01 | 0 | IMPNRGZ | elc_won_CHE_006 | S01aH01 | 0.11169 | IMPNRGZ | elc_wof_CHE_006 | S01aH01 | 0.11169 | IMPNRGZ
elc_spv_CHE_006 | S01aH02 | 0.0088093 | IMPNRGZ | elc_won_CHE_006 | S01aH02 | 0.048461 | IMPNRGZ | elc_wof_CHE_006 | S01aH02 | 0.048461 | IMPNRGZ
elc_spv_CHE_006 | S01aH03 | 0.052125 | IMPNRGZ | elc_won_CHE_006 | S01aH03 | 0.030181 | IMPNRGZ | elc_wof_CHE_006 | S01aH03 | 0.030181 | IMPNRGZ
elc_spv_CHE_006 | S01aH04 | 0.058865 | IMPNRGZ | elc_won_CHE_006 | S01aH04 | 0.038226 | IMPNRGZ | elc_wof_CHE_006 | S01aH04 | 0.038226 | IMPNRGZ
elc_spv_CHE_006 | S01aH05 | 0.023541 | IMPNRGZ | elc_won_CHE_006 | S01aH05 | 0.040743 | IMPNRGZ | elc_wof_CHE_006 | S01aH05 | 0.040743 | IMPNRGZ
elc_spv_CHE_006 | S01aH06 | 0 | IMPNRGZ | elc_won_CHE_006 | S01aH06 | 0.04511 | IMPNRGZ | elc_wof_CHE_006 | S01aH06 | 0.04511 | IMPNRGZ
elc_spv_CHE_006 | S02aH01 | 0 | IMPNRGZ | elc_won_CHE_006 | S02aH01 | 0.083731 | IMPNRGZ | elc_wof_CHE_006 | S02aH01 | 0.083731 | IMPNRGZ
elc_spv_CHE_006 | S02aH02 | 0.048584 | IMPNRGZ | elc_won_CHE_006 | S02aH02 | 0.0336 | IMPNRGZ | elc_wof_CHE_006 | S02aH02 | 0.0336 | IMPNRGZ
elc_spv_CHE_006 | S02aH03 | 0.087725 | IMPNRGZ | elc_won_CHE_006 | S02aH03 | 0.024622 | IMPNRGZ | elc_wof_CHE_006 | S02aH03 | 0.024622 | IMPNRGZ
elc_spv_CHE_006 | S02aH04 | 0.087549 | IMPNRGZ | elc_won_CHE_006 | S02aH04 | 0.031429 | IMPNRGZ | elc_wof_CHE_006 | S02aH04 | 0.031429 | IMPNRGZ
elc_spv_CHE_006 | S02aH05 | 0.057704 | IMPNRGZ | elc_won_CHE_006 | S02aH05 | 0.035486 | IMPNRGZ | elc_wof_CHE_006 | S02aH05 | 0.035486 | IMPNRGZ
elc_spv_CHE_006 | S02aH06 | 0.0076771 | IMPNRGZ | elc_won_CHE_006 | S02aH06 | 0.03383 | IMPNRGZ | elc_wof_CHE_006 | S02aH06 | 0.03383 | IMPNRGZ
elc_spv_CHE_006 | S03aH01 | 0 | IMPNRGZ | elc_won_CHE_006 | S03aH01 | 0.056077 | IMPNRGZ | elc_wof_CHE_006 | S03aH01 | 0.056077 | IMPNRGZ
elc_spv_CHE_006 | S03aH02 | 0.076911 | IMPNRGZ | elc_won_CHE_006 | S03aH02 | 0.01387 | IMPNRGZ | elc_wof_CHE_006 | S03aH02 | 0.01387 | IMPNRGZ
elc_spv_CHE_006 | S03aH03 | 0.1023 | IMPNRGZ | elc_won_CHE_006 | S03aH03 | 0.013951 | IMPNRGZ | elc_wof_CHE_006 | S03aH03 | 0.013951 | IMPNRGZ
elc_spv_CHE_006 | S03aH04 | 0.10245 | IMPNRGZ | elc_won_CHE_006 | S03aH04 | 0.022387 | IMPNRGZ | elc_wof_CHE_006 | S03aH04 | 0.022387 | IMPNRGZ
elc_spv_CHE_006 | S03aH05 | 0.078882 | IMPNRGZ | elc_won_CHE_006 | S03aH05 | 0.022651 | IMPNRGZ | elc_wof_CHE_006 | S03aH05 | 0.022651 | IMPNRGZ
elc_spv_CHE_006 | S03aH06 | 0.020075 | IMPNRGZ | elc_won_CHE_006 | S03aH06 | 0.019712 | IMPNRGZ | elc_wof_CHE_006 | S03aH06 | 0.019712 | IMPNRGZ
elc_spv_CHE_006 | S04aH01 | 0 | IMPNRGZ | elc_won_CHE_006 | S04aH01 | 0.092366 | IMPNRGZ | elc_wof_CHE_006 | S04aH01 | 0.092366 | IMPNRGZ
elc_spv_CHE_006 | S04aH02 | 0.023054 | IMPNRGZ | elc_won_CHE_006 | S04aH02 | 0.042564 | IMPNRGZ | elc_wof_CHE_006 | S04aH02 | 0.042564 | IMPNRGZ
elc_spv_CHE_006 | S04aH03 | 0.060447 | IMPNRGZ | elc_won_CHE_006 | S04aH03 | 0.031193 | IMPNRGZ | elc_wof_CHE_006 | S04aH03 | 0.031193 | IMPNRGZ
elc_spv_CHE_006 | S04aH04 | 0.065809 | IMPNRGZ | elc_won_CHE_006 | S04aH04 | 0.042647 | IMPNRGZ | elc_wof_CHE_006 | S04aH04 | 0.042647 | IMPNRGZ
elc_spv_CHE_006 | S04aH05 | 0.036253 | IMPNRGZ | elc_won_CHE_006 | S04aH05 | 0.0428 | IMPNRGZ | elc_wof_CHE_006 | S04aH05 | 0.0428 | IMPNRGZ
elc_spv_CHE_006 | S04aH06 | 0.001238 | IMPNRGZ | elc_won_CHE_006 | S04aH06 | 0.042669 | IMPNRGZ | elc_wof_CHE_006 | S04aH06 | 0.042669 | IMPNRGZ
elc_spv_CHE_007 | S01aH01 | 0 | IMPNRGZ
elc_spv_CHE_007 | S01aH02 | 0.0096042 | IMPNRGZ
elc_spv_CHE_007 | S01aH03 | 0.060691 | IMPNRGZ
elc_spv_CHE_007 | S01aH04 | 0.063885 | IMPNRGZ
elc_spv_CHE_007 | S01aH05 | 0.034793 | IMPNRGZ
elc_spv_CHE_007 | S01aH06 | 0 | IMPNRGZ
elc_spv_CHE_007 | S02aH01 | 0 | IMPNRGZ
elc_spv_CHE_007 | S02aH02 | 0.040519 | IMPNRGZ
elc_spv_CHE_007 | S02aH03 | 0.084963 | IMPNRGZ
elc_spv_CHE_007 | S02aH04 | 0.085669 | IMPNRGZ
elc_spv_CHE_007 | S02aH05 | 0.060841 | IMPNRGZ
elc_spv_CHE_007 | S02aH06 | 0.0085673 | IMPNRGZ
elc_spv_CHE_007 | S03aH01 | 0 | IMPNRGZ
elc_spv_CHE_007 | S03aH02 | 0.068592 | IMPNRGZ
elc_spv_CHE_007 | S03aH03 | 0.10146 | IMPNRGZ
elc_spv_CHE_007 | S03aH04 | 0.097495 | IMPNRGZ
elc_spv_CHE_007 | S03aH05 | 0.073386 | IMPNRGZ
elc_spv_CHE_007 | S03aH06 | 0.020502 | IMPNRGZ
elc_spv_CHE_007 | S04aH01 | 0 | IMPNRGZ
elc_spv_CHE_007 | S04aH02 | 0.019636 | IMPNRGZ
elc_spv_CHE_007 | S04aH03 | 0.063154 | IMPNRGZ
elc_spv_CHE_007 | S04aH04 | 0.066059 | IMPNRGZ
elc_spv_CHE_007 | S04aH05 | 0.038823 | IMPNRGZ
elc_spv_CHE_007 | S04aH06 | 0.0013612 | IMPNRGZ
elc_spv_CHE_008 | S01aH01 | 0 | IMPNRGZ
elc_spv_CHE_008 | S01aH02 | 0.010712 | IMPNRGZ
elc_spv_CHE_008 | S01aH03 | 0.062309 | IMPNRGZ
elc_spv_CHE_008 | S01aH04 | 0.064521 | IMPNRGZ
elc_spv_CHE_008 | S01aH05 | 0.032462 | IMPNRGZ
elc_spv_CHE_008 | S01aH06 | 0 | IMPNRGZ
elc_spv_CHE_008 | S02aH01 | 0 | IMPNRGZ
elc_spv_CHE_008 | S02aH02 | 0.045602 | IMPNRGZ
elc_spv_CHE_008 | S02aH03 | 0.090531 | IMPNRGZ
elc_spv_CHE_008 | S02aH04 | 0.089299 | IMPNRGZ
elc_spv_CHE_008 | S02aH05 | 0.064436 | IMPNRGZ
elc_spv_CHE_008 | S02aH06 | 0.0093213 | IMPNRGZ
elc_spv_CHE_008 | S03aH01 | 0 | IMPNRGZ
elc_spv_CHE_008 | S03aH02 | 0.062398 | IMPNRGZ
elc_spv_CHE_008 | S03aH03 | 0.096398 | IMPNRGZ
elc_spv_CHE_008 | S03aH04 | 0.091928 | IMPNRGZ
elc_spv_CHE_008 | S03aH05 | 0.067219 | IMPNRGZ
elc_spv_CHE_008 | S03aH06 | 0.018514 | IMPNRGZ
elc_spv_CHE_008 | S04aH01 | 0 | IMPNRGZ
elc_spv_CHE_008 | S04aH02 | 0.022881 | IMPNRGZ
elc_spv_CHE_008 | S04aH03 | 0.064606 | IMPNRGZ
elc_spv_CHE_008 | S04aH04 | 0.067751 | IMPNRGZ
elc_spv_CHE_008 | S04aH05 | 0.037821 | IMPNRGZ
elc_spv_CHE_008 | S04aH06 | 0.0012908 | IMPNRGZ
elc_spv_CHE_009 | S01aH01 | 0 | IMPNRGZ
elc_spv_CHE_009 | S01aH02 | 0.0067935 | IMPNRGZ
elc_spv_CHE_009 | S01aH03 | 0.049982 | IMPNRGZ
elc_spv_CHE_009 | S01aH04 | 0.055711 | IMPNRGZ
elc_spv_CHE_009 | S01aH05 | 0.024315 | IMPNRGZ
elc_spv_CHE_009 | S01aH06 | 0 | IMPNRGZ
elc_spv_CHE_009 | S02aH01 | 0 | IMPNRGZ
elc_spv_CHE_009 | S02aH02 | 0.045696 | IMPNRGZ
elc_spv_CHE_009 | S02aH03 | 0.085091 | IMPNRGZ
elc_spv_CHE_009 | S02aH04 | 0.083691 | IMPNRGZ
elc_spv_CHE_009 | S02aH05 | 0.05499 | IMPNRGZ
elc_spv_CHE_009 | S02aH06 | 0.0088039 | IMPNRGZ
elc_spv_CHE_009 | S03aH01 | 0 | IMPNRGZ
elc_spv_CHE_009 | S03aH02 | 0.081112 | IMPNRGZ
elc_spv_CHE_009 | S03aH03 | 0.10869 | IMPNRGZ
elc_spv_CHE_009 | S03aH04 | 0.10685 | IMPNRGZ
elc_spv_CHE_009 | S03aH05 | 0.08524 | IMPNRGZ
elc_spv_CHE_009 | S03aH06 | 0.023173 | IMPNRGZ
elc_spv_CHE_009 | S04aH01 | 0 | IMPNRGZ
elc_spv_CHE_009 | S04aH02 | 0.019497 | IMPNRGZ
elc_spv_CHE_009 | S04aH03 | 0.05922 | IMPNRGZ
elc_spv_CHE_009 | S04aH04 | 0.063681 | IMPNRGZ
elc_spv_CHE_009 | S04aH05 | 0.036025 | IMPNRGZ
elc_spv_CHE_009 | S04aH06 | 0.001436 | IMPNRGZ
elc_spv_CHE_010 | S01aH01 | 0 | IMPNRGZ
elc_spv_CHE_010 | S01aH02 | 0.0073246 | IMPNRGZ
elc_spv_CHE_010 | S01aH03 | 0.052884 | IMPNRGZ
elc_spv_CHE_010 | S01aH04 | 0.059573 | IMPNRGZ
elc_spv_CHE_010 | S01aH05 | 0.031344 | IMPNRGZ
elc_spv_CHE_010 | S01aH06 | 0 | IMPNRGZ
elc_spv_CHE_010 | S02aH01 | 0 | IMPNRGZ
elc_spv_CHE_010 | S02aH02 | 0.041365 | IMPNRGZ
elc_spv_CHE_010 | S02aH03 | 0.083997 | IMPNRGZ
elc_spv_CHE_010 | S02aH04 | 0.084656 | IMPNRGZ
elc_spv_CHE_010 | S02aH05 | 0.059397 | IMPNRGZ
elc_spv_CHE_010 | S02aH06 | 0.0089011 | IMPNRGZ
elc_spv_CHE_010 | S03aH01 | 0 | IMPNRGZ
elc_spv_CHE_010 | S03aH02 | 0.07215 | IMPNRGZ
elc_spv_CHE_010 | S03aH03 | 0.10542 | IMPNRGZ
elc_spv_CHE_010 | S03aH04 | 0.10453 | IMPNRGZ
elc_spv_CHE_010 | S03aH05 | 0.081111 | IMPNRGZ
elc_spv_CHE_010 | S03aH06 | 0.022317 | IMPNRGZ
elc_spv_CHE_010 | S04aH01 | 0 | IMPNRGZ
elc_spv_CHE_010 | S04aH02 | 0.019076 | IMPNRGZ
elc_spv_CHE_010 | S04aH03 | 0.060602 | IMPNRGZ
elc_spv_CHE_010 | S04aH04 | 0.066093 | IMPNRGZ
elc_spv_CHE_010 | S04aH05 | 0.037715 | IMPNRGZ
elc_spv_CHE_010 | S04aH06 | 0.0015456 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT | [25 empty] | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX | [25 empty] | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX | [25 empty] | ~TFM_DINS-TSL: attribute=NCAP_PKCNT | [24 empty] | ~TFM_DINS-AT
process | commodity | S01aH01 | S01aH02 | S01aH03 | S01aH04 | S01aH05 | S01aH06 | S02aH01 | S02aH02 | S02aH03 | S02aH04 | S02aH05 | S02aH06 | S03aH01 | S03aH02 | S03aH03 | S03aH04 | S03aH05 | S03aH06 | S04aH01 | S04aH02 | S04aH03 | S04aH04 | S04aH05 | S04aH06 | process | commodity | S01aH01 | S01aH02 | S01aH03 | S01aH04 | S01aH05 | S01aH06 | S02aH01 | S02aH02 | S02aH03 | S02aH04 | S02aH05 | S02aH06 | S03aH01 | S03aH02 | S03aH03 | S03aH04 | S03aH05 | S03aH06 | S04aH01 | S04aH02 | S04aH03 | S04aH04 | S04aH05 | S04aH06 | process | commodity | S01aH01 | S01aH02 | S01aH03 | S01aH04 | S01aH05 | S01aH06 | S02aH01 | S02aH02 | S02aH03 | S02aH04 | S02aH05 | S02aH06 | S03aH01 | S03aH02 | S03aH03 | S03aH04 | S03aH05 | S03aH06 | S04aH01 | S04aH02 | S04aH03 | S04aH04 | S04aH05 | S04aH06 | process | S01aH01 | S01aH02 | S01aH03 | S01aH04 | S01aH05 | S01aH06 | S02aH01 | S02aH02 | S02aH03 | S02aH04 | S02aH05 | S02aH06 | S03aH01 | S03aH02 | S03aH03 | S03aH04 | S03aH05 | S03aH06 | S04aH01 | S04aH02 | S04aH03 | S04aH04 | S04aH05 | S04aH06 | process | commodity | other_indexes | ncap_com
distr_solelc_spv_CHE_001 | DEF_E | 0 | 0.76482 | 0.21707 | 0.18272 | 0.4723 | 0 | 0 | 0.44195 | 0.18952 | 0.17209 | 0.27712 | 0.72297 | 0 | 0.25477 | 0.093411 | 0.088562 | 0.15942 | 0.47154 | 0 | 0.60941 | 0.25663 | 0.23929 | 0.43949 | 0.95913 | distr_sol* | ELC4H | 0 | 0.60969 | 0.1265 | 0.045177 | 0.064072 | 0 | 0 | 0.28293 | 0.078459 | 0.0095156 | 0.011141 | 0.16566 | 0 | 0.16468 | 0.041125 | 0.0010286 | 0.0065026 | 0.10174 | 0 | 0.4128 | 0.10263 | 0.0054937 | 0.029588 | 0.070149 | distr_sol* | ELC8H | 0 | 0 | 0 | 0.066044 | 0.21302 | 0 | 0 | 0 | 0.023359 | 0.07571 | 0.088058 | 0.072579 | 0 | 0 | 0.01747 | 0.049473 | 0.050147 | 0.0095498 | 0 | 0 | 0.025922 | 0.10383 | 0.14845 | 0.11627 | distr_solelc_spv_CHE_001 | 0 | 0.058811 | 0.3831 | 0.37695 | 0.17369 | 0 | 0 | 0.21522 | 0.49728 | 0.45 | 0.29932 | 0.039669 | 0 | 0.3131 | 0.56248 | 0.52308 | 0.37015 | 0.09408 | 0 | 0.11293 | 0.37188 | 0.36103 | 0.19 | 0.0067631 | distr_solelc_spv_CHE_001 | DEF_C | OUT | 0.505
distr_solelc_spv_CHE_002 | DEF_E | 0 | 0.76372 | 0.21045 | 0.17218 | 0.45627 | 0 | 0 | 0.44587 | 0.19712 | 0.1712 | 0.26333 | 0.70437 | 0 | 0.27875 | 0.092404 | 0.076047 | 0.138 | 0.45955 | 0 | 0.59858 | 0.26317 | 0.23884 | 0.41515 | 0.95256 | distr_won* | ELC4H | 0.013883 | 0 | 0.0048367 | 0.0050976 | 0.027776 | 0.037408 | 0.059721 | 0.016355 | 0.052749 | 0.063511 | 0.061021 | 0.063794 | 0.028559 | 0.026997 | 0.024815 | 0.074044 | 0.04575 | 0.088762 | 0.030207 | 0.0082902 | 0.0099149 | 0.0041386 | 0.00019023 | 0.010214 | distr_won* | ELC8H | 0.067245 | 0.019491 | 0.01037 | 0.00029401 | 0.0078636 | 0.044369 | 0.10412 | 0.1268 | 0.11157 | 0.057022 | 0.0091801 | 0.048997 | 0.048387 | 0.070769 | 0.025998 | 0.0055733 | 0.032524 | 0.0079597 | 0.073169 | 0.043764 | 0.044109 | 0.027041 | 0.033686 | 0.041846 | distr_solelc_spv_CHE_002 | 0 | 0.05202 | 0.36916 | 0.38324 | 0.1873 | 0 | 0 | 0.20375 | 0.49474 | 0.48282 | 0.34404 | 0.048927 | 0 | 0.29009 | 0.57245 | 0.55685 | 0.41182 | 0.10612 | 0 | 0.099868 | 0.35044 | 0.35754 | 0.20244 | 0.0082804 | distr_solelc_spv_CHE_002 | DEF_C | OUT | 0.52891
distr_solelc_spv_CHE_003 | DEF_E | 0 | 0.75264 | 0.1983 | 0.16634 | 0.48503 | 0 | 0 | 0.40745 | 0.13358 | 0.11872 | 0.23537 | 0.71594 | 0 | 0.29294 | 0.095187 | 0.09922 | 0.17446 | 0.48613 | 0 | 0.57631 | 0.19243 | 0.17917 | 0.41291 | 0.96101 | [52 empty] | distr_solelc_spv_CHE_003 | 0 | 0.058131 | 0.4148 | 0.41937 | 0.18187 | 0 | 0 | 0.23087 | 0.59881 | 0.55126 | 0.36605 | 0.0458 | 0 | 0.30595 | 0.59339 | 0.5411 | 0.37463 | 0.096149 | 0 | 0.11403 | 0.42578 | 0.42644 | 0.2172 | 0.0064792 | distr_solelc_spv_CHE_003 | DEF_C | OUT | 0.53021
distr_solelc_spv_CHE_004 | DEF_E | 0 | 0.77033 | 0.23188 | 0.18223 | 0.51309 | 0 | 0 | 0.4227 | 0.15473 | 0.14247 | 0.25706 | 0.71967 | 0 | 0.3271 | 0.14475 | 0.12266 | 0.19191 | 0.5116 | 0 | 0.59572 | 0.2042 | 0.19429 | 0.42166 | 0.962 | [52 empty] | distr_solelc_spv_CHE_004 | 0 | 0.049624 | 0.35768 | 0.37294 | 0.15309 | 0 | 0 | 0.2012 | 0.52351 | 0.49556 | 0.32388 | 0.03983 | 0 | 0.28718 | 0.54921 | 0.52949 | 0.38313 | 0.096453 | 0 | 0.098449 | 0.36397 | 0.38018 | 0.20005 | 0.0064673 | distr_solelc_spv_CHE_004 | DEF_C | OUT | 0.49613
distr_solelc_spv_CHE_005 | DEF_E | 0 | 0.77463 | 0.23471 | 0.20247 | 0.47739 | 0 | 0 | 0.44183 | 0.1844 | 0.16269 | 0.25419 | 0.69176 | 0 | 0.31347 | 0.14727 | 0.11581 | 0.1697 | 0.4761 | 0 | 0.59059 | 0.22597 | 0.18907 | 0.39884 | 0.9508 | [52 empty] | distr_solelc_spv_CHE_005 | 0 | 0.039704 | 0.30964 | 0.33445 | 0.15241 | 0 | 0 | 0.18506 | 0.46935 | 0.46443 | 0.31488 | 0.044556 | 0 | 0.28206 | 0.53994 | 0.52873 | 0.39631 | 0.10446 | 0 | 0.08911 | 0.3355 | 0.36132 | 0.20021 | 0.0070214 | distr_solelc_spv_CHE_005 | DEF_C | OUT | 0.50367
distr_solelc_spv_CHE_006 | DEF_E | 0 | 0.77217 | 0.23709 | 0.19879 | 0.51334 | 0 | 0 | 0.44117 | 0.19384 | 0.16704 | 0.26611 | 0.70545 | 0 | 0.31019 | 0.1618 | 0.1289 | 0.1776 | 0.49011 | 0 | 0.60428 | 0.2485 | 0.21955 | 0.41598 | 0.95536 | [52 empty] | distr_solelc_spv_CHE_006 | 0 | 0.034314 | 0.27072 | 0.30572 | 0.12226 | 0 | 0 | 0.18513 | 0.4457 | 0.44481 | 0.29318 | 0.039005 | 0 | 0.29307 | 0.51977 | 0.52051 | 0.40077 | 0.102 | 0 | 0.088815 | 0.31049 | 0.33803 | 0.18622 | 0.0063591 | distr_solelc_spv_CHE_006 | DEF_C | OUT | 0.49114
distr_solelc_spv_CHE_007 | DEF_E | 0 | 0.7971 | 0.24887 | 0.19805 | 0.42198 | 0 | 0 | 0.47622 | 0.19404 | 0.16546 | 0.24597 | 0.68464 | 0 | 0.29825 | 0.12706 | 0.10648 | 0.16334 | 0.47379 | 0 | 0.63318 | 0.22872 | 0.20244 | 0.39378 | 0.94681 | [52 empty] | distr_solelc_spv_CHE_007 | 0 | 0.04128 | 0.34781 | 0.36612 | 0.19939 | 0 | 0 | 0.17037 | 0.47633 | 0.48029 | 0.34109 | 0.048031 | 0 | 0.28841 | 0.56881 | 0.54659 | 0.41143 | 0.11494 | 0 | 0.083472 | 0.35795 | 0.37442 | 0.22004 | 0.0077153 | distr_solelc_spv_CHE_007 | DEF_C | OUT | 0.53929
distr_solelc_spv_CHE_008 | DEF_E | 0 | 0.77106 | 0.21723 | 0.18398 | 0.43311 | 0 | 0 | 0.42429 | 0.16519 | 0.14789 | 0.23687 | 0.68105 | 0 | 0.30859 | 0.12197 | 0.11183 | 0.17014 | 0.48026 | 0 | 0.59512 | 0.20009 | 0.17534 | 0.38249 | 0.94722 | [52 empty] | distr_solelc_spv_CHE_008 | 0 | 0.049868 | 0.38675 | 0.40048 | 0.2015 | 0 | 0 | 0.20768 | 0.54972 | 0.54223 | 0.39126 | 0.0566 | 0 | 0.28417 | 0.58534 | 0.5582 | 0.40816 | 0.11242 | 0 | 0.10535 | 0.39661 | 0.41591 | 0.23217 | 0.007924 | distr_solelc_spv_CHE_008 | DEF_C | OUT | 0.54285
distr_solelc_spv_CHE_009 | DEF_E | 0 | 0.80649 | 0.28209 | 0.24167 | 0.51829 | 0 | 0 | 0.47498 | 0.22747 | 0.18836 | 0.28467 | 0.6941 | 0 | 0.29394 | 0.13863 | 0.11653 | 0.15972 | 0.46268 | 0 | 0.63873 | 0.28238 | 0.23196 | 0.42477 | 0.94896 | [52 empty] | distr_solelc_spv_CHE_009 | 0 | 0.025712 | 0.25223 | 0.28114 | 0.1227 | 0 | 0 | 0.16919 | 0.42007 | 0.41316 | 0.27147 | 0.043462 | 0 | 0.30032 | 0.53657 | 0.5275 | 0.4208 | 0.1144 | 0 | 0.07298 | 0.29556 | 0.31783 | 0.1798 | 0.0071669 | distr_solelc_spv_CHE_009 | DEF_C | OUT | 0.50667
distr_solelc_spv_CHE_010 | DEF_E | 0 | 0.79359 | 0.25793 | 0.21424 | 0.43263 | 0 | 0 | 0.46866 | 0.21442 | 0.17033 | 0.26085 | 0.68519 | 0 | 0.29221 | 0.12562 | 0.10767 | 0.15383 | 0.47285 | 0 | 0.62473 | 0.24507 | 0.20051 | 0.39634 | 0.94397 | [52 empty] | distr_solelc_spv_CHE_010 | 0 | 0.029685 | 0.28577 | 0.32192 | 0.16937 | 0 | 0 | 0.164 | 0.44404 | 0.44752 | 0.31399 | 0.047054 | 0 | 0.28605 | 0.55728 | 0.55257 | 0.42878 | 0.11798 | 0 | 0.076461 | 0.32388 | 0.35323 | 0.20157 | 0.0082606 | distr_solelc_spv_CHE_010 | DEF_C | OUT | 0.52799
distr_wonelc_won_CHE_001 | DEF_E | 0.5074 | 0.50027 | 0.54601 | 0.53903 | 0.50696 | 0.47582 | 0.55252 | 0.56749 | 0.5812 | 0.49222 | 0.47685 | 0.51497 | 0.49922 | 0.61899 | 0.63328 | 0.54225 | 0.48237 | 0.46576 | 0.45964 | 0.52275 | 0.55281 | 0.55695 | 0.52276 | 0.4882 | [52 empty] | distr_wonelc_won_CHE_001 | 0.12515 | 0.11761 | 0.095535 | 0.096586 | 0.12375 | 0.14005 | 0.072813 | 0.063666 | 0.062283 | 0.084989 | 0.086364 | 0.079478 | 0.050561 | 0.03373 | 0.032298 | 0.050854 | 0.062629 | 0.055113 | 0.13234 | 0.15091 | 0.13978 | 0.15256 | 0.1364 | 0.13324 | distr_wonelc_won_CHE_001 | DEF_C | OUT | 0.15256
distr_wonelc_won_CHE_002 | DEF_E | 0.50135 | 0.51739 | 0.5414 | 0.53982 | 0.50064 | 0.48318 | 0.4967 | 0.53915 | 0.54648 | 0.4877 | 0.43363 | 0.45446 | 0.46194 | 0.58403 | 0.58099 | 0.49351 | 0.4382 | 0.40738 | 0.43263 | 0.46464 | 0.50723 | 0.51322 | 0.47253 | 0.44402 | [52 empty] | distr_wonelc_won_CHE_002 | 0.2619 | 0.24342 | 0.20659 | 0.2022 | 0.24043 | 0.27753 | 0.15466 | 0.1445 | 0.1194 | 0.14276 | 0.14083 | 0.15127 | 0.10574 | 0.075992 | 0.06597 | 0.086057 | 0.10738 | 0.10313 | 0.26823 | 0.26091 | 0.23489 | 0.24555 | 0.23863 | 0.24762 | distr_wonelc_won_CHE_002 | DEF_C | OUT | 0.27753
distr_wonelc_won_CHE_003 | DEF_E | 0.54687 | 0.57358 | 0.59614 | 0.5817 | 0.55899 | 0.53473 | 0.54782 | 0.5885 | 0.62999 | 0.54182 | 0.48273 | 0.49673 | 0.5428 | 0.64988 | 0.63221 | 0.52906 | 0.49066 | 0.48993 | 0.49622 | 0.56687 | 0.57969 | 0.55641 | 0.52882 | 0.50403 | [52 empty] | distr_wonelc_won_CHE_003 | 0.14982 | 0.14136 | 0.11994 | 0.12512 | 0.14422 | 0.16078 | 0.083042 | 0.074935 | 0.073302 | 0.10108 | 0.098466 | 0.089603 | 0.051662 | 0.039677 | 0.043167 | 0.064385 | 0.070305 | 0.058622 | 0.15022 | 0.15861 | 0.1549 | 0.17231 | 0.16404 | 0.1471 | distr_wonelc_won_CHE_003 | DEF_C | OUT | 0.17231
distr_wonelc_won_CHE_004 | DEF_E | 0.51253 | 0.56105 | 0.61306 | 0.58905 | 0.521 | 0.49373 | 0.46557 | 0.5438 | 0.60976 | 0.52123 | 0.4572 | 0.45793 | 0.46264 | 0.5625 | 0.55123 | 0.52233 | 0.45164 | 0.42708 | 0.50561 | 0.54944 | 0.5677 | 0.54268 | 0.51406 | 0.47498 | [52 empty] | distr_wonelc_won_CHE_004 | 0.19759 | 0.19363 | 0.17276 | 0.1753 | 0.18548 | 0.22185 | 0.13432 | 0.12155 | 0.11342 | 0.13311 | 0.13784 | 0.13789 | 0.098074 | 0.062659 | 0.071492 | 0.092093 | 0.091187 | 0.091324 | 0.2024 | 0.19077 | 0.18123 | 0.19889 | 0.20492 | 0.19769 | distr_wonelc_won_CHE_004 | DEF_C | OUT | 0.22185
distr_wonelc_won_CHE_005 | DEF_E | 0.55506 | 0.55996 | 0.6088 | 0.60557 | 0.5644 | 0.55315 | 0.52263 | 0.59404 | 0.67305 | 0.54402 | 0.48644 | 0.47192 | 0.52754 | 0.65419 | 0.64735 | 0.59065 | 0.48556 | 0.4792 | 0.55003 | 0.59621 | 0.62605 | 0.58731 | 0.57896 | 0.57277 | [52 empty] | distr_wonelc_won_CHE_005 | 0.12566 | 0.11466 | 0.10322 | 0.11731 | 0.12136 | 0.1421 | 0.079367 | 0.073739 | 0.069922 | 0.086445 | 0.089543 | 0.082303 | 0.046183 | 0.025332 | 0.034947 | 0.060491 | 0.058228 | 0.055788 | 0.11673 | 0.11379 | 0.11079 | 0.13604 | 0.13424 | 0.12211 | distr_wonelc_won_CHE_005 | DEF_C | OUT | 0.1421
distr_wonelc_won_CHE_006 | DEF_E | 0.60962 | 0.61128 | 0.64867 | 0.62679 | 0.62257 | 0.60065 | 0.50744 | 0.56506 | 0.64778 | 0.56249 | 0.49508 | 0.49648 | 0.52048 | 0.65115 | 0.6315 | 0.59848 | 0.55329 | 0.5888 | 0.56853 | 0.61368 | 0.61988 | 0.59828 | 0.5993 | 0.5694 | [52 empty] | distr_wonelc_won_CHE_006 | 0.11525 | 0.10001 | 0.083044 | 0.10518 | 0.11211 | 0.12412 | 0.084519 | 0.067831 | 0.066277 | 0.084598 | 0.095518 | 0.091061 | 0.056605 | 0.028001 | 0.037552 | 0.06026 | 0.06097 | 0.05306 | 0.094259 | 0.086873 | 0.084887 | 0.11606 | 0.11647 | 0.11612 | distr_wonelc_won_CHE_006 | DEF_C | OUT | 0.12412

## load_shapes
~TFM_DINS-AT
g_yrfr | com_fr | timeslice | commodity
0.082192 | 0.022912 | S01aH01 | elc_roadtransport
0.041096 | 0.050687 | S01aH02 | elc_roadtransport
0.030822 | 0.038336 | S01aH03 | elc_roadtransport
0.030822 | 0.039768 | S01aH04 | elc_roadtransport
0.030822 | 0.055491 | S01aH05 | elc_roadtransport
0.030822 | 0.03938 | S01aH06 | elc_roadtransport
0.084018 | 0.023421 | S02aH01 | elc_roadtransport
0.042009 | 0.051814 | S02aH02 | elc_roadtransport
0.031507 | 0.039188 | S02aH03 | elc_roadtransport
0.031507 | 0.040652 | S02aH04 | elc_roadtransport
0.031507 | 0.056724 | S02aH05 | elc_roadtransport
0.031507 | 0.040256 | S02aH06 | elc_roadtransport
0.084018 | 0.023421 | S03aH01 | elc_roadtransport
0.042009 | 0.051814 | S03aH02 | elc_roadtransport
0.031507 | 0.039188 | S03aH03 | elc_roadtransport
0.031507 | 0.040652 | S03aH04 | elc_roadtransport
0.031507 | 0.056724 | S03aH05 | elc_roadtransport
0.031507 | 0.040256 | S03aH06 | elc_roadtransport
0.083105 | 0.023167 | S04aH01 | elc_roadtransport
0.041553 | 0.051251 | S04aH02 | elc_roadtransport
0.031164 | 0.038762 | S04aH03 | elc_roadtransport
0.031164 | 0.04021 | S04aH04 | elc_roadtransport
0.031164 | 0.056107 | S04aH05 | elc_roadtransport
0.031164 | 0.039818 | S04aH06 | elc_roadtransport

## demand
~TFM_DINS-AT
commodity | timeslice | com_fr
elc_buildings | S01aH01 | 0.083173
elc_buildings | S01aH02 | 0.046462
elc_buildings | S01aH03 | 0.037819
elc_buildings | S01aH04 | 0.037479
elc_buildings | S01aH05 | 0.037777
elc_buildings | S01aH06 | 0.037687
elc_buildings | S02aH01 | 0.073354
elc_buildings | S02aH02 | 0.042145
elc_buildings | S02aH03 | 0.034556
elc_buildings | S02aH04 | 0.03414
elc_buildings | S02aH05 | 0.034009
elc_buildings | S02aH06 | 0.033702
elc_buildings | S03aH01 | 0.066565
elc_buildings | S03aH02 | 0.036545
elc_buildings | S03aH03 | 0.03138
elc_buildings | S03aH04 | 0.031506
elc_buildings | S03aH05 | 0.031102
elc_buildings | S03aH06 | 0.030078
elc_buildings | S04aH01 | 0.070201
elc_buildings | S04aH02 | 0.039181
elc_buildings | S04aH03 | 0.033084
elc_buildings | S04aH04 | 0.03282
elc_buildings | S04aH05 | 0.032741
elc_buildings | S04aH06 | 0.032495
elc_industry | S01aH01 | 0.081395
elc_industry | S01aH02 | 0.041121
elc_industry | S01aH03 | 0.031099
elc_industry | S01aH04 | 0.031069
elc_industry | S01aH05 | 0.031095
elc_industry | S01aH06 | 0.031087
elc_industry | S02aH01 | 0.083096
elc_industry | S02aH02 | 0.042023
elc_industry | S02aH03 | 0.031773
elc_industry | S02aH04 | 0.031737
elc_industry | S02aH05 | 0.031726
elc_industry | S02aH06 | 0.031699
elc_industry | S03aH01 | 0.083152
elc_industry | S03aH02 | 0.041859
elc_industry | S03aH03 | 0.031739
elc_industry | S03aH04 | 0.03175
elc_industry | S03aH05 | 0.031715
elc_industry | S03aH06 | 0.031626
elc_industry | S04aH01 | 0.082214
elc_industry | S04aH02 | 0.041461
elc_industry | S04aH03 | 0.031417
elc_industry | S04aH04 | 0.031394
elc_industry | S04aH05 | 0.031387
elc_industry | S04aH06 | 0.031366

## peak_factors
~TFM_DINS-AT
commodity | timeslice | com_pkflx
ELC | S01aH01 | 0.12243
ELC | S01aH02 | 0.16025
ELC | S01aH03 | 0.080774
ELC | S01aH04 | 0.069934
ELC | S01aH05 | 0.067585
ELC | S01aH06 | 0.069856
ELC | S02aH01 | 0.21311
ELC | S02aH02 | 0.20265
ELC | S02aH03 | 0.12395
ELC | S02aH04 | 0.13562
ELC | S02aH05 | 0.14549
ELC | S02aH06 | 0.15402
ELC | S03aH01 | 0.17583
ELC | S03aH02 | 0.1795
ELC | S03aH03 | 0.094146
ELC | S03aH04 | 0.11067
ELC | S03aH05 | 0.11411
ELC | S03aH06 | 0.1141
ELC | S04aH01 | 0.2453
ELC | S04aH02 | 0.26346
ELC | S04aH03 | 0.15636
ELC | S04aH04 | 0.16472
ELC | S04aH05 | 0.17287
ELC | S04aH06 | 0.18062

## hydro_af
~TFM_INS-AT
Year | timeslice | ncap_afs | pset_ci
2020 | S01 | 0.27887 | hydro
2020 | S02 | 0.2817 | hydro
2020 | S03 | 0.37467 | hydro
2020 | S04 | 0.30307 | hydro
2021 | S01 | 0.26757 | hydro
2021 | S02 | 0.24307 | hydro
2021 | S03 | 0.41907 | hydro
2021 | S04 | 0.25447 | hydro
2022 | S01 | 0.22467 | hydro
2022 | S02 | 0.23303 | hydro
2022 | S03 | 0.3132 | hydro
2022 | S04 | 0.2299 | hydro
2025 | S01 | 0.2637 | hydro
2025 | S02 | 0.25207 | hydro
2025 | S03 | 0.37947 | hydro
2025 | S04 | 0.2779 | hydro
2026 | S01 | 0.2324 | hydro
2026 | S02 | 0.26023 | hydro
2026 | S03 | 0.3891 | hydro
2026 | S04 | 0.26973 | hydro
2027 | S01 | 0.24993 | hydro
2027 | S02 | 0.25437 | hydro
2027 | S03 | 0.3663 | hydro
2027 | S04 | 0.32747 | hydro
2028 | S01 | 0.29683 | hydro
2028 | S02 | 0.2947 | hydro
2028 | S03 | 0.47143 | hydro
2028 | S04 | 0.31273 | hydro
2029 | S01 | 0.30913 | hydro
2029 | S02 | 0.27963 | hydro
2029 | S03 | 0.43053 | hydro
2029 | S04 | 0.32423 | hydro
2030 | S01 | 0.31393 | hydro
2030 | S02 | 0.32743 | hydro
2030 | S03 | 0.46557 | hydro
2030 | S04 | 0.321 | hydro
2031 | S01 | 0.31513 | hydro
2031 | S02 | 0.27993 | hydro
2031 | S03 | 0.45293 | hydro
2031 | S04 | 0.31757 | hydro
2032 | S01 | 0.32117 | hydro
2032 | S02 | 0.32407 | hydro
2032 | S03 | 0.46383 | hydro
2032 | S04 | 0.3205 | hydro
2033 | S01 | 0.28553 | hydro
2033 | S02 | 0.29237 | hydro
2033 | S03 | 0.44373 | hydro
2033 | S04 | 0.3005 | hydro
2034 | S01 | 0.30433 | hydro
2034 | S02 | 0.32887 | hydro
2034 | S03 | 0.44027 | hydro
2034 | S04 | 0.3301 | hydro
2035 | S01 | 0.27323 | hydro
2035 | S02 | 0.2749 | hydro
2035 | S03 | 0.3861 | hydro
2035 | S04 | 0.29493 | hydro
2036 | S01 | 0.2503 | hydro
2036 | S02 | 0.2442 | hydro
2036 | S03 | 0.354 | hydro
2036 | S04 | 0.21917 | hydro
2037 | S01 | 0.22457 | hydro
2037 | S02 | 0.23803 | hydro
2037 | S03 | 0.32947 | hydro
2037 | S04 | 0.23237 | hydro
2038 | S01 | 0.23 | hydro
2038 | S02 | 0.22103 | hydro
2038 | S03 | 0.34933 | hydro
2038 | S04 | 0.27327 | hydro
2039 | S01 | 0.2686 | hydro
2039 | S02 | 0.24007 | hydro
2039 | S03 | 0.3475 | hydro
2039 | S04 | 0.22003 | hydro
2040 | S01 | 0.22607 | hydro
2040 | S02 | 0.2317 | hydro
2040 | S03 | 0.32397 | hydro
2040 | S04 | 0.24803 | hydro
2041 | S01 | 0.2206 | hydro
2041 | S02 | 0.21913 | hydro
2041 | S03 | 0.33817 | hydro
2041 | S04 | 0.23657 | hydro
2042 | S01 | 0.23663 | hydro
2042 | S02 | 0.19523 | hydro
2042 | S03 | 0.32773 | hydro
2042 | S04 | 0.2389 | hydro
2043 | S01 | 0.23947 | hydro
2043 | S02 | 0.2314 | hydro
2043 | S03 | 0.34713 | hydro
2043 | S04 | 0.19987 | hydro
2044 | S01 | 0.21883 | hydro
2044 | S02 | 0.1986 | hydro
2044 | S03 | 0.3326 | hydro
2044 | S04 | 0.24843 | hydro
2045 | S01 | 0.2527 | hydro
2045 | S02 | 0.25807 | hydro
2045 | S03 | 0.3562 | hydro
2045 | S04 | 0.24857 | hydro
2046 | S01 | 0.24723 | hydro
2046 | S02 | 0.24367 | hydro
2046 | S03 | 0.36277 | hydro
2046 | S04 | 0.305 | hydro
2047 | S01 | 0.30597 | hydro
2047 | S02 | 0.2842 | hydro
2047 | S03 | 0.416 | hydro
2047 | S04 | 0.31583 | hydro
2048 | S01 | 0.28607 | hydro
2048 | S02 | 0.23243 | hydro
2048 | S03 | 0.39143 | hydro
2048 | S04 | 0.2733 | hydro
2049 | S01 | 0.31287 | hydro
2049 | S02 | 0.295 | hydro
2049 | S03 | 0.40407 | hydro
2049 | S04 | 0.28287 | hydro
2050 | S01 | 0.2345 | hydro
2050 | S02 | 0.3149 | hydro
2050 | S03 | 0.3728 | hydro
2050 | S04 | 0.2506 | hydro