## ev_charging_uc
ts_12t | day_night | ts_12t
| D | WaD,RaP,FaP,SaP,FaD,SaD,WaP,RaD
| N | SaN,WaN,FaN,WaP,RaP,FaP,SaP,RaN
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
~UC_T: LO
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | SaN,WaN,FaN,WaP,RaP,FaP,SaP,RaN | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | WaD,RaP,FaP,SaP,FaD,SaD,WaP,RaD | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1

## timeslice_def
~TimeSlices
ts_12t | season | weekly | daynite | wparent | dparent
| F | a | D | W,R,S,F | a
| R |  | N |  | a
| S |  | P |  | a
W

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_KEN_001 | FaD | 0.22755 | IMPNRGZ | elc_won_KEN_001 | FaD | 0.11035 | IMPNRGZ | elc_wof_KEN_001 | FaD | 0.051375 | IMPNRGZ
elc_spv_KEN_001 | FaN | 0 | IMPNRGZ | elc_won_KEN_001 | FaN | 0.10326 | IMPNRGZ | elc_wof_KEN_001 | FaN | 0.072544 | IMPNRGZ
elc_spv_KEN_001 | FaP | 0.029331 | IMPNRGZ | elc_won_KEN_001 | FaP | 0.070349 | IMPNRGZ | elc_wof_KEN_001 | FaP | 0.01603 | IMPNRGZ
elc_spv_KEN_001 | RaD | 0.21416 | IMPNRGZ | elc_won_KEN_001 | RaD | 0.077404 | IMPNRGZ | elc_wof_KEN_001 | RaD | 0.10122 | IMPNRGZ
elc_spv_KEN_001 | RaN | 0 | IMPNRGZ | elc_won_KEN_001 | RaN | 0.071117 | IMPNRGZ | elc_wof_KEN_001 | RaN | 0.10987 | IMPNRGZ
elc_spv_KEN_001 | RaP | 0.029715 | IMPNRGZ | elc_won_KEN_001 | RaP | 0.033551 | IMPNRGZ | elc_wof_KEN_001 | RaP | 0.024448 | IMPNRGZ
elc_spv_KEN_001 | SaD | 0.17954 | IMPNRGZ | elc_won_KEN_001 | SaD | 0.17257 | IMPNRGZ | elc_wof_KEN_001 | SaD | 0.17097 | IMPNRGZ
elc_spv_KEN_001 | SaN | 0 | IMPNRGZ | elc_won_KEN_001 | SaN | 0.16238 | IMPNRGZ | elc_wof_KEN_001 | SaN | 0.20128 | IMPNRGZ
elc_spv_KEN_001 | SaP | 0.010879 | IMPNRGZ | elc_won_KEN_001 | SaP | 0.067352 | IMPNRGZ | elc_wof_KEN_001 | SaP | 0.034529 | IMPNRGZ
elc_spv_KEN_001 | WaD | 0.2674 | IMPNRGZ | elc_won_KEN_001 | WaD | 0.062463 | IMPNRGZ | elc_wof_KEN_001 | WaD | 0.084334 | IMPNRGZ
elc_spv_KEN_001 | WaN | 0 | IMPNRGZ | elc_won_KEN_001 | WaN | 0.047861 | IMPNRGZ | elc_wof_KEN_001 | WaN | 0.10455 | IMPNRGZ
elc_spv_KEN_001 | WaP | 0.041424 | IMPNRGZ | elc_won_KEN_001 | WaP | 0.021327 | IMPNRGZ | elc_wof_KEN_001 | WaP | 0.028848 | IMPNRGZ
elc_spv_KEN_002 | FaD | 0.23394 | IMPNRGZ | elc_won_KEN_002 | FaD | 0.094635 | IMPNRGZ | elc_wof_KEN_002 | FaD | 0.056004 | IMPNRGZ
elc_spv_KEN_002 | FaN | 0 | IMPNRGZ | elc_won_KEN_002 | FaN | 0.12752 | IMPNRGZ | elc_wof_KEN_002 | FaN | 0.06083 | IMPNRGZ
elc_spv_KEN_002 | FaP | 0.032811 | IMPNRGZ | elc_won_KEN_002 | FaP | 0.03541 | IMPNRGZ | elc_wof_KEN_002 | FaP | 0.015885 | IMPNRGZ
elc_spv_KEN_002 | RaD | 0.20271 | IMPNRGZ | elc_won_KEN_002 | RaD | 0.086536 | IMPNRGZ | elc_wof_KEN_002 | RaD | 0.11486 | IMPNRGZ
elc_spv_KEN_002 | RaN | 0 | IMPNRGZ | elc_won_KEN_002 | RaN | 0.10281 | IMPNRGZ | elc_wof_KEN_002 | RaN | 0.10683 | IMPNRGZ
elc_spv_KEN_002 | RaP | 0.028474 | IMPNRGZ | elc_won_KEN_002 | RaP | 0.023731 | IMPNRGZ | elc_wof_KEN_002 | RaP | 0.0259 | IMPNRGZ
elc_spv_KEN_002 | SaD | 0.19956 | IMPNRGZ | elc_won_KEN_002 | SaD | 0.21487 | IMPNRGZ | elc_wof_KEN_002 | SaD | 0.17966 | IMPNRGZ
elc_spv_KEN_002 | SaN | 0 | IMPNRGZ | elc_won_KEN_002 | SaN | 0.2017 | IMPNRGZ | elc_wof_KEN_002 | SaN | 0.18269 | IMPNRGZ
elc_spv_KEN_002 | SaP | 0.028207 | IMPNRGZ | elc_won_KEN_002 | SaP | 0.050977 | IMPNRGZ | elc_wof_KEN_002 | SaP | 0.033776 | IMPNRGZ
elc_spv_KEN_002 | WaD | 0.23552 | IMPNRGZ | elc_won_KEN_002 | WaD | 0.012617 | IMPNRGZ | elc_wof_KEN_002 | WaD | 0.092302 | IMPNRGZ
elc_spv_KEN_002 | WaN | 0 | IMPNRGZ | elc_won_KEN_002 | WaN | 0.043221 | IMPNRGZ | elc_wof_KEN_002 | WaN | 0.094545 | IMPNRGZ
elc_spv_KEN_002 | WaP | 0.038788 | IMPNRGZ | elc_won_KEN_002 | WaP | 0.0059704 | IMPNRGZ | elc_wof_KEN_002 | WaP | 0.036719 | IMPNRGZ
elc_spv_KEN_003 | FaD | 0.24977 | IMPNRGZ | elc_won_KEN_003 | FaD | 0.08178 | IMPNRGZ | elc_wof_KEN_003 | FaD | 0.06771 | IMPNRGZ
elc_spv_KEN_003 | FaN | 0 | IMPNRGZ | elc_won_KEN_003 | FaN | 0.076501 | IMPNRGZ | elc_wof_KEN_003 | FaN | 0.075756 | IMPNRGZ
elc_spv_KEN_003 | FaP | 0.013143 | IMPNRGZ | elc_won_KEN_003 | FaP | 0.022217 | IMPNRGZ | elc_wof_KEN_003 | FaP | 0.019459 | IMPNRGZ
elc_spv_KEN_003 | RaD | 0.22782 | IMPNRGZ | elc_won_KEN_003 | RaD | 0.10742 | IMPNRGZ | elc_wof_KEN_003 | RaD | 0.10922 | IMPNRGZ
elc_spv_KEN_003 | RaN | 0 | IMPNRGZ | elc_won_KEN_003 | RaN | 0.099621 | IMPNRGZ | elc_wof_KEN_003 | RaN | 0.10912 | IMPNRGZ
elc_spv_KEN_003 | RaP | 0.019836 | IMPNRGZ | elc_won_KEN_003 | RaP | 0.02662 | IMPNRGZ | elc_wof_KEN_003 | RaP | 0.027325 | IMPNRGZ
elc_spv_KEN_003 | SaD | 0.19702 | IMPNRGZ | elc_won_KEN_003 | SaD | 0.19545 | IMPNRGZ | elc_wof_KEN_003 | SaD | 0.18577 | IMPNRGZ
elc_spv_KEN_003 | SaN | 0 | IMPNRGZ | elc_won_KEN_003 | SaN | 0.18225 | IMPNRGZ | elc_wof_KEN_003 | SaN | 0.19966 | IMPNRGZ
elc_spv_KEN_003 | SaP | 0.014094 | IMPNRGZ | elc_won_KEN_003 | SaP | 0.037227 | IMPNRGZ | elc_wof_KEN_003 | SaP | 0.037484 | IMPNRGZ
elc_spv_KEN_003 | WaD | 0.25604 | IMPNRGZ | elc_won_KEN_003 | WaD | 0.063507 | IMPNRGZ | elc_wof_KEN_003 | WaD | 0.06242 | IMPNRGZ
elc_spv_KEN_003 | WaN | 0 | IMPNRGZ | elc_won_KEN_003 | WaN | 0.080603 | IMPNRGZ | elc_wof_KEN_003 | WaN | 0.08148 | IMPNRGZ
elc_spv_KEN_003 | WaP | 0.022277 | IMPNRGZ | elc_won_KEN_003 | WaP | 0.0268 | IMPNRGZ | elc_wof_KEN_003 | WaP | 0.024602 | IMPNRGZ
elc_spv_KEN_004 | FaD | 0.24673 | IMPNRGZ | elc_won_KEN_004 | FaD | 0.095921 | IMPNRGZ | elc_wof_KEN_004 | FaD | 0.084033 | IMPNRGZ
elc_spv_KEN_004 | FaN | 0 | IMPNRGZ | elc_won_KEN_004 | FaN | 0.0915 | IMPNRGZ | elc_wof_KEN_004 | FaN | 0.082329 | IMPNRGZ
elc_spv_KEN_004 | FaP | 0.017143 | IMPNRGZ | elc_won_KEN_004 | FaP | 0.040313 | IMPNRGZ | elc_wof_KEN_004 | FaP | 0.022753 | IMPNRGZ
elc_spv_KEN_004 | RaD | 0.22518 | IMPNRGZ | elc_won_KEN_004 | RaD | 0.10038 | IMPNRGZ | elc_wof_KEN_004 | RaD | 0.097834 | IMPNRGZ
elc_spv_KEN_004 | RaN | 0 | IMPNRGZ | elc_won_KEN_004 | RaN | 0.098323 | IMPNRGZ | elc_wof_KEN_004 | RaN | 0.098822 | IMPNRGZ
elc_spv_KEN_004 | RaP | 0.024267 | IMPNRGZ | elc_won_KEN_004 | RaP | 0.032313 | IMPNRGZ | elc_wof_KEN_004 | RaP | 0.026585 | IMPNRGZ
elc_spv_KEN_004 | SaD | 0.1995 | IMPNRGZ | elc_won_KEN_004 | SaD | 0.23022 | IMPNRGZ | elc_wof_KEN_004 | SaD | 0.20119 | IMPNRGZ
elc_spv_KEN_004 | SaN | 0 | IMPNRGZ | elc_won_KEN_004 | SaN | 0.17355 | IMPNRGZ | elc_wof_KEN_004 | SaN | 0.19579 | IMPNRGZ
elc_spv_KEN_004 | SaP | 0.018137 | IMPNRGZ | elc_won_KEN_004 | SaP | 0.054082 | IMPNRGZ | elc_wof_KEN_004 | SaP | 0.038934 | IMPNRGZ
elc_spv_KEN_004 | WaD | 0.24407 | IMPNRGZ | elc_won_KEN_004 | WaD | 0.016387 | IMPNRGZ | elc_wof_KEN_004 | WaD | 0.043412 | IMPNRGZ
elc_spv_KEN_004 | WaN | 0 | IMPNRGZ | elc_won_KEN_004 | WaN | 0.053678 | IMPNRGZ | elc_wof_KEN_004 | WaN | 0.082499 | IMPNRGZ
elc_spv_KEN_004 | WaP | 0.024969 | IMPNRGZ | elc_won_KEN_004 | WaP | 0.013331 | IMPNRGZ | elc_wof_KEN_004 | WaP | 0.025812 | IMPNRGZ
elc_spv_KEN_005 | FaD | 0.26117 | IMPNRGZ | elc_won_KEN_005 | FaD | 0.087286 | IMPNRGZ | elc_wof_KEN_005 | FaD | 0.087031 | IMPNRGZ
elc_spv_KEN_005 | FaN | 0 | IMPNRGZ | elc_won_KEN_005 | FaN | 0.092848 | IMPNRGZ | elc_wof_KEN_005 | FaN | 0.080854 | IMPNRGZ
elc_spv_KEN_005 | FaP | 0.015339 | IMPNRGZ | elc_won_KEN_005 | FaP | 0.032494 | IMPNRGZ | elc_wof_KEN_005 | FaP | 0.021343 | IMPNRGZ
elc_spv_KEN_005 | RaD | 0.2126 | IMPNRGZ | elc_won_KEN_005 | RaD | 0.080066 | IMPNRGZ | elc_wof_KEN_005 | RaD | 0.083128 | IMPNRGZ
elc_spv_KEN_005 | RaN | 0 | IMPNRGZ | elc_won_KEN_005 | RaN | 0.084359 | IMPNRGZ | elc_wof_KEN_005 | RaN | 0.082795 | IMPNRGZ
elc_spv_KEN_005 | RaP | 0.017836 | IMPNRGZ | elc_won_KEN_005 | RaP | 0.024033 | IMPNRGZ | elc_wof_KEN_005 | RaP | 0.022021 | IMPNRGZ
elc_spv_KEN_005 | SaD | 0.19829 | IMPNRGZ | elc_won_KEN_005 | SaD | 0.23852 | IMPNRGZ | elc_wof_KEN_005 | SaD | 0.19408 | IMPNRGZ
elc_spv_KEN_005 | SaN | 0 | IMPNRGZ | elc_won_KEN_005 | SaN | 0.15828 | IMPNRGZ | elc_wof_KEN_005 | SaN | 0.18759 | IMPNRGZ
elc_spv_KEN_005 | SaP | 0.018583 | IMPNRGZ | elc_won_KEN_005 | SaP | 0.049459 | IMPNRGZ | elc_wof_KEN_005 | SaP | 0.037011 | IMPNRGZ
elc_spv_KEN_005 | WaD | 0.24994 | IMPNRGZ | elc_won_KEN_005 | WaD | 0.032293 | IMPNRGZ | elc_wof_KEN_005 | WaD | 0.070933 | IMPNRGZ
elc_spv_KEN_005 | WaN | 0 | IMPNRGZ | elc_won_KEN_005 | WaN | 0.10244 | IMPNRGZ | elc_wof_KEN_005 | WaN | 0.10354 | IMPNRGZ
elc_spv_KEN_005 | WaP | 0.026253 | IMPNRGZ | elc_won_KEN_005 | WaP | 0.017931 | IMPNRGZ | elc_wof_KEN_005 | WaP | 0.029676 | IMPNRGZ
elc_spv_KEN_006 | FaD | 0.2575 | IMPNRGZ | elc_won_KEN_006 | FaD | 0.081905 | IMPNRGZ | elc_wof_KEN_006 | FaD | 0.062317 | IMPNRGZ
elc_spv_KEN_006 | FaN | 0 | IMPNRGZ | elc_won_KEN_006 | FaN | 0.11921 | IMPNRGZ | elc_wof_KEN_006 | FaN | 0.088045 | IMPNRGZ
elc_spv_KEN_006 | FaP | 0.013841 | IMPNRGZ | elc_won_KEN_006 | FaP | 0.027409 | IMPNRGZ | elc_wof_KEN_006 | FaP | 0.016157 | IMPNRGZ
elc_spv_KEN_006 | RaD | 0.22108 | IMPNRGZ | elc_won_KEN_006 | RaD | 0.078973 | IMPNRGZ | elc_wof_KEN_006 | RaD | 0.064931 | IMPNRGZ
elc_spv_KEN_006 | RaN | 0 | IMPNRGZ | elc_won_KEN_006 | RaN | 0.10116 | IMPNRGZ | elc_wof_KEN_006 | RaN | 0.08872 | IMPNRGZ
elc_spv_KEN_006 | RaP | 0.018488 | IMPNRGZ | elc_won_KEN_006 | RaP | 0.020476 | IMPNRGZ | elc_wof_KEN_006 | RaP | 0.01752 | IMPNRGZ
elc_spv_KEN_006 | SaD | 0.17725 | IMPNRGZ | elc_won_KEN_006 | SaD | 0.21719 | IMPNRGZ | elc_wof_KEN_006 | SaD | 0.16576 | IMPNRGZ
elc_spv_KEN_006 | SaN | 0 | IMPNRGZ | elc_won_KEN_006 | SaN | 0.1863 | IMPNRGZ | elc_wof_KEN_006 | SaN | 0.20667 | IMPNRGZ
elc_spv_KEN_006 | SaP | 0.011341 | IMPNRGZ | elc_won_KEN_006 | SaP | 0.047062 | IMPNRGZ | elc_wof_KEN_006 | SaP | 0.033876 | IMPNRGZ
elc_spv_KEN_006 | WaD | 0.27187 | IMPNRGZ | elc_won_KEN_006 | WaD | 0.024292 | IMPNRGZ | elc_wof_KEN_006 | WaD | 0.10125 | IMPNRGZ
elc_spv_KEN_006 | WaN | 0 | IMPNRGZ | elc_won_KEN_006 | WaN | 0.089954 | IMPNRGZ | elc_wof_KEN_006 | WaN | 0.12894 | IMPNRGZ
elc_spv_KEN_006 | WaP | 0.02863 | IMPNRGZ | elc_won_KEN_006 | WaP | 0.0060632 | IMPNRGZ | elc_wof_KEN_006 | WaP | 0.025807 | IMPNRGZ
elc_spv_KEN_007 | FaD | 0.25409 | IMPNRGZ | elc_won_KEN_007 | FaD | 0.092423 | IMPNRGZ | elc_wof_KEN_007 | FaD | 0.056147 | IMPNRGZ
elc_spv_KEN_007 | FaN | 0 | IMPNRGZ | elc_won_KEN_007 | FaN | 0.12887 | IMPNRGZ | elc_wof_KEN_007 | FaN | 0.090042 | IMPNRGZ
elc_spv_KEN_007 | FaP | 0.011544 | IMPNRGZ | elc_won_KEN_007 | FaP | 0.020405 | IMPNRGZ | elc_wof_KEN_007 | FaP | 0.016443 | IMPNRGZ
elc_spv_KEN_007 | RaD | 0.22508 | IMPNRGZ | elc_won_KEN_007 | RaD | 0.086651 | IMPNRGZ | elc_wof_KEN_007 | RaD | 0.07404 | IMPNRGZ
elc_spv_KEN_007 | RaN | 0 | IMPNRGZ | elc_won_KEN_007 | RaN | 0.10894 | IMPNRGZ | elc_wof_KEN_007 | RaN | 0.10204 | IMPNRGZ
elc_spv_KEN_007 | RaP | 0.016322 | IMPNRGZ | elc_won_KEN_007 | RaP | 0.017723 | IMPNRGZ | elc_wof_KEN_007 | RaP | 0.020275 | IMPNRGZ
elc_spv_KEN_007 | SaD | 0.18852 | IMPNRGZ | elc_won_KEN_007 | SaD | 0.20815 | IMPNRGZ | elc_wof_KEN_007 | SaD | 0.17135 | IMPNRGZ
elc_spv_KEN_007 | SaN | 0 | IMPNRGZ | elc_won_KEN_007 | SaN | 0.20764 | IMPNRGZ | elc_wof_KEN_007 | SaN | 0.22215 | IMPNRGZ
elc_spv_KEN_007 | SaP | 0.012559 | IMPNRGZ | elc_won_KEN_007 | SaP | 0.039353 | IMPNRGZ | elc_wof_KEN_007 | SaP | 0.035706 | IMPNRGZ
elc_spv_KEN_007 | WaD | 0.26735 | IMPNRGZ | elc_won_KEN_007 | WaD | 0.024988 | IMPNRGZ | elc_wof_KEN_007 | WaD | 0.071258 | IMPNRGZ
elc_spv_KEN_007 | WaN | 0 | IMPNRGZ | elc_won_KEN_007 | WaN | 0.061708 | IMPNRGZ | elc_wof_KEN_007 | WaN | 0.11911 | IMPNRGZ
elc_spv_KEN_007 | WaP | 0.024533 | IMPNRGZ | elc_won_KEN_007 | WaP | 0.003157 | IMPNRGZ | elc_wof_KEN_007 | WaP | 0.021441 | IMPNRGZ
elc_spv_KEN_008 | FaD | 0.24866 | IMPNRGZ | elc_won_KEN_008 | FaD | 0.10016 | IMPNRGZ | elc_wof_KEN_008 | FaD | 0.053327 | IMPNRGZ
elc_spv_KEN_008 | FaN | 0 | IMPNRGZ | elc_won_KEN_008 | FaN | 0.13179 | IMPNRGZ | elc_wof_KEN_008 | FaN | 0.085613 | IMPNRGZ
elc_spv_KEN_008 | FaP | 0.012056 | IMPNRGZ | elc_won_KEN_008 | FaP | 0.024619 | IMPNRGZ | elc_wof_KEN_008 | FaP | 0.016976 | IMPNRGZ
elc_spv_KEN_008 | RaD | 0.2324 | IMPNRGZ | elc_won_KEN_008 | RaD | 0.091672 | IMPNRGZ | elc_wof_KEN_008 | RaD | 0.086565 | IMPNRGZ
elc_spv_KEN_008 | RaN | 0 | IMPNRGZ | elc_won_KEN_008 | RaN | 0.10333 | IMPNRGZ | elc_wof_KEN_008 | RaN | 0.1096 | IMPNRGZ
elc_spv_KEN_008 | RaP | 0.016664 | IMPNRGZ | elc_won_KEN_008 | RaP | 0.019183 | IMPNRGZ | elc_wof_KEN_008 | RaP | 0.022759 | IMPNRGZ
elc_spv_KEN_008 | SaD | 0.19848 | IMPNRGZ | elc_won_KEN_008 | SaD | 0.16467 | IMPNRGZ | elc_wof_KEN_008 | SaD | 0.17005 | IMPNRGZ
elc_spv_KEN_008 | SaN | 0 | IMPNRGZ | elc_won_KEN_008 | SaN | 0.21122 | IMPNRGZ | elc_wof_KEN_008 | SaN | 0.21756 | IMPNRGZ
elc_spv_KEN_008 | SaP | 0.01418 | IMPNRGZ | elc_won_KEN_008 | SaP | 0.035049 | IMPNRGZ | elc_wof_KEN_008 | SaP | 0.035185 | IMPNRGZ
elc_spv_KEN_008 | WaD | 0.25349 | IMPNRGZ | elc_won_KEN_008 | WaD | 0.053545 | IMPNRGZ | elc_wof_KEN_008 | WaD | 0.065892 | IMPNRGZ
elc_spv_KEN_008 | WaN | 0 | IMPNRGZ | elc_won_KEN_008 | WaN | 0.055976 | IMPNRGZ | elc_wof_KEN_008 | WaN | 0.11303 | IMPNRGZ
elc_spv_KEN_008 | WaP | 0.024074 | IMPNRGZ | elc_won_KEN_008 | WaP | 0.008795 | IMPNRGZ | elc_wof_KEN_008 | WaP | 0.023436 | IMPNRGZ
elc_spv_KEN_009 | FaD | 0.2517 | IMPNRGZ | elc_won_KEN_009 | FaD | 0.079888 | IMPNRGZ | elc_wof_KEN_009 | FaD | 0.060005 | IMPNRGZ
elc_spv_KEN_009 | FaN | 0 | IMPNRGZ | elc_won_KEN_009 | FaN | 0.089225 | IMPNRGZ | elc_wof_KEN_009 | FaN | 0.090227 | IMPNRGZ
elc_spv_KEN_009 | FaP | 0.013342 | IMPNRGZ | elc_won_KEN_009 | FaP | 0.014516 | IMPNRGZ | elc_wof_KEN_009 | FaP | 0.019439 | IMPNRGZ
elc_spv_KEN_009 | RaD | 0.23307 | IMPNRGZ | elc_won_KEN_009 | RaD | 0.068945 | IMPNRGZ | elc_wof_KEN_009 | RaD | 0.086498 | IMPNRGZ
elc_spv_KEN_009 | RaN | 0 | IMPNRGZ | elc_won_KEN_009 | RaN | 0.065653 | IMPNRGZ | elc_wof_KEN_009 | RaN | 0.11032 | IMPNRGZ
elc_spv_KEN_009 | RaP | 0.020084 | IMPNRGZ | elc_won_KEN_009 | RaP | 0.010865 | IMPNRGZ | elc_wof_KEN_009 | RaP | 0.02497 | IMPNRGZ
elc_spv_KEN_009 | SaD | 0.19528 | IMPNRGZ | elc_won_KEN_009 | SaD | 0.23837 | IMPNRGZ | elc_wof_KEN_009 | SaD | 0.16899 | IMPNRGZ
elc_spv_KEN_009 | SaN | 0 | IMPNRGZ | elc_won_KEN_009 | SaN | 0.19227 | IMPNRGZ | elc_wof_KEN_009 | SaN | 0.21409 | IMPNRGZ
elc_spv_KEN_009 | SaP | 0.015132 | IMPNRGZ | elc_won_KEN_009 | SaP | 0.031894 | IMPNRGZ | elc_wof_KEN_009 | SaP | 0.037153 | IMPNRGZ
elc_spv_KEN_009 | WaD | 0.24745 | IMPNRGZ | elc_won_KEN_009 | WaD | 0.080628 | IMPNRGZ | elc_wof_KEN_009 | WaD | 0.056658 | IMPNRGZ
elc_spv_KEN_009 | WaN | 0 | IMPNRGZ | elc_won_KEN_009 | WaN | 0.10993 | IMPNRGZ | elc_wof_KEN_009 | WaN | 0.10577 | IMPNRGZ
elc_spv_KEN_009 | WaP | 0.023938 | IMPNRGZ | elc_won_KEN_009 | WaP | 0.017819 | IMPNRGZ | elc_wof_KEN_009 | WaP | 0.025874 | IMPNRGZ
elc_spv_KEN_010 | FaD | 0.24579 | IMPNRGZ | elc_won_KEN_010 | FaD | 0.076652 | IMPNRGZ | elc_wof_KEN_010 | FaD | 0.062652 | IMPNRGZ
elc_spv_KEN_010 | FaN | 0 | IMPNRGZ | elc_won_KEN_010 | FaN | 0.12227 | IMPNRGZ | elc_wof_KEN_010 | FaN | 0.086513 | IMPNRGZ
elc_spv_KEN_010 | FaP | 0.011739 | IMPNRGZ | elc_won_KEN_010 | FaP | 0.01522 | IMPNRGZ | elc_wof_KEN_010 | FaP | 0.017896 | IMPNRGZ
elc_spv_KEN_010 | RaD | 0.22848 | IMPNRGZ | elc_won_KEN_010 | RaD | 0.063216 | IMPNRGZ | elc_wof_KEN_010 | RaD | 0.072909 | IMPNRGZ
elc_spv_KEN_010 | RaN | 0 | IMPNRGZ | elc_won_KEN_010 | RaN | 0.095925 | IMPNRGZ | elc_wof_KEN_010 | RaN | 0.09628 | IMPNRGZ
elc_spv_KEN_010 | RaP | 0.018325 | IMPNRGZ | elc_won_KEN_010 | RaP | 0.011055 | IMPNRGZ | elc_wof_KEN_010 | RaP | 0.020551 | IMPNRGZ
elc_spv_KEN_010 | SaD | 0.19643 | IMPNRGZ | elc_won_KEN_010 | SaD | 0.20852 | IMPNRGZ | elc_wof_KEN_010 | SaD | 0.17048 | IMPNRGZ
elc_spv_KEN_010 | SaN | 0 | IMPNRGZ | elc_won_KEN_010 | SaN | 0.20839 | IMPNRGZ | elc_wof_KEN_010 | SaN | 0.2093 | IMPNRGZ
elc_spv_KEN_010 | SaP | 0.011404 | IMPNRGZ | elc_won_KEN_010 | SaP | 0.031091 | IMPNRGZ | elc_wof_KEN_010 | SaP | 0.035695 | IMPNRGZ
elc_spv_KEN_010 | WaD | 0.26239 | IMPNRGZ | elc_won_KEN_010 | WaD | 0.051469 | IMPNRGZ | elc_wof_KEN_010 | WaD | 0.081733 | IMPNRGZ
elc_spv_KEN_010 | WaN | 0 | IMPNRGZ | elc_won_KEN_010 | WaN | 0.10787 | IMPNRGZ | elc_wof_KEN_010 | WaN | 0.11856 | IMPNRGZ
elc_spv_KEN_010 | WaP | 0.025442 | IMPNRGZ | elc_won_KEN_010 | WaP | 0.0083186 | IMPNRGZ | elc_wof_KEN_010 | WaP | 0.027429 | IMPNRGZ
elc_spv_KEN_011 | FaD | 0.25892 | IMPNRGZ | elc_won_KEN_011 | FaD | 0.10453 | IMPNRGZ
elc_spv_KEN_011 | FaN | 0 | IMPNRGZ | elc_won_KEN_011 | FaN | 0.11513 | IMPNRGZ
elc_spv_KEN_011 | FaP | 0.013498 | IMPNRGZ | elc_won_KEN_011 | FaP | 0.02168 | IMPNRGZ
elc_spv_KEN_011 | RaD | 0.22269 | IMPNRGZ | elc_won_KEN_011 | RaD | 0.092993 | IMPNRGZ
elc_spv_KEN_011 | RaN | 0 | IMPNRGZ | elc_won_KEN_011 | RaN | 0.095191 | IMPNRGZ
elc_spv_KEN_011 | RaP | 0.017302 | IMPNRGZ | elc_won_KEN_011 | RaP | 0.017403 | IMPNRGZ
elc_spv_KEN_011 | SaD | 0.20327 | IMPNRGZ | elc_won_KEN_011 | SaD | 0.14517 | IMPNRGZ
elc_spv_KEN_011 | SaN | 0 | IMPNRGZ | elc_won_KEN_011 | SaN | 0.18382 | IMPNRGZ
elc_spv_KEN_011 | SaP | 0.016625 | IMPNRGZ | elc_won_KEN_011 | SaP | 0.026372 | IMPNRGZ
elc_spv_KEN_011 | WaD | 0.24527 | IMPNRGZ | elc_won_KEN_011 | WaD | 0.084973 | IMPNRGZ
elc_spv_KEN_011 | WaN | 0 | IMPNRGZ | elc_won_KEN_011 | WaN | 0.095022 | IMPNRGZ
elc_spv_KEN_011 | WaP | 0.022424 | IMPNRGZ | elc_won_KEN_011 | WaP | 0.017719 | IMPNRGZ
elc_spv_KEN_012 | FaD | 0.24511 | IMPNRGZ | elc_won_KEN_012 | FaD | 0.10124 | IMPNRGZ
elc_spv_KEN_012 | FaN | 0 | IMPNRGZ | elc_won_KEN_012 | FaN | 0.16627 | IMPNRGZ
elc_spv_KEN_012 | FaP | 0.012489 | IMPNRGZ | elc_won_KEN_012 | FaP | 0.017214 | IMPNRGZ
elc_spv_KEN_012 | RaD | 0.22253 | IMPNRGZ | elc_won_KEN_012 | RaD | 0.081818 | IMPNRGZ
elc_spv_KEN_012 | RaN | 0 | IMPNRGZ | elc_won_KEN_012 | RaN | 0.14244 | IMPNRGZ
elc_spv_KEN_012 | RaP | 0.01712 | IMPNRGZ | elc_won_KEN_012 | RaP | 0.013016 | IMPNRGZ
elc_spv_KEN_012 | SaD | 0.20514 | IMPNRGZ | elc_won_KEN_012 | SaD | 0.087737 | IMPNRGZ
elc_spv_KEN_012 | SaN | 0 | IMPNRGZ | elc_won_KEN_012 | SaN | 0.15915 | IMPNRGZ
elc_spv_KEN_012 | SaP | 0.015389 | IMPNRGZ | elc_won_KEN_012 | SaP | 0.0070655 | IMPNRGZ
elc_spv_KEN_012 | WaD | 0.25681 | IMPNRGZ | elc_won_KEN_012 | WaD | 0.090966 | IMPNRGZ
elc_spv_KEN_012 | WaN | 0 | IMPNRGZ | elc_won_KEN_012 | WaN | 0.11505 | IMPNRGZ
elc_spv_KEN_012 | WaP | 0.025413 | IMPNRGZ | elc_won_KEN_012 | WaP | 0.01803 | IMPNRGZ
elc_spv_KEN_013 | FaD | 0.24594 | IMPNRGZ | elc_won_KEN_013 | FaD | 0.11138 | IMPNRGZ
elc_spv_KEN_013 | FaN | 0 | IMPNRGZ | elc_won_KEN_013 | FaN | 0.12829 | IMPNRGZ
elc_spv_KEN_013 | FaP | 0.013193 | IMPNRGZ | elc_won_KEN_013 | FaP | 0.019822 | IMPNRGZ
elc_spv_KEN_013 | RaD | 0.21997 | IMPNRGZ | elc_won_KEN_013 | RaD | 0.10539 | IMPNRGZ
elc_spv_KEN_013 | RaN | 0 | IMPNRGZ | elc_won_KEN_013 | RaN | 0.11851 | IMPNRGZ
elc_spv_KEN_013 | RaP | 0.015319 | IMPNRGZ | elc_won_KEN_013 | RaP | 0.017202 | IMPNRGZ
elc_spv_KEN_013 | SaD | 0.18405 | IMPNRGZ | elc_won_KEN_013 | SaD | 0.11955 | IMPNRGZ
elc_spv_KEN_013 | SaN | 0 | IMPNRGZ | elc_won_KEN_013 | SaN | 0.15851 | IMPNRGZ
elc_spv_KEN_013 | SaP | 0.0073756 | IMPNRGZ | elc_won_KEN_013 | SaP | 0.016777 | IMPNRGZ
elc_spv_KEN_013 | WaD | 0.29167 | IMPNRGZ | elc_won_KEN_013 | WaD | 0.089847 | IMPNRGZ
elc_spv_KEN_013 | WaN | 0 | IMPNRGZ | elc_won_KEN_013 | WaN | 0.099312 | IMPNRGZ
elc_spv_KEN_013 | WaP | 0.022487 | IMPNRGZ | elc_won_KEN_013 | WaP | 0.015422 | IMPNRGZ
elc_spv_KEN_014 | FaD | 0.24396 | IMPNRGZ | elc_won_KEN_014 | FaD | 0.12508 | IMPNRGZ
elc_spv_KEN_014 | FaN | 0 | IMPNRGZ | elc_won_KEN_014 | FaN | 0.16221 | IMPNRGZ
elc_spv_KEN_014 | FaP | 0.013147 | IMPNRGZ | elc_won_KEN_014 | FaP | 0.024509 | IMPNRGZ
elc_spv_KEN_014 | RaD | 0.2265 | IMPNRGZ | elc_won_KEN_014 | RaD | 0.10429 | IMPNRGZ
elc_spv_KEN_014 | RaN | 0 | IMPNRGZ | elc_won_KEN_014 | RaN | 0.12838 | IMPNRGZ
elc_spv_KEN_014 | RaP | 0.015972 | IMPNRGZ | elc_won_KEN_014 | RaP | 0.017006 | IMPNRGZ
elc_spv_KEN_014 | SaD | 0.19332 | IMPNRGZ | elc_won_KEN_014 | SaD | 0.087861 | IMPNRGZ
elc_spv_KEN_014 | SaN | 0 | IMPNRGZ | elc_won_KEN_014 | SaN | 0.14718 | IMPNRGZ
elc_spv_KEN_014 | SaP | 0.0054946 | IMPNRGZ | elc_won_KEN_014 | SaP | 0.01958 | IMPNRGZ
elc_spv_KEN_014 | WaD | 0.27989 | IMPNRGZ | elc_won_KEN_014 | WaD | 0.062078 | IMPNRGZ
elc_spv_KEN_014 | WaN | 0 | IMPNRGZ | elc_won_KEN_014 | WaN | 0.10696 | IMPNRGZ
elc_spv_KEN_014 | WaP | 0.021718 | IMPNRGZ | elc_won_KEN_014 | WaP | 0.014855 | IMPNRGZ
elc_spv_KEN_015 | FaD | 0.2432 | IMPNRGZ | elc_won_KEN_015 | FaD | 0.13068 | IMPNRGZ
elc_spv_KEN_015 | FaN | 0 | IMPNRGZ | elc_won_KEN_015 | FaN | 0.10682 | IMPNRGZ
elc_spv_KEN_015 | FaP | 0.011658 | IMPNRGZ | elc_won_KEN_015 | FaP | 0.013396 | IMPNRGZ
elc_spv_KEN_015 | RaD | 0.22598 | IMPNRGZ | elc_won_KEN_015 | RaD | 0.13263 | IMPNRGZ
elc_spv_KEN_015 | RaN | 0 | IMPNRGZ | elc_won_KEN_015 | RaN | 0.11074 | IMPNRGZ
elc_spv_KEN_015 | RaP | 0.01271 | IMPNRGZ | elc_won_KEN_015 | RaP | 0.013885 | IMPNRGZ
elc_spv_KEN_015 | SaD | 0.1811 | IMPNRGZ | elc_won_KEN_015 | SaD | 0.11831 | IMPNRGZ
elc_spv_KEN_015 | SaN | 0 | IMPNRGZ | elc_won_KEN_015 | SaN | 0.1152 | IMPNRGZ
elc_spv_KEN_015 | SaP | 0.00346 | IMPNRGZ | elc_won_KEN_015 | SaP | 0.0079037 | IMPNRGZ
elc_spv_KEN_015 | WaD | 0.30359 | IMPNRGZ | elc_won_KEN_015 | WaD | 0.14234 | IMPNRGZ
elc_spv_KEN_015 | WaN | 0 | IMPNRGZ | elc_won_KEN_015 | WaN | 0.092813 | IMPNRGZ
elc_spv_KEN_015 | WaP | 0.0183 | IMPNRGZ | elc_won_KEN_015 | WaP | 0.01527 | IMPNRGZ
elc_spv_KEN_016 | FaD | 0.24601 | IMPNRGZ | elc_won_KEN_016 | FaD | 0.10251 | IMPNRGZ
elc_spv_KEN_016 | FaN | 0 | IMPNRGZ | elc_won_KEN_016 | FaN | 0.11055 | IMPNRGZ
elc_spv_KEN_016 | FaP | 0.0121 | IMPNRGZ | elc_won_KEN_016 | FaP | 0.010188 | IMPNRGZ
elc_spv_KEN_016 | RaD | 0.22736 | IMPNRGZ | elc_won_KEN_016 | RaD | 0.10873 | IMPNRGZ
elc_spv_KEN_016 | RaN | 0 | IMPNRGZ | elc_won_KEN_016 | RaN | 0.12193 | IMPNRGZ
elc_spv_KEN_016 | RaP | 0.013538 | IMPNRGZ | elc_won_KEN_016 | RaP | 0.0095795 | IMPNRGZ
elc_spv_KEN_016 | SaD | 0.18647 | IMPNRGZ | elc_won_KEN_016 | SaD | 0.15215 | IMPNRGZ
elc_spv_KEN_016 | SaN | 0 | IMPNRGZ | elc_won_KEN_016 | SaN | 0.16542 | IMPNRGZ
elc_spv_KEN_016 | SaP | 0.0043889 | IMPNRGZ | elc_won_KEN_016 | SaP | 0.011032 | IMPNRGZ
elc_spv_KEN_016 | WaD | 0.29254 | IMPNRGZ | elc_won_KEN_016 | WaD | 0.089252 | IMPNRGZ
elc_spv_KEN_016 | WaN | 0 | IMPNRGZ | elc_won_KEN_016 | WaN | 0.10809 | IMPNRGZ
elc_spv_KEN_016 | WaP | 0.017587 | IMPNRGZ | elc_won_KEN_016 | WaP | 0.01056 | IMPNRGZ
elc_spv_KEN_017 | FaD | 0.25622 | IMPNRGZ | elc_won_KEN_017 | FaD | 0.13085 | IMPNRGZ
elc_spv_KEN_017 | FaN | 0 | IMPNRGZ | elc_won_KEN_017 | FaN | 0.069774 | IMPNRGZ
elc_spv_KEN_017 | FaP | 0.015222 | IMPNRGZ | elc_won_KEN_017 | FaP | 0.015187 | IMPNRGZ
elc_spv_KEN_017 | RaD | 0.21381 | IMPNRGZ | elc_won_KEN_017 | RaD | 0.17662 | IMPNRGZ
elc_spv_KEN_017 | RaN | 0 | IMPNRGZ | elc_won_KEN_017 | RaN | 0.099527 | IMPNRGZ
elc_spv_KEN_017 | RaP | 0.014913 | IMPNRGZ | elc_won_KEN_017 | RaP | 0.020824 | IMPNRGZ
elc_spv_KEN_017 | SaD | 0.20058 | IMPNRGZ | elc_won_KEN_017 | SaD | 0.094331 | IMPNRGZ
elc_spv_KEN_017 | SaN | 0 | IMPNRGZ | elc_won_KEN_017 | SaN | 0.072831 | IMPNRGZ
elc_spv_KEN_017 | SaP | 0.012574 | IMPNRGZ | elc_won_KEN_017 | SaP | 0.0094623 | IMPNRGZ
elc_spv_KEN_017 | WaD | 0.2597 | IMPNRGZ | elc_won_KEN_017 | WaD | 0.18981 | IMPNRGZ
elc_spv_KEN_017 | WaN | 0 | IMPNRGZ | elc_won_KEN_017 | WaN | 0.10054 | IMPNRGZ
elc_spv_KEN_017 | WaP | 0.026979 | IMPNRGZ | elc_won_KEN_017 | WaP | 0.020241 | IMPNRGZ
elc_spv_KEN_018 | FaD | 0.25959 | IMPNRGZ | elc_won_KEN_018 | FaD | 0.18902 | IMPNRGZ
elc_spv_KEN_018 | FaN | 0 | IMPNRGZ | elc_won_KEN_018 | FaN | 0.087334 | IMPNRGZ
elc_spv_KEN_018 | FaP | 0.014113 | IMPNRGZ | elc_won_KEN_018 | FaP | 0.022708 | IMPNRGZ
elc_spv_KEN_018 | RaD | 0.21888 | IMPNRGZ | elc_won_KEN_018 | RaD | 0.12047 | IMPNRGZ
elc_spv_KEN_018 | RaN | 0 | IMPNRGZ | elc_won_KEN_018 | RaN | 0.070589 | IMPNRGZ
elc_spv_KEN_018 | RaP | 0.015379 | IMPNRGZ | elc_won_KEN_018 | RaP | 0.021552 | IMPNRGZ
elc_spv_KEN_018 | SaD | 0.19266 | IMPNRGZ | elc_won_KEN_018 | SaD | 0.026852 | IMPNRGZ
elc_spv_KEN_018 | SaN | 0 | IMPNRGZ | elc_won_KEN_018 | SaN | 0.026986 | IMPNRGZ
elc_spv_KEN_018 | SaP | 0.010244 | IMPNRGZ | elc_won_KEN_018 | SaP | 0.0043699 | IMPNRGZ
elc_spv_KEN_018 | WaD | 0.26282 | IMPNRGZ | elc_won_KEN_018 | WaD | 0.26819 | IMPNRGZ
elc_spv_KEN_018 | WaN | 0 | IMPNRGZ | elc_won_KEN_018 | WaN | 0.12123 | IMPNRGZ
elc_spv_KEN_018 | WaP | 0.026314 | IMPNRGZ | elc_won_KEN_018 | WaP | 0.040699 | IMPNRGZ
elc_spv_KEN_019 | FaD | 0.25517 | IMPNRGZ | elc_won_KEN_019 | FaD | 0.11045 | IMPNRGZ
elc_spv_KEN_019 | FaN | 0 | IMPNRGZ | elc_won_KEN_019 | FaN | 0.17792 | IMPNRGZ
elc_spv_KEN_019 | FaP | 0.013743 | IMPNRGZ | elc_won_KEN_019 | FaP | 0.026545 | IMPNRGZ
elc_spv_KEN_019 | RaD | 0.23597 | IMPNRGZ | elc_won_KEN_019 | RaD | 0.071213 | IMPNRGZ
elc_spv_KEN_019 | RaN | 0 | IMPNRGZ | elc_won_KEN_019 | RaN | 0.13406 | IMPNRGZ
elc_spv_KEN_019 | RaP | 0.017072 | IMPNRGZ | elc_won_KEN_019 | RaP | 0.018434 | IMPNRGZ
elc_spv_KEN_019 | SaD | 0.18486 | IMPNRGZ | elc_won_KEN_019 | SaD | 0.047491 | IMPNRGZ
elc_spv_KEN_019 | SaN | 0 | IMPNRGZ | elc_won_KEN_019 | SaN | 0.1282 | IMPNRGZ
elc_spv_KEN_019 | SaP | 0.0075625 | IMPNRGZ | elc_won_KEN_019 | SaP | 0.006967 | IMPNRGZ
elc_spv_KEN_019 | WaD | 0.2582 | IMPNRGZ | elc_won_KEN_019 | WaD | 0.12293 | IMPNRGZ
elc_spv_KEN_019 | WaN | 0 | IMPNRGZ | elc_won_KEN_019 | WaN | 0.12581 | IMPNRGZ
elc_spv_KEN_019 | WaP | 0.027424 | IMPNRGZ | elc_won_KEN_019 | WaP | 0.029973 | IMPNRGZ
elc_spv_KEN_020 | FaD | 0.26066 | IMPNRGZ | elc_won_KEN_020 | FaD | 0.067185 | IMPNRGZ
elc_spv_KEN_020 | FaN | 0 | IMPNRGZ | elc_won_KEN_020 | FaN | 0.15545 | IMPNRGZ
elc_spv_KEN_020 | FaP | 0.013155 | IMPNRGZ | elc_won_KEN_020 | FaP | 0.032477 | IMPNRGZ
elc_spv_KEN_020 | RaD | 0.2253 | IMPNRGZ | elc_won_KEN_020 | RaD | 0.057612 | IMPNRGZ
elc_spv_KEN_020 | RaN | 0 | IMPNRGZ | elc_won_KEN_020 | RaN | 0.12991 | IMPNRGZ
elc_spv_KEN_020 | RaP | 0.016226 | IMPNRGZ | elc_won_KEN_020 | RaP | 0.025539 | IMPNRGZ
elc_spv_KEN_020 | SaD | 0.19412 | IMPNRGZ | elc_won_KEN_020 | SaD | 0.015238 | IMPNRGZ
elc_spv_KEN_020 | SaN | 0 | IMPNRGZ | elc_won_KEN_020 | SaN | 0.089681 | IMPNRGZ
elc_spv_KEN_020 | SaP | 0.0085204 | IMPNRGZ | elc_won_KEN_020 | SaP | 0.008288 | IMPNRGZ
elc_spv_KEN_020 | WaD | 0.2542 | IMPNRGZ | elc_won_KEN_020 | WaD | 0.14093 | IMPNRGZ
elc_spv_KEN_020 | WaN | 0 | IMPNRGZ | elc_won_KEN_020 | WaN | 0.22728 | IMPNRGZ
elc_spv_KEN_020 | WaP | 0.02781 | IMPNRGZ | elc_won_KEN_020 | WaP | 0.050411 | IMPNRGZ
elc_spv_KEN_021 | FaD | 0.26381 | IMPNRGZ | elc_won_KEN_021 | FaD | 0.10936 | IMPNRGZ
elc_spv_KEN_021 | FaN | 0 | IMPNRGZ | elc_won_KEN_021 | FaN | 0.14242 | IMPNRGZ
elc_spv_KEN_021 | FaP | 0.014025 | IMPNRGZ | elc_won_KEN_021 | FaP | 0.034124 | IMPNRGZ
elc_spv_KEN_021 | RaD | 0.21606 | IMPNRGZ | elc_won_KEN_021 | RaD | 0.089104 | IMPNRGZ
elc_spv_KEN_021 | RaN | 0 | IMPNRGZ | elc_won_KEN_021 | RaN | 0.10461 | IMPNRGZ
elc_spv_KEN_021 | RaP | 0.015964 | IMPNRGZ | elc_won_KEN_021 | RaP | 0.026616 | IMPNRGZ
elc_spv_KEN_021 | SaD | 0.19624 | IMPNRGZ | elc_won_KEN_021 | SaD | 0.06309 | IMPNRGZ
elc_spv_KEN_021 | SaN | 0 | IMPNRGZ | elc_won_KEN_021 | SaN | 0.1504 | IMPNRGZ
elc_spv_KEN_021 | SaP | 0.010985 | IMPNRGZ | elc_won_KEN_021 | SaP | 0.024544 | IMPNRGZ
elc_spv_KEN_021 | WaD | 0.25622 | IMPNRGZ | elc_won_KEN_021 | WaD | 0.12802 | IMPNRGZ
elc_spv_KEN_021 | WaN | 0 | IMPNRGZ | elc_won_KEN_021 | WaN | 0.10072 | IMPNRGZ
elc_spv_KEN_021 | WaP | 0.026703 | IMPNRGZ | elc_won_KEN_021 | WaP | 0.027011 | IMPNRGZ
elc_spv_KEN_022 | FaD | 0.25035 | IMPNRGZ | elc_won_KEN_022 | FaD | 0.098536 | IMPNRGZ
elc_spv_KEN_022 | FaN | 0 | IMPNRGZ | elc_won_KEN_022 | FaN | 0.21986 | IMPNRGZ
elc_spv_KEN_022 | FaP | 0.014225 | IMPNRGZ | elc_won_KEN_022 | FaP | 0.069545 | IMPNRGZ
elc_spv_KEN_022 | RaD | 0.22775 | IMPNRGZ | elc_won_KEN_022 | RaD | 0.061052 | IMPNRGZ
elc_spv_KEN_022 | RaN | 0 | IMPNRGZ | elc_won_KEN_022 | RaN | 0.093357 | IMPNRGZ
elc_spv_KEN_022 | RaP | 0.018347 | IMPNRGZ | elc_won_KEN_022 | RaP | 0.034969 | IMPNRGZ
elc_spv_KEN_022 | SaD | 0.1988 | IMPNRGZ | elc_won_KEN_022 | SaD | 0.038705 | IMPNRGZ
elc_spv_KEN_022 | SaN | 0 | IMPNRGZ | elc_won_KEN_022 | SaN | 0.16884 | IMPNRGZ
elc_spv_KEN_022 | SaP | 0.013441 | IMPNRGZ | elc_won_KEN_022 | SaP | 0.040591 | IMPNRGZ
elc_spv_KEN_022 | WaD | 0.25415 | IMPNRGZ | elc_won_KEN_022 | WaD | 0.065401 | IMPNRGZ
elc_spv_KEN_022 | WaN | 0 | IMPNRGZ | elc_won_KEN_022 | WaN | 0.079764 | IMPNRGZ
elc_spv_KEN_022 | WaP | 0.022943 | IMPNRGZ | elc_won_KEN_022 | WaP | 0.029384 | IMPNRGZ
elc_spv_KEN_023 | FaD | 0.24644 | IMPNRGZ | elc_won_KEN_023 | FaD | 0.058769 | IMPNRGZ
elc_spv_KEN_023 | FaN | 0 | IMPNRGZ | elc_won_KEN_023 | FaN | 0.31423 | IMPNRGZ
elc_spv_KEN_023 | FaP | 0.013347 | IMPNRGZ | elc_won_KEN_023 | FaP | 0.046888 | IMPNRGZ
elc_spv_KEN_023 | RaD | 0.23371 | IMPNRGZ | elc_won_KEN_023 | RaD | 0.024595 | IMPNRGZ
elc_spv_KEN_023 | RaN | 0 | IMPNRGZ | elc_won_KEN_023 | RaN | 0.10608 | IMPNRGZ
elc_spv_KEN_023 | RaP | 0.014706 | IMPNRGZ | elc_won_KEN_023 | RaP | 0.019307 | IMPNRGZ
elc_spv_KEN_023 | SaD | 0.1938 | IMPNRGZ | elc_won_KEN_023 | SaD | 0.022099 | IMPNRGZ
elc_spv_KEN_023 | SaN | 0 | IMPNRGZ | elc_won_KEN_023 | SaN | 0.15689 | IMPNRGZ
elc_spv_KEN_023 | SaP | 0.0070099 | IMPNRGZ | elc_won_KEN_023 | SaP | 0.0080267 | IMPNRGZ
elc_spv_KEN_023 | WaD | 0.26886 | IMPNRGZ | elc_won_KEN_023 | WaD | 0.048268 | IMPNRGZ
elc_spv_KEN_023 | WaN | 0 | IMPNRGZ | elc_won_KEN_023 | WaN | 0.16115 | IMPNRGZ
elc_spv_KEN_023 | WaP | 0.02213 | IMPNRGZ | elc_won_KEN_023 | WaP | 0.033694 | IMPNRGZ
elc_spv_KEN_024 | FaD | 0.24851 | IMPNRGZ
elc_spv_KEN_024 | FaN | 0 | IMPNRGZ
elc_spv_KEN_024 | FaP | 0.013477 | IMPNRGZ
elc_spv_KEN_024 | RaD | 0.23457 | IMPNRGZ
elc_spv_KEN_024 | RaN | 0 | IMPNRGZ
elc_spv_KEN_024 | RaP | 0.017278 | IMPNRGZ
elc_spv_KEN_024 | SaD | 0.19846 | IMPNRGZ
elc_spv_KEN_024 | SaN | 0 | IMPNRGZ
elc_spv_KEN_024 | SaP | 0.0093354 | IMPNRGZ
elc_spv_KEN_024 | WaD | 0.2544 | IMPNRGZ
elc_spv_KEN_024 | WaN | 0 | IMPNRGZ
elc_spv_KEN_024 | WaP | 0.023967 | IMPNRGZ
elc_spv_KEN_025 | FaD | 0.25102 | IMPNRGZ
elc_spv_KEN_025 | FaN | 0 | IMPNRGZ
elc_spv_KEN_025 | FaP | 0.011946 | IMPNRGZ
elc_spv_KEN_025 | RaD | 0.23163 | IMPNRGZ
elc_spv_KEN_025 | RaN | 0 | IMPNRGZ
elc_spv_KEN_025 | RaP | 0.012967 | IMPNRGZ
elc_spv_KEN_025 | SaD | 0.19112 | IMPNRGZ
elc_spv_KEN_025 | SaN | 0 | IMPNRGZ
elc_spv_KEN_025 | SaP | 0.0058207 | IMPNRGZ
elc_spv_KEN_025 | WaD | 0.27877 | IMPNRGZ
elc_spv_KEN_025 | WaN | 0 | IMPNRGZ
elc_spv_KEN_025 | WaP | 0.016726 | IMPNRGZ
elc_spv_KEN_026 | FaD | 0.25255 | IMPNRGZ
elc_spv_KEN_026 | FaN | 0 | IMPNRGZ
elc_spv_KEN_026 | FaP | 0.013663 | IMPNRGZ
elc_spv_KEN_026 | RaD | 0.22907 | IMPNRGZ
elc_spv_KEN_026 | RaN | 0 | IMPNRGZ
elc_spv_KEN_026 | RaP | 0.014264 | IMPNRGZ
elc_spv_KEN_026 | SaD | 0.19283 | IMPNRGZ
elc_spv_KEN_026 | SaN | 0 | IMPNRGZ
elc_spv_KEN_026 | SaP | 0.0084708 | IMPNRGZ
elc_spv_KEN_026 | WaD | 0.26438 | IMPNRGZ
elc_spv_KEN_026 | WaN | 0 | IMPNRGZ
elc_spv_KEN_026 | WaP | 0.024771 | IMPNRGZ
elc_spv_KEN_027 | FaD | 0.2536 | IMPNRGZ
elc_spv_KEN_027 | FaN | 0 | IMPNRGZ
elc_spv_KEN_027 | FaP | 0.014651 | IMPNRGZ
elc_spv_KEN_027 | RaD | 0.2191 | IMPNRGZ
elc_spv_KEN_027 | RaN | 0 | IMPNRGZ
elc_spv_KEN_027 | RaP | 0.013041 | IMPNRGZ
elc_spv_KEN_027 | SaD | 0.20704 | IMPNRGZ
elc_spv_KEN_027 | SaN | 0 | IMPNRGZ
elc_spv_KEN_027 | SaP | 0.011705 | IMPNRGZ
elc_spv_KEN_027 | WaD | 0.25928 | IMPNRGZ
elc_spv_KEN_027 | WaN | 0 | IMPNRGZ
elc_spv_KEN_027 | WaP | 0.021582 | IMPNRGZ
elc_spv_KEN_028 | FaD | 0.25204 | IMPNRGZ
elc_spv_KEN_028 | FaN | 0 | IMPNRGZ
elc_spv_KEN_028 | FaP | 0.012725 | IMPNRGZ
elc_spv_KEN_028 | RaD | 0.22471 | IMPNRGZ
elc_spv_KEN_028 | RaN | 0 | IMPNRGZ
elc_spv_KEN_028 | RaP | 0.012129 | IMPNRGZ
elc_spv_KEN_028 | SaD | 0.20498 | IMPNRGZ
elc_spv_KEN_028 | SaN | 0 | IMPNRGZ
elc_spv_KEN_028 | SaP | 0.0098663 | IMPNRGZ
elc_spv_KEN_028 | WaD | 0.26778 | IMPNRGZ
elc_spv_KEN_028 | WaN | 0 | IMPNRGZ
elc_spv_KEN_028 | WaP | 0.015765 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT | [13 empty] | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX | [13 empty] | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX | [13 empty] | ~TFM_DINS-TSL: attribute=NCAP_PKCNT | [12 empty] | ~TFM_DINS-AT
process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | WaN | WaD | WaP | RaN | RaD | RaP | SaN | SaD | SaP | FaN | FaD | FaP | process | commodity | other_indexes | ncap_com
distr_solelc_spv_KEN_001 | DEF_E | 0 | 0.17783 | 0.097065 | 0 | 0.20171 | 0.16385 | 0 | 0.23082 | 0.30239 | 0 | 0.18898 | 0.15688 | distr_sol* | ELC4H | 0 | 0.037133 | 0.041803 | 0 | 0.051166 | 0.068046 | 0 | 0.071007 | 0.13331 | 0 | 0.041166 | 0.20819 | distr_sol* | ELC8H | 0 | 0.015635 | 0.089128 | 0 | 0.016197 | 0.086864 | 0 | 0.013087 | 0.019039 | 0 | 0.01153 | 0.033434 | distr_solelc_spv_KEN_001 | 0 | 0.5557 | 0.47347 | 0 | 0.43539 | 0.33226 | 0 | 0.36501 | 0.12164 | 0 | 0.46768 | 0.33156 | distr_solelc_spv_KEN_001 | DEF_C | OUT | 0.5557
distr_solelc_spv_KEN_002 | DEF_E | 0 | 0.1763 | 0.086282 | 0 | 0.19268 | 0.14964 | 0 | 0.17115 | 0.096396 | 0 | 0.1631 | 0.11711 | distr_won* | ELC4H | 0.016749 | 0.039164 | 0.0080606 | 0.010014 | 0.013158 | 0.0021589 | 0.0098024 | 0.045374 | 0.0046732 | 0.0081882 | 0.01606 | 0.004848 | distr_won* | ELC8H | 0.014325 | 0.027324 | 0.0048312 | 0.0090144 | 0.010871 | 0.0018251 | 0.0095723 | 0.014135 | 0.010294 | 0.010885 | 0.010824 | 0.0016992 | distr_solelc_spv_KEN_002 | 0 | 0.50281 | 0.45545 | 0 | 0.42336 | 0.32708 | 0 | 0.41679 | 0.32402 | 0 | 0.49396 | 0.38104 | distr_solelc_spv_KEN_002 | DEF_C | OUT | 0.50281
distr_solelc_spv_KEN_003 | DEF_E | 0 | 0.13932 | 0.25397 | 0 | 0.14568 | 0.17747 | 0 | 0.18039 | 0.2032 | 0 | 0.1122 | 0.47608 | distr_wof* | ELC4H | 0.014063 | 0.052506 | 0.0080177 | 0.0089291 | 0.013718 | 0.00092653 | 0.0056342 | 0.0056312 | 0.0023179 | 0.011658 | 0.021285 | 0.0045795 | distr_wof* | ELC8H | 0.036432 | 0.059235 | 0.02531 | 0.015448 | 0.017486 | 0.03175 | 0.009911 | 0.021865 | 0.010257 | 0.019346 | 0.011137 | 0.021261 | distr_solelc_spv_KEN_003 | 0 | 0.54841 | 0.26243 | 0 | 0.47734 | 0.22859 | 0 | 0.41282 | 0.16242 | 0 | 0.52908 | 0.15313 | distr_solelc_spv_KEN_003 | DEF_C | OUT | 0.54841
distr_solelc_spv_KEN_004 | DEF_E | 0 | 0.14206 | 0.19612 | 0 | 0.15007 | 0.12872 | 0 | 0.16852 | 0.17708 | 0 | 0.12319 | 0.39876 | [28 empty] | distr_solelc_spv_KEN_004 | 0 | 0.54806 | 0.30838 | 0 | 0.49467 | 0.29319 | 0 | 0.43824 | 0.21913 | 0 | 0.54795 | 0.2094 | distr_solelc_spv_KEN_004 | DEF_C | OUT | 0.54806
distr_solelc_spv_KEN_005 | DEF_E | 0 | 0.15577 | 0.20169 | 0 | 0.17361 | 0.31739 | 0 | 0.16508 | 0.19452 | 0 | 0.11621 | 0.48888 | [28 empty] | distr_solelc_spv_KEN_005 | 0 | 0.52915 | 0.3057 | 0 | 0.44031 | 0.20318 | 0 | 0.41068 | 0.21168 | 0 | 0.54685 | 0.17665 | distr_solelc_spv_KEN_005 | DEF_C | OUT | 0.54685
distr_solelc_spv_KEN_006 | DEF_E | 0 | 0.15233 | 0.1928 | 0 | 0.19033 | 0.3616 | 0 | 0.19824 | 0.34067 | 0 | 0.15122 | 0.52274 | [28 empty] | distr_solelc_spv_KEN_006 | 0 | 0.53303 | 0.30872 | 0 | 0.42403 | 0.19503 | 0 | 0.33997 | 0.11964 | 0 | 0.4993 | 0.14761 | distr_solelc_spv_KEN_006 | DEF_C | OUT | 0.53303
distr_solelc_spv_KEN_007 | DEF_E | 0 | 0.15621 | 0.23599 | 0 | 0.18496 | 0.38257 | 0 | 0.18924 | 0.24611 | 0 | 0.14061 | 0.51327 | [28 empty] | distr_solelc_spv_KEN_007 | 0 | 0.54427 | 0.27469 | 0 | 0.44826 | 0.17878 | 0 | 0.37546 | 0.13757 | 0 | 0.51159 | 0.12784 | distr_solelc_spv_KEN_007 | DEF_C | OUT | 0.54427
distr_solelc_spv_KEN_008 | DEF_E | 0 | 0.14321 | 0.23203 | 0 | 0.15055 | 0.36528 | 0 | 0.17212 | 0.21525 | 0 | 0.11961 | 0.50406 | [28 empty] | distr_solelc_spv_KEN_008 | 0 | 0.55999 | 0.2925 | 0 | 0.50224 | 0.19806 | 0 | 0.42892 | 0.16854 | 0 | 0.54327 | 0.14487 | distr_solelc_spv_KEN_008 | DEF_C | OUT | 0.55999
distr_solelc_spv_KEN_009 | DEF_E | 0 | 0.14252 | 0.20414 | 0 | 0.1472 | 0.20338 | 0 | 0.17087 | 0.18824 | 0 | 0.10722 | 0.45145 | [28 empty] | distr_solelc_spv_KEN_009 | 0 | 0.55547 | 0.29555 | 0 | 0.51181 | 0.24257 | 0 | 0.42884 | 0.18276 | 0 | 0.5588 | 0.16292 | distr_solelc_spv_KEN_009 | DEF_C | OUT | 0.5588
distr_solelc_spv_KEN_010 | DEF_E | 0 | 0.1622 | 0.21328 | 0 | 0.17853 | 0.28788 | 0 | 0.18528 | 0.25406 | 0 | 0.15385 | 0.44933 | [28 empty] | distr_solelc_spv_KEN_010 | 0 | 0.53498 | 0.2853 | 0 | 0.45572 | 0.20103 | 0 | 0.39179 | 0.12511 | 0 | 0.49564 | 0.13019 | distr_solelc_spv_KEN_010 | DEF_C | OUT | 0.53498
distr_solelc_spv_KEN_011 | DEF_E | 0 | 0.16547 | 0.22946 | 0 | 0.17719 | 0.27147 | 0 | 0.17311 | 0.16348 | 0 | 0.12213 | 0.45305 | [28 empty] | distr_solelc_spv_KEN_011 | 0 | 0.53019 | 0.2666 | 0 | 0.47091 | 0.20123 | 0 | 0.42983 | 0.19336 | 0 | 0.55354 | 0.15872 | distr_solelc_spv_KEN_011 | DEF_C | OUT | 0.55354
distr_solelc_spv_KEN_012 | DEF_E | 0 | 0.16672 | 0.19832 | 0 | 0.18731 | 0.29039 | 0 | 0.17646 | 0.20797 | 0 | 0.15432 | 0.40559 | [28 empty] | distr_solelc_spv_KEN_012 | 0 | 0.53063 | 0.2888 | 0 | 0.4498 | 0.19033 | 0 | 0.41466 | 0.17109 | 0 | 0.50089 | 0.14037 | distr_solelc_spv_KEN_012 | DEF_C | OUT | 0.53063
distr_solelc_spv_KEN_013 | DEF_E | 0 | 0.13118 | 0.34857 | 0 | 0.17329 | 0.4177 | 0 | 0.21253 | 0.3252 | 0 | 0.14038 | 0.51045 | [28 empty] | distr_solelc_spv_KEN_013 | 0 | 0.57021 | 0.24179 | 0 | 0.42069 | 0.16114 | 0 | 0.35199 | 0.077582 | 0 | 0.47553 | 0.1403 | distr_solelc_spv_KEN_013 | DEF_C | OUT | 0.57021
distr_solelc_spv_KEN_014 | DEF_E | 0 | 0.12453 | 0.33524 | 0 | 0.15328 | 0.44475 | 0 | 0.20127 | 0.51921 | 0 | 0.14534 | 0.51881 | [28 empty] | distr_solelc_spv_KEN_014 | 0 | 0.56222 | 0.23994 | 0 | 0.44509 | 0.17263 | 0 | 0.37989 | 0.059385 | 0 | 0.48468 | 0.14366 | distr_solelc_spv_KEN_014 | DEF_C | OUT | 0.56222
distr_solelc_spv_KEN_015 | DEF_E | 0 | 0.11734 | 0.5 | 0 | 0.16425 | 0.51389 | 0 | 0.21632 | 0.54414 | 0 | 0.1502 | 0.52141 | [28 empty] | distr_solelc_spv_KEN_015 | 0 | 0.59331 | 0.1967 | 0 | 0.43202 | 0.13365 | 0 | 0.34623 | 0.036381 | 0 | 0.47006 | 0.12393 | distr_solelc_spv_KEN_015 | DEF_C | OUT | 0.59331
distr_solelc_spv_KEN_016 | DEF_E | 0 | 0.11355 | 0.49329 | 0 | 0.14763 | 0.50217 | 0 | 0.1911 | 0.56008 | 0 | 0.13221 | 0.52294 | [28 empty] | distr_solelc_spv_KEN_016 | 0 | 0.58249 | 0.1926 | 0 | 0.44287 | 0.14504 | 0 | 0.36322 | 0.047019 | 0 | 0.48446 | 0.13105 | distr_solelc_spv_KEN_016 | DEF_C | OUT | 0.58249
distr_solelc_spv_KEN_017 | DEF_E | 0 | 0.12431 | 0.22428 | 0 | 0.15846 | 0.46168 | 0 | 0.1508 | 0.50846 | 0 | 0.11847 | 0.50452 | [28 empty] | distr_solelc_spv_KEN_017 | 0 | 0.52572 | 0.30038 | 0 | 0.42341 | 0.16243 | 0 | 0.39722 | 0.13695 | 0 | 0.51299 | 0.16762 | distr_solelc_spv_KEN_017 | DEF_C | OUT | 0.52572
distr_solelc_spv_KEN_018 | DEF_E | 0 | 0.13388 | 0.20782 | 0 | 0.16713 | 0.40485 | 0 | 0.17394 | 0.50253 | 0 | 0.12961 | 0.5059 | [28 empty] | distr_solelc_spv_KEN_018 | 0 | 0.52272 | 0.28784 | 0 | 0.42586 | 0.16457 | 0 | 0.37484 | 0.10962 | 0 | 0.51063 | 0.15269 | distr_solelc_spv_KEN_018 | DEF_C | OUT | 0.52272
distr_solelc_spv_KEN_019 | DEF_E | 0 | 0.13871 | 0.22057 | 0 | 0.14646 | 0.40118 | 0 | 0.20587 | 0.52854 | 0 | 0.14038 | 0.51539 | [28 empty] | distr_solelc_spv_KEN_019 | 0 | 0.51385 | 0.30018 | 0 | 0.45939 | 0.1828 | 0 | 0.3599 | 0.080977 | 0 | 0.50223 | 0.14877 | distr_solelc_spv_KEN_019 | DEF_C | OUT | 0.51385
distr_solelc_spv_KEN_020 | DEF_E | 0 | 0.15385 | 0.19926 | 0 | 0.17304 | 0.40329 | 0 | 0.20167 | 0.52789 | 0 | 0.14761 | 0.51859 | [28 empty] | distr_solelc_spv_KEN_020 | 0 | 0.50752 | 0.30538 | 0 | 0.44004 | 0.17431 | 0 | 0.37913 | 0.091527 | 0 | 0.5147 | 0.14287 | distr_solelc_spv_KEN_020 | DEF_C | OUT | 0.5147
distr_solelc_spv_KEN_021 | DEF_E | 0 | 0.15437 | 0.20635 | 0 | 0.18073 | 0.37955 | 0 | 0.18335 | 0.42068 | 0 | 0.14007 | 0.52001 | [28 empty] | distr_solelc_spv_KEN_021 | 0 | 0.51124 | 0.29305 | 0 | 0.42174 | 0.17138 | 0 | 0.38306 | 0.11793 | 0 | 0.52059 | 0.15223 | distr_solelc_spv_KEN_021 | DEF_C | OUT | 0.52059
distr_solelc_spv_KEN_022 | DEF_E | 0 | 0.129 | 0.24805 | 0 | 0.13543 | 0.33884 | 0 | 0.17371 | 0.22754 | 0 | 0.11081 | 0.501 | [28 empty] | distr_solelc_spv_KEN_022 | 0 | 0.5599 | 0.27799 | 0 | 0.49084 | 0.21747 | 0 | 0.42843 | 0.15932 | 0 | 0.54546 | 0.17047 | distr_solelc_spv_KEN_022 | DEF_C | OUT | 0.5599
distr_solelc_spv_KEN_023 | DEF_E | 0 | 0.12031 | 0.31128 | 0 | 0.13312 | 0.46925 | 0 | 0.18121 | 0.53558 | 0 | 0.13246 | 0.51682 | [28 empty] | distr_solelc_spv_KEN_023 | 0 | 0.56088 | 0.25391 | 0 | 0.47694 | 0.16506 | 0 | 0.39549 | 0.078681 | 0 | 0.50846 | 0.15145 | distr_solelc_spv_KEN_023 | DEF_C | OUT | 0.56088
distr_solelc_spv_KEN_024 | DEF_E | 0 | 0.12479 | 0.25097 | 0 | 0.12954 | 0.39491 | 0 | 0.17959 | 0.44994 | 0 | 0.12575 | 0.50731 | [28 empty] | distr_solelc_spv_KEN_024 | 0 | 0.54471 | 0.28224 | 0 | 0.49132 | 0.19905 | 0 | 0.4157 | 0.10755 | 0 | 0.52625 | 0.15696 | distr_solelc_spv_KEN_024 | DEF_C | OUT | 0.54471
distr_solelc_spv_KEN_025 | DEF_E | 0 | 0.11994 | 0.49075 | 0 | 0.13815 | 0.51126 | 0 | 0.16724 | 0.54193 | 0 | 0.12454 | 0.52107 | [28 empty] | distr_solelc_spv_KEN_025 | 0 | 0.56316 | 0.18584 | 0 | 0.45776 | 0.14095 | 0 | 0.37771 | 0.063268 | 0 | 0.50152 | 0.13128 | distr_solelc_spv_KEN_025 | DEF_C | OUT | 0.56316
distr_solelc_spv_KEN_026 | DEF_E | 0 | 0.12385 | 0.26788 | 0 | 0.14735 | 0.4673 | 0 | 0.16228 | 0.50394 | 0 | 0.1254 | 0.50596 | [28 empty] | distr_solelc_spv_KEN_026 | 0 | 0.52485 | 0.27047 | 0 | 0.44487 | 0.15236 | 0 | 0.37449 | 0.09048 | 0 | 0.49587 | 0.14754 | distr_solelc_spv_KEN_026 | DEF_C | OUT | 0.52485
distr_solelc_spv_KEN_027 | DEF_E | 0 | 0.12373 | 0.3223 | 0 | 0.1513 | 0.52289 | 0 | 0.12955 | 0.50395 | 0 | 0.11437 | 0.50921 | [28 empty] | distr_solelc_spv_KEN_027 | 0 | 0.51922 | 0.23771 | 0 | 0.42923 | 0.14051 | 0 | 0.4056 | 0.12611 | 0 | 0.50226 | 0.15959 | distr_solelc_spv_KEN_027 | DEF_C | OUT | 0.51922
distr_solelc_spv_KEN_028 | DEF_E | 0 | 0.12446 | 0.49787 | 0 | 0.14608 | 0.52074 | 0 | 0.12948 | 0.50091 | 0 | 0.12086 | 0.50955 | [28 empty] | distr_solelc_spv_KEN_028 | 0 | 0.53638 | 0.17368 | 0 | 0.44032 | 0.13071 | 0 | 0.40166 | 0.10633 | 0 | 0.49931 | 0.13865 | distr_solelc_spv_KEN_028 | DEF_C | OUT | 0.5363
distr_wofelc_wof_KEN_001 | DEF_E | 0.32923 | 0.36203 | 0.23302 | 0.31944 | 0.34302 | 0.254 | 0.18779 | 0.21885 | 0.22195 | 0.29816 | 0.35025 | 0.20351 | [28 empty] | distr_wofelc_wof_KEN_001 | 0.27675 | 0.22325 | 0.42001 | 0.28453 | 0.26213 | 0.34822 | 0.52124 | 0.44276 | 0.4918 | 0.18993 | 0.1345 | 0.23083 | distr_wonelc_won_KEN_001 | DEF_C | OUT | 0.33273
distr_wofelc_wof_KEN_002 | DEF_E | 0.36191 | 0.38609 | 0.23377 | 0.31647 | 0.31622 | 0.23426 | 0.20963 | 0.23917 | 0.24424 | 0.33495 | 0.33687 | 0.19408 | [28 empty] | distr_wofelc_wof_KEN_002 | 0.18672 | 0.18229 | 0.39884 | 0.20638 | 0.2219 | 0.2752 | 0.35295 | 0.3471 | 0.3589 | 0.11881 | 0.10939 | 0.17065 | distr_wonelc_won_KEN_002 | DEF_C | OUT | 0.35249
distr_wofelc_wof_KEN_003 | DEF_E | 0.33188 | 0.34473 | 0.20499 | 0.31575 | 0.32602 | 0.23675 | 0.1701 | 0.19289 | 0.17314 | 0.30409 | 0.31875 | 0.18397 | [28 empty] | distr_wofelc_wof_KEN_003 | 0.21439 | 0.16424 | 0.35604 | 0.28089 | 0.28113 | 0.38685 | 0.51393 | 0.47818 | 0.53067 | 0.19714 | 0.1762 | 0.27852 | distr_wonelc_won_KEN_003 | DEF_C | OUT | 0.50141
distr_wofelc_wof_KEN_004 | DEF_E | 0.30506 | 0.34362 | 0.19636 | 0.29816 | 0.32725 | 0.18709 | 0.1584 | 0.17666 | 0.1327 | 0.28648 | 0.31436 | 0.18138 | [28 empty] | distr_wofelc_wof_KEN_004 | 0.17478 | 0.091968 | 0.30076 | 0.2048 | 0.20276 | 0.30303 | 0.40577 | 0.41696 | 0.44379 | 0.1725 | 0.17607 | 0.2622 | distr_wonelc_won_KEN_004 | DEF_C | OUT | 0.46598
distr_wofelc_wof_KEN_005 | DEF_E | 0.26972 | 0.28484 | 0.19315 | 0.29259 | 0.31958 | 0.16169 | 0.14866 | 0.1607 | 0.11666 | 0.27373 | 0.28887 | 0.18775 | [28 empty] | distr_wofelc_wof_KEN_005 | 0.24055 | 0.1648 | 0.3792 | 0.18818 | 0.18893 | 0.27528 | 0.42636 | 0.44111 | 0.46265 | 0.18578 | 0.19998 | 0.26972 | distr_wonelc_won_KEN_005 | DEF_C | OUT | 0.53227
distr_wofelc_wof_KEN_006 | DEF_E | 0.23426 | 0.26519 | 0.21625 | 0.28927 | 0.37121 | 0.23723 | 0.12894 | 0.15263 | 0.13796 | 0.25901 | 0.30392 | 0.21986 | [28 empty] | distr_wofelc_wof_KEN_006 | 0.37149 | 0.29173 | 0.40895 | 0.25006 | 0.18301 | 0.27159 | 0.58251 | 0.46721 | 0.52515 | 0.25089 | 0.17757 | 0.25322 | distr_wonelc_won_KEN_006 | DEF_C | OUT | 0.5298
distr_wofelc_wof_KEN_007 | DEF_E | 0.27463 | 0.34126 | 0.25042 | 0.31513 | 0.39791 | 0.27661 | 0.13438 | 0.16877 | 0.15593 | 0.27094 | 0.34573 | 0.22107 | [28 empty] | distr_wofelc_wof_KEN_007 | 0.36016 | 0.21548 | 0.35659 | 0.30186 | 0.21902 | 0.32986 | 0.65715 | 0.50689 | 0.58094 | 0.26929 | 0.16792 | 0.27046 | distr_wonelc_won_KEN_007 | DEF_C | OUT | 0.55863
distr_wofelc_wof_KEN_008 | DEF_E | 0.29903 | 0.35599 | 0.23627 | 0.32016 | 0.37648 | 0.2682 | 0.15838 | 0.19001 | 0.18098 | 0.27708 | 0.35533 | 0.21136 | [28 empty] | distr_wofelc_wof_KEN_008 | 0.31866 | 0.18576 | 0.36339 | 0.30228 | 0.23874 | 0.34522 | 0.60002 | 0.46899 | 0.5337 | 0.23871 | 0.14869 | 0.26034 | distr_wonelc_won_KEN_008 | DEF_C | OUT | 0.49862
distr_wofelc_wof_KEN_009 | DEF_E | 0.2925 | 0.34439 | 0.20891 | 0.3095 | 0.35521 | 0.24317 | 0.14001 | 0.17265 | 0.14564 | 0.27439 | 0.32846 | 0.19137 | [28 empty] | distr_wofelc_wof_KEN_009 | 0.31855 | 0.17063 | 0.42857 | 0.32503 | 0.25484 | 0.40461 | 0.63074 | 0.49788 | 0.60203 | 0.26875 | 0.17873 | 0.31844 | distr_wonelc_won_KEN_009 | DEF_C | OUT | 0.41381
distr_wofelc_wof_KEN_010 | DEF_E | 0.26913 | 0.29477 | 0.21313 | 0.30253 | 0.35544 | 0.22863 | 0.13598 | 0.15979 | 0.13953 | 0.26631 | 0.30435 | 0.19218 | [28 empty] | distr_wofelc_wof_KEN_010 | 0.3526 | 0.24307 | 0.44865 | 0.28011 | 0.21211 | 0.32884 | 0.60892 | 0.49598 | 0.57116 | 0.25446 | 0.18428 | 0.28951 | distr_wonelc_won_KEN_010 | DEF_C | OUT | 0.5013
distr_wonelc_won_KEN_001 | DEF_E | 0.50692 | 0.48095 | 0.25429 | 0.4356 | 0.39892 | 0.21283 | 0.35075 | 0.25277 | 0.12153 | 0.51156 | 0.39752 | 0.19644 | [28 empty] | distr_wonelc_won_KEN_001 | 0.046515 | 0.060707 | 0.114 | 0.067615 | 0.073592 | 0.17544 | 0.15439 | 0.16408 | 0.35219 | 0.099257 | 0.10607 | 0.37191 | distr_wonelc_won_KEN_011 | DEF_C | OUT | 0.45167
distr_wonelc_won_KEN_002 | DEF_E | 0.27464 | 0.40533 | 0.30239 | 0.3004 | 0.40303 | 0.27493 | 0.18795 | 0.15632 | 0.091499 | 0.35203 | 0.37246 | 0.25952 | [28 empty] | distr_wonelc_won_KEN_002 | 0.082189 | 0.023992 | 0.062443 | 0.19126 | 0.16098 | 0.24281 | 0.37521 | 0.39972 | 0.52157 | 0.23983 | 0.17798 | 0.36628 | distr_wonelc_won_KEN_012 | DEF_C | OUT | 0.44156
distr_wonelc_won_KEN_003 | DEF_E | 0.29781 | 0.30738 | 0.18151 | 0.28529 | 0.30398 | 0.17657 | 0.13845 | 0.16036 | 0.12315 | 0.2954 | 0.30986 | 0.16694 | [28 empty] | distr_wonelc_won_KEN_003 | 0.23616 | 0.18607 | 0.43186 | 0.28554 | 0.3079 | 0.41965 | 0.52236 | 0.56022 | 0.58685 | 0.22168 | 0.23698 | 0.35409 | distr_wonelc_won_KEN_013 | DEF_C | OUT | 0.68307
distr_wonelc_won_KEN_004 | DEF_E | 0.4094 | 0.4184 | 0.20201 | 0.28447 | 0.35696 | 0.15868 | 0.21482 | 0.1792 | 0.079301 | 0.35405 | 0.36419 | 0.17617 | [28 empty] | distr_wonelc_won_KEN_004 | 0.11888 | 0.036292 | 0.16237 | 0.21301 | 0.21747 | 0.38503 | 0.376 | 0.49877 | 0.64442 | 0.20041 | 0.21009 | 0.48563 | distr_wonelc_won_KEN_014 | DEF_C | OUT | 0.17312
distr_wonelc_won_KEN_005 | DEF_E | 0.28955 | 0.36002 | 0.23665 | 0.26828 | 0.39412 | 0.21357 | 0.18158 | 0.16789 | 0.063974 | 0.30896 | 0.3721 | 0.2411 | [28 empty] | distr_wonelc_won_KEN_005 | 0.25911 | 0.081683 | 0.24946 | 0.20874 | 0.19812 | 0.32708 | 0.39165 | 0.59021 | 0.67311 | 0.23227 | 0.21836 | 0.44709 | distr_wonelc_won_KEN_015 | DEF_C | OUT | 0.31052
distr_wonelc_won_KEN_006 | DEF_E | 0.25405 | 0.34665 | 0.2738 | 0.26101 | 0.40162 | 0.283 | 0.17269 | 0.13354 | 0.059654 | 0.30857 | 0.36811 | 0.26088 | [28 empty] | distr_wonelc_won_KEN_006 | 0.27518 | 0.074312 | 0.10202 | 0.30273 | 0.23634 | 0.33703 | 0.55754 | 0.64998 | 0.77462 | 0.36068 | 0.24781 | 0.4561 | distr_wonelc_won_KEN_016 | DEF_C | OUT | 0.34528
distr_wonelc_won_KEN_007 | DEF_E | 0.24566 | 0.30723 | 0.25845 | 0.26987 | 0.3731 | 0.39171 | 0.098175 | 0.10166 | 0.070661 | 0.27101 | 0.35796 | 0.32377 | [28 empty] | distr_wonelc_won_KEN_007 | 0.21617 | 0.087536 | 0.060827 | 0.37334 | 0.29696 | 0.33406 | 0.71157 | 0.71332 | 0.74175 | 0.4465 | 0.32022 | 0.38883 | distr_wonelc_won_KEN_017 | DEF_C | OUT | 0.27554
distr_wonelc_won_KEN_008 | DEF_E | 0.21736 | 0.25399 | 0.20043 | 0.31598 | 0.30891 | 0.30213 | 0.11321 | 0.18024 | 0.16565 | 0.27712 | 0.30407 | 0.26028 | [28 empty] | distr_wonelc_won_KEN_008 | 0.16373 | 0.15662 | 0.14149 | 0.29565 | 0.26231 | 0.3019 | 0.60438 | 0.47117 | 0.55159 | 0.38125 | 0.28975 | 0.3917 | distr_wonelc_won_KEN_018 | DEF_C | OUT | 0.20825
distr_wonelc_won_KEN_009 | DEF_E | 0.22026 | 0.32581 | 0.22429 | 0.35817 | 0.39954 | 0.35304 | 0.13606 | 0.12116 | 0.10317 | 0.34036 | 0.37991 | 0.35454 | [28 empty] | distr_wonelc_won_KEN_009 | 0.26702 | 0.19585 | 0.23807 | 0.15601 | 0.16383 | 0.14201 | 0.45689 | 0.56644 | 0.41685 | 0.21436 | 0.19192 | 0.1918 | distr_wonelc_won_KEN_019 | DEF_C | OUT | 0.23883
distr_wonelc_won_KEN_010 | DEF_E | 0.19155 | 0.2881 | 0.2666 | 0.30459 | 0.38441 | 0.34823 | 0.12629 | 0.13893 | 0.11896 | 0.27736 | 0.36324 | 0.32165 | [28 empty] | distr_wonelc_won_KEN_010 | 0.29766 | 0.14203 | 0.12626 | 0.25896 | 0.17065 | 0.16414 | 0.56256 | 0.56292 | 0.46163 | 0.33371 | 0.2092 | 0.22847 | distr_wonelc_won_KEN_020 | DEF_C | OUT | 0.23529
distr_wonelc_won_KEN_011 | DEF_E | 0.26336 | 0.27498 | 0.20661 | 0.28829 | 0.27296 | 0.25719 | 0.11455 | 0.19583 | 0.1596 | 0.24412 | 0.23727 | 0.20284 | [28 empty] | distr_wonelc_won_KEN_011 | 0.28408 | 0.25403 | 0.29136 | 0.27839 | 0.27197 | 0.27992 | 0.5376 | 0.42457 | 0.42421 | 0.3404 | 0.30906 | 0.35257 | distr_wonelc_won_KEN_021 | DEF_C | OUT | 0.25139
distr_wonelc_won_KEN_012 | DEF_E | 0.37022 | 0.39648 | 0.38825 | 0.33136 | 0.36439 | 0.41146 | 0.36769 | 0.39856 | 0.43878 | 0.27611 | 0.33255 | 0.39333 | [28 empty] | distr_wonelc_won_KEN_012 | 0.30973 | 0.24489 | 0.26696 | 0.37512 | 0.21547 | 0.18854 | 0.41913 | 0.23106 | 0.10234 | 0.4427 | 0.26955 | 0.25208 | distr_wonelc_won_KEN_022 | DEF_C | OUT | 0.31588
distr_wonelc_won_KEN_013 | DEF_E | 0.26439 | 0.30055 | 0.3045 | 0.22319 | 0.25687 | 0.2691 | 0.16074 | 0.26678 | 0.29791 | 0.18701 | 0.24775 | 0.22997 | [28 empty] | distr_wonelc_won_KEN_013 | 0.43814 | 0.39638 | 0.3742 | 0.51148 | 0.45483 | 0.40833 | 0.68411 | 0.51595 | 0.39825 | 0.55975 | 0.48597 | 0.47569 | distr_wonelc_won_KEN_023 | DEF_C | OUT | 0.22692
distr_wonelc_won_KEN_014 | DEF_E | 0.51363 | 0.52305 | 0.43555 | 0.39494 | 0.40001 | 0.39862 | 0.31496 | 0.398 | 0.29776 | 0.32382 | 0.37486 | 0.31017 | [28 empty] | distr_wonelc_won_KEN_014 | 0.1155 | 0.067033 | 0.088226 | 0.13562 | 0.11016 | 0.098803 | 0.15547 | 0.09281 | 0.11376 | 0.17323 | 0.13358 | 0.14396 | distr_wofelc_wof_KEN_001 | DEF_C | OUT | 0.4836
distr_wonelc_won_KEN_015 | DEF_E | 0.39308 | 0.36695 | 0.40416 | 0.39382 | 0.3181 | 0.34715 | 0.45342 | 0.37048 | 0.37469 | 0.41192 | 0.35889 | 0.41534 | [28 empty] | distr_wonelc_won_KEN_015 | 0.20247 | 0.31052 | 0.18321 | 0.23632 | 0.28304 | 0.16297 | 0.24584 | 0.25248 | 0.092766 | 0.23046 | 0.28194 | 0.15896 | distr_wofelc_wof_KEN_002 | DEF_C | OUT | 0.3801
distr_wonelc_won_KEN_016 | DEF_E | 0.36985 | 0.38561 | 0.40842 | 0.36177 | 0.36467 | 0.44076 | 0.36149 | 0.35849 | 0.42652 | 0.37307 | 0.38771 | 0.40284 | [28 empty] | distr_wonelc_won_KEN_016 | 0.23063 | 0.19044 | 0.12392 | 0.25451 | 0.22696 | 0.10997 | 0.34528 | 0.31759 | 0.12665 | 0.23328 | 0.21633 | 0.11825 | distr_wofelc_wof_KEN_003 | DEF_C | OUT | 0.44505
distr_wonelc_won_KEN_017 | DEF_E | 0.36453 | 0.4055 | 0.39433 | 0.36668 | 0.32073 | 0.347 | 0.43605 | 0.45634 | 0.41187 | 0.43519 | 0.46524 | 0.40076 | [28 empty] | distr_wonelc_won_KEN_017 | 0.14596 | 0.27556 | 0.16162 | 0.14135 | 0.25084 | 0.16266 | 0.10344 | 0.13397 | 0.073912 | 0.10018 | 0.18788 | 0.11993 | distr_wofelc_wof_KEN_004 | DEF_C | OUT | 0.3741
distr_wonelc_won_KEN_018 | DEF_E | 0.38145 | 0.44065 | 0.2979 | 0.46586 | 0.47592 | 0.44417 | 0.51294 | 0.48598 | 0.51539 | 0.46196 | 0.43798 | 0.43031 | [28 empty] | distr_wonelc_won_KEN_018 | 0.094131 | 0.20825 | 0.17381 | 0.05362 | 0.091509 | 0.090043 | 0.020499 | 0.020397 | 0.018257 | 0.067069 | 0.14516 | 0.095913 | distr_wofelc_wof_KEN_005 | DEF_C | OUT | 0.38838
distr_wonelc_won_KEN_019 | DEF_E | 0.43406 | 0.45834 | 0.37038 | 0.40163 | 0.42156 | 0.44216 | 0.41848 | 0.40493 | 0.46676 | 0.35532 | 0.38284 | 0.3868 | [28 empty] | distr_wonelc_won_KEN_019 | 0.17076 | 0.16685 | 0.22375 | 0.178 | 0.094556 | 0.13462 | 0.17023 | 0.063057 | 0.050879 | 0.23883 | 0.14827 | 0.19599 | distr_wofelc_wof_KEN_006 | DEF_C | OUT | 0.45838
distr_wonelc_won_KEN_020 | DEF_E | 0.36937 | 0.38273 | 0.33 | 0.45696 | 0.50698 | 0.48565 | 0.38319 | 0.49248 | 0.42341 | 0.41727 | 0.48239 | 0.37133 | [28 empty] | distr_wonelc_won_KEN_020 | 0.19307 | 0.11972 | 0.23553 | 0.10796 | 0.047876 | 0.11673 | 0.074526 | 0.012663 | 0.037881 | 0.1306 | 0.056445 | 0.15007 | distr_wofelc_wof_KEN_007 | DEF_C | OUT | 0.50084
distr_wonelc_won_KEN_021 | DEF_E | 0.30252 | 0.34123 | 0.26039 | 0.35912 | 0.34299 | 0.29663 | 0.29721 | 0.35932 | 0.32587 | 0.30185 | 0.29915 | 0.22886 | [28 empty] | distr_wonelc_won_KEN_021 | 0.15131 | 0.19232 | 0.22319 | 0.15374 | 0.13095 | 0.21514 | 0.22103 | 0.092721 | 0.1984 | 0.21161 | 0.16249 | 0.27886 | distr_wofelc_wof_KEN_008 | DEF_C | OUT | 0.50751
distr_wonelc_won_KEN_022 | DEF_E | 0.46438 | 0.48205 | 0.29264 | 0.51408 | 0.51416 | 0.28611 | 0.41588 | 0.56846 | 0.22831 | 0.43242 | 0.45882 | 0.21055 | [28 empty] | distr_wonelc_won_KEN_022 | 0.069697 | 0.057147 | 0.14122 | 0.079801 | 0.052187 | 0.1644 | 0.14432 | 0.033085 | 0.19083 | 0.19 | 0.085154 | 0.33055 | distr_wofelc_wof_KEN_009 | DEF_C | OUT | 0.50529
distr_wonelc_won_KEN_023 | DEF_E | 0.48663 | 0.58968 | 0.47122 | 0.58266 | 0.61928 | 0.56574 | 0.35567 | 0.48544 | 0.33467 | 0.39448 | 0.55963 | 0.448 | [28 empty] | distr_wonelc_won_KEN_023 | 0.11767 | 0.035244 | 0.13531 | 0.075769 | 0.017568 | 0.075851 | 0.11207 | 0.015785 | 0.031534 | 0.22692 | 0.04244 | 0.18623 | distr_wofelc_wof_KEN_010 | DEF_C | OUT | 0.47116

## load_shapes
~TFM_DINS-AT
g_yrfr | com_fr | timeslice | commodity
0.11427 | 0.16087 | FaD | elc_roadtransport
0.11427 | 0.052548 | FaN | elc_roadtransport
0.020776 | 0.035897 | FaP | elc_roadtransport
0.11553 | 0.16264 | RaD | elc_roadtransport
0.11553 | 0.053125 | RaN | elc_roadtransport
0.021005 | 0.036291 | RaP | elc_roadtransport
0.11553 | 0.16264 | SaD | elc_roadtransport
0.11553 | 0.053125 | SaN | elc_roadtransport
0.021005 | 0.036291 | SaP | elc_roadtransport
0.11301 | 0.1591 | WaD | elc_roadtransport
0.11301 | 0.05197 | WaN | elc_roadtransport
0.020548 | 0.035502 | WaP | elc_roadtransport

## demand
~TFM_DINS-AT
commodity | timeslice | com_fr
elc_buildings | FaD | 0.12427
elc_buildings | FaN | 0.099741
elc_buildings | FaP | 0.025757
elc_buildings | RaD | 0.12574
elc_buildings | RaN | 0.10186
elc_buildings | RaP | 0.026002
elc_buildings | SaD | 0.1239
elc_buildings | SaN | 0.10015
elc_buildings | SaP | 0.025553
elc_buildings | WaD | 0.12259
elc_buildings | WaN | 0.09912
elc_buildings | WaP | 0.025329
elc_industry | FaD | 0.11478
elc_industry | FaN | 0.11351
elc_industry | FaP | 0.021032
elc_industry | RaD | 0.11602
elc_industry | RaN | 0.11479
elc_industry | RaP | 0.021256
elc_industry | SaD | 0.11601
elc_industry | SaN | 0.11478
elc_industry | SaP | 0.021249
elc_industry | WaD | 0.1135
elc_industry | WaN | 0.11229
elc_industry | WaP | 0.020793

## peak_factors
~TFM_DINS-AT
commodity | timeslice | com_pkflx
ELC | FaD | 0.056116
ELC | FaN | 0.3007
ELC | FaP | 0.072621
ELC | RaD | 0.055717
ELC | RaN | 0.30771
ELC | RaP | 0.084128
ELC | SaD | 0.060875
ELC | SaN | 0.24694
ELC | SaP | 0.039302
ELC | WaD | 0.055309
ELC | WaN | 0.30083
ELC | WaP | 0.077699

## hydro_af
~TFM_INS-AT
Year | timeslice | ncap_afs | pset_ci
2020 | F | 0.60353 | hydro
2020 | R | 0.52183 | hydro
2020 | S | 0.55927 | hydro
2020 | W | 0.59217 | hydro
2021 | F | 0.45757 | hydro
2021 | R | 0.52113 | hydro
2021 | S | 0.464 | hydro
2021 | W | 0.51057 | hydro
2022 | F | 0.38323 | hydro
2022 | R | 0.3947 | hydro
2022 | S | 0.40567 | hydro
2022 | W | 0.41973 | hydro
2025 | F | 0.41707 | hydro
2025 | R | 0.37247 | hydro
2025 | S | 0.4514 | hydro
2025 | W | 0.42953 | hydro
2026 | F | 0.4286 | hydro
2026 | R | 0.3733 | hydro
2026 | S | 0.47367 | hydro
2026 | W | 0.47693 | hydro
2027 | F | 0.36917 | hydro
2027 | R | 0.41507 | hydro
2027 | S | 0.3952 | hydro
2027 | W | 0.38647 | hydro
2028 | F | 0.49167 | hydro
2028 | R | 0.40673 | hydro
2028 | S | 0.4094 | hydro
2028 | W | 0.4538 | hydro
2029 | F | 0.43237 | hydro
2029 | R | 0.3545 | hydro
2029 | S | 0.4298 | hydro
2029 | W | 0.43373 | hydro
2030 | F | 0.45263 | hydro
2030 | R | 0.40163 | hydro
2030 | S | 0.36883 | hydro
2030 | W | 0.45387 | hydro
2031 | F | 0.44937 | hydro
2031 | R | 0.4661 | hydro
2031 | S | 0.50713 | hydro
2031 | W | 0.42793 | hydro
2032 | F | 0.47403 | hydro
2032 | R | 0.3331 | hydro
2032 | S | 0.3467 | hydro
2032 | W | 0.40177 | hydro
2033 | F | 0.35393 | hydro
2033 | R | 0.3723 | hydro
2033 | S | 0.4352 | hydro
2033 | W | 0.42473 | hydro
2034 | F | 0.4066 | hydro
2034 | R | 0.4221 | hydro
2034 | S | 0.4354 | hydro
2034 | W | 0.45313 | hydro
2035 | F | 0.34657 | hydro
2035 | R | 0.40487 | hydro
2035 | S | 0.40647 | hydro
2035 | W | 0.43673 | hydro
2036 | F | 0.40837 | hydro
2036 | R | 0.4945 | hydro
2036 | S | 0.4074 | hydro
2036 | W | 0.50703 | hydro
2037 | F | 0.56263 | hydro
2037 | R | 0.41457 | hydro
2037 | S | 0.3005 | hydro
2037 | W | 0.4479 | hydro
2038 | F | 0.50327 | hydro
2038 | R | 0.55167 | hydro
2038 | S | 0.49783 | hydro
2038 | W | 0.5975 | hydro
2039 | F | 0.39773 | hydro
2039 | R | 0.39867 | hydro
2039 | S | 0.5304 | hydro
2039 | W | 0.46327 | hydro
2040 | F | 0.384 | hydro
2040 | R | 0.4944 | hydro
2040 | S | 0.41487 | hydro
2040 | W | 0.45807 | hydro
2041 | F | 0.52373 | hydro
2041 | R | 0.48737 | hydro
2041 | S | 0.39823 | hydro
2041 | W | 0.54223 | hydro
2042 | F | 0.51073 | hydro
2042 | R | 0.4294 | hydro
2042 | S | 0.4902 | hydro
2042 | W | 0.50593 | hydro
2043 | F | 0.42363 | hydro
2043 | R | 0.33187 | hydro
2043 | S | 0.4784 | hydro
2043 | W | 0.50293 | hydro
2044 | F | 0.58543 | hydro
2044 | R | 0.59793 | hydro
2044 | S | 0.5383 | hydro
2044 | W | 0.43887 | hydro
2045 | F | 0.4248 | hydro
2045 | R | 0.3625 | hydro
2045 | S | 0.49707 | hydro
2045 | W | 0.53033 | hydro
2046 | F | 0.49237 | hydro
2046 | R | 0.54647 | hydro
2046 | S | 0.43163 | hydro
2046 | W | 0.44283 | hydro
2047 | F | 0.4566 | hydro
2047 | R | 0.51963 | hydro
2047 | S | 0.4393 | hydro
2047 | W | 0.43003 | hydro
2048 | F | 0.38423 | hydro
2048 | R | 0.32567 | hydro
2048 | S | 0.49857 | hydro
2048 | W | 0.36857 | hydro
2049 | F | 0.42073 | hydro
2049 | R | 0.46177 | hydro
2049 | S | 0.48097 | hydro
2049 | W | 0.39843 | hydro
2050 | F | 0.43833 | hydro
2050 | R | 0.36617 | hydro
2050 | S | 0.39303 | hydro
2050 | W | 0.40593 | hydro