## ev_charging_uc
ts_annual | day_night | ts_annual
| D | AllSaAllH
| N | AllSaAllH
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
Not Required!
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | AllSaAllH | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | AllSaAllH | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1

## timeslice_def
~TimeSlices
ts_annual | season | weekly | daynite | wparent | dparent
| AllS | a | AllH | AllS | a

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_KEN_001 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_001 | AllSaAllH | 1 | IMPNRGZ | elc_wof_KEN_001 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_002 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_002 | AllSaAllH | 1 | IMPNRGZ | elc_wof_KEN_002 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_003 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_003 | AllSaAllH | 1 | IMPNRGZ | elc_wof_KEN_003 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_004 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_004 | AllSaAllH | 1 | IMPNRGZ | elc_wof_KEN_004 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_005 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_005 | AllSaAllH | 1 | IMPNRGZ | elc_wof_KEN_005 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_006 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_006 | AllSaAllH | 1 | IMPNRGZ | elc_wof_KEN_006 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_007 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_007 | AllSaAllH | 1 | IMPNRGZ | elc_wof_KEN_007 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_008 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_008 | AllSaAllH | 1 | IMPNRGZ | elc_wof_KEN_008 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_009 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_009 | AllSaAllH | 1 | IMPNRGZ | elc_wof_KEN_009 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_010 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_010 | AllSaAllH | 1 | IMPNRGZ | elc_wof_KEN_010 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_011 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_011 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_012 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_012 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_013 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_013 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_014 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_014 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_015 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_015 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_016 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_016 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_017 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_017 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_018 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_018 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_019 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_019 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_020 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_020 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_021 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_021 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_022 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_022 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_023 | AllSaAllH | 1 | IMPNRGZ | elc_won_KEN_023 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_024 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_025 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_026 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_027 | AllSaAllH | 1 | IMPNRGZ
elc_spv_KEN_028 | AllSaAllH | 1 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT |  |  | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_DINS-TSL: attribute=NCAP_PKCNT |  | ~TFM_DINS-AT
process | commodity | AllSaAllH | process | commodity | AllSaAllH | process | commodity | AllSaAllH | process | AllSaAllH | process | commodity | other_indexes | ncap_com
distr_solelc_spv_KEN_001 | DEF_E | 0.53622 | distr_sol* | ELC4H | 0.14517 | distr_sol* | ELC8H | 0.15567 | distr_solelc_spv_KEN_001 | 0.23486 | distr_solelc_spv_KEN_001 | DEF_C | OUT | 0.23486
distr_solelc_spv_KEN_002 | DEF_E | 0.51246 | distr_won* | ELC4H | 0.011128 | distr_won* | ELC8H | 0.0089027 | distr_solelc_spv_KEN_002 | 0.24128 | distr_solelc_spv_KEN_002 | DEF_C | OUT | 0.24128
distr_solelc_spv_KEN_003 | DEF_E | 0.51886 | distr_wof* | ELC4H | 0.0091777 | distr_wof* | ELC8H | 0.020473 | distr_solelc_spv_KEN_003 | 0.24206 | distr_solelc_spv_KEN_003 | DEF_C | OUT | 0.24206
distr_solelc_spv_KEN_004 | DEF_E | 0.51878 | [6 empty] | distr_solelc_spv_KEN_004 | 0.25377 | distr_solelc_spv_KEN_004 | DEF_C | OUT | 0.25377
distr_solelc_spv_KEN_005 | DEF_E | 0.52187 | [6 empty] | distr_solelc_spv_KEN_005 | 0.23927 | distr_solelc_spv_KEN_005 | DEF_C | OUT | 0.23927
distr_solelc_spv_KEN_006 | DEF_E | 0.53335 | [6 empty] | distr_solelc_spv_KEN_006 | 0.22157 | distr_solelc_spv_KEN_006 | DEF_C | OUT | 0.22157
distr_solelc_spv_KEN_007 | DEF_E | 0.53125 | [6 empty] | distr_solelc_spv_KEN_007 | 0.23007 | distr_solelc_spv_KEN_007 | DEF_C | OUT | 0.23007
distr_solelc_spv_KEN_008 | DEF_E | 0.52396 | [6 empty] | distr_solelc_spv_KEN_008 | 0.24966 | distr_solelc_spv_KEN_008 | DEF_C | OUT | 0.24966
distr_solelc_spv_KEN_009 | DEF_E | 0.52043 | [6 empty] | distr_solelc_spv_KEN_009 | 0.25369 | distr_solelc_spv_KEN_009 | DEF_C | OUT | 0.25369
distr_solelc_spv_KEN_010 | DEF_E | 0.53213 | [6 empty] | distr_solelc_spv_KEN_010 | 0.23042 | distr_solelc_spv_KEN_010 | DEF_C | OUT | 0.23042
distr_solelc_spv_KEN_011 | DEF_E | 0.5256 | [6 empty] | distr_solelc_spv_KEN_011 | 0.24429 | distr_solelc_spv_KEN_011 | DEF_C | OUT | 0.24429
distr_solelc_spv_KEN_012 | DEF_E | 0.52992 | [6 empty] | distr_solelc_spv_KEN_012 | 0.23351 | distr_solelc_spv_KEN_012 | DEF_C | OUT | 0.23351
distr_solelc_spv_KEN_013 | DEF_E | 0.53482 | [6 empty] | distr_solelc_spv_KEN_013 | 0.22094 | distr_solelc_spv_KEN_013 | DEF_C | OUT | 0.22094
distr_solelc_spv_KEN_014 | DEF_E | 0.53323 | [6 empty] | distr_solelc_spv_KEN_014 | 0.22702 | distr_solelc_spv_KEN_014 | DEF_C | OUT | 0.22702
distr_solelc_spv_KEN_015 | DEF_E | 0.54252 | [6 empty] | distr_solelc_spv_KEN_015 | 0.22086 | distr_solelc_spv_KEN_015 | DEF_C | OUT | 0.22086
distr_solelc_spv_KEN_016 | DEF_E | 0.53397 | [6 empty] | distr_solelc_spv_KEN_016 | 0.22503 | distr_solelc_spv_KEN_016 | DEF_C | OUT | 0.22503
distr_solelc_spv_KEN_017 | DEF_E | 0.52028 | [6 empty] | distr_solelc_spv_KEN_017 | 0.22878 | distr_solelc_spv_KEN_017 | DEF_C | OUT | 0.22878
distr_solelc_spv_KEN_018 | DEF_E | 0.52555 | [6 empty] | distr_solelc_spv_KEN_018 | 0.22477 | distr_solelc_spv_KEN_018 | DEF_C | OUT | 0.22477
distr_solelc_spv_KEN_019 | DEF_E | 0.52806 | [6 empty] | distr_solelc_spv_KEN_019 | 0.22491 | distr_solelc_spv_KEN_019 | DEF_C | OUT | 0.22491
distr_solelc_spv_KEN_020 | DEF_E | 0.53403 | [6 empty] | distr_solelc_spv_KEN_020 | 0.22563 | distr_solelc_spv_KEN_020 | DEF_C | OUT | 0.22563
distr_solelc_spv_KEN_021 | DEF_E | 0.53104 | [6 empty] | distr_solelc_spv_KEN_021 | 0.2255 | distr_solelc_spv_KEN_021 | DEF_C | OUT | 0.2255
distr_solelc_spv_KEN_022 | DEF_E | 0.51836 | [6 empty] | distr_solelc_spv_KEN_022 | 0.24897 | distr_solelc_spv_KEN_022 | DEF_C | OUT | 0.24897
distr_solelc_spv_KEN_023 | DEF_E | 0.52608 | [6 empty] | distr_solelc_spv_KEN_023 | 0.23576 | distr_solelc_spv_KEN_023 | DEF_C | OUT | 0.23576
distr_solelc_spv_KEN_024 | DEF_E | 0.52337 | [6 empty] | distr_solelc_spv_KEN_024 | 0.24198 | distr_solelc_spv_KEN_024 | DEF_C | OUT | 0.24198
distr_solelc_spv_KEN_025 | DEF_E | 0.52719 | [6 empty] | distr_solelc_spv_KEN_025 | 0.22831 | distr_solelc_spv_KEN_025 | DEF_C | OUT | 0.22831
distr_solelc_spv_KEN_026 | DEF_E | 0.52056 | [6 empty] | distr_solelc_spv_KEN_026 | 0.22436 | distr_solelc_spv_KEN_026 | DEF_C | OUT | 0.22436
distr_solelc_spv_KEN_027 | DEF_E | 0.51779 | [6 empty] | distr_solelc_spv_KEN_027 | 0.22632 | distr_solelc_spv_KEN_027 | DEF_C | OUT | 0.22632
distr_solelc_spv_KEN_028 | DEF_E | 0.51739 | [6 empty] | distr_solelc_spv_KEN_028 | 0.22637 | distr_solelc_spv_KEN_028 | DEF_C | OUT | 0.22637
distr_wofelc_wof_KEN_001 | DEF_E | 0.31953 | [6 empty] | distr_wofelc_wof_KEN_001 | 0.29917 | distr_wonelc_won_KEN_001 | DEF_C | OUT | 0.10984
distr_wofelc_wof_KEN_002 | DEF_E | 0.33037 | [6 empty] | distr_wofelc_wof_KEN_002 | 0.22319 | distr_wonelc_won_KEN_002 | DEF_C | OUT | 0.21491
distr_wofelc_wof_KEN_003 | DEF_E | 0.30878 | [6 empty] | distr_wofelc_wof_KEN_003 | 0.29737 | distr_wonelc_won_KEN_003 | DEF_C | OUT | 0.33107
distr_wofelc_wof_KEN_004 | DEF_E | 0.30552 | [6 empty] | distr_wofelc_wof_KEN_004 | 0.23942 | distr_wonelc_won_KEN_004 | DEF_C | OUT | 0.25028
distr_wofelc_wof_KEN_005 | DEF_E | 0.28041 | [6 empty] | distr_wofelc_wof_KEN_005 | 0.26257 | distr_wonelc_won_KEN_005 | DEF_C | OUT | 0.28586
distr_wofelc_wof_KEN_006 | DEF_E | 0.27965 | [6 empty] | distr_wofelc_wof_KEN_006 | 0.32561 | distr_wonelc_won_KEN_006 | DEF_C | OUT | 0.34573
distr_wofelc_wof_KEN_007 | DEF_E | 0.30962 | [6 empty] | distr_wofelc_wof_KEN_007 | 0.34174 | distr_wonelc_won_KEN_007 | DEF_C | OUT | 0.39585
distr_wofelc_wof_KEN_008 | DEF_E | 0.31516 | [6 empty] | distr_wofelc_wof_KEN_008 | 0.31861 | distr_wonelc_won_KEN_008 | DEF_C | OUT | 0.33054
distr_wofelc_wof_KEN_009 | DEF_E | 0.304 | [6 empty] | distr_wofelc_wof_KEN_009 | 0.34036 | distr_wonelc_won_KEN_009 | DEF_C | OUT | 0.27452
distr_wofelc_wof_KEN_010 | DEF_E | 0.28854 | [6 empty] | distr_wofelc_wof_KEN_010 | 0.3361 | distr_wonelc_won_KEN_010 | DEF_C | OUT | 0.31187
distr_wonelc_won_KEN_001 | DEF_E | 0.42602 | [6 empty] | distr_wonelc_won_KEN_001 | 0.10984 | distr_wonelc_won_KEN_011 | DEF_C | OUT | 0.33784
distr_wonelc_won_KEN_002 | DEF_E | 0.37788 | [6 empty] | distr_wonelc_won_KEN_002 | 0.21491 | distr_wonelc_won_KEN_012 | DEF_C | OUT | 0.30424
distr_wonelc_won_KEN_003 | DEF_E | 0.28528 | [6 empty] | distr_wonelc_won_KEN_003 | 0.33112 | distr_wonelc_won_KEN_013 | DEF_C | OUT | 0.49858
distr_wonelc_won_KEN_004 | DEF_E | 0.36767 | [6 empty] | distr_wonelc_won_KEN_004 | 0.25028 | distr_wonelc_won_KEN_014 | DEF_C | OUT | 0.12203
distr_wonelc_won_KEN_005 | DEF_E | 0.33716 | [6 empty] | distr_wonelc_won_KEN_005 | 0.28586 | distr_wonelc_won_KEN_015 | DEF_C | OUT | 0.24653
distr_wonelc_won_KEN_006 | DEF_E | 0.33499 | [6 empty] | distr_wonelc_won_KEN_006 | 0.34573 | distr_wonelc_won_KEN_016 | DEF_C | OUT | 0.24114
distr_wonelc_won_KEN_007 | DEF_E | 0.33374 | [6 empty] | distr_wonelc_won_KEN_007 | 0.39591 | distr_wonelc_won_KEN_017 | DEF_C | OUT | 0.16407
distr_wonelc_won_KEN_008 | DEF_E | 0.30637 | [6 empty] | distr_wonelc_won_KEN_008 | 0.33056 | distr_wonelc_won_KEN_018 | DEF_C | OUT | 0.087754
distr_wonelc_won_KEN_009 | DEF_E | 0.32036 | [6 empty] | distr_wonelc_won_KEN_009 | 0.27452 | distr_wonelc_won_KEN_019 | DEF_C | OUT | 0.15339
distr_wonelc_won_KEN_010 | DEF_E | 0.30988 | [6 empty] | distr_wonelc_won_KEN_010 | 0.31187 | distr_wonelc_won_KEN_020 | DEF_C | OUT | 0.096003
distr_wonelc_won_KEN_011 | DEF_E | 0.24866 | [6 empty] | distr_wonelc_won_KEN_011 | 0.33786 | distr_wonelc_won_KEN_021 | DEF_C | OUT | 0.16978
distr_wonelc_won_KEN_012 | DEF_E | 0.37398 | [6 empty] | distr_wonelc_won_KEN_012 | 0.30424 | distr_wonelc_won_KEN_022 | DEF_C | OUT | 0.09875
distr_wonelc_won_KEN_013 | DEF_E | 0.24779 | [6 empty] | distr_wonelc_won_KEN_013 | 0.49859 | distr_wonelc_won_KEN_023 | DEF_C | OUT | 0.082519
distr_wonelc_won_KEN_014 | DEF_E | 0.40748 | [6 empty] | distr_wonelc_won_KEN_014 | 0.12203 | distr_wofelc_wof_KEN_001 | DEF_C | OUT | 0.29917
distr_wonelc_won_KEN_015 | DEF_E | 0.3909 | [6 empty] | distr_wonelc_won_KEN_015 | 0.24653 | distr_wofelc_wof_KEN_002 | DEF_C | OUT | 0.22319
distr_wonelc_won_KEN_016 | DEF_E | 0.38632 | [6 empty] | distr_wonelc_won_KEN_016 | 0.24114 | distr_wofelc_wof_KEN_003 | DEF_C | OUT | 0.29737
distr_wonelc_won_KEN_017 | DEF_E | 0.42385 | [6 empty] | distr_wonelc_won_KEN_017 | 0.16407 | distr_wofelc_wof_KEN_004 | DEF_C | OUT | 0.23942
distr_wonelc_won_KEN_018 | DEF_E | 0.50569 | [6 empty] | distr_wonelc_won_KEN_018 | 0.087754 | distr_wofelc_wof_KEN_005 | DEF_C | OUT | 0.26257
distr_wonelc_won_KEN_019 | DEF_E | 0.43123 | [6 empty] | distr_wonelc_won_KEN_019 | 0.15339 | distr_wofelc_wof_KEN_006 | DEF_C | OUT | 0.32561
distr_wonelc_won_KEN_020 | DEF_E | 0.47817 | [6 empty] | distr_wonelc_won_KEN_020 | 0.096003 | distr_wofelc_wof_KEN_007 | DEF_C | OUT | 0.34174
distr_wonelc_won_KEN_021 | DEF_E | 0.33303 | [6 empty] | distr_wonelc_won_KEN_021 | 0.16978 | distr_wofelc_wof_KEN_008 | DEF_C | OUT | 0.31861
distr_wonelc_won_KEN_022 | DEF_E | 0.48505 | [6 empty] | distr_wonelc_won_KEN_022 | 0.09875 | distr_wofelc_wof_KEN_009 | DEF_C | OUT | 0.34036
distr_wonelc_won_KEN_023 | DEF_E | 0.5542 | [6 empty] | distr_wonelc_won_KEN_023 | 0.082519 | distr_wofelc_wof_KEN_010 | DEF_C | OUT | 0.3361

## load_shapes
~TFM_DINS-AT
g_yrfr | com_fr | timeslice | commodity
1 | 1 | AllSaAllH | elc_roadtransport

## demand
~TFM_DINS-AT
commodity | timeslice | com_fr
elc_buildings | AllSaAllH | 1
elc_industry | AllSaAllH | 1

## peak_factors
~TFM_DINS-AT
commodity | timeslice | com_pkflx
ELC | AllSaAllH | 0.22769

## hydro_af
~TFM_INS-AT
Year | timeslice | ncap_afs | pset_ci
2020 | AllS | 0.5692 | hydro
2021 | AllS | 0.48832 | hydro
2022 | AllS | 0.40083 | hydro
2025 | AllS | 0.41762 | hydro
2026 | AllS | 0.43813 | hydro
2027 | AllS | 0.39148 | hydro
2028 | AllS | 0.4404 | hydro
2029 | AllS | 0.4126 | hydro
2030 | AllS | 0.41924 | hydro
2031 | AllS | 0.46263 | hydro
2032 | AllS | 0.3889 | hydro
2033 | AllS | 0.39654 | hydro
2034 | AllS | 0.42931 | hydro
2035 | AllS | 0.39866 | hydro
2036 | AllS | 0.45432 | hydro
2037 | AllS | 0.4314 | hydro
2038 | AllS | 0.53757 | hydro
2039 | AllS | 0.44752 | hydro
2040 | AllS | 0.43783 | hydro
2041 | AllS | 0.48789 | hydro
2042 | AllS | 0.48407 | hydro
2043 | AllS | 0.43421 | hydro
2044 | AllS | 0.54013 | hydro
2045 | AllS | 0.45367 | hydro
2046 | AllS | 0.47833 | hydro
2047 | AllS | 0.46139 | hydro
2048 | AllS | 0.39426 | hydro
2049 | AllS | 0.44047 | hydro
2050 | AllS | 0.40087 | hydro