## ev_charging_uc
ts_annual | day_night | ts_annual
| D | AllSaAllH
| N | AllSaAllH
[7 empty] | 0.75 |  | share of charging at night
~UC_Sets: R_E: AllRegions
Not Required!
| UC_N | Pset_CI | Pset_CO | pset_pn | Cset_CN | TimeSlice | UC_FLO | UC_RHSRT | UC_RHSRT~0
| UC_bev night chg limit | ELC | AuxStoIN | *EV* | AuxStoIN | AllSaAllH | 0.25 | 0 | 3 |  | night
|  | ELC | AuxStoIN | *EV* | AuxStoIN | AllSaAllH | -0.75 |  |  |  | day
~UC_T: LO
| UC_N | PSET_SET | PSET_PN | Pset_CI | PSET_CO | Cset_CN | TimeSlice | UC_ACT | UC_COMPRD | UC_RHSRTS | UC_RHSRTS~0 | UC_Desc
| UCE_Min-DispatchablePrd | ELE,CHP |  | *,-solar,-wind*,-ELC,-ELCSPV,-elc[_]???[_]*,-e[_]* |  |  | DAYNITE | 1 |  | 0 | 5 | Min dispatchable electricity generation in each grid in each TS
[6 empty] | DEF_E | DAYNITE |  | -1

## timeslice_def
~TimeSlices
ts_annual | season | weekly | daynite | wparent | dparent
| AllS | a | AllH | AllS | a

## resource_profiles
~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT |  |  |  | ~TFM_DINS-AT
commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process | commodity | timeslice | com_fr | process
elc_spv_ITA_001 | AllSaAllH | 1 | IMPNRGZ | elc_won_ITA_001 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ITA_001 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_002 | AllSaAllH | 1 | IMPNRGZ | elc_won_ITA_002 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ITA_002 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_003 | AllSaAllH | 1 | IMPNRGZ | elc_won_ITA_003 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ITA_003 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_004 | AllSaAllH | 1 | IMPNRGZ | elc_won_ITA_004 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ITA_004 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_005 | AllSaAllH | 1 | IMPNRGZ | elc_won_ITA_005 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ITA_005 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_006 | AllSaAllH | 1 | IMPNRGZ | elc_won_ITA_006 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ITA_006 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_007 | AllSaAllH | 1 | IMPNRGZ | elc_won_ITA_007 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ITA_007 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_008 | AllSaAllH | 1 | IMPNRGZ | elc_won_ITA_008 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ITA_008 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_009 | AllSaAllH | 1 | IMPNRGZ | elc_won_ITA_009 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ITA_009 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_010 | AllSaAllH | 1 | IMPNRGZ | elc_won_ITA_010 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ITA_010 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_011 | AllSaAllH | 1 | IMPNRGZ | elc_won_ITA_011 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ITA_011 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_012 | AllSaAllH | 1 | IMPNRGZ | elc_won_ITA_012 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ITA_012 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_013 | AllSaAllH | 1 | IMPNRGZ | elc_won_ITA_013 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ITA_013 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_014 | AllSaAllH | 1 | IMPNRGZ | elc_won_ITA_014 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ITA_014 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_015 | AllSaAllH | 1 | IMPNRGZ | elc_won_ITA_015 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ITA_015 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_016 | AllSaAllH | 1 | IMPNRGZ | elc_won_ITA_016 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ITA_016 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_017 | AllSaAllH | 1 | IMPNRGZ | elc_won_ITA_017 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ITA_017 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_018 | AllSaAllH | 1 | IMPNRGZ | elc_won_ITA_018 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ITA_018 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_019 | AllSaAllH | 1 | IMPNRGZ | elc_won_ITA_019 | AllSaAllH | 1 | IMPNRGZ | elc_wof_ITA_019 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_020 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_021 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_022 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_023 | AllSaAllH | 1 | IMPNRGZ
elc_spv_ITA_024 | AllSaAllH | 1 | IMPNRGZ

## firmness
~TFM_DINS-TSL: attribute=FLO_EMIS; other_indexes=ACT |  |  | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_INS-TSL: attribute=FLO_SHAR; limtype=FX |  |  | ~TFM_DINS-TSL: attribute=NCAP_PKCNT |  | ~TFM_DINS-AT
process | commodity | AllSaAllH | process | commodity | AllSaAllH | process | commodity | AllSaAllH | process | AllSaAllH | process | commodity | other_indexes | ncap_com
distr_solelc_spv_ITA_001 | DEF_E | 0.56991 | distr_sol* | ELC4H | 0.1361 | distr_sol* | ELC8H | 0.17231 | distr_solelc_spv_ITA_001 | 0.17549 | distr_solelc_spv_ITA_001 | DEF_C | OUT | 0.17549
distr_solelc_spv_ITA_002 | DEF_E | 0.57013 | distr_won* | ELC4H | 0.0031819 | distr_won* | ELC8H | 0.014269 | distr_solelc_spv_ITA_002 | 0.17437 | distr_solelc_spv_ITA_002 | DEF_C | OUT | 0.17437
distr_solelc_spv_ITA_003 | DEF_E | 0.548 | distr_wof* | ELC4H | 0.0015302 | distr_wof* | ELC8H | 0.0080824 | distr_solelc_spv_ITA_003 | 0.19971 | distr_solelc_spv_ITA_003 | DEF_C | OUT | 0.19971
distr_solelc_spv_ITA_004 | DEF_E | 0.56765 | [6 empty] | distr_solelc_spv_ITA_004 | 0.18119 | distr_solelc_spv_ITA_004 | DEF_C | OUT | 0.18119
distr_solelc_spv_ITA_005 | DEF_E | 0.5566 | [6 empty] | distr_solelc_spv_ITA_005 | 0.19213 | distr_solelc_spv_ITA_005 | DEF_C | OUT | 0.19213
distr_solelc_spv_ITA_006 | DEF_E | 0.56895 | [6 empty] | distr_solelc_spv_ITA_006 | 0.17161 | distr_solelc_spv_ITA_006 | DEF_C | OUT | 0.17161
distr_solelc_spv_ITA_007 | DEF_E | 0.56623 | [6 empty] | distr_solelc_spv_ITA_007 | 0.17483 | distr_solelc_spv_ITA_007 | DEF_C | OUT | 0.17483
distr_solelc_spv_ITA_008 | DEF_E | 0.54486 | [6 empty] | distr_solelc_spv_ITA_008 | 0.20435 | distr_solelc_spv_ITA_008 | DEF_C | OUT | 0.20435
distr_solelc_spv_ITA_009 | DEF_E | 0.5542 | [6 empty] | distr_solelc_spv_ITA_009 | 0.1899 | distr_solelc_spv_ITA_009 | DEF_C | OUT | 0.1899
distr_solelc_spv_ITA_010 | DEF_E | 0.5366 | [6 empty] | distr_solelc_spv_ITA_010 | 0.2157 | distr_solelc_spv_ITA_010 | DEF_C | OUT | 0.2157
distr_solelc_spv_ITA_011 | DEF_E | 0.52922 | [6 empty] | distr_solelc_spv_ITA_011 | 0.22219 | distr_solelc_spv_ITA_011 | DEF_C | OUT | 0.22219
distr_solelc_spv_ITA_012 | DEF_E | 0.53257 | [6 empty] | distr_solelc_spv_ITA_012 | 0.2271 | distr_solelc_spv_ITA_012 | DEF_C | OUT | 0.2271
distr_solelc_spv_ITA_013 | DEF_E | 0.52846 | [6 empty] | distr_solelc_spv_ITA_013 | 0.2296 | distr_solelc_spv_ITA_013 | DEF_C | OUT | 0.2296
distr_solelc_spv_ITA_014 | DEF_E | 0.53355 | [6 empty] | distr_solelc_spv_ITA_014 | 0.22108 | distr_solelc_spv_ITA_014 | DEF_C | OUT | 0.22108
distr_solelc_spv_ITA_015 | DEF_E | 0.53907 | [6 empty] | distr_solelc_spv_ITA_015 | 0.21925 | distr_solelc_spv_ITA_015 | DEF_C | OUT | 0.21925
distr_solelc_spv_ITA_016 | DEF_E | 0.54056 | [6 empty] | distr_solelc_spv_ITA_016 | 0.21151 | distr_solelc_spv_ITA_016 | DEF_C | OUT | 0.21151
distr_solelc_spv_ITA_017 | DEF_E | 0.57212 | [6 empty] | distr_solelc_spv_ITA_017 | 0.16984 | distr_solelc_spv_ITA_017 | DEF_C | OUT | 0.16984
distr_solelc_spv_ITA_018 | DEF_E | 0.56782 | [6 empty] | distr_solelc_spv_ITA_018 | 0.16991 | distr_solelc_spv_ITA_018 | DEF_C | OUT | 0.16991
distr_solelc_spv_ITA_019 | DEF_E | 0.54612 | [6 empty] | distr_solelc_spv_ITA_019 | 0.20275 | distr_solelc_spv_ITA_019 | DEF_C | OUT | 0.20275
distr_solelc_spv_ITA_020 | DEF_E | 0.54409 | [6 empty] | distr_solelc_spv_ITA_020 | 0.20282 | distr_solelc_spv_ITA_020 | DEF_C | OUT | 0.20282
distr_solelc_spv_ITA_021 | DEF_E | 0.54428 | [6 empty] | distr_solelc_spv_ITA_021 | 0.20246 | distr_solelc_spv_ITA_021 | DEF_C | OUT | 0.20246
distr_solelc_spv_ITA_022 | DEF_E | 0.56454 | [6 empty] | distr_solelc_spv_ITA_022 | 0.17907 | distr_solelc_spv_ITA_022 | DEF_C | OUT | 0.17907
distr_solelc_spv_ITA_023 | DEF_E | 0.55324 | [6 empty] | distr_solelc_spv_ITA_023 | 0.19396 | distr_solelc_spv_ITA_023 | DEF_C | OUT | 0.19396
distr_solelc_spv_ITA_024 | DEF_E | 0.55626 | [6 empty] | distr_solelc_spv_ITA_024 | 0.18792 | distr_solelc_spv_ITA_024 | DEF_C | OUT | 0.18792
distr_wofelc_wof_ITA_001 | DEF_E | 0.44622 | [6 empty] | distr_wofelc_wof_ITA_001 | 0.24846 | distr_wonelc_won_ITA_001 | DEF_C | OUT | 0.10678
distr_wofelc_wof_ITA_002 | DEF_E | 0.46914 | [6 empty] | distr_wofelc_wof_ITA_002 | 0.21788 | distr_wonelc_won_ITA_002 | DEF_C | OUT | 0.24328
distr_wofelc_wof_ITA_003 | DEF_E | 0.41255 | [6 empty] | distr_wofelc_wof_ITA_003 | 0.289 | distr_wonelc_won_ITA_003 | DEF_C | OUT | 0.16708
distr_wofelc_wof_ITA_004 | DEF_E | 0.43513 | [6 empty] | distr_wofelc_wof_ITA_004 | 0.26388 | distr_wonelc_won_ITA_004 | DEF_C | OUT | 0.12692
distr_wofelc_wof_ITA_005 | DEF_E | 0.40576 | [6 empty] | distr_wofelc_wof_ITA_005 | 0.29854 | distr_wonelc_won_ITA_005 | DEF_C | OUT | 0.11559
distr_wofelc_wof_ITA_006 | DEF_E | 0.46965 | [6 empty] | distr_wofelc_wof_ITA_006 | 0.28366 | distr_wonelc_won_ITA_006 | DEF_C | OUT | 0.088656
distr_wofelc_wof_ITA_007 | DEF_E | 0.44933 | [6 empty] | distr_wofelc_wof_ITA_007 | 0.30637 | distr_wonelc_won_ITA_007 | DEF_C | OUT | 0.1137
distr_wofelc_wof_ITA_008 | DEF_E | 0.47522 | [6 empty] | distr_wofelc_wof_ITA_008 | 0.24776 | distr_wonelc_won_ITA_008 | DEF_C | OUT | 0.11575
distr_wofelc_wof_ITA_009 | DEF_E | 0.46428 | [6 empty] | distr_wofelc_wof_ITA_009 | 0.23856 | distr_wonelc_won_ITA_009 | DEF_C | OUT | 0.13202
distr_wofelc_wof_ITA_010 | DEF_E | 0.51575 | [6 empty] | distr_wofelc_wof_ITA_010 | 0.22273 | distr_wonelc_won_ITA_010 | DEF_C | OUT | 0.16065
distr_wofelc_wof_ITA_011 | DEF_E | 0.5292 | [6 empty] | distr_wofelc_wof_ITA_011 | 0.22957 | distr_wonelc_won_ITA_011 | DEF_C | OUT | 0.20861
distr_wofelc_wof_ITA_012 | DEF_E | 0.51824 | [6 empty] | distr_wofelc_wof_ITA_012 | 0.20861 | distr_wonelc_won_ITA_012 | DEF_C | OUT | 0.1066
distr_wofelc_wof_ITA_013 | DEF_E | 0.54388 | [6 empty] | distr_wofelc_wof_ITA_013 | 0.21437 | distr_wonelc_won_ITA_013 | DEF_C | OUT | 0.094088
distr_wofelc_wof_ITA_014 | DEF_E | 0.47315 | [6 empty] | distr_wofelc_wof_ITA_014 | 0.26959 | distr_wonelc_won_ITA_014 | DEF_C | OUT | 0.1419
distr_wofelc_wof_ITA_015 | DEF_E | 0.38665 | [6 empty] | distr_wofelc_wof_ITA_015 | 0.3956 | distr_wonelc_won_ITA_015 | DEF_C | OUT | 0.24203
distr_wofelc_wof_ITA_016 | DEF_E | 0.41255 | [6 empty] | distr_wofelc_wof_ITA_016 | 0.33267 | distr_wonelc_won_ITA_016 | DEF_C | OUT | 0.26287
distr_wofelc_wof_ITA_017 | DEF_E | 0.4508 | [6 empty] | distr_wofelc_wof_ITA_017 | 0.32314 | distr_wonelc_won_ITA_017 | DEF_C | OUT | 0.13072
distr_wofelc_wof_ITA_018 | DEF_E | 0.42715 | [6 empty] | distr_wofelc_wof_ITA_018 | 0.37972 | distr_wonelc_won_ITA_018 | DEF_C | OUT | 0.13768
distr_wofelc_wof_ITA_019 | DEF_E | 0.41301 | [6 empty] | distr_wofelc_wof_ITA_019 | 0.37419 | distr_wonelc_won_ITA_019 | DEF_C | OUT | 0.13233
distr_wonelc_won_ITA_001 | DEF_E | 0.51439 | [6 empty] | distr_wonelc_won_ITA_001 | 0.10678 | distr_wofelc_wof_ITA_001 | DEF_C | OUT | 0.24846
distr_wonelc_won_ITA_002 | DEF_E | 0.47886 | [6 empty] | distr_wonelc_won_ITA_002 | 0.24328 | distr_wofelc_wof_ITA_002 | DEF_C | OUT | 0.21788
distr_wonelc_won_ITA_003 | DEF_E | 0.49739 | [6 empty] | distr_wonelc_won_ITA_003 | 0.16708 | distr_wofelc_wof_ITA_003 | DEF_C | OUT | 0.289
distr_wonelc_won_ITA_004 | DEF_E | 0.53388 | [6 empty] | distr_wonelc_won_ITA_004 | 0.12692 | distr_wofelc_wof_ITA_004 | DEF_C | OUT | 0.26388
distr_wonelc_won_ITA_005 | DEF_E | 0.55648 | [6 empty] | distr_wonelc_won_ITA_005 | 0.11559 | distr_wofelc_wof_ITA_005 | DEF_C | OUT | 0.29854
distr_wonelc_won_ITA_006 | DEF_E | 0.59438 | [6 empty] | distr_wonelc_won_ITA_006 | 0.088656 | distr_wofelc_wof_ITA_006 | DEF_C | OUT | 0.28366
distr_wonelc_won_ITA_007 | DEF_E | 0.55234 | [6 empty] | distr_wonelc_won_ITA_007 | 0.1137 | distr_wofelc_wof_ITA_007 | DEF_C | OUT | 0.30637
distr_wonelc_won_ITA_008 | DEF_E | 0.50654 | [6 empty] | distr_wonelc_won_ITA_008 | 0.11575 | distr_wofelc_wof_ITA_008 | DEF_C | OUT | 0.24776
distr_wonelc_won_ITA_009 | DEF_E | 0.49855 | [6 empty] | distr_wonelc_won_ITA_009 | 0.13202 | distr_wofelc_wof_ITA_009 | DEF_C | OUT | 0.23856
distr_wonelc_won_ITA_010 | DEF_E | 0.48933 | [6 empty] | distr_wonelc_won_ITA_010 | 0.16065 | distr_wofelc_wof_ITA_010 | DEF_C | OUT | 0.22273
distr_wonelc_won_ITA_011 | DEF_E | 0.41041 | [6 empty] | distr_wonelc_won_ITA_011 | 0.20862 | distr_wofelc_wof_ITA_011 | DEF_C | OUT | 0.22957
distr_wonelc_won_ITA_012 | DEF_E | 0.52753 | [6 empty] | distr_wonelc_won_ITA_012 | 0.1066 | distr_wofelc_wof_ITA_012 | DEF_C | OUT | 0.20861
distr_wonelc_won_ITA_013 | DEF_E | 0.60576 | [6 empty] | distr_wonelc_won_ITA_013 | 0.094088 | distr_wofelc_wof_ITA_013 | DEF_C | OUT | 0.21437
distr_wonelc_won_ITA_014 | DEF_E | 0.49469 | [6 empty] | distr_wonelc_won_ITA_014 | 0.1419 | distr_wofelc_wof_ITA_014 | DEF_C | OUT | 0.26959
distr_wonelc_won_ITA_015 | DEF_E | 0.4524 | [6 empty] | distr_wonelc_won_ITA_015 | 0.24203 | distr_wofelc_wof_ITA_015 | DEF_C | OUT | 0.3956
distr_wonelc_won_ITA_016 | DEF_E | 0.4086 | [6 empty] | distr_wonelc_won_ITA_016 | 0.26288 | distr_wofelc_wof_ITA_016 | DEF_C | OUT | 0.33267
distr_wonelc_won_ITA_017 | DEF_E | 0.54388 | [6 empty] | distr_wonelc_won_ITA_017 | 0.13072 | distr_wofelc_wof_ITA_017 | DEF_C | OUT | 0.32314
distr_wonelc_won_ITA_018 | DEF_E | 0.48013 | [6 empty] | distr_wonelc_won_ITA_018 | 0.13768 | distr_wofelc_wof_ITA_018 | DEF_C | OUT | 0.37972
distr_wonelc_won_ITA_019 | DEF_E | 0.52815 | [6 empty] | distr_wonelc_won_ITA_019 | 0.13233 | distr_wofelc_wof_ITA_019 | DEF_C | OUT | 0.37419

## load_shapes
~TFM_DINS-AT
g_yrfr | com_fr | timeslice | commodity
1 | 1 | AllSaAllH | elc_roadtransport

## demand
~TFM_DINS-AT
commodity | timeslice | com_fr
elc_buildings | AllSaAllH | 1
elc_industry | AllSaAllH | 1

## peak_factors
~TFM_DINS-AT
commodity | timeslice | com_pkflx
ELC | AllSaAllH | 0.2996

## hydro_af
~TFM_INS-AT
Year | timeslice | ncap_afs | pset_ci
2020 | AllS | 0.26516 | hydro
2021 | AllS | 0.24869 | hydro
2022 | AllS | 0.15871 | hydro
2025 | AllS | 0.2458 | hydro
2026 | AllS | 0.32743 | hydro
2027 | AllS | 0.32119 | hydro
2028 | AllS | 0.31493 | hydro
2029 | AllS | 0.30488 | hydro
2030 | AllS | 0.28701 | hydro
2031 | AllS | 0.25526 | hydro
2032 | AllS | 0.27313 | hydro
2033 | AllS | 0.26157 | hydro
2034 | AllS | 0.29037 | hydro
2035 | AllS | 0.24404 | hydro
2036 | AllS | 0.292 | hydro
2037 | AllS | 0.25561 | hydro
2038 | AllS | 0.28413 | hydro
2039 | AllS | 0.28951 | hydro
2040 | AllS | 0.26932 | hydro
2041 | AllS | 0.28007 | hydro
2042 | AllS | 0.2931 | hydro
2043 | AllS | 0.25132 | hydro
2044 | AllS | 0.24644 | hydro
2045 | AllS | 0.26078 | hydro
2046 | AllS | 0.24748 | hydro
2047 | AllS | 0.26837 | hydro
2048 | AllS | 0.32313 | hydro
2049 | AllS | 0.30228 | hydro
2050 | AllS | 0.282 | hydro